## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238640 | 2022-05-16 11:41 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.3743 | μmol/L | 18.618 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.625 | 96365.3574 | 214045.0233 | 27.3 | 43.4
238650 | 2022-05-16 11:41 | 0.33455 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.4233 | μmol/L | 18.6119 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.625 | 96323.2327 | 214029.4535 | 27.3 | 43.4
238660 | 2022-05-16 11:41 | 0.66798 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.3774 | μmol/L | 18.6119 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.627 | 96307.8067 | 214021.6714 | 27.3 | 43.4
238670 | 2022-05-16 11:42 | 1.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.4692 | μmol/L | 18.6119 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.623 | 96259.0446 | 213999.9239 | 27.3 | 43.4
238686 | 2022-05-16 11:42 | 1.9435 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.561 | μmol/L | 18.6119 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.619 | 96156.6663 | 213963.591 | 27.3 | 43.4
238682 | 2022-05-16 11:42 | 1.9435 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.561 | μmol/L | 18.6119 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.619 | 96121.0696 | 213891.3152 | 27.3 | 43.4
238700 | 2022-05-16 11:43 | 2.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5412 | μmol/L | 18.6058 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.622 | 96121.9532 | 213934.3099 | 27.3 | 43.4
238710 | 2022-05-16 11:43 | 2.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5871 | μmol/L | 18.6058 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.62 | 96095.6431 | 213958.5921 | 27.3 | 43.4
238720 | 2022-05-16 11:43 | 2.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.633 | μmol/L | 18.6058 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.618 | 96057.1641 | 213927.1241 | 27.3 | 43.4
238730 | 2022-05-16 11:44 | 3.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5641 | μmol/L | 18.6058 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.621 | 96027.8207 | 213910.4571 | 27.3 | 43.4
238740 | 2022-05-16 11:44 | 3.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9379 | μmol/L | 18.5935 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.609 | 96008.8273 | 213890.8217 | 27.3 | 43.4
238750 | 2022-05-16 11:44 | 3.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.8 | μmol/L | 18.5935 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.615 | 95978.2896 | 213885.8518 | 27.3 | 43.4
238760 | 2022-05-16 11:45 | 4.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.8 | μmol/L | 18.5935 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.615 | 95937.7179 | 213871.4011 | 27.3 | 43.4
238770 | 2022-05-16 11:45 | 4.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.915 | μmol/L | 18.5935 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.61 | 95909.061 | 213852.0816 | 27.3 | 43.4
238780 | 2022-05-16 11:45 | 4.6677 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9902 | μmol/L | 18.5813 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.611 | 95873.7373 | 213832.7771 | 27.3 | 43.4
238790 | 2022-05-16 11:46 | 5.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9442 | μmol/L | 18.5813 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.613 | 95857.0459 | 213819.5188 | 27.3 | 43.4
238800 | 2022-05-16 11:46 | 5.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9181 | μmol/L | 18.5874 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.612 | 95835.3006 | 213807.1282 | 27.3 | 43.4
238810 | 2022-05-16 11:46 | 5.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.0853 | μmol/L | 18.5752 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.609 | 95815.7395 | 213794.7269 | 27.3 | 43.4
238820 | 2022-05-16 11:47 | 6.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.0455 | μmol/L | 18.563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.615 | 95797.5105 | 213787.138 | 27.3 | 43.4
238830 | 2022-05-16 11:47 | 6.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2035 | μmol/L | 18.5691 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.606 | 95777.3279 | 213768.8785 | 27.3 | 43.4
238840 | 2022-05-16 11:47 | 6.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2066 | μmol/L | 18.563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.608 | 95759.7552 | 213748.9579 | 27.3 | 43.4
238850 | 2022-05-16 11:48 | 7.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2557 | μmol/L | 18.5569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.608 | 95746.6182 | 213741.9845 | 27.3 | 43.4
238860 | 2022-05-16 11:48 | 7.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2495 | μmol/L | 18.5691 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.604 | 95726.6027 | 213720.7701 | 27.3 | 43.4
238870 | 2022-05-16 11:48 | 7.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2788 | μmol/L | 18.5569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.607 | 95705.9538 | 213709.8447 | 27.3 | 43.4
238880 | 2022-05-16 11:49 | 8.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.8141 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.603 | 95684.8542 | 213693.8333 | 27.3 | 43.4
238890 | 2022-05-16 11:49 | 8.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6757 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.609 | 95672.5485 | 213680.4599 | 27.3 | 43.4
238900 | 2022-05-16 11:49 | 8.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6233 | μmol/L | 18.5141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.607 | 95637.9262 | 213664.484 | 27.3 | 43.4
238910 | 2022-05-16 11:50 | 9.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6463 | μmol/L | 18.5141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.606 | 95629.3607 | 213644.527 | 27.3 | 43.4
238920 | 2022-05-16 11:50 | 9.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.4002 | μmol/L | 18.5447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.606 | 95621.8984 | 213640.8378 | 27.3 | 43.4
238930 | 2022-05-16 11:50 | 9.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.7449 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.606 | 95608.5214 | 213612.6298 | 27.3 | 43.4
238940 | 2022-05-16 11:51 | 10.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6002 | μmol/L | 18.5141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.608 | 95618.2572 | 213604.6199 | 27.3 | 43.4
238950 | 2022-05-16 11:51 | 10.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6233 | μmol/L | 18.5141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.607 | 95589.0009 | 213584.4823 | 27.3 | 43.4
238960 | 2022-05-16 11:51 | 10.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.4357 | μmol/L | 18.5202 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.613 | 95590.9093 | 213563.4409 | 27.3 | 43.4
238970 | 2022-05-16 11:52 | 11.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.508 | μmol/L | 18.5141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.612 | 95580.4908 | 213541.4045 | 27.3 | 43.4
238980 | 2022-05-16 11:52 | 11.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.5374 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.615 | 95574.9834 | 213530.1508 | 27.3 | 43.4
238990 | 2022-05-16 11:52 | 11.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6128 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.616 | 95563.5363 | 213525.8819 | 27.3 | 43.4
239000 | 2022-05-16 11:53 | 12.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.5604 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.614 | 95540.2232 | 213503.3508 | 27.3 | 43.4
239010 | 2022-05-16 11:53 | 12.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.6296 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.611 | 95518.6369 | 213492.5173 | 27.3 | 43.4
239020 | 2022-05-16 11:53 | 12.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.5866 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.615 | 95504.7127 | 213478.5334 | 27.3 | 43.4
239030 | 2022-05-16 11:54 | 13.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.5803 | μmol/L | 18.508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.611 | 95493.9067 | 213458.5451 | 27.3 | 43.4
239040 | 2022-05-16 11:54 | 13.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.4096 | μmol/L | 18.5263 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.612 | 95480.2726 | 213444.6484 | 27.3 | 43.4
239050 | 2022-05-16 11:54 | 13.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.4881 | μmol/L | 18.508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.615 | 95471.4962 | 213447.6752 | 27.3 | 43.4
239060 | 2022-05-16 11:55 | 14.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.419 | μmol/L | 18.508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.618 | 95479.3728 | 213423.1456 | 27.3 | 43.4
239070 | 2022-05-16 11:55 | 14.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.3007 | μmol/L | 18.5141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.621 | 95467.2881 | 213408.6778 | 27.3 | 43.4
239080 | 2022-05-16 11:55 | 14.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.3729 | μmol/L | 18.508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.62 | 95464.8524 | 213397.2211 | 27.3 | 43.4
239090 | 2022-05-16 11:56 | 15.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.3531 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.623 | 95465.56 | 213381.9757 | 27.3 | 43.4
239100 | 2022-05-16 11:56 | 15.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.3562 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.625 | 95446.8835 | 213350.011 | 27.3 | 43.4
239110 | 2022-05-16 11:56 | 15.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.261 | μmol/L | 18.5019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.627 | 95440.9133 | 213344.4602 | 27.3 | 43.4
239120 | 2022-05-16 11:57 | 16.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2443 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.632 | 95444.1517 | 213337.9172 | 27.3 | 43.4
239130 | 2022-05-16 11:57 | 16.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.2213 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.633 | 95445.5078 | 213321.3366 | 27.3 | 43.4
239140 | 2022-05-16 11:57 | 16.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.1261 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.635 | 95453.4183 | 213318.7079 | 27.3 | 43.4
239150 | 2022-05-16 11:58 | 17.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 266.0112 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.64 | 95446.4296 | 213288.3031 | 27.3 | 43.4
239160 | 2022-05-16 11:58 | 17.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9652 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.642 | 95444.9922 | 213281.9032 | 27.3 | 43.4
239170 | 2022-05-16 11:58 | 17.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9422 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.643 | 95448.1105 | 213254.3886 | 27.3 | 43.4
239180 | 2022-05-16 11:59 | 18.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.9224 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.646 | 95450.3204 | 213251.1346 | 27.3 | 43.4
239190 | 2022-05-16 11:59 | 18.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.8306 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.65 | 95456.1596 | 213240.3353 | 27.3 | 43.4
239200 | 2022-05-16 11:59 | 18.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.7585 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.651 | 95449.5525 | 213231.376 | 27.3 | 43.4
239210 | 2022-05-16 12:00 | 19.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.7126 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.653 | 95445.6608 | 213214.7024 | 27.3 | 43.4
239220 | 2022-05-16 12:00 | 19.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.529 | μmol/L | 18.4958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.661 | 95452.7691 | 213209.051 | 27.3 | 43.4
239230 | 2022-05-16 12:00 | 19.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.6699 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.657 | 95441.9935 | 213188.818 | 27.3 | 43.4
239240 | 2022-05-16 12:01 | 20.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.7451 | μmol/L | 18.4775 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.658 | 95436.6672 | 213180.8136 | 27.3 | 43.4
239250 | 2022-05-16 12:01 | 20.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5552 | μmol/L | 18.4897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.662 | 95437.3173 | 213169.8124 | 27.3 | 43.4
239260 | 2022-05-16 12:01 | 20.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.6272 | μmol/L | 18.4836 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.661 | 95445.4602 | 213160.7826 | 27.3 | 43.4
239270 | 2022-05-16 12:02 | 21.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5845 | μmol/L | 18.4775 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.665 | 95439.5988 | 213145.6833 | 27.3 | 43.4
239280 | 2022-05-16 12:02 | 21.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.6827 | μmol/L | 18.4653 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.665 | 95436.8928 | 213131.0295 | 27.3 | 43.4
239290 | 2022-05-16 12:02 | 21.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5419 | μmol/L | 18.4714 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.669 | 95434.2236 | 213121.3517 | 27.3 | 43.4
239300 | 2022-05-16 12:03 | 22.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.5877 | μmol/L | 18.4714 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.667 | 95418.9689 | 213113.6807 | 27.3 | 43.4
239310 | 2022-05-16 12:03 | 22.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.4699 | μmol/L | 18.4775 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.67 | 95414.9022 | 213102.7388 | 27.3 | 43.4
239320 | 2022-05-16 12:03 | 22.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.4043 | μmol/L | 18.4714 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.675 | 95426.25 | 213092.7241 | 27.3 | 43.4
239330 | 2022-05-16 12:04 | 23.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.2866 | μmol/L | 18.4775 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.678 | 95416.823 | 213089.334 | 27.3 | 43.4
239340 | 2022-05-16 12:04 | 23.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.4043 | μmol/L | 18.4714 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.675 | 95418.0586 | 213084.9517 | 27.3 | 43.4
239350 | 2022-05-16 12:04 | 23.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.4566 | μmol/L | 18.4591 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.677 | 95421.3906 | 213064.9899 | 27.3 | 43.4
239360 | 2022-05-16 12:05 | 24.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.2734 | μmol/L | 18.4591 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.685 | 95426.399 | 213064.9942 | 27.3 | 43.4
239370 | 2022-05-16 12:05 | 24.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.3486 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.686 | 95438.3774 | 213042.2493 | 27.3 | 43.4
239380 | 2022-05-16 12:05 | 24.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.3486 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.686 | 95441.0813 | 213034.5713 | 27.3 | 43.4
239390 | 2022-05-16 12:06 | 25.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.1622 | μmol/L | 18.453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.692 | 95447.7027 | 213024.2593 | 27.3 | 43.4
239400 | 2022-05-16 12:06 | 25.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 265.0674 | μmol/L | 18.4591 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.694 | 95461.5854 | 213012.4155 | 27.3 | 43.4
239410 | 2022-05-16 12:06 | 25.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.9596 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.703 | 95466.1496 | 213011.8414 | 27.3 | 43.4
239420 | 2022-05-16 12:07 | 26.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.9563 | μmol/L | 18.453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.701 | 95474.7008 | 212999.7152 | 27.3 | 43.4
239430 | 2022-05-16 12:07 | 26.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.9596 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.703 | 95475.5102 | 212994.7779 | 27.3 | 43.4
239440 | 2022-05-16 12:07 | 26.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.9138 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.705 | 95486.1169 | 212986.0407 | 27.3 | 43.4
239450 | 2022-05-16 12:08 | 27.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.7735 | μmol/L | 18.453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.709 | 95495.9088 | 212975.9593 | 27.3 | 43.4
239460 | 2022-05-16 12:08 | 27.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.7735 | μmol/L | 18.453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.709 | 95495.1056 | 212962.8741 | 27.3 | 43.4
239470 | 2022-05-16 12:08 | 27.6677 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.6626 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.716 | 95497.3921 | 212951.4284 | 27.3 | 43.4
239480 | 2022-05-16 12:09 | 28.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.6887 | μmol/L | 18.4408 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.717 | 95508.2536 | 212954.1808 | 27.3 | 43.4
239490 | 2022-05-16 12:09 | 28.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.5572 | μmol/L | 18.4408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.723 | 95523.0252 | 212941.2609 | 27.3 | 43.4
239500 | 2022-05-16 12:09 | 28.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.4572 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.725 | 95234.3393 | 212925.1215 | 27.3 | 43.4
239510 | 2022-05-16 12:10 | 29.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.4116 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.727 | 95562.5075 | 212915.3087 | 27.3 | 43.4
239520 | 2022-05-16 12:10 | 29.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.4149 | μmol/L | 18.4408 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.729 | 95563.4996 | 212910.0136 | 27.3 | 43.4
239530 | 2022-05-16 12:10 | 29.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.4237 | μmol/L | 18.4347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.731 | 95563.4399 | 212897.496 | 27.3 | 43.4
239540 | 2022-05-16 12:11 | 30.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.3009 | μmol/L | 18.4408 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.734 | 95557.1594 | 212893.6093 | 27.3 | 43.4
239550 | 2022-05-16 12:11 | 30.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.2065 | μmol/L | 18.4469 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.736 | 95553.8852 | 212874.3189 | 27.3 | 43.4
239560 | 2022-05-16 12:11 | 30.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.2348 | μmol/L | 18.4469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.735 | 95549.2924 | 212864.8061 | 27.3 | 43.4
239570 | 2022-05-16 12:12 | 31.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.2186 | μmol/L | 18.4347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.74 | 95561.7805 | 212858.4122 | 27.3 | 43.4
239580 | 2022-05-16 12:12 | 31.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.2414 | μmol/L | 18.4347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.739 | 95559.773 | 212858.8314 | 27.3 | 43.4
239590 | 2022-05-16 12:12 | 31.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.1014 | μmol/L | 18.4408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.743 | 95561.2479 | 212844.1175 | 27.3 | 43.4
239600 | 2022-05-16 12:13 | 32.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 264.0309 | μmol/L | 18.4347 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.748 | 95565.731 | 212827.7892 | 27.3 | 43.4
239610 | 2022-05-16 12:13 | 32.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.875 | μmol/L | 18.4286 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.757 | 95593.2139 | 212822.2037 | 27.3 | 43.4
239620 | 2022-05-16 12:13 | 32.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.8523 | μmol/L | 18.4286 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.758 | 95579.6537 | 212810.0967 | 27.3 | 43.4
239630 | 2022-05-16 12:14 | 33.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.8611 | μmol/L | 18.4225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.76 | 95591.03 | 212805.7347 | 27.3 | 43.4
239640 | 2022-05-16 12:14 | 33.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.6532 | μmol/L | 18.4286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.767 | 95613.4097 | 212795.7982 | 27.3 | 43.4
239650 | 2022-05-16 12:14 | 33.6677 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.702 | μmol/L | 18.4225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.767 | 95633.035 | 212784.3232 | 27.3 | 43.4
239660 | 2022-05-16 12:15 | 34.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.5851 | μmol/L | 18.4286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 95612.7268 | 212782.1852 | 27.3 | 43.4
239670 | 2022-05-16 12:15 | 34.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.6338 | μmol/L | 18.4225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.77 | 95614.4877 | 212766.4554 | 27.3 | 43.4
239680 | 2022-05-16 12:15 | 34.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.4489 | μmol/L | 18.4286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.776 | 95623.8326 | 212746.4059 | 27.3 | 43.4
239690 | 2022-05-16 12:16 | 35.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.3842 | μmol/L | 18.4225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.781 | 95654.1505 | 212741.4562 | 27.3 | 43.4
239700 | 2022-05-16 12:16 | 35.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.2233 | μmol/L | 18.4164 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.79 | 95655.9752 | 212736.1785 | 27.3 | 43.4
239710 | 2022-05-16 12:16 | 35.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.2686 | μmol/L | 18.4164 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 95675.5685 | 212736.3275 | 27.3 | 43.4
239720 | 2022-05-16 12:17 | 36.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.1121 | μmol/L | 18.4225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.793 | 95676.4833 | 212734.6513 | 27.3 | 43.4
239730 | 2022-05-16 12:17 | 36.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.0442 | μmol/L | 18.4225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 95675.3824 | 212706.4637 | 27.3 | 43.4
239740 | 2022-05-16 12:17 | 36.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 263.0249 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.799 | 95683.2536 | 212698.0647 | 27.3 | 43.4
239750 | 2022-05-16 12:18 | 37.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.9569 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.802 | 95710.2107 | 212705.2702 | 27.3 | 43.4
239760 | 2022-05-16 12:18 | 37.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.889 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.805 | 95714.1416 | 212693.5559 | 27.3 | 43.4
239770 | 2022-05-16 12:18 | 37.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.8664 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.806 | 95728.4762 | 212689.2713 | 27.3 | 43.4
239780 | 2022-05-16 12:19 | 38.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.7307 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.812 | 95737.31 | 212681.1639 | 27.3 | 43.4
239790 | 2022-05-16 12:19 | 38.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.6629 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.815 | 95725.361 | 212664.3203 | 27.3 | 43.4
239800 | 2022-05-16 12:19 | 38.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.5725 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.819 | 95736.3234 | 212679.3503 | 27.3 | 43.4
239810 | 2022-05-16 12:20 | 39.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.5499 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 95752.4179 | 212665.3937 | 27.3 | 43.4
239820 | 2022-05-16 12:20 | 39.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.4821 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.823 | 95760.7083 | 212655.0089 | 27.3 | 43.4
239830 | 2022-05-16 12:20 | 39.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.4595 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.824 | 95761.0582 | 212650.8069 | 27.3 | 43.4
239840 | 2022-05-16 12:21 | 40.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.4369 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.825 | 95763.5214 | 212635.2964 | 27.3 | 43.4
239850 | 2022-05-16 12:21 | 40.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.3049 | μmol/L | 18.4103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.833 | 95784.1549 | 212636.732 | 27.3 | 43.4
239860 | 2022-05-16 12:21 | 40.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.3049 | μmol/L | 18.4103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.833 | 95769.7417 | 212628.4445 | 27.3 | 43.4
239870 | 2022-05-16 12:22 | 41.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.2146 | μmol/L | 18.4103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.837 | 95782.106 | 212626.4645 | 27.3 | 43.4
239880 | 2022-05-16 12:22 | 41.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.076 | μmol/L | 18.4164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.841 | 95777.0934 | 212615.8006 | 27.3 | 43.4
239890 | 2022-05-16 12:22 | 41.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.1019 | μmol/L | 18.4103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.842 | 95782.9897 | 212592.0323 | 27.3 | 43.4
239900 | 2022-05-16 12:23 | 42.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.1504 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.842 | 95787.5936 | 212594.7084 | 27.3 | 43.4
239910 | 2022-05-16 12:23 | 42.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 262.0377 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 95806.8709 | 212587.1545 | 27.3 | 43.4
239920 | 2022-05-16 12:23 | 42.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.9025 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.853 | 95820.2604 | 212595.5423 | 27.3 | 43.4
239930 | 2022-05-16 12:24 | 43.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.6549 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.864 | 95865.7351 | 212580.7566 | 27.3 | 43.4
239940 | 2022-05-16 12:24 | 43.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.7258 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.863 | 95872.6577 | 212578.4001 | 27.3 | 43.4
239950 | 2022-05-16 12:24 | 43.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.5425 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.869 | 95884.1887 | 212566.048 | 27.3 | 43.4
239960 | 2022-05-16 12:25 | 44.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.4975 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.871 | 95893.0311 | 212558.8104 | 27.3 | 43.4
239970 | 2022-05-16 12:25 | 44.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.5459 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.871 | 95909.7048 | 212568.1123 | 27.3 | 43.4
239980 | 2022-05-16 12:25 | 44.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.4301 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.874 | 95919.4037 | 212547.8081 | 27.3 | 43.4
239990 | 2022-05-16 12:26 | 45.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 261.0036 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.893 | 95992.7458 | 212538.853 | 27.3 | 43.4
240000 | 2022-05-16 12:26 | 45.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.8467 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.9 | 96002.7833 | 212541.6685 | 27.3 | 43.4
240010 | 2022-05-16 12:26 | 45.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.9398 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.898 | 96013.4355 | 212529.3593 | 27.3 | 43.4
240020 | 2022-05-16 12:27 | 46.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.8312 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.905 | 96018.1054 | 212519.1295 | 27.3 | 43.4
240030 | 2022-05-16 12:27 | 46.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.8123 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.908 | 96022.6621 | 212525.5297 | 27.3 | 43.4
240040 | 2022-05-16 12:27 | 46.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.8123 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.908 | 96037.5264 | 212512.8029 | 27.3 | 43.4
240050 | 2022-05-16 12:28 | 47.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.6004 | μmol/L | 18.4042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.911 | 96043.2809 | 212502.1474 | 27.3 | 43.4
240060 | 2022-05-16 12:28 | 47.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.6779 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.914 | 96060.8729 | 212499.5619 | 27.3 | 43.4
240070 | 2022-05-16 12:28 | 47.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.5402 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.918 | 96078.563 | 212488.5014 | 27.3 | 43.4
240080 | 2022-05-16 12:29 | 48.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.406 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.924 | 96102.4868 | 212490.8387 | 27.3 | 43.4
240090 | 2022-05-16 12:29 | 48.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.4955 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.92 | 96113.6082 | 212478.9341 | 27.3 | 43.4
240100 | 2022-05-16 12:29 | 48.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.3648 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.928 | 96130.1879 | 212482.2499 | 27.3 | 43.4
240110 | 2022-05-16 12:30 | 49.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.2461 | μmol/L | 18.3981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 96144.6816 | 212472.2127 | 27.3 | 43.4
240120 | 2022-05-16 12:30 | 49.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.2977 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.931 | 96148.2813 | 212469.8112 | 27.3 | 43.4
240130 | 2022-05-16 12:30 | 49.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1826 | μmol/L | 18.3919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.934 | 96159.6138 | 212471.53 | 27.3 | 43.4
240140 | 2022-05-16 12:31 | 50.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1225 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.941 | 96181.1478 | 212475.9361 | 27.3 | 43.4
240150 | 2022-05-16 12:31 | 50.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0298 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.943 | 96185.7954 | 212455.4868 | 27.3 | 43.4
240160 | 2022-05-16 12:31 | 50.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9886 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.947 | 96192.0075 | 212471.5831 | 27.3 | 43.4
240170 | 2022-05-16 12:32 | 51.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0779 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.943 | 96198.967 | 212455.7493 | 27.3 | 43.4
240180 | 2022-05-16 12:32 | 51.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.8771 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.952 | 96202.7009 | 212465.6864 | 27.3 | 43.4
240190 | 2022-05-16 12:32 | 51.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9217 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.95 | 96220.0991 | 212457.8361 | 27.3 | 43.4
240200 | 2022-05-16 12:33 | 52.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.7622 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.955 | 96226.1968 | 212455.8148 | 27.3 | 43.4
240210 | 2022-05-16 12:33 | 52.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.6988 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.96 | 96245.3543 | 212440.4426 | 27.3 | 43.4
240220 | 2022-05-16 12:33 | 52.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.6954 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.958 | 96264.3268 | 212446.3277 | 27.3 | 43.4
240230 | 2022-05-16 12:34 | 53.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.543 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.967 | 96286.5883 | 212449.2876 | 27.3 | 43.4
240240 | 2022-05-16 12:34 | 53.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4797 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.972 | 96310.2418 | 212441.34 | 27.3 | 43.4
240250 | 2022-05-16 12:34 | 53.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2982 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.978 | 96325.8646 | 212434.036 | 27.3 | 43.4
240260 | 2022-05-16 12:35 | 54.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2351 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.983 | 96336.4616 | 212431.4339 | 27.3 | 43.4
240270 | 2022-05-16 12:35 | 54.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0281 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.988 | 96351.8274 | 212419.0118 | 27.3 | 43.4
240280 | 2022-05-16 12:35 | 54.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0503 | μmol/L | 18.3858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.987 | 96362.5625 | 212406.7985 | 27.3 | 43.4
240290 | 2022-05-16 12:36 | 55.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.076 | μmol/L | 18.3797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.988 | 96380.4743 | 212405.6332 | 27.3 | 43.4
240300 | 2022-05-16 12:36 | 55.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9498 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.998 | 96397.3175 | 212400.6685 | 27.3 | 43.4
240310 | 2022-05-16 12:36 | 55.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.8576 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22 | 96408.7535 | 212402.5766 | 27.3 | 43.4
240320 | 2022-05-16 12:37 | 56.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.791 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.003 | 96425.3379 | 212401.6866 | 27.3 | 43.4
240330 | 2022-05-16 12:37 | 56.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.728 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.008 | 96435.902 | 212396.0186 | 27.3 | 43.4
240340 | 2022-05-16 12:37 | 56.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.658 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.009 | 96446.5873 | 212384.1961 | 27.3 | 43.4
240350 | 2022-05-16 12:38 | 57.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.658 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.009 | 96451.2318 | 212386.3804 | 27.3 | 43.4
240360 | 2022-05-16 12:38 | 57.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5286 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.017 | 96456.0712 | 212384.3695 | 27.3 | 43.4
240370 | 2022-05-16 12:38 | 57.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4843 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.019 | 96475.4847 | 212388.1697 | 27.3 | 43.4
240380 | 2022-05-16 12:39 | 58.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3701 | μmol/L | 18.3736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.022 | 96479.0919 | 212383.5745 | 27.3 | 43.4
240390 | 2022-05-16 12:39 | 58.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2851 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.028 | 96496.8942 | 212373.4696 | 27.3 | 43.4
240400 | 2022-05-16 12:39 | 58.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4471 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.025 | 96497.1577 | 212378.5504 | 27.3 | 43.4
240410 | 2022-05-16 12:40 | 59.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.1745 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.033 | 96513.5827 | 212366.0951 | 27.3 | 43.4
240420 | 2022-05-16 12:40 | 59.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2665 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.031 | 96533.1769 | 212366.3523 | 27.3 | 43.4
240430 | 2022-05-16 12:40 | 59.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9792 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.044 | 96585.601 | 212361.6761 | 27.3 | 43.4
240440 | 2022-05-16 12:41 | 60.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.8211 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.049 | 96605.0849 | 212364.7302 | 27.3 | 43.4
240450 | 2022-05-16 12:41 | 60.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.8908 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.048 | 96615.2829 | 212348.2293 | 27.3 | 43.4
240460 | 2022-05-16 12:41 | 60.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7328 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.053 | 96635.5112 | 212347.697 | 27.3 | 43.4
240470 | 2022-05-16 12:42 | 61.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5123 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.063 | 96652.8327 | 212343.007 | 27.3 | 43.4
240480 | 2022-05-16 12:42 | 61.3343 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6481 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.059 | 96661.2299 | 212337.1148 | 27.3 | 43.4
240490 | 2022-05-16 12:42 | 61.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4754 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.069 | 96686.9587 | 212338.2781 | 27.3 | 43.4
240500 | 2022-05-16 12:43 | 62.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6517 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.061 | 96681.5917 | 212329.4781 | 27.3 | 43.4
240510 | 2022-05-16 12:43 | 62.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4497 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.068 | 96697.9668 | 212320.8435 | 27.3 | 43.4
240520 | 2022-05-16 12:43 | 62.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.8777 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.094 | 96794.0338 | 212316.5489 | 27.3 | 43.4
240530 | 2022-05-16 12:44 | 63.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.8594 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.097 | 96833.9706 | 212316.4571 | 27.3 | 43.4
240540 | 2022-05-16 12:44 | 63.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5704 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.108 | 96839.9279 | 212307.7201 | 27.3 | 43.4
240550 | 2022-05-16 12:44 | 63.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6618 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.106 | 96845.3279 | 212297.9661 | 27.3 | 43.4
240560 | 2022-05-16 12:45 | 64.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.479 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.11 | 96868.3857 | 212299.5547 | 27.3 | 43.4
240570 | 2022-05-16 12:45 | 64.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4863 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.114 | 96881.7289 | 212289.0365 | 27.3 | 43.4
240580 | 2022-05-16 12:45 | 64.6677 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4424 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 96889.408 | 212271.8524 | 27.3 | 43.4
240590 | 2022-05-16 12:46 | 65.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.289 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.123 | 96906.1098 | 212277.4786 | 27.3 | 43.4
240600 | 2022-05-16 12:46 | 65.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.0263 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.135 | 96960.1345 | 212280.7333 | 27.3 | 43.4
240610 | 2022-05-16 12:46 | 65.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.9607 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.138 | 96997.318 | 212277.76 | 27.3 | 43.4
240620 | 2022-05-16 12:47 | 66.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.8514 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.143 | 97004.9623 | 212255.1457 | 27.3 | 43.4
240630 | 2022-05-16 12:47 | 66.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7858 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.146 | 97020.7194 | 212258.646 | 27.3 | 43.4
240640 | 2022-05-16 12:47 | 66.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6547 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.152 | 97031.9331 | 212244.272 | 27.3 | 43.4
240650 | 2022-05-16 12:48 | 67.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6111 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.154 | 97032.6619 | 212248.6245 | 27.3 | 43.4
240660 | 2022-05-16 12:48 | 67.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5238 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.158 | 97041.1933 | 212234.0096 | 27.3 | 43.4
240670 | 2022-05-16 12:48 | 67.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5456 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.157 | 97047.4018 | 212227.4506 | 27.3 | 43.4
240680 | 2022-05-16 12:49 | 68.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5929 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.157 | 97050.4688 | 212232.8449 | 27.3 | 43.4
240690 | 2022-05-16 12:49 | 68.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4583 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.161 | 97060.2471 | 212229.831 | 27.3 | 43.4
240700 | 2022-05-16 12:49 | 68.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4801 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.16 | 97056.64 | 212219.7359 | 27.3 | 43.4
240710 | 2022-05-16 12:50 | 69.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4147 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.163 | 97062.8801 | 212215.0541 | 27.3 | 43.4
240720 | 2022-05-16 12:50 | 69.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3274 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.167 | 97070.3309 | 212215.0078 | 27.3 | 43.4
240730 | 2022-05-16 12:50 | 69.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.193 | μmol/L | 18.3614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.171 | 97075.6687 | 212214.158 | 27.3 | 43.4
240740 | 2022-05-16 12:51 | 70.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0877 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.178 | 97090.7299 | 212211.0317 | 27.3 | 43.4
240750 | 2022-05-16 12:51 | 70.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1168 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.181 | 97101.1962 | 212196.8307 | 27.3 | 43.4
240760 | 2022-05-16 12:51 | 70.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0914 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.18 | 97102.3273 | 212198.8294 | 27.3 | 43.4
240770 | 2022-05-16 12:52 | 71.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.9354 | μmol/L | 18.3553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.185 | 97114.4893 | 212197.3995 | 27.3 | 43.4
240780 | 2022-05-16 12:52 | 71.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0515 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.184 | 97118.9293 | 212183.7231 | 27.3 | 43.4
240790 | 2022-05-16 12:52 | 71.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0515 | μmol/L | 18.3431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.184 | 97125.9695 | 212183.3174 | 27.3 | 43.4
240800 | 2022-05-16 12:53 | 72.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0043 | μmol/L | 18.3492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.184 | 97131.9971 | 212162.7748 | 27.3 | 43.4