## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 118251917 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:49

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
33 | 2022-05-16 13:24 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.5713 | μmol/L | 17.0659 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.507 | 124154.0609 | 288204.3123 | 59.9307 | 49.4
42 | 2022-05-16 13:24 | 0.32743 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.4336 | μmol/L | 17.0782 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.508 | 124177.8806 | 288214.862 | 59.9307 | 49.4
52 | 2022-05-16 13:25 | 0.66061 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.5332 | μmol/L | 17.0782 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.504 | 124137.3051 | 288196.5788 | 59.9307 | 49.4
61 | 2022-05-16 13:25 | 0.99399 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.583 | μmol/L | 17.0782 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.502 | 124139.8976 | 288190.2723 | 59.9307 | 49.4
71 | 2022-05-16 13:25 | 1.3269 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.6263 | μmol/L | 17.0844 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.498 | 124097.4185 | 288195.1681 | 59.9307 | 49.4
82 | 2022-05-16 13:26 | 1.6607 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3274 | μmol/L | 17.0844 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.51 | 124153.07 | 288180.9039 | 59.9307 | 49.4
92 | 2022-05-16 13:26 | 1.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3955 | μmol/L | 17.0905 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.505 | 124129.2121 | 288177.5318 | 59.9307 | 49.4
102 | 2022-05-16 13:26 | 2.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.4204 | μmol/L | 17.0905 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.504 | 124113.7687 | 288174.5657 | 59.9307 | 49.4
112 | 2022-05-16 13:27 | 2.6607 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.52 | μmol/L | 17.0905 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.5 | 124097.6922 | 288174.0119 | 59.9307 | 49.4
122 | 2022-05-16 13:27 | 2.9938 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3575 | μmol/L | 17.1029 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.502 | 124101.662 | 288163.9942 | 59.9307 | 49.4
131 | 2022-05-16 13:27 | 3.3269 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.4755 | μmol/L | 17.109 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.495 | 124094.7805 | 288175.9539 | 59.9307 | 49.4
141 | 2022-05-16 13:28 | 3.6601 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.2383 | μmol/L | 17.1214 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.5 | 124079.819 | 288155.5893 | 59.9307 | 49.4
151 | 2022-05-16 13:28 | 3.994 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3942 | μmol/L | 17.1152 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.496 | 124090.2656 | 288140.888 | 59.9307 | 49.4
161 | 2022-05-16 13:28 | 4.3271 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.169 | μmol/L | 17.1399 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.496 | 124079.7715 | 288156.774 | 59.9307 | 49.4
171 | 2022-05-16 13:29 | 4.6607 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.2502 | μmol/L | 17.1337 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.495 | 124069.4136 | 288165.0921 | 59.9307 | 49.4
181 | 2022-05-16 13:29 | 4.9937 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.2934 | μmol/L | 17.1399 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.491 | 124055.4875 | 288144.8058 | 59.9307 | 49.4
191 | 2022-05-16 13:29 | 5.3268 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3118 | μmol/L | 17.146 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.488 | 124036.9618 | 288165.1219 | 59.9307 | 49.4
202 | 2022-05-16 13:30 | 5.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.1809 | μmol/L | 17.1522 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.491 | 124039.9427 | 288143.3627 | 59.9307 | 49.4
211 | 2022-05-16 13:30 | 5.9938 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.0435 | μmol/L | 17.1645 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.492 | 124060.1138 | 288153.5011 | 59.9307 | 49.4
221 | 2022-05-16 13:30 | 6.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.2923 | μmol/L | 17.1645 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.482 | 124008.7231 | 288141.7673 | 59.9307 | 49.4
232 | 2022-05-16 13:31 | 6.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.2859 | μmol/L | 17.1707 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.48 | 124007.3207 | 288157.4792 | 59.9307 | 49.4
242 | 2022-05-16 13:31 | 6.994 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3421 | μmol/L | 17.1645 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.48 | 123990.383 | 288148.0722 | 59.9307 | 49.4
251 | 2022-05-16 13:31 | 7.3271 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3606 | μmol/L | 17.1707 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.477 | 123983.8397 | 288137.1282 | 59.9307 | 49.4
261 | 2022-05-16 13:32 | 7.6602 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.1669 | μmol/L | 17.1892 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.478 | 124007.1334 | 288137.2937 | 59.9307 | 49.4
271 | 2022-05-16 13:32 | 7.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.2102 | μmol/L | 17.1954 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.474 | 123977.8815 | 288137.1334 | 59.9307 | 49.4
281 | 2022-05-16 13:32 | 8.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.3596 | μmol/L | 17.1954 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.468 | 123942.3069 | 288143.5371 | 59.9307 | 49.4
291 | 2022-05-16 13:33 | 8.6602 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 289.048 | μmol/L | 17.2077 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.476 | 123984.5383 | 288145.6376 | 59.9307 | 49.4
301 | 2022-05-16 13:33 | 8.994 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.9541 | μmol/L | 17.2262 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.473 | 123983.1799 | 288131.6836 | 59.9307 | 49.4
311 | 2022-05-16 13:33 | 9.3269 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.6799 | μmol/L | 17.2509 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.475 | 124014.68 | 288141.7288 | 59.9307 | 49.4
322 | 2022-05-16 13:34 | 9.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.6487 | μmol/L | 17.2571 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.474 | 123999.6333 | 288135.2531 | 59.9307 | 49.4
332 | 2022-05-16 13:34 | 9.994 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.5798 | μmol/L | 17.2756 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.47 | 124005.0268 | 288136.0836 | 59.9307 | 49.4
342 | 2022-05-16 13:34 | 10.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3806 | μmol/L | 17.3002 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.469 | 123996.0774 | 288135.7476 | 59.9307 | 49.4
351 | 2022-05-16 13:35 | 10.6602 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.5233 | μmol/L | 17.3064 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.461 | 123966.4859 | 288119.4958 | 59.9307 | 49.4
362 | 2022-05-16 13:35 | 10.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3679 | μmol/L | 17.3126 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.465 | 123965.8921 | 288120.1919 | 59.9307 | 49.4
372 | 2022-05-16 13:35 | 11.3272 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3057 | μmol/L | 17.3249 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.463 | 123980.5139 | 288119.0727 | 59.9307 | 49.4
381 | 2022-05-16 13:36 | 11.6601 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1938 | μmol/L | 17.3372 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.463 | 123974.6299 | 288127.6215 | 59.9307 | 49.4
391 | 2022-05-16 13:36 | 11.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.2371 | μmol/L | 17.3434 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.459 | 123947.2348 | 288122.3517 | 59.9307 | 49.4
402 | 2022-05-16 13:36 | 12.3271 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.0694 | μmol/L | 17.3619 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.459 | 123952.1439 | 288120.8387 | 59.9307 | 49.4
412 | 2022-05-16 13:37 | 12.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.8771 | μmol/L | 17.3804 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.46 | 123956.1155 | 288100.1336 | 59.9307 | 49.4
421 | 2022-05-16 13:37 | 12.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6974 | μmol/L | 17.3866 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.465 | 123948.485 | 288120.7862 | 59.9307 | 49.4
432 | 2022-05-16 13:37 | 13.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6168 | μmol/L | 17.3928 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.466 | 123942.3943 | 288129.4953 | 59.9307 | 49.4
441 | 2022-05-16 13:38 | 13.6604 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7469 | μmol/L | 17.3866 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.463 | 123928.3171 | 288107.7428 | 59.9307 | 49.4
451 | 2022-05-16 13:38 | 13.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6539 | μmol/L | 17.4051 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.46 | 123928.0114 | 288097.195 | 59.9307 | 49.4
461 | 2022-05-16 13:38 | 14.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.0133 | μmol/L | 17.3928 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.45 | 123895.4997 | 288118.76 | 59.9307 | 49.4
471 | 2022-05-16 13:39 | 14.6601 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.0319 | μmol/L | 17.3989 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.447 | 123888.8595 | 288101.2502 | 59.9307 | 49.4
481 | 2022-05-16 13:39 | 14.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.9513 | μmol/L | 17.4051 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.448 | 123898.5424 | 288109.2812 | 59.9307 | 49.4
491 | 2022-05-16 13:39 | 15.3272 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.8335 | μmol/L | 17.4236 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.446 | 123896.0679 | 288113.57 | 59.9307 | 49.4
501 | 2022-05-16 13:40 | 15.6606 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7467 | μmol/L | 17.4359 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.445 | 123885.7478 | 288098.1864 | 59.9307 | 49.4
512 | 2022-05-16 13:40 | 15.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6848 | μmol/L | 17.4483 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.443 | 123899.8131 | 288105.1752 | 59.9307 | 49.4
522 | 2022-05-16 13:40 | 16.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6043 | μmol/L | 17.4544 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.444 | 123887.4049 | 288104.905 | 59.9307 | 49.4
532 | 2022-05-16 13:41 | 16.6602 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7964 | μmol/L | 17.4606 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.434 | 123838.5723 | 288104.2454 | 59.9307 | 49.4
542 | 2022-05-16 13:41 | 16.9937 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.815 | μmol/L | 17.4668 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.431 | 123816.4982 | 288074.4151 | 59.9307 | 49.4
551 | 2022-05-16 13:41 | 17.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7345 | μmol/L | 17.4729 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.432 | 123822.5164 | 288081.5485 | 59.9307 | 49.4
562 | 2022-05-16 13:42 | 17.6606 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.8523 | μmol/L | 17.4791 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.425 | 123772.5129 | 288096.9169 | 59.9307 | 49.4
572 | 2022-05-16 13:42 | 17.9934 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.5983 | μmol/L | 17.4853 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.433 | 123816.8268 | 288078.4998 | 59.9307 | 49.4
582 | 2022-05-16 13:42 | 18.3269 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4561 | μmol/L | 17.5038 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.432 | 123828.9927 | 288062.135 | 59.9307 | 49.4
592 | 2022-05-16 13:43 | 18.6603 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6173 | μmol/L | 17.5161 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.421 | 123778.7978 | 288062.6676 | 59.9307 | 49.4
601 | 2022-05-16 13:43 | 18.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7599 | μmol/L | 17.5223 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.413 | 123731.5901 | 288062.1411 | 59.9307 | 49.4
611 | 2022-05-16 13:43 | 19.3274 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4503 | μmol/L | 17.5346 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.421 | 123787.8056 | 288056.2822 | 59.9307 | 49.4
621 | 2022-05-16 13:44 | 19.6603 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4564 | μmol/L | 17.5285 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.423 | 123775.5067 | 288045.5105 | 59.9307 | 49.4
632 | 2022-05-16 13:44 | 19.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.5929 | μmol/L | 17.5408 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.413 | 123738.0314 | 288052.9753 | 59.9307 | 49.4
641 | 2022-05-16 13:44 | 20.3272 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.5125 | μmol/L | 17.547 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.414 | 123740.4568 | 288044.8308 | 59.9307 | 49.4
652 | 2022-05-16 13:45 | 20.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2962 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.416 | 123711.2655 | 288034.0085 | 59.9307 | 49.4
662 | 2022-05-16 13:45 | 20.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7974 | μmol/L | 17.5346 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.407 | 123645.8022 | 288020.6753 | 59.9307 | 49.4
671 | 2022-05-16 13:45 | 21.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6552 | μmol/L | 17.5531 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.406 | 123624.2673 | 288028.1056 | 59.9307 | 49.4
681 | 2022-05-16 13:46 | 21.6603 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4321 | μmol/L | 17.5531 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.415 | 123682.8782 | 288016.8619 | 59.9307 | 49.4
691 | 2022-05-16 13:46 | 21.994 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.3209 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.415 | 123675.1344 | 288009.1364 | 59.9307 | 49.4
701 | 2022-05-16 13:46 | 22.3274 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4696 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.409 | 123652.22 | 288008.5537 | 59.9307 | 49.4
711 | 2022-05-16 13:47 | 22.6607 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6183 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.403 | 123598.583 | 287993.9476 | 59.9307 | 49.4
721 | 2022-05-16 13:47 | 22.9934 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.8228 | μmol/L | 17.5593 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.397 | 123559.5518 | 287987.8222 | 59.9307 | 49.4
732 | 2022-05-16 13:47 | 23.3274 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.8228 | μmol/L | 17.5593 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.397 | 123562.9738 | 287977.6384 | 59.9307 | 49.4
742 | 2022-05-16 13:48 | 23.6605 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6431 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.402 | 123561.7446 | 287973.2907 | 59.9307 | 49.4
751 | 2022-05-16 13:48 | 23.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7671 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.397 | 123543.5161 | 287979.703 | 59.9307 | 49.4
761 | 2022-05-16 13:48 | 24.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6431 | μmol/L | 17.5655 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.402 | 123563.4798 | 287963.9077 | 59.9307 | 49.4
772 | 2022-05-16 13:49 | 24.6603 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.631 | μmol/L | 17.5778 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.398 | 123572.0509 | 287965.852 | 59.9307 | 49.4
781 | 2022-05-16 13:49 | 24.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4702 | μmol/L | 17.5901 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.4 | 123587.1626 | 287958.5485 | 59.9307 | 49.4
791 | 2022-05-16 13:49 | 25.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.619 | μmol/L | 17.5901 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.394 | 123535.4053 | 287954.7321 | 59.9307 | 49.4
802 | 2022-05-16 13:50 | 25.6607 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4087 | μmol/L | 17.6025 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.398 | 123555.9813 | 287960.1318 | 59.9307 | 49.4
812 | 2022-05-16 13:50 | 25.9938 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.3839 | μmol/L | 17.6025 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.399 | 123545.5801 | 287955.8964 | 59.9307 | 49.4
821 | 2022-05-16 13:50 | 26.3268 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.3779 | μmol/L | 17.6087 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.397 | 123532.9373 | 287934.6984 | 59.9307 | 49.4
832 | 2022-05-16 13:51 | 26.6605 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.3411 | μmol/L | 17.621 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.394 | 123525.3179 | 287945.1609 | 59.9307 | 49.4
841 | 2022-05-16 13:51 | 26.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2361 | μmol/L | 17.6272 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.396 | 123527.1859 | 287949.6209 | 59.9307 | 49.4
851 | 2022-05-16 13:51 | 27.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4343 | μmol/L | 17.6272 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.388 | 123481.2982 | 287938.6876 | 59.9307 | 49.4
862 | 2022-05-16 13:52 | 27.6604 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.3104 | μmol/L | 17.6272 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.393 | 123487.2463 | 287936.4825 | 59.9307 | 49.4
872 | 2022-05-16 13:52 | 27.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2796 | μmol/L | 17.6333 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.392 | 123485.8646 | 287942.7595 | 59.9307 | 49.4
881 | 2022-05-16 13:52 | 28.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2737 | μmol/L | 17.6395 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.39 | 123490.1697 | 287927.5299 | 59.9307 | 49.4
891 | 2022-05-16 13:53 | 28.6604 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.0518 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.39 | 123489.6246 | 287927.6867 | 59.9307 | 49.4
901 | 2022-05-16 13:53 | 28.9934 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2063 | μmol/L | 17.658 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.386 | 123454.2175 | 287917.9021 | 59.9307 | 49.4
911 | 2022-05-16 13:53 | 29.3274 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2003 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.384 | 123433.683 | 287902.6703 | 59.9307 | 49.4
922 | 2022-05-16 13:54 | 29.6603 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2499 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.382 | 123436.2691 | 287901.2018 | 59.9307 | 49.4
931 | 2022-05-16 13:54 | 29.9934 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.1142 | μmol/L | 17.6765 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.383 | 123458.4818 | 287905.6869 | 59.9307 | 49.4
941 | 2022-05-16 13:54 | 30.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.1578 | μmol/L | 17.6827 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.379 | 123420.689 | 287896.5593 | 59.9307 | 49.4
951 | 2022-05-16 13:55 | 30.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2192 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.381 | 123416.6543 | 287884.506 | 59.9307 | 49.4
962 | 2022-05-16 13:55 | 30.9937 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.244 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.38 | 123402.795 | 287895.5678 | 59.9307 | 49.4
972 | 2022-05-16 13:55 | 31.3275 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.2321 | μmol/L | 17.6827 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.376 | 123386.9889 | 287904.6219 | 59.9307 | 49.4
982 | 2022-05-16 13:56 | 31.6605 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.591 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.366 | 123306.763 | 287899.1013 | 59.9307 | 49.4
992 | 2022-05-16 13:56 | 31.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.597 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.368 | 123314.9567 | 287886.2256 | 59.9307 | 49.4
1001 | 2022-05-16 13:56 | 32.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.5107 | μmol/L | 17.6765 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.367 | 123324.1016 | 287876.2097 | 59.9307 | 49.4
1011 | 2022-05-16 13:57 | 32.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4552 | μmol/L | 17.6827 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.367 | 123332.6657 | 287868.6604 | 59.9307 | 49.4
1021 | 2022-05-16 13:57 | 32.9938 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6478 | μmol/L | 17.6888 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.357 | 123264.0609 | 287868.6758 | 59.9307 | 49.4
1031 | 2022-05-16 13:57 | 33.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.4375 | μmol/L | 17.7012 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.361 | 123286.2807 | 287858.1285 | 59.9307 | 49.4
1041 | 2022-05-16 13:58 | 33.6605 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6301 | μmol/L | 17.7074 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.351 | 123238.5188 | 287873.9526 | 59.9307 | 49.4
1051 | 2022-05-16 13:58 | 33.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.747 | μmol/L | 17.6888 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.353 | 123216.556 | 287867.7787 | 59.9307 | 49.4
1062 | 2022-05-16 13:58 | 34.3274 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.5981 | μmol/L | 17.6888 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.359 | 123249.8187 | 287866.142 | 59.9307 | 49.4
1072 | 2022-05-16 13:59 | 34.6604 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7719 | μmol/L | 17.6888 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.352 | 123222.7065 | 287858.6277 | 59.9307 | 49.4
1081 | 2022-05-16 13:59 | 34.9933 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6726 | μmol/L | 17.6888 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.356 | 123233.7964 | 287856.8939 | 59.9307 | 49.4
1091 | 2022-05-16 13:59 | 35.3271 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7529 | μmol/L | 17.6827 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.355 | 123205.2464 | 287849.4353 | 59.9307 | 49.4
1102 | 2022-05-16 14:00 | 35.6607 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.7033 | μmol/L | 17.6827 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.357 | 123212.1787 | 287835.7959 | 59.9307 | 49.4
1111 | 2022-05-16 14:00 | 35.9937 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.9576 | μmol/L | 17.6765 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.349 | 123156.5596 | 287823.9829 | 59.9307 | 49.4
1122 | 2022-05-16 14:00 | 36.3274 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.8215 | μmol/L | 17.6888 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.35 | 123165.6528 | 287821.3435 | 59.9307 | 49.4
1131 | 2022-05-16 14:01 | 36.6606 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.2678 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.341 | 123087.7526 | 287824.4378 | 59.9307 | 49.4
1142 | 2022-05-16 14:01 | 36.9933 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.038 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.348 | 123167.8616 | 287811.6307 | 59.9307 | 49.4
1151 | 2022-05-16 14:01 | 37.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.2678 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.341 | 123099.2195 | 287827.904 | 59.9307 | 49.4
1162 | 2022-05-16 14:02 | 37.6602 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3863 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.334 | 123084.1416 | 287828.7082 | 59.9307 | 49.4
1171 | 2022-05-16 14:02 | 37.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.237 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.34 | 123105.9611 | 287819.8939 | 59.9307 | 49.4
1182 | 2022-05-16 14:02 | 38.3271 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1316 | μmol/L | 17.6765 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.342 | 123100.1784 | 287797.8518 | 59.9307 | 49.4
1191 | 2022-05-16 14:03 | 38.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.2867 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.338 | 123049.7933 | 287795.9591 | 59.9307 | 49.4
1202 | 2022-05-16 14:03 | 38.9936 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.423 | μmol/L | 17.658 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.337 | 123065.412 | 287785.7412 | 59.9307 | 49.4
1212 | 2022-05-16 14:03 | 39.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.2986 | μmol/L | 17.658 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.342 | 123057.6073 | 287781.1146 | 59.9307 | 49.4
1221 | 2022-05-16 14:04 | 39.6603 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3732 | μmol/L | 17.658 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.339 | 123047.1079 | 287790.9269 | 59.9307 | 49.4
1231 | 2022-05-16 14:04 | 39.9939 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.5973 | μmol/L | 17.658 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.33 | 123012.3061 | 287776.0415 | 59.9307 | 49.4
1242 | 2022-05-16 14:04 | 40.3268 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.6341 | μmol/L | 17.6457 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.333 | 123028.7145 | 287784.167 | 59.9307 | 49.4
1252 | 2022-05-16 14:05 | 40.6601 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3863 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.334 | 123052.7412 | 287777.5715 | 59.9307 | 49.4
1262 | 2022-05-16 14:05 | 40.9939 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.4361 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.332 | 122999.5671 | 287760.1611 | 59.9307 | 49.4
1271 | 2022-05-16 14:05 | 41.3267 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3922 | μmol/L | 17.6642 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.336 | 123031.3358 | 287779.7355 | 59.9307 | 49.4
1282 | 2022-05-16 14:06 | 41.6605 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.5357 | μmol/L | 17.6703 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.328 | 122997.527 | 287784.6209 | 59.9307 | 49.4
1291 | 2022-05-16 14:06 | 41.9933 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1505 | μmol/L | 17.6827 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.339 | 123047.4243 | 287768.5506 | 59.9307 | 49.4
1301 | 2022-05-16 14:06 | 42.3271 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1827 | μmol/L | 17.7012 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.331 | 123026.2649 | 287767.1388 | 59.9307 | 49.4
1312 | 2022-05-16 14:07 | 42.6608 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.127 | μmol/L | 17.7074 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.331 | 123037.6754 | 287773.3163 | 59.9307 | 49.4
1321 | 2022-05-16 14:07 | 42.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.836 | μmol/L | 17.7259 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.336 | 123075.4916 | 287759.6519 | 59.9307 | 49.4
1331 | 2022-05-16 14:07 | 43.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1095 | μmol/L | 17.7259 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.325 | 122978.6779 | 287785.4751 | 59.9307 | 49.4
1342 | 2022-05-16 14:08 | 43.6606 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1153 | μmol/L | 17.7197 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.327 | 122969.5469 | 287789.4925 | 59.9307 | 49.4
1351 | 2022-05-16 14:08 | 43.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.3202 | μmol/L | 17.7135 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.321 | 122934.5621 | 287779.1689 | 59.9307 | 49.4
1361 | 2022-05-16 14:08 | 44.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.0846 | μmol/L | 17.7259 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.326 | 123003.2268 | 287789.6967 | 59.9307 | 49.4
1372 | 2022-05-16 14:09 | 44.6601 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.029 | μmol/L | 17.732 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.326 | 122996.4967 | 287787.4701 | 59.9307 | 49.4
1382 | 2022-05-16 14:09 | 44.9935 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1592 | μmol/L | 17.7259 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.323 | 122968.9578 | 287770.3729 | 59.9307 | 49.4
1391 | 2022-05-16 14:09 | 45.3273 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.874 | μmol/L | 17.7382 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.33 | 123007.8786 | 287767.0015 | 59.9307 | 49.4
1402 | 2022-05-16 14:10 | 45.6602 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.6885 | μmol/L | 17.7505 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.333 | 123006.9929 | 287775.481 | 59.9307 | 49.4
1412 | 2022-05-16 14:10 | 45.9939 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.1285 | μmol/L | 17.732 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.322 | 122942.1016 | 287767.9797 | 59.9307 | 49.4
1422 | 2022-05-16 14:10 | 46.327 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 288.4082 | μmol/L | 17.7259 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.313 | 122904.2924 | 287792.1642 | 59.9307 | 49.4
1431 | 2022-05-16 14:11 | 46.6601 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 287.874 | μmol/L | 17.7382 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.33 | 116444.1082 | 287798.1749 | 59.9307 | 49.4
1442 | 2022-05-16 14:11 | 46.9941 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.6839 | μmol/L | 18.2811 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.594 | 118000.0635 | 287790.7705 | 59.9307 | 49.4
1452 | 2022-05-16 14:11 | 47.3272 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.5051 | μmol/L | 17.658 | °C | 1022 | hPa | Humid | 0 | 1 | 0 | 22.786 | 124921.3656 | 287780.7843 | 59.9307 | 49.4