## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238646 | 2022-05-16 11:41 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.6221 | μmol/L | 18.6685 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 107825.3188 | 269661.996 | 26.25 | 74
238656 | 2022-05-16 11:41 | 0.34083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7284 | μmol/L | 18.6624 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 107808.3053 | 269649.0588 | 26.25 | 74
238666 | 2022-05-16 11:41 | 0.67426 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7261 | μmol/L | 18.6685 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107789.2355 | 269625.9297 | 26.25 | 74
238678 | 2022-05-16 11:42 | 1.7663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9344 | μmol/L | 18.6685 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.256 | 107745.971 | 269543.0711 | 26.25 | 74
238692 | 2022-05-16 11:42 | 1.7663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9158 | μmol/L | 18.6624 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.259 | 107736.0128 | 269484.8268 | 26.25 | 74
238697 | 2022-05-16 11:42 | 1.7663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9366 | μmol/L | 18.6624 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.258 | 107695.8971 | 269391.362 | 26.25 | 74
238706 | 2022-05-16 11:43 | 2.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9344 | μmol/L | 18.6685 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.256 | 107744.538 | 269530.4688 | 26.25 | 74
238716 | 2022-05-16 11:43 | 2.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0639 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.254 | 107722.5961 | 269502.5184 | 26.25 | 74
238726 | 2022-05-16 11:43 | 2.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8764 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.263 | 107725.5313 | 269474.0473 | 26.25 | 74
238736 | 2022-05-16 11:44 | 3.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8533 | μmol/L | 18.6624 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.262 | 107730.7818 | 269470.4243 | 26.25 | 74
238746 | 2022-05-16 11:44 | 3.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.77 | μmol/L | 18.6624 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107736.1941 | 269434.8129 | 26.25 | 74
238756 | 2022-05-16 11:44 | 3.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.814 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107739.083 | 269408.6743 | 26.25 | 74
238766 | 2022-05-16 11:45 | 4.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7723 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 107747.1864 | 269375.3154 | 26.25 | 74
238776 | 2022-05-16 11:45 | 4.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7307 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.27 | 107766.0066 | 269357.9867 | 26.25 | 74
238786 | 2022-05-16 11:45 | 4.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.814 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107760.0493 | 269332.9626 | 26.25 | 74
238796 | 2022-05-16 11:46 | 5.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8579 | μmol/L | 18.6502 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107764.6626 | 269317.3818 | 26.25 | 74
238806 | 2022-05-16 11:46 | 5.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7932 | μmol/L | 18.6563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 107771.6491 | 269304.4216 | 26.25 | 74
238816 | 2022-05-16 11:46 | 5.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8579 | μmol/L | 18.6502 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107770.7255 | 269283.711 | 26.25 | 74
238826 | 2022-05-16 11:47 | 6.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9018 | μmol/L | 18.6441 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107790.5588 | 269262.6048 | 26.25 | 74
238836 | 2022-05-16 11:47 | 6.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8787 | μmol/L | 18.6502 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.265 | 107806.0623 | 269246.5547 | 26.25 | 74
238846 | 2022-05-16 11:47 | 6.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8579 | μmol/L | 18.6502 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107824.831 | 269214.3532 | 26.25 | 74
238856 | 2022-05-16 11:48 | 7.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9435 | μmol/L | 18.6441 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 107850.6315 | 269198.8088 | 26.25 | 74
238866 | 2022-05-16 11:48 | 7.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8394 | μmol/L | 18.6441 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 107883.0774 | 269169.3301 | 26.25 | 74
238876 | 2022-05-16 11:48 | 7.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9041 | μmol/L | 18.638 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 107899.9353 | 269148.7679 | 26.25 | 74
238886 | 2022-05-16 11:49 | 8.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8833 | μmol/L | 18.638 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 107923.497 | 269138.3439 | 26.25 | 74
238896 | 2022-05-16 11:49 | 8.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9435 | μmol/L | 18.6441 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 107943.6354 | 269118.2298 | 26.25 | 74
238906 | 2022-05-16 11:49 | 8.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0962 | μmol/L | 18.6258 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.263 | 107950.7261 | 269099.8836 | 26.25 | 74
238916 | 2022-05-16 11:50 | 9.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.2259 | μmol/L | 18.6137 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.261 | 107955.6167 | 269085.0835 | 26.25 | 74
238926 | 2022-05-16 11:50 | 9.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0152 | μmol/L | 18.6198 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 107942.9741 | 269063.2736 | 26.25 | 74
238936 | 2022-05-16 11:50 | 9.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9735 | μmol/L | 18.6198 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 107964.8934 | 269039.103 | 26.25 | 74
238946 | 2022-05-16 11:51 | 10.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.1101 | μmol/L | 18.5893 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.275 | 108029.6668 | 269023.0966 | 26.25 | 74
238956 | 2022-05-16 11:51 | 10.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9204 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 108036.1541 | 269005.1755 | 26.25 | 74
238966 | 2022-05-16 11:51 | 10.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8787 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 108099.5928 | 268977.427 | 26.25 | 74
238976 | 2022-05-16 11:52 | 11.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.4813 | μmol/L | 18.6015 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.301 | 108245.049 | 268958.4228 | 26.25 | 74
238986 | 2022-05-16 11:52 | 11.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.9651 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.328 | 108437.2519 | 268944.357 | 26.25 | 74
238996 | 2022-05-16 11:52 | 11.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.5281 | μmol/L | 18.6015 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.347 | 108573.706 | 268930.1416 | 26.25 | 74
239006 | 2022-05-16 11:53 | 12.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.1334 | μmol/L | 18.6076 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.364 | 108681.1163 | 268904.2772 | 26.25 | 74
239016 | 2022-05-16 11:53 | 12.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.0716 | μmol/L | 18.6076 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.367 | 108731.6639 | 268877.5864 | 26.25 | 74
239026 | 2022-05-16 11:53 | 12.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.1565 | μmol/L | 18.6015 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.365 | 108750.9546 | 268864.3924 | 26.25 | 74
239036 | 2022-05-16 11:54 | 13.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.4272 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.354 | 108738.8337 | 268852.3914 | 26.25 | 74
239046 | 2022-05-16 11:54 | 13.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2184 | μmol/L | 18.6015 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.362 | 108769.7358 | 268826.7381 | 26.25 | 74
239056 | 2022-05-16 11:54 | 13.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2207 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.364 | 108791.291 | 268799.3555 | 26.25 | 74
239066 | 2022-05-16 11:55 | 14.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.3239 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.359 | 108766.471 | 268787.1408 | 26.25 | 74
239076 | 2022-05-16 11:55 | 14.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.5925 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.346 | 108704.8098 | 268762.5843 | 26.25 | 74
239086 | 2022-05-16 11:55 | 14.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.6546 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.343 | 108619.2886 | 268731.0526 | 26.25 | 74
239096 | 2022-05-16 11:56 | 15.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.6959 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.341 | 108613.6478 | 268715.5854 | 26.25 | 74
239106 | 2022-05-16 11:56 | 15.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.7373 | μmol/L | 18.5954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.339 | 108595.5014 | 268706.5476 | 26.25 | 74
239116 | 2022-05-16 11:56 | 15.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.8456 | μmol/L | 18.5832 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.338 | 108591.9016 | 268689.5395 | 26.25 | 74
239126 | 2022-05-16 11:57 | 16.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.8639 | μmol/L | 18.5893 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.335 | 108540.9299 | 268660.1612 | 26.25 | 74
239136 | 2022-05-16 11:57 | 16.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.0527 | μmol/L | 18.5832 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.328 | 108512.4271 | 268628.7182 | 26.25 | 74
239146 | 2022-05-16 11:57 | 16.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.4733 | μmol/L | 18.5832 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.356 | 108627.7956 | 268633.8582 | 26.25 | 74
239156 | 2022-05-16 11:58 | 17.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.1636 | μmol/L | 18.5832 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.371 | 108719.9524 | 268616.8948 | 26.25 | 74
239166 | 2022-05-16 11:58 | 17.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.6099 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.4 | 108842.0447 | 268585.9285 | 26.25 | 74
239176 | 2022-05-16 11:58 | 17.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.0554 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.427 | 109007.1364 | 268584.0512 | 26.25 | 74
239186 | 2022-05-16 11:59 | 18.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.4871 | μmol/L | 18.5649 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.459 | 109175.9935 | 268553.8094 | 26.25 | 74
239196 | 2022-05-16 11:59 | 18.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.8926 | μmol/L | 18.571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.486 | 109323.3654 | 268540.9593 | 26.25 | 74
239206 | 2022-05-16 11:59 | 18.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3609 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.51 | 109432.1867 | 268525.174 | 26.25 | 74
239216 | 2022-05-16 12:00 | 19.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.0563 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.525 | 109519.2277 | 268519.4259 | 26.25 | 74
239226 | 2022-05-16 12:00 | 19.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.9143 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.532 | 109563.2044 | 268500.3014 | 26.25 | 74
239236 | 2022-05-16 12:00 | 19.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.8104 | μmol/L | 18.5832 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.535 | 109570.9589 | 268494.2708 | 26.25 | 74
239246 | 2022-05-16 12:01 | 20.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.7319 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.541 | 109593.4252 | 268475.39 | 26.25 | 74
239256 | 2022-05-16 12:01 | 20.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.7521 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.54 | 109579.0442 | 268436.7063 | 26.25 | 74
239266 | 2022-05-16 12:01 | 20.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.6913 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.543 | 109589.6661 | 268419.5075 | 26.25 | 74
239276 | 2022-05-16 12:02 | 21.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1172 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.522 | 109459.2229 | 268421.7574 | 26.25 | 74
239286 | 2022-05-16 12:02 | 21.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.6864 | μmol/L | 18.5771 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.494 | 109285.8138 | 268409.7408 | 26.25 | 74
239296 | 2022-05-16 12:02 | 21.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3634 | μmol/L | 18.571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.512 | 109354.0451 | 268379.0538 | 26.25 | 74
239306 | 2022-05-16 12:03 | 22.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.0816 | μmol/L | 18.5649 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.528 | 109409.6913 | 268376.7008 | 26.25 | 74
239316 | 2022-05-16 12:03 | 22.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2262 | μmol/L | 18.5588 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.523 | 109408.4553 | 268360.5349 | 26.25 | 74
239326 | 2022-05-16 12:03 | 22.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1806 | μmol/L | 18.571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.521 | 109383.2548 | 268343.3929 | 26.25 | 74
239336 | 2022-05-16 12:04 | 23.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.0816 | μmol/L | 18.5649 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.528 | 109419.2631 | 268326.8029 | 26.25 | 74
239346 | 2022-05-16 12:04 | 23.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2288 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.525 | 109403.7171 | 268344.5593 | 26.25 | 74
239356 | 2022-05-16 12:04 | 23.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1856 | μmol/L | 18.5588 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.525 | 109408.6221 | 268320.8499 | 26.25 | 74
239366 | 2022-05-16 12:05 | 24.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.107 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.531 | 109393.0655 | 268316.3992 | 26.25 | 74
239376 | 2022-05-16 12:05 | 24.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1704 | μmol/L | 18.5467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.53 | 109388.2337 | 268302.44 | 26.25 | 74
239386 | 2022-05-16 12:05 | 24.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2085 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.526 | 109341.4502 | 268278.001 | 26.25 | 74
239396 | 2022-05-16 12:06 | 25.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2897 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.522 | 109269.5701 | 268270.9211 | 26.25 | 74
239406 | 2022-05-16 12:06 | 25.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.5158 | μmol/L | 18.5467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.513 | 109247.0075 | 268245.9161 | 26.25 | 74
239416 | 2022-05-16 12:06 | 25.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.5133 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.511 | 109247.3012 | 268244.635 | 26.25 | 74
239426 | 2022-05-16 12:07 | 26.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.31 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.521 | 109286.1771 | 268230.7784 | 26.25 | 74
239436 | 2022-05-16 12:07 | 26.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3938 | μmol/L | 18.5467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.519 | 109309.5166 | 268215.3502 | 26.25 | 74
239446 | 2022-05-16 12:07 | 26.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3735 | μmol/L | 18.5467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.52 | 109302.493 | 268200.4916 | 26.25 | 74
239456 | 2022-05-16 12:08 | 27.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3303 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.52 | 109322.3042 | 268189.2989 | 26.25 | 74
239466 | 2022-05-16 12:08 | 27.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2491 | μmol/L | 18.5527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.524 | 109345.4012 | 268181.8917 | 26.25 | 74
239476 | 2022-05-16 12:08 | 27.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3532 | μmol/L | 18.5467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.521 | 109319.2452 | 268168.9879 | 26.25 | 74
239486 | 2022-05-16 12:09 | 28.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.3557 | μmol/L | 18.5406 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.523 | 109322.4141 | 268162.7401 | 26.25 | 74
239496 | 2022-05-16 12:09 | 28.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.5387 | μmol/L | 18.5406 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.514 | 109269.1902 | 268142.4915 | 26.25 | 74
239506 | 2022-05-16 12:09 | 28.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.2567 | μmol/L | 18.5345 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.53 | 108589.5398 | 268124.4005 | 26.25 | 74
239516 | 2022-05-16 12:10 | 29.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.9472 | μmol/L | 18.5467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.541 | 108637.7768 | 268103.9754 | 26.25 | 74
239526 | 2022-05-16 12:10 | 29.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.8307 | μmol/L | 18.5345 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.551 | 108696.8336 | 268089.8425 | 26.25 | 74
239536 | 2022-05-16 12:10 | 29.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.5498 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.567 | 108775.2544 | 268091.8897 | 26.25 | 74
239546 | 2022-05-16 12:11 | 30.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.4689 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.571 | 108836.4463 | 268079.1636 | 26.25 | 74
239556 | 2022-05-16 12:11 | 30.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.2238 | μmol/L | 18.5345 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.581 | 108877.8789 | 268071.9701 | 26.25 | 74
239566 | 2022-05-16 12:11 | 30.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.2668 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.581 | 108885.6526 | 268051.3965 | 26.25 | 74
239576 | 2022-05-16 12:12 | 31.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.2264 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.583 | 108904.4049 | 268046.1438 | 26.25 | 74
239586 | 2022-05-16 12:12 | 31.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.0649 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.591 | 108922.5182 | 268027.685 | 26.25 | 74
239596 | 2022-05-16 12:12 | 31.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.0649 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.591 | 108986.9501 | 268022.025 | 26.25 | 74
239606 | 2022-05-16 12:13 | 32.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.0447 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.592 | 108989.8017 | 268002.9654 | 26.25 | 74
239616 | 2022-05-16 12:13 | 32.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.0447 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.592 | 109002.581 | 267995.8347 | 26.25 | 74
239626 | 2022-05-16 12:13 | 32.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.8834 | μmol/L | 18.5284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.6 | 109023.2921 | 267980.4968 | 26.25 | 74
239636 | 2022-05-16 12:14 | 33.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.5987 | μmol/L | 18.5345 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.612 | 109106.9949 | 267968.9779 | 26.25 | 74
239646 | 2022-05-16 12:14 | 33.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.4176 | μmol/L | 18.5345 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.621 | 109130.6903 | 267971.8535 | 26.25 | 74
239656 | 2022-05-16 12:14 | 33.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.4505 | μmol/L | 18.5162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.626 | 109167.069 | 267940.7486 | 26.25 | 74
239666 | 2022-05-16 12:15 | 34.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.3273 | μmol/L | 18.5223 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.63 | 109200.8269 | 267925.5135 | 26.25 | 74
239676 | 2022-05-16 12:15 | 34.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.1616 | μmol/L | 18.5223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.638 | 109247.5321 | 267914.6123 | 26.25 | 74
239686 | 2022-05-16 12:15 | 34.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0211 | μmol/L | 18.5223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.645 | 109265.431 | 267901.1194 | 26.25 | 74
239696 | 2022-05-16 12:16 | 35.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0612 | μmol/L | 18.5223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.643 | 109192.471 | 267894.2933 | 26.25 | 74
239706 | 2022-05-16 12:16 | 35.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.3075 | μmol/L | 18.5101 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.635 | 109170.0235 | 267891.11 | 26.25 | 74
239716 | 2022-05-16 12:16 | 35.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.3701 | μmol/L | 18.5162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.63 | 109142.566 | 267878.3525 | 26.25 | 74
239726 | 2022-05-16 12:17 | 36.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.4858 | μmol/L | 18.5162 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.624 | 109145.7121 | 267851.292 | 26.25 | 74
239736 | 2022-05-16 12:17 | 36.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.531 | μmol/L | 18.5162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.622 | 109130.6262 | 267837.2761 | 26.25 | 74
239746 | 2022-05-16 12:17 | 36.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.5511 | μmol/L | 18.5162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.621 | 109091.7973 | 267847.9642 | 26.25 | 74
239756 | 2022-05-16 12:18 | 37.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.5462 | μmol/L | 18.5162 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.621 | 109123.4596 | 267822.6022 | 26.25 | 74
239766 | 2022-05-16 12:18 | 37.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.2621 | μmol/L | 18.5223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.633 | 109159.7513 | 267822.7406 | 26.25 | 74
239776 | 2022-05-16 12:18 | 37.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.1919 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.641 | 109220.8809 | 267803.7591 | 26.25 | 74
239786 | 2022-05-16 12:19 | 38.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0915 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 109238.5995 | 267786.9968 | 26.25 | 74
239796 | 2022-05-16 12:19 | 38.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0487 | μmol/L | 18.5162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 109228.4029 | 267786.3665 | 26.25 | 74
239806 | 2022-05-16 12:19 | 38.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0086 | μmol/L | 18.5162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 109247.5831 | 267777.1688 | 26.25 | 74
239816 | 2022-05-16 12:20 | 39.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.1718 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.642 | 109237.1639 | 267760.3749 | 26.25 | 74
239826 | 2022-05-16 12:20 | 39.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0714 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 109226.6374 | 267751.5999 | 26.25 | 74
239836 | 2022-05-16 12:20 | 39.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.1316 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.644 | 109214.2511 | 267746.6927 | 26.25 | 74
239846 | 2022-05-16 12:21 | 40.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0514 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 109210.4051 | 267744.4679 | 26.25 | 74
239856 | 2022-05-16 12:21 | 40.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.054 | μmol/L | 18.504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 109229.4272 | 267733.4508 | 26.25 | 74
239866 | 2022-05-16 12:21 | 40.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0112 | μmol/L | 18.5101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 109222.5343 | 267719.6897 | 26.25 | 74
239876 | 2022-05-16 12:22 | 41.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.1142 | μmol/L | 18.504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 109215.5934 | 267711.6389 | 26.25 | 74
239886 | 2022-05-16 12:22 | 41.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0165 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 109256.8453 | 267703.8816 | 26.25 | 74
239896 | 2022-05-16 12:22 | 41.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.8935 | μmol/L | 18.504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.658 | 109297.3211 | 267693.7347 | 26.25 | 74
239906 | 2022-05-16 12:23 | 42.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.816 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.664 | 109352.3577 | 267687.1526 | 26.25 | 74
239916 | 2022-05-16 12:23 | 42.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.7358 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.668 | 109355.4938 | 267679.9614 | 26.25 | 74
239926 | 2022-05-16 12:23 | 42.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.3929 | μmol/L | 18.504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.683 | 109323.313 | 267688.4645 | 26.25 | 74
239936 | 2022-05-16 12:24 | 43.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.2383 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.695 | 109401.6963 | 267677.0218 | 26.25 | 74
239946 | 2022-05-16 12:24 | 43.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.9535 | μmol/L | 18.504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.705 | 109464.9678 | 267678.47 | 26.25 | 74
239956 | 2022-05-16 12:24 | 43.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.8791 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.713 | 109556.0975 | 267662.4847 | 26.25 | 74
239966 | 2022-05-16 12:25 | 44.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.6173 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.724 | 109615.694 | 267642.776 | 26.25 | 74
239976 | 2022-05-16 12:25 | 44.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.6173 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.724 | 109641.3325 | 267660.6086 | 26.25 | 74
239986 | 2022-05-16 12:25 | 44.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.5775 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.726 | 109670.389 | 267636.4779 | 26.25 | 74
239996 | 2022-05-16 12:26 | 45.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.4382 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.733 | 109713.0007 | 267641.2781 | 26.25 | 74
240006 | 2022-05-16 12:26 | 45.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.3984 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.735 | 109751.4721 | 267632.2974 | 26.25 | 74
240016 | 2022-05-16 12:26 | 45.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.4409 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.735 | 109781.8881 | 267625.932 | 26.25 | 74
240026 | 2022-05-16 12:27 | 46.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.2619 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.744 | 109807.094 | 267616.0563 | 26.25 | 74
240036 | 2022-05-16 12:27 | 46.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.1626 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.749 | 109845.2027 | 267612.3029 | 26.25 | 74
240046 | 2022-05-16 12:27 | 46.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.1851 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.75 | 109857.9279 | 267600.2954 | 26.25 | 74
240056 | 2022-05-16 12:28 | 47.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.1598 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.747 | 109850.6599 | 267603.3451 | 26.25 | 74
240066 | 2022-05-16 12:28 | 47.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.1228 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.751 | 109850.6858 | 267602.844 | 26.25 | 74
240076 | 2022-05-16 12:28 | 47.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.3215 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.741 | 109815.3744 | 267595.8221 | 26.25 | 74
240086 | 2022-05-16 12:29 | 48.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.3559 | μmol/L | 18.504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.735 | 109795.6308 | 267591.7354 | 26.25 | 74
240096 | 2022-05-16 12:29 | 48.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.299 | μmol/L | 18.4979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.74 | 109803.7846 | 267589.0952 | 26.25 | 74
240106 | 2022-05-16 12:29 | 48.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.2222 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.746 | 109814.2066 | 267577.246 | 26.25 | 74
240116 | 2022-05-16 12:30 | 49.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.2646 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.746 | 109831.2113 | 267575.4742 | 26.25 | 74
240126 | 2022-05-16 12:30 | 49.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.103 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.752 | 109845.6115 | 267563.1348 | 26.25 | 74
240136 | 2022-05-16 12:30 | 49.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.1824 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.748 | 109851.6374 | 267560.6261 | 26.25 | 74
240146 | 2022-05-16 12:31 | 50.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.1454 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.752 | 109881.5595 | 267564.3109 | 26.25 | 74
240156 | 2022-05-16 12:31 | 50.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.964 | μmol/L | 18.4918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.759 | 109904.3305 | 267560.2977 | 26.25 | 74
240166 | 2022-05-16 12:31 | 50.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.066 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.756 | 109899.0529 | 267559.9629 | 26.25 | 74
240176 | 2022-05-16 12:32 | 51.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.066 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.756 | 109881.7218 | 267547.5294 | 26.25 | 74
240186 | 2022-05-16 12:32 | 51.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.0858 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.755 | 109908.2771 | 267541.6565 | 26.25 | 74
240196 | 2022-05-16 12:32 | 51.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.0461 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.757 | 109927.8185 | 267537.3005 | 26.25 | 74
240206 | 2022-05-16 12:33 | 52.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.9667 | μmol/L | 18.4857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.761 | 109903.6443 | 267532.9837 | 26.25 | 74
240216 | 2022-05-16 12:33 | 52.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.8928 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.769 | 109956.7879 | 267529.5718 | 26.25 | 74
240226 | 2022-05-16 12:33 | 52.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.7315 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.775 | 110006.7428 | 267520.5793 | 26.25 | 74
240236 | 2022-05-16 12:34 | 53.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.6181 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.785 | 110045.6152 | 267523.8599 | 26.25 | 74
240246 | 2022-05-16 12:34 | 53.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.5362 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.787 | 110069.0412 | 267525.009 | 26.25 | 74
240256 | 2022-05-16 12:34 | 53.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.4147 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.791 | 110095.4343 | 267526.6394 | 26.25 | 74
240266 | 2022-05-16 12:35 | 54.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.5164 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.788 | 110100.5927 | 267514.9437 | 26.25 | 74
240276 | 2022-05-16 12:35 | 54.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.4542 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.789 | 110086.4164 | 267506.9048 | 26.25 | 74
240286 | 2022-05-16 12:35 | 54.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.5136 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.786 | 110085.4545 | 267501.1045 | 26.25 | 74
240296 | 2022-05-16 12:36 | 55.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.5362 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.787 | 110092.1198 | 267494.3663 | 26.25 | 74
240306 | 2022-05-16 12:36 | 55.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.5164 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.788 | 110106.3565 | 267487.3401 | 26.25 | 74
240316 | 2022-05-16 12:36 | 55.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.3553 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.794 | 110115.9455 | 267488.974 | 26.25 | 74
240326 | 2022-05-16 12:37 | 56.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.3751 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.793 | 110132.7574 | 267476.3109 | 26.25 | 74
240336 | 2022-05-16 12:37 | 56.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.3158 | μmol/L | 18.4796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.796 | 110138.4173 | 267468.6086 | 26.25 | 74
240346 | 2022-05-16 12:37 | 56.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.2987 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.799 | 110132.4657 | 267459.2686 | 26.25 | 74
240356 | 2022-05-16 12:38 | 57.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.2817 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.802 | 110160.3702 | 267462.2536 | 26.25 | 74
240366 | 2022-05-16 12:38 | 57.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1039 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.811 | 110237.7811 | 267462.6058 | 26.25 | 74
240376 | 2022-05-16 12:38 | 57.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0052 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.816 | 110260.0046 | 267458.0654 | 26.25 | 74
240386 | 2022-05-16 12:39 | 58.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.884 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.82 | 110268.3167 | 267450.8949 | 26.25 | 74
240396 | 2022-05-16 12:39 | 58.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9235 | μmol/L | 18.4736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.818 | 110301.4617 | 267441.8612 | 26.25 | 74
240406 | 2022-05-16 12:39 | 58.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.6305 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.835 | 110361.1082 | 267449.225 | 26.25 | 74
240416 | 2022-05-16 12:40 | 59.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.4561 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.846 | 110413.0327 | 267447.0087 | 26.25 | 74
240426 | 2022-05-16 12:40 | 59.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.3156 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.851 | 110486.6958 | 267435.1918 | 26.25 | 74
240436 | 2022-05-16 12:40 | 59.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.0208 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.866 | 110553.8188 | 267438.4672 | 26.25 | 74
240446 | 2022-05-16 12:41 | 60.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.8442 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.875 | 110614.6734 | 267439.4143 | 26.25 | 74
240456 | 2022-05-16 12:41 | 60.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.6873 | μmol/L | 18.4675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.883 | 110658.5705 | 267430.1816 | 26.25 | 74
240466 | 2022-05-16 12:41 | 60.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.5726 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110686.7268 | 267430.247 | 26.25 | 74
240476 | 2022-05-16 12:42 | 61.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.5334 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.893 | 110714.6488 | 267409.1583 | 26.25 | 74
240486 | 2022-05-16 12:42 | 61.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.4775 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.898 | 110759.6689 | 267417.7712 | 26.25 | 74
240496 | 2022-05-16 12:42 | 61.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.3573 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.902 | 110795.8422 | 267413.3253 | 26.25 | 74
240506 | 2022-05-16 12:43 | 62.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.1617 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.912 | 110838.1383 | 267406.4923 | 26.25 | 74
240516 | 2022-05-16 12:43 | 62.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.1813 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.911 | 110878.8308 | 267391.3133 | 26.25 | 74
240526 | 2022-05-16 12:43 | 62.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.3908 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.057 | 111677.6768 | 267388.7099 | 26.25 | 74
240536 | 2022-05-16 12:44 | 63.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.4293 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.055 | 111698.3759 | 267375.7967 | 26.25 | 74
240546 | 2022-05-16 12:44 | 63.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.8119 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.033 | 111587.9932 | 267368.4754 | 26.25 | 74
240556 | 2022-05-16 12:44 | 63.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.2591 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.012 | 111472.7661 | 267370.7159 | 26.25 | 74
240566 | 2022-05-16 12:45 | 64.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.5883 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.995 | 111378.0778 | 267362.1149 | 26.25 | 74
240576 | 2022-05-16 12:45 | 64.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8209 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.983 | 111323.8992 | 267348.7546 | 26.25 | 74
240586 | 2022-05-16 12:45 | 64.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9539 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.974 | 111267.103 | 267354.5852 | 26.25 | 74
240596 | 2022-05-16 12:46 | 65.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.19 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.964 | 111247.5957 | 267333.7242 | 26.25 | 74
240606 | 2022-05-16 12:46 | 65.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.365 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.955 | 111214.682 | 267331.7908 | 26.25 | 74
240616 | 2022-05-16 12:46 | 65.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3427 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.954 | 111212.5129 | 267320.828 | 26.25 | 74
240626 | 2022-05-16 12:47 | 66.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3455 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.956 | 111211.3787 | 267304.3224 | 26.25 | 74
240636 | 2022-05-16 12:47 | 66.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.4234 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.952 | 111214.2257 | 267301.6283 | 26.25 | 74
240646 | 2022-05-16 12:47 | 66.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.5013 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.948 | 111217.496 | 267303.3182 | 26.25 | 74
240656 | 2022-05-16 12:48 | 67.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.4789 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.947 | 111194.7863 | 267288.3408 | 26.25 | 74
240666 | 2022-05-16 12:48 | 67.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6015 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.945 | 111188.3341 | 267289.7735 | 26.25 | 74
240676 | 2022-05-16 12:48 | 67.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.5763 | μmol/L | 18.4614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.942 | 111201.5035 | 267286.4772 | 26.25 | 74
240686 | 2022-05-16 12:49 | 68.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.7574 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.937 | 111169.3245 | 267264.9223 | 26.25 | 74
240696 | 2022-05-16 12:49 | 68.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6571 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.94 | 111151.4117 | 267262.5194 | 26.25 | 74
240706 | 2022-05-16 12:49 | 68.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.7184 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.939 | 111154.3661 | 267263.7231 | 26.25 | 74
240716 | 2022-05-16 12:50 | 69.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.7546 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.935 | 111155.0917 | 267252.1928 | 26.25 | 74
240726 | 2022-05-16 12:50 | 69.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6376 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.941 | 111185.7743 | 267247.7214 | 26.25 | 74
240736 | 2022-05-16 12:50 | 69.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6015 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.945 | 111221.702 | 267246.7113 | 26.25 | 74
240746 | 2022-05-16 12:51 | 70.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3873 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.956 | 111275.4105 | 267226.0206 | 26.25 | 74
240756 | 2022-05-16 12:51 | 70.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2288 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.962 | 111338.3664 | 267211.6662 | 26.25 | 74
240766 | 2022-05-16 12:51 | 70.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1122 | μmol/L | 18.4553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.968 | 111339.7692 | 267206.2406 | 26.25 | 74
240776 | 2022-05-16 12:52 | 71.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0956 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.971 | 111379.4881 | 267207.6405 | 26.25 | 74
240786 | 2022-05-16 12:52 | 71.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9208 | μmol/L | 18.4492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.98 | 111443.8758 | 267205.1474 | 26.25 | 74
240796 | 2022-05-16 12:52 | 71.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7103 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.993 | 111504.6841 | 267200.7606 | 26.25 | 74
240806 | 2022-05-16 12:53 | 72.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.5359 | μmol/L | 18.4431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.002 | 111956.5008 | 267189.7641 | 26.25 | 74