## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238643 | 2022-05-16 11:41 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.4153 | μmol/L | 18.6538 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.462 | 91348.935 | 298308.4413 | 30.45 | 114.2
238653 | 2022-05-16 11:41 | 0.32644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.8242 | μmol/L | 18.6415 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.446 | 91236.4674 | 298292.0829 | 30.45 | 114.2
238663 | 2022-05-16 11:41 | 0.65924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.8827 | μmol/L | 18.6477 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.441 | 91156.0322 | 298278.6444 | 30.45 | 114.2
238680 | 2022-05-16 11:42 | 1.8518 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.5138 | μmol/L | 18.6415 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90829.3998 | 298203.0082 | 30.45 | 114.2
238675 | 2022-05-16 11:42 | 1.8518 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.5748 | μmol/L | 18.6415 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90795.8913 | 298050.2977 | 30.45 | 114.2
238694 | 2022-05-16 11:42 | 1.8518 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.5566 | μmol/L | 18.6354 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90771.4912 | 298001.2996 | 30.45 | 114.2
238703 | 2022-05-16 11:43 | 1.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.516 | μmol/L | 18.6354 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.414 | 90802.2484 | 298182.466 | 30.45 | 114.2
238713 | 2022-05-16 11:43 | 2.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.6786 | μmol/L | 18.6354 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.406 | 90731.6569 | 298170.8291 | 30.45 | 114.2
238723 | 2022-05-16 11:43 | 2.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.6604 | μmol/L | 18.6293 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90686.9104 | 298149.9099 | 30.45 | 114.2
238733 | 2022-05-16 11:44 | 2.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.8414 | μmol/L | 18.6354 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.398 | 90624.3226 | 298136.6301 | 30.45 | 114.2
238743 | 2022-05-16 11:44 | 3.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.8617 | μmol/L | 18.6354 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.397 | 90597.3709 | 298119.3381 | 30.45 | 114.2
238753 | 2022-05-16 11:44 | 3.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.986 | μmol/L | 18.6293 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.393 | 90542.7016 | 298093.0692 | 30.45 | 114.2
238763 | 2022-05-16 11:45 | 3.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.0064 | μmol/L | 18.6293 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.392 | 90514.5457 | 298077.0533 | 30.45 | 114.2
238773 | 2022-05-16 11:45 | 4.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.0697 | μmol/L | 18.6231 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.391 | 90454.5569 | 298069.5593 | 30.45 | 114.2
238783 | 2022-05-16 11:45 | 4.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2349 | μmol/L | 18.617 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.385 | 90424.5455 | 298050.3048 | 30.45 | 114.2
238793 | 2022-05-16 11:46 | 4.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2349 | μmol/L | 18.617 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.385 | 90392.2731 | 298019.6139 | 30.45 | 114.2
238803 | 2022-05-16 11:46 | 5.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.1308 | μmol/L | 18.6231 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.388 | 90362.0066 | 298015.531 | 30.45 | 114.2
238813 | 2022-05-16 11:46 | 5.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2961 | μmol/L | 18.617 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.382 | 90325.9845 | 298001.4904 | 30.45 | 114.2
238823 | 2022-05-16 11:47 | 5.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.3187 | μmol/L | 18.6108 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.383 | 90295.0342 | 297974.7488 | 30.45 | 114.2
238833 | 2022-05-16 11:47 | 6.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.3391 | μmol/L | 18.6108 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.382 | 90273.9423 | 297952.3658 | 30.45 | 114.2
238843 | 2022-05-16 11:47 | 6.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.4228 | μmol/L | 18.6047 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.38 | 90245.455 | 297945.5279 | 30.45 | 114.2
238853 | 2022-05-16 11:48 | 6.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5271 | μmol/L | 18.5985 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.377 | 90221.1066 | 297916.5125 | 30.45 | 114.2
238863 | 2022-05-16 11:48 | 7.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5249 | μmol/L | 18.6047 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.375 | 90204.6147 | 297904.5072 | 30.45 | 114.2
238873 | 2022-05-16 11:48 | 7.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5271 | μmol/L | 18.5985 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.377 | 90178.802 | 297892.3603 | 30.45 | 114.2
238883 | 2022-05-16 11:49 | 7.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.4228 | μmol/L | 18.6047 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.38 | 90161.1169 | 297873.3488 | 30.45 | 114.2
238893 | 2022-05-16 11:49 | 8.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6496 | μmol/L | 18.5985 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.371 | 90147.0363 | 297858.3832 | 30.45 | 114.2
238903 | 2022-05-16 11:49 | 8.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5475 | μmol/L | 18.5985 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.376 | 90136.1737 | 297847.037 | 30.45 | 114.2
238913 | 2022-05-16 11:50 | 8.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6539 | μmol/L | 18.5862 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.375 | 90105.915 | 297816.1058 | 30.45 | 114.2
238923 | 2022-05-16 11:50 | 9.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6948 | μmol/L | 18.5862 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.373 | 90085.1011 | 297796.9165 | 30.45 | 114.2
238933 | 2022-05-16 11:50 | 9.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6335 | μmol/L | 18.5862 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.376 | 90064.3607 | 297772.1102 | 30.45 | 114.2
238943 | 2022-05-16 11:51 | 9.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6335 | μmol/L | 18.5862 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.376 | 90052.5934 | 297768.7402 | 30.45 | 114.2
238953 | 2022-05-16 11:51 | 10.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.697 | μmol/L | 18.5801 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.375 | 90036.1121 | 297746.6002 | 30.45 | 114.2
238963 | 2022-05-16 11:51 | 10.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6335 | μmol/L | 18.5862 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.376 | 90016.1582 | 297736.8992 | 30.45 | 114.2
238973 | 2022-05-16 11:52 | 10.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7378 | μmol/L | 18.5801 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.373 | 90001.5937 | 297704.5614 | 30.45 | 114.2
238983 | 2022-05-16 11:52 | 11.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.697 | μmol/L | 18.5801 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.375 | 89979.014 | 297691.0759 | 30.45 | 114.2
238993 | 2022-05-16 11:52 | 11.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6991 | μmol/L | 18.574 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.377 | 89968.0554 | 297688.4346 | 30.45 | 114.2
239003 | 2022-05-16 11:53 | 11.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6787 | μmol/L | 18.574 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.378 | 89946.492 | 297656.5806 | 30.45 | 114.2
239013 | 2022-05-16 11:53 | 12.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7174 | μmol/L | 18.5801 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.374 | 89928.9901 | 297628.0684 | 30.45 | 114.2
239023 | 2022-05-16 11:53 | 12.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7626 | μmol/L | 18.5678 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.376 | 89908.5494 | 297616.6098 | 30.45 | 114.2
239033 | 2022-05-16 11:54 | 12.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7604 | μmol/L | 18.574 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.374 | 89900.6978 | 297601.3919 | 30.45 | 114.2
239043 | 2022-05-16 11:54 | 13.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8444 | μmol/L | 18.5678 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.372 | 89887.0057 | 297591.8518 | 30.45 | 114.2
239053 | 2022-05-16 11:54 | 13.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8466 | μmol/L | 18.5617 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.374 | 89867.8455 | 297584.0338 | 30.45 | 114.2
239063 | 2022-05-16 11:55 | 13.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7217 | μmol/L | 18.5678 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.378 | 89857.1644 | 297566.3213 | 30.45 | 114.2
239073 | 2022-05-16 11:55 | 14.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7239 | μmol/L | 18.5617 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.38 | 89840.8626 | 297550.7719 | 30.45 | 114.2
239083 | 2022-05-16 11:55 | 14.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7648 | μmol/L | 18.5617 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.378 | 89831.1818 | 297522.6995 | 30.45 | 114.2
239093 | 2022-05-16 11:56 | 14.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8896 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.374 | 89820.4873 | 297507.3755 | 30.45 | 114.2
239103 | 2022-05-16 11:56 | 15.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7874 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.379 | 89806.4758 | 297484.049 | 30.45 | 114.2
239113 | 2022-05-16 11:56 | 15.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8078 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.378 | 89790.6453 | 297466.2704 | 30.45 | 114.2
239123 | 2022-05-16 11:57 | 15.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8078 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.378 | 89770.0735 | 297449.2212 | 30.45 | 114.2
239133 | 2022-05-16 11:57 | 16.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8509 | μmol/L | 18.5494 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.378 | 89754.5911 | 297436.7351 | 30.45 | 114.2
239143 | 2022-05-16 11:57 | 16.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7056 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.383 | 89756.9738 | 297417.9251 | 30.45 | 114.2
239153 | 2022-05-16 11:58 | 16.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8531 | μmol/L | 18.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.38 | 89746.2663 | 297401.7324 | 30.45 | 114.2
239163 | 2022-05-16 11:58 | 17.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7669 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.38 | 89722.8548 | 297389.5364 | 30.45 | 114.2
239173 | 2022-05-16 11:58 | 17.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8122 | μmol/L | 18.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.382 | 89711.9575 | 297373.3615 | 30.45 | 114.2
239183 | 2022-05-16 11:59 | 17.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7282 | μmol/L | 18.5494 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.384 | 89698.6318 | 297347.2194 | 30.45 | 114.2
239193 | 2022-05-16 11:59 | 18.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7261 | μmol/L | 18.5555 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.382 | 89690.4615 | 297343.1316 | 30.45 | 114.2
239203 | 2022-05-16 11:59 | 18.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7691 | μmol/L | 18.5494 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.382 | 89675.5068 | 297335.8518 | 30.45 | 114.2
239213 | 2022-05-16 12:00 | 18.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.9188 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.381 | 89673.5829 | 297313.0812 | 30.45 | 114.2
239223 | 2022-05-16 12:00 | 19.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8144 | μmol/L | 18.5371 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.384 | 89657.9752 | 297309.7215 | 30.45 | 114.2
239233 | 2022-05-16 12:00 | 19.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8574 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.384 | 89645.8092 | 297286.7845 | 30.45 | 114.2
239243 | 2022-05-16 12:01 | 19.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7552 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.389 | 89633.2344 | 297265.8847 | 30.45 | 114.2
239253 | 2022-05-16 12:01 | 20.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7757 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.388 | 89620.5834 | 297254.7787 | 30.45 | 114.2
239263 | 2022-05-16 12:01 | 20.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8779 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.383 | 89614.851 | 297240.2202 | 30.45 | 114.2
239273 | 2022-05-16 12:02 | 20.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8574 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.384 | 89599.2716 | 297244.2511 | 30.45 | 114.2
239283 | 2022-05-16 12:02 | 21.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8801 | μmol/L | 18.5248 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.385 | 89592.5732 | 297229.312 | 30.45 | 114.2
239293 | 2022-05-16 12:02 | 21.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7961 | μmol/L | 18.531 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.387 | 89571.0814 | 297203.8765 | 30.45 | 114.2
239303 | 2022-05-16 12:03 | 21.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.921 | μmol/L | 18.5248 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.383 | 89571.9026 | 297204.4195 | 30.45 | 114.2
239313 | 2022-05-16 12:03 | 22.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8187 | μmol/L | 18.5248 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.388 | 89562.1423 | 297190.8581 | 30.45 | 114.2
239323 | 2022-05-16 12:03 | 22.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7574 | μmol/L | 18.5248 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.391 | 89546.5451 | 297170.6333 | 30.45 | 114.2
239333 | 2022-05-16 12:04 | 22.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7778 | μmol/L | 18.5248 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.39 | 89546.387 | 297186.7458 | 30.45 | 114.2
239343 | 2022-05-16 12:04 | 23.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8618 | μmol/L | 18.5187 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.388 | 89533.1852 | 297164.2526 | 30.45 | 114.2
239353 | 2022-05-16 12:04 | 23.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6779 | μmol/L | 18.5187 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.397 | 89523.6714 | 297145.7391 | 30.45 | 114.2
239363 | 2022-05-16 12:05 | 23.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8209 | μmol/L | 18.5187 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.39 | 89515.4038 | 297136.2119 | 30.45 | 114.2
239373 | 2022-05-16 12:05 | 24.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8231 | μmol/L | 18.5125 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.392 | 89509.7898 | 297124.4943 | 30.45 | 114.2
239383 | 2022-05-16 12:05 | 24.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8231 | μmol/L | 18.5125 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.392 | 89504.8268 | 297119.6808 | 30.45 | 114.2
239393 | 2022-05-16 12:06 | 24.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8231 | μmol/L | 18.5125 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.392 | 89501.6514 | 297100.7451 | 30.45 | 114.2
239403 | 2022-05-16 12:06 | 25.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7392 | μmol/L | 18.5187 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.394 | 89495.5872 | 297096.5992 | 30.45 | 114.2
239413 | 2022-05-16 12:06 | 25.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7414 | μmol/L | 18.5125 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.396 | 89492.6009 | 297073.0715 | 30.45 | 114.2
239423 | 2022-05-16 12:07 | 25.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8458 | μmol/L | 18.5064 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.393 | 89484.523 | 297081.3019 | 30.45 | 114.2
239433 | 2022-05-16 12:07 | 26.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7414 | μmol/L | 18.5125 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.396 | 89479.5008 | 297060.9036 | 30.45 | 114.2
239443 | 2022-05-16 12:07 | 26.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8275 | μmol/L | 18.5002 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.396 | 89462.5938 | 297056.6093 | 30.45 | 114.2
239453 | 2022-05-16 12:08 | 26.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8684 | μmol/L | 18.5002 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.394 | 89455.6536 | 297043.2394 | 30.45 | 114.2
239463 | 2022-05-16 12:08 | 27.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7662 | μmol/L | 18.5002 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.399 | 89446.9421 | 297038.5093 | 30.45 | 114.2
239473 | 2022-05-16 12:08 | 27.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7889 | μmol/L | 18.4941 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.4 | 89447.0272 | 297014.4425 | 30.45 | 114.2
239483 | 2022-05-16 12:09 | 27.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.9546 | μmol/L | 18.488 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.394 | 89430.0688 | 297006.7233 | 30.45 | 114.2
239493 | 2022-05-16 12:09 | 28.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8502 | μmol/L | 18.4941 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.397 | 89428.7622 | 296994.8243 | 30.45 | 114.2
239503 | 2022-05-16 12:09 | 28.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6663 | μmol/L | 18.4941 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.406 | 89463.138 | 297001.2898 | 30.45 | 114.2
239513 | 2022-05-16 12:10 | 28.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.9115 | μmol/L | 18.4941 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.394 | 89412.7345 | 296994.0633 | 30.45 | 114.2
239523 | 2022-05-16 12:10 | 29.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7866 | μmol/L | 18.5002 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.398 | 89409.4415 | 296967.2432 | 30.45 | 114.2
239533 | 2022-05-16 12:10 | 29.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8933 | μmol/L | 18.488 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.397 | 89406.7501 | 296959.0339 | 30.45 | 114.2
239543 | 2022-05-16 12:11 | 29.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8093 | μmol/L | 18.4941 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.399 | 89391.9661 | 296956.8707 | 30.45 | 114.2
239553 | 2022-05-16 12:11 | 30.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8319 | μmol/L | 18.488 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.4 | 89391.6561 | 296942.5863 | 30.45 | 114.2
239563 | 2022-05-16 12:11 | 30.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.9137 | μmol/L | 18.488 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.396 | 89383.18 | 296941.6164 | 30.45 | 114.2
239573 | 2022-05-16 12:12 | 30.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8524 | μmol/L | 18.488 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.399 | 89376.3973 | 296917.6075 | 30.45 | 114.2
239583 | 2022-05-16 12:12 | 31.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7684 | μmol/L | 18.4941 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.401 | 89377.4341 | 296901.7569 | 30.45 | 114.2
239593 | 2022-05-16 12:12 | 31.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8546 | μmol/L | 18.4818 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.401 | 89373.203 | 296881.0414 | 30.45 | 114.2
239603 | 2022-05-16 12:13 | 31.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8342 | μmol/L | 18.4818 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.402 | 89360.287 | 296881.3634 | 30.45 | 114.2
239613 | 2022-05-16 12:13 | 32.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.732 | μmol/L | 18.4818 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.407 | 89354.9119 | 296874.2998 | 30.45 | 114.2
239623 | 2022-05-16 12:13 | 32.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8342 | μmol/L | 18.4818 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.402 | 89349.0792 | 296857.2356 | 30.45 | 114.2
239633 | 2022-05-16 12:14 | 32.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8159 | μmol/L | 18.4757 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.405 | 89349.4689 | 296848.0471 | 30.45 | 114.2
239643 | 2022-05-16 12:14 | 33.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7729 | μmol/L | 18.4818 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.405 | 89338.7141 | 296847.1816 | 30.45 | 114.2
239653 | 2022-05-16 12:14 | 33.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8364 | μmol/L | 18.4757 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.404 | 89320.7414 | 296832.8544 | 30.45 | 114.2
239663 | 2022-05-16 12:15 | 33.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7547 | μmol/L | 18.4757 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.408 | 89304.8904 | 296805.8471 | 30.45 | 114.2
239673 | 2022-05-16 12:15 | 34.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7977 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.408 | 89301.8911 | 296811.0922 | 30.45 | 114.2
239683 | 2022-05-16 12:15 | 34.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8159 | μmol/L | 18.4757 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.405 | 89293.1396 | 296793.5651 | 30.45 | 114.2
239693 | 2022-05-16 12:16 | 34.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8182 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.407 | 89280.5403 | 296787.5 | 30.45 | 114.2
239703 | 2022-05-16 12:16 | 35.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7569 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.41 | 89276.9994 | 296779.1724 | 30.45 | 114.2
239713 | 2022-05-16 12:16 | 35.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8386 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.406 | 89266.821 | 296773.2798 | 30.45 | 114.2
239723 | 2022-05-16 12:17 | 35.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8182 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.407 | 89257.5792 | 296757.7613 | 30.45 | 114.2
239733 | 2022-05-16 12:17 | 36.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8795 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.404 | 89264.3728 | 296752.5069 | 30.45 | 114.2
239743 | 2022-05-16 12:17 | 36.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8408 | μmol/L | 18.4634 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.408 | 89252.3532 | 296738.9726 | 30.45 | 114.2
239753 | 2022-05-16 12:18 | 36.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.859 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.405 | 89251.8522 | 296727.1453 | 30.45 | 114.2
239763 | 2022-05-16 12:18 | 37.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8204 | μmol/L | 18.4634 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.409 | 89248.397 | 296738.1747 | 30.45 | 114.2
239773 | 2022-05-16 12:18 | 37.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7795 | μmol/L | 18.4634 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.411 | 89239.4381 | 296715.6633 | 30.45 | 114.2
239783 | 2022-05-16 12:19 | 37.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7365 | μmol/L | 18.4695 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.411 | 89234.2804 | 296705.4164 | 30.45 | 114.2
239793 | 2022-05-16 12:19 | 38.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7387 | μmol/L | 18.4634 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.413 | 89235.7244 | 296702.268 | 30.45 | 114.2
239803 | 2022-05-16 12:19 | 38.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8839 | μmol/L | 18.4573 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.408 | 89229.2895 | 296710.2528 | 30.45 | 114.2
239813 | 2022-05-16 12:20 | 38.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6774 | μmol/L | 18.4634 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.416 | 89222.6574 | 296694.8002 | 30.45 | 114.2
239823 | 2022-05-16 12:20 | 39.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7818 | μmol/L | 18.4573 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.413 | 89213.5354 | 296677.7605 | 30.45 | 114.2
239833 | 2022-05-16 12:20 | 39.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7205 | μmol/L | 18.4573 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.416 | 89209.0518 | 296672.7218 | 30.45 | 114.2
239843 | 2022-05-16 12:21 | 39.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8226 | μmol/L | 18.4573 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.411 | 89201.1044 | 296666.3861 | 30.45 | 114.2
239853 | 2022-05-16 12:21 | 40.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8431 | μmol/L | 18.4573 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.41 | 89198.6032 | 296659.4875 | 30.45 | 114.2
239863 | 2022-05-16 12:21 | 40.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.784 | μmol/L | 18.4511 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89182.9826 | 296657.9509 | 30.45 | 114.2
239873 | 2022-05-16 12:22 | 40.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7409 | μmol/L | 18.4573 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89175.3955 | 296654.7903 | 30.45 | 114.2
239883 | 2022-05-16 12:22 | 41.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8476 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.414 | 89173.6491 | 296645.9246 | 30.45 | 114.2
239893 | 2022-05-16 12:22 | 41.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8271 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89159.619 | 296631.1151 | 30.45 | 114.2
239903 | 2022-05-16 12:23 | 41.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7023 | μmol/L | 18.4511 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.419 | 89155.4398 | 296629.3578 | 30.45 | 114.2
239913 | 2022-05-16 12:23 | 42.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.9066 | μmol/L | 18.4511 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.409 | 89147.2099 | 296626.0511 | 30.45 | 114.2
239923 | 2022-05-16 12:23 | 42.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8271 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89141.7251 | 296610.5334 | 30.45 | 114.2
239933 | 2022-05-16 12:24 | 42.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8476 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.414 | 89133.9922 | 296611.9526 | 30.45 | 114.2
239943 | 2022-05-16 12:24 | 43.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8067 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.416 | 89140.9304 | 296613.4721 | 30.45 | 114.2
239953 | 2022-05-16 12:24 | 43.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8067 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.416 | 89134.4839 | 296602.2309 | 30.45 | 114.2
239963 | 2022-05-16 12:25 | 43.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7863 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.417 | 89131.1134 | 296589.6079 | 30.45 | 114.2
239973 | 2022-05-16 12:25 | 44.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.868 | μmol/L | 18.445 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.413 | 89121.9399 | 296580.0367 | 30.45 | 114.2
239983 | 2022-05-16 12:25 | 44.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8498 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.416 | 89116.5963 | 296568.6471 | 30.45 | 114.2
239993 | 2022-05-16 12:26 | 44.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7885 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.419 | 89109.6987 | 296562.2116 | 30.45 | 114.2
240003 | 2022-05-16 12:26 | 45.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8702 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89112.7522 | 296567.0691 | 30.45 | 114.2
240013 | 2022-05-16 12:26 | 45.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8907 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.414 | 89108.6847 | 296577.763 | 30.45 | 114.2
240023 | 2022-05-16 12:27 | 45.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8702 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89102.2896 | 296569.2475 | 30.45 | 114.2
240033 | 2022-05-16 12:27 | 46.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8543 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.42 | 89103.3812 | 296571.8449 | 30.45 | 114.2
240043 | 2022-05-16 12:27 | 46.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.9134 | μmol/L | 18.4327 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.415 | 89102.3902 | 296574.9468 | 30.45 | 114.2
240053 | 2022-05-16 12:28 | 46.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7703 | μmol/L | 18.4327 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.422 | 89088.6597 | 296565.8656 | 30.45 | 114.2
240063 | 2022-05-16 12:28 | 47.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8543 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.42 | 89084.9565 | 296550.3556 | 30.45 | 114.2
240073 | 2022-05-16 12:28 | 47.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6864 | μmol/L | 18.4388 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.424 | 89089.3867 | 296538.8839 | 30.45 | 114.2
240083 | 2022-05-16 12:29 | 47.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8797 | μmol/L | 18.4265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.419 | 89091.8177 | 296535.1716 | 30.45 | 114.2
240093 | 2022-05-16 12:29 | 48.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8725 | μmol/L | 18.4327 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.417 | 89091.7057 | 296550.4753 | 30.45 | 114.2
240103 | 2022-05-16 12:29 | 48.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7957 | μmol/L | 18.4327 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.421 | 89087.5331 | 296538.7827 | 30.45 | 114.2
240113 | 2022-05-16 12:30 | 48.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.793 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.423 | 89087.0492 | 296542.199 | 30.45 | 114.2
240123 | 2022-05-16 12:30 | 49.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7775 | μmol/L | 18.4265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.424 | 89094.2664 | 296538.8456 | 30.45 | 114.2
240133 | 2022-05-16 12:30 | 49.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8747 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.419 | 89084.5124 | 296525.4878 | 30.45 | 114.2
240143 | 2022-05-16 12:31 | 49.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7499 | μmol/L | 18.4327 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.423 | 89088.8943 | 296543.9634 | 30.45 | 114.2
240153 | 2022-05-16 12:31 | 50.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8184 | μmol/L | 18.4265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.422 | 89093.4188 | 296534.1922 | 30.45 | 114.2
240163 | 2022-05-16 12:31 | 50.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8361 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.423 | 89086.0423 | 296535.3804 | 30.45 | 114.2
240173 | 2022-05-16 12:32 | 50.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7726 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.424 | 89085.6365 | 296533.3548 | 30.45 | 114.2
240183 | 2022-05-16 12:32 | 51.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7113 | μmol/L | 18.4265 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.427 | 89072.0869 | 296533.4587 | 30.45 | 114.2
240193 | 2022-05-16 12:32 | 51.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7571 | μmol/L | 18.4265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.425 | 89068.8827 | 296538.5432 | 30.45 | 114.2
240203 | 2022-05-16 12:33 | 51.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8615 | μmol/L | 18.4204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.422 | 89077.0672 | 296530.9158 | 30.45 | 114.2
240213 | 2022-05-16 12:33 | 52.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6728 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.431 | 89073.443 | 296521.4542 | 30.45 | 114.2
240223 | 2022-05-16 12:33 | 52.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6932 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.43 | 89070.7039 | 296520.6582 | 30.45 | 114.2
240233 | 2022-05-16 12:34 | 52.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7544 | μmol/L | 18.4204 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.427 | 89066.7672 | 296509.6584 | 30.45 | 114.2
240243 | 2022-05-16 12:34 | 53.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7821 | μmol/L | 18.4143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.428 | 89070.0734 | 296503.8075 | 30.45 | 114.2
240253 | 2022-05-16 12:34 | 53.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.818 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.426 | 89070.0199 | 296494.2508 | 30.45 | 114.2
240263 | 2022-05-16 12:35 | 53.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7185 | μmol/L | 18.4204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.429 | 89067.4284 | 296503.5124 | 30.45 | 114.2
240273 | 2022-05-16 12:35 | 54.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7771 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.428 | 89060.5178 | 296513.4933 | 30.45 | 114.2
240283 | 2022-05-16 12:35 | 54.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7998 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.429 | 89060.8637 | 296505.2867 | 30.45 | 114.2
240293 | 2022-05-16 12:36 | 54.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7616 | μmol/L | 18.4143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.429 | 89062.9195 | 296499.6267 | 30.45 | 114.2
240303 | 2022-05-16 12:36 | 55.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7208 | μmol/L | 18.4143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.431 | 89042.7571 | 296484.8308 | 30.45 | 114.2
240313 | 2022-05-16 12:36 | 55.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7567 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.429 | 89045.0945 | 296484.8981 | 30.45 | 114.2
240323 | 2022-05-16 12:37 | 55.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7567 | μmol/L | 18.4143 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.429 | 89046.238 | 296487.8098 | 30.45 | 114.2
240333 | 2022-05-16 12:37 | 56.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7231 | μmol/L | 18.4081 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.433 | 89043.8581 | 296483.9631 | 30.45 | 114.2
240343 | 2022-05-16 12:37 | 56.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6592 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.438 | 89042.1834 | 296483.9342 | 30.45 | 114.2
240353 | 2022-05-16 12:38 | 56.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8047 | μmol/L | 18.4081 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.429 | 89037.7402 | 296490.745 | 30.45 | 114.2
240363 | 2022-05-16 12:38 | 57.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7386 | μmol/L | 18.4081 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.432 | 89039.3674 | 296476.178 | 30.45 | 114.2
240373 | 2022-05-16 12:38 | 57.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8021 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.431 | 89023.2 | 296480.0853 | 30.45 | 114.2
240383 | 2022-05-16 12:39 | 57.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8225 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.43 | 89024.454 | 296481.4138 | 30.45 | 114.2
240393 | 2022-05-16 12:39 | 58.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8021 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.431 | 89015.5925 | 296471.5336 | 30.45 | 114.2
240403 | 2022-05-16 12:39 | 58.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6641 | μmol/L | 18.402 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.438 | 89012.7534 | 296472.3214 | 30.45 | 114.2
240413 | 2022-05-16 12:40 | 58.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7866 | μmol/L | 18.402 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.432 | 89008.0438 | 296462.9831 | 30.45 | 114.2
240423 | 2022-05-16 12:40 | 59.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7227 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.437 | 89013.5352 | 296469.9622 | 30.45 | 114.2
240433 | 2022-05-16 12:40 | 59.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7612 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.433 | 89014.2533 | 296455.9126 | 30.45 | 114.2
240443 | 2022-05-16 12:41 | 59.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6796 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.437 | 89009.8296 | 296467.6907 | 30.45 | 114.2
240453 | 2022-05-16 12:41 | 60.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7049 | μmol/L | 18.402 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.436 | 89010.9686 | 296447.4455 | 30.45 | 114.2
240463 | 2022-05-16 12:41 | 60.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6592 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.438 | 89011.5201 | 296460.5616 | 30.45 | 114.2
240473 | 2022-05-16 12:42 | 60.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7458 | μmol/L | 18.402 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.434 | 89010.4987 | 296455.209 | 30.45 | 114.2
240483 | 2022-05-16 12:42 | 61.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.748 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.436 | 89008.3165 | 296454.6502 | 30.45 | 114.2
240493 | 2022-05-16 12:42 | 61.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7072 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.438 | 88997.5442 | 296444.0608 | 30.45 | 114.2
240503 | 2022-05-16 12:43 | 61.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7276 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.437 | 89004.7347 | 296441.3297 | 30.45 | 114.2
240513 | 2022-05-16 12:43 | 62.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6868 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.439 | 88997.8782 | 296429.7241 | 30.45 | 114.2
240523 | 2022-05-16 12:43 | 62.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7635 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.435 | 89000.5207 | 296430.3734 | 30.45 | 114.2
240533 | 2022-05-16 12:44 | 62.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6483 | μmol/L | 18.3897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.443 | 88992.449 | 296431.059 | 30.45 | 114.2
240543 | 2022-05-16 12:44 | 63.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.725 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.439 | 88997.9877 | 296410.4579 | 30.45 | 114.2
240553 | 2022-05-16 12:44 | 63.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.725 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.439 | 88987.2841 | 296408.8151 | 30.45 | 114.2
240563 | 2022-05-16 12:45 | 63.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5776 | μmol/L | 18.402 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.442 | 88989.4239 | 296392.5819 | 30.45 | 114.2
240573 | 2022-05-16 12:45 | 64.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5848 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.444 | 88983.9285 | 296413.3967 | 30.45 | 114.2
240583 | 2022-05-16 12:45 | 64.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.646 | μmol/L | 18.3958 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.441 | 88979.8782 | 296395.3292 | 30.45 | 114.2
240593 | 2022-05-16 12:46 | 64.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7023 | μmol/L | 18.3958 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.438 | 88979.5404 | 296392.3369 | 30.45 | 114.2
240603 | 2022-05-16 12:46 | 65.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7503 | μmol/L | 18.3897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.438 | 88981.6376 | 296380.4401 | 30.45 | 114.2
240613 | 2022-05-16 12:46 | 65.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6433 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.443 | 88972.2286 | 296389.6598 | 30.45 | 114.2
240623 | 2022-05-16 12:47 | 65.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6842 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.441 | 88968.4375 | 296383.6682 | 30.45 | 114.2
240633 | 2022-05-16 12:47 | 66.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6842 | μmol/L | 18.3897 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.441 | 88963.9092 | 296366.4152 | 30.45 | 114.2
240643 | 2022-05-16 12:47 | 66.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6687 | μmol/L | 18.3897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.442 | 88959.5254 | 296366.6113 | 30.45 | 114.2
240653 | 2022-05-16 12:48 | 66.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7322 | μmol/L | 18.3835 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.441 | 88951.333 | 296352.755 | 30.45 | 114.2
240663 | 2022-05-16 12:48 | 67.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5871 | μmol/L | 18.3897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.446 | 88954.7584 | 296359.7577 | 30.45 | 114.2
240673 | 2022-05-16 12:48 | 67.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6483 | μmol/L | 18.3897 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.443 | 88938.501 | 296350.4098 | 30.45 | 114.2
240683 | 2022-05-16 12:49 | 67.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6937 | μmol/L | 18.3774 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.445 | 88938.6027 | 296340.031 | 30.45 | 114.2
240693 | 2022-05-16 12:49 | 68.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.666 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.444 | 88944.7216 | 296334.9623 | 30.45 | 114.2
240703 | 2022-05-16 12:49 | 68.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.7526 | μmol/L | 18.3835 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.44 | 88936.3197 | 296328.4562 | 30.45 | 114.2
240713 | 2022-05-16 12:50 | 68.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6456 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.445 | 88918.9996 | 296324.9701 | 30.45 | 114.2
240723 | 2022-05-16 12:50 | 69.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.666 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.444 | 88921.1275 | 296324.2112 | 30.45 | 114.2
240733 | 2022-05-16 12:50 | 69.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.564 | μmol/L | 18.3835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.449 | 88907.9876 | 296306.75 | 30.45 | 114.2
240743 | 2022-05-16 12:51 | 69.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6275 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.448 | 88911.9861 | 296305.0318 | 30.45 | 114.2
240753 | 2022-05-16 12:51 | 70.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6324 | μmol/L | 18.3774 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.448 | 88910.127 | 296287.2069 | 30.45 | 114.2
240763 | 2022-05-16 12:51 | 70.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.6071 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.449 | 88914.1779 | 296295.4728 | 30.45 | 114.2
240773 | 2022-05-16 12:52 | 70.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5867 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.45 | 88924.2332 | 296283.6618 | 30.45 | 114.2
240783 | 2022-05-16 12:52 | 71.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.4032 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.459 | 88932.1163 | 296285.0807 | 30.45 | 114.2
240793 | 2022-05-16 12:52 | 71.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5482 | μmol/L | 18.3713 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.454 | 88939.0578 | 296281.1547 | 30.45 | 114.2
240803 | 2022-05-16 12:53 | 71.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5052 | μmol/L | 18.3774 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.454 | 88928.9656 | 296271.1842 | 30.45 | 114.2