## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 12:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238644 | 2022-05-16 11:41 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.4877 | μmol/L | 18.5958 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.083 | 118089.5417 | 290003.217 | 59.9307 | 49.4
238654 | 2022-05-16 11:41 | 0.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.7013 | μmol/L | 18.5896 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.075 | 118012.2677 | 289983.5018 | 59.9307 | 49.4
238664 | 2022-05-16 11:41 | 0.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.8706 | μmol/L | 18.5896 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.067 | 117931.3999 | 289952.9206 | 59.9307 | 49.4
238674 | 2022-05-16 11:42 | 1.8265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.5088 | μmol/L | 18.5835 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.039 | 117683.5318 | 289868.0828 | 59.9307 | 49.4
238696 | 2022-05-16 11:42 | 1.8265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.3814 | μmol/L | 18.5835 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.045 | 117635.1149 | 289826.894 | 59.9307 | 49.4
238698 | 2022-05-16 11:42 | 1.8265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.4238 | μmol/L | 18.5835 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.043 | 117581.272 | 289723.6335 | 59.9307 | 49.4
238704 | 2022-05-16 11:43 | 2.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.6639 | μmol/L | 18.5649 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.038 | 117632.2227 | 289858.9918 | 59.9307 | 49.4
238714 | 2022-05-16 11:43 | 2.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.966 | μmol/L | 18.5526 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.028 | 117556.1068 | 289838.8467 | 59.9307 | 49.4
238724 | 2022-05-16 11:43 | 2.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.9829 | μmol/L | 18.5649 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.023 | 117498.1113 | 289817.5468 | 59.9307 | 49.4
238734 | 2022-05-16 11:44 | 3.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.475 | μmol/L | 18.5588 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.049 | 117614.7826 | 289800.8175 | 59.9307 | 49.4
238744 | 2022-05-16 11:44 | 3.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.2481 | μmol/L | 18.5403 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.066 | 117696.9157 | 289787.8654 | 59.9307 | 49.4
238754 | 2022-05-16 11:44 | 3.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.2035 | μmol/L | 18.5464 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.066 | 117709.3375 | 289759.4031 | 59.9307 | 49.4
238764 | 2022-05-16 11:45 | 4.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.5431 | μmol/L | 18.5588 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.093 | 117820.8073 | 289744.8165 | 59.9307 | 49.4
238774 | 2022-05-16 11:45 | 4.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.2009 | μmol/L | 18.5711 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.105 | 117893.8733 | 289737.4215 | 59.9307 | 49.4
238784 | 2022-05-16 11:45 | 4.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.338 | μmol/L | 18.5711 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.146 | 118126.7792 | 289725.762 | 59.9307 | 49.4
238794 | 2022-05-16 11:46 | 5.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.4475 | μmol/L | 18.5588 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.145 | 118097.996 | 289699.9075 | 59.9307 | 49.4
238804 | 2022-05-16 11:46 | 5.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.2563 | μmol/L | 18.5649 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.152 | 118115.3645 | 289679.7819 | 59.9307 | 49.4
238814 | 2022-05-16 11:46 | 5.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.4918 | μmol/L | 18.5526 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.145 | 118050.3084 | 289646.526 | 59.9307 | 49.4
238824 | 2022-05-16 11:47 | 6.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.6412 | μmol/L | 18.5464 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.14 | 118006.4668 | 289641.3969 | 59.9307 | 49.4
238834 | 2022-05-16 11:47 | 6.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.5405 | μmol/L | 18.5341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.149 | 118045.3248 | 289614.4375 | 59.9307 | 49.4
238844 | 2022-05-16 11:47 | 6.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 241.5552 | μmol/L | 18.5341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.196 | 118321.4038 | 289596.8902 | 59.9307 | 49.4
238854 | 2022-05-16 11:48 | 7.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.9057 | μmol/L | 18.5403 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.225 | 118481.3483 | 289588.1088 | 59.9307 | 49.4
238864 | 2022-05-16 11:48 | 7.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0731 | μmol/L | 18.5341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.364 | 119319.6759 | 289577.3116 | 59.9307 | 49.4
238874 | 2022-05-16 11:48 | 7.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.9269 | μmol/L | 18.5403 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.369 | 119327.2635 | 289558.7797 | 59.9307 | 49.4
238884 | 2022-05-16 11:49 | 8.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1529 | μmol/L | 18.5403 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.358 | 119232.0822 | 289534.2547 | 59.9307 | 49.4
238894 | 2022-05-16 11:49 | 8.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.4408 | μmol/L | 18.5403 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.344 | 119155.9334 | 289534.3129 | 59.9307 | 49.4
238904 | 2022-05-16 11:49 | 8.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6856 | μmol/L | 18.5464 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.33 | 119038.5685 | 289515.3623 | 59.9307 | 49.4
238914 | 2022-05-16 11:50 | 9.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0203 | μmol/L | 18.5341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.318 | 118976.7724 | 289470.2827 | 59.9307 | 49.4
238924 | 2022-05-16 11:50 | 9.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1466 | μmol/L | 18.5279 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.314 | 118925.7974 | 289456.3492 | 59.9307 | 49.4
238934 | 2022-05-16 11:50 | 9.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.2729 | μmol/L | 18.5217 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.31 | 118867.4981 | 289448.5859 | 59.9307 | 49.4
238944 | 2022-05-16 11:51 | 10.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.6293 | μmol/L | 18.5094 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.297 | 118802.5922 | 289428.2688 | 59.9307 | 49.4
238954 | 2022-05-16 11:51 | 10.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.6914 | μmol/L | 18.5094 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.294 | 118754.9446 | 289427.4751 | 59.9307 | 49.4
238964 | 2022-05-16 11:51 | 10.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.6477 | μmol/L | 18.5156 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.294 | 118712.0793 | 289404.5933 | 59.9307 | 49.4
238974 | 2022-05-16 11:52 | 11.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.7927 | μmol/L | 18.5156 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.287 | 118685.0576 | 289401.1193 | 59.9307 | 49.4
238984 | 2022-05-16 11:52 | 11.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.8341 | μmol/L | 18.5156 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.285 | 118663.2038 | 289380.0043 | 59.9307 | 49.4
238994 | 2022-05-16 11:52 | 11.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.8548 | μmol/L | 18.5156 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.284 | 118626.6986 | 289371.1336 | 59.9307 | 49.4
239004 | 2022-05-16 11:53 | 12.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.0231 | μmol/L | 18.5094 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.278 | 118591.9029 | 289341.8864 | 59.9307 | 49.4
239014 | 2022-05-16 11:53 | 12.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1084 | μmol/L | 18.5032 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.276 | 118576.5354 | 289321.2576 | 59.9307 | 49.4
239024 | 2022-05-16 11:53 | 12.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.0071 | μmol/L | 18.4971 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.283 | 118583.711 | 289302.9158 | 59.9307 | 49.4
239034 | 2022-05-16 11:54 | 13.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1985 | μmol/L | 18.4847 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.278 | 118540.2674 | 289292.5889 | 59.9307 | 49.4
239044 | 2022-05-16 11:54 | 13.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1084 | μmol/L | 18.5032 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.276 | 118519.6422 | 289280.1986 | 59.9307 | 49.4
239054 | 2022-05-16 11:54 | 13.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.984 | μmol/L | 18.5032 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.282 | 118514.5204 | 289250.5955 | 59.9307 | 49.4
239064 | 2022-05-16 11:55 | 14.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.65 | μmol/L | 18.5094 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.296 | 118578.1304 | 289233.5198 | 59.9307 | 49.4
239074 | 2022-05-16 11:55 | 14.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.4431 | μmol/L | 18.5094 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.306 | 118614.2584 | 289205.3892 | 59.9307 | 49.4
239084 | 2022-05-16 11:55 | 14.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3993 | μmol/L | 18.5156 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.306 | 118627.8375 | 289209.4646 | 59.9307 | 49.4
239094 | 2022-05-16 11:56 | 15.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3834 | μmol/L | 18.5032 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.311 | 118649.8135 | 289203.4357 | 59.9307 | 49.4
239104 | 2022-05-16 11:56 | 15.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6383 | μmol/L | 18.4971 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.496 | 119740.437 | 289183.6124 | 59.9307 | 49.4
239114 | 2022-05-16 11:56 | 15.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.9834 | μmol/L | 18.4971 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.479 | 119643.294 | 289161.7465 | 59.9307 | 49.4
239124 | 2022-05-16 11:57 | 16.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.5531 | μmol/L | 18.4971 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.451 | 119476.2986 | 289150.8788 | 59.9307 | 49.4
239134 | 2022-05-16 11:57 | 16.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.0044 | μmol/L | 18.4909 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.431 | 119306.742 | 289138.4171 | 59.9307 | 49.4
239144 | 2022-05-16 11:57 | 16.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.3699 | μmol/L | 18.4971 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.411 | 119178.5262 | 289125.808 | 59.9307 | 49.4
239154 | 2022-05-16 11:58 | 17.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.1066 | μmol/L | 18.4909 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.426 | 119263.1151 | 289104.1754 | 59.9307 | 49.4
239164 | 2022-05-16 11:58 | 17.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.744 | μmol/L | 18.4786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.448 | 119381.0683 | 289084.1822 | 59.9307 | 49.4
239174 | 2022-05-16 11:58 | 17.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.6217 | μmol/L | 18.4786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.454 | 119398.1425 | 289076.3607 | 59.9307 | 49.4
239184 | 2022-05-16 11:59 | 18.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.5402 | μmol/L | 18.4786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.458 | 119422.6641 | 289062.7143 | 59.9307 | 49.4
239194 | 2022-05-16 11:59 | 18.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4001 | μmol/L | 18.4847 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.512 | 119693.5269 | 289043.6153 | 59.9307 | 49.4
239204 | 2022-05-16 11:59 | 18.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.2407 | μmol/L | 18.4786 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.522 | 119761.3614 | 289045.2217 | 59.9307 | 49.4
239214 | 2022-05-16 12:00 | 19.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3064 | μmol/L | 18.4662 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.523 | 119771.351 | 289015.2285 | 59.9307 | 49.4
239224 | 2022-05-16 12:00 | 19.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.732 | μmol/L | 18.4662 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.502 | 119627.2336 | 289003.0327 | 59.9307 | 49.4
239234 | 2022-05-16 12:00 | 19.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9601 | μmol/L | 18.4724 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.538 | 119844.3349 | 289008.0866 | 59.9307 | 49.4
239244 | 2022-05-16 12:01 | 20.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.5267 | μmol/L | 18.4724 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.51 | 119653.0732 | 288991.3461 | 59.9307 | 49.4
239254 | 2022-05-16 12:01 | 20.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1356 | μmol/L | 18.4724 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.48 | 119447.2883 | 288967.2355 | 59.9307 | 49.4
239264 | 2022-05-16 12:01 | 20.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.8077 | μmol/L | 18.4724 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.447 | 119248.2608 | 288967.7641 | 59.9307 | 49.4
239274 | 2022-05-16 12:02 | 21.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4845 | μmol/L | 18.4662 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.416 | 119038.3096 | 288951.0049 | 59.9307 | 49.4
239284 | 2022-05-16 12:02 | 21.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.9789 | μmol/L | 18.46 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.394 | 118881.0421 | 288934.3956 | 59.9307 | 49.4
239294 | 2022-05-16 12:02 | 21.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.933 | μmol/L | 18.4724 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.392 | 118868.5593 | 288933.5318 | 59.9307 | 49.4
239304 | 2022-05-16 12:03 | 22.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.264 | μmol/L | 18.4662 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.378 | 118804.866 | 288910.0305 | 59.9307 | 49.4
239314 | 2022-05-16 12:03 | 22.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.3511 | μmol/L | 18.4539 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.378 | 118774.2519 | 288900.7266 | 59.9307 | 49.4
239324 | 2022-05-16 12:03 | 22.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0224 | μmol/L | 18.4539 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.394 | 118850.5884 | 288907.2557 | 59.9307 | 49.4
239334 | 2022-05-16 12:04 | 23.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0864 | μmol/L | 18.4477 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.393 | 118851.7674 | 288881.3114 | 59.9307 | 49.4
239344 | 2022-05-16 12:04 | 23.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.1393 | μmol/L | 18.46 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.435 | 119088.8178 | 288880.6537 | 59.9307 | 49.4
239354 | 2022-05-16 12:04 | 23.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.9222 | μmol/L | 18.4477 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.401 | 118883.2357 | 288865.9674 | 59.9307 | 49.4
239364 | 2022-05-16 12:05 | 24.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.9813 | μmol/L | 18.4539 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.396 | 118812.2991 | 288867.2298 | 59.9307 | 49.4
239374 | 2022-05-16 12:05 | 24.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1686 | μmol/L | 18.4477 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.389 | 118773.3107 | 288837.9521 | 59.9307 | 49.4
239384 | 2022-05-16 12:05 | 24.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.2713 | μmol/L | 18.4477 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.384 | 118741.1594 | 288827.8072 | 59.9307 | 49.4
239394 | 2022-05-16 12:06 | 25.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.6352 | μmol/L | 18.4477 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.415 | 118924.06 | 288839.2628 | 59.9307 | 49.4
239404 | 2022-05-16 12:06 | 25.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.8016 | μmol/L | 18.4415 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.409 | 118883.0366 | 288811.4422 | 59.9307 | 49.4
239414 | 2022-05-16 12:06 | 25.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7992 | μmol/L | 18.4477 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.407 | 118857.6723 | 288793.3604 | 59.9307 | 49.4
239424 | 2022-05-16 12:07 | 26.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.5787 | μmol/L | 18.4354 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.422 | 118939.7129 | 288775.664 | 59.9307 | 49.4
239434 | 2022-05-16 12:07 | 26.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.5763 | μmol/L | 18.4415 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.42 | 118909.8486 | 288760.0162 | 59.9307 | 49.4
239444 | 2022-05-16 12:07 | 26.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.6377 | μmol/L | 18.4415 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.417 | 118869.35 | 288755.5186 | 59.9307 | 49.4
239454 | 2022-05-16 12:08 | 27.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.1696 | μmol/L | 18.4354 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.442 | 119023.3854 | 288776.8879 | 59.9307 | 49.4
239464 | 2022-05-16 12:08 | 27.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.4403 | μmol/L | 18.4354 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.478 | 119234.8123 | 288750.1653 | 59.9307 | 49.4
239474 | 2022-05-16 12:08 | 27.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6861 | μmol/L | 18.4415 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.513 | 119433.3778 | 288745.0629 | 59.9307 | 49.4
239484 | 2022-05-16 12:09 | 28.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.8994 | μmol/L | 18.4354 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.554 | 119670.6747 | 288730.6966 | 59.9307 | 49.4
239494 | 2022-05-16 12:09 | 28.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9277 | μmol/L | 18.4354 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.602 | 119958.341 | 288717.6425 | 59.9307 | 49.4
239504 | 2022-05-16 12:09 | 28.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.2744 | μmol/L | 18.4354 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.585 | 118549.0385 | 288696.0834 | 59.9307 | 49.4
239514 | 2022-05-16 12:10 | 29.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.7178 | μmol/L | 18.4354 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.563 | 118761.249 | 288695.437 | 59.9307 | 49.4
239524 | 2022-05-16 12:10 | 29.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1091 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.55 | 118681.229 | 288698.1132 | 59.9307 | 49.4
239534 | 2022-05-16 12:10 | 29.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1672 | μmol/L | 18.423 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.545 | 118611.469 | 288691.4233 | 59.9307 | 49.4
239544 | 2022-05-16 12:11 | 30.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3493 | μmol/L | 18.423 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.536 | 118546.0028 | 288690.2531 | 59.9307 | 49.4
239554 | 2022-05-16 12:11 | 30.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.5341 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.529 | 118488.8692 | 288679.0636 | 59.9307 | 49.4
239564 | 2022-05-16 12:11 | 30.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6151 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.525 | 118427.8217 | 288660.5342 | 59.9307 | 49.4
239574 | 2022-05-16 12:12 | 31.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8179 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.515 | 118378.3378 | 288647.8977 | 59.9307 | 49.4
239584 | 2022-05-16 12:12 | 31.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.965 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.512 | 118329.3606 | 288628.1177 | 59.9307 | 49.4
239594 | 2022-05-16 12:12 | 31.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2114 | μmol/L | 18.3983 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.502 | 118274.1631 | 288627.6281 | 59.9307 | 49.4
239604 | 2022-05-16 12:13 | 32.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.3308 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.494 | 118211.553 | 288626.4522 | 59.9307 | 49.4
239614 | 2022-05-16 12:13 | 32.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.5318 | μmol/L | 18.4107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.482 | 118166.4334 | 288603.3957 | 59.9307 | 49.4
239624 | 2022-05-16 12:13 | 32.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7177 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.475 | 118064.0764 | 288594.6629 | 59.9307 | 49.4
239634 | 2022-05-16 12:14 | 33.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7942 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.467 | 118013.5287 | 288597.6986 | 59.9307 | 49.4
239644 | 2022-05-16 12:14 | 33.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.9166 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.461 | 117978.5658 | 288589.0525 | 59.9307 | 49.4
239654 | 2022-05-16 12:14 | 33.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.8783 | μmol/L | 18.4107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.465 | 117976.6588 | 288565.7778 | 59.9307 | 49.4
239664 | 2022-05-16 12:15 | 34.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.9216 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.465 | 117983.964 | 288542.056 | 59.9307 | 49.4
239674 | 2022-05-16 12:15 | 34.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7763 | μmol/L | 18.4107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.47 | 117986.5094 | 288542.624 | 59.9307 | 49.4
239684 | 2022-05-16 12:15 | 34.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.5522 | μmol/L | 18.4107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.481 | 118049.6216 | 288519.5495 | 59.9307 | 49.4
239694 | 2022-05-16 12:16 | 35.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.4529 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.488 | 118083.7506 | 288537.9332 | 59.9307 | 49.4
239704 | 2022-05-16 12:16 | 35.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.4122 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.49 | 118073.3162 | 288534.8304 | 59.9307 | 49.4
239714 | 2022-05-16 12:16 | 35.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.4733 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.487 | 118063.1219 | 288513.5699 | 59.9307 | 49.4
239724 | 2022-05-16 12:17 | 36.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.308 | μmol/L | 18.4107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.493 | 118076.0601 | 288510.9253 | 59.9307 | 49.4
239734 | 2022-05-16 12:17 | 36.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2495 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.498 | 118106.3323 | 288500.9449 | 59.9307 | 49.4
239744 | 2022-05-16 12:17 | 36.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1453 | μmol/L | 18.4107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.501 | 118086.3155 | 288491.8856 | 59.9307 | 49.4
239754 | 2022-05-16 12:18 | 37.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1631 | μmol/L | 18.4169 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.498 | 118077.5954 | 288457.1953 | 59.9307 | 49.4
239764 | 2022-05-16 12:18 | 37.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2495 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.498 | 118056.3412 | 288467.2083 | 59.9307 | 49.4
239774 | 2022-05-16 12:18 | 37.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2292 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.499 | 118063.7685 | 288456.8102 | 59.9307 | 49.4
239784 | 2022-05-16 12:19 | 38.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0869 | μmol/L | 18.4045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.506 | 118078.5557 | 288446.0786 | 59.9307 | 49.4
239794 | 2022-05-16 12:19 | 38.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1123 | μmol/L | 18.3922 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.509 | 118082.8128 | 288447.3624 | 59.9307 | 49.4
239804 | 2022-05-16 12:19 | 38.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1732 | μmol/L | 18.3922 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.506 | 118077.1154 | 288449.1116 | 59.9307 | 49.4
239814 | 2022-05-16 12:20 | 39.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0945 | μmol/L | 18.386 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.512 | 118111.3205 | 288433.3885 | 59.9307 | 49.4
239824 | 2022-05-16 12:20 | 39.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.9321 | μmol/L | 18.386 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.52 | 118143.4582 | 288434.7192 | 59.9307 | 49.4
239834 | 2022-05-16 12:20 | 39.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8129 | μmol/L | 18.3798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.528 | 118181.5912 | 288431.4585 | 59.9307 | 49.4
239844 | 2022-05-16 12:21 | 40.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.7318 | μmol/L | 18.3798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.532 | 118178.8768 | 288408.5267 | 59.9307 | 49.4
239854 | 2022-05-16 12:21 | 40.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.671 | μmol/L | 18.3798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.535 | 118210.4108 | 288404.7007 | 59.9307 | 49.4
239864 | 2022-05-16 12:21 | 40.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.5063 | μmol/L | 18.386 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.541 | 118243.2968 | 288383.5412 | 59.9307 | 49.4
239874 | 2022-05-16 12:22 | 41.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.2811 | μmol/L | 18.3922 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.55 | 118271.716 | 288397.0341 | 59.9307 | 49.4
239884 | 2022-05-16 12:22 | 41.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3874 | μmol/L | 18.3798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.549 | 118272.4513 | 288378.9757 | 59.9307 | 49.4
239894 | 2022-05-16 12:22 | 41.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3091 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.555 | 118292.372 | 288364.7804 | 59.9307 | 49.4
239904 | 2022-05-16 12:23 | 42.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.2433 | μmol/L | 18.386 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.554 | 118303.4133 | 288374.3884 | 59.9307 | 49.4
239914 | 2022-05-16 12:23 | 42.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.2661 | μmol/L | 18.3798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.555 | 118304.3653 | 288343.9032 | 59.9307 | 49.4
239924 | 2022-05-16 12:23 | 42.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1219 | μmol/L | 18.386 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.56 | 118320.1403 | 288346.9397 | 59.9307 | 49.4
239934 | 2022-05-16 12:24 | 43.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1447 | μmol/L | 18.3798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.561 | 118335.8369 | 288367.6769 | 59.9307 | 49.4
239944 | 2022-05-16 12:24 | 43.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1473 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.563 | 118348.0557 | 288351.4238 | 59.9307 | 49.4
239954 | 2022-05-16 12:24 | 43.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9251 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.574 | 118374.8664 | 288354.5825 | 59.9307 | 49.4
239964 | 2022-05-16 12:25 | 44.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9049 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.575 | 118374.5562 | 288338.4633 | 59.9307 | 49.4
239974 | 2022-05-16 12:25 | 44.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9049 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.575 | 118388.8965 | 288343.4387 | 59.9307 | 49.4
239984 | 2022-05-16 12:25 | 44.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.804 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.58 | 118404.3972 | 288320.0336 | 59.9307 | 49.4
239994 | 2022-05-16 12:26 | 45.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.683 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.586 | 118421.0995 | 288318.9649 | 59.9307 | 49.4
240004 | 2022-05-16 12:26 | 45.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.789 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.585 | 118432.1981 | 288306.4639 | 59.9307 | 49.4
240014 | 2022-05-16 12:26 | 45.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.5848 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.593 | 118462.7958 | 288308.7831 | 59.9307 | 49.4
240024 | 2022-05-16 12:27 | 46.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4639 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.599 | 118481.5884 | 288299.0745 | 59.9307 | 49.4
240034 | 2022-05-16 12:27 | 46.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.3834 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.603 | 118502.074 | 288283.2906 | 59.9307 | 49.4
240044 | 2022-05-16 12:27 | 46.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.3431 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.605 | 118529.0996 | 288301.5286 | 59.9307 | 49.4
240054 | 2022-05-16 12:28 | 47.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.142 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.615 | 118547.3252 | 288281.5414 | 59.9307 | 49.4
240064 | 2022-05-16 12:28 | 47.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.225 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.613 | 118562.9312 | 288274.8747 | 59.9307 | 49.4
240074 | 2022-05-16 12:28 | 47.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0214 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.621 | 118580.9419 | 288269.2804 | 59.9307 | 49.4
240084 | 2022-05-16 12:29 | 48.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1044 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.619 | 118590.3011 | 288263.4979 | 59.9307 | 49.4
240094 | 2022-05-16 12:29 | 48.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0039 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.624 | 118604.0312 | 288276.9445 | 59.9307 | 49.4
240104 | 2022-05-16 12:29 | 48.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9437 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.627 | 118606.7542 | 288262.0099 | 59.9307 | 49.4
240114 | 2022-05-16 12:30 | 49.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9637 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.626 | 118617.7445 | 288279.6653 | 59.9307 | 49.4
240124 | 2022-05-16 12:30 | 49.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7979 | μmol/L | 18.3737 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.63 | 118629.6126 | 288252.2828 | 59.9307 | 49.4
240134 | 2022-05-16 12:30 | 49.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7229 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.638 | 118671.277 | 288251.152 | 59.9307 | 49.4
240144 | 2022-05-16 12:31 | 50.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.545 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.649 | 118705.411 | 288259.7955 | 59.9307 | 49.4
240154 | 2022-05-16 12:31 | 50.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.545 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.649 | 118720.3142 | 288259.2947 | 59.9307 | 49.4
240164 | 2022-05-16 12:31 | 50.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.3848 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.657 | 118745.2634 | 288245.3672 | 59.9307 | 49.4
240174 | 2022-05-16 12:32 | 51.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1846 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.667 | 118806.2215 | 288242.6683 | 59.9307 | 49.4
240184 | 2022-05-16 12:32 | 51.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.2073 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.668 | 118845.6972 | 288236.0448 | 59.9307 | 49.4
240194 | 2022-05-16 12:32 | 51.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.07 | μmol/L | 18.3428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.677 | 118865.067 | 288238.5455 | 59.9307 | 49.4
240204 | 2022-05-16 12:33 | 52.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9248 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.68 | 118900.5673 | 288238.9498 | 59.9307 | 49.4
240214 | 2022-05-16 12:33 | 52.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7025 | μmol/L | 18.3613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.689 | 118930.9019 | 288251.4347 | 59.9307 | 49.4
240224 | 2022-05-16 12:33 | 52.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7451 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.689 | 118946.2747 | 288243.661 | 59.9307 | 49.4
240234 | 2022-05-16 12:34 | 53.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6852 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.692 | 118966.8539 | 288244.1479 | 59.9307 | 49.4
240244 | 2022-05-16 12:34 | 53.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6453 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.694 | 118980.3804 | 288245.1228 | 59.9307 | 49.4
240254 | 2022-05-16 12:34 | 53.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4406 | μmol/L | 18.3675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.7 | 118995.6609 | 288233.176 | 59.9307 | 49.4
240264 | 2022-05-16 12:35 | 54.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5057 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.701 | 119011.5009 | 288215.3856 | 59.9307 | 49.4
240274 | 2022-05-16 12:35 | 54.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3862 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.707 | 119017.6372 | 288237.0332 | 59.9307 | 49.4
240284 | 2022-05-16 12:35 | 54.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3662 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.708 | 119037.3809 | 288215.9642 | 59.9307 | 49.4
240294 | 2022-05-16 12:36 | 55.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3065 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.711 | 119053.749 | 288217.6436 | 59.9307 | 49.4
240304 | 2022-05-16 12:36 | 55.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4087 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.708 | 119042.9547 | 288214.9332 | 59.9307 | 49.4
240314 | 2022-05-16 12:36 | 55.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3264 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.71 | 119039.1675 | 288195.0633 | 59.9307 | 49.4
240324 | 2022-05-16 12:37 | 56.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2866 | μmol/L | 18.3552 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.712 | 119048.0491 | 288197.2122 | 59.9307 | 49.4
240334 | 2022-05-16 12:37 | 56.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4141 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.712 | 119052.192 | 288216.2828 | 59.9307 | 49.4
240344 | 2022-05-16 12:37 | 56.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4141 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.712 | 119053.0566 | 288193.1214 | 59.9307 | 49.4
240354 | 2022-05-16 12:38 | 57.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2494 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.716 | 119050.5739 | 288202.2789 | 59.9307 | 49.4
240364 | 2022-05-16 12:38 | 57.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2494 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.716 | 119065.1314 | 288188.3123 | 59.9307 | 49.4
240374 | 2022-05-16 12:38 | 57.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2322 | μmol/L | 18.3428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.719 | 119081.5443 | 288195.5219 | 59.9307 | 49.4
240384 | 2022-05-16 12:39 | 58.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2096 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.718 | 119086.6309 | 288192.112 | 59.9307 | 49.4
240394 | 2022-05-16 12:39 | 58.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9538 | μmol/L | 18.3428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.733 | 119159.3264 | 288200.4503 | 59.9307 | 49.4
240404 | 2022-05-16 12:39 | 58.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6388 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.751 | 119258.341 | 288189.5618 | 59.9307 | 49.4
240414 | 2022-05-16 12:40 | 59.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2964 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.764 | 119363.9546 | 288190.5386 | 59.9307 | 49.4
240424 | 2022-05-16 12:40 | 59.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2964 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.764 | 119350.6412 | 288186.148 | 59.9307 | 49.4
240434 | 2022-05-16 12:40 | 59.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2766 | μmol/L | 18.349 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.765 | 119347.5137 | 288181.398 | 59.9307 | 49.4
240444 | 2022-05-16 12:41 | 60.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.0814 | μmol/L | 18.3428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.777 | 119415.1267 | 288169.1093 | 59.9307 | 49.4
240454 | 2022-05-16 12:41 | 60.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8046 | μmol/L | 18.3428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.791 | 119483.1758 | 288147.2173 | 59.9307 | 49.4
240464 | 2022-05-16 12:41 | 60.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.9232 | μmol/L | 18.3428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.785 | 119447.6902 | 288157.915 | 59.9307 | 49.4
240474 | 2022-05-16 12:42 | 61.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.067 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.782 | 119427.1959 | 288154.7545 | 59.9307 | 49.4
240484 | 2022-05-16 12:42 | 61.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1066 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.78 | 119414.6826 | 288156.9679 | 59.9307 | 49.4
240494 | 2022-05-16 12:42 | 61.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2424 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.771 | 119373.3227 | 288158.8502 | 59.9307 | 49.4
240504 | 2022-05-16 12:43 | 62.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4432 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.763 | 119337.9948 | 288146.3569 | 59.9307 | 49.4
240514 | 2022-05-16 12:43 | 62.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2424 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.771 | 119346.3388 | 288148.8865 | 59.9307 | 49.4
240524 | 2022-05-16 12:43 | 62.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1264 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.779 | 119403.7525 | 288151.9825 | 59.9307 | 49.4
240534 | 2022-05-16 12:44 | 63.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.0868 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.781 | 119391.7865 | 288160.0329 | 59.9307 | 49.4
240544 | 2022-05-16 12:44 | 63.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.3667 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.769 | 119342.6835 | 288123.5291 | 59.9307 | 49.4
240554 | 2022-05-16 12:44 | 63.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.282 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.769 | 119317.0334 | 288113.1102 | 59.9307 | 49.4
240564 | 2022-05-16 12:45 | 64.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.3838 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.766 | 119290.901 | 288107.1811 | 59.9307 | 49.4
240574 | 2022-05-16 12:45 | 64.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4063 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.767 | 119292.2273 | 288123.7985 | 59.9307 | 49.4
240584 | 2022-05-16 12:45 | 64.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2874 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.773 | 119319.7421 | 288127.8341 | 59.9307 | 49.4
240594 | 2022-05-16 12:46 | 65.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1264 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.779 | 119364.8686 | 288110.3871 | 59.9307 | 49.4
240604 | 2022-05-16 12:46 | 65.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.9259 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.787 | 119406.2835 | 288124.4543 | 59.9307 | 49.4
240614 | 2022-05-16 12:46 | 65.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8271 | μmol/L | 18.3366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.792 | 119439.9997 | 288110.0101 | 59.9307 | 49.4
240624 | 2022-05-16 12:47 | 66.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.7535 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.8 | 119473.4282 | 288098.0579 | 59.9307 | 49.4
240634 | 2022-05-16 12:47 | 66.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.5759 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.809 | 119509.8631 | 288088.6753 | 59.9307 | 49.4
240644 | 2022-05-16 12:47 | 66.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.5589 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.812 | 119543.6961 | 288083.5757 | 59.9307 | 49.4
240654 | 2022-05-16 12:48 | 67.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2802 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.824 | 119581.1892 | 288095.1357 | 59.9307 | 49.4
240664 | 2022-05-16 12:48 | 67.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.283 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.826 | 119598.0582 | 288078.63 | 59.9307 | 49.4
240674 | 2022-05-16 12:48 | 67.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0413 | μmol/L | 18.3305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.834 | 119615.7141 | 288068.1009 | 59.9307 | 49.4
240684 | 2022-05-16 12:49 | 68.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2015 | μmol/L | 18.3243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.828 | 119637.4365 | 288057.3477 | 59.9307 | 49.4
240694 | 2022-05-16 12:49 | 68.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9878 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.841 | 119680.395 | 288073.9909 | 59.9307 | 49.4
240704 | 2022-05-16 12:49 | 68.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8109 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.85 | 119696.8608 | 288052.5661 | 59.9307 | 49.4
240714 | 2022-05-16 12:50 | 69.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7716 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.852 | 119719.3586 | 288060.6124 | 59.9307 | 49.4
240724 | 2022-05-16 12:50 | 69.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7716 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.852 | 119742.4576 | 288035.4613 | 59.9307 | 49.4
240734 | 2022-05-16 12:50 | 69.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6369 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.861 | 119770.5903 | 288048.8051 | 59.9307 | 49.4
240744 | 2022-05-16 12:51 | 70.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5388 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.866 | 119794.6148 | 288038.6114 | 59.9307 | 49.4
240754 | 2022-05-16 12:51 | 70.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4799 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.869 | 119818.4174 | 288036.387 | 59.9307 | 49.4
240764 | 2022-05-16 12:51 | 70.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4211 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.872 | 119834.0677 | 288023.548 | 59.9307 | 49.4
240774 | 2022-05-16 12:52 | 71.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.2643 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.88 | 119879.931 | 288020.3039 | 59.9307 | 49.4
240784 | 2022-05-16 12:52 | 71.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0657 | μmol/L | 18.3181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.888 | 119908.7946 | 288002.692 | 59.9307 | 49.4
240794 | 2022-05-16 12:52 | 71.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0098 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.893 | 119935.3535 | 288016.1184 | 59.9307 | 49.4
240804 | 2022-05-16 12:53 | 72.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0294 | μmol/L | 18.312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.892 | 119938.3161 | 288013.8565 | 59.9307 | 49.4