## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 194970699 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:47

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
25 | 2022-05-16 13:24 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 311.3638 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.855 | 106213.8124 | 265583.069 | 36.4 | 83.1
32 | 2022-05-16 13:24 | 0.33642 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 311.5175 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.847 | 106129.7205 | 265577.675 | 36.4 | 83.1
41 | 2022-05-16 13:24 | 0.66977 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 311.0895 | μmol/L | 18.4748 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.863 | 106170.4651 | 265580.4499 | 36.4 | 83.1
51 | 2022-05-16 13:25 | 1.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.5357 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.886 | 106241.388 | 265573.68 | 36.4 | 83.1
62 | 2022-05-16 13:25 | 1.3367 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.2691 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.896 | 106279.1548 | 265567.5346 | 36.4 | 83.1
72 | 2022-05-16 13:25 | 1.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.1626 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.9 | 106237.1805 | 265563.608 | 36.4 | 83.1
81 | 2022-05-16 13:26 | 2.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.2958 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.895 | 106192.5677 | 265565.0445 | 36.4 | 83.1
91 | 2022-05-16 13:26 | 2.3363 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.3757 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.892 | 106132.601 | 265561.2094 | 36.4 | 83.1
101 | 2022-05-16 13:26 | 2.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.436 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.892 | 106091.2442 | 265549.6962 | 36.4 | 83.1
111 | 2022-05-16 13:27 | 3.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.3224 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.894 | 106072.5283 | 265570.1552 | 36.4 | 83.1
121 | 2022-05-16 13:27 | 3.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 309.2854 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.933 | 106225.5101 | 265551.7497 | 36.4 | 83.1
132 | 2022-05-16 13:27 | 3.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 306.6201 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.034 | 106746.234 | 265539.5681 | 36.4 | 83.1
142 | 2022-05-16 13:28 | 4.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.835 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.143 | 107294.6204 | 265544.06 | 36.4 | 83.1
152 | 2022-05-16 13:28 | 4.3366 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.5083 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.192 | 107505.8872 | 265553.6813 | 36.4 | 83.1
162 | 2022-05-16 13:28 | 4.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.2388 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.207 | 107542.8366 | 265546.412 | 36.4 | 83.1
172 | 2022-05-16 13:29 | 5.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.4084 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.237 | 107687.6999 | 265562.9931 | 36.4 | 83.1
182 | 2022-05-16 13:29 | 5.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.991 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.371 | 108355.9772 | 265563.2181 | 36.4 | 83.1
192 | 2022-05-16 13:29 | 5.6696 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.6253 | μmol/L | 18.4625 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.545 | 109246.9682 | 265559.8549 | 36.4 | 83.1
201 | 2022-05-16 13:30 | 6.0028 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.9912 | μmol/L | 18.4687 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.528 | 109128.2038 | 265558.0581 | 36.4 | 83.1
212 | 2022-05-16 13:30 | 6.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.164 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.406 | 108414.5385 | 265557.5512 | 36.4 | 83.1
222 | 2022-05-16 13:30 | 6.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.8538 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.3 | 107814.7733 | 265553.8384 | 36.4 | 83.1
231 | 2022-05-16 13:31 | 7.0028 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.1075 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.251 | 107526.1334 | 265553.1799 | 36.4 | 83.1
241 | 2022-05-16 13:31 | 7.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.9536 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.257 | 107539.3566 | 265548.2887 | 36.4 | 83.1
252 | 2022-05-16 13:31 | 7.6701 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.1658 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.327 | 107865.5174 | 265556.1972 | 36.4 | 83.1
262 | 2022-05-16 13:32 | 8.0032 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.4814 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.28 | 107587.1672 | 265546.7584 | 36.4 | 83.1
272 | 2022-05-16 13:32 | 8.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.246 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.209 | 107186.9704 | 265554.0884 | 36.4 | 83.1
282 | 2022-05-16 13:32 | 8.6701 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.1358 | μmol/L | 18.4564 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.211 | 107149.03 | 265546.141 | 36.4 | 83.1
292 | 2022-05-16 13:33 | 9.0033 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.6314 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.311 | 107672.3194 | 265551.7115 | 36.4 | 83.1
302 | 2022-05-16 13:33 | 9.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.4866 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.515 | 108716.8621 | 265537.167 | 36.4 | 83.1
312 | 2022-05-16 13:33 | 9.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 289.8742 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.704 | 109711.1057 | 265547.0548 | 36.4 | 83.1
321 | 2022-05-16 13:34 | 10.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 289.3367 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.726 | 109781.3883 | 265543.42 | 36.4 | 83.1
331 | 2022-05-16 13:34 | 10.3367 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 291.6348 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.63 | 109239.9145 | 265542.2297 | 36.4 | 83.1
341 | 2022-05-16 13:34 | 10.67 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.4689 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.478 | 108403.9318 | 265536.1858 | 36.4 | 83.1
352 | 2022-05-16 13:35 | 11.0032 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.2383 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.331 | 107592.2581 | 265541.1624 | 36.4 | 83.1
361 | 2022-05-16 13:35 | 11.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.6471 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.198 | 106868.5107 | 265529.8396 | 36.4 | 83.1
371 | 2022-05-16 13:35 | 11.6694 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 305.2945 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.096 | 106288.0272 | 265526.195 | 36.4 | 83.1
382 | 2022-05-16 13:36 | 12.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.2263 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.02 | 105841.468 | 265525.2906 | 36.4 | 83.1
392 | 2022-05-16 13:36 | 12.3368 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.8892 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.957 | 105493.6293 | 265537.8818 | 36.4 | 83.1
401 | 2022-05-16 13:36 | 12.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 310.2969 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.904 | 105183.2752 | 265535.2738 | 36.4 | 83.1
411 | 2022-05-16 13:37 | 13.0032 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 311.2775 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.865 | 104908.8343 | 265522.1783 | 36.4 | 83.1
422 | 2022-05-16 13:37 | 13.3367 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 312.6053 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.82 | 104668.0851 | 265517.4919 | 36.4 | 83.1
431 | 2022-05-16 13:37 | 13.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 313.4942 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.787 | 104465.3278 | 265527.0604 | 36.4 | 83.1
442 | 2022-05-16 13:38 | 14.0031 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 314.0748 | μmol/L | 18.4503 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.761 | 104315.4253 | 265518.1205 | 36.4 | 83.1
452 | 2022-05-16 13:38 | 14.3367 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 314.7588 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.738 | 104183.6954 | 265507.3781 | 36.4 | 83.1
462 | 2022-05-16 13:38 | 14.6694 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.0301 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.728 | 104087.1079 | 265507.1164 | 36.4 | 83.1
472 | 2022-05-16 13:39 | 15.0029 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.3902 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.717 | 104008.9273 | 265523.2875 | 36.4 | 83.1
482 | 2022-05-16 13:39 | 15.3364 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.6622 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.707 | 103943.9026 | 265511.3566 | 36.4 | 83.1
492 | 2022-05-16 13:39 | 15.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.9346 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.697 | 103883.8987 | 265520.2709 | 36.4 | 83.1
502 | 2022-05-16 13:40 | 16.0033 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.846 | μmol/L | 18.4442 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.698 | 103863.0399 | 265501.4476 | 36.4 | 83.1
511 | 2022-05-16 13:40 | 16.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.4446 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.715 | 103906.4269 | 265491.3635 | 36.4 | 83.1
521 | 2022-05-16 13:40 | 16.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.0438 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.732 | 103955.1069 | 265494.7472 | 36.4 | 83.1
531 | 2022-05-16 13:41 | 17.003 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 315.0438 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.732 | 103940.0829 | 265478.8567 | 36.4 | 83.1
541 | 2022-05-16 13:41 | 17.3364 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 314.3931 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.756 | 104049.3722 | 265483.6463 | 36.4 | 83.1
552 | 2022-05-16 13:41 | 17.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 311.2914 | μmol/L | 18.438 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.869 | 104620.7019 | 265483.0048 | 36.4 | 83.1
561 | 2022-05-16 13:42 | 18.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.7972 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.965 | 105084.7921 | 265475.4714 | 36.4 | 83.1
571 | 2022-05-16 13:42 | 18.3363 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5926 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.975 | 105132.1503 | 265469.1789 | 36.4 | 83.1
581 | 2022-05-16 13:42 | 18.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5132 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 21.978 | 105134.9551 | 265454.2013 | 36.4 | 83.1
591 | 2022-05-16 13:43 | 19.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.1685 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.029 | 105391.6272 | 265446.8103 | 36.4 | 83.1
602 | 2022-05-16 13:43 | 19.3363 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 305.7788 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.082 | 105632.1416 | 265465.8305 | 36.4 | 83.1
612 | 2022-05-16 13:43 | 19.6701 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.7612 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.121 | 105820.5742 | 265470.0839 | 36.4 | 83.1
622 | 2022-05-16 13:44 | 20.0031 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.1183 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.148 | 105934.1177 | 265454.9606 | 36.4 | 83.1
631 | 2022-05-16 13:44 | 20.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.371 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.136 | 105852.0055 | 265446.5082 | 36.4 | 83.1
642 | 2022-05-16 13:44 | 20.67 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.7927 | μmol/L | 18.4319 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.156 | 105939.3487 | 265443.572 | 36.4 | 83.1
651 | 2022-05-16 13:45 | 21.0028 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.4182 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.175 | 106000.8983 | 265430.9358 | 36.4 | 83.1
661 | 2022-05-16 13:45 | 21.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.9972 | μmol/L | 18.4258 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.189 | 106085.7769 | 265416.3235 | 36.4 | 83.1
672 | 2022-05-16 13:45 | 21.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.6428 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.205 | 106127.9871 | 265414.4008 | 36.4 | 83.1
682 | 2022-05-16 13:46 | 22.0029 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.2302 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.221 | 106177.7437 | 265412.505 | 36.4 | 83.1
692 | 2022-05-16 13:46 | 22.3368 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.9727 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.231 | 106197.2943 | 265413.8612 | 36.4 | 83.1
702 | 2022-05-16 13:46 | 22.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.844 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.236 | 106223.5071 | 265396.1667 | 36.4 | 83.1
712 | 2022-05-16 13:47 | 23.0029 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.7154 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.241 | 106233.1026 | 265381.2013 | 36.4 | 83.1
722 | 2022-05-16 13:47 | 23.3368 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.5941 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.248 | 106252.7044 | 265368.9497 | 36.4 | 83.1
731 | 2022-05-16 13:47 | 23.67 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.5612 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.247 | 106239.3995 | 265370.6749 | 36.4 | 83.1
741 | 2022-05-16 13:48 | 24.0033 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.664 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.243 | 106199.8942 | 265348.3574 | 36.4 | 83.1
752 | 2022-05-16 13:48 | 24.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.5941 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.248 | 106185.0696 | 265357.4344 | 36.4 | 83.1
762 | 2022-05-16 13:48 | 24.6701 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.6712 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.245 | 106172.6119 | 265344.7281 | 36.4 | 83.1
771 | 2022-05-16 13:49 | 25.003 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.3558 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.255 | 106187.7477 | 265345.0476 | 36.4 | 83.1
782 | 2022-05-16 13:49 | 25.3363 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.3373 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.258 | 106207.5491 | 265335.6099 | 36.4 | 83.1
792 | 2022-05-16 13:49 | 25.6694 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.0551 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.269 | 106231.909 | 265329.8088 | 36.4 | 83.1
801 | 2022-05-16 13:50 | 26.0027 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.0551 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.269 | 106235.7845 | 265321.9563 | 36.4 | 83.1
811 | 2022-05-16 13:50 | 26.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.011 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.273 | 106225.209 | 265312.2221 | 36.4 | 83.1
822 | 2022-05-16 13:50 | 26.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.6637 | μmol/L | 18.4197 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.282 | 106235.0761 | 265300.7044 | 36.4 | 83.1
831 | 2022-05-16 13:51 | 27.0032 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.8245 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.278 | 106227.1228 | 265298.8936 | 36.4 | 83.1
842 | 2022-05-16 13:51 | 27.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.7037 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.285 | 106265.6849 | 265294.5519 | 36.4 | 83.1
852 | 2022-05-16 13:51 | 27.67 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.2361 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.301 | 106311.3603 | 265291.1292 | 36.4 | 83.1
861 | 2022-05-16 13:52 | 28.0031 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.1922 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.305 | 106309.8954 | 265276.5605 | 36.4 | 83.1
871 | 2022-05-16 13:52 | 28.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.9114 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.316 | 106328.6622 | 265276.889 | 36.4 | 83.1
882 | 2022-05-16 13:52 | 28.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.988 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.313 | 106340.8372 | 265262.2103 | 36.4 | 83.1
892 | 2022-05-16 13:53 | 29.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.9552 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.312 | 106297.1823 | 265267.5864 | 36.4 | 83.1
902 | 2022-05-16 13:53 | 29.3363 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.0318 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.309 | 106284.7564 | 265257.3112 | 36.4 | 83.1
912 | 2022-05-16 13:53 | 29.67 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.6492 | μmol/L | 18.4135 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.324 | 106324.8179 | 265270.9455 | 36.4 | 83.1
921 | 2022-05-16 13:54 | 30.0029 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.6309 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.327 | 106346.2888 | 265252.8657 | 36.4 | 83.1
932 | 2022-05-16 13:54 | 30.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.6054 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.328 | 106330.5046 | 265236.2852 | 36.4 | 83.1
942 | 2022-05-16 13:54 | 30.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.6382 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.329 | 106351.0768 | 265247.602 | 36.4 | 83.1
952 | 2022-05-16 13:55 | 31.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.3507 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.338 | 106353.9074 | 265233.6392 | 36.4 | 83.1
961 | 2022-05-16 13:55 | 31.3364 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.3507 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.338 | 106344.3113 | 265224.4385 | 36.4 | 83.1
971 | 2022-05-16 13:55 | 31.6694 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.1981 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.344 | 106354.7374 | 265228.2516 | 36.4 | 83.1
981 | 2022-05-16 13:56 | 32.0032 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.0782 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.351 | 106421.8066 | 265223.2045 | 36.4 | 83.1
991 | 2022-05-16 13:56 | 32.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.7225 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.365 | 106448.8384 | 265223.6018 | 36.4 | 83.1
1002 | 2022-05-16 13:56 | 32.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.6137 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.367 | 106456.0274 | 265208.3715 | 36.4 | 83.1
1012 | 2022-05-16 13:57 | 33.0034 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.621 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.369 | 106442.0302 | 265208.0222 | 36.4 | 83.1
1022 | 2022-05-16 13:57 | 33.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.5629 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.369 | 106448.5076 | 265198.018 | 36.4 | 83.1
1032 | 2022-05-16 13:57 | 33.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.3347 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.378 | 106482.5499 | 265185.4895 | 36.4 | 83.1
1042 | 2022-05-16 13:58 | 34.0033 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.2913 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.382 | 106494.8307 | 265186.0113 | 36.4 | 83.1
1052 | 2022-05-16 13:58 | 34.3366 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.3166 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.381 | 106477.0264 | 265182.2445 | 36.4 | 83.1
1061 | 2022-05-16 13:58 | 34.6696 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.2153 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.385 | 106463.7844 | 265176.4741 | 36.4 | 83.1
1071 | 2022-05-16 13:59 | 35.0027 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.2406 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.384 | 106465.8295 | 265154.5015 | 36.4 | 83.1
1082 | 2022-05-16 13:59 | 35.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.2153 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.385 | 106479.4257 | 265160.998 | 36.4 | 83.1
1092 | 2022-05-16 13:59 | 35.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.0886 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.39 | 106489.3108 | 265157.3558 | 36.4 | 83.1
1101 | 2022-05-16 14:00 | 36.0029 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.9548 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.393 | 106496.3432 | 265148.272 | 36.4 | 83.1
1112 | 2022-05-16 14:00 | 36.3368 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.767 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.405 | 106527.8036 | 265148.5941 | 36.4 | 83.1
1121 | 2022-05-16 14:00 | 36.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.5502 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.409 | 106550.7844 | 265135.5379 | 36.4 | 83.1
1132 | 2022-05-16 14:01 | 37.0029 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.5901 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.412 | 106557.7261 | 265133.9832 | 36.4 | 83.1
1141 | 2022-05-16 14:01 | 37.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.6586 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.407 | 106509.5036 | 265128.5084 | 36.4 | 83.1
1152 | 2022-05-16 14:01 | 37.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.8103 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.401 | 106498.3043 | 265140.2282 | 36.4 | 83.1
1161 | 2022-05-16 14:02 | 38.0027 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.7019 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.403 | 106475.6039 | 265121.668 | 36.4 | 83.1
1172 | 2022-05-16 14:02 | 38.3366 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.8536 | μmol/L | 18.4074 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.397 | 106436.8674 | 265107.8405 | 36.4 | 83.1
1181 | 2022-05-16 14:02 | 38.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.9368 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.396 | 106434.4222 | 265109.6213 | 36.4 | 83.1
1192 | 2022-05-16 14:03 | 39.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.5648 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.413 | 106490.9128 | 265115.4755 | 36.4 | 83.1
1201 | 2022-05-16 14:03 | 39.3365 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.2041 | μmol/L | 18.4013 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.425 | 106538.3908 | 265094.7112 | 36.4 | 83.1
1211 | 2022-05-16 14:03 | 39.6695 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 296.9845 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.436 | 106604.0507 | 265105.2621 | 36.4 | 83.1
1222 | 2022-05-16 14:04 | 40.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 296.0288 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.474 | 106775.3205 | 265097.95 | 36.4 | 83.1
1232 | 2022-05-16 14:04 | 40.3367 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.7027 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.487 | 106844.15 | 265090.5068 | 36.4 | 83.1
1241 | 2022-05-16 14:04 | 40.6698 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.6849 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.49 | 106849.0587 | 265098.3109 | 36.4 | 83.1
1251 | 2022-05-16 14:05 | 41.0031 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.5523 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.493 | 106844.8564 | 265110.4592 | 36.4 | 83.1
1261 | 2022-05-16 14:05 | 41.3361 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.8604 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.483 | 106798.0323 | 265085.5768 | 36.4 | 83.1
1272 | 2022-05-16 14:05 | 41.6702 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.9786 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.476 | 106760.3279 | 265099.3311 | 36.4 | 83.1
1281 | 2022-05-16 14:06 | 42.0031 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.5847 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.494 | 106831.3687 | 265089.0061 | 36.4 | 83.1
1292 | 2022-05-16 14:06 | 42.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.1092 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.513 | 106905.9242 | 265087.677 | 36.4 | 83.1
1302 | 2022-05-16 14:06 | 42.6698 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.4527 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.537 | 107053.3416 | 265077.8973 | 36.4 | 83.1
1311 | 2022-05-16 14:07 | 43.0035 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.1039 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.551 | 107120.1587 | 265081.7062 | 36.4 | 83.1
1322 | 2022-05-16 14:07 | 43.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.7059 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.567 | 107174.793 | 265093.7678 | 36.4 | 83.1
1332 | 2022-05-16 14:07 | 43.6699 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.5218 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.579 | 107211.8528 | 265077.0233 | 36.4 | 83.1
1341 | 2022-05-16 14:08 | 44.0033 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.646 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.574 | 107215.8838 | 265069.3856 | 36.4 | 83.1
1352 | 2022-05-16 14:08 | 44.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.4722 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.581 | 107246.8111 | 265084.3701 | 36.4 | 83.1
1362 | 2022-05-16 14:08 | 44.67 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.0183 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.597 | 107311.2831 | 265084.128 | 36.4 | 83.1
1371 | 2022-05-16 14:09 | 45.0028 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.8771 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.605 | 107336.1155 | 265078.7515 | 36.4 | 83.1
1381 | 2022-05-16 14:09 | 45.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.9514 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.602 | 107343.6611 | 265077.8013 | 36.4 | 83.1
1392 | 2022-05-16 14:09 | 45.6701 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.9688 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.599 | 107332.0998 | 265074.3125 | 36.4 | 83.1
1401 | 2022-05-16 14:10 | 46.003 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.5653 | μmol/L | 18.3952 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.613 | 107363.8828 | 265085.2833 | 36.4 | 83.1
1411 | 2022-05-16 14:10 | 46.3362 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.5727 | μmol/L | 18.389 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.615 | 107384.7538 | 265078.898 | 36.4 | 83.1
1421 | 2022-05-16 14:10 | 46.6701 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.4638 | μmol/L | 18.3768 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.624 | 107409.3719 | 265084.5341 | 36.4 | 83.1
1432 | 2022-05-16 14:11 | 47.0031 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.3081 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.628 | 107430.2241 | 265078.5106 | 36.4 | 83.1
1441 | 2022-05-16 14:11 | 47.336 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.3576 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.626 | 107503.7304 | 265097.4666 | 36.4 | 83.1
1451 | 2022-05-16 14:11 | 47.6697 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 292.3823 | μmol/L | 18.3829 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.625 | 107532.0342 | 265088.3267 | 36.4 | 83.1