## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 140029203 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-16 14:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
21 | 2022-05-16 13:23 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 275.6428 | μmol/L | 18.439 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.541 | 72963.035 | 291797.8552 | 28.7 | 67.6
27 | 2022-05-16 13:24 | 0.3333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 275.7186 | μmol/L | 18.4329 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.54 | 72980.2402 | 291807.9904 | 28.7 | 67.6
35 | 2022-05-16 13:24 | 0.66582 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 275.3061 | μmol/L | 18.4451 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.553 | 73007.6219 | 291824.7587 | 28.7 | 67.6
44 | 2022-05-16 13:24 | 0.99985 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 275.173 | μmol/L | 18.4329 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.563 | 73046.3631 | 291825.5143 | 28.7 | 67.6
54 | 2022-05-16 13:25 | 1.3326 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.9125 | μmol/L | 18.4329 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.574 | 73067.3019 | 291822.5762 | 28.7 | 67.6
64 | 2022-05-16 13:25 | 1.6659 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.7469 | μmol/L | 18.4329 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.581 | 73089.9418 | 291831.5772 | 28.7 | 67.6
74 | 2022-05-16 13:25 | 2 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.6286 | μmol/L | 18.4329 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.586 | 73096.9691 | 291828.0798 | 28.7 | 67.6
84 | 2022-05-16 13:26 | 2.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.4587 | μmol/L | 18.439 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.591 | 73122.9559 | 291837.6531 | 28.7 | 67.6
94 | 2022-05-16 13:26 | 2.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.4678 | μmol/L | 18.4268 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.595 | 73130.6768 | 291827.8932 | 28.7 | 67.6
104 | 2022-05-16 13:26 | 2.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.6332 | μmol/L | 18.4268 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.588 | 73117.0088 | 291834.8656 | 28.7 | 67.6
114 | 2022-05-16 13:27 | 3.3333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.5386 | μmol/L | 18.4268 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.592 | 73112.153 | 291843.8504 | 28.7 | 67.6
124 | 2022-05-16 13:27 | 3.6663 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.4251 | μmol/L | 18.4208 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.599 | 73130.377 | 291851.9756 | 28.7 | 67.6
134 | 2022-05-16 13:27 | 3.9996 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.2835 | μmol/L | 18.4208 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.605 | 73165.9473 | 291855.4797 | 28.7 | 67.6
144 | 2022-05-16 13:28 | 4.3326 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.0993 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.615 | 73185.1175 | 291858.627 | 28.7 | 67.6
154 | 2022-05-16 13:28 | 4.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.9297 | μmol/L | 18.4208 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.62 | 73206.9649 | 291868.7662 | 28.7 | 67.6
164 | 2022-05-16 13:28 | 4.9995 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.7603 | μmol/L | 18.4268 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.625 | 73231.3424 | 291869.7966 | 28.7 | 67.6
174 | 2022-05-16 13:29 | 5.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.9814 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.62 | 73206.0679 | 291880.6901 | 28.7 | 67.6
184 | 2022-05-16 13:29 | 5.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 274.1229 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.614 | 73183.3024 | 291869.1833 | 28.7 | 67.6
194 | 2022-05-16 13:29 | 5.9999 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.9389 | μmol/L | 18.4086 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.624 | 73206.8988 | 291881.1467 | 28.7 | 67.6
204 | 2022-05-16 13:30 | 6.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.6988 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.632 | 73244.0601 | 291872.5918 | 28.7 | 67.6
214 | 2022-05-16 13:30 | 6.6659 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.5903 | μmol/L | 18.4025 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.641 | 73275.5221 | 291885.2142 | 28.7 | 67.6
224 | 2022-05-16 13:30 | 6.9997 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.4871 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.641 | 73290.924 | 291889.0504 | 28.7 | 67.6
234 | 2022-05-16 13:31 | 7.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.1581 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.655 | 73320.7539 | 291886.9229 | 28.7 | 67.6
244 | 2022-05-16 13:31 | 7.6659 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 273.0219 | μmol/L | 18.4086 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.663 | 73365.3708 | 291902.5553 | 28.7 | 67.6
254 | 2022-05-16 13:31 | 7.9997 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.928 | μmol/L | 18.4086 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.667 | 73375.5605 | 291901.683 | 28.7 | 67.6
264 | 2022-05-16 13:32 | 8.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.6748 | μmol/L | 18.4025 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.68 | 73406.346 | 291900.3611 | 28.7 | 67.6
274 | 2022-05-16 13:32 | 8.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.5765 | μmol/L | 18.4086 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.682 | 73437.1254 | 291907.8379 | 28.7 | 67.6
284 | 2022-05-16 13:32 | 8.9995 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.5108 | μmol/L | 18.4025 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.687 | 73459.5344 | 291909.4664 | 28.7 | 67.6
294 | 2022-05-16 13:33 | 9.3326 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.291 | μmol/L | 18.4147 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.692 | 73473.8331 | 291916.5516 | 28.7 | 67.6
304 | 2022-05-16 13:33 | 9.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.16 | μmol/L | 18.4025 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.702 | 73479.4941 | 291913.6523 | 28.7 | 67.6
314 | 2022-05-16 13:33 | 9.9992 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.2861 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.701 | 73512.826 | 291915.7552 | 28.7 | 67.6
324 | 2022-05-16 13:34 | 10.3331 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 272.0385 | μmol/L | 18.4086 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.705 | 73525.1089 | 291901.3543 | 28.7 | 67.6
334 | 2022-05-16 13:34 | 10.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 271.6417 | μmol/L | 18.4086 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.722 | 73555.2554 | 291905.5088 | 28.7 | 67.6
344 | 2022-05-16 13:34 | 10.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 271.5997 | μmol/L | 18.4025 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.726 | 73578.6311 | 291904.5782 | 28.7 | 67.6
354 | 2022-05-16 13:35 | 11.3325 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 271.5157 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.734 | 73610.6814 | 291898.8534 | 28.7 | 67.6
364 | 2022-05-16 13:35 | 11.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 271.3713 | μmol/L | 18.3964 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.738 | 73629.2712 | 291906.0039 | 28.7 | 67.6
374 | 2022-05-16 13:35 | 11.9996 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 271.2781 | μmol/L | 18.3964 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.742 | 73656.7479 | 291914.5384 | 28.7 | 67.6
384 | 2022-05-16 13:36 | 12.3325 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 271.1897 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.748 | 73656.3444 | 291916.2636 | 28.7 | 67.6
394 | 2022-05-16 13:36 | 12.6659 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.987 | μmol/L | 18.3964 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.972 | 74495.9476 | 291905.2111 | 28.7 | 67.6
404 | 2022-05-16 13:36 | 12.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 266.8117 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.938 | 74364.0872 | 291895.5328 | 28.7 | 67.6
414 | 2022-05-16 13:37 | 13.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.4743 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.909 | 74265.3282 | 291902.2105 | 28.7 | 67.6
424 | 2022-05-16 13:37 | 13.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.772 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.896 | 74190.3033 | 291901.7434 | 28.7 | 67.6
434 | 2022-05-16 13:37 | 13.9992 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.1619 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.879 | 74135.3986 | 291898.7251 | 28.7 | 67.6
444 | 2022-05-16 13:38 | 14.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.4146 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.868 | 74094.7455 | 291898.6905 | 28.7 | 67.6
454 | 2022-05-16 13:38 | 14.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.723 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.859 | 74066.0904 | 291900.3208 | 28.7 | 67.6
464 | 2022-05-16 13:38 | 14.9998 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.7365 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.854 | 74053.8429 | 291893.042 | 28.7 | 67.6
474 | 2022-05-16 13:39 | 15.3333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.5478 | μmol/L | 18.3964 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.86 | 74059.4479 | 291900.9873 | 28.7 | 67.6
484 | 2022-05-16 13:39 | 15.6658 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.4376 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.867 | 74074.6053 | 291907.6895 | 28.7 | 67.6
494 | 2022-05-16 13:39 | 15.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.6032 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.862 | 74079.5868 | 291911.0559 | 28.7 | 67.6
504 | 2022-05-16 13:40 | 16.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.5572 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.864 | 74092.2117 | 291905.7808 | 28.7 | 67.6
514 | 2022-05-16 13:40 | 16.6661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.3733 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.872 | 74107.5061 | 291897.3049 | 28.7 | 67.6
524 | 2022-05-16 13:40 | 16.9995 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.3781 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.874 | 74124.1101 | 291897.9358 | 28.7 | 67.6
534 | 2022-05-16 13:41 | 17.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 268.0843 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.889 | 74137.9984 | 291881.2766 | 28.7 | 67.6
544 | 2022-05-16 13:41 | 17.6663 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.9554 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.888 | 74154.3272 | 291849.8187 | 28.7 | 67.6
554 | 2022-05-16 13:41 | 17.9997 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.8732 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.896 | 74165.9811 | 291865.1674 | 28.7 | 67.6
564 | 2022-05-16 13:42 | 18.3332 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.708 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.901 | 74206.358 | 291857.0404 | 28.7 | 67.6
574 | 2022-05-16 13:42 | 18.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.5982 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.908 | 74218.826 | 291845.9538 | 28.7 | 67.6
584 | 2022-05-16 13:42 | 18.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.2456 | μmol/L | 18.3904 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.919 | 74288.0491 | 291829.9589 | 28.7 | 67.6
594 | 2022-05-16 13:43 | 19.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 267.2551 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 22.923 | 74291.2435 | 291816.6634 | 28.7 | 67.6
604 | 2022-05-16 13:43 | 19.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.6276 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.083 | 74870.5452 | 291833.2537 | 28.7 | 67.6
614 | 2022-05-16 13:43 | 19.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.1406 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.058 | 74774.9898 | 291838.5941 | 28.7 | 67.6
624 | 2022-05-16 13:44 | 20.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.8178 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.028 | 74670.8258 | 291821.0166 | 28.7 | 67.6
634 | 2022-05-16 13:44 | 20.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.2979 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.009 | 74582.2793 | 291807.0502 | 28.7 | 67.6
644 | 2022-05-16 13:44 | 20.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.6596 | μmol/L | 18.3843 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.035 | 74703.5911 | 291802.2194 | 28.7 | 67.6
654 | 2022-05-16 13:45 | 21.3332 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.0261 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.021 | 74642.4569 | 291792.9752 | 28.7 | 67.6
664 | 2022-05-16 13:45 | 21.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.4339 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.003 | 74584.3901 | 291781.5648 | 28.7 | 67.6
674 | 2022-05-16 13:45 | 21.9999 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.4112 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.004 | 74554.485 | 291773.2995 | 28.7 | 67.6
684 | 2022-05-16 13:46 | 22.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.4112 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.004 | 74557.9146 | 291786.0638 | 28.7 | 67.6
694 | 2022-05-16 13:46 | 22.6662 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.031 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.023 | 74637.3211 | 291762.2034 | 28.7 | 67.6
704 | 2022-05-16 13:46 | 22.9991 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.8048 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.033 | 74664.586 | 291752.6734 | 28.7 | 67.6
714 | 2022-05-16 13:47 | 23.3331 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.1051 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.064 | 74771.5119 | 291749.8863 | 28.7 | 67.6
724 | 2022-05-16 13:47 | 23.6661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.4386 | μmol/L | 18.3782 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.047 | 74696.9864 | 291731.185 | 28.7 | 67.6
734 | 2022-05-16 13:47 | 23.9999 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 265.0131 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.026 | 74650.0886 | 291724.6263 | 28.7 | 67.6
744 | 2022-05-16 13:48 | 24.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.8048 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.033 | 74668.3144 | 291736.0206 | 28.7 | 67.6
754 | 2022-05-16 13:48 | 24.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.4208 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.05 | 74694.2392 | 291713.5922 | 28.7 | 67.6
764 | 2022-05-16 13:48 | 24.9998 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.4257 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.052 | 74709.2563 | 291711.3507 | 28.7 | 67.6
774 | 2022-05-16 13:49 | 25.3325 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.4482 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.051 | 74713.9358 | 291706.7185 | 28.7 | 67.6
784 | 2022-05-16 13:49 | 25.6658 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 264.358 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.055 | 74708.3952 | 291702.0758 | 28.7 | 67.6
794 | 2022-05-16 13:49 | 25.9996 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.9523 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.073 | 74780.1545 | 291688.5169 | 28.7 | 67.6
804 | 2022-05-16 13:50 | 26.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.7899 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.078 | 74780.9102 | 291688.9709 | 28.7 | 67.6
814 | 2022-05-16 13:50 | 26.6658 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.9973 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.071 | 74755.3991 | 291675.8871 | 28.7 | 67.6
824 | 2022-05-16 13:50 | 26.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.9748 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.072 | 74751.1836 | 291686.9296 | 28.7 | 67.6
834 | 2022-05-16 13:51 | 27.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.7096 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.086 | 74793.7602 | 291671.8382 | 28.7 | 67.6
844 | 2022-05-16 13:51 | 27.6661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.7674 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.079 | 74780.0021 | 291675.1833 | 28.7 | 67.6
854 | 2022-05-16 13:51 | 27.9997 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.6373 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.087 | 74793.6569 | 291678.9251 | 28.7 | 67.6
864 | 2022-05-16 13:52 | 28.3333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.7947 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.08 | 74779.8549 | 291665.6171 | 28.7 | 67.6
874 | 2022-05-16 13:52 | 28.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.7048 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.084 | 74791.7125 | 291658.8535 | 28.7 | 67.6
884 | 2022-05-16 13:52 | 28.9998 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.6196 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.09 | 74816.2912 | 291646.8984 | 28.7 | 67.6
894 | 2022-05-16 13:53 | 29.3326 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 263.4623 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.097 | 74837.8912 | 291652.8328 | 28.7 | 67.6
904 | 2022-05-16 13:53 | 29.6663 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.9238 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.121 | 74911.4579 | 291641.6731 | 28.7 | 67.6
914 | 2022-05-16 13:53 | 29.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.5383 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.136 | 74955.9383 | 291632.9896 | 28.7 | 67.6
924 | 2022-05-16 13:54 | 30.3331 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.623 | μmol/L | 18.3721 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.13 | 74941.1646 | 291638.872 | 28.7 | 67.6
934 | 2022-05-16 13:54 | 30.6661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.7222 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.13 | 74941.8254 | 291617.4572 | 28.7 | 67.6
944 | 2022-05-16 13:54 | 30.9999 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.588 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.136 | 74960.6477 | 291626.2177 | 28.7 | 67.6
954 | 2022-05-16 13:55 | 31.3331 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.4985 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.14 | 74971.3044 | 291621.4528 | 28.7 | 67.6
964 | 2022-05-16 13:55 | 31.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.4985 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.14 | 74975.9773 | 291612.8495 | 28.7 | 67.6
974 | 2022-05-16 13:55 | 31.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.5208 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.139 | 74971.3945 | 291618.7492 | 28.7 | 67.6
984 | 2022-05-16 13:56 | 32.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.2924 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.147 | 74976.0575 | 291624.4573 | 28.7 | 67.6
994 | 2022-05-16 13:56 | 32.6658 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 262.0739 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.159 | 75014.3903 | 291600.8877 | 28.7 | 67.6
1004 | 2022-05-16 13:56 | 32.9996 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 261.8731 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.168 | 75040.9541 | 291604.1683 | 28.7 | 67.6
1014 | 2022-05-16 13:57 | 33.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 261.1655 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.202 | 75190.1731 | 291583.9048 | 28.7 | 67.6
1024 | 2022-05-16 13:57 | 33.6666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.9878 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.21 | 75212.6652 | 291575.4962 | 28.7 | 67.6
1034 | 2022-05-16 13:57 | 33.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.8892 | μmol/L | 18.366 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.21 | 75201.4795 | 291567.8033 | 28.7 | 67.6
1044 | 2022-05-16 13:58 | 34.3332 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 261.0766 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.206 | 75182.9671 | 291559.3375 | 28.7 | 67.6
1054 | 2022-05-16 13:58 | 34.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 261.1038 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.207 | 75161.9021 | 291554.0856 | 28.7 | 67.6
1064 | 2022-05-16 13:58 | 34.9998 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 261.2051 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.198 | 75144.8154 | 291540.0271 | 28.7 | 67.6
1074 | 2022-05-16 13:59 | 35.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 261.1704 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.204 | 75145.3574 | 291542.9387 | 28.7 | 67.6
1084 | 2022-05-16 13:59 | 35.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.517 | μmol/L | 18.3599 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.229 | 75223.2035 | 291530.2653 | 28.7 | 67.6
1094 | 2022-05-16 13:59 | 35.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.5662 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.229 | 75261.8146 | 291534.751 | 28.7 | 67.6
1104 | 2022-05-16 14:00 | 36.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.3668 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.238 | 75283.3925 | 291526.1069 | 28.7 | 67.6
1114 | 2022-05-16 14:00 | 36.6659 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.3447 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.239 | 75291.8957 | 291527.1668 | 28.7 | 67.6
1124 | 2022-05-16 14:00 | 36.9999 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.1454 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.248 | 75281.8052 | 291517.8559 | 28.7 | 67.6
1134 | 2022-05-16 14:01 | 37.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.2782 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.242 | 75281.8642 | 291510.6236 | 28.7 | 67.6
1144 | 2022-05-16 14:01 | 37.6658 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.2782 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.242 | 75297.1033 | 291513.5764 | 28.7 | 67.6
1154 | 2022-05-16 14:01 | 37.9996 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.2389 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.246 | 75304.1868 | 291517.8848 | 28.7 | 67.6
1164 | 2022-05-16 14:02 | 38.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.1676 | μmol/L | 18.3539 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.247 | 75304.2874 | 291522.0324 | 28.7 | 67.6
1174 | 2022-05-16 14:02 | 38.6659 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 260.084 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.253 | 75310.756 | 291518.2793 | 28.7 | 67.6
1184 | 2022-05-16 14:02 | 38.9996 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.5097 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.279 | 75391.9041 | 291518.6305 | 28.7 | 67.6
1194 | 2022-05-16 14:03 | 39.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.5367 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.28 | 75423.2605 | 291513.1153 | 28.7 | 67.6
1204 | 2022-05-16 14:03 | 39.6665 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.4436 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.282 | 75410.5519 | 291500.814 | 28.7 | 67.6
1214 | 2022-05-16 14:03 | 39.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.3995 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.284 | 75419.0814 | 291510.8963 | 28.7 | 67.6
1224 | 2022-05-16 14:04 | 40.333 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.3163 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.29 | 75438.7531 | 291514.348 | 28.7 | 67.6
1234 | 2022-05-16 14:04 | 40.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.1571 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.295 | 75455.3687 | 291497.8133 | 28.7 | 67.6
1244 | 2022-05-16 14:04 | 40.9992 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.003 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.302 | 75463.2172 | 291511.7042 | 28.7 | 67.6
1254 | 2022-05-16 14:05 | 41.3332 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 259.003 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.302 | 75483.6372 | 291509.9525 | 28.7 | 67.6
1264 | 2022-05-16 14:05 | 41.6663 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.849 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.309 | 75507.1038 | 291510.9376 | 28.7 | 67.6
1274 | 2022-05-16 14:05 | 41.9993 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.6781 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.319 | 75524.217 | 291522.7587 | 28.7 | 67.6
1284 | 2022-05-16 14:06 | 42.3332 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.5853 | μmol/L | 18.3478 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.321 | 75543.3926 | 291522.9537 | 28.7 | 67.6
1294 | 2022-05-16 14:06 | 42.666 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.4366 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.33 | 75570.5598 | 291514.2404 | 28.7 | 67.6
1304 | 2022-05-16 14:06 | 42.9991 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.4585 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.329 | 75581.233 | 291522.4901 | 28.7 | 67.6
1314 | 2022-05-16 14:07 | 43.3327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.3049 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.336 | 75591.4861 | 291512.2026 | 28.7 | 67.6
1324 | 2022-05-16 14:07 | 43.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.2611 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.338 | 75593.5481 | 291510.1341 | 28.7 | 67.6
1334 | 2022-05-16 14:07 | 43.9992 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.2611 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.338 | 75597.8159 | 291519.3667 | 28.7 | 67.6
1344 | 2022-05-16 14:08 | 44.3326 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 258.0469 | μmol/L | 18.3356 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.35 | 75644.6946 | 291527.9177 | 28.7 | 67.6
1354 | 2022-05-16 14:08 | 44.6661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.806 | μmol/L | 18.3356 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.361 | 75691.6415 | 291524.3677 | 28.7 | 67.6
1364 | 2022-05-16 14:08 | 44.9997 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.6698 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.365 | 75717.9927 | 291524.2401 | 28.7 | 67.6
1374 | 2022-05-16 14:09 | 45.3326 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.6479 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.366 | 75720.3926 | 291542.5093 | 28.7 | 67.6
1384 | 2022-05-16 14:09 | 45.6663 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.4949 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.373 | 75728.0226 | 291541.1706 | 28.7 | 67.6
1394 | 2022-05-16 14:09 | 45.9999 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.4562 | μmol/L | 18.3356 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.377 | 75750.3149 | 291524.5432 | 28.7 | 67.6
1404 | 2022-05-16 14:10 | 46.3328 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.1674 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.388 | 75771.0464 | 291528.3153 | 28.7 | 67.6
1414 | 2022-05-16 14:10 | 46.6664 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 257.1724 | μmol/L | 18.3356 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.39 | 75801.1803 | 291533.058 | 28.7 | 67.6
1424 | 2022-05-16 14:10 | 46.9994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 256.9711 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.397 | 75869.7169 | 291525.517 | 28.7 | 67.6
1434 | 2022-05-16 14:11 | 47.3331 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 256.9929 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.396 | 75840.1757 | 291539.4007 | 28.7 | 67.6
1444 | 2022-05-16 14:11 | 47.6661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 256.7097 | μmol/L | 18.3417 | °C | 1022 | hPa | Humid | 0 | 0 | 0 | 23.409 | 75840.6272 | 291550.061 | 28.7 | 67.6