## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3582 | 2022-05-17 13:13 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.5392 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.72 | 92457.1411 | 211630.4018 | 27.3 | 43.4
3592 | 2022-05-17 13:13 | 0.34118 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.307 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.724 | 92385.356 | 211613.8467 | 27.3 | 43.4
3602 | 2022-05-17 13:14 | 0.67428 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.2866 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.727 | 92382.9202 | 211600.868 | 27.3 | 43.4
3612 | 2022-05-17 13:14 | 1.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.2048 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.73 | 92348.8385 | 211607.7341 | 27.3 | 43.4
3622 | 2022-05-17 13:14 | 1.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9868 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.738 | 92300.5102 | 211596.2697 | 27.3 | 43.4
3632 | 2022-05-17 13:15 | 1.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9596 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.739 | 92254.3374 | 211582.3332 | 27.3 | 43.4
3642 | 2022-05-17 13:15 | 2.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9596 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.739 | 92252.8688 | 211567.3122 | 27.3 | 43.4
3652 | 2022-05-17 13:15 | 2.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8912 | μmol/L | 17.9338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.737 | 92310.7274 | 211564.9193 | 27.3 | 43.4
3662 | 2022-05-17 13:16 | 2.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.0686 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.735 | 92269.2529 | 211544.7533 | 27.3 | 43.4
3672 | 2022-05-17 13:16 | 3.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9051 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.741 | 92190.496 | 211541.3245 | 27.3 | 43.4
3682 | 2022-05-17 13:16 | 3.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8577 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.745 | 92182.399 | 211542.0986 | 27.3 | 43.4
3692 | 2022-05-17 13:17 | 3.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8919 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.746 | 92214.1551 | 211538.6997 | 27.3 | 43.4
3702 | 2022-05-17 13:17 | 4.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8102 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.749 | 92217.8796 | 211537.9886 | 27.3 | 43.4
3712 | 2022-05-17 13:17 | 4.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.6058 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.752 | 92132.9587 | 211512.696 | 27.3 | 43.4
3722 | 2022-05-17 13:18 | 4.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.6672 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.752 | 92129.9558 | 211502.879 | 27.3 | 43.4
3732 | 2022-05-17 13:18 | 5.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.64 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.753 | 92171.4173 | 211496.465 | 27.3 | 43.4
3742 | 2022-05-17 13:18 | 5.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.6469 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.755 | 92187.6992 | 211491.3273 | 27.3 | 43.4
3752 | 2022-05-17 13:19 | 5.674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.4768 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.759 | 92142.1984 | 211470.704 | 27.3 | 43.4
3762 | 2022-05-17 13:19 | 6.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.5654 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.758 | 92107.5924 | 211467.4097 | 27.3 | 43.4
3772 | 2022-05-17 13:19 | 6.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.5312 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.757 | 92061.5612 | 211462.358 | 27.3 | 43.4
3782 | 2022-05-17 13:20 | 6.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.4225 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.761 | 92095.102 | 211470.3654 | 27.3 | 43.4
3792 | 2022-05-17 13:20 | 7.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.3681 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.763 | 92068.5862 | 211448.1078 | 27.3 | 43.4
3802 | 2022-05-17 13:20 | 7.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.4566 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.762 | 92093.8556 | 211440.7566 | 27.3 | 43.4
3812 | 2022-05-17 13:21 | 7.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.2866 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.766 | 92008.3618 | 211427.3937 | 27.3 | 43.4
3822 | 2022-05-17 13:21 | 8.0073 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.2866 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.766 | 92020.7973 | 211420.7838 | 27.3 | 43.4
3832 | 2022-05-17 13:21 | 8.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.3208 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.767 | 92020.7548 | 211407.7309 | 27.3 | 43.4
3842 | 2022-05-17 13:22 | 8.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.185 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.772 | 91991.1664 | 211406.5932 | 27.3 | 43.4
3852 | 2022-05-17 13:22 | 9.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.0694 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.774 | 91960.9895 | 211380.2848 | 27.3 | 43.4
3862 | 2022-05-17 13:22 | 9.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1237 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.772 | 91947.3329 | 211382.3728 | 27.3 | 43.4
3872 | 2022-05-17 13:23 | 9.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1578 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.773 | 91974.7268 | 211369.153 | 27.3 | 43.4
3882 | 2022-05-17 13:23 | 10.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1307 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.774 | 91965.4956 | 211370.1119 | 27.3 | 43.4
3892 | 2022-05-17 13:23 | 10.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1307 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.774 | 91909.1519 | 211342.5295 | 27.3 | 43.4
3902 | 2022-05-17 13:24 | 10.674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.0694 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.774 | 91924.8381 | 211333.51 | 27.3 | 43.4
3912 | 2022-05-17 13:24 | 11.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8795 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.781 | 91926.8738 | 211333.0179 | 27.3 | 43.4
3922 | 2022-05-17 13:24 | 11.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1036 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.775 | 91866.8812 | 211317.3566 | 27.3 | 43.4
3932 | 2022-05-17 13:25 | 11.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8795 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.781 | 91900.5734 | 211327.5246 | 27.3 | 43.4
3942 | 2022-05-17 13:25 | 12.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.9609 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.778 | 91900.3883 | 211305.7209 | 27.3 | 43.4
3952 | 2022-05-17 13:25 | 12.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.7711 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.785 | 91853.9382 | 211312.9156 | 27.3 | 43.4
3962 | 2022-05-17 13:26 | 12.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.995 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.779 | 91845.9232 | 211312.8165 | 27.3 | 43.4
3972 | 2022-05-17 13:26 | 13.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8594 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.784 | 91855.7735 | 211292.4778 | 27.3 | 43.4
3982 | 2022-05-17 13:26 | 13.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.0563 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.779 | 91861.6189 | 211289.0111 | 27.3 | 43.4
3992 | 2022-05-17 13:27 | 13.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8323 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.785 | 91865.0806 | 211278.3946 | 27.3 | 43.4
4002 | 2022-05-17 13:27 | 14.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8524 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.782 | 91842.5721 | 211267.392 | 27.3 | 43.4
4012 | 2022-05-17 13:27 | 14.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.9749 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.782 | 91841.8156 | 211283.3883 | 27.3 | 43.4
4022 | 2022-05-17 13:28 | 14.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8323 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.785 | 91812.1502 | 211282.8958 | 27.3 | 43.4
4032 | 2022-05-17 13:28 | 15.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.7781 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.787 | 91817.8598 | 211264.8795 | 27.3 | 43.4
4042 | 2022-05-17 13:28 | 15.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8664 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.786 | 91822.9755 | 211269.9218 | 27.3 | 43.4
4052 | 2022-05-17 13:29 | 15.674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5614 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.795 | 91785.5352 | 211264.8123 | 27.3 | 43.4
4062 | 2022-05-17 13:29 | 16.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.751 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.788 | 91831.8466 | 211257.6407 | 27.3 | 43.4
4072 | 2022-05-17 13:29 | 16.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.8122 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.788 | 91789.1014 | 211250.5511 | 27.3 | 43.4
4082 | 2022-05-17 13:30 | 16.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6155 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.793 | 91779.1859 | 211243.4499 | 27.3 | 43.4
4092 | 2022-05-17 13:30 | 17.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.7309 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.791 | 91717.1643 | 211240.191 | 27.3 | 43.4
4102 | 2022-05-17 13:30 | 17.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6697 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.791 | 91740.6136 | 211238.3477 | 27.3 | 43.4
4112 | 2022-05-17 13:31 | 17.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.7038 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.792 | 91808.8725 | 211228.0192 | 27.3 | 43.4
4122 | 2022-05-17 13:31 | 18.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6496 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.794 | 91774.4459 | 211227.9739 | 27.3 | 43.4
4132 | 2022-05-17 13:31 | 18.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6968 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.79 | 91767.0249 | 211210.5699 | 27.3 | 43.4
4142 | 2022-05-17 13:32 | 18.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5684 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.797 | 91789.8298 | 211222.6755 | 27.3 | 43.4
4152 | 2022-05-17 13:32 | 19.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5614 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.795 | 91739.5606 | 211209.1699 | 27.3 | 43.4
4162 | 2022-05-17 13:32 | 19.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5614 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.795 | 91791.8517 | 211202.4679 | 27.3 | 43.4
4172 | 2022-05-17 13:33 | 19.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6496 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.794 | 91724.3883 | 211197.6554 | 27.3 | 43.4
4182 | 2022-05-17 13:33 | 20.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.4872 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.8 | 91782.3174 | 211184.0323 | 27.3 | 43.4
4192 | 2022-05-17 13:33 | 20.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3989 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.801 | 91725.0799 | 211182.5504 | 27.3 | 43.4
4202 | 2022-05-17 13:34 | 20.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5684 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.797 | 91727.9287 | 211179.5536 | 27.3 | 43.4
4212 | 2022-05-17 13:34 | 21.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.4872 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.8 | 91668.0235 | 211181.1185 | 27.3 | 43.4
4222 | 2022-05-17 13:34 | 21.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5754 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.799 | 91670.8096 | 211168.0004 | 27.3 | 43.4
4232 | 2022-05-17 13:35 | 21.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5754 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.799 | 91624.4652 | 211157.7131 | 27.3 | 43.4
4242 | 2022-05-17 13:35 | 22.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5213 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.801 | 91672.639 | 211162.9171 | 27.3 | 43.4
4252 | 2022-05-17 13:35 | 22.3415 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.406 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.803 | 91672.0265 | 211165.6355 | 27.3 | 43.4
4262 | 2022-05-17 13:36 | 22.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3518 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.805 | 91676.5231 | 211155.6618 | 27.3 | 43.4
4272 | 2022-05-17 13:36 | 23.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.4872 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.8 | 91702.2912 | 211150.7746 | 27.3 | 43.4
4282 | 2022-05-17 13:36 | 23.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5483 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.8 | 91604.4206 | 211151.2739 | 27.3 | 43.4
4292 | 2022-05-17 13:37 | 23.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.406 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.803 | 91675.1069 | 211145.0183 | 27.3 | 43.4
4302 | 2022-05-17 13:37 | 24.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3318 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91625.4115 | 211144.9319 | 27.3 | 43.4
4312 | 2022-05-17 13:37 | 24.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.44 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.804 | 91574.2528 | 211134.7815 | 27.3 | 43.4
4322 | 2022-05-17 13:38 | 24.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3318 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91587.1225 | 211120.243 | 27.3 | 43.4
4332 | 2022-05-17 13:38 | 25.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.4671 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.803 | 91565.0608 | 211138.8676 | 27.3 | 43.4
4342 | 2022-05-17 13:38 | 25.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2707 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91609.2743 | 211112.618 | 27.3 | 43.4
4352 | 2022-05-17 13:39 | 25.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3789 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.804 | 91609.4692 | 211137.533 | 27.3 | 43.4
4362 | 2022-05-17 13:39 | 26.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2777 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.81 | 91593.6979 | 211126.8905 | 27.3 | 43.4
4372 | 2022-05-17 13:39 | 26.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2366 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.807 | 91539.0372 | 211123.0498 | 27.3 | 43.4
4382 | 2022-05-17 13:40 | 26.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3048 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.809 | 91557.3672 | 211122.0543 | 27.3 | 43.4
4392 | 2022-05-17 13:40 | 27.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.44 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.804 | 91559.0043 | 211107.4812 | 27.3 | 43.4
4402 | 2022-05-17 13:40 | 27.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.42 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.807 | 91559.1346 | 211096.1429 | 27.3 | 43.4
4412 | 2022-05-17 13:41 | 27.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3318 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91556.212 | 211099.4993 | 27.3 | 43.4
4422 | 2022-05-17 13:41 | 28.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1284 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.811 | 91537.0507 | 211083.9396 | 27.3 | 43.4
4432 | 2022-05-17 13:41 | 28.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3659 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.809 | 91546.0661 | 211086.8824 | 27.3 | 43.4
4442 | 2022-05-17 13:42 | 28.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2707 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91501.9532 | 211082.7654 | 27.3 | 43.4
4452 | 2022-05-17 13:42 | 29.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.413 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.805 | 91464.7483 | 211090.9991 | 27.3 | 43.4
4462 | 2022-05-17 13:42 | 29.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2977 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.807 | 91510.2648 | 211081.4033 | 27.3 | 43.4
4472 | 2022-05-17 13:43 | 29.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2777 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.81 | 91510.6569 | 211080.6343 | 27.3 | 43.4
4482 | 2022-05-17 13:43 | 30.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3659 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.809 | 91546.8683 | 211073.5592 | 27.3 | 43.4
4492 | 2022-05-17 13:43 | 30.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2436 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.809 | 91462.8482 | 211065.4518 | 27.3 | 43.4
4502 | 2022-05-17 13:44 | 30.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3318 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91420.9538 | 211059.215 | 27.3 | 43.4
4512 | 2022-05-17 13:44 | 31.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3318 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.808 | 91462.3301 | 211063.1719 | 27.3 | 43.4
4522 | 2022-05-17 13:44 | 31.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2236 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.812 | 91490.0887 | 211053.5711 | 27.3 | 43.4
4532 | 2022-05-17 13:45 | 31.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3048 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.809 | 91487.3269 | 211044.4643 | 27.3 | 43.4
4542 | 2022-05-17 13:45 | 32.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2507 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.811 | 91481.4093 | 211037.1755 | 27.3 | 43.4
4552 | 2022-05-17 13:45 | 32.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2307 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.814 | 91441.7538 | 211032.8201 | 27.3 | 43.4
4562 | 2022-05-17 13:46 | 32.6746 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1084 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.814 | 91498.8682 | 211037.8406 | 27.3 | 43.4
4572 | 2022-05-17 13:46 | 33.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0814 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.815 | 91474.858 | 211039.5245 | 27.3 | 43.4
4582 | 2022-05-17 13:46 | 33.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1425 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.815 | 91476.1697 | 211036.0224 | 27.3 | 43.4
4592 | 2022-05-17 13:47 | 33.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1966 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.813 | 91484.3502 | 211031.064 | 27.3 | 43.4
4602 | 2022-05-17 13:47 | 34.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1966 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.813 | 91441.3648 | 211030.4826 | 27.3 | 43.4
4612 | 2022-05-17 13:47 | 34.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1155 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.816 | 91413.2015 | 211028.2255 | 27.3 | 43.4
4622 | 2022-05-17 13:48 | 34.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1695 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.814 | 91472.686 | 211022.0685 | 27.3 | 43.4
4632 | 2022-05-17 13:48 | 35.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0685 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.82 | 91482.7676 | 211021.4335 | 27.3 | 43.4
4642 | 2022-05-17 13:48 | 35.3415 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.1233 | μmol/L | 17.885 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.82 | 91437.0199 | 211003.0675 | 27.3 | 43.4
4652 | 2022-05-17 13:49 | 35.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9804 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.821 | 91460.7669 | 211012.6513 | 27.3 | 43.4
4662 | 2022-05-17 13:49 | 36.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7644 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.829 | 91448.5695 | 210987.8649 | 27.3 | 43.4
4672 | 2022-05-17 13:49 | 36.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9201 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.823 | 91447.288 | 210998.5844 | 27.3 | 43.4
4682 | 2022-05-17 13:50 | 36.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9804 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.821 | 91420.5687 | 211000.0745 | 27.3 | 43.4
4692 | 2022-05-17 13:50 | 37.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7843 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.826 | 91461.6086 | 210994.1378 | 27.3 | 43.4
4702 | 2022-05-17 13:50 | 37.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0622 | μmol/L | 17.8911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.82 | 91441.4106 | 210994.3609 | 27.3 | 43.4
4712 | 2022-05-17 13:51 | 37.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9264 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.823 | 91453.5441 | 210988.3431 | 27.3 | 43.4
4722 | 2022-05-17 13:51 | 38.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8993 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.824 | 91386.9721 | 210983.6796 | 27.3 | 43.4
4732 | 2022-05-17 13:51 | 38.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9741 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.821 | 91450.6949 | 210977.6968 | 27.3 | 43.4
4742 | 2022-05-17 13:52 | 38.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0352 | μmol/L | 17.8911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.821 | 91419.943 | 210981.3045 | 27.3 | 43.4
4752 | 2022-05-17 13:52 | 39.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0082 | μmol/L | 17.8911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.822 | 91393.9714 | 210977.914 | 27.3 | 43.4
4762 | 2022-05-17 13:52 | 39.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9874 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.823 | 91421.8252 | 210987.4128 | 27.3 | 43.4
4772 | 2022-05-17 13:53 | 39.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9264 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.823 | 91396.1432 | 210978.3208 | 27.3 | 43.4
4782 | 2022-05-17 13:53 | 40.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0082 | μmol/L | 17.8911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.822 | 91413.0479 | 210973.6031 | 27.3 | 43.4
4792 | 2022-05-17 13:53 | 40.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9534 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.822 | 91374.774 | 210962.2215 | 27.3 | 43.4
4802 | 2022-05-17 13:54 | 40.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8931 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.824 | 91408.9324 | 210953.5888 | 27.3 | 43.4
4812 | 2022-05-17 13:54 | 41.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8723 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.825 | 91415.1341 | 210955.5559 | 27.3 | 43.4
4822 | 2022-05-17 13:54 | 41.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8993 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.824 | 91371.7618 | 210959.7542 | 27.3 | 43.4
4832 | 2022-05-17 13:55 | 41.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7843 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.826 | 91392.7009 | 210946.805 | 27.3 | 43.4
4842 | 2022-05-17 13:55 | 42.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8993 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.824 | 91398.5559 | 210947.5686 | 27.3 | 43.4
4852 | 2022-05-17 13:55 | 42.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8723 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.825 | 91400.3217 | 210937.6194 | 27.3 | 43.4
4862 | 2022-05-17 13:56 | 42.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7843 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.826 | 91379.719 | 210931.4592 | 27.3 | 43.4
4872 | 2022-05-17 13:56 | 43.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8524 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.828 | 91346.9458 | 210934.3322 | 27.3 | 43.4
4882 | 2022-05-17 13:56 | 43.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8723 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.825 | 91326.1197 | 210934.4188 | 27.3 | 43.4
4892 | 2022-05-17 13:57 | 43.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7851 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.828 | 91362.8113 | 210940.6759 | 27.3 | 43.4
4902 | 2022-05-17 13:57 | 44.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8931 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.824 | 91345.5094 | 210931.718 | 27.3 | 43.4
4912 | 2022-05-17 13:57 | 44.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9534 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.822 | 91354.2374 | 210912.8675 | 27.3 | 43.4
4922 | 2022-05-17 13:58 | 44.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6294 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.834 | 91351.387 | 210909.5122 | 27.3 | 43.4
4932 | 2022-05-17 13:58 | 45.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7303 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.828 | 91317.3955 | 210899.6209 | 27.3 | 43.4
4942 | 2022-05-17 13:58 | 45.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9874 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.823 | 91344.4784 | 210898.0717 | 27.3 | 43.4
4952 | 2022-05-17 13:59 | 45.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6564 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.833 | 91360.6378 | 210893.006 | 27.3 | 43.4
4962 | 2022-05-17 13:59 | 46.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7644 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.829 | 91325.845 | 210886.904 | 27.3 | 43.4
4972 | 2022-05-17 13:59 | 46.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6834 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.832 | 91345.8286 | 210876.1564 | 27.3 | 43.4
4982 | 2022-05-17 14:00 | 46.6746 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6232 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.834 | 91337.3094 | 210872.635 | 27.3 | 43.4
4992 | 2022-05-17 14:00 | 47.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4875 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.837 | 91313.4066 | 210868.2447 | 27.3 | 43.4
5002 | 2022-05-17 14:00 | 47.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6494 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.831 | 91314.8772 | 210869.6376 | 27.3 | 43.4
5012 | 2022-05-17 14:01 | 47.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5755 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.836 | 91302.5412 | 210862.4746 | 27.3 | 43.4
5022 | 2022-05-17 14:01 | 48.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5962 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.835 | 91308.2383 | 210865.5353 | 27.3 | 43.4
5032 | 2022-05-17 14:01 | 48.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5415 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.835 | 91268.3503 | 210851.8109 | 27.3 | 43.4
5042 | 2022-05-17 14:02 | 48.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5692 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.836 | 91321.5433 | 210858.3448 | 27.3 | 43.4
5052 | 2022-05-17 14:02 | 49.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5145 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.836 | 91317.9568 | 210849.6426 | 27.3 | 43.4
5062 | 2022-05-17 14:02 | 49.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5825 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.838 | 91325.8108 | 210845.2643 | 27.3 | 43.4
5072 | 2022-05-17 14:03 | 49.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5825 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.838 | 91293.1754 | 210847.6966 | 27.3 | 43.4
5082 | 2022-05-17 14:03 | 50.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3266 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.845 | 91306.4132 | 210840.0041 | 27.3 | 43.4
5092 | 2022-05-17 14:03 | 50.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4946 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.839 | 91286.2796 | 210845.0596 | 27.3 | 43.4
5102 | 2022-05-17 14:04 | 50.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4676 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.84 | 91332.4973 | 210831.5643 | 27.3 | 43.4
5112 | 2022-05-17 14:04 | 51.0082 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4344 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.841 | 91306.1824 | 210843.16 | 27.3 | 43.4
5122 | 2022-05-17 14:04 | 51.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3797 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.841 | 91323.2582 | 210822.921 | 27.3 | 43.4
5132 | 2022-05-17 14:05 | 51.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5224 | μmol/L | 17.8911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.84 | 91337.7388 | 210829.2884 | 27.3 | 43.4
5142 | 2022-05-17 14:05 | 52.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2657 | μmol/L | 17.9033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.845 | 91303.9364 | 210827.1343 | 27.3 | 43.4
5152 | 2022-05-17 14:05 | 52.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2997 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.846 | 91297.0852 | 210826.1872 | 27.3 | 43.4
5162 | 2022-05-17 14:06 | 52.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2458 | μmol/L | 17.8972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.848 | 91352.184 | 210817.7747 | 27.3 | 43.4
5172 | 2022-05-17 14:06 | 53.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3329 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.845 | 91282.0781 | 210816.0679 | 27.3 | 43.4
5182 | 2022-05-17 14:06 | 53.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2657 | μmol/L | 17.9033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.845 | 91292.2954 | 210820.3641 | 27.3 | 43.4
5192 | 2022-05-17 14:07 | 53.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0971 | μmol/L | 17.9094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.849 | 91271.8926 | 210812.773 | 27.3 | 43.4
5202 | 2022-05-17 14:07 | 54.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3329 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.845 | 91270.1147 | 210811.7702 | 27.3 | 43.4
5212 | 2022-05-17 14:07 | 54.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.158 | μmol/L | 17.9033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.849 | 91281.3812 | 210805.9771 | 27.3 | 43.4
5222 | 2022-05-17 14:08 | 54.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.245 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.846 | 91293.439 | 210795.3448 | 27.3 | 43.4
5232 | 2022-05-17 14:08 | 55.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1373 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.85 | 91245.3916 | 210799.3094 | 27.3 | 43.4
5242 | 2022-05-17 14:08 | 55.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2251 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.849 | 91248.261 | 210793.1017 | 27.3 | 43.4
5252 | 2022-05-17 14:09 | 55.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1373 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.85 | 91272.8416 | 210787.3589 | 27.3 | 43.4
5262 | 2022-05-17 14:09 | 56.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1103 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.851 | 91245.4647 | 210792.4362 | 27.3 | 43.4
5272 | 2022-05-17 14:09 | 56.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0503 | μmol/L | 17.9033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.853 | 91260.1556 | 210785.6392 | 27.3 | 43.4