## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1559 | 2022-05-17 11:44 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4372 | μmol/L | 18.0657 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.354 | 88305.413 | 296551.9276 | 30.45 | 38.1
1569 | 2022-05-17 11:44 | 0.33708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5105 | μmol/L | 18.0657 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.351 | 88306.7567 | 296554.8709 | 30.45 | 38.1
1579 | 2022-05-17 11:45 | 0.67045 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3591 | μmol/L | 18.0718 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.355 | 88309.7843 | 296545.195 | 30.45 | 38.1
1589 | 2022-05-17 11:45 | 1.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4421 | μmol/L | 18.0596 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.356 | 88319.5351 | 296534.1602 | 30.45 | 38.1
1599 | 2022-05-17 11:45 | 1.3376 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4764 | μmol/L | 18.0474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.359 | 88317.7712 | 296553.5852 | 30.45 | 38.1
1609 | 2022-05-17 11:46 | 1.6704 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.6965 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.361 | 88312.9393 | 296542.7217 | 30.45 | 38.1
1619 | 2022-05-17 11:46 | 2.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4667 | μmol/L | 18.0291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.366 | 88328.7547 | 296533.6897 | 30.45 | 38.1
1629 | 2022-05-17 11:46 | 2.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2421 | μmol/L | 18.0352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.373 | 88359.0651 | 296521.0648 | 30.45 | 38.1
1639 | 2022-05-17 11:47 | 2.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.7934 | μmol/L | 18.0474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.387 | 88413.3871 | 296520.6289 | 30.45 | 38.1
1649 | 2022-05-17 11:47 | 3.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5549 | μmol/L | 18.0413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 88460.4301 | 296510.9907 | 30.45 | 38.1
1659 | 2022-05-17 11:47 | 3.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3702 | μmol/L | 18.0291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.411 | 88490.7597 | 296511.306 | 30.45 | 38.1
1669 | 2022-05-17 11:48 | 3.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.0009 | μmol/L | 18.0352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 88545.7068 | 296499.8412 | 30.45 | 38.1
1679 | 2022-05-17 11:48 | 4.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.9474 | μmol/L | 18.0413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 88560.8218 | 296489.565 | 30.45 | 38.1
1689 | 2022-05-17 11:48 | 4.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.0009 | μmol/L | 18.0352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 88563.183 | 296487.7721 | 30.45 | 38.1
1699 | 2022-05-17 11:49 | 4.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.6223 | μmol/L | 18.0535 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.433 | 88587.6801 | 296493.3243 | 30.45 | 38.1
1709 | 2022-05-17 11:49 | 5.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.3416 | μmol/L | 18.0413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.449 | 88637.9665 | 296474.4491 | 30.45 | 38.1
1719 | 2022-05-17 11:49 | 5.3372 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.9738 | μmol/L | 18.0474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.462 | 88695.0777 | 296472.4837 | 30.45 | 38.1
1729 | 2022-05-17 11:50 | 5.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.0129 | μmol/L | 18.0291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.467 | 88714.9202 | 296486.0841 | 30.45 | 38.1
1739 | 2022-05-17 11:50 | 6.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.0613 | μmol/L | 18.0291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.465 | 88688.8717 | 296464.5587 | 30.45 | 38.1
1749 | 2022-05-17 11:50 | 6.3373 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.9696 | μmol/L | 18.023 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.471 | 88714.6132 | 296455.5357 | 30.45 | 38.1
1759 | 2022-05-17 11:51 | 6.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.8538 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.478 | 88738.5319 | 296458.129 | 30.45 | 38.1
1769 | 2022-05-17 11:51 | 7.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.0229 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.471 | 88688.665 | 296444.9094 | 30.45 | 38.1
1779 | 2022-05-17 11:51 | 7.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.2889 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.46 | 88643.3739 | 296454.79 | 30.45 | 38.1
1789 | 2022-05-17 11:52 | 7.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.1196 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.467 | 88654.3509 | 296436.6545 | 30.45 | 38.1
1799 | 2022-05-17 11:52 | 8.0042 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.7864 | μmol/L | 18.0108 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 88719.411 | 296445.8963 | 30.45 | 38.1
1809 | 2022-05-17 11:52 | 8.3372 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.0153 | μmol/L | 18.0108 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.515 | 88866.81 | 296445.221 | 30.45 | 38.1
1819 | 2022-05-17 11:53 | 8.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.3187 | μmol/L | 18.0108 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.544 | 88997.8109 | 296431.386 | 30.45 | 38.1
1829 | 2022-05-17 11:53 | 9.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8244 | μmol/L | 18.0291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 89081.7125 | 296439.3896 | 30.45 | 38.1
1839 | 2022-05-17 11:53 | 9.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.4758 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.577 | 88851.5227 | 296441.053 | 30.45 | 38.1
1849 | 2022-05-17 11:54 | 9.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1892 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.589 | 88882.0871 | 296435.6685 | 30.45 | 38.1
1859 | 2022-05-17 11:54 | 10.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.046 | μmol/L | 18.0169 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.595 | 88900.1183 | 296400.3334 | 30.45 | 38.1
1869 | 2022-05-17 11:54 | 10.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.0034 | μmol/L | 18.0108 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.599 | 88913.5183 | 296414.4973 | 30.45 | 38.1
1879 | 2022-05-17 11:55 | 10.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1039 | μmol/L | 18.0047 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.597 | 88818.6859 | 296409.4469 | 30.45 | 38.1
1889 | 2022-05-17 11:55 | 11.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.8944 | μmol/L | 17.9985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.608 | 88873.0119 | 296395.0503 | 30.45 | 38.1
1899 | 2022-05-17 11:55 | 11.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.8178 | μmol/L | 18.0047 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.609 | 88903.1469 | 296402.258 | 30.45 | 38.1
1909 | 2022-05-17 11:56 | 11.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.5032 | μmol/L | 18.0108 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.62 | 88905.9877 | 296394.3172 | 30.45 | 38.1
1919 | 2022-05-17 11:56 | 12.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.5797 | μmol/L | 18.0047 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.619 | 88908.6742 | 296385.1304 | 30.45 | 38.1
1929 | 2022-05-17 11:56 | 12.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.5899 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.623 | 88927.3683 | 296390.5547 | 30.45 | 38.1
1939 | 2022-05-17 11:57 | 12.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.318 | μmol/L | 18.0047 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.63 | 88933.4713 | 296380.5119 | 30.45 | 38.1
1949 | 2022-05-17 11:57 | 13.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1381 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.642 | 88978.0693 | 296378.9932 | 30.45 | 38.1
1959 | 2022-05-17 11:57 | 13.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.9957 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 89016.1827 | 296391.9225 | 30.45 | 38.1
1969 | 2022-05-17 11:58 | 13.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.6873 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.661 | 89043.2258 | 296376.3191 | 30.45 | 38.1
1979 | 2022-05-17 11:58 | 14.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.7161 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.662 | 89068.3955 | 296374.88 | 30.45 | 38.1
1989 | 2022-05-17 11:58 | 14.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.4318 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.674 | 89090.0676 | 296371.0319 | 30.45 | 38.1
1999 | 2022-05-17 11:59 | 14.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.19 | μmol/L | 17.9924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.682 | 89148.4647 | 296389.3855 | 30.45 | 38.1
2009 | 2022-05-17 11:59 | 15.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.0533 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.69 | 89178.5694 | 296363.6557 | 30.45 | 38.1
2019 | 2022-05-17 11:59 | 15.3375 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.6857 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.71 | 89241.1936 | 296362.2355 | 30.45 | 38.1
2029 | 2022-05-17 12:00 | 15.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.5206 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.717 | 89274.0599 | 296347.5722 | 30.45 | 38.1
2039 | 2022-05-17 12:00 | 16.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.4551 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.722 | 89294.5595 | 296357.816 | 30.45 | 38.1
2049 | 2022-05-17 12:00 | 16.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.3895 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.727 | 89310.774 | 296340.8955 | 30.45 | 38.1
2059 | 2022-05-17 12:01 | 16.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.1201 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.734 | 89347.6261 | 296349.3235 | 30.45 | 38.1
2069 | 2022-05-17 12:01 | 17.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.9084 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.743 | 89365.0339 | 296344.8879 | 30.45 | 38.1
2079 | 2022-05-17 12:01 | 17.3373 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.7857 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.746 | 89377.7137 | 296350.254 | 30.45 | 38.1
2089 | 2022-05-17 12:02 | 17.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.8901 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.746 | 89395.9366 | 296335.5774 | 30.45 | 38.1
2099 | 2022-05-17 12:02 | 18.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.509 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.76 | 89420.582 | 296333.3701 | 30.45 | 38.1
2109 | 2022-05-17 12:02 | 18.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.2275 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.772 | 89484.5967 | 296337.6139 | 30.45 | 38.1
2119 | 2022-05-17 12:03 | 18.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.04 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 89503.0121 | 296340.7999 | 30.45 | 38.1
2129 | 2022-05-17 12:03 | 19.0035 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.9645 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.781 | 89512.5927 | 296313.6765 | 30.45 | 38.1
2139 | 2022-05-17 12:03 | 19.3375 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.1155 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.779 | 89518.01 | 296309.4584 | 30.45 | 38.1
2149 | 2022-05-17 12:04 | 19.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.9281 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.787 | 89524.7512 | 296305.4817 | 30.45 | 38.1
2159 | 2022-05-17 12:04 | 20.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.7357 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.793 | 89543.2434 | 296316.1534 | 30.45 | 38.1
2169 | 2022-05-17 12:04 | 20.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.8787 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 89574.8326 | 296313.036 | 30.45 | 38.1
2179 | 2022-05-17 12:05 | 20.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.6214 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.809 | 89609.4731 | 296309.6753 | 30.45 | 38.1
2189 | 2022-05-17 12:05 | 21.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.2139 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.822 | 89660.9438 | 296303.4798 | 30.45 | 38.1
2199 | 2022-05-17 12:05 | 21.3369 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.1439 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.825 | 89685.0023 | 296298.6777 | 30.45 | 38.1
2209 | 2022-05-17 12:06 | 21.6706 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.074 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 89681.0175 | 296288.3738 | 30.45 | 38.1
2219 | 2022-05-17 12:06 | 22.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.9288 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.832 | 89686.1635 | 296285.7133 | 30.45 | 38.1
2229 | 2022-05-17 12:06 | 22.3369 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.8822 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.834 | 89693.3018 | 296277.2275 | 30.45 | 38.1
2239 | 2022-05-17 12:07 | 22.6704 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.7192 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.841 | 89706.7769 | 296291.703 | 30.45 | 38.1
2249 | 2022-05-17 12:07 | 23.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.8048 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.844 | 89697.4916 | 296294.8188 | 30.45 | 38.1
2259 | 2022-05-17 12:07 | 23.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.6598 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.848 | 89715.2124 | 296281.4976 | 30.45 | 38.1
2269 | 2022-05-17 12:08 | 23.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.4504 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.857 | 89768.0142 | 296290.6041 | 30.45 | 38.1
2279 | 2022-05-17 12:08 | 24.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.1947 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.868 | 89800.8956 | 296287.3061 | 30.45 | 38.1
2289 | 2022-05-17 12:08 | 24.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.009 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.876 | 89833.0316 | 296292.4416 | 30.45 | 38.1
2299 | 2022-05-17 12:09 | 24.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.8413 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.881 | 89864.163 | 296297.1106 | 30.45 | 38.1
2309 | 2022-05-17 12:09 | 25.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.7359 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.89 | 89891.2263 | 296312.1616 | 30.45 | 38.1
2319 | 2022-05-17 12:09 | 25.3373 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.579 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.899 | 89915.7829 | 296288.3978 | 30.45 | 38.1
2329 | 2022-05-17 12:10 | 25.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.3422 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.907 | 89959.7599 | 296314.1854 | 30.45 | 38.1
2339 | 2022-05-17 12:10 | 26.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.1624 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.917 | 90000.9635 | 296323.5276 | 30.45 | 38.1
2349 | 2022-05-17 12:10 | 26.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.0878 | μmol/L | 17.9436 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.918 | 90017.0614 | 296319.0118 | 30.45 | 38.1
2359 | 2022-05-17 12:11 | 26.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.9545 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 90047.6804 | 296317.905 | 30.45 | 38.1
2369 | 2022-05-17 12:11 | 27.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.7928 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 90078.6132 | 296315.2904 | 30.45 | 38.1
2379 | 2022-05-17 12:11 | 27.3375 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.6083 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.941 | 90114.4796 | 296340.8106 | 30.45 | 38.1
2389 | 2022-05-17 12:12 | 27.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.4469 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.948 | 90144.8735 | 296345.3299 | 30.45 | 38.1
2399 | 2022-05-17 12:12 | 28.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1475 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.961 | 90177.6734 | 296354.5759 | 30.45 | 38.1
2409 | 2022-05-17 12:12 | 28.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.1015 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.963 | 90223.0323 | 296363.7271 | 30.45 | 38.1
2419 | 2022-05-17 12:13 | 28.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9281 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.975 | 90270.8002 | 296359.9631 | 30.45 | 38.1
2429 | 2022-05-17 12:13 | 29.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9741 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.973 | 90278.4574 | 296363.8243 | 30.45 | 38.1
2439 | 2022-05-17 12:13 | 29.3373 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6011 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.987 | 90316.5865 | 296380.2418 | 30.45 | 38.1
2449 | 2022-05-17 12:14 | 29.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3946 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.996 | 90360.5034 | 296370.2414 | 30.45 | 38.1
2459 | 2022-05-17 12:14 | 30.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.28 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.001 | 90393.1071 | 296387.3098 | 30.45 | 38.1
2469 | 2022-05-17 12:14 | 30.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.9597 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.061 | 90643.7061 | 296375.3102 | 30.45 | 38.1
2479 | 2022-05-17 12:15 | 30.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.1421 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.053 | 90627.2552 | 296370.447 | 30.45 | 38.1
2489 | 2022-05-17 12:15 | 31.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.1246 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.056 | 90630.1771 | 296360.8683 | 30.45 | 38.1
2499 | 2022-05-17 12:15 | 31.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3193 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.043 | 90597.6838 | 296394.7644 | 30.45 | 38.1
2509 | 2022-05-17 12:16 | 31.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3703 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.043 | 90563.9931 | 296390.2066 | 30.45 | 38.1
2519 | 2022-05-17 12:16 | 32.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4038 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.046 | 90565.1994 | 296392.1883 | 30.45 | 38.1
2529 | 2022-05-17 12:16 | 32.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3984 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.044 | 90572.6877 | 296396.079 | 30.45 | 38.1
2539 | 2022-05-17 12:17 | 32.6704 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.3018 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.046 | 90580.8833 | 296397.6273 | 30.45 | 38.1
2549 | 2022-05-17 12:17 | 33.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.8109 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.158 | 91077.0926 | 296406.1626 | 30.45 | 38.1
2559 | 2022-05-17 12:17 | 33.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.7207 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.162 | 91101.2421 | 296420.5764 | 30.45 | 38.1
2569 | 2022-05-17 12:18 | 33.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.2229 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.142 | 91026.3248 | 296421.058 | 30.45 | 38.1
2579 | 2022-05-17 12:18 | 34.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.3866 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.137 | 90990.496 | 296424.1896 | 30.45 | 38.1
2589 | 2022-05-17 12:18 | 34.3375 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.5741 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.122 | 90930.3332 | 296416.2769 | 30.45 | 38.1
2599 | 2022-05-17 12:19 | 34.6706 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.6355 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.126 | 90924.3675 | 296432.7825 | 30.45 | 38.1
2609 | 2022-05-17 12:19 | 35.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.3015 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.143 | 91025.1729 | 296423.3816 | 30.45 | 38.1
2619 | 2022-05-17 12:19 | 35.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9346 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.157 | 91088.5911 | 296446.6933 | 30.45 | 38.1
2629 | 2022-05-17 12:20 | 35.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9012 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.154 | 91065.3972 | 296445.037 | 30.45 | 38.1
2639 | 2022-05-17 12:20 | 36.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.1777 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.144 | 91039.8227 | 296449.5032 | 30.45 | 38.1
2649 | 2022-05-17 12:20 | 36.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.2681 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.14 | 91007.251 | 296454.0149 | 30.45 | 38.1
2659 | 2022-05-17 12:21 | 36.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.2907 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.139 | 90997.0145 | 296454.2338 | 30.45 | 38.1
2669 | 2022-05-17 12:21 | 37.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.2455 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.141 | 91000.2611 | 296451.7439 | 30.45 | 38.1
2679 | 2022-05-17 12:21 | 37.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.3133 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.138 | 91012.1402 | 296459.7534 | 30.45 | 38.1
2689 | 2022-05-17 12:22 | 37.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.1605 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.147 | 91030.2463 | 296445.6929 | 30.45 | 38.1
2699 | 2022-05-17 12:22 | 38.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.8615 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.158 | 91074.6203 | 296448.3476 | 30.45 | 38.1
2709 | 2022-05-17 12:22 | 38.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.8271 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.164 | 91091.5989 | 296446.6713 | 30.45 | 38.1
2719 | 2022-05-17 12:23 | 38.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.7992 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.163 | 91109.6732 | 296436.3171 | 30.45 | 38.1
2729 | 2022-05-17 12:23 | 39.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.6413 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.17 | 91121.6137 | 296421.2996 | 30.45 | 38.1
2739 | 2022-05-17 12:23 | 39.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.489 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.179 | 91127.0338 | 296423.2534 | 30.45 | 38.1
2749 | 2022-05-17 12:24 | 39.6709 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.6016 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.174 | 91134.2916 | 296421.077 | 30.45 | 38.1
2759 | 2022-05-17 12:24 | 40.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.5115 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.178 | 91153.3239 | 296419.8125 | 30.45 | 38.1
2769 | 2022-05-17 12:24 | 40.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.3313 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.186 | 91170.4511 | 296404.802 | 30.45 | 38.1
2779 | 2022-05-17 12:25 | 40.6706 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.3538 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.185 | 91187.125 | 296415.8441 | 30.45 | 38.1
2789 | 2022-05-17 12:25 | 41.0042 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.3593 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.187 | 91192.5014 | 296400.0512 | 30.45 | 38.1
2799 | 2022-05-17 12:25 | 41.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.1567 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.196 | 91203.7775 | 296383.9817 | 30.45 | 38.1
2809 | 2022-05-17 12:26 | 41.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.9714 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.202 | 91231.4296 | 296387.6002 | 30.45 | 38.1
2819 | 2022-05-17 12:26 | 42.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.6365 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.488 | 92520.2933 | 296369.2872 | 30.45 | 38.1
2829 | 2022-05-17 12:26 | 42.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.7512 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.485 | 92511.633 | 296367.2135 | 30.45 | 38.1
2839 | 2022-05-17 12:27 | 42.6704 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.7198 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.443 | 92294.6698 | 296341.5878 | 30.45 | 38.1
2849 | 2022-05-17 12:27 | 43.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.4339 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.406 | 92140.7831 | 296336.6757 | 30.45 | 38.1
2859 | 2022-05-17 12:27 | 43.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.9187 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.384 | 92040.9746 | 296329.465 | 30.45 | 38.1
2869 | 2022-05-17 12:28 | 43.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.3604 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.364 | 91949.2958 | 296322.492 | 30.45 | 38.1
2879 | 2022-05-17 12:28 | 44.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.4931 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.358 | 91897.419 | 296309.7394 | 30.45 | 38.1
2889 | 2022-05-17 12:28 | 44.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0024 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.335 | 91807.6304 | 296300.0933 | 30.45 | 38.1
2899 | 2022-05-17 12:29 | 44.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3018 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.326 | 91765.5899 | 296284.323 | 30.45 | 38.1
2909 | 2022-05-17 12:29 | 45.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3462 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.324 | 91732.7559 | 296272.1875 | 30.45 | 38.1
2919 | 2022-05-17 12:29 | 45.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.4351 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.32 | 91707.3015 | 296267.8146 | 30.45 | 38.1
2929 | 2022-05-17 12:30 | 45.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.4351 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.32 | 91688.1101 | 296256.3426 | 30.45 | 38.1
2939 | 2022-05-17 12:30 | 46.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.7754 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.395 | 92019.8334 | 296249.0445 | 30.45 | 38.1
2949 | 2022-05-17 12:30 | 46.3375 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.1504 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.378 | 91924.0989 | 296225.9398 | 30.45 | 38.1
2959 | 2022-05-17 12:31 | 46.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.5207 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.359 | 91854.3418 | 296203.1206 | 30.45 | 38.1
2969 | 2022-05-17 12:31 | 47.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.6866 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.356 | 91811.4286 | 296190.6858 | 30.45 | 38.1
2979 | 2022-05-17 12:31 | 47.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.7973 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.351 | 91780.4201 | 296166.2535 | 30.45 | 38.1
2989 | 2022-05-17 12:32 | 47.6704 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.8139 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.348 | 91760.6634 | 296161.2327 | 30.45 | 38.1
2999 | 2022-05-17 12:32 | 48.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.8528 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.344 | 91737.9951 | 296146.8262 | 30.45 | 38.1
3009 | 2022-05-17 12:32 | 48.3373 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.8306 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.345 | 91719.6237 | 296126.0818 | 30.45 | 38.1
3019 | 2022-05-17 12:33 | 48.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0134 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.339 | 91715.0697 | 296122.6162 | 30.45 | 38.1
3029 | 2022-05-17 12:33 | 49.0035 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.9414 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.34 | 91701.8641 | 296115.1974 | 30.45 | 38.1
3039 | 2022-05-17 12:33 | 49.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.1502 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.469 | 92274.5642 | 296093.3574 | 30.45 | 38.1
3049 | 2022-05-17 12:34 | 49.6706 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.2979 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.46 | 92219.3 | 296077.5467 | 30.45 | 38.1
3059 | 2022-05-17 12:34 | 50.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8734 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.436 | 92104.15 | 296051.1233 | 30.45 | 38.1
3069 | 2022-05-17 12:34 | 50.3372 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.2305 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.422 | 92020.3092 | 296026.9535 | 30.45 | 38.1
3079 | 2022-05-17 12:35 | 50.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.4725 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.411 | 91951.0973 | 296011.3383 | 30.45 | 38.1
3089 | 2022-05-17 12:35 | 51.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.489 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.408 | 91916.3489 | 296003.8971 | 30.45 | 38.1
3099 | 2022-05-17 12:35 | 51.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.5991 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.403 | 91900.8492 | 295998.04 | 30.45 | 38.1
3109 | 2022-05-17 12:36 | 51.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.4009 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.412 | 91918.6924 | 295971.9742 | 30.45 | 38.1
3119 | 2022-05-17 12:36 | 52.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.4009 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.412 | 91935.8159 | 295949.2082 | 30.45 | 38.1
3129 | 2022-05-17 12:36 | 52.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.2194 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.418 | 91929.4795 | 295950.5107 | 30.45 | 38.1
3139 | 2022-05-17 12:37 | 52.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.0711 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.427 | 91953.1303 | 295947.1278 | 30.45 | 38.1
3149 | 2022-05-17 12:37 | 53.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.17 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.427 | 91946.2669 | 295937.8429 | 30.45 | 38.1
3159 | 2022-05-17 12:37 | 53.3369 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.0711 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.427 | 91941.2936 | 295926.0373 | 30.45 | 38.1
3169 | 2022-05-17 12:38 | 53.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.1865 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.424 | 91926.7472 | 295917.0172 | 30.45 | 38.1
3179 | 2022-05-17 12:38 | 54.0039 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.2029 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.421 | 91913.7919 | 295894.3442 | 30.45 | 38.1
3189 | 2022-05-17 12:38 | 54.3375 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.1425 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.426 | 91904.7537 | 295864.9225 | 30.45 | 38.1
3199 | 2022-05-17 12:39 | 54.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.9338 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.431 | 91899.3097 | 295863.5412 | 30.45 | 38.1
3209 | 2022-05-17 12:39 | 55.0037 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.0326 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.431 | 91903.4331 | 295854.4186 | 30.45 | 38.1
3219 | 2022-05-17 12:39 | 55.3372 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 259.0986 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.428 | 91891.8544 | 295827.1323 | 30.45 | 38.1
3229 | 2022-05-17 12:40 | 55.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.9832 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.431 | 91893.885 | 295827.6005 | 30.45 | 38.1
3239 | 2022-05-17 12:40 | 56.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8295 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.438 | 91885.7246 | 295813.8988 | 30.45 | 38.1
3249 | 2022-05-17 12:40 | 56.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8954 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.435 | 91887.7602 | 295792.9627 | 30.45 | 38.1
3259 | 2022-05-17 12:41 | 56.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8295 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.438 | 91884.8695 | 295792.7133 | 30.45 | 38.1
3269 | 2022-05-17 12:41 | 57.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8625 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.441 | 91882.4771 | 295753.286 | 30.45 | 38.1
3279 | 2022-05-17 12:41 | 57.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.7198 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.443 | 91887.4042 | 295758.161 | 30.45 | 38.1
3289 | 2022-05-17 12:42 | 57.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.835 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.44 | 91886.957 | 295752.2812 | 30.45 | 38.1
3299 | 2022-05-17 12:42 | 58.0034 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.8186 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.443 | 91881.9375 | 295730.5384 | 30.45 | 38.1
3309 | 2022-05-17 12:42 | 58.3367 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.6814 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.447 | 91885.1957 | 295720.3904 | 30.45 | 38.1
3319 | 2022-05-17 12:43 | 58.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.654 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.446 | 91884.9833 | 295693.3854 | 30.45 | 38.1
3329 | 2022-05-17 12:43 | 59.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.5663 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.45 | 91888.1723 | 295690.6311 | 30.45 | 38.1
3339 | 2022-05-17 12:43 | 59.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.5499 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.453 | 91894.9756 | 295674.1098 | 30.45 | 38.1
3349 | 2022-05-17 12:44 | 59.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 258.1939 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.467 | 91948.1148 | 295652.8916 | 30.45 | 38.1
3359 | 2022-05-17 12:44 | 60.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.8878 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.481 | 91996.0754 | 295646.6646 | 30.45 | 38.1
3369 | 2022-05-17 12:44 | 60.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.7896 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.49 | 92040.3099 | 295626.2862 | 30.45 | 38.1
3379 | 2022-05-17 12:45 | 60.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.5003 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.501 | 92066.7338 | 295604.5668 | 30.45 | 38.1
3389 | 2022-05-17 12:45 | 61.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.3041 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.51 | 92100.9045 | 295605.0579 | 30.45 | 38.1
3399 | 2022-05-17 12:45 | 61.337 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.059 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.519 | 92112.3062 | 295595.8392 | 30.45 | 38.1
3409 | 2022-05-17 12:46 | 61.6705 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 257.0863 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.52 | 92120.1621 | 295581.3668 | 30.45 | 38.1
3419 | 2022-05-17 12:46 | 62.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.9719 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.523 | 92122.9469 | 295569.649 | 30.45 | 38.1
3429 | 2022-05-17 12:46 | 62.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.8141 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.528 | 92138.0452 | 295568.0825 | 30.45 | 38.1
3439 | 2022-05-17 12:47 | 62.6702 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.8687 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.53 | 92140.4703 | 295542.5444 | 30.45 | 38.1
3449 | 2022-05-17 12:47 | 63.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.8742 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.532 | 92153.9075 | 295530.2287 | 30.45 | 38.1
3459 | 2022-05-17 12:47 | 63.3371 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.6079 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.542 | 92148.6013 | 295517.7425 | 30.45 | 38.1
3469 | 2022-05-17 12:48 | 63.6707 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.6948 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.538 | 92153.0393 | 295514.9166 | 30.45 | 38.1
3479 | 2022-05-17 12:48 | 64.0041 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.6079 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.542 | 92401.0452 | 295488.1805 | 30.45 | 38.1
3489 | 2022-05-17 12:48 | 64.3368 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.4503 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.547 | 92441.1534 | 295487.528 | 30.45 | 38.1
3499 | 2022-05-17 12:49 | 64.6703 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.2606 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.558 | 92451.8685 | 295478.1486 | 30.45 | 38.1
3509 | 2022-05-17 12:49 | 65.0038 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.3312 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.557 | 92467.3044 | 295463.3133 | 30.45 | 38.1
3519 | 2022-05-17 12:49 | 65.3374 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 256.2172 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.56 | 92479.252 | 295451.1866 | 30.45 | 38.1
3529 | 2022-05-17 12:50 | 65.6701 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.9949 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.568 | 92490.9901 | 295434.0882 | 30.45 | 38.1
3539 | 2022-05-17 12:50 | 66.0036 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.9139 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.574 | 92519.5619 | 295429.576 | 30.45 | 38.1
3549 | 2022-05-17 12:50 | 66.3372 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.7191 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.583 | 92545.0377 | 295405.6744 | 30.45 | 38.1
3559 | 2022-05-17 12:51 | 66.6708 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.6054 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.586 | 92553.6766 | 295396.0534 | 30.45 | 38.1
3569 | 2022-05-17 12:51 | 67.004 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 255.5245 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.592 | 92570.925 | 295376.5487 | 30.45 | 38.1