## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3578 | 2022-05-17 13:13 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.9956 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.478 | 123920.2242 | 290600.037 | 59.9307 | 49.4
3588 | 2022-05-17 13:13 | 0.33838 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.9411 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.478 | 123929.2309 | 290584.839 | 59.9307 | 49.4
3598 | 2022-05-17 13:14 | 0.67123 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.8982 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.482 | 123936.7585 | 290579.4641 | 59.9307 | 49.4
3608 | 2022-05-17 13:14 | 1.0044 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.8738 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.483 | 123921.7443 | 290553.2279 | 59.9307 | 49.4
3618 | 2022-05-17 13:14 | 1.3383 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.8309 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.487 | 123929.4236 | 290544.9042 | 59.9307 | 49.4
3628 | 2022-05-17 13:15 | 1.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.7092 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.492 | 123919.2917 | 290523.4637 | 59.9307 | 49.4
3638 | 2022-05-17 13:15 | 2.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.7393 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.493 | 123920.7707 | 290501.8674 | 59.9307 | 49.4
3648 | 2022-05-17 13:15 | 2.3386 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.7393 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.493 | 123919.9458 | 290489.2875 | 59.9307 | 49.4
3658 | 2022-05-17 13:16 | 2.6716 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.6907 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.495 | 123908.9141 | 290475.1956 | 59.9307 | 49.4
3668 | 2022-05-17 13:16 | 3.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.6177 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.498 | 123900.3228 | 290461.9793 | 59.9307 | 49.4
3678 | 2022-05-17 13:16 | 3.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.6907 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.495 | 123909.6362 | 290447.7023 | 59.9307 | 49.4
3688 | 2022-05-17 13:17 | 3.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5748 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.502 | 123909.0969 | 290429.3191 | 59.9307 | 49.4
3698 | 2022-05-17 13:17 | 4.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5447 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.501 | 123913.1358 | 290419.5522 | 59.9307 | 49.4
3708 | 2022-05-17 13:17 | 4.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5204 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.502 | 123905.9155 | 290421.3294 | 59.9307 | 49.4
3718 | 2022-05-17 13:18 | 4.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4718 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.504 | 123889.337 | 290399.4198 | 59.9307 | 49.4
3728 | 2022-05-17 13:18 | 5.0052 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4718 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.504 | 123893.9168 | 290378.7385 | 59.9307 | 49.4
3738 | 2022-05-17 13:18 | 5.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4232 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.506 | 123894.3879 | 290363.9827 | 59.9307 | 49.4
3748 | 2022-05-17 13:19 | 5.6712 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4047 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.509 | 123892.6114 | 290355.9596 | 59.9307 | 49.4
3758 | 2022-05-17 13:19 | 6.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.326 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.51 | 123885.8368 | 290353.2133 | 59.9307 | 49.4
3768 | 2022-05-17 13:19 | 6.3383 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2474 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.511 | 123873.4664 | 290338.5503 | 59.9307 | 49.4
3778 | 2022-05-17 13:20 | 6.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3804 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.51 | 123863.2138 | 290299.8417 | 59.9307 | 49.4
3788 | 2022-05-17 13:20 | 7.0044 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2046 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.515 | 123863.3989 | 290301.3863 | 59.9307 | 49.4
3798 | 2022-05-17 13:20 | 7.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3561 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.511 | 123844.9864 | 290275.5614 | 59.9307 | 49.4
3808 | 2022-05-17 13:21 | 7.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2289 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.514 | 123843.0474 | 290280.0219 | 59.9307 | 49.4
3818 | 2022-05-17 13:21 | 8.0045 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2832 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.514 | 123840.745 | 290254.9784 | 59.9307 | 49.4
3828 | 2022-05-17 13:21 | 8.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1803 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.516 | 123838.613 | 290256.2017 | 59.9307 | 49.4
3838 | 2022-05-17 13:22 | 8.6716 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1318 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.518 | 123835.5792 | 290246.6835 | 59.9307 | 49.4
3848 | 2022-05-17 13:22 | 9.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2648 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.517 | 123828.737 | 290230.1003 | 59.9307 | 49.4
3858 | 2022-05-17 13:22 | 9.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.392 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.514 | 123818.6778 | 290216.4369 | 59.9307 | 49.4
3868 | 2022-05-17 13:23 | 9.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2648 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.517 | 123811.0014 | 290210.0028 | 59.9307 | 49.4
3878 | 2022-05-17 13:23 | 10.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2706 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.519 | 123801.1947 | 290187.944 | 59.9307 | 49.4
3888 | 2022-05-17 13:23 | 10.338 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1861 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.518 | 123795.5651 | 290183.3415 | 59.9307 | 49.4
3898 | 2022-05-17 13:24 | 10.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1677 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.521 | 123782.7423 | 290172.7735 | 59.9307 | 49.4
3908 | 2022-05-17 13:24 | 11.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1191 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.523 | 123776.7598 | 290165.1228 | 59.9307 | 49.4
3918 | 2022-05-17 13:24 | 11.3386 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0648 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.523 | 123785.3983 | 290155.3129 | 59.9307 | 49.4
3928 | 2022-05-17 13:25 | 11.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0221 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.527 | 123792.2895 | 290133.603 | 59.9307 | 49.4
3938 | 2022-05-17 13:25 | 12.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0036 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.53 | 123795.9232 | 290129.7746 | 59.9307 | 49.4
3948 | 2022-05-17 13:25 | 12.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8708 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.531 | 123799.1846 | 290120.6888 | 59.9307 | 49.4
3958 | 2022-05-17 13:26 | 12.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.7739 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.535 | 123808.0186 | 290096.0487 | 59.9307 | 49.4
3968 | 2022-05-17 13:26 | 13.0049 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8766 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.533 | 123801.538 | 290103.625 | 59.9307 | 49.4
3978 | 2022-05-17 13:26 | 13.3379 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8097 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.538 | 123795.9901 | 290073.8646 | 59.9307 | 49.4
3988 | 2022-05-17 13:27 | 13.6719 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8824 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.535 | 123807.4368 | 290074.6023 | 59.9307 | 49.4
3998 | 2022-05-17 13:27 | 14.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9852 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.533 | 123778.3948 | 290071.5827 | 59.9307 | 49.4
4008 | 2022-05-17 13:27 | 14.3383 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8339 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.537 | 123773.048 | 290057.6521 | 59.9307 | 49.4
4018 | 2022-05-17 13:28 | 14.6716 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.646 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.547 | 123858.6103 | 290047.8183 | 59.9307 | 49.4
4028 | 2022-05-17 13:28 | 15.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.717 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.627 | 124325.9113 | 290056.1915 | 59.9307 | 49.4
4038 | 2022-05-17 13:28 | 15.3379 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.2988 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.726 | 124937.1258 | 290023.012 | 59.9307 | 49.4
4048 | 2022-05-17 13:29 | 15.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7767 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.748 | 125116.9215 | 290025.6666 | 59.9307 | 49.4
4058 | 2022-05-17 13:29 | 16.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6345 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.754 | 125116.268 | 290010.296 | 59.9307 | 49.4
4068 | 2022-05-17 13:29 | 16.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6109 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.755 | 125137.0879 | 290003.9245 | 59.9307 | 49.4
4078 | 2022-05-17 13:30 | 16.6712 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4943 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.8 | 125381.1804 | 289995.5904 | 59.9307 | 49.4
4088 | 2022-05-17 13:30 | 17.0044 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.8503 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.87 | 125823.1822 | 289994.0691 | 59.9307 | 49.4
4098 | 2022-05-17 13:30 | 17.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.2427 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.896 | 125983.2165 | 289986.4653 | 59.9307 | 49.4
4108 | 2022-05-17 13:31 | 17.6711 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.7824 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.918 | 126096.8224 | 289965.9688 | 59.9307 | 49.4
4118 | 2022-05-17 13:31 | 18.005 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4065 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.975 | 126463.5196 | 289960.5219 | 59.9307 | 49.4
4128 | 2022-05-17 13:31 | 18.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.5055 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.014 | 126702.7645 | 289941.3377 | 59.9307 | 49.4
4138 | 2022-05-17 13:32 | 18.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.3042 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.025 | 126743.5967 | 289958.5545 | 59.9307 | 49.4
4148 | 2022-05-17 13:32 | 19.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.5517 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.012 | 126667.9725 | 289944.1574 | 59.9307 | 49.4
4158 | 2022-05-17 13:32 | 19.3386 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.3834 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.976 | 126439.9065 | 289924.8286 | 59.9307 | 49.4
4168 | 2022-05-17 13:33 | 19.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1717 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.942 | 126214.0238 | 289936.6321 | 59.9307 | 49.4
4178 | 2022-05-17 13:33 | 20.0048 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.9628 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.908 | 125990.7438 | 289926.1931 | 59.9307 | 49.4
4188 | 2022-05-17 13:33 | 20.3378 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.7627 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.876 | 125792.5547 | 289909.696 | 59.9307 | 49.4
4198 | 2022-05-17 13:34 | 20.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.2894 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.849 | 125606.9965 | 289906.4754 | 59.9307 | 49.4
4208 | 2022-05-17 13:34 | 21.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.994 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.819 | 125433.8294 | 289890.751 | 59.9307 | 49.4
4218 | 2022-05-17 13:34 | 21.3378 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4472 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.802 | 125276.1934 | 289880.1625 | 59.9307 | 49.4
4228 | 2022-05-17 13:35 | 21.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.9367 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.779 | 125155.8444 | 289881.4898 | 59.9307 | 49.4
4238 | 2022-05-17 13:35 | 22.0049 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.4392 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.76 | 125039.4388 | 289885.5424 | 59.9307 | 49.4
4248 | 2022-05-17 13:35 | 22.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.5221 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.752 | 124961.1713 | 289872.2209 | 59.9307 | 49.4
4258 | 2022-05-17 13:36 | 22.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7649 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.744 | 124890.1519 | 289863.3029 | 59.9307 | 49.4
4268 | 2022-05-17 13:36 | 23.0052 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.0258 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.733 | 124823.6247 | 289868.0402 | 59.9307 | 49.4
4278 | 2022-05-17 13:36 | 23.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.3583 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.719 | 124742.8048 | 289855.6268 | 59.9307 | 49.4
4288 | 2022-05-17 13:37 | 23.6719 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6199 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.708 | 124655.0018 | 289835.5314 | 59.9307 | 49.4
4298 | 2022-05-17 13:37 | 24.005 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9353 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.697 | 124579.753 | 289837.1212 | 59.9307 | 49.4
4308 | 2022-05-17 13:37 | 24.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9295 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.695 | 124569.7793 | 289830.5658 | 59.9307 | 49.4
4318 | 2022-05-17 13:38 | 24.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.5248 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.712 | 124689.0852 | 289824.4356 | 59.9307 | 49.4
4328 | 2022-05-17 13:38 | 25.0045 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.7175 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.746 | 124862.6624 | 289828.3763 | 59.9307 | 49.4
4338 | 2022-05-17 13:38 | 25.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.3327 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.76 | 124966.3718 | 289803.7496 | 59.9307 | 49.4
4348 | 2022-05-17 13:39 | 25.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5179 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.799 | 125221.5249 | 289809.7095 | 59.9307 | 49.4
4358 | 2022-05-17 13:39 | 26.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.0268 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.903 | 125853.0728 | 289819.0376 | 59.9307 | 49.4
4368 | 2022-05-17 13:39 | 26.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.7935 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.997 | 126427.062 | 289812.8788 | 59.9307 | 49.4
4378 | 2022-05-17 13:40 | 26.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.8975 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.084 | 126951.2248 | 289797.1208 | 59.9307 | 49.4
4388 | 2022-05-17 13:40 | 27.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.3177 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.151 | 127388.4077 | 289775.7943 | 59.9307 | 49.4
4398 | 2022-05-17 13:40 | 27.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.4331 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.19 | 127652.481 | 289779.3734 | 59.9307 | 49.4
4408 | 2022-05-17 13:41 | 27.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.326 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.197 | 127684.1908 | 289759.7054 | 59.9307 | 49.4
4418 | 2022-05-17 13:41 | 28.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.1329 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.201 | 127685.7655 | 289764.0468 | 59.9307 | 49.4
4428 | 2022-05-17 13:41 | 28.3378 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.3199 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.195 | 127637.8786 | 289756.0552 | 59.9307 | 49.4
4438 | 2022-05-17 13:42 | 28.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.6883 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.181 | 127540.416 | 289746.0823 | 59.9307 | 49.4
4448 | 2022-05-17 13:42 | 29.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.7502 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.176 | 127522.5229 | 289739.1993 | 59.9307 | 49.4
4458 | 2022-05-17 13:42 | 29.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.8182 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.173 | 127489.1703 | 289736.712 | 59.9307 | 49.4
4468 | 2022-05-17 13:43 | 29.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.9438 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.172 | 127471.5822 | 289730.3607 | 59.9307 | 49.4
4478 | 2022-05-17 13:43 | 30.0045 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.2222 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.162 | 127415.1507 | 289729.7314 | 59.9307 | 49.4
4488 | 2022-05-17 13:43 | 30.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.0633 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.169 | 127420.435 | 289705.2664 | 59.9307 | 49.4
4498 | 2022-05-17 13:44 | 30.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.0345 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.168 | 127427.937 | 289700.0546 | 59.9307 | 49.4
4508 | 2022-05-17 13:44 | 31.0045 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.7518 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.185 | 127537.7048 | 289694.8008 | 59.9307 | 49.4
4518 | 2022-05-17 13:44 | 31.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.7911 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.181 | 127512.2298 | 289698.2411 | 59.9307 | 49.4
4528 | 2022-05-17 13:45 | 31.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.8923 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.172 | 127424.94 | 289682.9187 | 59.9307 | 49.4
4538 | 2022-05-17 13:45 | 32.0049 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.9377 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.17 | 127423.6699 | 289675.7232 | 59.9307 | 49.4
4548 | 2022-05-17 13:45 | 32.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.2101 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.158 | 127339.942 | 289681.0747 | 59.9307 | 49.4
4558 | 2022-05-17 13:46 | 32.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.4374 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.148 | 127265.9981 | 289658.4187 | 59.9307 | 49.4
4568 | 2022-05-17 13:46 | 33.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.6649 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.138 | 127205.9369 | 289659.7804 | 59.9307 | 49.4
4578 | 2022-05-17 13:46 | 33.3379 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.841 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.128 | 127143.0097 | 289658.8415 | 59.9307 | 49.4
4588 | 2022-05-17 13:47 | 33.6719 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.2804 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.111 | 127021.5874 | 289652.0418 | 59.9307 | 49.4
4598 | 2022-05-17 13:47 | 34.005 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.8228 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.085 | 126861.8198 | 289627.057 | 59.9307 | 49.4
4608 | 2022-05-17 13:47 | 34.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.2122 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.068 | 126758.3 | 289638.5273 | 59.9307 | 49.4
4618 | 2022-05-17 13:48 | 34.6712 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.3497 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.062 | 126698.9985 | 289627.1499 | 59.9307 | 49.4
4628 | 2022-05-17 13:48 | 35.0052 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.5792 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.052 | 126647.9381 | 289609.8403 | 59.9307 | 49.4
4638 | 2022-05-17 13:48 | 35.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.6421 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.047 | 126590.2373 | 289610.052 | 59.9307 | 49.4
4648 | 2022-05-17 13:49 | 35.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.9009 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.038 | 126542.0901 | 289600.2293 | 59.9307 | 49.4
4658 | 2022-05-17 13:49 | 36.0049 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.9299 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.039 | 126523.4786 | 289604.6569 | 59.9307 | 49.4
4668 | 2022-05-17 13:49 | 36.338 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.8609 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.042 | 126547.8926 | 289611.574 | 59.9307 | 49.4
4678 | 2022-05-17 13:50 | 36.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.1036 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.075 | 126743.7092 | 289601.7922 | 59.9307 | 49.4
4688 | 2022-05-17 13:50 | 37.005 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.9671 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.127 | 127060.6047 | 289590.5403 | 59.9307 | 49.4
4698 | 2022-05-17 13:50 | 37.338 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.0799 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.166 | 127314.7518 | 289589.4042 | 59.9307 | 49.4
4708 | 2022-05-17 13:51 | 37.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.9211 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.173 | 127345.9396 | 289592.7896 | 59.9307 | 49.4
4718 | 2022-05-17 13:51 | 38.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.8304 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.177 | 127354.605 | 289585.6736 | 59.9307 | 49.4
4728 | 2022-05-17 13:51 | 38.3377 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.9725 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.173 | 127352.5263 | 289568.3877 | 59.9307 | 49.4
4738 | 2022-05-17 13:52 | 38.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.3525 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.154 | 127197.2881 | 289563.8087 | 59.9307 | 49.4
4748 | 2022-05-17 13:52 | 39.005 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0871 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.124 | 127048.5498 | 289565.2222 | 59.9307 | 49.4
4758 | 2022-05-17 13:52 | 39.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.2012 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.119 | 126985.9463 | 289552.5515 | 59.9307 | 49.4
4768 | 2022-05-17 13:53 | 39.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.9838 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.124 | 127007.3315 | 289546.8785 | 59.9307 | 49.4
4778 | 2022-05-17 13:53 | 40.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0583 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.123 | 127009.4333 | 289531.3674 | 59.9307 | 49.4
4788 | 2022-05-17 13:53 | 40.3378 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0643 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.125 | 127016.8672 | 289538.0554 | 59.9307 | 49.4
4798 | 2022-05-17 13:54 | 40.6719 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0127 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.125 | 127014.6506 | 289525.78 | 59.9307 | 49.4
4808 | 2022-05-17 13:54 | 41.0048 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0415 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.126 | 126997.1427 | 289515.3222 | 59.9307 | 49.4
4818 | 2022-05-17 13:54 | 41.3386 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0066 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.123 | 126985.3737 | 289499.6527 | 59.9307 | 49.4
4828 | 2022-05-17 13:55 | 41.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0066 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.123 | 126956.9762 | 289497.8126 | 59.9307 | 49.4
4838 | 2022-05-17 13:55 | 42.0044 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.224 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.118 | 126938.4146 | 289473.1398 | 59.9307 | 49.4
4848 | 2022-05-17 13:55 | 42.3379 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.3153 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.114 | 126905.3187 | 289477.5457 | 59.9307 | 49.4
4858 | 2022-05-17 13:56 | 42.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.4691 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.105 | 126858.5022 | 289456.5871 | 59.9307 | 49.4
4868 | 2022-05-17 13:56 | 43.0052 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.6351 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.1 | 126822.0035 | 289457.4207 | 59.9307 | 49.4
4878 | 2022-05-17 13:56 | 43.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.6519 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.097 | 126786.2162 | 289453.1429 | 59.9307 | 49.4
4888 | 2022-05-17 13:57 | 43.6718 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.812 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.09 | 126753.259 | 289464.4205 | 59.9307 | 49.4
4898 | 2022-05-17 13:57 | 44.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.8867 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.089 | 126710.6651 | 289443.6386 | 59.9307 | 49.4
4908 | 2022-05-17 13:57 | 44.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.806 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.088 | 126691.9217 | 289432.5499 | 59.9307 | 49.4
4918 | 2022-05-17 13:58 | 44.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.8517 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.086 | 126671.7659 | 289426.8407 | 59.9307 | 49.4
4928 | 2022-05-17 13:58 | 45.0048 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.8975 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.084 | 126648.6492 | 289411.8667 | 59.9307 | 49.4
4938 | 2022-05-17 13:58 | 45.3379 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.9722 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.083 | 126633.3371 | 289412.4362 | 59.9307 | 49.4
4948 | 2022-05-17 13:59 | 45.6712 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.9662 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.081 | 126618.3024 | 289403.8088 | 59.9307 | 49.4
4958 | 2022-05-17 13:59 | 46.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.018 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.081 | 126607.3592 | 289386.1034 | 59.9307 | 49.4
4968 | 2022-05-17 13:59 | 46.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.9722 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.083 | 126621.3417 | 289382.1543 | 59.9307 | 49.4
4978 | 2022-05-17 14:00 | 46.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.7662 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.092 | 126680.0624 | 289378.062 | 59.9307 | 49.4
4988 | 2022-05-17 14:00 | 47.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.3777 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.109 | 126757.9676 | 289391.5234 | 59.9307 | 49.4
4998 | 2022-05-17 14:00 | 47.3379 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0978 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.119 | 126833.1768 | 289370.0397 | 59.9307 | 49.4
5008 | 2022-05-17 14:01 | 47.6713 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.9671 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.127 | 126893.8712 | 289356.3673 | 59.9307 | 49.4
5018 | 2022-05-17 14:01 | 48.0051 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7788 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.133 | 126906.8129 | 289352.5116 | 59.9307 | 49.4
5028 | 2022-05-17 14:01 | 48.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7848 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.135 | 126918.3106 | 289335.9787 | 59.9307 | 49.4
5038 | 2022-05-17 14:02 | 48.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.756 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.134 | 126915.072 | 289340.0752 | 59.9307 | 49.4
5048 | 2022-05-17 14:02 | 49.0048 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8531 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.132 | 126887.3489 | 289328.8698 | 59.9307 | 49.4
5058 | 2022-05-17 14:02 | 49.338 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7332 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.135 | 126891.941 | 289337.7436 | 59.9307 | 49.4
5068 | 2022-05-17 14:03 | 49.6712 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7788 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.133 | 126879.2705 | 289338.7856 | 59.9307 | 49.4
5078 | 2022-05-17 14:03 | 50.0045 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7788 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.133 | 126870.8764 | 289329.1733 | 59.9307 | 49.4
5088 | 2022-05-17 14:03 | 50.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.756 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.134 | 126860.811 | 289328.1803 | 59.9307 | 49.4
5098 | 2022-05-17 14:04 | 50.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7104 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.136 | 126854.7992 | 289303.4097 | 59.9307 | 49.4
5108 | 2022-05-17 14:04 | 51.0046 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.6816 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.135 | 126848.1376 | 289304.1393 | 59.9307 | 49.4
5118 | 2022-05-17 14:04 | 51.3385 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.6361 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.137 | 126840.54 | 289302.9408 | 59.9307 | 49.4
5128 | 2022-05-17 14:05 | 51.6714 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.6649 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.138 | 126843.8455 | 289286.0914 | 59.9307 | 49.4
5138 | 2022-05-17 14:05 | 52.0045 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.6134 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.138 | 126843.7844 | 289294.0413 | 59.9307 | 49.4
5148 | 2022-05-17 14:05 | 52.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7848 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.135 | 126825.8581 | 289276.5201 | 59.9307 | 49.4
5158 | 2022-05-17 14:06 | 52.6711 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7848 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.135 | 126813.5101 | 289290.771 | 59.9307 | 49.4
5168 | 2022-05-17 14:06 | 53.0047 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8304 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.133 | 126801.5627 | 289275.6558 | 59.9307 | 49.4
5178 | 2022-05-17 14:06 | 53.3383 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8015 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.132 | 126780.53 | 289273.832 | 59.9307 | 49.4
5188 | 2022-05-17 14:07 | 53.6717 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8927 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.128 | 126747.7569 | 289258.3824 | 59.9307 | 49.4
5198 | 2022-05-17 14:07 | 54.0048 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8471 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.13 | 126740.704 | 289265.5185 | 59.9307 | 49.4
5208 | 2022-05-17 14:07 | 54.3381 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.9838 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.124 | 126733.0979 | 289268.218 | 59.9307 | 49.4
5218 | 2022-05-17 14:08 | 54.6719 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.1039 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.121 | 126704.1161 | 289269.3393 | 59.9307 | 49.4
5228 | 2022-05-17 14:08 | 55.0052 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0918 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.117 | 126679.013 | 289250.3671 | 59.9307 | 49.4
5238 | 2022-05-17 14:08 | 55.3384 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.1891 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.115 | 126675.0427 | 289241.3804 | 59.9307 | 49.4
5248 | 2022-05-17 14:09 | 55.6711 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.955 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.123 | 126687.4502 | 289244.2371 | 59.9307 | 49.4
5258 | 2022-05-17 14:09 | 56.0048 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.8638 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.127 | 126722.5769 | 289217.2324 | 59.9307 | 49.4
5268 | 2022-05-17 14:09 | 56.3382 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.5451 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.141 | 126790.5384 | 289214.2242 | 59.9307 | 49.4
5278 | 2022-05-17 14:10 | 56.6715 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.2722 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.153 | 126860.7034 | 289226.1752 | 59.9307 | 49.4