## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1551 | 2022-05-17 11:44 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.9629 | μmol/L | 18.0859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.305 | 112097.1586 | 269462.323 | 32.55 | 27.7
1561 | 2022-05-17 11:44 | 0.34011 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.3983 | μmol/L | 18.0859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.328 | 112246.5603 | 269455.6944 | 32.55 | 27.7
1571 | 2022-05-17 11:44 | 0.67352 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8296 | μmol/L | 18.092 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.349 | 112331.9771 | 269437.1106 | 32.55 | 27.7
1581 | 2022-05-17 11:45 | 1.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.664 | μmol/L | 18.0859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.358 | 112388.0947 | 269429.2133 | 32.55 | 27.7
1591 | 2022-05-17 11:45 | 1.3406 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4741 | μmol/L | 18.0797 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.368 | 112415.453 | 269422.625 | 32.55 | 27.7
1601 | 2022-05-17 11:45 | 1.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4985 | μmol/L | 18.0797 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.367 | 112430.2022 | 269411.6643 | 32.55 | 27.7
1611 | 2022-05-17 11:46 | 2.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0051 | μmol/L | 18.0859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.385 | 112494.1962 | 269394.9239 | 32.55 | 27.7
1621 | 2022-05-17 11:46 | 2.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8945 | μmol/L | 18.0736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.394 | 112559.5698 | 269379.5271 | 32.55 | 27.7
1631 | 2022-05-17 11:46 | 2.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7728 | μmol/L | 18.0736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 112577.2565 | 269364.2976 | 32.55 | 27.7
1641 | 2022-05-17 11:47 | 3.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7971 | μmol/L | 18.0736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.398 | 112564.958 | 269356.2903 | 32.55 | 27.7
1651 | 2022-05-17 11:47 | 3.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8458 | μmol/L | 18.0736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.396 | 112554.2777 | 269346.1748 | 32.55 | 27.7
1661 | 2022-05-17 11:47 | 3.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9488 | μmol/L | 18.0675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.394 | 112512.8742 | 269322.421 | 32.55 | 27.7
1671 | 2022-05-17 11:48 | 4.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1813 | μmol/L | 18.0797 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.38 | 112466.3683 | 269318.3347 | 32.55 | 27.7
1681 | 2022-05-17 11:48 | 4.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3388 | μmol/L | 18.0675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.378 | 112407.0575 | 269304.9228 | 32.55 | 27.7
1691 | 2022-05-17 11:48 | 4.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4121 | μmol/L | 18.0675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.375 | 112384.4416 | 269292.0983 | 32.55 | 27.7
1701 | 2022-05-17 11:49 | 5.0062 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5641 | μmol/L | 18.0614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.371 | 112355.0577 | 269306.5574 | 32.55 | 27.7
1711 | 2022-05-17 11:49 | 5.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.613 | μmol/L | 18.0614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.369 | 112325.9673 | 269307.1923 | 32.55 | 27.7
1721 | 2022-05-17 11:49 | 5.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8085 | μmol/L | 18.0614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.361 | 112275.6735 | 269288.7032 | 32.55 | 27.7
1731 | 2022-05-17 11:50 | 6.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.9853 | μmol/L | 18.0553 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.356 | 112238.5585 | 269281.615 | 32.55 | 27.7
1741 | 2022-05-17 11:50 | 6.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.102 | μmol/L | 18.0614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.349 | 112194.4958 | 269266.2897 | 32.55 | 27.7
1751 | 2022-05-17 11:50 | 6.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.2846 | μmol/L | 18.0492 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.346 | 112163.5351 | 269258.9135 | 32.55 | 27.7
1761 | 2022-05-17 11:51 | 7.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.3581 | μmol/L | 18.0492 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.343 | 112127.1607 | 269261.2929 | 32.55 | 27.7
1771 | 2022-05-17 11:51 | 7.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.5052 | μmol/L | 18.0492 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.337 | 112099.2993 | 269250.5039 | 32.55 | 27.7
1781 | 2022-05-17 11:51 | 7.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.5654 | μmol/L | 18.0369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.339 | 112069.8497 | 269233.2747 | 32.55 | 27.7
1791 | 2022-05-17 11:52 | 8.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.8108 | μmol/L | 18.0369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.329 | 112068.3388 | 269223.3699 | 32.55 | 27.7
1801 | 2022-05-17 11:52 | 8.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.7371 | μmol/L | 18.0369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.332 | 112069.5955 | 269242.8473 | 32.55 | 27.7
1811 | 2022-05-17 11:52 | 8.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.5465 | μmol/L | 18.0308 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.342 | 112101.7055 | 269237.6176 | 32.55 | 27.7
1821 | 2022-05-17 11:53 | 9.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.9587 | μmol/L | 18.0308 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.366 | 112216.9544 | 269221.6672 | 32.55 | 27.7
1831 | 2022-05-17 11:53 | 9.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4401 | μmol/L | 18.0369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.385 | 112361.7073 | 269216.8808 | 32.55 | 27.7
1841 | 2022-05-17 11:53 | 9.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8608 | μmol/L | 18.0308 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.411 | 112462.7838 | 269207.2483 | 32.55 | 27.7
1851 | 2022-05-17 11:54 | 10.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4344 | μmol/L | 18.0186 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.433 | 112594.3845 | 269204.4252 | 32.55 | 27.7
1861 | 2022-05-17 11:54 | 10.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.9491 | μmol/L | 18.0186 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.453 | 112708.157 | 269192.9438 | 32.55 | 27.7
1871 | 2022-05-17 11:54 | 10.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.526 | μmol/L | 18.0308 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.466 | 112782.3115 | 269176.1086 | 32.55 | 27.7
1881 | 2022-05-17 11:55 | 11.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2416 | μmol/L | 18.0247 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.48 | 112780.6351 | 269182.4581 | 32.55 | 27.7
1891 | 2022-05-17 11:55 | 11.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.8978 | μmol/L | 18.0308 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 112850.9651 | 269174.3694 | 32.55 | 27.7
1901 | 2022-05-17 11:55 | 11.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1751 | μmol/L | 18.0308 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.522 | 113017.5062 | 269165.7286 | 32.55 | 27.7
1911 | 2022-05-17 11:56 | 12.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.4604 | μmol/L | 18.0247 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 113193.4629 | 269153.7261 | 32.55 | 27.7
1921 | 2022-05-17 11:56 | 12.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9212 | μmol/L | 18.0125 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.581 | 113330.7957 | 269142.0687 | 32.55 | 27.7
1931 | 2022-05-17 11:56 | 12.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.3718 | μmol/L | 18.0125 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.604 | 113455.7141 | 269127.4617 | 32.55 | 27.7
1941 | 2022-05-17 11:57 | 13.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9248 | μmol/L | 18.0064 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.625 | 113569.3855 | 269138.5319 | 32.55 | 27.7
1951 | 2022-05-17 11:57 | 13.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.455 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.647 | 113686.3549 | 269134.2234 | 32.55 | 27.7
1961 | 2022-05-17 11:57 | 13.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8382 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 113834.9915 | 269134.156 | 32.55 | 27.7
1971 | 2022-05-17 11:58 | 14.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.501 | μmol/L | 18.0064 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.685 | 113919.1407 | 269109.979 | 32.55 | 27.7
1981 | 2022-05-17 11:58 | 14.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.2823 | μmol/L | 18.0125 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.692 | 113934.7373 | 269105.1967 | 32.55 | 27.7
1991 | 2022-05-17 11:58 | 14.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5425 | μmol/L | 18.0125 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.681 | 113883.7882 | 269116.6677 | 32.55 | 27.7
2001 | 2022-05-17 11:59 | 15.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8029 | μmol/L | 18.0125 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.67 | 113806.2722 | 269117.5819 | 32.55 | 27.7
2011 | 2022-05-17 11:59 | 15.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9451 | μmol/L | 18.0125 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.664 | 113771.1447 | 269117.5092 | 32.55 | 27.7
2021 | 2022-05-17 11:59 | 15.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.022 | μmol/L | 18.0064 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.663 | 113758.6769 | 269113.4564 | 32.55 | 27.7
2031 | 2022-05-17 12:00 | 16.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.022 | μmol/L | 18.0064 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.663 | 113735.821 | 269094.0651 | 32.55 | 27.7
2041 | 2022-05-17 12:00 | 16.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.099 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.662 | 113718.7828 | 269100.808 | 32.55 | 27.7
2051 | 2022-05-17 12:00 | 16.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3658 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.653 | 113686.2191 | 269102.8002 | 32.55 | 27.7
2061 | 2022-05-17 12:01 | 17.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6214 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.64 | 113613.3525 | 269104.8998 | 32.55 | 27.7
2071 | 2022-05-17 12:01 | 17.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7107 | μmol/L | 18.0064 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.634 | 113541.3777 | 269106.1029 | 32.55 | 27.7
2081 | 2022-05-17 12:01 | 17.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.0793 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.623 | 113499.0207 | 269090.3834 | 32.55 | 27.7
2091 | 2022-05-17 12:02 | 18.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2461 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.616 | 113451.0588 | 269074.8472 | 32.55 | 27.7
2101 | 2022-05-17 12:02 | 18.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1927 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.616 | 113434.796 | 269072.4491 | 32.55 | 27.7
2111 | 2022-05-17 12:02 | 18.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.3357 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.61 | 113411.0299 | 269075.4242 | 32.55 | 27.7
2121 | 2022-05-17 12:03 | 19.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.5505 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.601 | 113347.2514 | 269060.9623 | 32.55 | 27.7
2131 | 2022-05-17 12:03 | 19.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.106 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.58 | 113247.2982 | 269070.4623 | 32.55 | 27.7
2141 | 2022-05-17 12:03 | 19.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.705 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 113067.9866 | 269061.7047 | 32.55 | 27.7
2151 | 2022-05-17 12:04 | 20.0066 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1797 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 112929.8359 | 269058.8515 | 32.55 | 27.7
2161 | 2022-05-17 12:04 | 20.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7334 | μmol/L | 18.0003 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 112800.8252 | 269040.6268 | 32.55 | 27.7
2171 | 2022-05-17 12:04 | 20.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7392 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 112821.0361 | 269051.8811 | 32.55 | 27.7
2181 | 2022-05-17 12:05 | 21.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1614 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.536 | 112935.8162 | 269040.9951 | 32.55 | 27.7
2191 | 2022-05-17 12:05 | 21.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.9451 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.545 | 112981.9072 | 269031.6964 | 32.55 | 27.7
2201 | 2022-05-17 12:05 | 21.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.5669 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.563 | 113085.3205 | 269028.2193 | 32.55 | 27.7
2211 | 2022-05-17 12:06 | 22.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1778 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.577 | 113174.4991 | 269016.3396 | 32.55 | 27.7
2221 | 2022-05-17 12:06 | 22.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1804 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.621 | 113398.6204 | 269016.2979 | 32.55 | 27.7
2231 | 2022-05-17 12:06 | 22.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.2471 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.658 | 113624.7694 | 269020.8645 | 32.55 | 27.7
2241 | 2022-05-17 12:07 | 23.0066 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3658 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.653 | 113573.7316 | 269015.2942 | 32.55 | 27.7
2251 | 2022-05-17 12:07 | 23.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4371 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.65 | 113546.7569 | 269003.2147 | 32.55 | 27.7
2261 | 2022-05-17 12:07 | 23.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5855 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 113524.8148 | 269004.7563 | 32.55 | 27.7
2271 | 2022-05-17 12:08 | 24.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5855 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 113518.7228 | 269008.7702 | 32.55 | 27.7
2281 | 2022-05-17 12:08 | 24.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6509 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.641 | 113503.8732 | 269007.9757 | 32.55 | 27.7
2291 | 2022-05-17 12:08 | 24.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6092 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.645 | 113510.3154 | 268996.169 | 32.55 | 27.7
2301 | 2022-05-17 12:09 | 25.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5083 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.647 | 113522.2764 | 269003.5603 | 32.55 | 27.7
2311 | 2022-05-17 12:09 | 25.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5913 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 113515.3886 | 269009.3249 | 32.55 | 27.7
2321 | 2022-05-17 12:09 | 25.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.4962 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.652 | 113561.7034 | 269018.8404 | 32.55 | 27.7
2331 | 2022-05-17 12:10 | 26.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3537 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.658 | 113597.2386 | 269010.0677 | 32.55 | 27.7
2341 | 2022-05-17 12:10 | 26.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1639 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.666 | 113641.4615 | 269007.0124 | 32.55 | 27.7
2351 | 2022-05-17 12:10 | 26.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7078 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.683 | 113710.758 | 269013.792 | 32.55 | 27.7
2361 | 2022-05-17 12:11 | 27.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.4948 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.692 | 113764.4369 | 269028.806 | 32.55 | 27.7
2371 | 2022-05-17 12:11 | 27.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5953 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.69 | 113787.4286 | 269018.9465 | 32.55 | 27.7
2381 | 2022-05-17 12:11 | 27.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.3588 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.7 | 113826.4889 | 269014.7044 | 32.55 | 27.7
2391 | 2022-05-17 12:12 | 28.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1521 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.711 | 113880.1833 | 269018.2208 | 32.55 | 27.7
2401 | 2022-05-17 12:12 | 28.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.0576 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.715 | 113933.9183 | 269018.84 | 32.55 | 27.7
2411 | 2022-05-17 12:12 | 28.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.9161 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.721 | 113954.591 | 269021.0814 | 32.55 | 27.7
2421 | 2022-05-17 12:13 | 29.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.9161 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.721 | 113972.7451 | 269028.9619 | 32.55 | 27.7
2431 | 2022-05-17 12:13 | 29.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6332 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.733 | 113998.4513 | 269021.3463 | 32.55 | 27.7
2441 | 2022-05-17 12:13 | 29.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.7569 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.73 | 114011.0316 | 269029.3838 | 32.55 | 27.7
2451 | 2022-05-17 12:14 | 30.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6803 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.731 | 114022.9475 | 269039.503 | 32.55 | 27.7
2461 | 2022-05-17 12:14 | 30.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4448 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.741 | 114059.6035 | 269034.578 | 32.55 | 27.7
2471 | 2022-05-17 12:14 | 30.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4036 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.745 | 114100.8306 | 269031.1124 | 32.55 | 27.7
2481 | 2022-05-17 12:15 | 31.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3625 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.749 | 114130.0793 | 269027.8888 | 32.55 | 27.7
2491 | 2022-05-17 12:15 | 31.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.192 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.754 | 114153.0398 | 269034.0736 | 32.55 | 27.7
2501 | 2022-05-17 12:15 | 31.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3684 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.751 | 114143.266 | 269027.086 | 32.55 | 27.7
2511 | 2022-05-17 12:16 | 32.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.1803 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.759 | 114166.0925 | 269022.859 | 32.55 | 27.7
2521 | 2022-05-17 12:16 | 32.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0334 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.763 | 114198.8649 | 269038.2617 | 32.55 | 27.7
2531 | 2022-05-17 12:16 | 32.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0158 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.766 | 114229.0189 | 269047.7794 | 32.55 | 27.7
2541 | 2022-05-17 12:17 | 33.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8514 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 114253.5995 | 269045.3718 | 32.55 | 27.7
2551 | 2022-05-17 12:17 | 33.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8573 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.775 | 114270.8393 | 269043.4342 | 32.55 | 27.7
2561 | 2022-05-17 12:17 | 33.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6872 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 114295.7931 | 269030.851 | 32.55 | 27.7
2571 | 2022-05-17 12:18 | 34.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5699 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.785 | 114327.3505 | 269024.9077 | 32.55 | 27.7
2581 | 2022-05-17 12:18 | 34.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4762 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.789 | 114360.4258 | 269048.4298 | 32.55 | 27.7
2591 | 2022-05-17 12:18 | 34.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2361 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.797 | 114383.4283 | 269030.6693 | 32.55 | 27.7
2601 | 2022-05-17 12:19 | 35.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2654 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 114417.9262 | 269026.12 | 32.55 | 27.7
2611 | 2022-05-17 12:19 | 35.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1425 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.801 | 114427.9635 | 269040.9043 | 32.55 | 27.7
2621 | 2022-05-17 12:19 | 35.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1076 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.807 | 114464.8794 | 269046.1333 | 32.55 | 27.7
2631 | 2022-05-17 12:20 | 36.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8619 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.813 | 114499.7109 | 269048.6213 | 32.55 | 27.7
2641 | 2022-05-17 12:20 | 36.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7977 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.818 | 114530.3367 | 269037.629 | 32.55 | 27.7
2651 | 2022-05-17 12:20 | 36.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7277 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.821 | 114549.7268 | 269038.9059 | 32.55 | 27.7
2661 | 2022-05-17 12:21 | 37.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7336 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.823 | 114568.0492 | 269039.5109 | 32.55 | 27.7
2671 | 2022-05-17 12:21 | 37.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5876 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.827 | 114595.2747 | 269034.3839 | 32.55 | 27.7
2681 | 2022-05-17 12:21 | 37.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4769 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.834 | 114599.5351 | 269035.0653 | 32.55 | 27.7
2691 | 2022-05-17 12:22 | 38.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4769 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.834 | 114618.1893 | 269043.7538 | 32.55 | 27.7
2701 | 2022-05-17 12:22 | 38.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2844 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.84 | 114635.0113 | 269025.8204 | 32.55 | 27.7
2711 | 2022-05-17 12:22 | 38.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4362 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.838 | 114647.9239 | 269007.3433 | 32.55 | 27.7
2721 | 2022-05-17 12:23 | 39.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3603 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.839 | 114655.2643 | 269015.5235 | 32.55 | 27.7
2731 | 2022-05-17 12:23 | 39.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4828 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.836 | 114662.9264 | 269016.5441 | 32.55 | 27.7
2741 | 2022-05-17 12:23 | 39.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3196 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.843 | 114649.4696 | 269012.0637 | 32.55 | 27.7
2751 | 2022-05-17 12:24 | 40.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4655 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.839 | 114643.29 | 269007.3109 | 32.55 | 27.7
2761 | 2022-05-17 12:24 | 40.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3196 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.843 | 114655.0226 | 269003.6436 | 32.55 | 27.7
2771 | 2022-05-17 12:24 | 40.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2497 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.846 | 114685.6963 | 268997.7769 | 32.55 | 27.7
2781 | 2022-05-17 12:25 | 41.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2031 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.848 | 114696.2196 | 268979.1398 | 32.55 | 27.7
2791 | 2022-05-17 12:25 | 41.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9823 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.862 | 114743.6367 | 268976.5781 | 32.55 | 27.7
2801 | 2022-05-17 12:25 | 41.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9417 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.866 | 114786.0472 | 268975.277 | 32.55 | 27.7
2811 | 2022-05-17 12:26 | 42.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7325 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.875 | 114809.3572 | 268963.0842 | 32.55 | 27.7
2821 | 2022-05-17 12:26 | 42.3399 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6455 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.881 | 114831.9695 | 268960.9612 | 32.55 | 27.7
2831 | 2022-05-17 12:26 | 42.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.5406 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.881 | 114846.3844 | 268956.6212 | 32.55 | 27.7
2841 | 2022-05-17 12:27 | 43.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.4709 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.884 | 114865.8285 | 268952.7055 | 32.55 | 27.7
2851 | 2022-05-17 12:27 | 43.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3257 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.888 | 114870.3832 | 268923.6609 | 32.55 | 27.7
2861 | 2022-05-17 12:27 | 43.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3549 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.889 | 114857.5725 | 268904.6874 | 32.55 | 27.7
2871 | 2022-05-17 12:28 | 44.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.2621 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.893 | 114884.145 | 268910.6261 | 32.55 | 27.7
2881 | 2022-05-17 12:28 | 44.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.1402 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.896 | 114894.5654 | 268905.146 | 32.55 | 27.7
2891 | 2022-05-17 12:28 | 44.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0706 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.899 | 114918.9688 | 268895.4271 | 32.55 | 27.7
2901 | 2022-05-17 12:29 | 45.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.8853 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.907 | 114955.9205 | 268886.2513 | 32.55 | 27.7
2911 | 2022-05-17 12:29 | 45.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.7585 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.917 | 114979.5838 | 268872.3006 | 32.55 | 27.7
2921 | 2022-05-17 12:29 | 45.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.5151 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.923 | 114999.1575 | 268871.7783 | 32.55 | 27.7
2931 | 2022-05-17 12:30 | 46.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.5905 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.922 | 115003.6712 | 268852.0555 | 32.55 | 27.7
2941 | 2022-05-17 12:30 | 46.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.5212 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.925 | 115008.4257 | 268835.9111 | 32.55 | 27.7
2951 | 2022-05-17 12:30 | 46.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.498 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 115012.2334 | 268825.3371 | 32.55 | 27.7
2961 | 2022-05-17 12:31 | 47.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.481 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.929 | 115008.5051 | 268826.5584 | 32.55 | 27.7
2971 | 2022-05-17 12:31 | 47.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.3363 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 115017.9568 | 268811.5826 | 32.55 | 27.7
2981 | 2022-05-17 12:31 | 47.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.2439 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.937 | 115032.2426 | 268798.8378 | 32.55 | 27.7
2991 | 2022-05-17 12:32 | 48.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.1577 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.943 | 115048.5876 | 268798.5993 | 32.55 | 27.7
3001 | 2022-05-17 12:32 | 48.3396 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0192 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.949 | 115044.4546 | 268777.2889 | 32.55 | 27.7
3011 | 2022-05-17 12:32 | 48.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0824 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.944 | 115040.2432 | 268765.5788 | 32.55 | 27.7
3021 | 2022-05-17 12:33 | 49.0066 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0132 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.947 | 115052.4335 | 268755.7967 | 32.55 | 27.7
3031 | 2022-05-17 12:33 | 49.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.944 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.95 | 115044.4724 | 268736.5431 | 32.55 | 27.7
3041 | 2022-05-17 12:33 | 49.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.9561 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.954 | 115067.921 | 268727.5755 | 32.55 | 27.7
3051 | 2022-05-17 12:34 | 50.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.7827 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.957 | 115058.1169 | 268708.6585 | 32.55 | 27.7
3061 | 2022-05-17 12:34 | 50.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.7827 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.957 | 115051.7244 | 268715.5584 | 32.55 | 27.7
3071 | 2022-05-17 12:34 | 50.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.8579 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.956 | 115041.2646 | 268700.9813 | 32.55 | 27.7
3081 | 2022-05-17 12:35 | 51.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.7888 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.959 | 115047.0961 | 268691.9669 | 32.55 | 27.7
3091 | 2022-05-17 12:35 | 51.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.5985 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.965 | 115055.9554 | 268677.0562 | 32.55 | 27.7
3101 | 2022-05-17 12:35 | 51.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.4834 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.97 | 115060.5248 | 268664.447 | 32.55 | 27.7
3111 | 2022-05-17 12:36 | 52.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.5415 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.972 | 115070.8842 | 268664.8289 | 32.55 | 27.7
3121 | 2022-05-17 12:36 | 52.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.5185 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.973 | 115067.3328 | 268638.2494 | 32.55 | 27.7
3131 | 2022-05-17 12:36 | 52.6729 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.3345 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.981 | 115104.1974 | 268637.1816 | 32.55 | 27.7
3141 | 2022-05-17 12:37 | 53.0066 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2196 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.986 | 115121.2025 | 268626.5923 | 32.55 | 27.7
3151 | 2022-05-17 12:37 | 53.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.0818 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.992 | 115132.2026 | 268611.5913 | 32.55 | 27.7
3161 | 2022-05-17 12:37 | 53.6736 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.9839 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.994 | 115138.2427 | 268600.2531 | 32.55 | 27.7
3171 | 2022-05-17 12:38 | 54.0063 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.0359 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.994 | 115134.1606 | 268589.9784 | 32.55 | 27.7
3181 | 2022-05-17 12:38 | 54.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.8982 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23 | 115137.9942 | 268588.0499 | 32.55 | 27.7
3191 | 2022-05-17 12:38 | 54.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.8982 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23 | 115150.1799 | 268581.2975 | 32.55 | 27.7
3201 | 2022-05-17 12:39 | 55.0068 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.7316 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.005 | 115149.2689 | 268586.0932 | 32.55 | 27.7
3211 | 2022-05-17 12:39 | 55.3403 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.7377 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.007 | 115150.1341 | 268567.1483 | 32.55 | 27.7
3221 | 2022-05-17 12:39 | 55.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.7147 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.008 | 115160.0362 | 268556.9894 | 32.55 | 27.7
3231 | 2022-05-17 12:40 | 56.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.6399 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.009 | 115161.5227 | 268564.0269 | 32.55 | 27.7
3241 | 2022-05-17 12:40 | 56.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.6918 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.009 | 115164.8333 | 268542.3909 | 32.55 | 27.7
3251 | 2022-05-17 12:40 | 56.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.4917 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.02 | 115219.8257 | 268543.6807 | 32.55 | 27.7
3261 | 2022-05-17 12:41 | 57.0066 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.2049 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.028 | 115237.1337 | 268543.0115 | 32.55 | 27.7
3271 | 2022-05-17 12:41 | 57.3401 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.2507 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.026 | 115227.5641 | 268529.6264 | 32.55 | 27.7
3281 | 2022-05-17 12:41 | 57.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.0449 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.035 | 115244.4468 | 268513.0055 | 32.55 | 27.7
3291 | 2022-05-17 12:42 | 58.0071 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.0052 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.039 | 115255.323 | 268498.9627 | 32.55 | 27.7
3301 | 2022-05-17 12:42 | 58.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.8849 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.042 | 115268.8034 | 268480.3582 | 32.55 | 27.7
3311 | 2022-05-17 12:42 | 58.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.8454 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.046 | 115299.1884 | 268480.0148 | 32.55 | 27.7
3321 | 2022-05-17 12:43 | 59.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.8225 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.047 | 115305.9541 | 268465.0035 | 32.55 | 27.7
3331 | 2022-05-17 12:43 | 59.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.7373 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.053 | 115312.8631 | 268452.7188 | 32.55 | 27.7
3341 | 2022-05-17 12:43 | 59.6732 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.5943 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.057 | 115323.1115 | 268442.9542 | 32.55 | 27.7
3351 | 2022-05-17 12:44 | 60.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.5259 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.06 | 115328.2112 | 268428.1079 | 32.55 | 27.7
3361 | 2022-05-17 12:44 | 60.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.4348 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.064 | 115331.6407 | 268417.3452 | 32.55 | 27.7
3371 | 2022-05-17 12:44 | 60.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.2298 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.073 | 115374.9511 | 268418.0663 | 32.55 | 27.7
3381 | 2022-05-17 12:45 | 61.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.2131 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.076 | 115366.4365 | 268401.6528 | 32.55 | 27.7
3391 | 2022-05-17 12:45 | 61.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.1676 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.078 | 115362.3261 | 268398.0478 | 32.55 | 27.7
3401 | 2022-05-17 12:45 | 61.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.1448 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.079 | 115352.0689 | 268393.2744 | 32.55 | 27.7
3411 | 2022-05-17 12:46 | 62.007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.2131 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.076 | 115360.1539 | 268368.1095 | 32.55 | 27.7
3421 | 2022-05-17 12:46 | 62.3397 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0827 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.084 | 115389.0457 | 268351.6122 | 32.55 | 27.7
3431 | 2022-05-17 12:46 | 62.6733 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.8946 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.09 | 115402.5954 | 268338.9825 | 32.55 | 27.7
3441 | 2022-05-17 12:47 | 63.0067 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.9235 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.091 | 115406.8538 | 268342.6448 | 32.55 | 27.7
3451 | 2022-05-17 12:47 | 63.3402 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.1054 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.083 | 115356.0626 | 268323.7789 | 32.55 | 27.7
3461 | 2022-05-17 12:47 | 63.6737 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.1448 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.079 | 115331.3437 | 268328.8307 | 32.55 | 27.7
3471 | 2022-05-17 12:48 | 64.0064 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0599 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.085 | 115340.6199 | 268321.4242 | 32.55 | 27.7
3481 | 2022-05-17 12:48 | 64.3398 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.8946 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.09 | 115369.6996 | 268301.5325 | 32.55 | 27.7
3491 | 2022-05-17 12:48 | 64.6734 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.7871 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.097 | 115401.6175 | 268301.8989 | 32.55 | 27.7
3501 | 2022-05-17 12:49 | 65.0069 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5993 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.103 | 115423.1443 | 268287.903 | 32.55 | 27.7
3511 | 2022-05-17 12:49 | 65.3404 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5435 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.11 | 115451.2197 | 268277.4122 | 32.55 | 27.7
3521 | 2022-05-17 12:49 | 65.6731 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.3724 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.113 | 115478.4204 | 268264.9099 | 32.55 | 27.7
3531 | 2022-05-17 12:50 | 66.0065 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.3497 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.114 | 115468.7279 | 268269.5807 | 32.55 | 27.7
3541 | 2022-05-17 12:50 | 66.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.3044 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.116 | 115474.7241 | 268256.4071 | 32.55 | 27.7
3551 | 2022-05-17 12:50 | 66.6735 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.2364 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.119 | 115469.6021 | 268249.534 | 32.55 | 27.7
3561 | 2022-05-17 12:51 | 67.0071 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.1684 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.122 | 115478.7457 | 268237.2527 | 32.55 | 27.7
3570 | 2022-05-17 12:51 | 67.34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.158 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.127 | 115489.6664 | 268230.2796 | 32.55 | 27.7
3574 | 2022-05-17 12:51 | 67.673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.0448 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.132 | 115497.1732 | 268205.441 | 32.55 | 27.7