## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 11:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1 | 2022-05-17 10:28 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1186 | μmol/L | 17.719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.392 | 111860.2267 | 270143.657 | 32.55 | 27.7
11 | 2022-05-17 10:28 | 0.33571 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.1432 | μmol/L | 17.719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.391 | 111830.8483 | 270120.6153 | 32.55 | 27.7
21 | 2022-05-17 10:29 | 0.66965 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.7868 | μmol/L | 17.7313 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.401 | 111851.4987 | 270093.7682 | 32.55 | 27.7
31 | 2022-05-17 10:29 | 1.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9157 | μmol/L | 17.7251 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.398 | 111847.2001 | 270052.2829 | 32.55 | 27.7
41 | 2022-05-17 10:29 | 1.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.7741 | μmol/L | 17.719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.406 | 111845.643 | 270038.977 | 32.55 | 27.7
51 | 2022-05-17 10:30 | 1.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.6452 | μmol/L | 17.7251 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.409 | 111860.1229 | 270021.4593 | 32.55 | 27.7
61 | 2022-05-17 10:30 | 2.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.5164 | μmol/L | 17.7313 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.412 | 111881.7308 | 270000.7404 | 32.55 | 27.7
71 | 2022-05-17 10:30 | 2.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.265 | μmol/L | 17.7374 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.42 | 111903.8721 | 269996.9026 | 32.55 | 27.7
81 | 2022-05-17 10:31 | 2.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.1854 | μmol/L | 17.7435 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.421 | 111906.8708 | 269984.3931 | 32.55 | 27.7
91 | 2022-05-17 10:31 | 3.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.2345 | μmol/L | 17.7435 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.419 | 111899.3425 | 269970.2998 | 32.55 | 27.7
101 | 2022-05-17 10:31 | 3.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.1118 | μmol/L | 17.7435 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 111904.5966 | 269953.5855 | 32.55 | 27.7
111 | 2022-05-17 10:32 | 3.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.8304 | μmol/L | 17.7557 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.431 | 111909.9771 | 269935.5943 | 32.55 | 27.7
121 | 2022-05-17 10:32 | 4.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.7569 | μmol/L | 17.7557 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.434 | 111927.8772 | 269924.3617 | 32.55 | 27.7
131 | 2022-05-17 10:32 | 4.3365 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.6286 | μmol/L | 17.7618 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.437 | 111941.7889 | 269922.3739 | 32.55 | 27.7
141 | 2022-05-17 10:33 | 4.669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.4758 | μmol/L | 17.7679 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.441 | 111938.3024 | 269904.7261 | 32.55 | 27.7
151 | 2022-05-17 10:33 | 5.0023 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.2802 | μmol/L | 17.7679 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.449 | 111974.4116 | 269887.1614 | 32.55 | 27.7
161 | 2022-05-17 10:33 | 5.336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.073 | μmol/L | 17.7802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.453 | 111979.5109 | 269887.6338 | 32.55 | 27.7
171 | 2022-05-17 10:34 | 5.6693 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.0123 | μmol/L | 17.7924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.451 | 111983.0541 | 269887.0035 | 32.55 | 27.7
181 | 2022-05-17 10:34 | 6.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.9879 | μmol/L | 17.7924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.452 | 111992.2705 | 269863.9543 | 32.55 | 27.7
191 | 2022-05-17 10:34 | 6.336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8171 | μmol/L | 17.7924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.459 | 111993.45 | 269855.5436 | 32.55 | 27.7
201 | 2022-05-17 10:35 | 6.6694 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8356 | μmol/L | 17.7985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.456 | 112006.4082 | 269863.2181 | 32.55 | 27.7
211 | 2022-05-17 10:35 | 7.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.7262 | μmol/L | 17.8107 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.456 | 111984.9142 | 269842.84 | 32.55 | 27.7
221 | 2022-05-17 10:35 | 7.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8415 | μmol/L | 17.7924 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.458 | 111996.0275 | 269832.4014 | 32.55 | 27.7
231 | 2022-05-17 10:36 | 7.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.6892 | μmol/L | 17.7985 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.462 | 112008.754 | 269827.0264 | 32.55 | 27.7
241 | 2022-05-17 10:36 | 8.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5497 | μmol/L | 17.8168 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.461 | 112001.7039 | 269822.672 | 32.55 | 27.7
251 | 2022-05-17 10:36 | 8.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5799 | μmol/L | 17.8107 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.462 | 112001.4796 | 269819.7002 | 32.55 | 27.7
261 | 2022-05-17 10:37 | 8.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4766 | μmol/L | 17.8168 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.464 | 111999.3101 | 269790.4438 | 32.55 | 27.7
271 | 2022-05-17 10:37 | 9.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3245 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.468 | 112004.1097 | 269778.8354 | 32.55 | 27.7
281 | 2022-05-17 10:37 | 9.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1726 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.472 | 112011.1683 | 269778.792 | 32.55 | 27.7
291 | 2022-05-17 10:38 | 9.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1483 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.473 | 112012.5253 | 269787.5138 | 32.55 | 27.7
301 | 2022-05-17 10:38 | 10.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0694 | μmol/L | 17.8352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.474 | 112026.8586 | 269771.6286 | 32.55 | 27.7
311 | 2022-05-17 10:38 | 10.3361 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.942 | μmol/L | 17.8413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.477 | 112047.4299 | 269763.1965 | 32.55 | 27.7
321 | 2022-05-17 10:39 | 10.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9906 | μmol/L | 17.8413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.475 | 112040.0957 | 269757.5523 | 32.55 | 27.7
331 | 2022-05-17 10:39 | 11.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7962 | μmol/L | 17.8413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 112047.2771 | 269734.1849 | 32.55 | 27.7
341 | 2022-05-17 10:39 | 11.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9294 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 112057.3749 | 269740.2113 | 32.55 | 27.7
351 | 2022-05-17 10:40 | 11.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9353 | μmol/L | 17.823 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.484 | 112063.5847 | 269726.3347 | 32.55 | 27.7
361 | 2022-05-17 10:40 | 12.0024 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6622 | μmol/L | 17.8291 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.493 | 112071.0253 | 269735.0325 | 32.55 | 27.7
371 | 2022-05-17 10:40 | 12.3365 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.632 | μmol/L | 17.8352 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 112103.8416 | 269727.6929 | 32.55 | 27.7
381 | 2022-05-17 10:41 | 12.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3233 | μmol/L | 17.8535 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.498 | 112111.0685 | 269717.1814 | 32.55 | 27.7
391 | 2022-05-17 10:41 | 13.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3776 | μmol/L | 17.8474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.498 | 112141.5242 | 269712.515 | 32.55 | 27.7
401 | 2022-05-17 10:41 | 13.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.335 | μmol/L | 17.8413 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.502 | 112138.7153 | 269708.716 | 32.55 | 27.7
411 | 2022-05-17 10:42 | 13.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.2564 | μmol/L | 17.8474 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.503 | 112164.6748 | 269711.9628 | 32.55 | 27.7
421 | 2022-05-17 10:42 | 14.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7787 | μmol/L | 17.8658 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 112214.3781 | 269698.9323 | 32.55 | 27.7
431 | 2022-05-17 10:42 | 14.3361 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7245 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.516 | 112231.2356 | 269703.8665 | 32.55 | 27.7
441 | 2022-05-17 10:43 | 14.6696 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4886 | μmol/L | 17.8658 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.528 | 112260.4511 | 269682.036 | 32.55 | 27.7
451 | 2022-05-17 10:43 | 15.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4344 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.528 | 112270.7673 | 269672.5988 | 32.55 | 27.7
461 | 2022-05-17 10:43 | 15.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3137 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 112283.2741 | 269674.1937 | 32.55 | 27.7
471 | 2022-05-17 10:44 | 15.6691 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.1024 | μmol/L | 17.8658 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.544 | 112311.4103 | 269669.2961 | 32.55 | 27.7
481 | 2022-05-17 10:44 | 16.0024 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.0965 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 112318.221 | 269663.084 | 32.55 | 27.7
491 | 2022-05-17 10:44 | 16.3359 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.0965 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 112327.7549 | 269672.5376 | 32.55 | 27.7
501 | 2022-05-17 10:45 | 16.6693 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.9095 | μmol/L | 17.8658 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.552 | 112357.9933 | 269660.4836 | 32.55 | 27.7
511 | 2022-05-17 10:45 | 17.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.543 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 112375.8143 | 269646.9171 | 32.55 | 27.7
521 | 2022-05-17 10:45 | 17.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.5007 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.56 | 112392.9729 | 269641.1592 | 32.55 | 27.7
531 | 2022-05-17 10:46 | 17.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.5007 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.56 | 112411.7635 | 269650.2887 | 32.55 | 27.7
541 | 2022-05-17 10:46 | 18.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4943 | μmol/L | 17.8719 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.567 | 112424.6944 | 269638.5316 | 32.55 | 27.7
551 | 2022-05-17 10:46 | 18.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.5965 | μmol/L | 17.8658 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.565 | 112429.7953 | 269636.6826 | 32.55 | 27.7
561 | 2022-05-17 10:47 | 18.6696 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.4104 | μmol/L | 17.8841 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.566 | 112440.6315 | 269641.2093 | 32.55 | 27.7
571 | 2022-05-17 10:47 | 19.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1642 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.574 | 112466.5539 | 269636.5717 | 32.55 | 27.7
581 | 2022-05-17 10:47 | 19.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.05 | μmol/L | 17.8841 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.581 | 112505.9275 | 269646.3779 | 32.55 | 27.7
591 | 2022-05-17 10:48 | 19.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.8286 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.579 | 112512.3619 | 269633.0434 | 32.55 | 27.7
601 | 2022-05-17 10:48 | 20.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.954 | μmol/L | 17.8841 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.585 | 112522.4687 | 269645.8842 | 32.55 | 27.7
611 | 2022-05-17 10:48 | 20.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7742 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.588 | 112524.0855 | 269640.4414 | 32.55 | 27.7
621 | 2022-05-17 10:49 | 20.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.6245 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.592 | 112537.2533 | 269638.419 | 32.55 | 27.7
631 | 2022-05-17 10:49 | 21.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7801 | μmol/L | 17.8902 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.59 | 112554.6263 | 269634.949 | 32.55 | 27.7
641 | 2022-05-17 10:49 | 21.3361 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.6544 | μmol/L | 17.8963 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.593 | 112556.1425 | 269644.2623 | 32.55 | 27.7
651 | 2022-05-17 10:50 | 21.6694 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.5467 | μmol/L | 17.9085 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.593 | 112573.0519 | 269631.5472 | 32.55 | 27.7
661 | 2022-05-17 10:50 | 22.0027 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.3434 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.597 | 112581.2687 | 269632.4576 | 32.55 | 27.7
671 | 2022-05-17 10:50 | 22.3361 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.445 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.595 | 112579.8758 | 269623.3254 | 32.55 | 27.7
681 | 2022-05-17 10:51 | 22.6696 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.3493 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.599 | 112577.7021 | 269630.8585 | 32.55 | 27.7
691 | 2022-05-17 10:51 | 23.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.5526 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.595 | 112581.8453 | 269638.3243 | 32.55 | 27.7
701 | 2022-05-17 10:51 | 23.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.4211 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.596 | 112586.1174 | 269625.4658 | 32.55 | 27.7
711 | 2022-05-17 10:52 | 23.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.3434 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.597 | 112582.9553 | 269629.7462 | 32.55 | 27.7
721 | 2022-05-17 10:52 | 24.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.3136 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.596 | 112584.3411 | 269629.005 | 32.55 | 27.7
731 | 2022-05-17 10:52 | 24.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2897 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.597 | 112592.4565 | 269634.7333 | 32.55 | 27.7
741 | 2022-05-17 10:53 | 24.669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.385 | μmol/L | 17.9024 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.602 | 112615.4479 | 269632.921 | 32.55 | 27.7
751 | 2022-05-17 10:53 | 25.0025 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.2296 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.604 | 112615.886 | 269622.9582 | 32.55 | 27.7
761 | 2022-05-17 10:53 | 25.3359 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1461 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.603 | 112634.529 | 269632.1373 | 32.55 | 27.7
771 | 2022-05-17 10:54 | 25.6692 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.0802 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.608 | 112648.0828 | 269622.1142 | 32.55 | 27.7
781 | 2022-05-17 10:54 | 26.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.9309 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.612 | 112674.6154 | 269629.8947 | 32.55 | 27.7
791 | 2022-05-17 10:54 | 26.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8294 | μmol/L | 17.933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.614 | 112673.6681 | 269615.7575 | 32.55 | 27.7
801 | 2022-05-17 10:55 | 26.669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.8831 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.614 | 112691.8552 | 269609.997 | 32.55 | 27.7
811 | 2022-05-17 10:55 | 27.0024 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.6803 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.618 | 112718.7948 | 269618.9835 | 32.55 | 27.7
821 | 2022-05-17 10:55 | 27.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.5132 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.625 | 112738.7855 | 269615.5863 | 32.55 | 27.7
831 | 2022-05-17 10:56 | 27.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.5845 | μmol/L | 17.9147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.631 | 112782.6828 | 269616.668 | 32.55 | 27.7
841 | 2022-05-17 10:56 | 28.0025 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.3401 | μmol/L | 17.9208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.639 | 112810.8205 | 269602.4261 | 32.55 | 27.7
851 | 2022-05-17 10:56 | 28.3358 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2389 | μmol/L | 17.9269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.641 | 112811.5261 | 269612.7573 | 32.55 | 27.7
861 | 2022-05-17 10:57 | 28.6692 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.1557 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.64 | 112831.3345 | 269617.9106 | 32.55 | 27.7
871 | 2022-05-17 10:57 | 29.0025 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8583 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 112848.6508 | 269598.2413 | 32.55 | 27.7
881 | 2022-05-17 10:57 | 29.336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.87 | μmol/L | 17.9391 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.652 | 112873.8536 | 269600.4997 | 32.55 | 27.7
891 | 2022-05-17 10:58 | 29.6693 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3534 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.667 | 112946.0108 | 269596.0543 | 32.55 | 27.7
901 | 2022-05-17 10:58 | 30.0027 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.2644 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 112971.6488 | 269585.9863 | 32.55 | 27.7
911 | 2022-05-17 10:58 | 30.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1458 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.678 | 112976.9497 | 269585.6313 | 32.55 | 27.7
921 | 2022-05-17 10:59 | 30.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.1636 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.675 | 112980.4904 | 269573.6276 | 32.55 | 27.7
931 | 2022-05-17 10:59 | 31.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.0688 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.679 | 113012.1329 | 269589.6393 | 32.55 | 27.7
941 | 2022-05-17 10:59 | 31.3357 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6509 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.739 | 113361.3444 | 269576.8873 | 32.55 | 27.7
951 | 2022-05-17 11:00 | 31.6693 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6214 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.738 | 113355.709 | 269594.2067 | 32.55 | 27.7
961 | 2022-05-17 11:00 | 32.0027 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.7275 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.738 | 113333.2484 | 269575.5698 | 32.55 | 27.7
971 | 2022-05-17 11:00 | 32.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.7805 | μmol/L | 17.9452 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.738 | 113366.2608 | 269578.03 | 32.55 | 27.7
981 | 2022-05-17 11:01 | 32.6698 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6509 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.739 | 113350.0286 | 269551.4325 | 32.55 | 27.7
991 | 2022-05-17 11:01 | 33.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9906 | μmol/L | 17.9513 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.812 | 113759.7382 | 269553.1628 | 32.55 | 27.7
1001 | 2022-05-17 11:01 | 33.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1659 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.8 | 113709.4875 | 269558.7526 | 32.55 | 27.7
1011 | 2022-05-17 11:02 | 33.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3591 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.794 | 113655.7302 | 269558.8914 | 32.55 | 27.7
1021 | 2022-05-17 11:02 | 34.0032 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4234 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.789 | 113627.9959 | 269557.655 | 32.55 | 27.7
1031 | 2022-05-17 11:02 | 34.336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4762 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.789 | 113599.1885 | 269546.1208 | 32.55 | 27.7
1041 | 2022-05-17 11:03 | 34.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6872 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 113578.3831 | 269551.2491 | 32.55 | 27.7
1051 | 2022-05-17 11:03 | 35.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6578 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.779 | 113570.5961 | 269546.5742 | 32.55 | 27.7
1061 | 2022-05-17 11:03 | 35.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4878 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.784 | 113566.9961 | 269525.248 | 32.55 | 27.7
1071 | 2022-05-17 11:04 | 35.6697 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7106 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.779 | 113544.5356 | 269543.8499 | 32.55 | 27.7
1081 | 2022-05-17 11:04 | 36.0031 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.605 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.779 | 113553.7103 | 269535.2067 | 32.55 | 27.7
1091 | 2022-05-17 11:04 | 36.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.781 | μmol/L | 17.9575 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.776 | 113555.8919 | 269534.889 | 32.55 | 27.7
1101 | 2022-05-17 11:05 | 36.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7047 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.777 | 113540.4922 | 269521.1654 | 32.55 | 27.7
1111 | 2022-05-17 11:05 | 37.003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6694 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.774 | 113517.7473 | 269526.8344 | 32.55 | 27.7
1121 | 2022-05-17 11:05 | 37.3358 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6929 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 113500.6947 | 269509.0536 | 32.55 | 27.7
1131 | 2022-05-17 11:06 | 37.6692 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7516 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.775 | 113511.6147 | 269508.7914 | 32.55 | 27.7
1141 | 2022-05-17 11:06 | 38.0025 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7751 | μmol/L | 17.9636 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.774 | 113520.7147 | 269505.3087 | 32.55 | 27.7
1151 | 2022-05-17 11:06 | 38.3359 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.646 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.775 | 113517.1361 | 269489.76 | 32.55 | 27.7
1161 | 2022-05-17 11:07 | 38.6692 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5815 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 113512.249 | 269494.3612 | 32.55 | 27.7
1171 | 2022-05-17 11:07 | 39.0024 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5287 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 113514.6159 | 269467.9576 | 32.55 | 27.7
1181 | 2022-05-17 11:07 | 39.3358 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6284 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.778 | 113528.7091 | 269478.2958 | 32.55 | 27.7
1191 | 2022-05-17 11:08 | 39.6693 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3822 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.784 | 113538.3817 | 269473.5563 | 32.55 | 27.7
1201 | 2022-05-17 11:08 | 40.0027 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3413 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.788 | 113558.2822 | 269462.324 | 32.55 | 27.7
1211 | 2022-05-17 11:08 | 40.3363 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2242 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.793 | 113579.6367 | 269461.592 | 32.55 | 27.7
1221 | 2022-05-17 11:09 | 40.6696 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1072 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 113586.9656 | 269469.6941 | 32.55 | 27.7
1231 | 2022-05-17 11:09 | 41.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0545 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 113590.8211 | 269427.1831 | 32.55 | 27.7
1241 | 2022-05-17 11:09 | 41.3365 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0136 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.802 | 113596.0207 | 269450.4669 | 32.55 | 27.7
1251 | 2022-05-17 11:10 | 41.6691 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9843 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.801 | 113584.7657 | 269441.9036 | 32.55 | 27.7
1261 | 2022-05-17 11:10 | 42.0026 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9784 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.799 | 113581.2529 | 269443.4439 | 32.55 | 27.7
1271 | 2022-05-17 11:10 | 42.3359 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9843 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.801 | 113589.4945 | 269436.7582 | 32.55 | 27.7
1281 | 2022-05-17 11:11 | 42.6694 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7098 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.815 | 113664.3914 | 269429.8983 | 32.55 | 27.7
1291 | 2022-05-17 11:11 | 43.0028 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1035 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.841 | 113782.5138 | 269411.2767 | 32.55 | 27.7
1301 | 2022-05-17 11:11 | 43.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.109 | μmol/L | 17.9758 | °C | 1028 | hPa | Humid | 0 | 0 | 0 | 22.841 | 113803.7759 | 269408.1314 | 32.55 | 27.7
1311 | 2022-05-17 11:12 | 43.6696 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9113 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.847 | 113801.3651 | 269397.511 | 32.55 | 27.7
1321 | 2022-05-17 11:12 | 44.0024 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.8897 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.891 | 114071.8588 | 269393.8921 | 32.55 | 27.7
1331 | 2022-05-17 11:12 | 44.3358 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.9884 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.889 | 114043.3287 | 269382.3383 | 32.55 | 27.7
1341 | 2022-05-17 11:13 | 44.6692 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.9301 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.887 | 114015.7803 | 269367.6925 | 32.55 | 27.7
1351 | 2022-05-17 11:13 | 45.0024 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.9764 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.885 | 113993.6722 | 269356.7949 | 32.55 | 27.7
1361 | 2022-05-17 11:13 | 45.3359 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.3234 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.92 | 114203.7361 | 269359.7668 | 32.55 | 27.7
1371 | 2022-05-17 11:14 | 45.6692 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.1669 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.92 | 114166.3681 | 269340.2212 | 32.55 | 27.7
1381 | 2022-05-17 11:14 | 46.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.4753 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.95 | 114356.6683 | 269327.9384 | 32.55 | 27.7
1391 | 2022-05-17 11:14 | 46.3365 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2913 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.958 | 114393.3184 | 269325.1306 | 32.55 | 27.7
1401 | 2022-05-17 11:15 | 46.669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.6254 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.948 | 114331.9091 | 269322.9346 | 32.55 | 27.7
1411 | 2022-05-17 11:15 | 47.0025 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.7636 | μmol/L | 17.9758 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.942 | 114273.4691 | 269317.6026 | 32.55 | 27.7
1421 | 2022-05-17 11:15 | 47.336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.919 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 114214.4711 | 269310.106 | 32.55 | 27.7
1431 | 2022-05-17 11:16 | 47.6694 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0574 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.927 | 114193.2728 | 269302.4107 | 32.55 | 27.7
1441 | 2022-05-17 11:16 | 48.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.5273 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.95 | 114287.5758 | 269280.5208 | 32.55 | 27.7
1451 | 2022-05-17 11:16 | 48.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.6135 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.944 | 114258.3343 | 269282.9793 | 32.55 | 27.7
1461 | 2022-05-17 11:17 | 48.6695 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.8268 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.937 | 114210.0982 | 269273.0025 | 32.55 | 27.7
1471 | 2022-05-17 11:17 | 49.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.8148 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 114185.937 | 269276.6535 | 32.55 | 27.7
1481 | 2022-05-17 11:17 | 49.3364 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.7978 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.936 | 114166.5823 | 269266.7433 | 32.55 | 27.7
1491 | 2022-05-17 11:18 | 49.6696 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0925 | μmol/L | 17.9697 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.93 | 114135.6411 | 269252.3026 | 32.55 | 27.7
1501 | 2022-05-17 11:18 | 50.0029 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0344 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.928 | 114103.8526 | 269262.9821 | 32.55 | 27.7
1511 | 2022-05-17 11:18 | 50.3362 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.9993 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.925 | 114095.4893 | 269259.9477 | 32.55 | 27.7
1521 | 2022-05-17 11:19 | 50.6694 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.9763 | μmol/L | 17.9941 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 114102.3765 | 269251.842 | 32.55 | 27.7
1531 | 2022-05-17 11:19 | 51.0026 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.896 | μmol/L | 17.9819 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.934 | 114114.1915 | 269239.8212 | 32.55 | 27.7
1541 | 2022-05-17 11:19 | 51.3361 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.8669 | μmol/L | 17.988 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.933 | 114109.9025 | 269240.4714 | 32.55 | 27.7