## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3576 | 2022-05-17 13:13 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.4208 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.689 | 116389.3125 | 268819.8815 | 26.25 | 74
3586 | 2022-05-17 13:13 | 0.34178 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.2238 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.695 | 116410.9861 | 268819.032 | 26.25 | 74
3596 | 2022-05-17 13:13 | 0.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.194 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.694 | 116424.5389 | 268801.4286 | 26.25 | 74
3606 | 2022-05-17 13:14 | 1.0084 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.2058 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 116432.4495 | 268781.2723 | 26.25 | 74
3616 | 2022-05-17 13:14 | 1.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.9554 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.704 | 116413.0702 | 268760.1265 | 26.25 | 74
3626 | 2022-05-17 13:14 | 1.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.8838 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.707 | 116434.826 | 268746.7256 | 26.25 | 74
3636 | 2022-05-17 13:15 | 2.0085 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.6931 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.715 | 116471.8649 | 268732.0609 | 26.25 | 74
3646 | 2022-05-17 13:15 | 2.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2527 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.738 | 116574.8577 | 268715.2325 | 26.25 | 74
3656 | 2022-05-17 13:15 | 2.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5761 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.762 | 116722.6306 | 268702.0128 | 26.25 | 74
3666 | 2022-05-17 13:16 | 3.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4102 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.769 | 116753.0569 | 268689.1682 | 26.25 | 74
3676 | 2022-05-17 13:16 | 3.3414 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2859 | μmol/L | 17.9863 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.772 | 116777.5667 | 268680.2402 | 26.25 | 74
3686 | 2022-05-17 13:16 | 3.6747 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1556 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.782 | 116817.0132 | 268662.9286 | 26.25 | 74
3696 | 2022-05-17 13:17 | 4.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0788 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 116829.1634 | 268638.9878 | 26.25 | 74
3706 | 2022-05-17 13:17 | 4.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1024 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.782 | 116817.687 | 268627.9623 | 26.25 | 74
3716 | 2022-05-17 13:17 | 4.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3036 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.778 | 116779.7171 | 268603.7888 | 26.25 | 74
3726 | 2022-05-17 13:18 | 5.0084 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3154 | μmol/L | 17.9802 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.773 | 116757.3825 | 268589.458 | 26.25 | 74
3736 | 2022-05-17 13:18 | 5.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.345 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.774 | 116739.247 | 268577.9313 | 26.25 | 74
3746 | 2022-05-17 13:18 | 5.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4457 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.772 | 116731.2149 | 268559.3041 | 26.25 | 74
3756 | 2022-05-17 13:19 | 6.0082 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1852 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 116766.8469 | 268545.8596 | 26.25 | 74
3766 | 2022-05-17 13:19 | 6.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.742 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.804 | 116886.5009 | 268527.7054 | 26.25 | 74
3776 | 2022-05-17 13:19 | 6.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0463 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.829 | 117041.5371 | 268520.9308 | 26.25 | 74
3786 | 2022-05-17 13:20 | 7.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.8404 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.84 | 117086.2553 | 268502.9556 | 26.25 | 74
3796 | 2022-05-17 13:20 | 7.3414 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.6758 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.847 | 117124.3123 | 268495.9814 | 26.25 | 74
3806 | 2022-05-17 13:20 | 7.6746 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.4234 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.86 | 117178.1555 | 268482.946 | 26.25 | 74
3816 | 2022-05-17 13:21 | 8.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.1768 | μmol/L | 17.9741 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.866 | 117226.3421 | 268462.4583 | 26.25 | 74
3826 | 2022-05-17 13:21 | 8.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.1653 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.871 | 117229.2348 | 268437.8707 | 26.25 | 74
3836 | 2022-05-17 13:21 | 8.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.0421 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.874 | 117235.0963 | 268430.518 | 26.25 | 74
3846 | 2022-05-17 13:22 | 9.0078 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.0949 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.874 | 117246.177 | 268406.1938 | 26.25 | 74
3856 | 2022-05-17 13:22 | 9.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.089 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.872 | 117244.4027 | 268401.5392 | 26.25 | 74
3866 | 2022-05-17 13:22 | 9.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.9249 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.879 | 117286.3592 | 268375.0718 | 26.25 | 74
3876 | 2022-05-17 13:23 | 10.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.1125 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.916 | 117486.8654 | 268356.724 | 26.25 | 74
3886 | 2022-05-17 13:23 | 10.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2679 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.95 | 117684.2127 | 268349.4682 | 26.25 | 74
3896 | 2022-05-17 13:23 | 10.6746 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9951 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.964 | 117776.4423 | 268340.2571 | 26.25 | 74
3906 | 2022-05-17 13:24 | 11.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.885 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.971 | 117803.2218 | 268331.6491 | 26.25 | 74
3916 | 2022-05-17 13:24 | 11.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6642 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.976 | 117833.5763 | 268316.5732 | 26.25 | 74
3926 | 2022-05-17 13:24 | 11.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5019 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.983 | 117868.0975 | 268307.185 | 26.25 | 74
3936 | 2022-05-17 13:25 | 12.0077 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2472 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.994 | 117925.6537 | 268309.3767 | 26.25 | 74
3946 | 2022-05-17 13:25 | 12.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2301 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.997 | 117936.9758 | 268280.5613 | 26.25 | 74
3956 | 2022-05-17 13:25 | 12.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2301 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.997 | 117925.74 | 268274.2341 | 26.25 | 74
3966 | 2022-05-17 13:26 | 13.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2704 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.993 | 117914.1 | 268268.8339 | 26.25 | 74
3976 | 2022-05-17 13:26 | 13.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4093 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.987 | 117878.552 | 268257.2819 | 26.25 | 74
3986 | 2022-05-17 13:26 | 13.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4848 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.986 | 117867.5352 | 268258.9471 | 26.25 | 74
3996 | 2022-05-17 13:27 | 14.008 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4848 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.986 | 117866.5206 | 268240.3528 | 26.25 | 74
4006 | 2022-05-17 13:27 | 14.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6007 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.981 | 117817.027 | 268216.5903 | 26.25 | 74
4016 | 2022-05-17 13:27 | 14.6744 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8498 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.968 | 117732.9593 | 268211.293 | 26.25 | 74
4026 | 2022-05-17 13:28 | 15.0078 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2912 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.949 | 117629.7954 | 268189.4012 | 26.25 | 74
4036 | 2022-05-17 13:28 | 15.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.5471 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.938 | 117537.4482 | 268179.0365 | 26.25 | 74
4046 | 2022-05-17 13:28 | 15.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7048 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.938 | 117554.0907 | 268159.64 | 26.25 | 74
4056 | 2022-05-17 13:29 | 16.0083 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.629 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.939 | 117558.5619 | 268160.4173 | 26.25 | 74
4066 | 2022-05-17 13:29 | 16.3417 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.5298 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.941 | 117554.5279 | 268150.9937 | 26.25 | 74
4076 | 2022-05-17 13:29 | 16.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2912 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.949 | 117571.4255 | 268137.3242 | 26.25 | 74
4086 | 2022-05-17 13:30 | 17.0083 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2972 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.951 | 117593.1805 | 268142.8972 | 26.25 | 74
4096 | 2022-05-17 13:30 | 17.3417 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2799 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.954 | 117649.4758 | 268132.9647 | 26.25 | 74
4106 | 2022-05-17 13:30 | 17.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0415 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.962 | 117695.1448 | 268129.0208 | 26.25 | 74
4116 | 2022-05-17 13:31 | 18.0085 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9022 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.968 | 117715.9896 | 268113.0229 | 26.25 | 74
4126 | 2022-05-17 13:31 | 18.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.879 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.969 | 117708.9634 | 268110.5549 | 26.25 | 74
4136 | 2022-05-17 13:31 | 18.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0183 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.963 | 117689.6597 | 268087.3232 | 26.25 | 74
4146 | 2022-05-17 13:32 | 19.0085 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9022 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.968 | 117692.0345 | 268097.2995 | 26.25 | 74
4156 | 2022-05-17 13:32 | 19.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9719 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.965 | 117695.087 | 268081.8834 | 26.25 | 74
4166 | 2022-05-17 13:32 | 19.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9658 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.963 | 117699.1324 | 268083.9645 | 26.25 | 74
4176 | 2022-05-17 13:33 | 20.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.9199 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.967 | 117692.2764 | 268079.1804 | 26.25 | 74
4186 | 2022-05-17 13:33 | 20.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8967 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.968 | 117716.5933 | 268050.3567 | 26.25 | 74
4196 | 2022-05-17 13:33 | 20.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6647 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.978 | 117759.5012 | 268047.1489 | 26.25 | 74
4206 | 2022-05-17 13:34 | 21.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5256 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.984 | 117802.7481 | 268044.9955 | 26.25 | 74
4216 | 2022-05-17 13:34 | 21.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.369 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.991 | 117824.9844 | 268030.9785 | 26.25 | 74
4226 | 2022-05-17 13:34 | 21.6747 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7392 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.018 | 117972.4028 | 268023.4547 | 26.25 | 74
4236 | 2022-05-17 13:35 | 22.0082 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2548 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.039 | 118119.2789 | 268017.4798 | 26.25 | 74
4246 | 2022-05-17 13:35 | 22.3417 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0706 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.047 | 118146.0064 | 268012.9218 | 26.25 | 74
4256 | 2022-05-17 13:35 | 22.6749 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0936 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.046 | 118139.0575 | 268001.6408 | 26.25 | 74
4266 | 2022-05-17 13:36 | 23.0083 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0476 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.048 | 118126.1892 | 267987.9232 | 26.25 | 74
4276 | 2022-05-17 13:36 | 23.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1457 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.046 | 118133.4065 | 267983.1297 | 26.25 | 74
4286 | 2022-05-17 13:36 | 23.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1221 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.045 | 118120.3524 | 267976.6526 | 26.25 | 74
4296 | 2022-05-17 13:37 | 24.0083 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1221 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.045 | 118127.8402 | 267966.8861 | 26.25 | 74
4306 | 2022-05-17 13:37 | 24.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0761 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.047 | 118133.0447 | 267955.1896 | 26.25 | 74
4316 | 2022-05-17 13:37 | 24.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.053 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.048 | 118143.4631 | 267953.5968 | 26.25 | 74
4326 | 2022-05-17 13:38 | 25.0084 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.938 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.053 | 118155.8231 | 267938.83 | 26.25 | 74
4336 | 2022-05-17 13:38 | 25.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.915 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.054 | 118181.7824 | 267940.8199 | 26.25 | 74
4346 | 2022-05-17 13:38 | 25.6749 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.731 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.062 | 118212.3662 | 267938.7311 | 26.25 | 74
4356 | 2022-05-17 13:39 | 26.0082 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6452 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.068 | 118248.2433 | 267930.577 | 26.25 | 74
4366 | 2022-05-17 13:39 | 26.3414 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.5932 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.068 | 118265.8401 | 267930.6632 | 26.25 | 74
4376 | 2022-05-17 13:39 | 26.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.5074 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.074 | 118260.7169 | 267929.7607 | 26.25 | 74
4386 | 2022-05-17 13:40 | 27.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.5702 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.069 | 118268.3612 | 267920.4482 | 26.25 | 74
4396 | 2022-05-17 13:40 | 27.3413 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4783 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.073 | 118261.026 | 267913.1291 | 26.25 | 74
4406 | 2022-05-17 13:40 | 27.6746 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6161 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.067 | 118253.0296 | 267903.5698 | 26.25 | 74
4416 | 2022-05-17 13:41 | 28.008 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.708 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.063 | 118227.5029 | 267894.3599 | 26.25 | 74
4426 | 2022-05-17 13:41 | 28.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6621 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.065 | 118238.8892 | 267881.0191 | 26.25 | 74
4436 | 2022-05-17 13:41 | 28.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6972 | μmol/L | 17.9497 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.068 | 118249.5044 | 267880.2482 | 26.25 | 74
4446 | 2022-05-17 13:42 | 29.0077 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.731 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.062 | 118213.4433 | 267879.7521 | 26.25 | 74
4456 | 2022-05-17 13:42 | 29.3419 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.9901 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.053 | 118188.6322 | 267862.6437 | 26.25 | 74
4466 | 2022-05-17 13:42 | 29.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.915 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.054 | 118178.2207 | 267859.7137 | 26.25 | 74
4476 | 2022-05-17 13:43 | 30.008 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.846 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.057 | 118189.8461 | 267850.8338 | 26.25 | 74
4486 | 2022-05-17 13:43 | 30.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.823 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.058 | 118200.8779 | 267838.4744 | 26.25 | 74
4496 | 2022-05-17 13:43 | 30.6752 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.8 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.059 | 118206.2092 | 267828.273 | 26.25 | 74
4506 | 2022-05-17 13:44 | 31.0083 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.777 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.06 | 118224.4571 | 267814.8753 | 26.25 | 74
4516 | 2022-05-17 13:44 | 31.3417 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.7371 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.064 | 118236.7437 | 267811.8375 | 26.25 | 74
4526 | 2022-05-17 13:44 | 31.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6621 | μmol/L | 17.9619 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.065 | 118249.9303 | 267821.7678 | 26.25 | 74
4536 | 2022-05-17 13:45 | 32.0084 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6222 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.069 | 118273.4018 | 267811.1296 | 26.25 | 74
4546 | 2022-05-17 13:45 | 32.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6911 | μmol/L | 17.9558 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.066 | 118270.6367 | 267804.6568 | 26.25 | 74
4556 | 2022-05-17 13:45 | 32.6744 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4729 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.073 | 118204.551 | 267787.6491 | 26.25 | 74
4566 | 2022-05-17 13:46 | 33.0086 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.404 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.076 | 118213.0203 | 267785.9121 | 26.25 | 74
4576 | 2022-05-17 13:46 | 33.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.3575 | μmol/L | 17.968 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.076 | 118219.6251 | 267767.9552 | 26.25 | 74
4586 | 2022-05-17 13:46 | 33.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2664 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.082 | 118234.0583 | 267776.0444 | 26.25 | 74
4596 | 2022-05-17 13:47 | 34.0077 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2664 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.082 | 118257.567 | 267763.7108 | 26.25 | 74
4606 | 2022-05-17 13:47 | 34.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2495 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.085 | 118290.5758 | 267767.6519 | 26.25 | 74
4616 | 2022-05-17 13:47 | 34.6746 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0661 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.093 | 118318.5678 | 267758.1094 | 26.25 | 74
4626 | 2022-05-17 13:48 | 35.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9974 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.096 | 118347.4201 | 267754.3717 | 26.25 | 74
4636 | 2022-05-17 13:48 | 35.3413 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.831 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.101 | 118385.1668 | 267742.5082 | 26.25 | 74
4646 | 2022-05-17 13:48 | 35.6747 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6998 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.109 | 118413.963 | 267756.3412 | 26.25 | 74
4656 | 2022-05-17 13:49 | 36.0078 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6022 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.111 | 118421.8521 | 267738.1449 | 26.25 | 74
4666 | 2022-05-17 13:49 | 36.3411 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5794 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.112 | 118439.4827 | 267721.9824 | 26.25 | 74
4676 | 2022-05-17 13:49 | 36.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5565 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.113 | 118461.5086 | 267727.65 | 26.25 | 74
4686 | 2022-05-17 13:50 | 37.0085 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5397 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.116 | 118484.1588 | 267711.5404 | 26.25 | 74
4696 | 2022-05-17 13:50 | 37.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3798 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.123 | 118510.4525 | 267717.4699 | 26.25 | 74
4706 | 2022-05-17 13:50 | 37.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3113 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.126 | 118537.2481 | 267711.0946 | 26.25 | 74
4716 | 2022-05-17 13:51 | 38.0077 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1971 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.131 | 118559.7998 | 267693.6494 | 26.25 | 74
4726 | 2022-05-17 13:51 | 38.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1226 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.132 | 118586.3382 | 267671.4518 | 26.25 | 74
4736 | 2022-05-17 13:51 | 38.6746 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1515 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.133 | 118621.4717 | 267682.4731 | 26.25 | 74
4746 | 2022-05-17 13:52 | 39.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8428 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.142 | 118641.7469 | 267668.6796 | 26.25 | 74
4756 | 2022-05-17 13:52 | 39.3413 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7806 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.147 | 118652.3217 | 267665.6741 | 26.25 | 74
4766 | 2022-05-17 13:52 | 39.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7289 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.147 | 118666.675 | 267652.9526 | 26.25 | 74
4776 | 2022-05-17 13:53 | 40.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.735 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.149 | 118673.3881 | 267644.9327 | 26.25 | 74
4786 | 2022-05-17 13:53 | 40.3414 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6667 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.152 | 118678.904 | 267642.0513 | 26.25 | 74
4796 | 2022-05-17 13:53 | 40.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6212 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.154 | 118698.6437 | 267633.604 | 26.25 | 74
4806 | 2022-05-17 13:54 | 41.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7411 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.151 | 118709.4575 | 267625.5367 | 26.25 | 74
4816 | 2022-05-17 13:54 | 41.3413 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.5984 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.155 | 118721.0791 | 267620.7413 | 26.25 | 74
4826 | 2022-05-17 13:54 | 41.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6212 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.154 | 118731.6571 | 267619.148 | 26.25 | 74
4836 | 2022-05-17 13:55 | 42.0082 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6212 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.154 | 118733.7356 | 267600.4226 | 26.25 | 74
4846 | 2022-05-17 13:55 | 42.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.5135 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.161 | 118752.3645 | 267597.1101 | 26.25 | 74
4856 | 2022-05-17 13:55 | 42.6744 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3709 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.165 | 118779.8895 | 267580.8889 | 26.25 | 74
4866 | 2022-05-17 13:56 | 43.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.28 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.169 | 118815.9123 | 267564.6523 | 26.25 | 74
4876 | 2022-05-17 13:56 | 43.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1664 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.174 | 118834.678 | 267562.3246 | 26.25 | 74
4886 | 2022-05-17 13:56 | 43.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0982 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.177 | 118853.2909 | 267557.0454 | 26.25 | 74
4896 | 2022-05-17 13:57 | 44.0082 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0816 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.18 | 118869.5304 | 267549.0825 | 26.25 | 74
4906 | 2022-05-17 13:57 | 44.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8939 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.186 | 118889.9684 | 267540.874 | 26.25 | 74
4916 | 2022-05-17 13:57 | 44.6747 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9001 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.188 | 118919.046 | 267539.0495 | 26.25 | 74
4926 | 2022-05-17 13:58 | 45.0081 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8547 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.19 | 118944.4265 | 267531.3308 | 26.25 | 74
4936 | 2022-05-17 13:58 | 45.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.7352 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.193 | 118964.6856 | 267515.8414 | 26.25 | 74
4946 | 2022-05-17 13:58 | 45.6749 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.6218 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.198 | 118985.9693 | 267519.446 | 26.25 | 74
4956 | 2022-05-17 13:59 | 46.0084 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5765 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.2 | 118993.9023 | 267494.51 | 26.25 | 74
4966 | 2022-05-17 13:59 | 46.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5539 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.201 | 118995.176 | 267479.5724 | 26.25 | 74
4976 | 2022-05-17 13:59 | 46.6748 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5826 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.202 | 119020.7284 | 267484.0557 | 26.25 | 74
4986 | 2022-05-17 14:00 | 47.008 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3892 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.206 | 119035.5936 | 267467.714 | 26.25 | 74
4996 | 2022-05-17 14:00 | 47.3415 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3892 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.206 | 119052.2417 | 267465.8638 | 26.25 | 74
5006 | 2022-05-17 14:00 | 47.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4015 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.21 | 119060.495 | 267455.3293 | 26.25 | 74
5016 | 2022-05-17 14:01 | 48.0086 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3336 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.213 | 119088.9075 | 267443.4588 | 26.25 | 74
5026 | 2022-05-17 14:01 | 48.3419 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2822 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.213 | 119103.4309 | 267438.4243 | 26.25 | 74
5036 | 2022-05-17 14:01 | 48.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2596 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.214 | 119106.3292 | 267423.9602 | 26.25 | 74
5046 | 2022-05-17 14:02 | 49.008 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1917 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.217 | 119124.8113 | 267425.15 | 26.25 | 74
5056 | 2022-05-17 14:02 | 49.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1691 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.218 | 119137.0936 | 267411.9328 | 26.25 | 74
5066 | 2022-05-17 14:02 | 49.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0787 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.222 | 119160.2462 | 267405.25 | 26.25 | 74
5076 | 2022-05-17 14:03 | 50.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0561 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.223 | 119161.8184 | 267403.5806 | 26.25 | 74
5086 | 2022-05-17 14:03 | 50.3414 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9657 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.227 | 119189.1638 | 267398.9174 | 26.25 | 74
5096 | 2022-05-17 14:03 | 50.6747 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8979 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.23 | 119196.7979 | 267383.2724 | 26.25 | 74
5106 | 2022-05-17 14:04 | 51.0078 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8076 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.234 | 119213.5774 | 267370.8684 | 26.25 | 74
5116 | 2022-05-17 14:04 | 51.3418 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6435 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.239 | 119233.0127 | 267363.4285 | 26.25 | 74
5126 | 2022-05-17 14:04 | 51.6751 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6496 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.241 | 119248.9502 | 267371.9674 | 26.25 | 74
5136 | 2022-05-17 14:05 | 52.0085 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6722 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.24 | 119264.8514 | 267362.8682 | 26.25 | 74
5146 | 2022-05-17 14:05 | 52.3417 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7173 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.238 | 119251.9034 | 267353.1342 | 26.25 | 74
5156 | 2022-05-17 14:05 | 52.6745 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6783 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.242 | 119258.6255 | 267345.1863 | 26.25 | 74
5166 | 2022-05-17 14:06 | 53.0084 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6783 | μmol/L | 17.9558 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.242 | 119274.9764 | 267345.8796 | 26.25 | 74
5176 | 2022-05-17 14:06 | 53.3413 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.6947 | μmol/L | 17.9619 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.239 | 119277.9537 | 267326.4188 | 26.25 | 74
5186 | 2022-05-17 14:06 | 53.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4569 | μmol/L | 17.9741 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.245 | 119277.7881 | 267332.5881 | 26.25 | 74
5196 | 2022-05-17 14:07 | 54.0079 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5082 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.245 | 119294.6922 | 267330.2004 | 26.25 | 74
5206 | 2022-05-17 14:07 | 54.3414 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.418 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.249 | 119313.1807 | 267321.7233 | 26.25 | 74
5216 | 2022-05-17 14:07 | 54.6749 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3893 | μmol/L | 17.9741 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.248 | 119307.8182 | 267319.3965 | 26.25 | 74
5226 | 2022-05-17 14:08 | 55.0083 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3443 | μmol/L | 17.9741 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.25 | 119322.6304 | 267309.6973 | 26.25 | 74
5236 | 2022-05-17 14:08 | 55.3416 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3955 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.25 | 119339.5743 | 267309.8752 | 26.25 | 74
5246 | 2022-05-17 14:08 | 55.675 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.2378 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.257 | 119354.1008 | 267286.3757 | 26.25 | 74
5256 | 2022-05-17 14:09 | 56.0082 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.2153 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.258 | 119368.1409 | 267292.4067 | 26.25 | 74
5266 | 2022-05-17 14:09 | 56.3412 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.2603 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.256 | 119382.3943 | 267275.4509 | 26.25 | 74
5276 | 2022-05-17 14:09 | 56.6744 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1702 | μmol/L | 17.968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 119388.6596 | 267265.4711 | 26.25 | 74