## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 14:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3579 | 2022-05-17 13:13 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5031 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.855 | 92133.8134 | 297453.935 | 30.45 | 114.2
3589 | 2022-05-17 13:13 | 0.34015 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5554 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.855 | 92128.5692 | 297445.55 | 30.45 | 114.2
3599 | 2022-05-17 13:14 | 0.67337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.4854 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.858 | 92137.9854 | 297442.1908 | 30.45 | 114.2
3609 | 2022-05-17 13:14 | 1.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3866 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.86 | 92125.8895 | 297423.3243 | 30.45 | 114.2
3619 | 2022-05-17 13:14 | 1.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.4621 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.859 | 92130.8361 | 297401.7751 | 30.45 | 114.2
3629 | 2022-05-17 13:15 | 1.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2934 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.864 | 92125.7053 | 297387.0708 | 30.45 | 114.2
3639 | 2022-05-17 13:15 | 2.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1481 | μmol/L | 17.9474 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.868 | 92121.9382 | 297359.1328 | 30.45 | 114.2
3649 | 2022-05-17 13:15 | 2.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2003 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.868 | 92122.5648 | 297356.3417 | 30.45 | 114.2
3659 | 2022-05-17 13:16 | 2.6733 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1537 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.87 | 92121.1197 | 297351.4068 | 30.45 | 114.2
3669 | 2022-05-17 13:16 | 3.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1826 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.871 | 92108.1868 | 297319.1206 | 30.45 | 114.2
3679 | 2022-05-17 13:16 | 3.3398 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1249 | μmol/L | 17.9474 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.869 | 92102.0518 | 297307.5829 | 30.45 | 114.2
3689 | 2022-05-17 13:17 | 3.6739 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2003 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.868 | 92101.8953 | 297283.1437 | 30.45 | 114.2
3699 | 2022-05-17 13:17 | 4.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.177 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.869 | 92093.4635 | 297262.7512 | 30.45 | 114.2
3709 | 2022-05-17 13:17 | 4.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1128 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.874 | 92090.1974 | 297248.5398 | 30.45 | 114.2
3719 | 2022-05-17 13:18 | 4.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0839 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.873 | 92080.1773 | 297237.9265 | 30.45 | 114.2
3729 | 2022-05-17 13:18 | 5.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0717 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.876 | 92082.7468 | 297233.2992 | 30.45 | 114.2
3739 | 2022-05-17 13:18 | 5.34 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2348 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.871 | 92067.637 | 297209.4375 | 30.45 | 114.2
3749 | 2022-05-17 13:19 | 5.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1415 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.873 | 92060.5778 | 297188.0513 | 30.45 | 114.2
3759 | 2022-05-17 13:19 | 6.0065 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0719 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.878 | 92053.324 | 297162.6259 | 30.45 | 114.2
3769 | 2022-05-17 13:19 | 6.3398 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0719 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.878 | 92043.4334 | 297148.3998 | 30.45 | 114.2
3779 | 2022-05-17 13:20 | 6.6739 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1471 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.875 | 92036.0725 | 297138.8511 | 30.45 | 114.2
3789 | 2022-05-17 13:20 | 7.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0019 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.879 | 92026.6217 | 297111.5232 | 30.45 | 114.2
3799 | 2022-05-17 13:20 | 7.3406 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0484 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.877 | 92023.9322 | 297092.2822 | 30.45 | 114.2
3809 | 2022-05-17 13:21 | 7.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8513 | μmol/L | 17.9413 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 92019.7009 | 297085.855 | 30.45 | 114.2
3819 | 2022-05-17 13:21 | 8.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9265 | μmol/L | 17.9413 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.88 | 92003.3246 | 297079.6014 | 30.45 | 114.2
3829 | 2022-05-17 13:21 | 8.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0021 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.881 | 92005.4021 | 297060.9174 | 30.45 | 114.2
3839 | 2022-05-17 13:22 | 8.6737 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0019 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.879 | 91995.1699 | 297053.9765 | 30.45 | 114.2
3849 | 2022-05-17 13:22 | 9.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0308 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.88 | 91985.6186 | 297023.6207 | 30.45 | 114.2
3859 | 2022-05-17 13:22 | 9.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0075 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.881 | 91978.8395 | 297005.0763 | 30.45 | 114.2
3869 | 2022-05-17 13:23 | 9.6735 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0486 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.879 | 91974.8529 | 296988.5882 | 30.45 | 114.2
3879 | 2022-05-17 13:23 | 10.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9089 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.883 | 91961.45 | 296980.1715 | 30.45 | 114.2
3889 | 2022-05-17 13:23 | 10.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.054 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.879 | 91956.6761 | 296959.6626 | 30.45 | 114.2
3899 | 2022-05-17 13:24 | 10.6739 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0075 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.881 | 91953.2078 | 296944.3046 | 30.45 | 114.2
3909 | 2022-05-17 13:24 | 11.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0021 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.881 | 91940.7827 | 296932.1956 | 30.45 | 114.2
3919 | 2022-05-17 13:24 | 11.3399 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.961 | μmol/L | 17.929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.883 | 91929.3505 | 296899.8333 | 30.45 | 114.2
3929 | 2022-05-17 13:25 | 11.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9089 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.883 | 91925.2463 | 296881.985 | 30.45 | 114.2
3939 | 2022-05-17 13:25 | 12.0067 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9554 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.881 | 91917.7562 | 296878.0994 | 30.45 | 114.2
3949 | 2022-05-17 13:25 | 12.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0077 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 91912.0125 | 296871.9442 | 30.45 | 114.2
3959 | 2022-05-17 13:26 | 12.6735 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9556 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 91909.1003 | 296865.7576 | 30.45 | 114.2
3969 | 2022-05-17 13:26 | 13.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9321 | μmol/L | 17.9352 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.882 | 91900.8117 | 296830.2313 | 30.45 | 114.2
3979 | 2022-05-17 13:26 | 13.3402 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9323 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91895.0634 | 296832.4182 | 30.45 | 114.2
3989 | 2022-05-17 13:27 | 13.6735 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8626 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91883.02 | 296820.1476 | 30.45 | 114.2
3999 | 2022-05-17 13:27 | 14.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8569 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91883.2615 | 296816.8488 | 30.45 | 114.2
4009 | 2022-05-17 13:27 | 14.3402 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8337 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.886 | 91874.4265 | 296800.6448 | 30.45 | 114.2
4019 | 2022-05-17 13:28 | 14.6737 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9091 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91873.7996 | 296786.3557 | 30.45 | 114.2
4029 | 2022-05-17 13:28 | 15.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8626 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91868.109 | 296794.8971 | 30.45 | 114.2
4039 | 2022-05-17 13:28 | 15.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9788 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.882 | 91866.5885 | 296774.1438 | 30.45 | 114.2
4049 | 2022-05-17 13:29 | 15.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9091 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91862.9338 | 296760.1012 | 30.45 | 114.2
4059 | 2022-05-17 13:29 | 16.0072 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9844 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91854.4812 | 296747.5799 | 30.45 | 114.2
4069 | 2022-05-17 13:29 | 16.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8393 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91851.3701 | 296742.1238 | 30.45 | 114.2
4079 | 2022-05-17 13:30 | 16.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0133 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91843.843 | 296725.0921 | 30.45 | 114.2
4089 | 2022-05-17 13:30 | 17.0064 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9844 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91841.1579 | 296728.9656 | 30.45 | 114.2
4099 | 2022-05-17 13:30 | 17.3398 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8393 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91842.279 | 296697.3086 | 30.45 | 114.2
4109 | 2022-05-17 13:31 | 17.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9323 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91821.2831 | 296696.0328 | 30.45 | 114.2
4119 | 2022-05-17 13:31 | 18.0073 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0775 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.88 | 91872.6267 | 296681.6678 | 30.45 | 114.2
4129 | 2022-05-17 13:31 | 18.3399 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8217 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.891 | 91846.0314 | 296677.3263 | 30.45 | 114.2
4139 | 2022-05-17 13:32 | 18.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9844 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91780.0376 | 296662.1543 | 30.45 | 114.2
4149 | 2022-05-17 13:32 | 19.0067 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9612 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91779.6034 | 296650.5514 | 30.45 | 114.2
4159 | 2022-05-17 13:32 | 19.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8914 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91778.6438 | 296641.8453 | 30.45 | 114.2
4169 | 2022-05-17 13:33 | 19.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9147 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91768.0654 | 296629.6908 | 30.45 | 114.2
4179 | 2022-05-17 13:33 | 20.0072 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9147 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91759.7863 | 296624.1128 | 30.45 | 114.2
4189 | 2022-05-17 13:33 | 20.3406 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9147 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91760.6792 | 296615.1262 | 30.45 | 114.2
4199 | 2022-05-17 13:34 | 20.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9612 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.885 | 91752.2883 | 296604.6572 | 30.45 | 114.2
4209 | 2022-05-17 13:34 | 21.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9147 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91750.2002 | 296602.981 | 30.45 | 114.2
4219 | 2022-05-17 13:34 | 21.3406 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9435 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91743.5744 | 296585.5591 | 30.45 | 114.2
4229 | 2022-05-17 13:35 | 21.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0366 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91737.4294 | 296569.5515 | 30.45 | 114.2
4239 | 2022-05-17 13:35 | 22.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8626 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91736.0255 | 296568.8275 | 30.45 | 114.2
4249 | 2022-05-17 13:35 | 22.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9147 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91725.9849 | 296560.7614 | 30.45 | 114.2
4259 | 2022-05-17 13:36 | 22.6733 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8626 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91725.1782 | 296556.0239 | 30.45 | 114.2
4269 | 2022-05-17 13:36 | 23.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9379 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.886 | 91718.0124 | 296545.6294 | 30.45 | 114.2
4279 | 2022-05-17 13:36 | 23.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9147 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.887 | 91715.3865 | 296523.7795 | 30.45 | 114.2
4289 | 2022-05-17 13:37 | 23.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7985 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 91703.6151 | 296527.9888 | 30.45 | 114.2
4299 | 2022-05-17 13:37 | 24.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8682 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.889 | 91696.866 | 296518.5924 | 30.45 | 114.2
4309 | 2022-05-17 13:37 | 24.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8393 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91686.1714 | 296510.5237 | 30.45 | 114.2
4319 | 2022-05-17 13:38 | 24.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9379 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.886 | 91686.9894 | 296495.5965 | 30.45 | 114.2
4329 | 2022-05-17 13:38 | 25.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9323 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.884 | 91683.8868 | 296485.5373 | 30.45 | 114.2
4339 | 2022-05-17 13:38 | 25.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8449 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 91678.938 | 296468.5903 | 30.45 | 114.2
4349 | 2022-05-17 13:39 | 25.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7752 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.893 | 91672.1 | 296476.0763 | 30.45 | 114.2
4359 | 2022-05-17 13:39 | 26.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8682 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.889 | 91669.7445 | 296454.531 | 30.45 | 114.2
4369 | 2022-05-17 13:39 | 26.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8914 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91669.0092 | 296461.3574 | 30.45 | 114.2
4379 | 2022-05-17 13:40 | 26.6734 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8914 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.888 | 91657.3337 | 296451.781 | 30.45 | 114.2
4389 | 2022-05-17 13:40 | 27.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8449 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 91655.3414 | 296444.6585 | 30.45 | 114.2
4399 | 2022-05-17 13:40 | 27.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7985 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 91647.6132 | 296431.3902 | 30.45 | 114.2
4409 | 2022-05-17 13:41 | 27.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8217 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.891 | 91645.6127 | 296409.5042 | 30.45 | 114.2
4419 | 2022-05-17 13:41 | 28.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8449 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 91647.38 | 296416.989 | 30.45 | 114.2
4429 | 2022-05-17 13:41 | 28.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8449 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 91639.7937 | 296409.6212 | 30.45 | 114.2
4439 | 2022-05-17 13:42 | 28.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8682 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.889 | 91636.3179 | 296395.8838 | 30.45 | 114.2
4449 | 2022-05-17 13:42 | 29.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8217 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.891 | 91635.7443 | 296389.9194 | 30.45 | 114.2
4459 | 2022-05-17 13:42 | 29.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8217 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.891 | 91627.751 | 296380.064 | 30.45 | 114.2
4469 | 2022-05-17 13:43 | 29.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7231 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.893 | 91623.1274 | 296366.3902 | 30.45 | 114.2
4479 | 2022-05-17 13:43 | 30.0064 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8449 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.89 | 91625.3642 | 296369.171 | 30.45 | 114.2
4489 | 2022-05-17 13:43 | 30.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7985 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 91622.0162 | 296361.8448 | 30.45 | 114.2
4499 | 2022-05-17 13:44 | 30.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7985 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 91611.7199 | 296344.3705 | 30.45 | 114.2
4509 | 2022-05-17 13:44 | 31.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.607 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.898 | 91598.2297 | 296320.4582 | 30.45 | 114.2
4519 | 2022-05-17 13:44 | 31.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7985 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 91606.1407 | 296325.2013 | 30.45 | 114.2
4529 | 2022-05-17 13:45 | 31.6739 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7288 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.895 | 91610.1607 | 296309.6345 | 30.45 | 114.2
4539 | 2022-05-17 13:45 | 32.0065 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7288 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.895 | 91613.5744 | 296315.7736 | 30.45 | 114.2
4549 | 2022-05-17 13:45 | 32.3399 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6879 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.899 | 91610.1671 | 296299.2239 | 30.45 | 114.2
4559 | 2022-05-17 13:46 | 32.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5894 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91620.1639 | 296289.1195 | 30.45 | 114.2
4569 | 2022-05-17 13:46 | 33.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8506 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 91615.8675 | 296277.0873 | 30.45 | 114.2
4579 | 2022-05-17 13:46 | 33.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.8097 | μmol/L | 17.9106 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.896 | 91609.4773 | 296273.0319 | 30.45 | 114.2
4589 | 2022-05-17 13:47 | 33.6737 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7344 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.897 | 91612.3679 | 296278.9814 | 30.45 | 114.2
4599 | 2022-05-17 13:47 | 34.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6302 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.897 | 91601.1574 | 296270.5939 | 30.45 | 114.2
4609 | 2022-05-17 13:47 | 34.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6879 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.899 | 91600.5616 | 296250.1032 | 30.45 | 114.2
4619 | 2022-05-17 13:48 | 34.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7344 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.897 | 91594.6245 | 296246.1289 | 30.45 | 114.2
4629 | 2022-05-17 13:48 | 35.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6647 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.9 | 91600.2473 | 296240.9361 | 30.45 | 114.2
4639 | 2022-05-17 13:48 | 35.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6126 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.9 | 91590.1994 | 296223.7956 | 30.45 | 114.2
4649 | 2022-05-17 13:49 | 35.6737 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91589.7975 | 296213.1982 | 30.45 | 114.2
4659 | 2022-05-17 13:49 | 36.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5142 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91593.8834 | 296215.9283 | 30.45 | 114.2
4669 | 2022-05-17 13:49 | 36.3402 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91586.1502 | 296202.5476 | 30.45 | 114.2
4679 | 2022-05-17 13:50 | 36.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5662 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91580.4589 | 296199.5182 | 30.45 | 114.2
4689 | 2022-05-17 13:50 | 37.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91581.138 | 296178.2489 | 30.45 | 114.2
4699 | 2022-05-17 13:50 | 37.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5662 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91580.4197 | 296177.0295 | 30.45 | 114.2
4709 | 2022-05-17 13:51 | 37.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4966 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91579.0265 | 296175.1519 | 30.45 | 114.2
4719 | 2022-05-17 13:51 | 38.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4214 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91574.2341 | 296179.974 | 30.45 | 114.2
4729 | 2022-05-17 13:51 | 38.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91573.5628 | 296154.9233 | 30.45 | 114.2
4739 | 2022-05-17 13:52 | 38.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4621 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91572.8186 | 296153.1081 | 30.45 | 114.2
4749 | 2022-05-17 13:52 | 39.0072 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4446 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91565.7451 | 296151.3383 | 30.45 | 114.2
4759 | 2022-05-17 13:52 | 39.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91562.9993 | 296131.0598 | 30.45 | 114.2
4769 | 2022-05-17 13:53 | 39.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5894 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91549.7479 | 296116.1815 | 30.45 | 114.2
4779 | 2022-05-17 13:53 | 40.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.491 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91554.5016 | 296120.0666 | 30.45 | 114.2
4789 | 2022-05-17 13:53 | 40.3398 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6415 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91550.2287 | 296105.9875 | 30.45 | 114.2
4799 | 2022-05-17 13:54 | 40.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5022 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 91548.9542 | 296100.1939 | 30.45 | 114.2
4809 | 2022-05-17 13:54 | 41.0071 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5662 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91538.3609 | 296091.2611 | 30.45 | 114.2
4819 | 2022-05-17 13:54 | 41.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5142 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91535.3411 | 296089.5434 | 30.45 | 114.2
4829 | 2022-05-17 13:55 | 41.6733 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5254 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91527.4123 | 296067.9877 | 30.45 | 114.2
4839 | 2022-05-17 13:55 | 42.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5374 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91530.4226 | 296057.8345 | 30.45 | 114.2
4849 | 2022-05-17 13:55 | 42.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4446 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91519.5892 | 296064.4807 | 30.45 | 114.2
4859 | 2022-05-17 13:56 | 42.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5486 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91514.3677 | 296050.1383 | 30.45 | 114.2
4869 | 2022-05-17 13:56 | 43.0072 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4389 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91512.6454 | 296035.8101 | 30.45 | 114.2
4879 | 2022-05-17 13:56 | 43.3406 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4214 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91512.9951 | 296023.5748 | 30.45 | 114.2
4889 | 2022-05-17 13:57 | 43.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5894 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91505.2458 | 296022.3643 | 30.45 | 114.2
4899 | 2022-05-17 13:57 | 44.0065 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6126 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.9 | 91491.4469 | 296005.0805 | 30.45 | 114.2
4909 | 2022-05-17 13:57 | 44.3398 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4214 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91487.7209 | 296008.0202 | 30.45 | 114.2
4919 | 2022-05-17 13:58 | 44.6734 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.491 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91487.6289 | 296004.5089 | 30.45 | 114.2
4929 | 2022-05-17 13:58 | 45.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5142 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91479.5187 | 295977.468 | 30.45 | 114.2
4939 | 2022-05-17 13:58 | 45.3402 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4678 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91470.7933 | 295985.5542 | 30.45 | 114.2
4949 | 2022-05-17 13:59 | 45.6735 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91469.5153 | 295958.543 | 30.45 | 114.2
4959 | 2022-05-17 13:59 | 46.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4446 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91460.0338 | 295953.5844 | 30.45 | 114.2
4969 | 2022-05-17 13:59 | 46.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5894 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91457.7395 | 295944.5186 | 30.45 | 114.2
4979 | 2022-05-17 14:00 | 46.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91453.5164 | 295932.8314 | 30.45 | 114.2
4989 | 2022-05-17 14:00 | 47.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91446.4535 | 295919.1436 | 30.45 | 114.2
4999 | 2022-05-17 14:00 | 47.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91443.0596 | 295909.5246 | 30.45 | 114.2
5009 | 2022-05-17 14:01 | 47.6731 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91447.4971 | 295891.8013 | 30.45 | 114.2
5019 | 2022-05-17 14:01 | 48.0064 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5606 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.9 | 91433.7881 | 295887.5014 | 30.45 | 114.2
5029 | 2022-05-17 14:01 | 48.3399 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.491 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91440.636 | 295877.8051 | 30.45 | 114.2
5039 | 2022-05-17 14:02 | 48.6734 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5254 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91437.3014 | 295870.0191 | 30.45 | 114.2
5049 | 2022-05-17 14:02 | 49.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5142 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91436.097 | 295863.3836 | 30.45 | 114.2
5059 | 2022-05-17 14:02 | 49.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6823 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.897 | 91426.9539 | 295854.2825 | 30.45 | 114.2
5069 | 2022-05-17 14:03 | 49.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4966 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91426.1308 | 295846.37 | 30.45 | 114.2
5079 | 2022-05-17 14:03 | 50.007 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5142 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 91419.7182 | 295835.5472 | 30.45 | 114.2
5089 | 2022-05-17 14:03 | 50.3403 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.491 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91419.8603 | 295821.4935 | 30.45 | 114.2
5099 | 2022-05-17 14:04 | 50.6736 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4214 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91411.6672 | 295822.8518 | 30.45 | 114.2
5109 | 2022-05-17 14:04 | 51.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5951 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91406.8625 | 295825.947 | 30.45 | 114.2
5119 | 2022-05-17 14:04 | 51.3402 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4502 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 91400.2641 | 295813.8085 | 30.45 | 114.2
5129 | 2022-05-17 14:05 | 51.6734 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5718 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91402.5689 | 295806.5833 | 30.45 | 114.2
5139 | 2022-05-17 14:05 | 52.0068 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4446 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91392.2202 | 295784.4885 | 30.45 | 114.2
5149 | 2022-05-17 14:05 | 52.34 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4446 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91395.8344 | 295796.3758 | 30.45 | 114.2
5159 | 2022-05-17 14:06 | 52.6737 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.543 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91384.9497 | 295769.1501 | 30.45 | 114.2
5169 | 2022-05-17 14:06 | 53.0066 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6415 | μmol/L | 17.9167 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.901 | 91370.6645 | 295768.9478 | 30.45 | 114.2
5179 | 2022-05-17 14:06 | 53.3404 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91375.1387 | 295756.005 | 30.45 | 114.2
5189 | 2022-05-17 14:07 | 53.6739 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91366.3855 | 295750.141 | 30.45 | 114.2
5199 | 2022-05-17 14:07 | 54.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5198 | μmol/L | 17.9229 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91361.2101 | 295740.732 | 30.45 | 114.2
5209 | 2022-05-17 14:07 | 54.3405 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.491 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 91354.6004 | 295730.0071 | 30.45 | 114.2
5219 | 2022-05-17 14:08 | 54.6734 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4678 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.904 | 91357.8102 | 295721.7484 | 30.45 | 114.2
5229 | 2022-05-17 14:08 | 55.0069 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3693 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 91352.7269 | 295712.9154 | 30.45 | 114.2
5239 | 2022-05-17 14:08 | 55.34 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3054 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.911 | 91347.5653 | 295706.1319 | 30.45 | 114.2
5249 | 2022-05-17 14:09 | 55.6738 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.375 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.908 | 91344.4479 | 295687.7086 | 30.45 | 114.2
5259 | 2022-05-17 14:09 | 56.0067 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3518 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.909 | 91348.2238 | 295680.41 | 30.45 | 114.2
5269 | 2022-05-17 14:09 | 56.3401 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3462 | μmol/L | 17.9352 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 91339.641 | 295665.9293 | 30.45 | 114.2
5279 | 2022-05-17 14:10 | 56.6732 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4446 | μmol/L | 17.929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 91333.4505 | 295664.3148 | 30.45 | 114.2