## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 11:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10 | 2022-05-17 10:28 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.1481 | μmol/L | 17.6407 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.049 | 109833.0731 | 274867.0866 | 33.25 | 75.7
20 | 2022-05-17 10:29 | 0.32985 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0351 | μmol/L | 17.6529 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.049 | 109840.6017 | 274868.5925 | 33.25 | 75.7
30 | 2022-05-17 10:29 | 0.66315 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.1423 | μmol/L | 17.6468 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.047 | 109845.5584 | 274858.1768 | 33.25 | 75.7
40 | 2022-05-17 10:29 | 0.99655 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9786 | μmol/L | 17.6591 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.049 | 109856.6447 | 274854.9697 | 33.25 | 75.7
50 | 2022-05-17 10:30 | 1.33 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.1054 | μmol/L | 17.6591 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.044 | 109862.6857 | 274851.2607 | 33.25 | 75.7
60 | 2022-05-17 10:30 | 1.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0743 | μmol/L | 17.6652 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.043 | 109889.8396 | 274836.8808 | 33.25 | 75.7
70 | 2022-05-17 10:30 | 1.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9475 | μmol/L | 17.6652 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.048 | 109888.4573 | 274822.6835 | 33.25 | 75.7
80 | 2022-05-17 10:31 | 2.3302 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9671 | μmol/L | 17.6713 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.045 | 109886.1567 | 274820.999 | 33.25 | 75.7
90 | 2022-05-17 10:31 | 2.663 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9613 | μmol/L | 17.6775 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.043 | 109897.1265 | 274818.4903 | 33.25 | 75.7
100 | 2022-05-17 10:31 | 2.9965 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9106 | μmol/L | 17.6775 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.045 | 109906.9884 | 274803.4935 | 33.25 | 75.7
110 | 2022-05-17 10:32 | 3.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8738 | μmol/L | 17.6897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.042 | 109908.6215 | 274796.4555 | 33.25 | 75.7
120 | 2022-05-17 10:32 | 3.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9753 | μmol/L | 17.6897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.038 | 109956.4887 | 274792.2019 | 33.25 | 75.7
130 | 2022-05-17 10:32 | 3.9967 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.026 | μmol/L | 17.6897 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.036 | 109964.8063 | 274767.1596 | 33.25 | 75.7
140 | 2022-05-17 10:33 | 4.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8681 | μmol/L | 17.6958 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.04 | 109949.7847 | 274774.1211 | 33.25 | 75.7
150 | 2022-05-17 10:33 | 4.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8878 | μmol/L | 17.702 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.037 | 109951.6465 | 274752.7797 | 33.25 | 75.7
160 | 2022-05-17 10:33 | 4.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8567 | μmol/L | 17.7081 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.036 | 109964.7782 | 274753.3588 | 33.25 | 75.7
170 | 2022-05-17 10:34 | 5.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8003 | μmol/L | 17.7142 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.036 | 109955.268 | 274758.1421 | 33.25 | 75.7
180 | 2022-05-17 10:34 | 5.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8764 | μmol/L | 17.7142 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.033 | 109960.8373 | 274741.0627 | 33.25 | 75.7
190 | 2022-05-17 10:34 | 5.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9835 | μmol/L | 17.7081 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.031 | 109935.5914 | 274743.4332 | 33.25 | 75.7
200 | 2022-05-17 10:35 | 6.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.7439 | μmol/L | 17.7204 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.036 | 109920.1665 | 274735.512 | 33.25 | 75.7
210 | 2022-05-17 10:35 | 6.6635 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8707 | μmol/L | 17.7204 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.031 | 109895.2073 | 274727.7666 | 33.25 | 75.7
220 | 2022-05-17 10:35 | 6.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.896 | μmol/L | 17.7204 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.03 | 109895.9747 | 274720.7872 | 33.25 | 75.7
230 | 2022-05-17 10:36 | 7.3302 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.6762 | μmol/L | 17.7388 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.032 | 109880.2445 | 274737.7396 | 33.25 | 75.7
240 | 2022-05-17 10:36 | 7.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8086 | μmol/L | 17.7326 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.029 | 109878.3438 | 274745.615 | 33.25 | 75.7
250 | 2022-05-17 10:36 | 7.9967 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.834 | μmol/L | 17.7326 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.028 | 109878.6722 | 274754.1345 | 33.25 | 75.7
260 | 2022-05-17 10:37 | 8.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.834 | μmol/L | 17.7326 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.028 | 109857.1188 | 274740.5942 | 33.25 | 75.7
270 | 2022-05-17 10:37 | 8.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9157 | μmol/L | 17.7265 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.027 | 109840.5673 | 274737.5058 | 33.25 | 75.7
280 | 2022-05-17 10:37 | 8.9965 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.7973 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.025 | 109828.6873 | 274735.7236 | 33.25 | 75.7
290 | 2022-05-17 10:38 | 9.33 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8537 | μmol/L | 17.7388 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.025 | 109822.1013 | 274760.6227 | 33.25 | 75.7
300 | 2022-05-17 10:38 | 9.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8227 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.024 | 109819.4139 | 274761.9779 | 33.25 | 75.7
310 | 2022-05-17 10:38 | 9.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8227 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.024 | 109805.9948 | 274784.665 | 33.25 | 75.7
320 | 2022-05-17 10:39 | 10.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9748 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.018 | 109815.8871 | 274776.4295 | 33.25 | 75.7
330 | 2022-05-17 10:39 | 10.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9748 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.018 | 109809.5072 | 274775.7029 | 33.25 | 75.7
340 | 2022-05-17 10:39 | 10.9967 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9495 | μmol/L | 17.7449 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.019 | 109794.1691 | 274790.9422 | 33.25 | 75.7
350 | 2022-05-17 10:40 | 11.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9946 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.015 | 109787.3051 | 274783.9556 | 33.25 | 75.7
360 | 2022-05-17 10:40 | 11.6635 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9946 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.015 | 109784.4404 | 274802.2423 | 33.25 | 75.7
370 | 2022-05-17 10:40 | 11.997 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.02 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.014 | 109779.936 | 274794.9262 | 33.25 | 75.7
380 | 2022-05-17 10:41 | 12.3302 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0453 | μmol/L | 17.751 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.013 | 109789.0331 | 274795.7824 | 33.25 | 75.7
390 | 2022-05-17 10:41 | 12.6636 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0397 | μmol/L | 17.7572 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.011 | 109782.7885 | 274799.8018 | 33.25 | 75.7
400 | 2022-05-17 10:41 | 12.9971 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9579 | μmol/L | 17.7633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.012 | 109785.7547 | 274812.5238 | 33.25 | 75.7
410 | 2022-05-17 10:42 | 13.3304 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9833 | μmol/L | 17.7633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.011 | 109786.6365 | 274803.6286 | 33.25 | 75.7
420 | 2022-05-17 10:42 | 13.6637 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9833 | μmol/L | 17.7633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.011 | 109766.4517 | 274804.607 | 33.25 | 75.7
430 | 2022-05-17 10:42 | 13.997 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0087 | μmol/L | 17.7633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.01 | 109775.4748 | 274798.1996 | 33.25 | 75.7
440 | 2022-05-17 10:43 | 14.3297 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0285 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.007 | 109761.8966 | 274777.0663 | 33.25 | 75.7
450 | 2022-05-17 10:43 | 14.6631 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0595 | μmol/L | 17.7633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.008 | 109751.7123 | 274799.5624 | 33.25 | 75.7
460 | 2022-05-17 10:43 | 14.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9975 | μmol/L | 17.7755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.006 | 109724.7608 | 274793.7272 | 33.25 | 75.7
470 | 2022-05-17 10:44 | 15.33 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0172 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.003 | 109726.8066 | 274780.17 | 33.25 | 75.7
480 | 2022-05-17 10:44 | 15.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.0736 | μmol/L | 17.7755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.003 | 109717.8748 | 274798.9139 | 33.25 | 75.7
490 | 2022-05-17 10:44 | 15.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.1808 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.001 | 109713.7431 | 274791.6396 | 33.25 | 75.7
500 | 2022-05-17 10:45 | 16.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.13 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.003 | 109708.8884 | 274777.3865 | 33.25 | 75.7
510 | 2022-05-17 10:45 | 16.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.2118 | μmol/L | 17.7633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.002 | 109700.4084 | 274776.5582 | 33.25 | 75.7
520 | 2022-05-17 10:45 | 16.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 294.1554 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.002 | 109687.9268 | 274769.5675 | 33.25 | 75.7
530 | 2022-05-17 10:46 | 17.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.9919 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.004 | 109693.1813 | 274769.344 | 33.25 | 75.7
540 | 2022-05-17 10:46 | 17.6638 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.834 | μmol/L | 17.7878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.008 | 109696.6782 | 274761.7223 | 33.25 | 75.7
550 | 2022-05-17 10:46 | 17.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.8199 | μmol/L | 17.7755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.013 | 109767.1885 | 274769.9822 | 33.25 | 75.7
560 | 2022-05-17 10:47 | 18.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 293.3835 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.028 | 109832.8625 | 274764.7883 | 33.25 | 75.7
570 | 2022-05-17 10:47 | 18.6635 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8192 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.09 | 110171.9542 | 274761.1543 | 33.25 | 75.7
580 | 2022-05-17 10:47 | 18.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9214 | μmol/L | 17.7755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.128 | 110410.3765 | 274753.6074 | 33.25 | 75.7
590 | 2022-05-17 10:48 | 19.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1235 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.151 | 110533.7111 | 274758.2364 | 33.25 | 75.7
600 | 2022-05-17 10:48 | 19.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.7743 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.165 | 110594.0678 | 274750.2267 | 33.25 | 75.7
610 | 2022-05-17 10:48 | 19.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.5308 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.177 | 110676.1474 | 274751.5392 | 33.25 | 75.7
620 | 2022-05-17 10:49 | 20.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.022 | μmol/L | 17.8062 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.193 | 110753.4021 | 274757.6296 | 33.25 | 75.7
630 | 2022-05-17 10:49 | 20.663 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9646 | μmol/L | 17.7878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.202 | 110810.1308 | 274759.2952 | 33.25 | 75.7
640 | 2022-05-17 10:49 | 20.9965 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9398 | μmol/L | 17.7878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.203 | 110811.2699 | 274769.6122 | 33.25 | 75.7
650 | 2022-05-17 10:50 | 21.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9895 | μmol/L | 17.7878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.201 | 110811.5215 | 274765.4371 | 33.25 | 75.7
660 | 2022-05-17 10:50 | 21.6638 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1691 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.196 | 110775.4191 | 274778.1214 | 33.25 | 75.7
670 | 2022-05-17 10:50 | 21.9971 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.504 | μmol/L | 17.7694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.187 | 110731.2062 | 274766.4914 | 33.25 | 75.7
680 | 2022-05-17 10:51 | 22.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.4733 | μmol/L | 17.7755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.186 | 110700.4781 | 274766.5111 | 33.25 | 75.7
690 | 2022-05-17 10:51 | 22.663 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.3509 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.182 | 110722.1213 | 274768.2957 | 33.25 | 75.7
700 | 2022-05-17 10:51 | 22.9963 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.3069 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.186 | 110721.9732 | 274764.1489 | 33.25 | 75.7
710 | 2022-05-17 10:52 | 23.3297 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0888 | μmol/L | 17.7878 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.197 | 110770.716 | 274777.3461 | 33.25 | 75.7
720 | 2022-05-17 10:52 | 23.6631 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.8978 | μmol/L | 17.8062 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.198 | 110775.5369 | 274767.8836 | 33.25 | 75.7
730 | 2022-05-17 10:52 | 23.9967 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7928 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.2 | 110758.9984 | 274768.2889 | 33.25 | 75.7
740 | 2022-05-17 10:53 | 24.3302 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9532 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.198 | 110765.0878 | 274752.1455 | 33.25 | 75.7
750 | 2022-05-17 10:53 | 24.6637 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0334 | μmol/L | 17.7939 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.197 | 110748.3675 | 274766.1169 | 33.25 | 75.7
760 | 2022-05-17 10:53 | 24.9964 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.2437 | μmol/L | 17.7817 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.193 | 110726.7904 | 274774.073 | 33.25 | 75.7
770 | 2022-05-17 10:54 | 25.3297 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.3012 | μmol/L | 17.8001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.184 | 110688.486 | 274756.5572 | 33.25 | 75.7
780 | 2022-05-17 10:54 | 25.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1043 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.183 | 110692.8907 | 274768.7037 | 33.25 | 75.7
790 | 2022-05-17 10:54 | 25.9967 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1846 | μmol/L | 17.8185 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.182 | 110668.385 | 274759.784 | 33.25 | 75.7
800 | 2022-05-17 10:55 | 26.33 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.066 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.189 | 110692.0238 | 274752.8851 | 33.25 | 75.7
810 | 2022-05-17 10:55 | 26.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1214 | μmol/L | 17.8062 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.189 | 110701.2111 | 274767.0971 | 33.25 | 75.7
820 | 2022-05-17 10:55 | 26.9967 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.1214 | μmol/L | 17.8062 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.189 | 110699.0693 | 274767.9494 | 33.25 | 75.7
830 | 2022-05-17 10:56 | 27.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9666 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.193 | 110711.8656 | 274766.3945 | 33.25 | 75.7
840 | 2022-05-17 10:56 | 27.6636 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.9914 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.192 | 110722.8663 | 274766.393 | 33.25 | 75.7
850 | 2022-05-17 10:56 | 27.9972 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.8062 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.195 | 110721.7159 | 274755.5371 | 33.25 | 75.7
860 | 2022-05-17 10:57 | 28.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7395 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.191 | 110720.4057 | 274753.8002 | 33.25 | 75.7
870 | 2022-05-17 10:57 | 28.6632 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.5105 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.198 | 110738.472 | 274763.8261 | 33.25 | 75.7
880 | 2022-05-17 10:57 | 28.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7871 | μmol/L | 17.8185 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.198 | 110731.361 | 274754.7651 | 33.25 | 75.7
890 | 2022-05-17 10:58 | 29.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7126 | μmol/L | 17.8185 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.201 | 110718.3525 | 274764.8232 | 33.25 | 75.7
900 | 2022-05-17 10:58 | 29.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.7431 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.202 | 110765.9102 | 274757.049 | 33.25 | 75.7
910 | 2022-05-17 10:58 | 29.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.663 | μmol/L | 17.8185 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.203 | 110769.0805 | 274744.3389 | 33.25 | 75.7
920 | 2022-05-17 10:59 | 30.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4093 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.211 | 110802.2061 | 274737.4543 | 33.25 | 75.7
930 | 2022-05-17 10:59 | 30.6636 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.3731 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.208 | 110797.5938 | 274742.5558 | 33.25 | 75.7
940 | 2022-05-17 10:59 | 30.9969 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.274 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.212 | 110811.6679 | 274742.5359 | 33.25 | 75.7
950 | 2022-05-17 11:00 | 31.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.335 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.214 | 110805.9293 | 274736.7013 | 33.25 | 75.7
960 | 2022-05-17 11:00 | 31.6637 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4512 | μmol/L | 17.8062 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 110824.888 | 274733.6907 | 33.25 | 75.7
970 | 2022-05-17 11:00 | 31.9963 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2969 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 110846.3361 | 274734.8132 | 33.25 | 75.7
980 | 2022-05-17 11:01 | 32.33 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.3216 | μmol/L | 17.8123 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 110865.5715 | 274731.7201 | 33.25 | 75.7
990 | 2022-05-17 11:01 | 32.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1369 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.222 | 110869.4325 | 274712.4439 | 33.25 | 75.7
1000 | 2022-05-17 11:01 | 32.9964 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2111 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 110861.3697 | 274722.9109 | 33.25 | 75.7
1010 | 2022-05-17 11:02 | 33.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1064 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.221 | 110863.4338 | 274715.0435 | 33.25 | 75.7
1020 | 2022-05-17 11:02 | 33.6637 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1121 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 110847.4552 | 274723.6548 | 33.25 | 75.7
1030 | 2022-05-17 11:02 | 33.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2111 | μmol/L | 17.8246 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 110837.3183 | 274708.068 | 33.25 | 75.7
1040 | 2022-05-17 11:03 | 34.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1807 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 110833.3583 | 274693.1135 | 33.25 | 75.7
1050 | 2022-05-17 11:03 | 34.6635 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1559 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 110823.1126 | 274704.3376 | 33.25 | 75.7
1060 | 2022-05-17 11:03 | 34.9971 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2797 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.214 | 110825.0699 | 274690.2796 | 33.25 | 75.7
1070 | 2022-05-17 11:04 | 35.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1997 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.215 | 110798.7978 | 274672.1916 | 33.25 | 75.7
1080 | 2022-05-17 11:04 | 35.663 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.1198 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 110794.5027 | 274671.9523 | 33.25 | 75.7
1090 | 2022-05-17 11:04 | 35.9971 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2245 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.214 | 110772.2985 | 274666.5398 | 33.25 | 75.7
1100 | 2022-05-17 11:05 | 36.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2436 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.211 | 110761.3821 | 274661.4039 | 33.25 | 75.7
1110 | 2022-05-17 11:05 | 36.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.3484 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.209 | 110743.3843 | 274656.7677 | 33.25 | 75.7
1120 | 2022-05-17 11:05 | 36.9971 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.3236 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.21 | 110736.1421 | 274649.2028 | 33.25 | 75.7
1130 | 2022-05-17 11:06 | 37.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.337 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.205 | 110718.5018 | 274633.2264 | 33.25 | 75.7
1140 | 2022-05-17 11:06 | 37.6632 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9847 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.217 | 110754.4598 | 274631.1837 | 33.25 | 75.7
1150 | 2022-05-17 11:06 | 37.9969 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.8666 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.224 | 110791.3699 | 274621.9949 | 33.25 | 75.7
1160 | 2022-05-17 11:07 | 38.3304 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.8096 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.233 | 110839.4148 | 274629.6575 | 33.25 | 75.7
1170 | 2022-05-17 11:07 | 38.663 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.6062 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.239 | 110836.2853 | 274614.6811 | 33.25 | 75.7
1180 | 2022-05-17 11:07 | 38.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.5568 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.241 | 110870.4832 | 274602.7179 | 33.25 | 75.7
1190 | 2022-05-17 11:08 | 39.3304 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.1639 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.248 | 110883.5736 | 274594.195 | 33.25 | 75.7
1200 | 2022-05-17 11:08 | 39.6638 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.3726 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.244 | 110889.2814 | 274586.8108 | 33.25 | 75.7
1210 | 2022-05-17 11:08 | 39.9965 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.0406 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.253 | 110914.9952 | 274596.006 | 33.25 | 75.7
1220 | 2022-05-17 11:09 | 40.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.8928 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.259 | 110935.8827 | 274587.8284 | 33.25 | 75.7
1230 | 2022-05-17 11:09 | 40.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.8985 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.261 | 110976.7539 | 274566.6082 | 33.25 | 75.7
1240 | 2022-05-17 11:09 | 40.9969 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.6656 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.266 | 111004.1145 | 274567.4089 | 33.25 | 75.7
1250 | 2022-05-17 11:10 | 41.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.5672 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.27 | 111006.3913 | 274541.6722 | 33.25 | 75.7
1260 | 2022-05-17 11:10 | 41.6631 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.768 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.273 | 111020.2206 | 274537.473 | 33.25 | 75.7
1270 | 2022-05-17 11:10 | 41.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.3517 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.281 | 111027.3437 | 274527.9521 | 33.25 | 75.7
1280 | 2022-05-17 11:11 | 42.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.3214 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.28 | 111032.0838 | 274527.0152 | 33.25 | 75.7
1290 | 2022-05-17 11:11 | 42.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.174 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.286 | 111041.0247 | 274524.2674 | 33.25 | 75.7
1300 | 2022-05-17 11:11 | 42.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.2968 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.281 | 111037.3372 | 274505.4684 | 33.25 | 75.7
1310 | 2022-05-17 11:12 | 43.3301 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.3082 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.285 | 111029.4101 | 274503.9673 | 33.25 | 75.7
1320 | 2022-05-17 11:12 | 43.6635 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.4425 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.284 | 111051.2602 | 274490.044 | 33.25 | 75.7
1330 | 2022-05-17 11:12 | 43.997 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.1912 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.292 | 111038.7839 | 274482.584 | 33.25 | 75.7
1340 | 2022-05-17 11:13 | 44.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.21 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.289 | 111052.8595 | 274474.0927 | 33.25 | 75.7
1350 | 2022-05-17 11:13 | 44.6634 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.1061 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.291 | 111034.2998 | 274464.3129 | 33.25 | 75.7
1360 | 2022-05-17 11:13 | 44.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.0325 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 111039.3891 | 274451.6213 | 33.25 | 75.7
1370 | 2022-05-17 11:14 | 45.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.057 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.293 | 111039.8066 | 274457.6971 | 33.25 | 75.7
1380 | 2022-05-17 11:14 | 45.6631 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.0023 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.293 | 111019.0428 | 274457.3644 | 33.25 | 75.7
1390 | 2022-05-17 11:14 | 45.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.9287 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.296 | 111032.5705 | 274462.1899 | 33.25 | 75.7
1400 | 2022-05-17 11:15 | 46.3303 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.0628 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.295 | 111027.7473 | 274439.8005 | 33.25 | 75.7
1410 | 2022-05-17 11:15 | 46.663 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.0325 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 111031.5563 | 274441.2065 | 33.25 | 75.7
1420 | 2022-05-17 11:15 | 46.9966 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.0873 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 111020.108 | 274420.9183 | 33.25 | 75.7
1430 | 2022-05-17 11:16 | 47.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.9287 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.296 | 111013.5518 | 274429.076 | 33.25 | 75.7
1440 | 2022-05-17 11:16 | 47.6632 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.044 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.298 | 111035.4269 | 274427.2874 | 33.25 | 75.7
1450 | 2022-05-17 11:16 | 47.9965 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.8853 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.3 | 111034.0443 | 274418.5148 | 33.25 | 75.7
1460 | 2022-05-17 11:17 | 48.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.9646 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.299 | 111044.541 | 274416.244 | 33.25 | 75.7
1470 | 2022-05-17 11:17 | 48.6636 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.6836 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.306 | 111060.7147 | 274422.6156 | 33.25 | 75.7
1480 | 2022-05-17 11:17 | 48.997 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.5195 | μmol/L | 17.8859 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.306 | 111067.5781 | 274419.8251 | 33.25 | 75.7
1490 | 2022-05-17 11:18 | 49.3305 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.6778 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.304 | 111054.5778 | 274421.121 | 33.25 | 75.7
1500 | 2022-05-17 11:18 | 49.6631 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.8233 | μmol/L | 17.8491 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 111044.3194 | 274412.4923 | 33.25 | 75.7
1510 | 2022-05-17 11:18 | 49.9965 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.8118 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.303 | 111063.8432 | 274406.2363 | 33.25 | 75.7
1520 | 2022-05-17 11:19 | 50.3299 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.7138 | μmol/L | 17.8614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 111094.6038 | 274408.712 | 33.25 | 75.7
1530 | 2022-05-17 11:19 | 50.6633 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.2618 | μmol/L | 17.8736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.321 | 111135.7184 | 274409.8228 | 33.25 | 75.7
1540 | 2022-05-17 11:19 | 50.9968 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4013 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.322 | 111137.8025 | 274396.0015 | 33.25 | 75.7
1550 | 2022-05-17 11:20 | 51.3298 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3898 | μmol/L | 17.8675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.318 | 111138.1837 | 274401.0897 | 33.25 | 75.7