## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 11:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
9 | 2022-05-17 10:28 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5745 | μmol/L | 17.6689 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 89102.4906 | 295974.494 | 30.45 | 38.1
19 | 2022-05-17 10:28 | 0.33577 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4664 | μmol/L | 17.6811 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.492 | 89081.4225 | 295974.5594 | 30.45 | 38.1
29 | 2022-05-17 10:29 | 0.66904 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5151 | μmol/L | 17.6811 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.49 | 89075.5987 | 295973.9185 | 30.45 | 38.1
39 | 2022-05-17 10:29 | 1.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5395 | μmol/L | 17.6811 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.489 | 89056.617 | 295963.7791 | 30.45 | 38.1
49 | 2022-05-17 10:29 | 1.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4854 | μmol/L | 17.6872 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.489 | 89054.8832 | 295967.757 | 30.45 | 38.1
59 | 2022-05-17 10:30 | 1.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4314 | μmol/L | 17.6933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.489 | 89050.6781 | 295968.5284 | 30.45 | 38.1
69 | 2022-05-17 10:30 | 2.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4801 | μmol/L | 17.6933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.487 | 89035.9133 | 295954.7292 | 30.45 | 38.1
79 | 2022-05-17 10:30 | 2.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5479 | μmol/L | 17.6994 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 89026.7068 | 295947.4166 | 30.45 | 38.1
89 | 2022-05-17 10:31 | 2.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5288 | μmol/L | 17.6933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.485 | 89016.7925 | 295950.2618 | 30.45 | 38.1
99 | 2022-05-17 10:31 | 3.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4939 | μmol/L | 17.7055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.482 | 89008.3418 | 295942.8671 | 30.45 | 38.1
109 | 2022-05-17 10:31 | 3.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5182 | μmol/L | 17.7055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.481 | 88996.4894 | 295948.6258 | 30.45 | 38.1
119 | 2022-05-17 10:32 | 3.6693 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4155 | μmol/L | 17.7116 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 88970.5552 | 295938.1486 | 30.45 | 38.1
129 | 2022-05-17 10:32 | 4.0026 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3614 | μmol/L | 17.7177 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.483 | 88969.9644 | 295935.2297 | 30.45 | 38.1
139 | 2022-05-17 10:32 | 4.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.478 | μmol/L | 17.7238 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.476 | 88959.7219 | 295921.1389 | 30.45 | 38.1
149 | 2022-05-17 10:33 | 4.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3752 | μmol/L | 17.7299 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.478 | 88957.5685 | 295932.989 | 30.45 | 38.1
159 | 2022-05-17 10:33 | 5.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3509 | μmol/L | 17.7299 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.479 | 88942.6818 | 295925.3766 | 30.45 | 38.1
169 | 2022-05-17 10:33 | 5.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.424 | μmol/L | 17.7299 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.476 | 88936.5737 | 295903.9925 | 30.45 | 38.1
179 | 2022-05-17 10:34 | 5.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3943 | μmol/L | 17.736 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.475 | 88925.9146 | 295922.4123 | 30.45 | 38.1
189 | 2022-05-17 10:34 | 6.0022 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4134 | μmol/L | 17.7421 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.472 | 88925.346 | 295907.9529 | 30.45 | 38.1
199 | 2022-05-17 10:34 | 6.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4378 | μmol/L | 17.7421 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.471 | 88929.6176 | 295928.4857 | 30.45 | 38.1
209 | 2022-05-17 10:35 | 6.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3647 | μmol/L | 17.7421 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.474 | 88907.4522 | 295917.1301 | 30.45 | 38.1
219 | 2022-05-17 10:35 | 7.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4029 | μmol/L | 17.7543 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.468 | 88895.7793 | 295907.6631 | 30.45 | 38.1
229 | 2022-05-17 10:35 | 7.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3647 | μmol/L | 17.7421 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.474 | 88886.6566 | 295897.4664 | 30.45 | 38.1
239 | 2022-05-17 10:36 | 7.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4569 | μmol/L | 17.7482 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.468 | 88903.9877 | 295909.2496 | 30.45 | 38.1
249 | 2022-05-17 10:36 | 8.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3002 | μmol/L | 17.7605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.47 | 88894.4695 | 295913.1856 | 30.45 | 38.1
259 | 2022-05-17 10:36 | 8.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1976 | μmol/L | 17.7666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.472 | 88887.0796 | 295923.4111 | 30.45 | 38.1
269 | 2022-05-17 10:37 | 8.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1193 | μmol/L | 17.7727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.473 | 88878.534 | 295937.7332 | 30.45 | 38.1
279 | 2022-05-17 10:37 | 9.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1384 | μmol/L | 17.7788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.47 | 88875.8628 | 295914.3435 | 30.45 | 38.1
289 | 2022-05-17 10:37 | 9.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1384 | μmol/L | 17.7788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.47 | 88872.8942 | 295931.6922 | 30.45 | 38.1
299 | 2022-05-17 10:38 | 9.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.168 | μmol/L | 17.7727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.471 | 88866.1316 | 295930.7952 | 30.45 | 38.1
309 | 2022-05-17 10:38 | 10.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2167 | μmol/L | 17.7727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.469 | 88865.9314 | 295949.316 | 30.45 | 38.1
319 | 2022-05-17 10:38 | 10.3355 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1332 | μmol/L | 17.7849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.468 | 88870.6124 | 295956.6835 | 30.45 | 38.1
329 | 2022-05-17 10:39 | 10.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2845 | μmol/L | 17.7788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.464 | 88867.6376 | 295969.4732 | 30.45 | 38.1
339 | 2022-05-17 10:39 | 11.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0115 | μmol/L | 17.7849 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.473 | 88880.3665 | 295965.9502 | 30.45 | 38.1
349 | 2022-05-17 10:39 | 11.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9681 | μmol/L | 17.7788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.477 | 88910.0323 | 295984.0012 | 30.45 | 38.1
359 | 2022-05-17 10:40 | 11.6772 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.8812 | μmol/L | 17.7666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.485 | 88951.851 | 295997.4206 | 30.45 | 38.1
369 | 2022-05-17 10:40 | 12.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5411 | μmol/L | 17.7666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.499 | 88996.9856 | 296005.4813 | 30.45 | 38.1
379 | 2022-05-17 10:40 | 12.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4387 | μmol/L | 17.7727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.501 | 89022.0973 | 296006.1707 | 30.45 | 38.1
389 | 2022-05-17 10:41 | 12.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3607 | μmol/L | 17.7788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.502 | 89020.1727 | 296014.3415 | 30.45 | 38.1
399 | 2022-05-17 10:41 | 13.0022 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2394 | μmol/L | 17.7788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.507 | 89041.3623 | 296020.9439 | 30.45 | 38.1
409 | 2022-05-17 10:41 | 13.3355 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.0782 | μmol/L | 17.7971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.507 | 89053.2642 | 296030.8999 | 30.45 | 38.1
419 | 2022-05-17 10:42 | 13.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.8982 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.51 | 89058.2114 | 296020.9265 | 30.45 | 38.1
429 | 2022-05-17 10:42 | 14.0021 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.9034 | μmol/L | 17.8032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.512 | 89066.909 | 296014.3347 | 30.45 | 38.1
439 | 2022-05-17 10:42 | 14.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.855 | μmol/L | 17.8032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.514 | 89087.8749 | 296020.449 | 30.45 | 38.1
449 | 2022-05-17 10:43 | 14.6688 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.6665 | μmol/L | 17.7971 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.524 | 89103.5906 | 296018.3004 | 30.45 | 38.1
459 | 2022-05-17 10:43 | 15.0022 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.5593 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.524 | 89106.7179 | 296026.3635 | 30.45 | 38.1
469 | 2022-05-17 10:43 | 15.3355 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.4143 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.53 | 89122.624 | 296025.7095 | 30.45 | 38.1
479 | 2022-05-17 10:44 | 15.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.4868 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.527 | 89136.5846 | 296035.4711 | 30.45 | 38.1
489 | 2022-05-17 10:44 | 16.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.2882 | μmol/L | 17.8154 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.533 | 89154.1692 | 296044.6773 | 30.45 | 38.1
499 | 2022-05-17 10:44 | 16.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.1244 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 89163.0297 | 296028.7155 | 30.45 | 38.1
509 | 2022-05-17 10:45 | 16.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.1244 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 89177.9282 | 296030.7978 | 30.45 | 38.1
519 | 2022-05-17 10:45 | 17.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 280.1244 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.542 | 89174.9593 | 296039.1791 | 30.45 | 38.1
529 | 2022-05-17 10:45 | 17.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.9503 | μmol/L | 17.8154 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.547 | 89182.1164 | 296055.7455 | 30.45 | 38.1
539 | 2022-05-17 10:46 | 17.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.9744 | μmol/L | 17.8154 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.546 | 89187.3739 | 296037.1704 | 30.45 | 38.1
549 | 2022-05-17 10:46 | 18.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.9796 | μmol/L | 17.8093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.548 | 89202.5292 | 296063.9137 | 30.45 | 38.1
559 | 2022-05-17 10:46 | 18.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6799 | μmol/L | 17.8215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89214.6702 | 296066.1041 | 30.45 | 38.1
569 | 2022-05-17 10:47 | 18.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6264 | μmol/L | 17.8276 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89208.035 | 296060.7533 | 30.45 | 38.1
579 | 2022-05-17 10:47 | 19.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6558 | μmol/L | 17.8215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 89206.2087 | 296062.5774 | 30.45 | 38.1
589 | 2022-05-17 10:47 | 19.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5249 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 89202.0991 | 296086.7134 | 30.45 | 38.1
599 | 2022-05-17 10:48 | 19.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.549 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 89191.7984 | 296081.2284 | 30.45 | 38.1
609 | 2022-05-17 10:48 | 20.0021 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6024 | μmol/L | 17.8276 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 89191.7436 | 296077.5592 | 30.45 | 38.1
619 | 2022-05-17 10:48 | 20.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6212 | μmol/L | 17.8337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 89189.5399 | 296101.9616 | 30.45 | 38.1
629 | 2022-05-17 10:49 | 20.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5919 | μmol/L | 17.8398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 89183.4478 | 296102.7704 | 30.45 | 38.1
639 | 2022-05-17 10:49 | 21.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4956 | μmol/L | 17.8398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 89174.7765 | 296102.1317 | 30.45 | 38.1
649 | 2022-05-17 10:49 | 21.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5919 | μmol/L | 17.8398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 89159.6775 | 296106.1416 | 30.45 | 38.1
659 | 2022-05-17 10:50 | 21.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6108 | μmol/L | 17.8459 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 89150.9309 | 296109.3069 | 30.45 | 38.1
669 | 2022-05-17 10:50 | 22.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5867 | μmol/L | 17.8459 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.551 | 89144.083 | 296132.257 | 30.45 | 38.1
679 | 2022-05-17 10:50 | 22.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4663 | μmol/L | 17.8459 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89154.1816 | 296121.7994 | 30.45 | 38.1
689 | 2022-05-17 10:51 | 22.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4663 | μmol/L | 17.8459 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89156.1286 | 296132.1624 | 30.45 | 38.1
699 | 2022-05-17 10:51 | 23.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.413 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89147.476 | 296128.1122 | 30.45 | 38.1
709 | 2022-05-17 10:51 | 23.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.3648 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 89144.9981 | 296130.0717 | 30.45 | 38.1
719 | 2022-05-17 10:52 | 23.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4318 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.553 | 89134.4341 | 296134.6736 | 30.45 | 38.1
729 | 2022-05-17 10:52 | 24.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5815 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.549 | 89121.0936 | 296138.8936 | 30.45 | 38.1
739 | 2022-05-17 10:52 | 24.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5093 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.552 | 89105.7538 | 296140.7727 | 30.45 | 38.1
749 | 2022-05-17 10:53 | 24.6688 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.6297 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.547 | 89088.2016 | 296142.0446 | 30.45 | 38.1
759 | 2022-05-17 10:53 | 25.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.5041 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 89097.4223 | 296150.7422 | 30.45 | 38.1
769 | 2022-05-17 10:53 | 25.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4507 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 89095.7017 | 296144.9657 | 30.45 | 38.1
779 | 2022-05-17 10:54 | 25.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.413 | μmol/L | 17.852 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89098.4992 | 296162.8663 | 30.45 | 38.1
789 | 2022-05-17 10:54 | 26.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.4559 | μmol/L | 17.8581 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.552 | 89103.9589 | 296155.8324 | 30.45 | 38.1
799 | 2022-05-17 10:54 | 26.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.3544 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.554 | 89110.6895 | 296161.1836 | 30.45 | 38.1
809 | 2022-05-17 10:55 | 26.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.2822 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.557 | 89111.8697 | 296177.1472 | 30.45 | 38.1
819 | 2022-05-17 10:55 | 27.0021 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.253 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 89106.058 | 296174.9879 | 30.45 | 38.1
829 | 2022-05-17 10:55 | 27.3356 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.2341 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.559 | 89110.3746 | 296175.4131 | 30.45 | 38.1
839 | 2022-05-17 10:56 | 27.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.186 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.561 | 89124.2274 | 296194.221 | 30.45 | 38.1
849 | 2022-05-17 10:56 | 28.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.0898 | μmol/L | 17.8642 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.565 | 89132.9883 | 296190.8717 | 30.45 | 38.1
859 | 2022-05-17 10:56 | 28.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 279.0606 | μmol/L | 17.8703 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.564 | 89124.7158 | 296184.1512 | 30.45 | 38.1
869 | 2022-05-17 10:57 | 28.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.9113 | μmol/L | 17.8764 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.568 | 89127.9532 | 296186.9281 | 30.45 | 38.1
879 | 2022-05-17 10:57 | 29.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.6796 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.571 | 89142.3264 | 296197.0658 | 30.45 | 38.1
889 | 2022-05-17 10:57 | 29.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.858 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.568 | 89137.0034 | 296189.883 | 30.45 | 38.1
899 | 2022-05-17 10:58 | 29.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.5836 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.575 | 89139.5215 | 296204.84 | 30.45 | 38.1
909 | 2022-05-17 10:58 | 30.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.666 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 89147.6505 | 296201.1188 | 30.45 | 38.1
919 | 2022-05-17 10:58 | 30.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.642 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.577 | 89151.4989 | 296219.798 | 30.45 | 38.1
929 | 2022-05-17 10:59 | 30.6685 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.738 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.573 | 89139.1948 | 296208.5676 | 30.45 | 38.1
939 | 2022-05-17 10:59 | 31.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.4158 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.582 | 89147.4688 | 296232.8987 | 30.45 | 38.1
949 | 2022-05-17 10:59 | 31.3353 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.2273 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.581 | 89149.3842 | 296223.6688 | 30.45 | 38.1
959 | 2022-05-17 11:00 | 31.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.5596 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 89137.9523 | 296214.072 | 30.45 | 38.1
969 | 2022-05-17 11:00 | 32.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.546 | μmol/L | 17.8826 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.581 | 89144.1409 | 296206.6638 | 30.45 | 38.1
979 | 2022-05-17 11:00 | 32.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.3866 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.581 | 89146.6898 | 296226.6766 | 30.45 | 38.1
989 | 2022-05-17 11:01 | 32.6688 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.3918 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.583 | 89152.0563 | 296228.6235 | 30.45 | 38.1
999 | 2022-05-17 11:01 | 33.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.3678 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.584 | 89140.305 | 296228.7501 | 30.45 | 38.1
1009 | 2022-05-17 11:01 | 33.336 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.3387 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.583 | 89151.7206 | 296213.1897 | 30.45 | 38.1
1019 | 2022-05-17 11:02 | 33.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.1658 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.588 | 89143.8771 | 296218.525 | 30.45 | 38.1
1029 | 2022-05-17 11:02 | 34.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.3251 | μmol/L | 17.8887 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.588 | 89153.9888 | 296227.1192 | 30.45 | 38.1
1039 | 2022-05-17 11:02 | 34.3355 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.248 | μmol/L | 17.8948 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.589 | 89160.7855 | 296213.7804 | 30.45 | 38.1
1049 | 2022-05-17 11:03 | 34.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.0273 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.596 | 89167.7667 | 296228.6467 | 30.45 | 38.1
1059 | 2022-05-17 11:03 | 35.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.0461 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.593 | 89166.6511 | 296222.6969 | 30.45 | 38.1
1069 | 2022-05-17 11:03 | 35.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.9743 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.596 | 89157.1993 | 296226.6276 | 30.45 | 38.1
1079 | 2022-05-17 11:04 | 35.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.0221 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.594 | 89160.7532 | 296219.7981 | 30.45 | 38.1
1089 | 2022-05-17 11:04 | 36.0022 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8256 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.6 | 89161.9616 | 296224.611 | 30.45 | 38.1
1099 | 2022-05-17 11:04 | 36.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.9025 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.599 | 89156.1378 | 296221.1859 | 30.45 | 38.1
1109 | 2022-05-17 11:05 | 36.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8017 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.601 | 89157.3007 | 296223.3251 | 30.45 | 38.1
1119 | 2022-05-17 11:05 | 37.0021 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8786 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.6 | 89155.6414 | 296223.323 | 30.45 | 38.1
1129 | 2022-05-17 11:05 | 37.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8307 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.602 | 89159.8848 | 296212.7667 | 30.45 | 38.1
1139 | 2022-05-17 11:06 | 37.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8068 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.603 | 89159.2197 | 296206.6229 | 30.45 | 38.1
1149 | 2022-05-17 11:06 | 38.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.6873 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.608 | 89151.9926 | 296226.9121 | 30.45 | 38.1
1159 | 2022-05-17 11:06 | 38.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8068 | μmol/L | 17.907 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.603 | 89152.4778 | 296205.1622 | 30.45 | 38.1
1169 | 2022-05-17 11:07 | 38.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.7403 | μmol/L | 17.9009 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.608 | 89153.7055 | 296210.0906 | 30.45 | 38.1
1179 | 2022-05-17 11:07 | 39.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.7538 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.603 | 89145.2445 | 296199.5157 | 30.45 | 38.1
1189 | 2022-05-17 11:07 | 39.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.5627 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.611 | 89143.4137 | 296199.7239 | 30.45 | 38.1
1199 | 2022-05-17 11:08 | 39.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.5865 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.61 | 89146.9489 | 296211.8312 | 30.45 | 38.1
1209 | 2022-05-17 11:08 | 40.0018 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.4671 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.615 | 89155.1338 | 296204.5363 | 30.45 | 38.1
1219 | 2022-05-17 11:08 | 40.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.3903 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.616 | 89151.8874 | 296193.0609 | 30.45 | 38.1
1229 | 2022-05-17 11:09 | 40.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.4858 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.612 | 89155.4929 | 296183.9618 | 30.45 | 38.1
1239 | 2022-05-17 11:09 | 41.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.2555 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.615 | 89157.8406 | 296191.3633 | 30.45 | 38.1
1249 | 2022-05-17 11:09 | 41.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1891 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.62 | 89157.7306 | 296182.5049 | 30.45 | 38.1
1259 | 2022-05-17 11:10 | 41.6687 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.2472 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.622 | 89153.7864 | 296181.7304 | 30.45 | 38.1
1269 | 2022-05-17 11:10 | 42.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1943 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.622 | 89152.1961 | 296171.8171 | 30.45 | 38.1
1279 | 2022-05-17 11:10 | 42.3355 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.2472 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.622 | 89147.1737 | 296175.2388 | 30.45 | 38.1
1289 | 2022-05-17 11:11 | 42.669 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.2472 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.622 | 89147.5043 | 296173.1759 | 30.45 | 38.1
1299 | 2022-05-17 11:11 | 43.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.2472 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.622 | 89137.386 | 296167.1385 | 30.45 | 38.1
1309 | 2022-05-17 11:11 | 43.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1995 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.624 | 89145.8642 | 296157.0109 | 30.45 | 38.1
1319 | 2022-05-17 11:12 | 43.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.0989 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.626 | 89142.4117 | 296146.9724 | 30.45 | 38.1
1329 | 2022-05-17 11:12 | 44.0021 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1569 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.628 | 89124.56 | 296139.8878 | 30.45 | 38.1
1339 | 2022-05-17 11:12 | 44.3357 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.0036 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.63 | 89123.2055 | 296137.9734 | 30.45 | 38.1
1349 | 2022-05-17 11:13 | 44.6691 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.9372 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.635 | 89128.897 | 296133.9374 | 30.45 | 38.1
1359 | 2022-05-17 11:13 | 45.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.9083 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.634 | 89128.82 | 296129.7985 | 30.45 | 38.1
1369 | 2022-05-17 11:13 | 45.3352 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.9083 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.634 | 89119.8327 | 296124.9601 | 30.45 | 38.1
1379 | 2022-05-17 11:14 | 45.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.8896 | μmol/L | 17.9192 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.637 | 89120.3683 | 296127.3022 | 30.45 | 38.1
1389 | 2022-05-17 11:14 | 46.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.694 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.643 | 89125.2452 | 296130.335 | 30.45 | 38.1
1399 | 2022-05-17 11:14 | 46.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.6464 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.645 | 89128.2415 | 296119.5225 | 30.45 | 38.1
1409 | 2022-05-17 11:15 | 46.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.6226 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 89132.8085 | 296127.1623 | 30.45 | 38.1
1419 | 2022-05-17 11:15 | 47.0023 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.6226 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.646 | 89131.735 | 296130.7718 | 30.45 | 38.1
1429 | 2022-05-17 11:15 | 47.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.5223 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 89128.3256 | 296098.9654 | 30.45 | 38.1
1439 | 2022-05-17 11:16 | 47.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.4747 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.65 | 89132.0386 | 296109.7629 | 30.45 | 38.1
1449 | 2022-05-17 11:16 | 48.0025 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.3507 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.653 | 89119.788 | 296101.4716 | 30.45 | 38.1
1459 | 2022-05-17 11:16 | 48.3359 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.3558 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.655 | 89127.266 | 296097.8925 | 30.45 | 38.1
1469 | 2022-05-17 11:17 | 48.6686 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.3796 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.654 | 89126.5746 | 296107.4534 | 30.45 | 38.1
1479 | 2022-05-17 11:17 | 49.002 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.2319 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.658 | 89133.8932 | 296115.0889 | 30.45 | 38.1
1489 | 2022-05-17 11:17 | 49.3355 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.266 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.661 | 89131.2427 | 296108.8811 | 30.45 | 38.1
1499 | 2022-05-17 11:18 | 49.6689 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1844 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.66 | 89140.8988 | 296110.6354 | 30.45 | 38.1
1509 | 2022-05-17 11:18 | 50.0024 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0419 | μmol/L | 17.9375 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.666 | 89149.7985 | 296116.0145 | 30.45 | 38.1
1519 | 2022-05-17 11:18 | 50.3358 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0946 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.666 | 89142.0851 | 296102.6006 | 30.45 | 38.1
1529 | 2022-05-17 11:19 | 50.6692 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1814 | μmol/L | 17.9131 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.669 | 89138.2101 | 296112.6037 | 30.45 | 38.1
1539 | 2022-05-17 11:19 | 51.0019 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.0286 | μmol/L | 17.9253 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.671 | 89137.7179 | 296115.8786 | 30.45 | 38.1
1549 | 2022-05-17 11:19 | 51.3354 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.9285 | μmol/L | 17.9314 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.673 | 89142.1869 | 296115.3496 | 30.45 | 38.1