## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7020 | 2022-05-17 15:55 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.7903 | μmol/L | 18.8526 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.977 | 22973.1871 | 290494.329 | 28.7 | 67.6
7030 | 2022-05-17 15:55 | 0.33095 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.641 | μmol/L | 18.8526 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.983 | 22990.9982 | 290496.4421 | 28.7 | 67.6
7040 | 2022-05-17 15:55 | 0.665 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.9149 | μmol/L | 18.8526 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.972 | 22969.6186 | 290506.3244 | 28.7 | 67.6
7050 | 2022-05-17 15:56 | 0.99799 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.0694 | μmol/L | 18.8526 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.006 | 22969.0692 | 290498.5269 | 28.7 | 67.6
7060 | 2022-05-17 15:56 | 1.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.8042 | μmol/L | 18.8405 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.021 | 22977.2605 | 290501.2808 | 28.7 | 67.6
7070 | 2022-05-17 15:56 | 1.6644 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4404 | μmol/L | 18.8283 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.04 | 22975.4098 | 290509.0137 | 28.7 | 67.6
7080 | 2022-05-17 15:57 | 1.9977 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5471 | μmol/L | 18.8161 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.04 | 22978.4699 | 290499.8576 | 28.7 | 67.6
7090 | 2022-05-17 15:57 | 2.3309 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2216 | μmol/L | 18.8222 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.051 | 22981.2982 | 290478.432 | 28.7 | 67.6
7100 | 2022-05-17 15:57 | 2.6647 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0239 | μmol/L | 18.8222 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.059 | 22985.8765 | 290468.4269 | 28.7 | 67.6
7110 | 2022-05-17 15:58 | 2.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3372 | μmol/L | 18.8161 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.089 | 22993.9272 | 290465.8241 | 28.7 | 67.6
7120 | 2022-05-17 15:58 | 3.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.5304 | μmol/L | 18.8222 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.079 | 22991.3203 | 290455.6477 | 28.7 | 67.6
7130 | 2022-05-17 15:58 | 3.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3903 | μmol/L | 18.81 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.089 | 22992.8352 | 290455.822 | 28.7 | 67.6
7140 | 2022-05-17 15:59 | 3.9975 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1402 | μmol/L | 18.8161 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.097 | 23000.0336 | 290464.9726 | 28.7 | 67.6
7150 | 2022-05-17 15:59 | 4.3316 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5789 | μmol/L | 18.81 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.122 | 22999.4631 | 290451.8872 | 28.7 | 67.6
7160 | 2022-05-17 15:59 | 4.6647 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5622 | μmol/L | 18.7979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.127 | 23000.2733 | 290436.0853 | 28.7 | 67.6
7170 | 2022-05-17 16:00 | 4.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.3865 | μmol/L | 18.804 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.132 | 23003.5649 | 290443.947 | 28.7 | 67.6
7180 | 2022-05-17 16:00 | 5.3312 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1288 | μmol/L | 18.7857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 23000.7001 | 290442.6105 | 28.7 | 67.6
7190 | 2022-05-17 16:00 | 5.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1003 | μmol/L | 18.7918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.148 | 23008.7443 | 290449.8495 | 28.7 | 67.6
7200 | 2022-05-17 16:01 | 5.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1082 | μmol/L | 18.7796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.152 | 23006.8419 | 290447.3681 | 28.7 | 67.6
7210 | 2022-05-17 16:01 | 6.3314 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0103 | μmol/L | 18.7796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.156 | 23002.7898 | 290441.7826 | 28.7 | 67.6
7220 | 2022-05-17 16:01 | 6.6646 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8635 | μmol/L | 18.7796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.162 | 22998.4887 | 290431.3037 | 28.7 | 67.6
7230 | 2022-05-17 16:02 | 6.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6838 | μmol/L | 18.7553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.178 | 22996.1982 | 290420.8539 | 28.7 | 67.6
7240 | 2022-05-17 16:02 | 7.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7532 | μmol/L | 18.7614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.173 | 22999.8809 | 290429.2062 | 28.7 | 67.6
7250 | 2022-05-17 16:02 | 7.6649 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7287 | μmol/L | 18.7614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.174 | 22988.5032 | 290422.6076 | 28.7 | 67.6
7260 | 2022-05-17 16:03 | 7.9976 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0098 | μmol/L | 18.7431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.169 | 22984.6063 | 290414.7285 | 28.7 | 67.6
7270 | 2022-05-17 16:03 | 8.3309 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0587 | μmol/L | 18.7431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.167 | 22985.3322 | 290427.0849 | 28.7 | 67.6
7280 | 2022-05-17 16:03 | 8.6649 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6714 | μmol/L | 18.737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.185 | 22987.4293 | 290410.0893 | 28.7 | 67.6
7290 | 2022-05-17 16:04 | 8.9983 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8385 | μmol/L | 18.7431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.176 | 22983.3119 | 290410.2064 | 28.7 | 67.6
7300 | 2022-05-17 16:04 | 9.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4964 | μmol/L | 18.7431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.19 | 22972.3374 | 290403.5565 | 28.7 | 67.6
7310 | 2022-05-17 16:04 | 9.6647 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6755 | μmol/L | 18.731 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.187 | 22956.8068 | 290408.6906 | 28.7 | 67.6
7320 | 2022-05-17 16:05 | 9.9975 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.2848 | μmol/L | 18.731 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.203 | 22962.5373 | 290391.5764 | 28.7 | 67.6
7330 | 2022-05-17 16:05 | 10.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4476 | μmol/L | 18.7431 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.192 | 22961.6959 | 290412.1019 | 28.7 | 67.6
7340 | 2022-05-17 16:05 | 10.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4192 | μmol/L | 18.7492 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.191 | 22960.9741 | 290387.1301 | 28.7 | 67.6
7350 | 2022-05-17 16:06 | 10.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.232 | μmol/L | 18.737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.203 | 22957.6256 | 290406.6862 | 28.7 | 67.6
7360 | 2022-05-17 16:06 | 11.3316 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.358 | μmol/L | 18.731 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 22958.238 | 290381.8181 | 28.7 | 67.6
7370 | 2022-05-17 16:06 | 11.6646 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0126 | μmol/L | 18.737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.212 | 22959.8555 | 290402.11 | 28.7 | 67.6
7380 | 2022-05-17 16:07 | 11.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0451 | μmol/L | 18.7249 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.215 | 22970.5674 | 290389.249 | 28.7 | 67.6
7390 | 2022-05-17 16:07 | 12.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.4853 | μmol/L | 18.7249 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.238 | 22989.5414 | 290393.7828 | 28.7 | 67.6
7400 | 2022-05-17 16:07 | 12.6644 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.2465 | μmol/L | 18.7188 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.25 | 23004.8982 | 290398.1236 | 28.7 | 67.6
7410 | 2022-05-17 16:08 | 12.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.729 | μmol/L | 18.731 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.267 | 23026.0379 | 290390.3765 | 28.7 | 67.6
7420 | 2022-05-17 16:08 | 13.3316 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.4549 | μmol/L | 18.7066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.287 | 23041.2694 | 290378.4922 | 28.7 | 67.6
7430 | 2022-05-17 16:08 | 13.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.3298 | μmol/L | 18.7127 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.29 | 23050.4586 | 290392.3197 | 28.7 | 67.6
7440 | 2022-05-17 16:09 | 13.9978 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.4651 | μmol/L | 18.7066 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.328 | 23066.455 | 290388.9242 | 28.7 | 67.6
7450 | 2022-05-17 16:09 | 14.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.2525 | μmol/L | 18.7006 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.339 | 23086.1818 | 290399.2605 | 28.7 | 67.6
7460 | 2022-05-17 16:09 | 14.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.1322 | μmol/L | 18.7006 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.344 | 23088.425 | 290401.3742 | 28.7 | 67.6
7470 | 2022-05-17 16:10 | 14.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.2127 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.345 | 23087.4574 | 290398.7501 | 28.7 | 67.6
7480 | 2022-05-17 16:10 | 15.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.8083 | μmol/L | 18.6823 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.364 | 23092.4793 | 290386.4561 | 28.7 | 67.6
7490 | 2022-05-17 16:10 | 15.6648 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.7122 | μmol/L | 18.6823 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.368 | 23099.2742 | 290395.0048 | 28.7 | 67.6
7500 | 2022-05-17 16:11 | 15.9975 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.5359 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.371 | 23100.284 | 290375.7712 | 28.7 | 67.6
7510 | 2022-05-17 16:11 | 16.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.4441 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.377 | 23102.58 | 290387.4101 | 28.7 | 67.6
7520 | 2022-05-17 16:11 | 16.6646 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.6319 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 23097.2571 | 290385.9771 | 28.7 | 67.6
7530 | 2022-05-17 16:12 | 16.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.3243 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.382 | 23093.1734 | 290379.46 | 28.7 | 67.6
7540 | 2022-05-17 16:12 | 17.3316 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.588 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.371 | 23092.4087 | 290396.9452 | 28.7 | 67.6
7550 | 2022-05-17 16:12 | 17.6642 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.0129 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.395 | 23103.4529 | 290385.472 | 28.7 | 67.6
7560 | 2022-05-17 16:13 | 17.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.8975 | μmol/L | 18.6823 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.402 | 23111.4117 | 290386.0873 | 28.7 | 67.6
7570 | 2022-05-17 16:13 | 18.3313 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.3396 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 23128.7224 | 290404.5682 | 28.7 | 67.6
7580 | 2022-05-17 16:13 | 18.6646 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.3158 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.422 | 23132.9765 | 290389.1183 | 28.7 | 67.6
7590 | 2022-05-17 16:14 | 18.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.9624 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.439 | 23141.4518 | 290399.5966 | 28.7 | 67.6
7600 | 2022-05-17 16:14 | 19.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.9428 | μmol/L | 18.6823 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.442 | 23146.2239 | 290386.4518 | 28.7 | 67.6
7610 | 2022-05-17 16:14 | 19.6646 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.0381 | μmol/L | 18.6823 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 23132.7037 | 290392.6278 | 28.7 | 67.6
7620 | 2022-05-17 16:15 | 19.9983 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6894 | μmol/L | 18.6701 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.457 | 23140.47 | 290400.1913 | 28.7 | 67.6
7630 | 2022-05-17 16:15 | 20.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6461 | μmol/L | 18.6641 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.461 | 23150.1219 | 290388.4545 | 28.7 | 67.6
7640 | 2022-05-17 16:15 | 20.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6742 | μmol/L | 18.658 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.462 | 23152.1134 | 290396.6057 | 28.7 | 67.6
7650 | 2022-05-17 16:16 | 20.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.8926 | μmol/L | 18.6519 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.455 | 23154.6094 | 290398.8085 | 28.7 | 67.6
7660 | 2022-05-17 16:16 | 21.3316 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.3177 | μmol/L | 18.658 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.477 | 23162.6191 | 290392.6792 | 28.7 | 67.6
7670 | 2022-05-17 16:16 | 21.6649 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.4925 | μmol/L | 18.6458 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.474 | 23165.5392 | 290382.0972 | 28.7 | 67.6
7680 | 2022-05-17 16:17 | 21.9977 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.994 | μmol/L | 18.6458 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.495 | 23169.0826 | 290390.8686 | 28.7 | 67.6
7690 | 2022-05-17 16:17 | 22.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.0695 | μmol/L | 18.6397 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.494 | 23175.5617 | 290391.3818 | 28.7 | 67.6
7700 | 2022-05-17 16:17 | 22.6642 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.6623 | μmol/L | 18.6458 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.509 | 23181.235 | 290387.7475 | 28.7 | 67.6
7710 | 2022-05-17 16:18 | 22.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.7377 | μmol/L | 18.6397 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.508 | 23188.1737 | 290395.9162 | 28.7 | 67.6
7720 | 2022-05-17 16:18 | 23.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.3118 | μmol/L | 18.6397 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.526 | 23196.3014 | 290385.9213 | 28.7 | 67.6
7730 | 2022-05-17 16:18 | 23.6644 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.3354 | μmol/L | 18.6397 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.525 | 23204.5249 | 290399.9771 | 28.7 | 67.6
7740 | 2022-05-17 16:19 | 23.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1507 | μmol/L | 18.6336 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.535 | 23212.1179 | 290399.9884 | 28.7 | 67.6
7750 | 2022-05-17 16:19 | 24.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.2452 | μmol/L | 18.6336 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.531 | 23204.2852 | 290386.7235 | 28.7 | 67.6
7760 | 2022-05-17 16:19 | 24.6644 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.9748 | μmol/L | 18.6154 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 23215.2101 | 290397.3331 | 28.7 | 67.6
7770 | 2022-05-17 16:20 | 24.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.801 | μmol/L | 18.6276 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.552 | 23216.1584 | 290390.5366 | 28.7 | 67.6
7780 | 2022-05-17 16:20 | 25.3313 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.4754 | μmol/L | 18.6215 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.568 | 23232.9451 | 290410.2051 | 28.7 | 67.6
7790 | 2022-05-17 16:20 | 25.6642 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.3429 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.578 | 23237.7051 | 290413.3912 | 28.7 | 67.6
7800 | 2022-05-17 16:21 | 25.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.5077 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.571 | 23241.255 | 290417.9338 | 28.7 | 67.6
7810 | 2022-05-17 16:21 | 26.3314 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.3664 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.577 | 23242.3528 | 290408.2434 | 28.7 | 67.6
7820 | 2022-05-17 16:21 | 26.665 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.3194 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.579 | 23239.3646 | 290415.0552 | 28.7 | 67.6
7830 | 2022-05-17 16:22 | 26.9976 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.0842 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.589 | 23251.4031 | 290398.4714 | 28.7 | 67.6
7840 | 2022-05-17 16:22 | 27.3313 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8581 | μmol/L | 18.5971 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.603 | 23252.7703 | 290417.5193 | 28.7 | 67.6
7850 | 2022-05-17 16:22 | 27.6649 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.2253 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.583 | 23267.738 | 290411.5649 | 28.7 | 67.6
7860 | 2022-05-17 16:23 | 27.9978 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6659 | μmol/L | 18.6032 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.609 | 23279.1266 | 290401.5121 | 28.7 | 67.6
7870 | 2022-05-17 16:23 | 28.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6278 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.615 | 23288.7056 | 290430.8575 | 28.7 | 67.6
7880 | 2022-05-17 16:23 | 28.6648 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2484 | μmol/L | 18.5971 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.629 | 23292.3376 | 290411.5047 | 28.7 | 67.6
7890 | 2022-05-17 16:24 | 28.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.8185 | μmol/L | 18.6093 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.643 | 23295.1392 | 290414.9785 | 28.7 | 67.6
7900 | 2022-05-17 16:24 | 29.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.7529 | μmol/L | 18.6032 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.648 | 23299.5673 | 290409.9279 | 28.7 | 67.6
7910 | 2022-05-17 16:24 | 29.6644 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.7529 | μmol/L | 18.6032 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.648 | 23307.341 | 290416.5302 | 28.7 | 67.6
7920 | 2022-05-17 16:25 | 29.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4071 | μmol/L | 18.5971 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.665 | 23320.8186 | 290418.6292 | 28.7 | 67.6
7930 | 2022-05-17 16:25 | 30.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.2294 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.677 | 23331.075 | 290443.7242 | 28.7 | 67.6
7940 | 2022-05-17 16:25 | 30.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.9921 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.685 | 23331.7576 | 290425.0344 | 28.7 | 67.6
7950 | 2022-05-17 16:26 | 30.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.7084 | μmol/L | 18.5971 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.695 | 23332.6307 | 290413.4326 | 28.7 | 67.6
7960 | 2022-05-17 16:26 | 31.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.8757 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.69 | 23341.2548 | 290431.1032 | 28.7 | 67.6
7970 | 2022-05-17 16:26 | 31.6646 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.7128 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.697 | 23334.3733 | 290429.5897 | 28.7 | 67.6
7980 | 2022-05-17 16:27 | 31.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.848 | μmol/L | 18.5971 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.689 | 23335.2744 | 290424.4612 | 28.7 | 67.6
7990 | 2022-05-17 16:27 | 32.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.9732 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.688 | 23332.8019 | 290424.9836 | 28.7 | 67.6
8000 | 2022-05-17 16:27 | 32.665 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.8148 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.697 | 23330.3151 | 290419.7212 | 28.7 | 67.6
8010 | 2022-05-17 16:28 | 32.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.9499 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.689 | 23334.4133 | 290412.7099 | 28.7 | 67.6
8020 | 2022-05-17 16:28 | 33.3317 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.6011 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.704 | 23342.539 | 290421.0988 | 28.7 | 67.6
8030 | 2022-05-17 16:28 | 33.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4152 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.712 | 23347.2668 | 290417.1708 | 28.7 | 67.6
8040 | 2022-05-17 16:29 | 33.9976 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.5778 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.705 | 23350.814 | 290430.9112 | 28.7 | 67.6
8050 | 2022-05-17 16:29 | 34.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.2385 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.724 | 23361.6228 | 290404.943 | 28.7 | 67.6
8060 | 2022-05-17 16:29 | 34.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.0948 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.728 | 23367.5066 | 290409.8987 | 28.7 | 67.6
8070 | 2022-05-17 16:30 | 34.9977 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.5391 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.752 | 23380.488 | 290398.4985 | 28.7 | 67.6
8080 | 2022-05-17 16:30 | 35.3314 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6316 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 23379.6673 | 290391.6403 | 28.7 | 67.6
8090 | 2022-05-17 16:30 | 35.6643 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.5622 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.751 | 23385.0025 | 290395.9967 | 28.7 | 67.6
8100 | 2022-05-17 16:31 | 35.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.2431 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.767 | 23392.9028 | 290407.8858 | 28.7 | 67.6
8110 | 2022-05-17 16:31 | 36.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.4973 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.756 | 23391.5777 | 290401.8951 | 28.7 | 67.6
8120 | 2022-05-17 16:31 | 36.6647 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.9385 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.778 | 23412.6163 | 290398.8657 | 28.7 | 67.6
8130 | 2022-05-17 16:32 | 36.998 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.9616 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.777 | 23423.735 | 290386.2698 | 28.7 | 67.6
8140 | 2022-05-17 16:32 | 37.3316 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.5513 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.797 | 23413.3169 | 290396.9704 | 28.7 | 67.6
8150 | 2022-05-17 16:32 | 37.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.7816 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.787 | 23414.1096 | 290394.0476 | 28.7 | 67.6
8160 | 2022-05-17 16:33 | 37.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.2521 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.81 | 23418.9397 | 290387.8118 | 28.7 | 67.6
8170 | 2022-05-17 16:33 | 38.3312 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.958 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.825 | 23446.6909 | 290398.0037 | 28.7 | 67.6
8180 | 2022-05-17 16:33 | 38.6648 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.8202 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.831 | 23456.4015 | 290386.8737 | 28.7 | 67.6
8190 | 2022-05-17 16:34 | 38.9976 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.4305 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.848 | 23481.5019 | 290390.0573 | 28.7 | 67.6
8200 | 2022-05-17 16:34 | 39.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5343 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.885 | 23500.1693 | 290387.9056 | 28.7 | 67.6
8210 | 2022-05-17 16:34 | 39.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.8128 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.875 | 23509.5772 | 290372.3376 | 28.7 | 67.6
8220 | 2022-05-17 16:35 | 39.9976 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.2015 | μmol/L | 18.5607 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.904 | 23517.2502 | 290378.6886 | 28.7 | 67.6
8230 | 2022-05-17 16:35 | 40.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4933 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.889 | 23508.0242 | 290370.9493 | 28.7 | 67.6
8240 | 2022-05-17 16:35 | 40.6647 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5161 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.888 | 23504.2608 | 290376.9792 | 28.7 | 67.6
8250 | 2022-05-17 16:36 | 40.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9362 | μmol/L | 18.5546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.874 | 23498.5235 | 290364.6935 | 28.7 | 67.6
8260 | 2022-05-17 16:36 | 41.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.685 | μmol/L | 18.5546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.885 | 23500.405 | 290373.5321 | 28.7 | 67.6
8270 | 2022-05-17 16:36 | 41.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.822 | μmol/L | 18.5546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.879 | 23501.5037 | 290365.4549 | 28.7 | 67.6
8280 | 2022-05-17 16:37 | 41.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4888 | μmol/L | 18.5424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.898 | 23511.9088 | 290364.9834 | 28.7 | 67.6
8290 | 2022-05-17 16:37 | 42.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1424 | μmol/L | 18.5485 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.911 | 23523.3963 | 290372.2032 | 28.7 | 67.6
8300 | 2022-05-17 16:37 | 42.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.7784 | μmol/L | 18.5485 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.927 | 23530.7728 | 290362.4982 | 28.7 | 67.6
8310 | 2022-05-17 16:38 | 42.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.724 | μmol/L | 18.5424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.02 | 23638.1481 | 290360.2929 | 28.7 | 67.6
8320 | 2022-05-17 16:38 | 43.3311 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.6922 | μmol/L | 18.5546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.017 | 23655.1804 | 290351.6553 | 28.7 | 67.6
8330 | 2022-05-17 16:38 | 43.6648 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.4897 | μmol/L | 18.5546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.026 | 23652.0714 | 290363.7042 | 28.7 | 67.6
8340 | 2022-05-17 16:39 | 43.9976 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.4718 | μmol/L | 18.5485 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.029 | 23635.5071 | 290358.4313 | 28.7 | 67.6
8350 | 2022-05-17 16:39 | 44.3314 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.4811 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.033 | 23632.9029 | 290343.201 | 28.7 | 67.6
8360 | 2022-05-17 16:39 | 44.6642 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.2247 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23 | 23599.7092 | 290359.5703 | 28.7 | 67.6
8370 | 2022-05-17 16:40 | 44.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.6267 | μmol/L | 18.5424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.98 | 23590.356 | 290366.8956 | 28.7 | 67.6
8380 | 2022-05-17 16:40 | 45.331 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.4279 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.991 | 23585.6137 | 290344.3283 | 28.7 | 67.6
8390 | 2022-05-17 16:40 | 45.6645 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.5681 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.987 | 23584.8639 | 290335.5329 | 28.7 | 67.6
8400 | 2022-05-17 16:41 | 45.9982 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.4551 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.992 | 23587.3757 | 290338.953 | 28.7 | 67.6
8410 | 2022-05-17 16:41 | 46.3315 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.0667 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.007 | 23602.4003 | 290342.4977 | 28.7 | 67.6
8420 | 2022-05-17 16:41 | 46.6644 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.7963 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.019 | 23611.2055 | 290344.1192 | 28.7 | 67.6
8430 | 2022-05-17 16:42 | 46.9981 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.7784 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 23612.3076 | 290322.3401 | 28.7 | 67.6
8440 | 2022-05-17 16:42 | 47.3308 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.8685 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.018 | 23621.8986 | 290335.9133 | 28.7 | 67.6
8450 | 2022-05-17 16:42 | 47.6647 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.499 | μmol/L | 18.5424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.03 | 23619.3986 | 290322.8936 | 28.7 | 67.6
8460 | 2022-05-17 16:43 | 47.9978 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5758 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.031 | 23631.129 | 290330.164 | 28.7 | 67.6
8470 | 2022-05-17 16:43 | 48.3312 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5083 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.034 | 23626.2694 | 290325.789 | 28.7 | 67.6
8480 | 2022-05-17 16:43 | 48.6649 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.144 | μmol/L | 18.5363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.048 | 23636.4476 | 290318.2403 | 28.7 | 67.6
8490 | 2022-05-17 16:44 | 48.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.1037 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.052 | 23640.4455 | 290308.9163 | 28.7 | 67.6
8500 | 2022-05-17 16:44 | 49.3314 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.0635 | μmol/L | 18.5242 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.056 | 23642.5129 | 290323.7058 | 28.7 | 67.6
8510 | 2022-05-17 16:44 | 49.6642 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.0813 | μmol/L | 18.5302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.053 | 23648.0165 | 290303.9133 | 28.7 | 67.6
8520 | 2022-05-17 16:45 | 49.9979 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.9738 | μmol/L | 18.5242 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.06 | 23650.9322 | 290310.5587 | 28.7 | 67.6