## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7017 | 2022-05-17 15:55 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0186 | μmol/L | 18.8241 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.179 | 119263.9044 | 288136.0472 | 59.9307 | 49.4
7027 | 2022-05-17 15:55 | 0.32934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1455 | μmol/L | 18.8179 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.176 | 119264.5844 | 288120.3613 | 59.9307 | 49.4
7037 | 2022-05-17 15:55 | 0.66238 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1211 | μmol/L | 18.8179 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.177 | 119272.5081 | 288114.3335 | 59.9307 | 49.4
7047 | 2022-05-17 15:56 | 0.99556 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0572 | μmol/L | 18.8056 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.184 | 119277.7922 | 288126.6428 | 59.9307 | 49.4
7057 | 2022-05-17 15:56 | 1.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0816 | μmol/L | 18.8056 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.183 | 119274.8862 | 288121.592 | 59.9307 | 49.4
7067 | 2022-05-17 15:56 | 1.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0864 | μmol/L | 18.7994 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.185 | 119283.0995 | 288104.8112 | 59.9307 | 49.4
7077 | 2022-05-17 15:57 | 1.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2133 | μmol/L | 18.7933 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.182 | 119277.7291 | 288097.3784 | 59.9307 | 49.4
7087 | 2022-05-17 15:57 | 2.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1739 | μmol/L | 18.7809 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.188 | 119280.1458 | 288110.9365 | 59.9307 | 49.4
7097 | 2022-05-17 15:57 | 2.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.125 | μmol/L | 18.7809 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.19 | 119288.6449 | 288078.9715 | 59.9307 | 49.4
7107 | 2022-05-17 15:58 | 2.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1786 | μmol/L | 18.7747 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.19 | 119291.9886 | 288072.1027 | 59.9307 | 49.4
7117 | 2022-05-17 15:58 | 3.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1786 | μmol/L | 18.7747 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.19 | 119285.9464 | 288075.2609 | 59.9307 | 49.4
7127 | 2022-05-17 15:58 | 3.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2323 | μmol/L | 18.7686 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.19 | 119284.6843 | 288056.2779 | 59.9307 | 49.4
7137 | 2022-05-17 15:59 | 3.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1101 | μmol/L | 18.7686 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.195 | 119294.8837 | 288069.1913 | 59.9307 | 49.4
7147 | 2022-05-17 15:59 | 4.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2859 | μmol/L | 18.7624 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.19 | 119282.8843 | 288050.4846 | 59.9307 | 49.4
7157 | 2022-05-17 15:59 | 4.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2418 | μmol/L | 18.7562 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.194 | 119288.1234 | 288062.5048 | 59.9307 | 49.4
7167 | 2022-05-17 16:00 | 4.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3396 | μmol/L | 18.7562 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.19 | 119278.7055 | 288054.0061 | 59.9307 | 49.4
7177 | 2022-05-17 16:00 | 5.3286 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3736 | μmol/L | 18.7439 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.193 | 119280.4888 | 288042.9428 | 59.9307 | 49.4
7187 | 2022-05-17 16:00 | 5.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2955 | μmol/L | 18.7501 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.194 | 119269.8245 | 288048.8789 | 59.9307 | 49.4
7197 | 2022-05-17 16:01 | 5.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3051 | μmol/L | 18.7377 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.198 | 119279.5782 | 288044.8726 | 59.9307 | 49.4
7207 | 2022-05-17 16:01 | 6.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3588 | μmol/L | 18.7315 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.198 | 119276.895 | 288025.5501 | 59.9307 | 49.4
7217 | 2022-05-17 16:01 | 6.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3588 | μmol/L | 18.7315 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.198 | 119276.5286 | 288024.5776 | 59.9307 | 49.4
7227 | 2022-05-17 16:02 | 6.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4125 | μmol/L | 18.7254 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.198 | 119276.5565 | 288016.6862 | 59.9307 | 49.4
7237 | 2022-05-17 16:02 | 7.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.261 | μmol/L | 18.7315 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.202 | 119283.9539 | 288033.7107 | 59.9307 | 49.4
7247 | 2022-05-17 16:02 | 7.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3636 | μmol/L | 18.7254 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.2 | 119274.6416 | 288017.2335 | 59.9307 | 49.4
7257 | 2022-05-17 16:03 | 7.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3684 | μmol/L | 18.7192 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.202 | 119271.2629 | 288016.3538 | 59.9307 | 49.4
7267 | 2022-05-17 16:03 | 8.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3977 | μmol/L | 18.713 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.203 | 119280.5306 | 288023.4564 | 59.9307 | 49.4
7277 | 2022-05-17 16:03 | 8.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2951 | μmol/L | 18.7192 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.205 | 119279.6874 | 288010.4964 | 59.9307 | 49.4
7287 | 2022-05-17 16:04 | 8.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4025 | μmol/L | 18.7069 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.205 | 119279.7528 | 288015.1823 | 59.9307 | 49.4
7297 | 2022-05-17 16:04 | 9.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.378 | μmol/L | 18.7069 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.206 | 119272.4732 | 288010.6319 | 59.9307 | 49.4
7307 | 2022-05-17 16:04 | 9.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4025 | μmol/L | 18.7069 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.205 | 119269.0479 | 287998.7618 | 59.9307 | 49.4
7317 | 2022-05-17 16:05 | 9.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.334 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.21 | 119278.3435 | 288022.1104 | 59.9307 | 49.4
7327 | 2022-05-17 16:05 | 10.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4807 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.204 | 119279.0954 | 288001.1043 | 59.9307 | 49.4
7337 | 2022-05-17 16:05 | 10.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5589 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.203 | 119278.6596 | 287992.7645 | 59.9307 | 49.4
7347 | 2022-05-17 16:06 | 10.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4366 | μmol/L | 18.6945 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.208 | 119280.7838 | 287992.9942 | 59.9307 | 49.4
7357 | 2022-05-17 16:06 | 11.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4415 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.21 | 119280.5984 | 288012.1943 | 59.9307 | 49.4
7367 | 2022-05-17 16:06 | 11.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4952 | μmol/L | 18.6822 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.21 | 119290.7473 | 288004.1106 | 59.9307 | 49.4
7377 | 2022-05-17 16:07 | 11.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.417 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.211 | 119292.4797 | 287989.8867 | 59.9307 | 49.4
7387 | 2022-05-17 16:07 | 12.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3926 | μmol/L | 18.6884 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.212 | 119287.9302 | 287975.555 | 59.9307 | 49.4
7397 | 2022-05-17 16:07 | 12.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.5245 | μmol/L | 18.676 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.211 | 119292.6568 | 288001.5071 | 59.9307 | 49.4
7407 | 2022-05-17 16:08 | 12.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4267 | μmol/L | 18.676 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.215 | 119299.6701 | 287994.8628 | 59.9307 | 49.4
7417 | 2022-05-17 16:08 | 13.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4219 | μmol/L | 18.6822 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.213 | 119299.2737 | 287991.6068 | 59.9307 | 49.4
7427 | 2022-05-17 16:08 | 13.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4805 | μmol/L | 18.6698 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.215 | 119308.8116 | 287986.3833 | 59.9307 | 49.4
7437 | 2022-05-17 16:09 | 13.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4609 | μmol/L | 18.6637 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.218 | 119317.2996 | 288002.6651 | 59.9307 | 49.4
7447 | 2022-05-17 16:09 | 14.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3583 | μmol/L | 18.6698 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.22 | 119324.727 | 287981.8867 | 59.9307 | 49.4
7457 | 2022-05-17 16:09 | 14.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.412 | μmol/L | 18.6637 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.22 | 119333.8415 | 287992.0251 | 59.9307 | 49.4
7467 | 2022-05-17 16:10 | 14.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.4365 | μmol/L | 18.6637 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.219 | 119346.5735 | 287982.0492 | 59.9307 | 49.4
7477 | 2022-05-17 16:10 | 15.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3143 | μmol/L | 18.6637 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.224 | 119352.5719 | 287977.3236 | 59.9307 | 49.4
7487 | 2022-05-17 16:10 | 15.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3974 | μmol/L | 18.6513 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.225 | 119364.1066 | 287992.9075 | 59.9307 | 49.4
7497 | 2022-05-17 16:11 | 15.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3241 | μmol/L | 18.6513 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.228 | 119366.7663 | 287981.6428 | 59.9307 | 49.4
7507 | 2022-05-17 16:11 | 16.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1776 | μmol/L | 18.6513 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.234 | 119372.8723 | 287977.8539 | 59.9307 | 49.4
7517 | 2022-05-17 16:11 | 16.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2557 | μmol/L | 18.6452 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.233 | 119390.3214 | 287963.3677 | 59.9307 | 49.4
7527 | 2022-05-17 16:12 | 16.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2362 | μmol/L | 18.639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.236 | 119405.223 | 287982.2685 | 59.9307 | 49.4
7537 | 2022-05-17 16:12 | 17.3286 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1874 | μmol/L | 18.639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.238 | 119413.4959 | 287975.9574 | 59.9307 | 49.4
7547 | 2022-05-17 16:12 | 17.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.163 | μmol/L | 18.639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.239 | 119431.7495 | 287962.7116 | 59.9307 | 49.4
7557 | 2022-05-17 16:13 | 17.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1923 | μmol/L | 18.6328 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.24 | 119437.6501 | 287981.0473 | 59.9307 | 49.4
7567 | 2022-05-17 16:13 | 18.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0654 | μmol/L | 18.639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.243 | 119447.2307 | 287966.4325 | 59.9307 | 49.4
7577 | 2022-05-17 16:13 | 18.662 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0947 | μmol/L | 18.6328 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.244 | 119462.5643 | 287971.5053 | 59.9307 | 49.4
7587 | 2022-05-17 16:14 | 18.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9678 | μmol/L | 18.639 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.247 | 119480.5494 | 287980.3032 | 59.9307 | 49.4
7597 | 2022-05-17 16:14 | 19.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9533 | μmol/L | 18.6266 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.252 | 119496.2225 | 287976.6944 | 59.9307 | 49.4
7607 | 2022-05-17 16:14 | 19.662 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.007 | μmol/L | 18.6205 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.252 | 119507.932 | 287982.6976 | 59.9307 | 49.4
7617 | 2022-05-17 16:15 | 19.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9045 | μmol/L | 18.6266 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.254 | 119505.0777 | 287968.0703 | 59.9307 | 49.4
7627 | 2022-05-17 16:15 | 20.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9094 | μmol/L | 18.6205 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.256 | 119529.6707 | 287967.2536 | 59.9307 | 49.4
7637 | 2022-05-17 16:15 | 20.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8363 | μmol/L | 18.6205 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.259 | 119534.8049 | 287955.9994 | 59.9307 | 49.4
7647 | 2022-05-17 16:16 | 20.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9193 | μmol/L | 18.6081 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.26 | 119538.0435 | 287973.67 | 59.9307 | 49.4
7657 | 2022-05-17 16:16 | 21.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8413 | μmol/L | 18.6143 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.261 | 119554.7365 | 287971.1242 | 59.9307 | 49.4
7667 | 2022-05-17 16:16 | 21.662 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8218 | μmol/L | 18.6081 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.264 | 119567.1225 | 287980.7503 | 59.9307 | 49.4
7677 | 2022-05-17 16:17 | 21.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.7488 | μmol/L | 18.6081 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.267 | 119563.3929 | 287956.7735 | 59.9307 | 49.4
7687 | 2022-05-17 16:17 | 22.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8268 | μmol/L | 18.602 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.266 | 119583.6496 | 287962.7054 | 59.9307 | 49.4
7697 | 2022-05-17 16:17 | 22.662 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.7731 | μmol/L | 18.6081 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.266 | 119589.1687 | 287961.7238 | 59.9307 | 49.4
7707 | 2022-05-17 16:18 | 22.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.7294 | μmol/L | 18.602 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.27 | 119603.2057 | 287968.3986 | 59.9307 | 49.4
7717 | 2022-05-17 16:18 | 23.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.6563 | μmol/L | 18.602 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.273 | 119616.9903 | 287947.8786 | 59.9307 | 49.4
7727 | 2022-05-17 16:18 | 23.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.6856 | μmol/L | 18.5958 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.274 | 119630.864 | 287965.4654 | 59.9307 | 49.4
7737 | 2022-05-17 16:19 | 23.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.5589 | μmol/L | 18.602 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.277 | 119643.9542 | 287952.9904 | 59.9307 | 49.4
7747 | 2022-05-17 16:19 | 24.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.5883 | μmol/L | 18.5958 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.278 | 119651.0967 | 287940.891 | 59.9307 | 49.4
7757 | 2022-05-17 16:19 | 24.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.5689 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.281 | 119666.2296 | 287959.385 | 59.9307 | 49.4
7767 | 2022-05-17 16:20 | 24.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.6226 | μmol/L | 18.5835 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.281 | 119682.932 | 287946.9979 | 59.9307 | 49.4
7777 | 2022-05-17 16:20 | 25.3286 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4472 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.286 | 119703.4108 | 287940.9973 | 59.9307 | 49.4
7787 | 2022-05-17 16:20 | 25.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.35 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.29 | 119698.7015 | 287954.5918 | 59.9307 | 49.4
7797 | 2022-05-17 16:21 | 25.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4766 | μmol/L | 18.5835 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.287 | 119719.3232 | 287955.7051 | 59.9307 | 49.4
7807 | 2022-05-17 16:21 | 26.3286 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3257 | μmol/L | 18.5896 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.291 | 119728.0226 | 287974.2336 | 59.9307 | 49.4
7817 | 2022-05-17 16:21 | 26.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3357 | μmol/L | 18.5773 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.295 | 119741.9044 | 287957.3107 | 59.9307 | 49.4
7827 | 2022-05-17 16:22 | 26.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.36 | μmol/L | 18.5773 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.294 | 119747.5876 | 287943.8498 | 59.9307 | 49.4
7837 | 2022-05-17 16:22 | 27.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4622 | μmol/L | 18.5711 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.292 | 119763.7499 | 287949.7385 | 59.9307 | 49.4
7847 | 2022-05-17 16:22 | 27.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.365 | μmol/L | 18.5711 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.296 | 119768.1364 | 287958.6276 | 59.9307 | 49.4
7857 | 2022-05-17 16:23 | 27.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3407 | μmol/L | 18.5711 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.297 | 119764.2155 | 287959.8044 | 59.9307 | 49.4
7867 | 2022-05-17 16:23 | 28.3293 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.2242 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.304 | 119781.0826 | 287971.067 | 59.9307 | 49.4
7877 | 2022-05-17 16:23 | 28.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3457 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.299 | 119771.7952 | 287944.5624 | 59.9307 | 49.4
7887 | 2022-05-17 16:24 | 28.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1463 | μmol/L | 18.5711 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.305 | 119787.5468 | 287949.6916 | 59.9307 | 49.4
7897 | 2022-05-17 16:24 | 29.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1513 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.307 | 119806.3733 | 287948.6395 | 59.9307 | 49.4
7907 | 2022-05-17 16:24 | 29.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1806 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.308 | 119820.0009 | 287957.0014 | 59.9307 | 49.4
7917 | 2022-05-17 16:25 | 29.9952 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.2049 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.307 | 119824.3918 | 287951.7129 | 59.9307 | 49.4
7927 | 2022-05-17 16:25 | 30.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.132 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.31 | 119845.2431 | 287964.9671 | 59.9307 | 49.4
7937 | 2022-05-17 16:25 | 30.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.1856 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.31 | 119864.8815 | 287959.0846 | 59.9307 | 49.4
7947 | 2022-05-17 16:26 | 30.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9864 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.316 | 119877.7226 | 287960.2904 | 59.9307 | 49.4
7957 | 2022-05-17 16:26 | 31.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9378 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.318 | 119889.002 | 287951.0357 | 59.9307 | 49.4
7967 | 2022-05-17 16:26 | 31.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.9671 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.319 | 119896.3853 | 287952.4685 | 59.9307 | 49.4
7977 | 2022-05-17 16:27 | 31.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8166 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.323 | 119908.7417 | 287951.1663 | 59.9307 | 49.4
7987 | 2022-05-17 16:27 | 32.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8944 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.322 | 119939.2147 | 287947.1562 | 59.9307 | 49.4
7997 | 2022-05-17 16:27 | 32.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8509 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.326 | 119945.4244 | 287934.6417 | 59.9307 | 49.4
8007 | 2022-05-17 16:28 | 32.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7539 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.33 | 119953.4987 | 287955.7228 | 59.9307 | 49.4
8017 | 2022-05-17 16:28 | 33.3291 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6519 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.332 | 119969.679 | 287946.3582 | 59.9307 | 49.4
8027 | 2022-05-17 16:28 | 33.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6327 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.335 | 119984.0507 | 287946.7377 | 59.9307 | 49.4
8037 | 2022-05-17 16:29 | 33.9955 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6035 | μmol/L | 18.5526 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.334 | 119994.6329 | 287955.3417 | 59.9307 | 49.4
8047 | 2022-05-17 16:29 | 34.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.6327 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.335 | 120014.0418 | 287960.8768 | 59.9307 | 49.4
8057 | 2022-05-17 16:29 | 34.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.439 | μmol/L | 18.5464 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.343 | 120024.0213 | 287955.843 | 59.9307 | 49.4
8067 | 2022-05-17 16:30 | 34.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.5217 | μmol/L | 18.5341 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.344 | 120048.5437 | 287969.9546 | 59.9307 | 49.4
8077 | 2022-05-17 16:30 | 35.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.444 | μmol/L | 18.5403 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.345 | 120048.346 | 287953.9218 | 59.9307 | 49.4
8087 | 2022-05-17 16:30 | 35.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3472 | μmol/L | 18.5403 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.349 | 120058.5909 | 287948.9192 | 59.9307 | 49.4
8097 | 2022-05-17 16:31 | 35.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.4198 | μmol/L | 18.5403 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.346 | 120071.2907 | 287953.7895 | 59.9307 | 49.4
8107 | 2022-05-17 16:31 | 36.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3281 | μmol/L | 18.5341 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.352 | 120085.4968 | 287960.9244 | 59.9307 | 49.4
8117 | 2022-05-17 16:31 | 36.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2263 | μmol/L | 18.5403 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.354 | 120102.6265 | 287959.2194 | 59.9307 | 49.4
8127 | 2022-05-17 16:32 | 36.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.2314 | μmol/L | 18.5341 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.356 | 120108.7022 | 287952.6445 | 59.9307 | 49.4
8137 | 2022-05-17 16:32 | 37.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1105 | μmol/L | 18.5341 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.361 | 120118.3063 | 287945.1355 | 59.9307 | 49.4
8147 | 2022-05-17 16:32 | 37.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1397 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.362 | 120144.6584 | 287952.5369 | 59.9307 | 49.4
8157 | 2022-05-17 16:33 | 37.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.1639 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.361 | 120156.3515 | 287936.3957 | 59.9307 | 49.4
8167 | 2022-05-17 16:33 | 38.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0965 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.366 | 120159.5182 | 287946.2023 | 59.9307 | 49.4
8177 | 2022-05-17 16:33 | 38.6619 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0189 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.367 | 120168.9547 | 287941.6708 | 59.9307 | 49.4
8187 | 2022-05-17 16:34 | 38.9954 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8981 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.372 | 120165.776 | 287925.7658 | 59.9307 | 49.4
8197 | 2022-05-17 16:34 | 39.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8791 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.375 | 120183.5008 | 287956.5977 | 59.9307 | 49.4
8207 | 2022-05-17 16:34 | 39.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7825 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.379 | 120192.7801 | 287953.2749 | 59.9307 | 49.4
8217 | 2022-05-17 16:35 | 39.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7291 | μmol/L | 18.5279 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.379 | 120208.5986 | 287930.7863 | 59.9307 | 49.4
8227 | 2022-05-17 16:35 | 40.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7584 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.38 | 120219.9279 | 287933.4838 | 59.9307 | 49.4
8237 | 2022-05-17 16:35 | 40.6626 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7101 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.382 | 120233.6528 | 287928.1239 | 59.9307 | 49.4
8247 | 2022-05-17 16:36 | 40.996 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7342 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.381 | 120248.1955 | 287931.9749 | 59.9307 | 49.4
8257 | 2022-05-17 16:36 | 41.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7152 | μmol/L | 18.5156 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.384 | 120257.6017 | 287927.7037 | 59.9307 | 49.4
8267 | 2022-05-17 16:36 | 41.6625 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6136 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.386 | 120261.7475 | 287926.6002 | 59.9307 | 49.4
8277 | 2022-05-17 16:37 | 41.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5705 | μmol/L | 18.5156 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.39 | 120275.5434 | 287926.6533 | 59.9307 | 49.4
8287 | 2022-05-17 16:37 | 42.3287 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5413 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.389 | 120281.83 | 287920.4074 | 59.9307 | 49.4
8297 | 2022-05-17 16:37 | 42.6622 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.4449 | μmol/L | 18.5217 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.393 | 120288.3278 | 287920.7663 | 59.9307 | 49.4
8307 | 2022-05-17 16:38 | 42.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5705 | μmol/L | 18.5156 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.39 | 120299.6869 | 287921.6744 | 59.9307 | 49.4
8317 | 2022-05-17 16:38 | 43.3286 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5464 | μmol/L | 18.5156 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.391 | 120299.1715 | 287931.8959 | 59.9307 | 49.4
8327 | 2022-05-17 16:38 | 43.662 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5223 | μmol/L | 18.5156 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.392 | 120289.1095 | 287941.3415 | 59.9307 | 49.4
8337 | 2022-05-17 16:39 | 43.9956 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7547 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.389 | 120251.9706 | 287939.6451 | 59.9307 | 49.4
8347 | 2022-05-17 16:39 | 44.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9376 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.377 | 120199.881 | 287941.5488 | 59.9307 | 49.4
8357 | 2022-05-17 16:39 | 44.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.01 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.374 | 120164.5586 | 287915.339 | 59.9307 | 49.4
8367 | 2022-05-17 16:40 | 44.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7203 | μmol/L | 18.5094 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.386 | 120233.9798 | 287933.8364 | 59.9307 | 49.4
8377 | 2022-05-17 16:40 | 45.3288 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6633 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.395 | 120289.2249 | 287929.2362 | 59.9307 | 49.4
8387 | 2022-05-17 16:40 | 45.6627 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.0547 | μmol/L | 18.4847 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.381 | 120197.1598 | 287922.7014 | 59.9307 | 49.4
8397 | 2022-05-17 16:41 | 45.9953 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8081 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.389 | 120233.8862 | 287912.5661 | 59.9307 | 49.4
8407 | 2022-05-17 16:41 | 46.3289 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.35 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.408 | 120357.4061 | 287914.0253 | 59.9307 | 49.4
8417 | 2022-05-17 16:41 | 46.6624 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.7247 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.434 | 120525.6005 | 287907.5095 | 59.9307 | 49.4
8427 | 2022-05-17 16:42 | 46.9958 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3647 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.449 | 120609.9749 | 287908.4362 | 59.9307 | 49.4
8437 | 2022-05-17 16:42 | 47.3286 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2876 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.45 | 120622.5561 | 287911.2512 | 59.9307 | 49.4
8447 | 2022-05-17 16:42 | 47.6621 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3356 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.448 | 120597.3475 | 287905.8314 | 59.9307 | 49.4
8457 | 2022-05-17 16:43 | 47.9957 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3356 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.448 | 120586.2603 | 287898.2871 | 59.9307 | 49.4
8467 | 2022-05-17 16:43 | 48.3292 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3116 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.449 | 120608.6472 | 287893.2563 | 59.9307 | 49.4
8477 | 2022-05-17 16:43 | 48.6623 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3408 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.45 | 120624.9529 | 287891.6599 | 59.9307 | 49.4
8487 | 2022-05-17 16:44 | 48.9961 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2825 | μmol/L | 18.5032 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.448 | 120612.3183 | 287882.2567 | 59.9307 | 49.4
8497 | 2022-05-17 16:44 | 49.329 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3887 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.448 | 120599.788 | 287884.3181 | 59.9307 | 49.4
8507 | 2022-05-17 16:44 | 49.662 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2825 | μmol/L | 18.5032 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.448 | 120581.6515 | 287893.3875 | 59.9307 | 49.4
8517 | 2022-05-17 16:45 | 49.9959 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4367 | μmol/L | 18.4909 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.446 | 120576.6705 | 287894.172 | 59.9307 | 49.4
8526 | 2022-05-17 16:45 | 50.3294 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.4075 | μmol/L | 18.4971 | °C | 1026 | hPa | Humid | 0 | 1 | 0 | 22.445 | 120575.699 | 287878.1041 | 59.9307 | 49.4