## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1558 | 2022-05-17 11:44 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.8445 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.521 | 95382.5033 | 212942.3167 | 27.3 | 43.4
1568 | 2022-05-17 11:44 | 0.33804 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.4911 | μmol/L | 18.0499 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.527 | 95479.7654 | 212943.7736 | 27.3 | 43.4
1578 | 2022-05-17 11:45 | 0.67166 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.0473 | μmol/L | 18.0499 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.543 | 95569.8942 | 212943.1734 | 27.3 | 43.4
1588 | 2022-05-17 11:45 | 1.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.1782 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.545 | 95449.7153 | 212943.4612 | 27.3 | 43.4
1598 | 2022-05-17 11:45 | 1.3388 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.2959 | μmol/L | 18.0254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.543 | 95513.7964 | 212937.0225 | 27.3 | 43.4
1608 | 2022-05-17 11:46 | 1.6719 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.1993 | μmol/L | 18.0377 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.542 | 95523.9788 | 212949.6732 | 27.3 | 43.4
1618 | 2022-05-17 11:46 | 2.0049 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.206 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.544 | 95597.9008 | 212953.4611 | 27.3 | 43.4
1628 | 2022-05-17 11:46 | 2.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.0397 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.55 | 95533.6523 | 212939.2202 | 27.3 | 43.4
1638 | 2022-05-17 11:47 | 2.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.1228 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.547 | 95568.6656 | 212943.4444 | 27.3 | 43.4
1648 | 2022-05-17 11:47 | 3.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.991 | μmol/L | 18.0254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.554 | 95548.7075 | 212926.893 | 27.3 | 43.4
1658 | 2022-05-17 11:47 | 3.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.9633 | μmol/L | 18.0254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.555 | 95605.886 | 212925.6263 | 27.3 | 43.4
1668 | 2022-05-17 11:48 | 3.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.9633 | μmol/L | 18.0254 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.555 | 95583.6798 | 212922.879 | 27.3 | 43.4
1678 | 2022-05-17 11:48 | 4.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.8315 | μmol/L | 18.0193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.562 | 95509.5972 | 212922.8203 | 27.3 | 43.4
1688 | 2022-05-17 11:48 | 4.338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.5338 | μmol/L | 18.0193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.609 | 95786.7609 | 212922.7479 | 27.3 | 43.4
1698 | 2022-05-17 11:49 | 4.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0246 | μmol/L | 18.0071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.632 | 95957.9395 | 212926.2308 | 27.3 | 43.4
1708 | 2022-05-17 11:49 | 5.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4071 | μmol/L | 18.0193 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.65 | 96002.003 | 212915.1365 | 27.3 | 43.4
1718 | 2022-05-17 11:49 | 5.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.455 | μmol/L | 18.001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.655 | 96030.3146 | 212910.8019 | 27.3 | 43.4
1728 | 2022-05-17 11:50 | 5.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.1194 | μmol/L | 18.0071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.665 | 96022.7625 | 212910.3006 | 27.3 | 43.4
1738 | 2022-05-17 11:50 | 6.0052 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.0372 | μmol/L | 18.0071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.668 | 96102.2499 | 212904.0562 | 27.3 | 43.4
1748 | 2022-05-17 11:50 | 6.3379 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.791 | μmol/L | 18.0071 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.677 | 96076.6897 | 212892.4563 | 27.3 | 43.4
1758 | 2022-05-17 11:51 | 6.6716 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.7773 | μmol/L | 17.9949 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.682 | 96086.2371 | 212892.4477 | 27.3 | 43.4
1768 | 2022-05-17 11:51 | 7.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.4972 | μmol/L | 18.001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.69 | 96163.1873 | 212893.8932 | 27.3 | 43.4
1778 | 2022-05-17 11:51 | 7.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.3061 | μmol/L | 18.001 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96189.6397 | 212899.7818 | 27.3 | 43.4
1788 | 2022-05-17 11:52 | 7.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.3198 | μmol/L | 17.9888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96207.3918 | 212894.8601 | 27.3 | 43.4
1798 | 2022-05-17 11:52 | 8.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.4631 | μmol/L | 17.9827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96186.7135 | 212899.1674 | 27.3 | 43.4
1808 | 2022-05-17 11:52 | 8.338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.2106 | μmol/L | 17.9888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96209.8521 | 212895.263 | 27.3 | 43.4
1818 | 2022-05-17 11:53 | 8.6715 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.1902 | μmol/L | 17.9827 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.708 | 96140.0981 | 212890.4365 | 27.3 | 43.4
1828 | 2022-05-17 11:53 | 9.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.1426 | μmol/L | 17.9766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.712 | 96141.1294 | 212880.7903 | 27.3 | 43.4
1838 | 2022-05-17 11:53 | 9.3388 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8497 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.725 | 96247.1055 | 212879.9374 | 27.3 | 43.4
1848 | 2022-05-17 11:54 | 9.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.4143 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.741 | 96616.7832 | 212871.3742 | 27.3 | 43.4
1858 | 2022-05-17 11:54 | 10.0046 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.2922 | μmol/L | 17.9583 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.75 | 96672.0664 | 212869.5342 | 27.3 | 43.4
1868 | 2022-05-17 11:54 | 10.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1293 | μmol/L | 17.9583 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.756 | 96674.6837 | 212875.5438 | 27.3 | 43.4
1878 | 2022-05-17 11:55 | 10.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1021 | μmol/L | 17.9583 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.757 | 96652.3293 | 212869.0947 | 27.3 | 43.4
1888 | 2022-05-17 11:55 | 11.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.7425 | μmol/L | 17.9644 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.768 | 96684.8993 | 212855.0436 | 27.3 | 43.4
1898 | 2022-05-17 11:55 | 11.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.5458 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.773 | 96709.6946 | 212853.8749 | 27.3 | 43.4
1908 | 2022-05-17 11:56 | 11.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.7765 | μmol/L | 17.9583 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.769 | 96700.5986 | 212856.6709 | 27.3 | 43.4
1918 | 2022-05-17 11:56 | 12.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.4916 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.775 | 96704.7439 | 212849.0495 | 27.3 | 43.4
1928 | 2022-05-17 11:56 | 12.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0378 | μmol/L | 17.9888 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.785 | 96750.5513 | 212846.2422 | 27.3 | 43.4
1938 | 2022-05-17 11:57 | 12.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8964 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.797 | 96798.1556 | 212842.5005 | 27.3 | 43.4
1948 | 2022-05-17 11:57 | 13.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5924 | μmol/L | 17.9766 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.806 | 96852.6199 | 212844.2627 | 27.3 | 43.4
1958 | 2022-05-17 11:57 | 13.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3096 | μmol/L | 17.9644 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.821 | 96889.0486 | 212840.6012 | 27.3 | 43.4
1968 | 2022-05-17 11:58 | 13.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1748 | μmol/L | 17.9644 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.826 | 96935.7733 | 212831.0323 | 27.3 | 43.4
1978 | 2022-05-17 11:58 | 14.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9524 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.832 | 96959.4588 | 212833.5368 | 27.3 | 43.4
1988 | 2022-05-17 11:58 | 14.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7979 | μmol/L | 17.9644 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.84 | 96991.6272 | 212831.3784 | 27.3 | 43.4
1998 | 2022-05-17 11:59 | 14.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.6296 | μmol/L | 17.9705 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.844 | 97019.8525 | 212837.4904 | 27.3 | 43.4
2008 | 2022-05-17 11:59 | 15.0049 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.5291 | μmol/L | 17.9644 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.85 | 97052.8858 | 212842.3353 | 27.3 | 43.4
2018 | 2022-05-17 11:59 | 15.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.4753 | μmol/L | 17.9644 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.852 | 97070.6641 | 212844.3355 | 27.3 | 43.4
2028 | 2022-05-17 12:00 | 15.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.5431 | μmol/L | 17.9521 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.854 | 97082.4914 | 212835.6609 | 27.3 | 43.4
2038 | 2022-05-17 12:00 | 16.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.348 | μmol/L | 17.9583 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.859 | 97059.085 | 212839.0617 | 27.3 | 43.4
2048 | 2022-05-17 12:00 | 16.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.1403 | μmol/L | 17.9521 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.869 | 97138.4217 | 212825.7584 | 27.3 | 43.4
2058 | 2022-05-17 12:01 | 16.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9724 | μmol/L | 17.9583 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.873 | 97112.5039 | 212821.7534 | 27.3 | 43.4
2068 | 2022-05-17 12:01 | 17.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.6847 | μmol/L | 17.9521 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.886 | 97179.6665 | 212824.0341 | 27.3 | 43.4
2078 | 2022-05-17 12:01 | 17.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.3635 | μmol/L | 17.9521 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.898 | 97243.207 | 212822.9139 | 27.3 | 43.4
2088 | 2022-05-17 12:02 | 17.6721 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.123 | μmol/L | 17.9521 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.907 | 97259.8964 | 212826.4534 | 27.3 | 43.4
2098 | 2022-05-17 12:02 | 18.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.9164 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.917 | 97293.6295 | 212828.1439 | 27.3 | 43.4
2108 | 2022-05-17 12:02 | 18.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.7829 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.922 | 97342.1152 | 212815.2111 | 27.3 | 43.4
2118 | 2022-05-17 12:03 | 18.6716 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5163 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.932 | 97391.7367 | 212826.0413 | 27.3 | 43.4
2128 | 2022-05-17 12:03 | 19.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2162 | μmol/L | 17.9521 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.941 | 97423.2799 | 212800.2335 | 27.3 | 43.4
2138 | 2022-05-17 12:03 | 19.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.1435 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.946 | 97457.5735 | 212796.1576 | 27.3 | 43.4
2148 | 2022-05-17 12:04 | 19.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.8509 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.957 | 97472.0051 | 212803.6633 | 27.3 | 43.4
2158 | 2022-05-17 12:04 | 20.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.8509 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.957 | 97507.1548 | 212790.6796 | 27.3 | 43.4
2168 | 2022-05-17 12:04 | 20.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.665 | μmol/L | 17.946 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.964 | 97525.8391 | 212789.3731 | 27.3 | 43.4
2178 | 2022-05-17 12:05 | 20.6715 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.5729 | μmol/L | 17.9338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.972 | 97583.0223 | 212787.9577 | 27.3 | 43.4
2188 | 2022-05-17 12:05 | 21.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.274 | μmol/L | 17.9399 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.981 | 97607.4888 | 212787.2999 | 27.3 | 43.4
2198 | 2022-05-17 12:05 | 21.338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1751 | μmol/L | 17.9338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.987 | 97644.6109 | 212771.9073 | 27.3 | 43.4
2208 | 2022-05-17 12:06 | 21.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.8837 | μmol/L | 17.9338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.998 | 97660.0446 | 212781.4237 | 27.3 | 43.4
2218 | 2022-05-17 12:06 | 22.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.7056 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.007 | 97685.0013 | 212790.3344 | 27.3 | 43.4
2228 | 2022-05-17 12:06 | 22.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.9397 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.036 | 97829.9162 | 212777.01 | 27.3 | 43.4
2238 | 2022-05-17 12:07 | 22.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.6691 | μmol/L | 17.9338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.044 | 97881.5146 | 212773.5753 | 27.3 | 43.4
2248 | 2022-05-17 12:07 | 23.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.5374 | μmol/L | 17.9338 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.049 | 97896.6671 | 212784.4447 | 27.3 | 43.4
2258 | 2022-05-17 12:07 | 23.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.425 | μmol/L | 17.9399 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.051 | 97908.3539 | 212779.2977 | 27.3 | 43.4
2268 | 2022-05-17 12:08 | 23.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.3603 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.058 | 97949.2637 | 212775.7738 | 27.3 | 43.4
2278 | 2022-05-17 12:08 | 24.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.0974 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.068 | 97991.2967 | 212783.7461 | 27.3 | 43.4
2288 | 2022-05-17 12:08 | 24.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.9135 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.075 | 97979.2228 | 212787.9758 | 27.3 | 43.4
2298 | 2022-05-17 12:09 | 24.6719 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.8873 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.076 | 97986.2904 | 212776.0245 | 27.3 | 43.4
2308 | 2022-05-17 12:09 | 25.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.7632 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.083 | 98011.2027 | 212783.3514 | 27.3 | 43.4
2318 | 2022-05-17 12:09 | 25.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.6917 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.088 | 98069.4723 | 212782.7856 | 27.3 | 43.4
2328 | 2022-05-17 12:10 | 25.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.3104 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.098 | 98103.3197 | 212784.0803 | 27.3 | 43.4
2338 | 2022-05-17 12:10 | 26.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.2318 | μmol/L | 17.9277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.101 | 98150.3758 | 212796.5551 | 27.3 | 43.4
2348 | 2022-05-17 12:10 | 26.338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.0296 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.111 | 98179.9691 | 212806.8835 | 27.3 | 43.4
2358 | 2022-05-17 12:11 | 26.6716 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.0178 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.116 | 98186.7655 | 212808.561 | 27.3 | 43.4
2368 | 2022-05-17 12:11 | 27.0052 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.9773 | μmol/L | 17.9216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.113 | 98198.7665 | 212800.0206 | 27.3 | 43.4
2378 | 2022-05-17 12:11 | 27.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.7492 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.124 | 98242.7003 | 212811.8899 | 27.3 | 43.4
2388 | 2022-05-17 12:12 | 27.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.5402 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.132 | 98290.3464 | 212819.9841 | 27.3 | 43.4
2398 | 2022-05-17 12:12 | 28.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.4462 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.174 | 98495.7445 | 212819.4046 | 27.3 | 43.4
2408 | 2022-05-17 12:12 | 28.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.3423 | μmol/L | 17.9155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.178 | 98542.9019 | 212825.6353 | 27.3 | 43.4
2418 | 2022-05-17 12:13 | 28.6719 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.3235 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.181 | 98541.2526 | 212833.7537 | 27.3 | 43.4
2428 | 2022-05-17 12:13 | 29.0054 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2196 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.185 | 98580.4117 | 212839.5975 | 27.3 | 43.4
2438 | 2022-05-17 12:13 | 29.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2716 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.183 | 98612.7764 | 212835.9991 | 27.3 | 43.4
2448 | 2022-05-17 12:14 | 29.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.149 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.19 | 98637.1236 | 212828.7862 | 27.3 | 43.4
2458 | 2022-05-17 12:14 | 30.0046 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9674 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.197 | 98637.7579 | 212831.9366 | 27.3 | 43.4
2468 | 2022-05-17 12:14 | 30.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.0006 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.198 | 98656.723 | 212836.5183 | 27.3 | 43.4
2478 | 2022-05-17 12:15 | 30.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.6823 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.208 | 98662.0869 | 212848.0437 | 27.3 | 43.4
2488 | 2022-05-17 12:15 | 31.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4565 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.219 | 98727.1841 | 212844.7952 | 27.3 | 43.4
2498 | 2022-05-17 12:15 | 31.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.6186 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.288 | 99061.9697 | 212853.0464 | 27.3 | 43.4
2508 | 2022-05-17 12:16 | 31.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.7801 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.284 | 99047.1913 | 212847.6376 | 27.3 | 43.4
2518 | 2022-05-17 12:16 | 32.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.6627 | μmol/L | 17.9094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.284 | 99065.2648 | 212848.547 | 27.3 | 43.4
2528 | 2022-05-17 12:16 | 32.3387 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0103 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.314 | 99211.3979 | 212855.9993 | 27.3 | 43.4
2538 | 2022-05-17 12:17 | 32.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.164 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.308 | 99201.8019 | 212865.2685 | 27.3 | 43.4
2548 | 2022-05-17 12:17 | 33.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1823 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.305 | 99183.689 | 212856.7723 | 27.3 | 43.4
2558 | 2022-05-17 12:17 | 33.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.164 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.308 | 99209.6149 | 212849.6565 | 27.3 | 43.4
2568 | 2022-05-17 12:18 | 33.6715 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1311 | μmol/L | 17.9033 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 99209.526 | 212853.3685 | 27.3 | 43.4
2578 | 2022-05-17 12:18 | 34.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.2996 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.305 | 99183.1139 | 212847.0587 | 27.3 | 43.4
2588 | 2022-05-17 12:18 | 34.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.2922 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.303 | 99174.1475 | 212858.8672 | 27.3 | 43.4
2598 | 2022-05-17 12:19 | 34.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.2996 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.305 | 99220.3636 | 212851.2354 | 27.3 | 43.4
2608 | 2022-05-17 12:19 | 35.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.959 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.316 | 99221.4966 | 212859.7478 | 27.3 | 43.4
2618 | 2022-05-17 12:19 | 35.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0945 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.313 | 99242.3855 | 212873.845 | 27.3 | 43.4
2628 | 2022-05-17 12:20 | 35.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.5751 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.331 | 99361.2676 | 212869.1465 | 27.3 | 43.4
2638 | 2022-05-17 12:20 | 36.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3451 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.34 | 99354.6129 | 212880.0404 | 27.3 | 43.4
2648 | 2022-05-17 12:20 | 36.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3342 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.345 | 99380.9116 | 212879.9783 | 27.3 | 43.4
2658 | 2022-05-17 12:21 | 36.6719 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.2502 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.346 | 99372.3007 | 212875.1367 | 27.3 | 43.4
2668 | 2022-05-17 12:21 | 37.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3087 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.346 | 99422.0514 | 212880.0096 | 27.3 | 43.4
2678 | 2022-05-17 12:21 | 37.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.1736 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.349 | 99411.5868 | 212877.5735 | 27.3 | 43.4
2688 | 2022-05-17 12:22 | 37.6721 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.9185 | μmol/L | 17.8911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.359 | 99423.3178 | 212881.9146 | 27.3 | 43.4
2698 | 2022-05-17 12:22 | 38.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.9004 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.362 | 99489.4158 | 212871.344 | 27.3 | 43.4
2708 | 2022-05-17 12:22 | 38.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.5798 | μmol/L | 17.8972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.37 | 99515.1447 | 212860.4511 | 27.3 | 43.4
2718 | 2022-05-17 12:23 | 38.6719 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.5946 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.374 | 99539.5898 | 212863.0665 | 27.3 | 43.4
2728 | 2022-05-17 12:23 | 39.0046 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.4746 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.381 | 99541.5801 | 212859.6647 | 27.3 | 43.4
2738 | 2022-05-17 12:23 | 39.3381 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.3655 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.383 | 99548.3106 | 212857.0779 | 27.3 | 43.4
2748 | 2022-05-17 12:24 | 39.6716 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.162 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.391 | 99574.379 | 212851.1616 | 27.3 | 43.4
2758 | 2022-05-17 12:24 | 40.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.1366 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.392 | 99623.4027 | 212844.9276 | 27.3 | 43.4
2768 | 2022-05-17 12:24 | 40.3379 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.9587 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.399 | 99598.003 | 212840.8848 | 27.3 | 43.4
2778 | 2022-05-17 12:25 | 40.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.9915 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.4 | 99595.6713 | 212837.5578 | 27.3 | 43.4
2788 | 2022-05-17 12:25 | 41.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.9661 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.401 | 99642.5859 | 212840.1651 | 27.3 | 43.4
2798 | 2022-05-17 12:25 | 41.3387 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.9735 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.403 | 99648.3396 | 212824.9588 | 27.3 | 43.4
2808 | 2022-05-17 12:26 | 41.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.6869 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.412 | 99646.3936 | 212822.9964 | 27.3 | 43.4
2818 | 2022-05-17 12:26 | 42.0049 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.7123 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.411 | 99692.2605 | 212826.2043 | 27.3 | 43.4
2828 | 2022-05-17 12:26 | 42.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4006 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.421 | 99733.8026 | 212812.7936 | 27.3 | 43.4
2838 | 2022-05-17 12:27 | 42.6715 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.3827 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 99714.0663 | 212801.1372 | 27.3 | 43.4
2848 | 2022-05-17 12:27 | 43.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.2486 | μmol/L | 17.885 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.427 | 99708.3706 | 212790.3301 | 27.3 | 43.4
2858 | 2022-05-17 12:27 | 43.3387 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.1547 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.433 | 99774.5369 | 212789.9051 | 27.3 | 43.4
2868 | 2022-05-17 12:28 | 43.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.8765 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.444 | 99792.4931 | 212780.0233 | 27.3 | 43.4
2878 | 2022-05-17 12:28 | 44.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.1948 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.471 | 99935.56 | 212770.6601 | 27.3 | 43.4
2888 | 2022-05-17 12:28 | 44.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.8495 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.487 | 100041.601 | 212759.1231 | 27.3 | 43.4
2898 | 2022-05-17 12:29 | 44.6719 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.4974 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.501 | 100079.4891 | 212761.2721 | 27.3 | 43.4
2908 | 2022-05-17 12:29 | 45.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.3894 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.503 | 100080.9834 | 212762.8867 | 27.3 | 43.4
2918 | 2022-05-17 12:29 | 45.338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.4369 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 100142.3637 | 212761.9459 | 27.3 | 43.4
2928 | 2022-05-17 12:30 | 45.6715 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.0881 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.515 | 100137.9395 | 212736.7682 | 27.3 | 43.4
2938 | 2022-05-17 12:30 | 46.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.1383 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.513 | 100140.9247 | 212727.9327 | 27.3 | 43.4
2948 | 2022-05-17 12:30 | 46.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.6869 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.531 | 100166.5169 | 212726.3503 | 27.3 | 43.4
2958 | 2022-05-17 12:31 | 46.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.5116 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.538 | 100197.2965 | 212711.4846 | 27.3 | 43.4
2968 | 2022-05-17 12:31 | 47.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.3689 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.546 | 100248.8654 | 212705.5846 | 27.3 | 43.4
2978 | 2022-05-17 12:31 | 47.3381 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.2689 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 100295.146 | 212700.6218 | 27.3 | 43.4
2988 | 2022-05-17 12:32 | 47.6715 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.2689 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 100276.2167 | 212679.8878 | 27.3 | 43.4
2998 | 2022-05-17 12:32 | 48.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.1838 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 100292.8503 | 212671.8876 | 27.3 | 43.4
3008 | 2022-05-17 12:32 | 48.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.2013 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 100285.6586 | 212663.6837 | 27.3 | 43.4
3018 | 2022-05-17 12:33 | 48.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.2013 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 100290.727 | 212664.4931 | 27.3 | 43.4
3028 | 2022-05-17 12:33 | 49.005 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.8441 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.567 | 100334.9967 | 212655.7178 | 27.3 | 43.4
3038 | 2022-05-17 12:33 | 49.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.7269 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.574 | 100311.3525 | 212641.1802 | 27.3 | 43.4
3048 | 2022-05-17 12:34 | 49.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.5199 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.58 | 100391.0458 | 212623.3813 | 27.3 | 43.4
3058 | 2022-05-17 12:34 | 50.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.4027 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.587 | 100360.0486 | 212614.2004 | 27.3 | 43.4
3068 | 2022-05-17 12:34 | 50.3381 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.3703 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.586 | 100369.1273 | 212606.9085 | 27.3 | 43.4
3078 | 2022-05-17 12:35 | 50.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.1711 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.594 | 100358.1227 | 212597.8066 | 27.3 | 43.4
3088 | 2022-05-17 12:35 | 51.0049 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.2956 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.589 | 100355.9122 | 212590.0988 | 27.3 | 43.4
3098 | 2022-05-17 12:35 | 51.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.1288 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.598 | 100369.4977 | 212571.9697 | 27.3 | 43.4
3108 | 2022-05-17 12:36 | 51.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.9646 | μmol/L | 17.8788 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.6 | 100399.5276 | 212568.5575 | 27.3 | 43.4
3118 | 2022-05-17 12:36 | 52.0046 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.9472 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.603 | 100378.6433 | 212549.0906 | 27.3 | 43.4
3128 | 2022-05-17 12:36 | 52.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.7235 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.612 | 100412.2347 | 212546.7274 | 27.3 | 43.4
3138 | 2022-05-17 12:37 | 52.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.649 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.615 | 100443.0342 | 212545.3157 | 27.3 | 43.4
3148 | 2022-05-17 12:37 | 53.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.4752 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.622 | 100427.4978 | 212539.0108 | 27.3 | 43.4
3158 | 2022-05-17 12:37 | 53.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.731 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.614 | 100419.4192 | 212539.1816 | 27.3 | 43.4
3168 | 2022-05-17 12:38 | 53.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.8304 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.61 | 100361.0675 | 212525.3357 | 27.3 | 43.4
3178 | 2022-05-17 12:38 | 54.0046 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.6068 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.619 | 100360.3441 | 212508.979 | 27.3 | 43.4
3188 | 2022-05-17 12:38 | 54.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.2768 | μmol/L | 17.8727 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.63 | 100437.181 | 212492.414 | 27.3 | 43.4
3198 | 2022-05-17 12:39 | 54.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.1107 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.639 | 100441.1181 | 212494.8035 | 27.3 | 43.4
3208 | 2022-05-17 12:39 | 55.0052 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.8878 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 100466.3909 | 212487.5009 | 27.3 | 43.4
3218 | 2022-05-17 12:39 | 55.338 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.9201 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.649 | 100494.2238 | 212486.3418 | 27.3 | 43.4
3228 | 2022-05-17 12:40 | 55.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.7964 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.654 | 100482.9406 | 212461.8998 | 27.3 | 43.4
3238 | 2022-05-17 12:40 | 56.0054 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.6727 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.659 | 100497.6518 | 212474.3986 | 27.3 | 43.4
3248 | 2022-05-17 12:40 | 56.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.5491 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.664 | 100514.3044 | 212449.9305 | 27.3 | 43.4
3258 | 2022-05-17 12:41 | 56.6716 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.2526 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.676 | 100598.2534 | 212442.3698 | 27.3 | 43.4
3268 | 2022-05-17 12:41 | 57.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.0552 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.684 | 100582.8336 | 212433.3653 | 27.3 | 43.4
3278 | 2022-05-17 12:41 | 57.3385 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.7765 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.693 | 100608.3699 | 212436.1229 | 27.3 | 43.4
3288 | 2022-05-17 12:42 | 57.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.6533 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.698 | 100670.1212 | 212425.1454 | 27.3 | 43.4
3298 | 2022-05-17 12:42 | 58.0047 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.5302 | μmol/L | 17.8666 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.703 | 100660.7108 | 212408.0788 | 27.3 | 43.4
3308 | 2022-05-17 12:42 | 58.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.5207 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.708 | 100656.903 | 212409.643 | 27.3 | 43.4
3318 | 2022-05-17 12:43 | 58.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.0952 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.723 | 100732.0434 | 212387.0232 | 27.3 | 43.4
3328 | 2022-05-17 12:43 | 59.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.9969 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.727 | 100739.7218 | 212379.826 | 27.3 | 43.4
3338 | 2022-05-17 12:43 | 59.3383 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.776 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.736 | 100787.8342 | 212380.4801 | 27.3 | 43.4
3348 | 2022-05-17 12:44 | 59.672 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.6365 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.744 | 100780.4625 | 212359.1338 | 27.3 | 43.4
3358 | 2022-05-17 12:44 | 60.0049 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.5874 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.746 | 100829.9556 | 212349.074 | 27.3 | 43.4
3368 | 2022-05-17 12:44 | 60.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.3838 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.752 | 100813.0789 | 212340.8348 | 27.3 | 43.4
3378 | 2022-05-17 12:45 | 60.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.188 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.76 | 100847.0112 | 212330.7021 | 27.3 | 43.4
3388 | 2022-05-17 12:45 | 61.0052 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.0243 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.769 | 100853.9015 | 212334.8016 | 27.3 | 43.4
3398 | 2022-05-17 12:45 | 61.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 289.8532 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.776 | 100902.824 | 212324.8307 | 27.3 | 43.4
3408 | 2022-05-17 12:46 | 61.6714 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 289.577 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.785 | 100957.434 | 212310.7681 | 27.3 | 43.4
3418 | 2022-05-17 12:46 | 62.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 289.455 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.79 | 100998.7784 | 212315.2873 | 27.3 | 43.4
3428 | 2022-05-17 12:46 | 62.3384 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 289.4626 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.792 | 100957.3405 | 212305.9443 | 27.3 | 43.4
3438 | 2022-05-17 12:47 | 62.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 289.2356 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.799 | 100989.2087 | 212298.4565 | 27.3 | 43.4
3448 | 2022-05-17 12:47 | 63.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 288.8459 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.815 | 101088.4723 | 212292.1003 | 27.3 | 43.4
3458 | 2022-05-17 12:47 | 63.3387 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 288.5299 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.828 | 101121.4443 | 212281.9794 | 27.3 | 43.4
3468 | 2022-05-17 12:48 | 63.6716 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 288.4646 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.833 | 101136.5544 | 212268.2734 | 27.3 | 43.4
3478 | 2022-05-17 12:48 | 64.0051 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 288.1899 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.842 | 101230.7344 | 212256.6688 | 27.3 | 43.4
3488 | 2022-05-17 12:48 | 64.3386 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.9793 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.853 | 101259.8543 | 212251.3041 | 27.3 | 43.4
3498 | 2022-05-17 12:49 | 64.6713 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.7854 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.861 | 101278.77 | 212246.9227 | 27.3 | 43.4
3508 | 2022-05-17 12:49 | 65.0052 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.8339 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.859 | 101284.8749 | 212237.8532 | 27.3 | 43.4
3518 | 2022-05-17 12:49 | 65.3382 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.7536 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.86 | 101282.3353 | 212226.9242 | 27.3 | 43.4
3528 | 2022-05-17 12:50 | 65.6718 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.5841 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.867 | 101310.51 | 212216.8136 | 27.3 | 43.4
3538 | 2022-05-17 12:50 | 66.0053 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.1324 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.888 | 101365.9884 | 212201.103 | 27.3 | 43.4
3548 | 2022-05-17 12:50 | 66.3379 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.8187 | μmol/L | 17.8544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.901 | 101476.9671 | 212197.5625 | 27.3 | 43.4
3558 | 2022-05-17 12:51 | 66.6717 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.7134 | μmol/L | 17.8422 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.91 | 101479.4097 | 212194.1957 | 27.3 | 43.4
3568 | 2022-05-17 12:51 | 67.0048 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.5218 | μmol/L | 17.8605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.911 | 101486.6975 | 212173.0909 | 27.3 | 43.4