## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5292 | 2022-05-17 14:39 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.99 | μmol/L | 19.3945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.548 | 137939.8168 | 270380.3964 | 33.25 | 75.7
5302 | 2022-05-17 14:39 | 0.32899 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.99 | μmol/L | 19.3945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.548 | 137916.3232 | 270393.6245 | 33.25 | 75.7
5312 | 2022-05-17 14:40 | 0.66225 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0662 | μmol/L | 19.3945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.545 | 137903.6474 | 270378.8595 | 33.25 | 75.7
5322 | 2022-05-17 14:40 | 0.99569 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.197 | μmol/L | 19.3884 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.542 | 137885.8462 | 270382.7047 | 33.25 | 75.7
5332 | 2022-05-17 14:40 | 1.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.277 | μmol/L | 19.3822 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.541 | 137874.4028 | 270370.0372 | 33.25 | 75.7
5342 | 2022-05-17 14:41 | 1.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2552 | μmol/L | 19.3761 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.544 | 137878.8825 | 270360.114 | 33.25 | 75.7
5352 | 2022-05-17 14:41 | 1.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3098 | μmol/L | 19.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.544 | 137875.7038 | 270367.8951 | 33.25 | 75.7
5362 | 2022-05-17 14:41 | 2.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2589 | μmol/L | 19.37 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.546 | 137888.8293 | 270346.2006 | 33.25 | 75.7
5372 | 2022-05-17 14:42 | 2.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2372 | μmol/L | 19.3638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.549 | 137870.5667 | 270336.2744 | 33.25 | 75.7
5382 | 2022-05-17 14:42 | 2.996 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3463 | μmol/L | 19.3516 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.549 | 137892.2824 | 270335.1439 | 33.25 | 75.7
5392 | 2022-05-17 14:42 | 3.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3463 | μmol/L | 19.3516 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.549 | 137907.6232 | 270328.8619 | 33.25 | 75.7
5402 | 2022-05-17 14:43 | 3.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3029 | μmol/L | 19.3393 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.555 | 137929.2478 | 270325.8007 | 33.25 | 75.7
5412 | 2022-05-17 14:43 | 3.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2775 | μmol/L | 19.3393 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.556 | 137941.9086 | 270322.5784 | 33.25 | 75.7
5422 | 2022-05-17 14:43 | 4.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2812 | μmol/L | 19.3332 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.558 | 137953.0851 | 270306.1976 | 33.25 | 75.7
5432 | 2022-05-17 14:44 | 4.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3905 | μmol/L | 19.3209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.558 | 137956.362 | 270310.0555 | 33.25 | 75.7
5442 | 2022-05-17 14:44 | 4.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.2341 | μmol/L | 19.327 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.562 | 137968.6233 | 270296.0128 | 33.25 | 75.7
5452 | 2022-05-17 14:44 | 5.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3142 | μmol/L | 19.3209 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.561 | 137991.0523 | 270300.9863 | 33.25 | 75.7
5462 | 2022-05-17 14:45 | 5.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1833 | μmol/L | 19.327 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.564 | 138008.2496 | 270297.1604 | 33.25 | 75.7
5472 | 2022-05-17 14:45 | 5.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1654 | μmol/L | 19.3148 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.569 | 138028.7088 | 270286.8698 | 33.25 | 75.7
5482 | 2022-05-17 14:45 | 6.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1692 | μmol/L | 19.3086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.571 | 138043.2315 | 270279.9398 | 33.25 | 75.7
5492 | 2022-05-17 14:46 | 6.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0676 | μmol/L | 19.3086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.575 | 138058.3038 | 270279.2719 | 33.25 | 75.7
5502 | 2022-05-17 14:46 | 6.9961 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1476 | μmol/L | 19.3025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.574 | 138087.6481 | 270270.9644 | 33.25 | 75.7
5512 | 2022-05-17 14:46 | 7.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0752 | μmol/L | 19.2964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.579 | 138093.2432 | 270257.9191 | 33.25 | 75.7
5522 | 2022-05-17 14:47 | 7.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0536 | μmol/L | 19.2902 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.582 | 138095.8015 | 270244.3946 | 33.25 | 75.7
5532 | 2022-05-17 14:47 | 7.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.1882 | μmol/L | 19.278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.581 | 138115.5322 | 270243.613 | 33.25 | 75.7
5542 | 2022-05-17 14:47 | 8.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0358 | μmol/L | 19.278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.587 | 138124.2762 | 270235.5714 | 33.25 | 75.7
5552 | 2022-05-17 14:48 | 8.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0866 | μmol/L | 19.278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.585 | 138148.8269 | 270222.1495 | 33.25 | 75.7
5562 | 2022-05-17 14:48 | 8.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.0142 | μmol/L | 19.2718 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.59 | 138162.7763 | 270223.423 | 33.25 | 75.7
5572 | 2022-05-17 14:48 | 9.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9673 | μmol/L | 19.2657 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.594 | 138173.9991 | 270222.2563 | 33.25 | 75.7
5582 | 2022-05-17 14:49 | 9.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9712 | μmol/L | 19.2596 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.596 | 138184.7038 | 270220.3769 | 33.25 | 75.7
5592 | 2022-05-17 14:49 | 9.996 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.975 | μmol/L | 19.2534 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.598 | 138207.114 | 270204.6086 | 33.25 | 75.7
5602 | 2022-05-17 14:49 | 10.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9028 | μmol/L | 19.2473 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.603 | 138225.622 | 270200.8788 | 33.25 | 75.7
5612 | 2022-05-17 14:50 | 10.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9281 | μmol/L | 19.2473 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.602 | 138222.409 | 270190.2801 | 33.25 | 75.7
5622 | 2022-05-17 14:50 | 10.9961 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9066 | μmol/L | 19.2412 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.605 | 138251.0259 | 270197.0216 | 33.25 | 75.7
5632 | 2022-05-17 14:50 | 11.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8637 | μmol/L | 19.2289 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.611 | 138259.7546 | 270176.7276 | 33.25 | 75.7
5642 | 2022-05-17 14:51 | 11.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8091 | μmol/L | 19.235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.611 | 138272.3699 | 270176.329 | 33.25 | 75.7
5652 | 2022-05-17 14:51 | 11.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8676 | μmol/L | 19.2228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.613 | 138297.9601 | 270165.0946 | 33.25 | 75.7
5662 | 2022-05-17 14:51 | 12.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8383 | μmol/L | 19.2289 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.612 | 138307.1234 | 270161.613 | 33.25 | 75.7
5672 | 2022-05-17 14:52 | 12.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7701 | μmol/L | 19.2166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.619 | 138309.7784 | 270154.2522 | 33.25 | 75.7
5682 | 2022-05-17 14:52 | 12.9963 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8207 | μmol/L | 19.2166 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.617 | 138319.9685 | 270146.0225 | 33.25 | 75.7
5692 | 2022-05-17 14:52 | 13.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8247 | μmol/L | 19.2105 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.619 | 138327.1712 | 270127.5382 | 33.25 | 75.7
5702 | 2022-05-17 14:53 | 13.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9046 | μmol/L | 19.2044 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.618 | 138349.8504 | 270138.5277 | 33.25 | 75.7
5712 | 2022-05-17 14:53 | 13.9958 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7272 | μmol/L | 19.2044 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.625 | 138350.2052 | 270121.9858 | 33.25 | 75.7
5722 | 2022-05-17 14:53 | 14.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7604 | μmol/L | 19.1921 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.628 | 138359.1076 | 270109.2999 | 33.25 | 75.7
5732 | 2022-05-17 14:54 | 14.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6844 | μmol/L | 19.1921 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.631 | 138380.5725 | 270113.1393 | 33.25 | 75.7
5742 | 2022-05-17 14:54 | 14.9958 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.739 | μmol/L | 19.186 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.631 | 138374.5184 | 270099.65 | 33.25 | 75.7
5752 | 2022-05-17 14:54 | 15.3292 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7683 | μmol/L | 19.1798 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.632 | 138384.7859 | 270089.8903 | 33.25 | 75.7
5762 | 2022-05-17 14:55 | 15.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6923 | μmol/L | 19.1798 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.635 | 138403.9726 | 270079.0366 | 33.25 | 75.7
5772 | 2022-05-17 14:55 | 15.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7216 | μmol/L | 19.1737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.636 | 138408.2184 | 270083.462 | 33.25 | 75.7
5782 | 2022-05-17 14:55 | 16.3292 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.8055 | μmol/L | 19.1614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.637 | 138407.1315 | 270079.6098 | 33.25 | 75.7
5792 | 2022-05-17 14:56 | 16.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7295 | μmol/L | 19.1614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.64 | 138409.1708 | 270064.937 | 33.25 | 75.7
5802 | 2022-05-17 14:56 | 16.996 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5989 | μmol/L | 19.1676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.643 | 138420.5579 | 270053.137 | 33.25 | 75.7
5812 | 2022-05-17 14:56 | 17.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6828 | μmol/L | 19.1553 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.644 | 138429.9354 | 270066.1421 | 33.25 | 75.7
5822 | 2022-05-17 14:57 | 17.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.7161 | μmol/L | 19.143 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.647 | 138432.9448 | 270051.9628 | 33.25 | 75.7
5832 | 2022-05-17 14:57 | 17.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5896 | μmol/L | 19.143 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.652 | 138451.1117 | 270040.2841 | 33.25 | 75.7
5842 | 2022-05-17 14:57 | 18.3296 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6695 | μmol/L | 19.1369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.651 | 138455.6416 | 270031.3252 | 33.25 | 75.7
5852 | 2022-05-17 14:58 | 18.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6189 | μmol/L | 19.1369 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.653 | 138474.9871 | 270011.8591 | 33.25 | 75.7
5862 | 2022-05-17 14:58 | 18.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5723 | μmol/L | 19.1308 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.657 | 138475.8812 | 270016.9737 | 33.25 | 75.7
5872 | 2022-05-17 14:58 | 19.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5763 | μmol/L | 19.1246 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.659 | 138473.3918 | 270003.5584 | 33.25 | 75.7
5882 | 2022-05-17 14:59 | 19.6624 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6016 | μmol/L | 19.1246 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.658 | 138496.3687 | 269997.884 | 33.25 | 75.7
5892 | 2022-05-17 14:59 | 19.9958 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.631 | μmol/L | 19.1185 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.659 | 138501.9104 | 269993.2541 | 33.25 | 75.7
5902 | 2022-05-17 14:59 | 20.329 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.6816 | μmol/L | 19.1185 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.657 | 138491.8128 | 269989.3052 | 33.25 | 75.7
5912 | 2022-05-17 15:00 | 20.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5884 | μmol/L | 19.1062 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.665 | 138524.9995 | 269988.3897 | 33.25 | 75.7
5922 | 2022-05-17 15:00 | 20.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5631 | μmol/L | 19.1062 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.666 | 138531.1119 | 269983.2604 | 33.25 | 75.7
5932 | 2022-05-17 15:00 | 21.3292 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5166 | μmol/L | 19.1001 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.67 | 138532.2855 | 269963.9238 | 33.25 | 75.7
5942 | 2022-05-17 15:01 | 21.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5965 | μmol/L | 19.094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.669 | 138547.5819 | 269960.752 | 33.25 | 75.7
5952 | 2022-05-17 15:01 | 21.9961 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.55 | μmol/L | 19.0878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.673 | 138550.5759 | 269945.333 | 33.25 | 75.7
5962 | 2022-05-17 15:01 | 22.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5247 | μmol/L | 19.0878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.674 | 138542.4639 | 269953.3918 | 33.25 | 75.7
5972 | 2022-05-17 15:02 | 22.6629 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.4489 | μmol/L | 19.0878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.677 | 138552.2888 | 269945.615 | 33.25 | 75.7
5982 | 2022-05-17 15:02 | 22.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.453 | μmol/L | 19.0817 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.679 | 138568.0764 | 269932.1166 | 33.25 | 75.7
5992 | 2022-05-17 15:02 | 23.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.537 | μmol/L | 19.0694 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.68 | 138579.169 | 269934.4859 | 33.25 | 75.7
6002 | 2022-05-17 15:03 | 23.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.5158 | μmol/L | 19.0633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.683 | 138590.6471 | 269908.5499 | 33.25 | 75.7
6012 | 2022-05-17 15:03 | 23.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3601 | μmol/L | 19.0694 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.687 | 138602.7742 | 269909.1388 | 33.25 | 75.7
6022 | 2022-05-17 15:03 | 24.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.524 | μmol/L | 19.051 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.687 | 138625.7427 | 269903.3925 | 33.25 | 75.7
6032 | 2022-05-17 15:04 | 24.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.4735 | μmol/L | 19.051 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.689 | 138630.4741 | 269899.112 | 33.25 | 75.7
6042 | 2022-05-17 15:04 | 24.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.343 | μmol/L | 19.0572 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.692 | 138641.2086 | 269888.391 | 33.25 | 75.7
6052 | 2022-05-17 15:04 | 25.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3724 | μmol/L | 19.051 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.693 | 138639.7843 | 269884.6007 | 33.25 | 75.7
6062 | 2022-05-17 15:05 | 25.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.4565 | μmol/L | 19.0388 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.694 | 138654.6029 | 269887.5983 | 33.25 | 75.7
6072 | 2022-05-17 15:05 | 25.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3554 | μmol/L | 19.0388 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.698 | 138668.4471 | 269872.4987 | 33.25 | 75.7
6082 | 2022-05-17 15:05 | 26.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3049 | μmol/L | 19.0388 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.7 | 138668.8793 | 269863.2731 | 33.25 | 75.7
6092 | 2022-05-17 15:06 | 26.6629 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.389 | μmol/L | 19.0265 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.701 | 138688.6781 | 269873.743 | 33.25 | 75.7
6102 | 2022-05-17 15:06 | 26.996 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3132 | μmol/L | 19.0265 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.704 | 138698.2458 | 269870.8166 | 33.25 | 75.7
6112 | 2022-05-17 15:06 | 27.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3132 | μmol/L | 19.0265 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.704 | 138699.2061 | 269859.5987 | 33.25 | 75.7
6122 | 2022-05-17 15:07 | 27.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2921 | μmol/L | 19.0204 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.707 | 138735.4255 | 269862.1901 | 33.25 | 75.7
6132 | 2022-05-17 15:07 | 27.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2458 | μmol/L | 19.0142 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.711 | 138733.2812 | 269861.3742 | 33.25 | 75.7
6142 | 2022-05-17 15:07 | 28.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.25 | μmol/L | 19.0081 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.713 | 138737.2588 | 269866.3119 | 33.25 | 75.7
6152 | 2022-05-17 15:08 | 28.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2247 | μmol/L | 19.0081 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.714 | 138751.3827 | 269851.1884 | 33.25 | 75.7
6162 | 2022-05-17 15:08 | 28.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.149 | μmol/L | 19.0081 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.717 | 138779.4754 | 269850.9114 | 33.25 | 75.7
6172 | 2022-05-17 15:08 | 29.3292 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2037 | μmol/L | 19.002 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.717 | 138775.4683 | 269837.9733 | 33.25 | 75.7
6182 | 2022-05-17 15:09 | 29.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2626 | μmol/L | 18.9897 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.719 | 138788.7856 | 269842.7295 | 33.25 | 75.7
6192 | 2022-05-17 15:09 | 29.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0565 | μmol/L | 18.9958 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.725 | 138806.994 | 269832.2777 | 33.25 | 75.7
6202 | 2022-05-17 15:09 | 30.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0313 | μmol/L | 18.9958 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.726 | 138823.6521 | 269836.1835 | 33.25 | 75.7
6212 | 2022-05-17 15:10 | 30.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1196 | μmol/L | 18.9774 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.729 | 138847.6619 | 269836.7463 | 33.25 | 75.7
6222 | 2022-05-17 15:10 | 30.9958 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1448 | μmol/L | 18.9774 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.728 | 138843.8456 | 269819.9533 | 33.25 | 75.7
6232 | 2022-05-17 15:10 | 31.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0692 | μmol/L | 18.9774 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.731 | 138854.2186 | 269810.842 | 33.25 | 75.7
6242 | 2022-05-17 15:11 | 31.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1238 | μmol/L | 18.9713 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.731 | 138864.0165 | 269818.1548 | 33.25 | 75.7
6252 | 2022-05-17 15:11 | 31.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.044 | μmol/L | 18.9774 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.732 | 138864.0773 | 269802.8404 | 33.25 | 75.7
6262 | 2022-05-17 15:11 | 32.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.002 | μmol/L | 18.9652 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.738 | 138879.8938 | 269796.4834 | 33.25 | 75.7
6272 | 2022-05-17 15:12 | 32.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0819 | μmol/L | 18.959 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.737 | 138884.5272 | 269791.5734 | 33.25 | 75.7
6282 | 2022-05-17 15:12 | 32.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0315 | μmol/L | 18.959 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.739 | 138902.9974 | 269784.7306 | 33.25 | 75.7
6292 | 2022-05-17 15:12 | 33.3296 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0567 | μmol/L | 18.959 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.738 | 138920.7363 | 269791.9841 | 33.25 | 75.7
6302 | 2022-05-17 15:13 | 33.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9601 | μmol/L | 18.9529 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.744 | 138934.7386 | 269793.7188 | 33.25 | 75.7
6312 | 2022-05-17 15:13 | 33.996 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0695 | μmol/L | 18.9406 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.744 | 138929.2165 | 269793.7125 | 33.25 | 75.7
6322 | 2022-05-17 15:13 | 34.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9392 | μmol/L | 18.9468 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.747 | 138942.8482 | 269772.7071 | 33.25 | 75.7
6332 | 2022-05-17 15:14 | 34.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9687 | μmol/L | 18.9406 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.748 | 138951.8866 | 269780.6756 | 33.25 | 75.7
6342 | 2022-05-17 15:14 | 34.9961 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.8931 | μmol/L | 18.9406 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.751 | 138950.1661 | 269780.4088 | 33.25 | 75.7
6352 | 2022-05-17 15:14 | 35.3292 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0823 | μmol/L | 18.9222 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.75 | 138966.8581 | 269757.6494 | 33.25 | 75.7
6362 | 2022-05-17 15:15 | 35.6629 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.8722 | μmol/L | 18.9345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.754 | 138967.4471 | 269768.525 | 33.25 | 75.7
6372 | 2022-05-17 15:15 | 35.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9521 | μmol/L | 18.9284 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.753 | 138985.471 | 269761.5454 | 33.25 | 75.7
6382 | 2022-05-17 15:15 | 36.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0319 | μmol/L | 18.9222 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.752 | 138995.2623 | 269748.6102 | 33.25 | 75.7
6392 | 2022-05-17 15:16 | 36.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9103 | μmol/L | 18.9161 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.759 | 139005.2209 | 269740.622 | 33.25 | 75.7
6402 | 2022-05-17 15:16 | 36.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9355 | μmol/L | 18.9161 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.758 | 139009.0421 | 269746.707 | 33.25 | 75.7
6412 | 2022-05-17 15:16 | 37.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.8347 | μmol/L | 18.9161 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.762 | 139014.5001 | 269737.2797 | 33.25 | 75.7
6422 | 2022-05-17 15:17 | 37.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9693 | μmol/L | 18.9038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.761 | 139015.1356 | 269733.7901 | 33.25 | 75.7
6432 | 2022-05-17 15:17 | 37.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9693 | μmol/L | 18.9038 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.761 | 139010.4302 | 269724.3501 | 33.25 | 75.7
6442 | 2022-05-17 15:17 | 38.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9736 | μmol/L | 18.8977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.763 | 139026.4458 | 269717.7463 | 33.25 | 75.7
6452 | 2022-05-17 15:18 | 38.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.8729 | μmol/L | 18.8977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.767 | 139028.3448 | 269706.4774 | 33.25 | 75.7
6462 | 2022-05-17 15:18 | 38.996 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9276 | μmol/L | 18.8916 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.767 | 139051.0305 | 269704.9538 | 33.25 | 75.7
6472 | 2022-05-17 15:18 | 39.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.083 | μmol/L | 18.8854 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.763 | 139016.2304 | 269693.625 | 33.25 | 75.7
6482 | 2022-05-17 15:19 | 39.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0578 | μmol/L | 18.8854 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.764 | 139022.3663 | 269679.8987 | 33.25 | 75.7
6492 | 2022-05-17 15:19 | 39.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9571 | μmol/L | 18.8854 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.768 | 139028.2824 | 269675.0313 | 33.25 | 75.7
6502 | 2022-05-17 15:19 | 40.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0118 | μmol/L | 18.8793 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.768 | 139029.7303 | 269662.4214 | 33.25 | 75.7
6512 | 2022-05-17 15:20 | 40.6624 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0665 | μmol/L | 18.8732 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.768 | 139036.5995 | 269670.6225 | 33.25 | 75.7
6522 | 2022-05-17 15:20 | 40.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9363 | μmol/L | 18.8793 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.771 | 139036.4847 | 269651.3006 | 33.25 | 75.7
6532 | 2022-05-17 15:20 | 41.3296 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9406 | μmol/L | 18.8732 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.773 | 139035.5268 | 269641.4927 | 33.25 | 75.7
6542 | 2022-05-17 15:21 | 41.6627 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9658 | μmol/L | 18.8732 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.772 | 139041.4894 | 269638.345 | 33.25 | 75.7
6552 | 2022-05-17 15:21 | 41.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9701 | μmol/L | 18.867 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.774 | 139053.516 | 269633.5424 | 33.25 | 75.7
6562 | 2022-05-17 15:21 | 42.3292 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9701 | μmol/L | 18.867 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.774 | 139051.8434 | 269626.6578 | 33.25 | 75.7
6572 | 2022-05-17 15:22 | 42.6624 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0796 | μmol/L | 18.8548 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.774 | 139040.3567 | 269612.0021 | 33.25 | 75.7
6582 | 2022-05-17 15:22 | 42.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.8946 | μmol/L | 18.867 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.777 | 139050.2501 | 269620.709 | 33.25 | 75.7
6592 | 2022-05-17 15:22 | 43.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1344 | μmol/L | 18.8486 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.774 | 139054.5805 | 269612.3659 | 33.25 | 75.7
6602 | 2022-05-17 15:23 | 43.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.9789 | μmol/L | 18.8548 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.778 | 139053.1626 | 269619.4811 | 33.25 | 75.7
6612 | 2022-05-17 15:23 | 43.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0336 | μmol/L | 18.8486 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.778 | 139065.9174 | 269604.1336 | 33.25 | 75.7
6622 | 2022-05-17 15:23 | 44.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0336 | μmol/L | 18.8486 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.778 | 139058.7834 | 269601.6596 | 33.25 | 75.7
6632 | 2022-05-17 15:24 | 44.6629 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.038 | μmol/L | 18.8425 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.78 | 139065.5377 | 269592.7544 | 33.25 | 75.7
6642 | 2022-05-17 15:24 | 44.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0928 | μmol/L | 18.8364 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.78 | 139076.2121 | 269598.3239 | 33.25 | 75.7
6652 | 2022-05-17 15:24 | 45.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1432 | μmol/L | 18.8364 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.778 | 139073.003 | 269598.1324 | 33.25 | 75.7
6662 | 2022-05-17 15:25 | 45.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0972 | μmol/L | 18.8302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.782 | 139073.0635 | 269588.1923 | 33.25 | 75.7
6672 | 2022-05-17 15:25 | 45.9961 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.072 | μmol/L | 18.8302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.783 | 139067.0406 | 269591.0579 | 33.25 | 75.7
6682 | 2022-05-17 15:25 | 46.3291 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1268 | μmol/L | 18.8241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.783 | 139076.0656 | 269586.9558 | 33.25 | 75.7
6692 | 2022-05-17 15:26 | 46.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1268 | μmol/L | 18.8241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.783 | 139079.9037 | 269593.5227 | 33.25 | 75.7
6702 | 2022-05-17 15:26 | 46.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1608 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.786 | 139089.4738 | 269579.6375 | 33.25 | 75.7
6712 | 2022-05-17 15:26 | 47.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.106 | μmol/L | 18.818 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.786 | 139092.7232 | 269578.0008 | 33.25 | 75.7
6722 | 2022-05-17 15:27 | 47.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1356 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.787 | 139082.3193 | 269574.7223 | 33.25 | 75.7
6732 | 2022-05-17 15:27 | 47.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1356 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.787 | 139087.5742 | 269564.9734 | 33.25 | 75.7
6742 | 2022-05-17 15:27 | 48.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1904 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.787 | 139097.8164 | 269575.804 | 33.25 | 75.7
6752 | 2022-05-17 15:28 | 48.6628 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1401 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.789 | 139107.8952 | 269570.2441 | 33.25 | 75.7
6762 | 2022-05-17 15:28 | 48.9959 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0897 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.791 | 139098.7728 | 269561.1516 | 33.25 | 75.7
6772 | 2022-05-17 15:28 | 49.3294 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1741 | μmol/L | 18.7934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.792 | 139109.1672 | 269578.0203 | 33.25 | 75.7
6782 | 2022-05-17 15:29 | 49.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1445 | μmol/L | 18.7996 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.791 | 139110.6266 | 269581.6873 | 33.25 | 75.7
6792 | 2022-05-17 15:29 | 49.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3045 | μmol/L | 18.7873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.789 | 139108.2214 | 269568.7521 | 33.25 | 75.7
6802 | 2022-05-17 15:29 | 50.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1993 | μmol/L | 18.7934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.791 | 139119.0449 | 269564.3481 | 33.25 | 75.7
6812 | 2022-05-17 15:30 | 50.6629 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1786 | μmol/L | 18.7873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.794 | 139119.4593 | 269562.6511 | 33.25 | 75.7
6822 | 2022-05-17 15:30 | 50.9961 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2082 | μmol/L | 18.7812 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.795 | 139115.9219 | 269561.2273 | 33.25 | 75.7
6832 | 2022-05-17 15:30 | 51.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1579 | μmol/L | 18.7812 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.797 | 139125.6978 | 269560.3167 | 33.25 | 75.7
6842 | 2022-05-17 15:31 | 51.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2379 | μmol/L | 18.775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.796 | 139138.2805 | 269547.9934 | 33.25 | 75.7
6852 | 2022-05-17 15:31 | 51.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1875 | μmol/L | 18.775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.798 | 139140.4195 | 269549.9023 | 33.25 | 75.7
6862 | 2022-05-17 15:31 | 52.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2468 | μmol/L | 18.7628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.8 | 139147.78 | 269548.0838 | 33.25 | 75.7
6872 | 2022-05-17 15:32 | 52.6624 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2423 | μmol/L | 18.7689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.798 | 139157.7151 | 269545.7284 | 33.25 | 75.7
6882 | 2022-05-17 15:32 | 52.9962 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.201 | μmol/L | 18.7566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.804 | 139162.0814 | 269545.3486 | 33.25 | 75.7
6892 | 2022-05-17 15:32 | 53.3293 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2513 | μmol/L | 18.7566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.802 | 139158.2265 | 269535.2302 | 33.25 | 75.7
6902 | 2022-05-17 15:33 | 53.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2261 | μmol/L | 18.7566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.803 | 139182.7682 | 269541.5209 | 33.25 | 75.7
6912 | 2022-05-17 15:33 | 53.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3359 | μmol/L | 18.7444 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.803 | 139175.997 | 269537.1732 | 33.25 | 75.7
6922 | 2022-05-17 15:33 | 54.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2306 | μmol/L | 18.7505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.805 | 139190.0783 | 269528.1045 | 33.25 | 75.7
6932 | 2022-05-17 15:34 | 54.6626 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3404 | μmol/L | 18.7382 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.805 | 139198.0802 | 269525.747 | 33.25 | 75.7
6942 | 2022-05-17 15:34 | 54.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1551 | μmol/L | 18.7505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.808 | 139199.9512 | 269527.7418 | 33.25 | 75.7
6952 | 2022-05-17 15:34 | 55.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.3953 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.805 | 139203.2428 | 269511.568 | 33.25 | 75.7
6962 | 2022-05-17 15:35 | 55.6625 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2145 | μmol/L | 18.7382 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.81 | 139209.7542 | 269522.5197 | 33.25 | 75.7
6972 | 2022-05-17 15:35 | 55.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2694 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.81 | 139225.5991 | 269524.4106 | 33.25 | 75.7
6982 | 2022-05-17 15:35 | 56.3295 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.2739 | μmol/L | 18.726 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.812 | 139213.9853 | 269512.441 | 33.25 | 75.7
6992 | 2022-05-17 15:36 | 56.6624 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.148 | μmol/L | 18.726 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.817 | 139235.0456 | 269507.5565 | 33.25 | 75.7
7002 | 2022-05-17 15:36 | 56.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.1984 | μmol/L | 18.726 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.815 | 139232.9533 | 269519.5907 | 33.25 | 75.7