## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5286 | 2022-05-17 14:39 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2611 | μmol/L | 19.1945 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 87555.1596 | 295225.267 | 30.45 | 114.2
5296 | 2022-05-17 14:39 | 0.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4863 | μmol/L | 19.176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 87536.014 | 295234.2768 | 30.45 | 114.2
5306 | 2022-05-17 14:39 | 0.66093 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4112 | μmol/L | 19.1822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 87512.5636 | 295233.6708 | 30.45 | 114.2
5316 | 2022-05-17 14:40 | 0.99417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4112 | μmol/L | 19.1822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 87472.7435 | 295222.6043 | 30.45 | 114.2
5326 | 2022-05-17 14:40 | 1.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5378 | μmol/L | 19.1699 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 87453.3472 | 295223.6279 | 30.45 | 114.2
5336 | 2022-05-17 14:40 | 1.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6408 | μmol/L | 19.1576 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 87431.9029 | 295215.292 | 30.45 | 114.2
5346 | 2022-05-17 14:41 | 1.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5269 | μmol/L | 19.1514 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.376 | 87452.2111 | 295213.7954 | 30.45 | 114.2
5356 | 2022-05-17 14:41 | 2.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3938 | μmol/L | 19.1392 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.386 | 87473.7455 | 295197.6626 | 30.45 | 114.2
5366 | 2022-05-17 14:41 | 2.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3037 | μmol/L | 19.133 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.392 | 87485.111 | 295201.8082 | 30.45 | 114.2
5376 | 2022-05-17 14:42 | 2.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1429 | μmol/L | 19.1269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.401 | 87499.2421 | 295192.9131 | 30.45 | 114.2
5386 | 2022-05-17 14:42 | 3.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.0058 | μmol/L | 19.1207 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.409 | 87527.4255 | 295185.0105 | 30.45 | 114.2
5396 | 2022-05-17 14:42 | 3.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.9952 | μmol/L | 19.1023 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.416 | 87545.6004 | 295169.3197 | 30.45 | 114.2
5406 | 2022-05-17 14:43 | 3.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1731 | μmol/L | 19.0839 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.415 | 87547.9071 | 295176.3877 | 30.45 | 114.2
5416 | 2022-05-17 14:43 | 4.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2011 | μmol/L | 19.0777 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.416 | 87542.5911 | 295167.4128 | 30.45 | 114.2
5426 | 2022-05-17 14:43 | 4.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2203 | μmol/L | 19.0839 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.413 | 87507.7267 | 295157.1254 | 30.45 | 114.2
5436 | 2022-05-17 14:44 | 4.9939 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5164 | μmol/L | 19.0654 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.407 | 87480.1418 | 295152.7009 | 30.45 | 114.2
5446 | 2022-05-17 14:44 | 5.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4928 | μmol/L | 19.0654 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.408 | 87461.7886 | 295136.3753 | 30.45 | 114.2
5456 | 2022-05-17 14:44 | 5.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5444 | μmol/L | 19.0593 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.408 | 87458.8558 | 295135.8179 | 30.45 | 114.2
5466 | 2022-05-17 14:45 | 5.9939 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5916 | μmol/L | 19.0593 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.406 | 87452.0091 | 295126.7238 | 30.45 | 114.2
5476 | 2022-05-17 14:45 | 6.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.0919 | μmol/L | 19.0654 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.425 | 87510.3607 | 295134.1039 | 30.45 | 114.2
5486 | 2022-05-17 14:45 | 6.6606 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.0021 | μmol/L | 19.0593 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.431 | 87531.004 | 295109.0459 | 30.45 | 114.2
5496 | 2022-05-17 14:46 | 6.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3627 | μmol/L | 19.0163 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.431 | 87512.2402 | 295119.1867 | 30.45 | 114.2
5506 | 2022-05-17 14:46 | 7.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.183 | μmol/L | 19.004 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.443 | 87572.3369 | 295101.5446 | 30.45 | 114.2
5516 | 2022-05-17 14:46 | 7.6606 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8681 | μmol/L | 19.0163 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.452 | 87649.9091 | 295099.5372 | 30.45 | 114.2
5526 | 2022-05-17 14:47 | 7.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2617 | μmol/L | 19.0101 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.48 | 87716.7078 | 295089.4716 | 30.45 | 114.2
5536 | 2022-05-17 14:47 | 8.3272 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0975 | μmol/L | 19.0101 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 87751.6973 | 295091.1664 | 30.45 | 114.2
5546 | 2022-05-17 14:47 | 8.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0216 | μmol/L | 18.9856 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.499 | 87784.3708 | 295079.3666 | 30.45 | 114.2
5556 | 2022-05-17 14:48 | 8.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.4186 | μmol/L | 19.0101 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.516 | 87848.4486 | 295071.7271 | 30.45 | 114.2
5566 | 2022-05-17 14:48 | 9.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5247 | μmol/L | 18.961 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.529 | 87901.5956 | 295064.5183 | 30.45 | 114.2
5576 | 2022-05-17 14:48 | 9.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6409 | μmol/L | 18.9303 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.535 | 87932.0997 | 295051.5305 | 30.45 | 114.2
5586 | 2022-05-17 14:49 | 9.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.463 | μmol/L | 18.918 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.547 | 87959.3661 | 295050.5691 | 30.45 | 114.2
5596 | 2022-05-17 14:49 | 10.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.2346 | μmol/L | 18.9426 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.548 | 87956.9236 | 295056.5729 | 30.45 | 114.2
5606 | 2022-05-17 14:49 | 10.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3137 | μmol/L | 18.9303 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 87967.2644 | 295037.8493 | 30.45 | 114.2
5616 | 2022-05-17 14:50 | 10.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6073 | μmol/L | 18.8811 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.554 | 87978.4363 | 295036.6746 | 30.45 | 114.2
5626 | 2022-05-17 14:50 | 11.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5468 | μmol/L | 18.8996 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.55 | 87959.6305 | 295014.5224 | 30.45 | 114.2
5636 | 2022-05-17 14:50 | 11.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.1037 | μmol/L | 18.9303 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.558 | 87976.4729 | 295004.0372 | 30.45 | 114.2
5646 | 2022-05-17 14:51 | 11.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.7565 | μmol/L | 18.8381 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.563 | 87992.1118 | 294985.5846 | 30.45 | 114.2
5656 | 2022-05-17 14:51 | 12.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.5976 | μmol/L | 18.832 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.572 | 88026.991 | 294988.2497 | 30.45 | 114.2
5666 | 2022-05-17 14:51 | 12.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6536 | μmol/L | 18.8197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.574 | 88029.059 | 294973.6559 | 30.45 | 114.2
5676 | 2022-05-17 14:52 | 12.9941 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.3827 | μmol/L | 18.8381 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.579 | 88052.1572 | 294966.0387 | 30.45 | 114.2
5686 | 2022-05-17 14:52 | 13.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.0049 | μmol/L | 18.8443 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.593 | 88083.4791 | 294969.7655 | 30.45 | 114.2
5696 | 2022-05-17 14:52 | 13.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.0329 | μmol/L | 18.8381 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.594 | 88097.105 | 294951.0718 | 30.45 | 114.2
5706 | 2022-05-17 14:53 | 13.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.935 | μmol/L | 18.8443 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.596 | 88110.0779 | 294939.6674 | 30.45 | 114.2
5716 | 2022-05-17 14:53 | 14.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.7534 | μmol/L | 18.8381 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.606 | 88121.3963 | 294929.131 | 30.45 | 114.2
5726 | 2022-05-17 14:53 | 14.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.8046 | μmol/L | 18.832 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.606 | 88130.2349 | 294922.47 | 30.45 | 114.2
5736 | 2022-05-17 14:54 | 14.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.5534 | μmol/L | 18.8258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.619 | 88155.7903 | 294912.4258 | 30.45 | 114.2
5746 | 2022-05-17 14:54 | 15.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.4836 | μmol/L | 18.8258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.622 | 88175.4035 | 294916.0603 | 30.45 | 114.2
5756 | 2022-05-17 14:54 | 15.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.4465 | μmol/L | 18.8135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.628 | 88209.3104 | 294903.0308 | 30.45 | 114.2
5766 | 2022-05-17 14:55 | 15.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.3815 | μmol/L | 18.8074 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.633 | 88218.7523 | 294902.7462 | 30.45 | 114.2
5776 | 2022-05-17 14:55 | 16.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.2748 | μmol/L | 18.7951 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.642 | 88252.5871 | 294888.0781 | 30.45 | 114.2
5786 | 2022-05-17 14:55 | 16.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.8757 | μmol/L | 18.8013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.657 | 88285.4544 | 294894.3311 | 30.45 | 114.2
5796 | 2022-05-17 14:56 | 16.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.862 | μmol/L | 18.789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 88320.4078 | 294866.1895 | 30.45 | 114.2
5806 | 2022-05-17 14:56 | 17.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.5794 | μmol/L | 18.7951 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.672 | 88358.7599 | 294864.043 | 30.45 | 114.2
5816 | 2022-05-17 14:56 | 17.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.3664 | μmol/L | 18.8013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.679 | 88389.3807 | 294853.0415 | 30.45 | 114.2
5826 | 2022-05-17 14:57 | 17.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2005 | μmol/L | 18.7767 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.695 | 88452.7835 | 294842.9917 | 30.45 | 114.2
5836 | 2022-05-17 14:57 | 18.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.1822 | μmol/L | 18.7705 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.698 | 88449.8016 | 294826.841 | 30.45 | 114.2
5846 | 2022-05-17 14:57 | 18.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.0579 | μmol/L | 18.7521 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.71 | 88487.4693 | 294827.2524 | 30.45 | 114.2
5856 | 2022-05-17 14:58 | 18.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.9656 | μmol/L | 18.7521 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 88507.4718 | 294799.3219 | 30.45 | 114.2
5866 | 2022-05-17 14:58 | 19.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7677 | μmol/L | 18.7398 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.727 | 88548.1402 | 294809.0917 | 30.45 | 114.2
5876 | 2022-05-17 14:58 | 19.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.45 | μmol/L | 18.7337 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.743 | 88609.0549 | 294781.6695 | 30.45 | 114.2
5886 | 2022-05-17 14:59 | 19.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.3398 | μmol/L | 18.7275 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.75 | 88623.1081 | 294791.1248 | 30.45 | 114.2
5896 | 2022-05-17 14:59 | 20.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.3446 | μmol/L | 18.7214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.752 | 88645.9297 | 294770.9074 | 30.45 | 114.2
5906 | 2022-05-17 14:59 | 20.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.0687 | μmol/L | 18.7214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 88661.661 | 294765.7817 | 30.45 | 114.2
5916 | 2022-05-17 15:00 | 20.9941 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.0917 | μmol/L | 18.7214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.763 | 88682.6258 | 294753.0491 | 30.45 | 114.2
5926 | 2022-05-17 15:00 | 21.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.9817 | μmol/L | 18.7153 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.77 | 88695.0079 | 294747.4139 | 30.45 | 114.2
5936 | 2022-05-17 15:00 | 21.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.8947 | μmol/L | 18.7091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.776 | 88715.1764 | 294720.6131 | 30.45 | 114.2
5946 | 2022-05-17 15:01 | 21.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.7619 | μmol/L | 18.703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.784 | 88733.7186 | 294714.9005 | 30.45 | 114.2
5956 | 2022-05-17 15:01 | 22.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.8634 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.784 | 88730.6467 | 294699.3439 | 30.45 | 114.2
5966 | 2022-05-17 15:01 | 22.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.5194 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.799 | 88757.5234 | 294694.51 | 30.45 | 114.2
5976 | 2022-05-17 15:02 | 22.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.3133 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.808 | 88794.6251 | 294690.2485 | 30.45 | 114.2
5986 | 2022-05-17 15:02 | 23.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.158 | μmol/L | 18.6845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.817 | 88815.7069 | 294686.5481 | 30.45 | 114.2
5996 | 2022-05-17 15:02 | 23.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.0845 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.818 | 88816.3282 | 294680.8608 | 30.45 | 114.2
6006 | 2022-05-17 15:03 | 23.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.0665 | μmol/L | 18.6845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.821 | 88841.7255 | 294689.0783 | 30.45 | 114.2
6016 | 2022-05-17 15:03 | 24.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.8429 | μmol/L | 18.6784 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 88880.1484 | 294672.8522 | 30.45 | 114.2
6026 | 2022-05-17 15:03 | 24.6613 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.7564 | μmol/L | 18.6723 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.839 | 88907.656 | 294649.6098 | 30.45 | 114.2
6036 | 2022-05-17 15:04 | 24.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.5461 | μmol/L | 18.6784 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.846 | 88929.3402 | 294657.7413 | 30.45 | 114.2
6046 | 2022-05-17 15:04 | 25.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.4876 | μmol/L | 18.6661 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.853 | 88948.6536 | 294652.7403 | 30.45 | 114.2
6056 | 2022-05-17 15:04 | 25.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.3102 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.863 | 88980.7005 | 294643.5663 | 30.45 | 114.2
6066 | 2022-05-17 15:05 | 25.9939 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9232 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.88 | 89044.9348 | 294648.3671 | 30.45 | 114.2
6076 | 2022-05-17 15:05 | 26.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.855 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 89062.1366 | 294630.4905 | 30.45 | 114.2
6086 | 2022-05-17 15:05 | 26.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5823 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.895 | 89092.1899 | 294641.1689 | 30.45 | 114.2
6096 | 2022-05-17 15:06 | 26.9941 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6831 | μmol/L | 18.6477 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.895 | 89124.613 | 294628.9204 | 30.45 | 114.2
6106 | 2022-05-17 15:06 | 27.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.4156 | μmol/L | 18.6415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.909 | 89160.072 | 294629.3963 | 30.45 | 114.2
6116 | 2022-05-17 15:06 | 27.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1159 | μmol/L | 18.6477 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.92 | 89217.8638 | 294622.2252 | 30.45 | 114.2
6126 | 2022-05-17 15:07 | 27.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1435 | μmol/L | 18.6415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.921 | 89219.0284 | 294616.0153 | 30.45 | 114.2
6136 | 2022-05-17 15:07 | 28.3273 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8944 | μmol/L | 18.6415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.932 | 89257.3335 | 294613.0495 | 30.45 | 114.2
6146 | 2022-05-17 15:07 | 28.6605 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8868 | μmol/L | 18.6231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.939 | 89298.8861 | 294613.9674 | 30.45 | 114.2
6156 | 2022-05-17 15:08 | 28.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5702 | μmol/L | 18.6231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.953 | 89354.2185 | 294597.5093 | 30.45 | 114.2
6166 | 2022-05-17 15:08 | 29.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2817 | μmol/L | 18.617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.968 | 89406.7527 | 294596.926 | 30.45 | 114.2
6176 | 2022-05-17 15:08 | 29.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.006 | μmol/L | 18.6231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.978 | 89456.198 | 294609.2647 | 30.45 | 114.2
6186 | 2022-05-17 15:09 | 29.9939 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8308 | μmol/L | 18.617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.988 | 89477.7782 | 294582.6927 | 30.45 | 114.2
6196 | 2022-05-17 15:09 | 30.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7182 | μmol/L | 18.617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.993 | 89483.616 | 294573.6597 | 30.45 | 114.2
6206 | 2022-05-17 15:09 | 30.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.9351 | μmol/L | 18.6047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.077 | 89855.7372 | 294576.8706 | 30.45 | 114.2
6216 | 2022-05-17 15:10 | 30.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.7445 | μmol/L | 18.5924 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.09 | 89942.1292 | 294568.8462 | 30.45 | 114.2
6226 | 2022-05-17 15:10 | 31.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.5783 | μmol/L | 18.6047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.093 | 89937.3243 | 294555.4302 | 30.45 | 114.2
6236 | 2022-05-17 15:10 | 31.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.7394 | μmol/L | 18.5985 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.088 | 89896.6849 | 294552.4327 | 30.45 | 114.2
6246 | 2022-05-17 15:11 | 31.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.0397 | μmol/L | 18.5862 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.079 | 89850.2188 | 294549.0009 | 30.45 | 114.2
6256 | 2022-05-17 15:11 | 32.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.0569 | μmol/L | 18.5924 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.076 | 89835.5895 | 294533.8195 | 30.45 | 114.2
6266 | 2022-05-17 15:11 | 32.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.1514 | μmol/L | 18.5862 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.074 | 89825.8453 | 294544.3632 | 30.45 | 114.2
6276 | 2022-05-17 15:12 | 32.9939 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.5815 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.104 | 89955.5768 | 294522.6685 | 30.45 | 114.2
6286 | 2022-05-17 15:12 | 33.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.5643 | μmol/L | 18.5678 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89959.728 | 294534.7664 | 30.45 | 114.2
6296 | 2022-05-17 15:12 | 33.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.6586 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.105 | 89960.4728 | 294534.1208 | 30.45 | 114.2
6306 | 2022-05-17 15:13 | 33.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.0577 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.132 | 90058.5177 | 294512.997 | 30.45 | 114.2
6316 | 2022-05-17 15:13 | 34.3272 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.0628 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.134 | 90082.0116 | 294505.5988 | 30.45 | 114.2
6326 | 2022-05-17 15:13 | 34.6606 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.1021 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.13 | 90033.9455 | 294511.9578 | 30.45 | 114.2
6336 | 2022-05-17 15:14 | 34.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.3297 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.122 | 90003.5429 | 294499.2133 | 30.45 | 114.2
6346 | 2022-05-17 15:14 | 35.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.2578 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.123 | 89992.592 | 294490.7159 | 30.45 | 114.2
6356 | 2022-05-17 15:14 | 35.6606 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.1295 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.131 | 90020.5039 | 294486.9758 | 30.45 | 114.2
6366 | 2022-05-17 15:15 | 35.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.9961 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.137 | 90041.4419 | 294486.6957 | 30.45 | 114.2
6376 | 2022-05-17 15:15 | 36.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.068 | μmol/L | 18.5494 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.136 | 90040.0294 | 294482.5374 | 30.45 | 114.2
6386 | 2022-05-17 15:15 | 36.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.0628 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.134 | 90040.4918 | 294474.8339 | 30.45 | 114.2
6396 | 2022-05-17 15:16 | 36.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.0953 | μmol/L | 18.5432 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.137 | 90029.0856 | 294467.7866 | 30.45 | 114.2
6406 | 2022-05-17 15:16 | 37.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.1843 | μmol/L | 18.5432 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.133 | 90017.3653 | 294456.3382 | 30.45 | 114.2
6416 | 2022-05-17 15:16 | 37.6606 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.2168 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.136 | 90036.7368 | 294445.7204 | 30.45 | 114.2
6426 | 2022-05-17 15:17 | 37.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.0338 | μmol/L | 18.5371 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.142 | 90066.82 | 294440.6398 | 30.45 | 114.2
6436 | 2022-05-17 15:17 | 38.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.7178 | μmol/L | 18.5432 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.154 | 90106.1505 | 294432.3441 | 30.45 | 114.2
6446 | 2022-05-17 15:17 | 38.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.6172 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.163 | 90139.2368 | 294427.236 | 30.45 | 114.2
6456 | 2022-05-17 15:18 | 38.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.8373 | μmol/L | 18.5371 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.196 | 90274.9851 | 294408.8144 | 30.45 | 114.2
6466 | 2022-05-17 15:18 | 39.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7983 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.2 | 90296.26 | 294420.7239 | 30.45 | 114.2
6476 | 2022-05-17 15:18 | 39.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7099 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.204 | 90302.9018 | 294423.5498 | 30.45 | 114.2
6486 | 2022-05-17 15:19 | 39.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.7729 | μmol/L | 18.5187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.251 | 90518.2957 | 294399.2581 | 30.45 | 114.2
6496 | 2022-05-17 15:19 | 40.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.7069 | μmol/L | 18.5187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.254 | 90516.9292 | 294391.4601 | 30.45 | 114.2
6506 | 2022-05-17 15:19 | 40.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.9101 | μmol/L | 18.5125 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.247 | 90477.7527 | 294391.5724 | 30.45 | 114.2
6516 | 2022-05-17 15:20 | 40.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.8828 | μmol/L | 18.5187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.246 | 90468.5506 | 294378.5245 | 30.45 | 114.2
6526 | 2022-05-17 15:20 | 41.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.9645 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.249 | 90470.9745 | 294375.3123 | 30.45 | 114.2
6536 | 2022-05-17 15:20 | 41.6613 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.7666 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.258 | 90490.0661 | 294378.0224 | 30.45 | 114.2
6546 | 2022-05-17 15:21 | 41.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.8985 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.252 | 90503.1132 | 294362.1897 | 30.45 | 114.2
6556 | 2022-05-17 15:21 | 42.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9934 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.291 | 90652.2505 | 294349.1588 | 30.45 | 114.2
6566 | 2022-05-17 15:21 | 42.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.8287 | μmol/L | 18.4941 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.303 | 90694.2237 | 294344.3272 | 30.45 | 114.2
6576 | 2022-05-17 15:22 | 42.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9496 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.293 | 90648.0715 | 294353.0693 | 30.45 | 114.2
6586 | 2022-05-17 15:22 | 43.3273 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0477 | μmol/L | 18.4941 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.293 | 90634.3366 | 294343.5895 | 30.45 | 114.2
6596 | 2022-05-17 15:22 | 43.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.8453 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.3 | 90641.213 | 294328.9844 | 30.45 | 114.2
6606 | 2022-05-17 15:23 | 43.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.7412 | μmol/L | 18.4941 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.307 | 90678.3956 | 294322.3227 | 30.45 | 114.2
6616 | 2022-05-17 15:23 | 44.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.1555 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.382 | 91004.7063 | 294317.554 | 30.45 | 114.2
6626 | 2022-05-17 15:23 | 44.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.1338 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.383 | 91028.9383 | 294308.6466 | 30.45 | 114.2
6636 | 2022-05-17 15:24 | 44.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.7486 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.403 | 91101.6911 | 294312.6579 | 30.45 | 114.2
6646 | 2022-05-17 15:24 | 45.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8951 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.394 | 91059.0198 | 294306.8435 | 30.45 | 114.2
6656 | 2022-05-17 15:24 | 45.6608 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.1878 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.385 | 91024.4214 | 294295.3172 | 30.45 | 114.2
6666 | 2022-05-17 15:25 | 45.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3398 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.378 | 90991.962 | 294293.5602 | 30.45 | 114.2
6676 | 2022-05-17 15:25 | 46.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3563 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.375 | 90967.4509 | 294290.1028 | 30.45 | 114.2
6686 | 2022-05-17 15:25 | 46.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.2529 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.382 | 90967.5428 | 294296.8639 | 30.45 | 114.2
6696 | 2022-05-17 15:26 | 46.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.4485 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.373 | 90941.3099 | 294272.5043 | 30.45 | 114.2
6706 | 2022-05-17 15:26 | 47.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.4215 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.372 | 90941.579 | 294269.6469 | 30.45 | 114.2
6716 | 2022-05-17 15:26 | 47.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.3398 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.378 | 90960.4231 | 294276.7413 | 30.45 | 114.2
6726 | 2022-05-17 15:27 | 47.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.2365 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.385 | 90981.1509 | 294279.2269 | 30.45 | 114.2
6736 | 2022-05-17 15:27 | 48.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.0194 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.395 | 91025.8908 | 294265.6182 | 30.45 | 114.2
6746 | 2022-05-17 15:27 | 48.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.0141 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.393 | 91020.9921 | 294254.1202 | 30.45 | 114.2
6756 | 2022-05-17 15:28 | 48.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.9544 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.398 | 91026.3214 | 294259.9325 | 30.45 | 114.2
6766 | 2022-05-17 15:28 | 49.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.851 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.449 | 91258.858 | 294270.7703 | 30.45 | 114.2
6776 | 2022-05-17 15:28 | 49.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0128 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.446 | 91241.7699 | 294258.7872 | 30.45 | 114.2
6786 | 2022-05-17 15:29 | 49.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0992 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.442 | 91234.9964 | 294253.2826 | 30.45 | 114.2
6796 | 2022-05-17 15:29 | 50.3275 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.9643 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.446 | 91239.2722 | 294255.1618 | 30.45 | 114.2
6806 | 2022-05-17 15:29 | 50.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0397 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.447 | 91258.6627 | 294256.0369 | 30.45 | 114.2
6816 | 2022-05-17 15:30 | 50.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.9643 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.446 | 91261.4923 | 294242.4319 | 30.45 | 114.2
6826 | 2022-05-17 15:30 | 51.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.7323 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.459 | 91301.104 | 294248.539 | 30.45 | 114.2
6836 | 2022-05-17 15:30 | 51.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.646 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.463 | 91323.4851 | 294247.9192 | 30.45 | 114.2
6846 | 2022-05-17 15:31 | 51.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2121 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.532 | 91615.964 | 294236.0417 | 30.45 | 114.2
6856 | 2022-05-17 15:31 | 52.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.3673 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.527 | 91603.7549 | 294238.5687 | 30.45 | 114.2
6866 | 2022-05-17 15:31 | 52.6607 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4316 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.524 | 91593.0453 | 294240.2678 | 30.45 | 114.2
6876 | 2022-05-17 15:32 | 52.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1692 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.534 | 91612.9194 | 294223.8147 | 30.45 | 114.2
6886 | 2022-05-17 15:32 | 53.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2174 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.534 | 91609.5729 | 294243.1215 | 30.45 | 114.2
6896 | 2022-05-17 15:32 | 53.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.3888 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.526 | 91578.9764 | 294228.5286 | 30.45 | 114.2
6906 | 2022-05-17 15:33 | 53.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.437 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.526 | 91580.7303 | 294238.625 | 30.45 | 114.2
6916 | 2022-05-17 15:33 | 54.3274 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5764 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.524 | 91584.6361 | 294230.7599 | 30.45 | 114.2
6926 | 2022-05-17 15:33 | 54.6606 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.3995 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.53 | 91583.3783 | 294212.847 | 30.45 | 114.2
6936 | 2022-05-17 15:34 | 54.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.3995 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.53 | 91589.9813 | 294213.8357 | 30.45 | 114.2
6946 | 2022-05-17 15:34 | 55.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.287 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.533 | 91612.2938 | 294226.4074 | 30.45 | 114.2
6956 | 2022-05-17 15:34 | 55.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2282 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.538 | 91603.0032 | 294204.1483 | 30.45 | 114.2
6966 | 2022-05-17 15:35 | 55.994 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2336 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.54 | 91619.9465 | 294196.5893 | 30.45 | 114.2
6976 | 2022-05-17 15:35 | 56.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1694 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.543 | 91660.8093 | 294193.1183 | 30.45 | 114.2
6986 | 2022-05-17 15:35 | 56.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.87 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.557 | 91702.8932 | 294203.5909 | 30.45 | 114.2
6996 | 2022-05-17 15:36 | 56.9939 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.3363 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.582 | 91799.4803 | 294191.9599 | 30.45 | 114.2
7006 | 2022-05-17 15:36 | 57.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.7136 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.609 | 91923.9292 | 294190.1714 | 30.45 | 114.2