## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7023 | 2022-05-17 15:55 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0144 | μmol/L | 18.8732 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.691 | 103411.3445 | 269433.5542 | 33.25 | 75.7
7034 | 2022-05-17 15:55 | 0.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0949 | μmol/L | 18.867 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.69 | 103417.8594 | 269446.5198 | 33.25 | 75.7
7044 | 2022-05-17 15:56 | 0.66788 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9932 | μmol/L | 18.867 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.694 | 103339.6864 | 269434.3262 | 33.25 | 75.7
7053 | 2022-05-17 15:56 | 1.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0229 | μmol/L | 18.8609 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.695 | 103356.6098 | 269433.8969 | 33.25 | 75.7
7063 | 2022-05-17 15:56 | 1.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0738 | μmol/L | 18.8609 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.693 | 103348.8141 | 269431.3872 | 33.25 | 75.7
7074 | 2022-05-17 15:57 | 1.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9932 | μmol/L | 18.867 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.694 | 103328.231 | 269414.8384 | 33.25 | 75.7
7084 | 2022-05-17 15:57 | 2.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9467 | μmol/L | 18.8609 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.698 | 103325.5858 | 269406.2021 | 33.25 | 75.7
7093 | 2022-05-17 15:57 | 2.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8749 | μmol/L | 18.8548 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.703 | 103321.8619 | 269400.979 | 33.25 | 75.7
7104 | 2022-05-17 15:58 | 2.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9003 | μmol/L | 18.8548 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.702 | 103293.1393 | 269389.4241 | 33.25 | 75.7
7113 | 2022-05-17 15:58 | 3.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9046 | μmol/L | 18.8486 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.704 | 103277.9372 | 269380.804 | 33.25 | 75.7
7124 | 2022-05-17 15:58 | 3.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9597 | μmol/L | 18.8425 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.704 | 103265.4283 | 269389.856 | 33.25 | 75.7
7134 | 2022-05-17 15:59 | 3.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9343 | μmol/L | 18.8425 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.705 | 103279.9504 | 269379.0696 | 33.25 | 75.7
7144 | 2022-05-17 15:59 | 4.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9343 | μmol/L | 18.8425 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.705 | 103228.5748 | 269372.108 | 33.25 | 75.7
7153 | 2022-05-17 15:59 | 4.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.782 | μmol/L | 18.8425 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.711 | 103266.3837 | 269366.3277 | 33.25 | 75.7
7164 | 2022-05-17 16:00 | 4.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.9386 | μmol/L | 18.8364 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.707 | 103220.6162 | 269349.8471 | 33.25 | 75.7
7174 | 2022-05-17 16:00 | 5.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8371 | μmol/L | 18.8364 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.711 | 103199.7489 | 269347.3899 | 33.25 | 75.7
7184 | 2022-05-17 16:00 | 5.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 292.0025 | μmol/L | 18.818 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.711 | 103223.2376 | 269358.1266 | 33.25 | 75.7
7193 | 2022-05-17 16:01 | 5.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.8712 | μmol/L | 18.8241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.714 | 103214.6841 | 269351.7508 | 33.25 | 75.7
7204 | 2022-05-17 16:01 | 6.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.7994 | μmol/L | 18.818 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.719 | 103211.0983 | 269334.6451 | 33.25 | 75.7
7213 | 2022-05-17 16:01 | 6.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.5712 | μmol/L | 18.818 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.728 | 103219.3596 | 269351.4488 | 33.25 | 75.7
7223 | 2022-05-17 16:02 | 6.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.5503 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.731 | 103235.838 | 269328.8976 | 33.25 | 75.7
7234 | 2022-05-17 16:02 | 7.0017 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.6053 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.731 | 103237.9382 | 269331.1824 | 33.25 | 75.7
7243 | 2022-05-17 16:02 | 7.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.5249 | μmol/L | 18.8118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.732 | 103225.3184 | 269313.5894 | 33.25 | 75.7
7254 | 2022-05-17 16:03 | 7.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.504 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.735 | 103276.4849 | 269317.5473 | 33.25 | 75.7
7263 | 2022-05-17 16:03 | 8.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.4027 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.739 | 103230.5776 | 269309.1163 | 33.25 | 75.7
7274 | 2022-05-17 16:03 | 8.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.483 | μmol/L | 18.7996 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.738 | 103184.0128 | 269311.9211 | 33.25 | 75.7
7284 | 2022-05-17 16:04 | 8.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.4786 | μmol/L | 18.8057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.736 | 103229.6217 | 269307.5894 | 33.25 | 75.7
7294 | 2022-05-17 16:04 | 9.0011 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 291.3608 | μmol/L | 18.7934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.745 | 103229.2574 | 269299.2949 | 33.25 | 75.7
7304 | 2022-05-17 16:04 | 9.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.9606 | μmol/L | 18.7873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.763 | 103343.2509 | 269295.4682 | 33.25 | 75.7
7314 | 2022-05-17 16:05 | 9.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.481 | μmol/L | 18.7873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.782 | 103441.2401 | 269290.7771 | 33.25 | 75.7
7323 | 2022-05-17 16:05 | 10.0017 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 290.0868 | μmol/L | 18.775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.802 | 103475.7048 | 269287.8803 | 33.25 | 75.7
7333 | 2022-05-17 16:05 | 10.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 289.0026 | μmol/L | 18.7812 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.843 | 103714.6419 | 269288.1028 | 33.25 | 75.7
7343 | 2022-05-17 16:06 | 10.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.6583 | μmol/L | 18.775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.899 | 103998.6568 | 269282.0861 | 33.25 | 75.7
7354 | 2022-05-17 16:06 | 11.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.1111 | μmol/L | 18.775 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.921 | 104146.7919 | 269271.2147 | 33.25 | 75.7
7364 | 2022-05-17 16:06 | 11.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.4506 | μmol/L | 18.7628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.952 | 104309.3721 | 269278.8667 | 33.25 | 75.7
7373 | 2022-05-17 16:07 | 11.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.4867 | μmol/L | 18.7628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.991 | 104488.6986 | 269280.2444 | 33.25 | 75.7
7384 | 2022-05-17 16:07 | 12.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.7235 | μmol/L | 18.7628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.022 | 104712.8128 | 269283.0192 | 33.25 | 75.7
7393 | 2022-05-17 16:07 | 12.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.8602 | μmol/L | 18.7689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.055 | 104815.1357 | 269275.3376 | 33.25 | 75.7
7404 | 2022-05-17 16:08 | 12.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.4782 | μmol/L | 18.7566 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.075 | 104927.6927 | 269269.9991 | 33.25 | 75.7
7414 | 2022-05-17 16:08 | 13.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.8972 | μmol/L | 18.7505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.101 | 105060.5067 | 269280.6572 | 33.25 | 75.7
7424 | 2022-05-17 16:08 | 13.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.4974 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.124 | 105160.6288 | 269269.3321 | 33.25 | 75.7
7434 | 2022-05-17 16:09 | 13.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.7687 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.154 | 105314.9917 | 269268.0939 | 33.25 | 75.7
7444 | 2022-05-17 16:09 | 14.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.0424 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.184 | 105497.6825 | 269277.1587 | 33.25 | 75.7
7454 | 2022-05-17 16:09 | 14.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.4341 | μmol/L | 18.7382 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.207 | 105573.8013 | 269283.8817 | 33.25 | 75.7
7464 | 2022-05-17 16:10 | 14.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1451 | μmol/L | 18.7382 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.219 | 105703.946 | 269275.0399 | 33.25 | 75.7
7473 | 2022-05-17 16:10 | 15.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7602 | μmol/L | 18.7382 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.235 | 105752.9714 | 269277.1189 | 33.25 | 75.7
7484 | 2022-05-17 16:10 | 15.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.4768 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.249 | 105826.7126 | 269272.5804 | 33.25 | 75.7
7494 | 2022-05-17 16:11 | 15.6683 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.8635 | μmol/L | 18.7198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.279 | 105955.8185 | 269280.1872 | 33.25 | 75.7
7504 | 2022-05-17 16:11 | 16.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7555 | μmol/L | 18.7321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.321 | 106227.5113 | 269273.0561 | 33.25 | 75.7
7514 | 2022-05-17 16:11 | 16.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.715 | μmol/L | 18.726 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 106434.6008 | 269282.9658 | 33.25 | 75.7
7523 | 2022-05-17 16:12 | 16.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.892 | μmol/L | 18.7198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.404 | 106634.1437 | 269268.8491 | 33.25 | 75.7
7534 | 2022-05-17 16:12 | 17.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6726 | μmol/L | 18.7137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.458 | 106917.0028 | 269271.0687 | 33.25 | 75.7
7544 | 2022-05-17 16:12 | 17.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.0263 | μmol/L | 18.7014 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.49 | 107097.4661 | 269274.2992 | 33.25 | 75.7
7554 | 2022-05-17 16:13 | 17.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.2035 | μmol/L | 18.7137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.478 | 107034.8429 | 269263.3825 | 33.25 | 75.7
7564 | 2022-05-17 16:13 | 18.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1427 | μmol/L | 18.7137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 106778.0635 | 269268.9588 | 33.25 | 75.7
7574 | 2022-05-17 16:13 | 18.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2328 | μmol/L | 18.7076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.394 | 106552.3424 | 269274.305 | 33.25 | 75.7
7584 | 2022-05-17 16:14 | 18.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.285 | μmol/L | 18.7014 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.394 | 106489.6889 | 269268.9608 | 33.25 | 75.7
7594 | 2022-05-17 16:14 | 19.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1668 | μmol/L | 18.6953 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.359 | 106366.2065 | 269265.4707 | 33.25 | 75.7
7604 | 2022-05-17 16:14 | 19.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1474 | μmol/L | 18.6892 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.32 | 106123.7634 | 269262.6964 | 33.25 | 75.7
7613 | 2022-05-17 16:15 | 19.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.1993 | μmol/L | 18.6892 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.276 | 105844.5673 | 269261.1861 | 33.25 | 75.7
7623 | 2022-05-17 16:15 | 20.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3191 | μmol/L | 18.6892 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 105787.2436 | 269275.4603 | 33.25 | 75.7
7633 | 2022-05-17 16:15 | 20.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7992 | μmol/L | 18.6892 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.251 | 105710.0068 | 269266.666 | 33.25 | 75.7
7644 | 2022-05-17 16:16 | 20.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.0155 | μmol/L | 18.6892 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.242 | 105632.4741 | 269267.9078 | 33.25 | 75.7
7654 | 2022-05-17 16:16 | 21.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.8041 | μmol/L | 18.683 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.253 | 105702.3286 | 269267.3182 | 33.25 | 75.7
7664 | 2022-05-17 16:16 | 21.335 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.2331 | μmol/L | 18.6769 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.279 | 105841.344 | 269265.015 | 33.25 | 75.7
7674 | 2022-05-17 16:17 | 21.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3487 | μmol/L | 18.6524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.283 | 105894.6603 | 269257.5302 | 33.25 | 75.7
7684 | 2022-05-17 16:17 | 22.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5216 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.278 | 105823.0178 | 269269.0456 | 33.25 | 75.7
7694 | 2022-05-17 16:17 | 22.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5406 | μmol/L | 18.6524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.275 | 105863.3206 | 269266.2985 | 33.25 | 75.7
7703 | 2022-05-17 16:18 | 22.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.1951 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.285 | 105862.959 | 269279.8787 | 33.25 | 75.7
7714 | 2022-05-17 16:18 | 23.0017 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.9795 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.294 | 105923.6074 | 269271.515 | 33.25 | 75.7
7723 | 2022-05-17 16:18 | 23.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.9845 | μmol/L | 18.6585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.296 | 105941.7479 | 269272.2402 | 33.25 | 75.7
7733 | 2022-05-17 16:19 | 23.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3777 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.284 | 105868.452 | 269265.8477 | 33.25 | 75.7
7743 | 2022-05-17 16:19 | 24.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.6465 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.275 | 105846.7083 | 269272.4391 | 33.25 | 75.7
7754 | 2022-05-17 16:19 | 24.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.181 | μmol/L | 18.6524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.29 | 105895.6304 | 269277.7832 | 33.25 | 75.7
7764 | 2022-05-17 16:20 | 24.6683 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.822 | μmol/L | 18.6524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.305 | 105988.1403 | 269274.3894 | 33.25 | 75.7
7774 | 2022-05-17 16:20 | 25.0017 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.6885 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.315 | 106000.1209 | 269291.4041 | 33.25 | 75.7
7784 | 2022-05-17 16:20 | 25.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5741 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.322 | 106030.9678 | 269271.8703 | 33.25 | 75.7
7794 | 2022-05-17 16:21 | 25.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3781 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.328 | 106081.8218 | 269285.9594 | 33.25 | 75.7
7804 | 2022-05-17 16:21 | 26.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.3015 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.329 | 106141.4769 | 269289.3192 | 33.25 | 75.7
7814 | 2022-05-17 16:21 | 26.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1446 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.34 | 106134.7757 | 269273.2707 | 33.25 | 75.7
7823 | 2022-05-17 16:22 | 26.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9489 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.346 | 106174.8334 | 269287.6161 | 33.25 | 75.7
7834 | 2022-05-17 16:22 | 27.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9013 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.348 | 106212.2411 | 269276.8076 | 33.25 | 75.7
7844 | 2022-05-17 16:22 | 27.335 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7585 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.354 | 106210.837 | 269271.9444 | 33.25 | 75.7
7853 | 2022-05-17 16:23 | 27.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7635 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.356 | 106221.7801 | 269278.6719 | 33.25 | 75.7
7864 | 2022-05-17 16:23 | 28.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6258 | μmol/L | 18.6279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.364 | 106287.3885 | 269277.1225 | 33.25 | 75.7
7874 | 2022-05-17 16:23 | 28.335 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5307 | μmol/L | 18.6279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.368 | 106327.6783 | 269282.0121 | 33.25 | 75.7
7884 | 2022-05-17 16:24 | 28.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5595 | μmol/L | 18.6217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.369 | 106287.0978 | 269280.7093 | 33.25 | 75.7
7894 | 2022-05-17 16:24 | 29.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3931 | μmol/L | 18.6217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.376 | 106314.846 | 269279.9153 | 33.25 | 75.7
7904 | 2022-05-17 16:24 | 29.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3694 | μmol/L | 18.6217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.377 | 106352.0667 | 269270.5306 | 33.25 | 75.7
7914 | 2022-05-17 16:25 | 29.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3168 | μmol/L | 18.6279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.377 | 106334.4117 | 269277.7942 | 33.25 | 75.7
7924 | 2022-05-17 16:25 | 30.0018 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3643 | μmol/L | 18.6279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.375 | 106289.4394 | 269268.4812 | 33.25 | 75.7
7933 | 2022-05-17 16:25 | 30.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.4219 | μmol/L | 18.6156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.377 | 106265.3299 | 269276.74 | 33.25 | 75.7
7944 | 2022-05-17 16:26 | 30.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5595 | μmol/L | 18.6217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.369 | 106256.9747 | 269273.7454 | 33.25 | 75.7
7954 | 2022-05-17 16:26 | 31.0017 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6647 | μmol/L | 18.6095 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.369 | 106258.3264 | 269275.0561 | 33.25 | 75.7
7964 | 2022-05-17 16:26 | 31.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7123 | μmol/L | 18.6095 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 106245.798 | 269278.797 | 33.25 | 75.7
7974 | 2022-05-17 16:27 | 31.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.8464 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.368 | 106236.8132 | 269267.485 | 33.25 | 75.7
7984 | 2022-05-17 16:27 | 32.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7274 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.373 | 106289.7091 | 269264.579 | 33.25 | 75.7
7994 | 2022-05-17 16:27 | 32.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5322 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.379 | 106300.5306 | 269254.9247 | 33.25 | 75.7
8004 | 2022-05-17 16:28 | 32.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2709 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.39 | 106356.7408 | 269260.943 | 33.25 | 75.7
8014 | 2022-05-17 16:28 | 33.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.8864 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.404 | 106481.6133 | 269274.8066 | 33.25 | 75.7
8024 | 2022-05-17 16:28 | 33.335 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5076 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.42 | 106476.6622 | 269277.3352 | 33.25 | 75.7
8034 | 2022-05-17 16:29 | 33.6685 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5363 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.421 | 106551.9799 | 269270.9784 | 33.25 | 75.7
8043 | 2022-05-17 16:29 | 34.0018 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.413 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.424 | 106510.1854 | 269271.2944 | 33.25 | 75.7
8053 | 2022-05-17 16:29 | 34.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2762 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.432 | 106574.0983 | 269264.5021 | 33.25 | 75.7
8064 | 2022-05-17 16:30 | 34.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.0114 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.441 | 106587.1144 | 269252.39 | 33.25 | 75.7
8074 | 2022-05-17 16:30 | 35.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.1058 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.437 | 106592.1948 | 269252.8025 | 33.25 | 75.7
8084 | 2022-05-17 16:30 | 35.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.0452 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.444 | 106591.759 | 269239.6952 | 33.25 | 75.7
8093 | 2022-05-17 16:31 | 35.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.0503 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.446 | 106607.2557 | 269246.8148 | 33.25 | 75.7
8103 | 2022-05-17 16:31 | 36.0013 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9795 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.449 | 106636.4299 | 269245.5366 | 33.25 | 75.7
8114 | 2022-05-17 16:31 | 36.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8616 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.454 | 106699.8493 | 269236.2862 | 33.25 | 75.7
8124 | 2022-05-17 16:32 | 36.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.0267 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.447 | 106612.0514 | 269244.408 | 33.25 | 75.7
8134 | 2022-05-17 16:32 | 37.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9087 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.452 | 106650.7002 | 269236.2441 | 33.25 | 75.7
8144 | 2022-05-17 16:32 | 37.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.673 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.462 | 106652.3021 | 269235.512 | 33.25 | 75.7
8153 | 2022-05-17 16:33 | 37.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6074 | μmol/L | 18.5788 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.467 | 106708.5789 | 269234.0812 | 33.25 | 75.7
8164 | 2022-05-17 16:33 | 38.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.3147 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.475 | 106727.903 | 269224.5679 | 33.25 | 75.7
8174 | 2022-05-17 16:33 | 38.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.3772 | μmol/L | 18.5727 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.479 | 106750.2723 | 269237.5431 | 33.25 | 75.7
8184 | 2022-05-17 16:34 | 38.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2309 | μmol/L | 18.5788 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.483 | 106743.8865 | 269225.6601 | 33.25 | 75.7
8193 | 2022-05-17 16:34 | 39.0017 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0429 | μmol/L | 18.5788 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.491 | 106803.216 | 269237.9327 | 33.25 | 75.7
8203 | 2022-05-17 16:34 | 39.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9489 | μmol/L | 18.5788 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.495 | 106827.3723 | 269225.7125 | 33.25 | 75.7
8214 | 2022-05-17 16:35 | 39.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.855 | μmol/L | 18.5788 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.499 | 106848.3006 | 269225.957 | 33.25 | 75.7
8224 | 2022-05-17 16:35 | 40.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.8498 | μmol/L | 18.5849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.497 | 106851.8255 | 269223.5099 | 33.25 | 75.7
8233 | 2022-05-17 16:35 | 40.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1313 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.505 | 106843.5858 | 269220.2245 | 33.25 | 75.7
8244 | 2022-05-17 16:36 | 40.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2384 | μmol/L | 18.542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.496 | 106874.5424 | 269223.9439 | 33.25 | 75.7
8254 | 2022-05-17 16:36 | 41.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.3142 | μmol/L | 18.5359 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.495 | 106848.1669 | 269205.4079 | 33.25 | 75.7
8263 | 2022-05-17 16:36 | 41.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.4239 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.497 | 106834.7152 | 269202.6143 | 33.25 | 75.7
8273 | 2022-05-17 16:37 | 41.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.4657 | μmol/L | 18.5236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.493 | 106845.0386 | 269206.9904 | 33.25 | 75.7
8284 | 2022-05-17 16:37 | 42.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5128 | μmol/L | 18.5236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.491 | 106802.2142 | 269203.8265 | 33.25 | 75.7
8293 | 2022-05-17 16:37 | 42.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5546 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.487 | 106793.1285 | 269196.7452 | 33.25 | 75.7
8303 | 2022-05-17 16:38 | 42.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6149 | μmol/L | 18.542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.48 | 106735.9504 | 269202.9615 | 33.25 | 75.7
8314 | 2022-05-17 16:38 | 43.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5391 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.481 | 106689.8676 | 269201.0803 | 33.25 | 75.7
8324 | 2022-05-17 16:38 | 43.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.7614 | μmol/L | 18.5359 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.476 | 106670.6326 | 269199.0633 | 33.25 | 75.7
8334 | 2022-05-17 16:39 | 43.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5155 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.482 | 106694.5138 | 269196.7272 | 33.25 | 75.7
8344 | 2022-05-17 16:39 | 44.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5574 | μmol/L | 18.5543 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.478 | 106703.7435 | 269200.4852 | 33.25 | 75.7
8354 | 2022-05-17 16:39 | 44.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5207 | μmol/L | 18.542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.484 | 106694.048 | 269190.9036 | 33.25 | 75.7
8364 | 2022-05-17 16:40 | 44.6683 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5155 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.482 | 106777.2756 | 269186.6033 | 33.25 | 75.7
8373 | 2022-05-17 16:40 | 45.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2619 | μmol/L | 18.542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.495 | 106761.9859 | 269180.794 | 33.25 | 75.7
8384 | 2022-05-17 16:40 | 45.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1627 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.497 | 106815.2661 | 269182.7595 | 33.25 | 75.7
8394 | 2022-05-17 16:41 | 45.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9044 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.508 | 106851.0145 | 269188.6321 | 33.25 | 75.7
8403 | 2022-05-17 16:41 | 46.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.8861 | μmol/L | 18.542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.511 | 106861.2227 | 269189.2109 | 33.25 | 75.7
8413 | 2022-05-17 16:41 | 46.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9044 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.508 | 106879.7107 | 269180.4772 | 33.25 | 75.7
8424 | 2022-05-17 16:42 | 46.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.834 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.511 | 106847.2579 | 269174.2629 | 33.25 | 75.7
8433 | 2022-05-17 16:42 | 47.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9331 | μmol/L | 18.542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.509 | 106839.122 | 269178.9721 | 33.25 | 75.7
8444 | 2022-05-17 16:42 | 47.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9435 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.513 | 106826.3191 | 269155.3635 | 33.25 | 75.7
8454 | 2022-05-17 16:43 | 47.6684 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.8678 | μmol/L | 18.5359 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.514 | 106863.1509 | 269172.1197 | 33.25 | 75.7
8463 | 2022-05-17 16:43 | 48.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9435 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.513 | 106834.7887 | 269147.0853 | 33.25 | 75.7
8474 | 2022-05-17 16:43 | 48.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.92 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.514 | 106867.0605 | 269167.7713 | 33.25 | 75.7
8484 | 2022-05-17 16:44 | 48.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9252 | μmol/L | 18.5236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.516 | 106853.1146 | 269145.9489 | 33.25 | 75.7
8493 | 2022-05-17 16:44 | 49.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0139 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.51 | 106840.3537 | 269145.513 | 33.25 | 75.7
8504 | 2022-05-17 16:44 | 49.3351 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7792 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.52 | 106845.1324 | 269146.9256 | 33.25 | 75.7
8514 | 2022-05-17 16:45 | 49.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7136 | μmol/L | 18.5175 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.527 | 106884.399 | 269147.3672 | 33.25 | 75.7