## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 190713773 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:58

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7016 | 2022-05-17 15:55 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 280.5353 | μmol/L | 18.8832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.031 | 141812.6014 | 301961.3667 | 33.25 | 68.6
7026 | 2022-05-17 15:55 | 0.33649 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 279.7433 | μmol/L | 18.8771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.067 | 142065.9394 | 301974.0459 | 33.25 | 68.6
7036 | 2022-05-17 15:55 | 0.67048 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0142 | μmol/L | 18.8771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.141 | 142554.3032 | 301968.746 | 33.25 | 68.6
7046 | 2022-05-17 15:56 | 1.0036 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.5734 | μmol/L | 18.8589 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.21 | 143074.8082 | 301956.1307 | 33.25 | 68.6
7056 | 2022-05-17 15:56 | 1.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6733 | μmol/L | 18.8589 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.249 | 143311.0427 | 301951.428 | 33.25 | 68.6
7066 | 2022-05-17 15:56 | 1.6698 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.0349 | μmol/L | 18.8467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.325 | 143831.1447 | 301947.6356 | 33.25 | 68.6
7076 | 2022-05-17 15:57 | 2.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.2556 | μmol/L | 18.8528 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.445 | 144673.7912 | 301931.0787 | 33.25 | 68.6
7086 | 2022-05-17 15:57 | 2.3371 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7099 | μmol/L | 18.8467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.516 | 145167.1057 | 301930.5105 | 33.25 | 68.6
7096 | 2022-05-17 15:57 | 2.6702 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.1347 | μmol/L | 18.8406 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.544 | 145349.2372 | 301927.5786 | 33.25 | 68.6
7106 | 2022-05-17 15:58 | 3.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.963 | μmol/L | 18.8345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.554 | 145409.4552 | 301914.3619 | 33.25 | 68.6
7116 | 2022-05-17 15:58 | 3.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9478 | μmol/L | 18.8285 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.557 | 145410.3448 | 301917.7269 | 33.25 | 68.6
7126 | 2022-05-17 15:58 | 3.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.0748 | μmol/L | 18.8345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.549 | 145378.8551 | 301916.2402 | 33.25 | 68.6
7136 | 2022-05-17 15:59 | 4.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7088 | μmol/L | 18.8285 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.523 | 145148.7571 | 301915.9252 | 33.25 | 68.6
7146 | 2022-05-17 15:59 | 4.3371 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.2685 | μmol/L | 18.8224 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.456 | 144654.3204 | 301896.2469 | 33.25 | 68.6
7156 | 2022-05-17 15:59 | 4.67 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.5508 | μmol/L | 18.8102 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.404 | 144295.7724 | 301892.889 | 33.25 | 68.6
7166 | 2022-05-17 16:00 | 5.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.2416 | μmol/L | 18.8224 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.369 | 144014.1885 | 301893.9903 | 33.25 | 68.6
7176 | 2022-05-17 16:00 | 5.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.0017 | μmol/L | 18.8163 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.338 | 143785.7266 | 301881.3559 | 33.25 | 68.6
7186 | 2022-05-17 16:00 | 5.67 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.8402 | μmol/L | 18.8041 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.306 | 143535.5216 | 301879.046 | 33.25 | 68.6
7196 | 2022-05-17 16:01 | 6.0038 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.3455 | μmol/L | 18.8041 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.284 | 143366.8064 | 301867.3057 | 33.25 | 68.6
7206 | 2022-05-17 16:01 | 6.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.8519 | μmol/L | 18.8041 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.262 | 143195.2004 | 301867.996 | 33.25 | 68.6
7216 | 2022-05-17 16:01 | 6.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.4127 | μmol/L | 18.798 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.24 | 143026.7863 | 301861.6883 | 33.25 | 68.6
7226 | 2022-05-17 16:02 | 7.0035 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.0907 | μmol/L | 18.7919 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.213 | 142845.6984 | 301879.0876 | 33.25 | 68.6
7236 | 2022-05-17 16:02 | 7.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7241 | μmol/L | 18.7859 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.188 | 142635.8166 | 301843.2757 | 33.25 | 68.6
7246 | 2022-05-17 16:02 | 7.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0729 | μmol/L | 18.7859 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.173 | 142517.9091 | 301843.8213 | 33.25 | 68.6
7256 | 2022-05-17 16:03 | 8.0034 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.0746 | μmol/L | 18.7859 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.216 | 142795.7704 | 301845.7409 | 33.25 | 68.6
7266 | 2022-05-17 16:03 | 8.3363 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.588 | μmol/L | 18.7737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.285 | 143276.7193 | 301845.4208 | 33.25 | 68.6
7276 | 2022-05-17 16:03 | 8.6699 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.0972 | μmol/L | 18.7737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.35 | 143742.7602 | 301829.9174 | 33.25 | 68.6
7286 | 2022-05-17 16:04 | 9.0036 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.3897 | μmol/L | 18.7737 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.381 | 143991.4957 | 301815.7509 | 33.25 | 68.6
7296 | 2022-05-17 16:04 | 9.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.5326 | μmol/L | 18.7676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.421 | 144243.9441 | 301817.7805 | 33.25 | 68.6
7306 | 2022-05-17 16:04 | 9.6698 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.8979 | μmol/L | 18.7676 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.449 | 144449.102 | 301831.2273 | 33.25 | 68.6
7316 | 2022-05-17 16:05 | 10.0035 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4375 | μmol/L | 18.7554 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.474 | 144625.5478 | 301826.7249 | 33.25 | 68.6
7326 | 2022-05-17 16:05 | 10.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.979 | μmol/L | 18.7615 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.492 | 144723.059 | 301822.4451 | 33.25 | 68.6
7336 | 2022-05-17 16:05 | 10.6705 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.7231 | μmol/L | 18.7494 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.508 | 144842.5216 | 301822.1826 | 33.25 | 68.6
7346 | 2022-05-17 16:06 | 11.0036 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2212 | μmol/L | 18.7554 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.528 | 144932.9469 | 301815.3172 | 33.25 | 68.6
7356 | 2022-05-17 16:06 | 11.3366 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2509 | μmol/L | 18.7494 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.529 | 144970.6724 | 301817.9402 | 33.25 | 68.6
7366 | 2022-05-17 16:06 | 11.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.0191 | μmol/L | 18.7554 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.537 | 145009.2245 | 301805.6299 | 33.25 | 68.6
7376 | 2022-05-17 16:07 | 12.0034 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7796 | μmol/L | 18.7494 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.55 | 145074.1142 | 301816.3563 | 33.25 | 68.6
7386 | 2022-05-17 16:07 | 12.3369 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6675 | μmol/L | 18.7494 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.555 | 145139.824 | 301805.694 | 33.25 | 68.6
7396 | 2022-05-17 16:07 | 12.6704 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.0712 | μmol/L | 18.7494 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.537 | 144994.7609 | 301818.0155 | 33.25 | 68.6
7406 | 2022-05-17 16:08 | 13.003 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2581 | μmol/L | 18.7433 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.531 | 144959.9699 | 301803.4979 | 33.25 | 68.6
7416 | 2022-05-17 16:08 | 13.3369 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.4082 | μmol/L | 18.7494 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.522 | 144890.2158 | 301796.784 | 33.25 | 68.6
7426 | 2022-05-17 16:08 | 13.6704 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.5503 | μmol/L | 18.7433 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.518 | 144834.3825 | 301805.7221 | 33.25 | 68.6
7436 | 2022-05-17 16:09 | 14.0031 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.4451 | μmol/L | 18.7372 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.525 | 144941.524 | 301808.1896 | 33.25 | 68.6
7446 | 2022-05-17 16:09 | 14.3366 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.4451 | μmol/L | 18.7372 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.525 | 144937.8986 | 301798.9008 | 33.25 | 68.6
7456 | 2022-05-17 16:09 | 14.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.8195 | μmol/L | 18.725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.513 | 144852.1689 | 301797.1544 | 33.25 | 68.6
7466 | 2022-05-17 16:10 | 15.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9474 | μmol/L | 18.7311 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.505 | 144773.227 | 301802.789 | 33.25 | 68.6
7476 | 2022-05-17 16:10 | 15.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.2703 | μmol/L | 18.725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.493 | 144696.3892 | 301816.751 | 33.25 | 68.6
7486 | 2022-05-17 16:10 | 15.6699 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4961 | μmol/L | 18.725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.483 | 144614.9019 | 301807.7132 | 33.25 | 68.6
7496 | 2022-05-17 16:11 | 16.0036 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.827 | μmol/L | 18.7128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.473 | 144534.0089 | 301797.6296 | 33.25 | 68.6
7506 | 2022-05-17 16:11 | 16.3363 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.9555 | μmol/L | 18.7189 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.465 | 144479.4165 | 301796.3149 | 33.25 | 68.6
7516 | 2022-05-17 16:11 | 16.6698 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.1892 | μmol/L | 18.7128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.457 | 144409.1146 | 301786.8355 | 33.25 | 68.6
7526 | 2022-05-17 16:12 | 17.0034 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.4457 | μmol/L | 18.7068 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.448 | 144345.5368 | 301800.0404 | 33.25 | 68.6
7536 | 2022-05-17 16:12 | 17.3368 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.6272 | μmol/L | 18.7068 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.44 | 144249.3268 | 301784.9592 | 33.25 | 68.6
7546 | 2022-05-17 16:12 | 17.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.8471 | μmol/L | 18.7128 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.428 | 144167.1996 | 301795.6373 | 33.25 | 68.6
7556 | 2022-05-17 16:13 | 18.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.0817 | μmol/L | 18.7068 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.42 | 144123.0546 | 301791.1577 | 33.25 | 68.6
7566 | 2022-05-17 16:13 | 18.3371 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.1727 | μmol/L | 18.7068 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.416 | 144064.5868 | 301793.1739 | 33.25 | 68.6
7576 | 2022-05-17 16:13 | 18.67 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.362 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.41 | 144024.6374 | 301782.9976 | 33.25 | 68.6
7586 | 2022-05-17 16:14 | 19.0036 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.5671 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.401 | 143950.3844 | 301775.4452 | 33.25 | 68.6
7596 | 2022-05-17 16:14 | 19.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.7867 | μmol/L | 18.6885 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.396 | 143902.7741 | 301786.0567 | 33.25 | 68.6
7606 | 2022-05-17 16:14 | 19.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.9164 | μmol/L | 18.6946 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.388 | 143858.4053 | 301788.7802 | 33.25 | 68.6
7616 | 2022-05-17 16:15 | 20.003 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.2663 | μmol/L | 18.6885 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.375 | 143744.5444 | 301786.6305 | 33.25 | 68.6
7626 | 2022-05-17 16:15 | 20.3364 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.4264 | μmol/L | 18.6885 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.368 | 143683.394 | 301777.4166 | 33.25 | 68.6
7636 | 2022-05-17 16:15 | 20.6699 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.6626 | μmol/L | 18.6824 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.36 | 143605.0612 | 301776.5322 | 33.25 | 68.6
7646 | 2022-05-17 16:16 | 21.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.8989 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.352 | 143548.2255 | 301776.387 | 33.25 | 68.6
7656 | 2022-05-17 16:16 | 21.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.9834 | μmol/L | 18.6824 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.346 | 143480.9542 | 301776.2697 | 33.25 | 68.6
7666 | 2022-05-17 16:16 | 21.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.0293 | μmol/L | 18.6824 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.344 | 143454.1063 | 301766.1271 | 33.25 | 68.6
7676 | 2022-05-17 16:17 | 22.0037 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.2201 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.338 | 143440.1741 | 301775.8676 | 33.25 | 68.6
7686 | 2022-05-17 16:17 | 22.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.1971 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.339 | 143420.4329 | 301770.9574 | 33.25 | 68.6
7696 | 2022-05-17 16:17 | 22.6702 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.2116 | μmol/L | 18.6642 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.343 | 143433.5928 | 301787.1365 | 33.25 | 68.6
7706 | 2022-05-17 16:18 | 23.0034 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.1512 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.341 | 143417.6999 | 301780.9375 | 33.25 | 68.6
7716 | 2022-05-17 16:18 | 23.3371 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.3566 | μmol/L | 18.6581 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.339 | 143400.5393 | 301788.1256 | 33.25 | 68.6
7726 | 2022-05-17 16:18 | 23.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.3034 | μmol/L | 18.6642 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.339 | 143385.5973 | 301794.1599 | 33.25 | 68.6
7736 | 2022-05-17 16:19 | 24.0031 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.4872 | μmol/L | 18.6642 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.331 | 143343.407 | 301780.988 | 33.25 | 68.6
7746 | 2022-05-17 16:19 | 24.3366 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6784 | μmol/L | 18.6581 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.325 | 143307.7803 | 301777.3253 | 33.25 | 68.6
7756 | 2022-05-17 16:19 | 24.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.7244 | μmol/L | 18.6581 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.323 | 143256.8607 | 301788.0844 | 33.25 | 68.6
7766 | 2022-05-17 16:20 | 25.0035 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.9085 | μmol/L | 18.6581 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.315 | 143186.5285 | 301777.4287 | 33.25 | 68.6
7776 | 2022-05-17 16:20 | 25.3371 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.1086 | μmol/L | 18.6642 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.304 | 143135.9941 | 301788.7114 | 33.25 | 68.6
7786 | 2022-05-17 16:20 | 25.6702 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.4229 | μmol/L | 18.652 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.295 | 143084.6314 | 301792.6129 | 33.25 | 68.6
7796 | 2022-05-17 16:21 | 26.0031 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.5917 | μmol/L | 18.6459 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.29 | 143022.087 | 301780.5597 | 33.25 | 68.6
7806 | 2022-05-17 16:21 | 26.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.6307 | μmol/L | 18.652 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.286 | 142977.4915 | 301788.1397 | 33.25 | 68.6
7816 | 2022-05-17 16:21 | 26.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.8921 | μmol/L | 18.6459 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.277 | 142914.4312 | 301775.7857 | 33.25 | 68.6
7826 | 2022-05-17 16:22 | 27.0031 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.0309 | μmol/L | 18.6459 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.271 | 142871.883 | 301789.2618 | 33.25 | 68.6
7836 | 2022-05-17 16:22 | 27.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.177 | μmol/L | 18.6398 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.267 | 142822.5462 | 301800.3189 | 33.25 | 68.6
7846 | 2022-05-17 16:22 | 27.6705 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3087 | μmol/L | 18.6459 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.259 | 142798.3571 | 301786.8578 | 33.25 | 68.6
7856 | 2022-05-17 16:23 | 28.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.4318 | μmol/L | 18.6398 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.256 | 142759.4508 | 301788.408 | 33.25 | 68.6
7866 | 2022-05-17 16:23 | 28.3366 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5477 | μmol/L | 18.6398 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.251 | 142730.3721 | 301787.7791 | 33.25 | 68.6
7876 | 2022-05-17 16:23 | 28.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6246 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.25 | 142688.25 | 301776.3139 | 33.25 | 68.6
7886 | 2022-05-17 16:24 | 29.0035 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7174 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.246 | 142664.1641 | 301779.2252 | 33.25 | 68.6
7896 | 2022-05-17 16:24 | 29.3369 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.787 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.243 | 142641.5239 | 301795.2605 | 33.25 | 68.6
7906 | 2022-05-17 16:24 | 29.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.8566 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.24 | 142588.7653 | 301771.6223 | 33.25 | 68.6
7916 | 2022-05-17 16:25 | 30.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9263 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.237 | 142592.5761 | 301785.0553 | 33.25 | 68.6
7926 | 2022-05-17 16:25 | 30.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.8799 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.239 | 142592.2155 | 301782.1156 | 33.25 | 68.6
7936 | 2022-05-17 16:25 | 30.6704 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9728 | μmol/L | 18.6337 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.235 | 142569.9257 | 301774.66 | 33.25 | 68.6
7946 | 2022-05-17 16:26 | 31.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0265 | μmol/L | 18.6277 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.235 | 142531.1327 | 301785.7067 | 33.25 | 68.6
7956 | 2022-05-17 16:26 | 31.3371 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.073 | μmol/L | 18.6277 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.233 | 142532.0164 | 301761.2446 | 33.25 | 68.6
7966 | 2022-05-17 16:26 | 31.6699 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0962 | μmol/L | 18.6277 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.232 | 142517.659 | 301788.6798 | 33.25 | 68.6
7976 | 2022-05-17 16:27 | 32.0034 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1194 | μmol/L | 18.6277 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.231 | 142536.2061 | 301790.703 | 33.25 | 68.6
7986 | 2022-05-17 16:27 | 32.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1732 | μmol/L | 18.6216 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.231 | 142526.8612 | 301785.9367 | 33.25 | 68.6
7996 | 2022-05-17 16:27 | 32.6699 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1499 | μmol/L | 18.6216 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.232 | 142509.2034 | 301780.195 | 33.25 | 68.6
8006 | 2022-05-17 16:28 | 33.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0802 | μmol/L | 18.6216 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.235 | 142522.7102 | 301778.5556 | 33.25 | 68.6
8016 | 2022-05-17 16:28 | 33.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0802 | μmol/L | 18.6216 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.235 | 142503.4168 | 301787.7272 | 33.25 | 68.6
8026 | 2022-05-17 16:28 | 33.6704 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0642 | μmol/L | 18.6155 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.238 | 142507.482 | 301769.1359 | 33.25 | 68.6
8036 | 2022-05-17 16:29 | 34.003 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0875 | μmol/L | 18.6155 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.237 | 142526.9895 | 301777.9414 | 33.25 | 68.6
8046 | 2022-05-17 16:29 | 34.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1107 | μmol/L | 18.6155 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.236 | 142510.7652 | 301774.21 | 33.25 | 68.6
8056 | 2022-05-17 16:29 | 34.6705 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9873 | μmol/L | 18.6216 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.239 | 142517.1993 | 301779.725 | 33.25 | 68.6
8066 | 2022-05-17 16:30 | 35.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9713 | μmol/L | 18.6155 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.242 | 142524.387 | 301776.9769 | 33.25 | 68.6
8076 | 2022-05-17 16:30 | 35.3368 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9553 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.245 | 142506.1003 | 301761.9307 | 33.25 | 68.6
8086 | 2022-05-17 16:30 | 35.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9016 | μmol/L | 18.6155 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.245 | 142522.2254 | 301769.1191 | 33.25 | 68.6
8096 | 2022-05-17 16:31 | 36.0034 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.025 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.242 | 142538.2535 | 301760.8441 | 33.25 | 68.6
8106 | 2022-05-17 16:31 | 36.3364 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9786 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.244 | 142533.9237 | 301752.7314 | 33.25 | 68.6
8116 | 2022-05-17 16:31 | 36.6699 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0018 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.243 | 142536.272 | 301761.5653 | 33.25 | 68.6
8126 | 2022-05-17 16:32 | 37.003 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9626 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.247 | 142534.6179 | 301755.0338 | 33.25 | 68.6
8136 | 2022-05-17 16:32 | 37.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.8624 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.249 | 142542.58 | 301752.4712 | 33.25 | 68.6
8146 | 2022-05-17 16:32 | 37.6705 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9089 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.247 | 142539.748 | 301759.2896 | 33.25 | 68.6
8156 | 2022-05-17 16:33 | 38.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.9858 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.246 | 142544.9396 | 301747.5367 | 33.25 | 68.6
8166 | 2022-05-17 16:33 | 38.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.8233 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.253 | 142553.9655 | 301729.1392 | 33.25 | 68.6
8176 | 2022-05-17 16:33 | 38.6704 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.8001 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.254 | 142567.5777 | 301741.9741 | 33.25 | 68.6
8186 | 2022-05-17 16:34 | 39.003 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6841 | μmol/L | 18.6033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.259 | 142565.8475 | 301747.3853 | 33.25 | 68.6
8196 | 2022-05-17 16:34 | 39.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6536 | μmol/L | 18.6094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.258 | 142549.8436 | 301730.6496 | 33.25 | 68.6
8206 | 2022-05-17 16:34 | 39.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7145 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 142561.1212 | 301751.9913 | 33.25 | 68.6
8216 | 2022-05-17 16:35 | 40.0037 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7377 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.259 | 142562.1288 | 301743.8247 | 33.25 | 68.6
8226 | 2022-05-17 16:35 | 40.3365 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7145 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 142567.722 | 301747.3981 | 33.25 | 68.6
8236 | 2022-05-17 16:35 | 40.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7682 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 142564.5649 | 301736.1712 | 33.25 | 68.6
8246 | 2022-05-17 16:36 | 41.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5754 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.266 | 142582.5649 | 301727.6799 | 33.25 | 68.6
8256 | 2022-05-17 16:36 | 41.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5986 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.265 | 142563.8684 | 301721.0392 | 33.25 | 68.6
8266 | 2022-05-17 16:36 | 41.6698 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6522 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.265 | 142590.4527 | 301736.16 | 33.25 | 68.6
8276 | 2022-05-17 16:37 | 42.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7218 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.262 | 142567.2389 | 301714.7063 | 33.25 | 68.6
8286 | 2022-05-17 16:37 | 42.3369 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6754 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.264 | 142574.377 | 301736.9401 | 33.25 | 68.6
8296 | 2022-05-17 16:37 | 42.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6754 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.264 | 142577.4959 | 301724.1303 | 33.25 | 68.6
8306 | 2022-05-17 16:38 | 43.0032 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.529 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.268 | 142570.2091 | 301729.7994 | 33.25 | 68.6
8316 | 2022-05-17 16:38 | 43.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.59 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.27 | 142600.5242 | 301721.5908 | 33.25 | 68.6
8326 | 2022-05-17 16:38 | 43.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5363 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.27 | 142577.475 | 301719.9533 | 33.25 | 68.6
8336 | 2022-05-17 16:39 | 44.0037 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.6364 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.268 | 142597.9445 | 301729.9912 | 33.25 | 68.6
8346 | 2022-05-17 16:39 | 44.3363 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5131 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.271 | 142594.1302 | 301725.3786 | 33.25 | 68.6
8356 | 2022-05-17 16:39 | 44.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5204 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.273 | 142595.9373 | 301723.9961 | 33.25 | 68.6
8366 | 2022-05-17 16:40 | 45.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.4205 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.275 | 142595.8175 | 301727.8409 | 33.25 | 68.6
8376 | 2022-05-17 16:40 | 45.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3814 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.279 | 142606.977 | 301709.595 | 33.25 | 68.6
8386 | 2022-05-17 16:40 | 45.67 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3583 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.28 | 142626.3564 | 301724.3074 | 33.25 | 68.6
8396 | 2022-05-17 16:41 | 46.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3583 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.28 | 142629.3531 | 301720.6963 | 33.25 | 68.6
8406 | 2022-05-17 16:41 | 46.3368 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.2729 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.286 | 142635.1229 | 301704.3501 | 33.25 | 68.6
8416 | 2022-05-17 16:41 | 46.6697 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1195 | μmol/L | 18.5912 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.288 | 142636.9673 | 301703.2898 | 33.25 | 68.6
8426 | 2022-05-17 16:42 | 47.0033 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.2961 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.285 | 142652.688 | 301696.0681 | 33.25 | 68.6
8436 | 2022-05-17 16:42 | 47.3369 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1731 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.288 | 142647.4428 | 301704.8958 | 33.25 | 68.6
8446 | 2022-05-17 16:42 | 47.6698 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1804 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.29 | 142670.2169 | 301697.8015 | 33.25 | 68.6
8456 | 2022-05-17 16:43 | 48.0038 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1572 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.291 | 142663.5494 | 301683.1684 | 33.25 | 68.6
8466 | 2022-05-17 16:43 | 48.3366 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1109 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.293 | 142665.0067 | 301672.8919 | 33.25 | 68.6
8476 | 2022-05-17 16:43 | 48.6705 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.9722 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.299 | 142673.519 | 301690.38 | 33.25 | 68.6
8486 | 2022-05-17 16:44 | 49.0031 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.0184 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.297 | 142689.6069 | 301683.45 | 33.25 | 68.6
8496 | 2022-05-17 16:44 | 49.337 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.8724 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.301 | 142686.2762 | 301680.7819 | 33.25 | 68.6
8506 | 2022-05-17 16:44 | 49.6701 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.9722 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.299 | 142683.3499 | 301683.2491 | 33.25 | 68.6
8516 | 2022-05-17 16:45 | 50.003 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.8566 | μmol/L | 18.579 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.304 | 142696.8111 | 301663.4751 | 33.25 | 68.6
8525 | 2022-05-17 16:45 | 50.3367 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.7569 | μmol/L | 18.5851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.306 | 142705.1664 | 301678.9611 | 33.25 | 68.6
8531 | 2022-05-17 16:45 | 50.6703 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.7946 | μmol/L | 18.5729 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.309 | 142681.8532 | 301660.5231 | 33.25 | 68.6