## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7018 | 2022-05-17 15:55 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.1442 | μmol/L | 18.8688 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.408 | 86254.7811 | 294054.9726 | 30.45 | 114.2
7028 | 2022-05-17 15:55 | 0.32802 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.1249 | μmol/L | 18.8627 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.411 | 86259.0125 | 294062.7695 | 30.45 | 114.2
7038 | 2022-05-17 15:55 | 0.66113 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.177 | μmol/L | 18.8565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.411 | 86257.0728 | 294058.49 | 30.45 | 114.2
7048 | 2022-05-17 15:56 | 0.99499 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2541 | μmol/L | 18.8565 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.408 | 86259.5826 | 294047.2441 | 30.45 | 114.2
7058 | 2022-05-17 15:56 | 1.3281 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.229 | μmol/L | 18.8504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.411 | 86258.7249 | 294050.0868 | 30.45 | 114.2
7068 | 2022-05-17 15:56 | 1.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.0911 | μmol/L | 18.8443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.419 | 86269.1531 | 294043.183 | 30.45 | 114.2
7078 | 2022-05-17 15:57 | 1.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.0258 | μmol/L | 18.8443 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.422 | 86282.9394 | 294022.194 | 30.45 | 114.2
7088 | 2022-05-17 15:57 | 2.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.9533 | μmol/L | 18.8381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.427 | 86299.115 | 294029.7403 | 30.45 | 114.2
7098 | 2022-05-17 15:57 | 2.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.7886 | μmol/L | 18.8443 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.432 | 86297.5592 | 294013.7404 | 30.45 | 114.2
7108 | 2022-05-17 15:58 | 2.995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.8111 | μmol/L | 18.8381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.433 | 86311.6793 | 294011.8961 | 30.45 | 114.2
7118 | 2022-05-17 15:58 | 3.3281 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.8202 | μmol/L | 18.8258 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.437 | 86319.3896 | 294004.8319 | 30.45 | 114.2
7128 | 2022-05-17 15:58 | 3.6613 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6174 | μmol/L | 18.8197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.448 | 86360.2401 | 293994.623 | 30.45 | 114.2
7138 | 2022-05-17 15:59 | 3.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.4979 | μmol/L | 18.8135 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.455 | 86388.6013 | 293990.9639 | 30.45 | 114.2
7148 | 2022-05-17 15:59 | 4.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3796 | μmol/L | 18.8135 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 86417.2535 | 293990.9744 | 30.45 | 114.2
7158 | 2022-05-17 15:59 | 4.6615 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2094 | μmol/L | 18.8197 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 86437.4161 | 293991.6435 | 30.45 | 114.2
7168 | 2022-05-17 16:00 | 4.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2423 | μmol/L | 18.8074 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.468 | 86422.6787 | 293977.316 | 30.45 | 114.2
7178 | 2022-05-17 16:00 | 5.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3605 | μmol/L | 18.8074 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 86426.7008 | 293980.4971 | 30.45 | 114.2
7188 | 2022-05-17 16:00 | 5.6613 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3415 | μmol/L | 18.8013 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 86420.4068 | 293975.1786 | 30.45 | 114.2
7198 | 2022-05-17 16:01 | 5.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3651 | μmol/L | 18.8013 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 86405.2913 | 293975.4762 | 30.45 | 114.2
7208 | 2022-05-17 16:01 | 6.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.4644 | μmol/L | 18.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 86394.7423 | 293958.4392 | 30.45 | 114.2
7218 | 2022-05-17 16:01 | 6.6615 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6347 | μmol/L | 18.789 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.458 | 86384.7035 | 293963.5481 | 30.45 | 114.2
7228 | 2022-05-17 16:02 | 6.995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.715 | μmol/L | 18.7767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 86376.5199 | 293963.5265 | 30.45 | 114.2
7238 | 2022-05-17 16:02 | 7.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6393 | μmol/L | 18.7828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 86368.3463 | 293949.8766 | 30.45 | 114.2
7248 | 2022-05-17 16:02 | 7.6613 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6913 | μmol/L | 18.7767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 86376.8307 | 293942.1616 | 30.45 | 114.2
7258 | 2022-05-17 16:03 | 7.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3554 | μmol/L | 18.7828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.472 | 86408.095 | 293931.8128 | 30.45 | 114.2
7268 | 2022-05-17 16:03 | 8.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2655 | μmol/L | 18.7767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.478 | 86460.0133 | 293938.9721 | 30.45 | 114.2
7278 | 2022-05-17 16:03 | 8.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7802 | μmol/L | 18.7705 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.501 | 86533.9291 | 293930.0819 | 30.45 | 114.2
7288 | 2022-05-17 16:04 | 8.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5303 | μmol/L | 18.7583 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.516 | 86614.2853 | 293920.1598 | 30.45 | 114.2
7298 | 2022-05-17 16:04 | 9.3284 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1715 | μmol/L | 18.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.531 | 86683.489 | 293922.484 | 30.45 | 114.2
7308 | 2022-05-17 16:04 | 9.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7251 | μmol/L | 18.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.55 | 86762.2277 | 293917.8361 | 30.45 | 114.2
7318 | 2022-05-17 16:05 | 9.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2432 | μmol/L | 18.7521 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.573 | 86878.5274 | 293914.4741 | 30.45 | 114.2
7328 | 2022-05-17 16:05 | 10.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.6809 | μmol/L | 18.746 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.599 | 86995.5222 | 293922.205 | 30.45 | 114.2
7338 | 2022-05-17 16:05 | 10.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.8891 | μmol/L | 18.7521 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 87111.0457 | 293911.8122 | 30.45 | 114.2
7348 | 2022-05-17 16:06 | 10.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.3767 | μmol/L | 18.746 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.655 | 87197.2722 | 293888.5494 | 30.45 | 114.2
7358 | 2022-05-17 16:06 | 11.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.9591 | μmol/L | 18.746 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.673 | 87283.6069 | 293892.3832 | 30.45 | 114.2
7368 | 2022-05-17 16:06 | 11.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.4834 | μmol/L | 18.7398 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.696 | 87374.7054 | 293889.1941 | 30.45 | 114.2
7378 | 2022-05-17 16:07 | 11.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2388 | μmol/L | 18.7275 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.711 | 87453.4242 | 293887.9627 | 30.45 | 114.2
7388 | 2022-05-17 16:07 | 12.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.7668 | μmol/L | 18.7337 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.729 | 87515.1114 | 293889.1318 | 30.45 | 114.2
7398 | 2022-05-17 16:07 | 12.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.4443 | μmol/L | 18.7337 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.743 | 87568.6789 | 293887.8726 | 30.45 | 114.2
7408 | 2022-05-17 16:08 | 12.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.1461 | μmol/L | 18.7398 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 87609.8554 | 293889.3141 | 30.45 | 114.2
7418 | 2022-05-17 16:08 | 13.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.9845 | μmol/L | 18.7337 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.763 | 87650.6356 | 293884.5929 | 30.45 | 114.2
7428 | 2022-05-17 16:08 | 13.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.8793 | μmol/L | 18.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.772 | 87700.2037 | 293891.0717 | 30.45 | 114.2
7438 | 2022-05-17 16:09 | 13.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.7521 | μmol/L | 18.7153 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.78 | 87733.0345 | 293872.2102 | 30.45 | 114.2
7448 | 2022-05-17 16:09 | 14.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.6652 | μmol/L | 18.7091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.786 | 87757.5752 | 293885.464 | 30.45 | 114.2
7458 | 2022-05-17 16:09 | 14.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.5916 | μmol/L | 18.7153 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.787 | 87761.6426 | 293882.3268 | 30.45 | 114.2
7468 | 2022-05-17 16:10 | 14.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.6472 | μmol/L | 18.703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.789 | 87773.977 | 293890.5882 | 30.45 | 114.2
7478 | 2022-05-17 16:10 | 15.3284 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.436 | μmol/L | 18.7091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.796 | 87808.7693 | 293888.5686 | 30.45 | 114.2
7488 | 2022-05-17 16:10 | 15.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.3035 | μmol/L | 18.703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.804 | 87847.2109 | 293885.3161 | 30.45 | 114.2
7498 | 2022-05-17 16:11 | 15.995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.0469 | μmol/L | 18.7091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.813 | 87877.7715 | 293886.3499 | 30.45 | 114.2
7508 | 2022-05-17 16:11 | 16.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.9776 | μmol/L | 18.703 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.818 | 87902.2224 | 293874.9509 | 30.45 | 114.2
7518 | 2022-05-17 16:11 | 16.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.993 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.822 | 87915.1229 | 293873.9266 | 30.45 | 114.2
7528 | 2022-05-17 16:12 | 16.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.9244 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.825 | 87919.2488 | 293876.2654 | 30.45 | 114.2
7538 | 2022-05-17 16:12 | 17.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.8454 | μmol/L | 18.6968 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.826 | 87916.7561 | 293880.3472 | 30.45 | 114.2
7548 | 2022-05-17 16:12 | 17.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.7596 | μmol/L | 18.6968 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.83 | 87926.6275 | 293867.1868 | 30.45 | 114.2
7558 | 2022-05-17 16:13 | 17.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.838 | μmol/L | 18.6845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.831 | 87962.9807 | 293867.2785 | 30.45 | 114.2
7568 | 2022-05-17 16:13 | 18.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.3939 | μmol/L | 18.6907 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.848 | 88013.5811 | 293876.1765 | 30.45 | 114.2
7578 | 2022-05-17 16:13 | 18.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2677 | μmol/L | 18.6845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.856 | 88057.5822 | 293875.8749 | 30.45 | 114.2
7588 | 2022-05-17 16:14 | 18.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.0848 | μmol/L | 18.6784 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.866 | 88100.6152 | 293870.8635 | 30.45 | 114.2
7598 | 2022-05-17 16:14 | 19.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9028 | μmol/L | 18.6784 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.874 | 88162.1632 | 293873.0598 | 30.45 | 114.2
7608 | 2022-05-17 16:14 | 19.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5895 | μmol/L | 18.6723 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.89 | 88215.8682 | 293869.1272 | 30.45 | 114.2
7618 | 2022-05-17 16:15 | 19.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2547 | μmol/L | 18.6723 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.905 | 88276.2759 | 293873.6283 | 30.45 | 114.2
7628 | 2022-05-17 16:15 | 20.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.859 | μmol/L | 18.6784 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.92 | 88327.2721 | 293867.0137 | 30.45 | 114.2
7638 | 2022-05-17 16:15 | 20.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7332 | μmol/L | 18.6661 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.93 | 88385.4529 | 293870.3566 | 30.45 | 114.2
7648 | 2022-05-17 16:16 | 20.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4343 | μmol/L | 18.6723 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.941 | 88460.1858 | 293870.3997 | 30.45 | 114.2
7658 | 2022-05-17 16:16 | 21.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.1233 | μmol/L | 18.6661 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.957 | 88523.6455 | 293870.0062 | 30.45 | 114.2
7668 | 2022-05-17 16:16 | 21.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8352 | μmol/L | 18.66 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.972 | 88581.088 | 293875.1391 | 30.45 | 114.2
7678 | 2022-05-17 16:17 | 21.9949 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4926 | μmol/L | 18.6661 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.985 | 88631.3994 | 293869.1466 | 30.45 | 114.2
7688 | 2022-05-17 16:17 | 22.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3232 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.995 | 88679.2647 | 293879.4243 | 30.45 | 114.2
7698 | 2022-05-17 16:17 | 22.6615 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.138 | μmol/L | 18.66 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.003 | 88723.7851 | 293870.9363 | 30.45 | 114.2
7708 | 2022-05-17 16:18 | 22.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.9584 | μmol/L | 18.66 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.011 | 88745.098 | 293885.5175 | 30.45 | 114.2
7718 | 2022-05-17 16:18 | 23.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0358 | μmol/L | 18.6477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.012 | 88755.603 | 293867.8248 | 30.45 | 114.2
7728 | 2022-05-17 16:18 | 23.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.9685 | μmol/L | 18.6477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.015 | 88778.4524 | 293866.2029 | 30.45 | 114.2
7738 | 2022-05-17 16:19 | 23.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.8787 | μmol/L | 18.6477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.019 | 88797.0665 | 293869.3405 | 30.45 | 114.2
7748 | 2022-05-17 16:19 | 24.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.7268 | μmol/L | 18.6415 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.028 | 88820.4378 | 293861.9474 | 30.45 | 114.2
7758 | 2022-05-17 16:19 | 24.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.6322 | μmol/L | 18.6477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.03 | 88853.3856 | 293865.2345 | 30.45 | 114.2
7768 | 2022-05-17 16:20 | 24.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.396 | μmol/L | 18.6354 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.045 | 88881.7104 | 293866.4618 | 30.45 | 114.2
7778 | 2022-05-17 16:20 | 25.3281 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.2394 | μmol/L | 18.6354 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.052 | 88924.125 | 293872.4891 | 30.45 | 114.2
7788 | 2022-05-17 16:20 | 25.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.2171 | μmol/L | 18.6354 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.053 | 88943.4433 | 293885.5146 | 30.45 | 114.2
7798 | 2022-05-17 16:21 | 25.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.083 | μmol/L | 18.6354 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.059 | 88964.4701 | 293878.1905 | 30.45 | 114.2
7808 | 2022-05-17 16:21 | 26.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.021 | μmol/L | 18.6293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.064 | 88981.7638 | 293872.5901 | 30.45 | 114.2
7818 | 2022-05-17 16:21 | 26.6615 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.021 | μmol/L | 18.6293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.064 | 89001.2227 | 293884.5297 | 30.45 | 114.2
7828 | 2022-05-17 16:22 | 26.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.887 | μmol/L | 18.6293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.07 | 89016.0867 | 293871.2182 | 30.45 | 114.2
7838 | 2022-05-17 16:22 | 27.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.8749 | μmol/L | 18.617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.075 | 89036.1609 | 293866.7941 | 30.45 | 114.2
7848 | 2022-05-17 16:22 | 27.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.7755 | μmol/L | 18.6293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.075 | 89049.1869 | 293872.093 | 30.45 | 114.2
7858 | 2022-05-17 16:23 | 27.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.6913 | μmol/L | 18.6231 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.081 | 89061.2317 | 293871.1051 | 30.45 | 114.2
7868 | 2022-05-17 16:23 | 28.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.5575 | μmol/L | 18.6231 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.087 | 89082.0798 | 293872.8848 | 30.45 | 114.2
7878 | 2022-05-17 16:23 | 28.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.59 | μmol/L | 18.6108 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.09 | 89092.6539 | 293865.7368 | 30.45 | 114.2
7888 | 2022-05-17 16:24 | 28.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.2903 | μmol/L | 18.6231 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.099 | 89115.6722 | 293867.4015 | 30.45 | 114.2
7898 | 2022-05-17 16:24 | 29.3279 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.1618 | μmol/L | 18.617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89159.7635 | 293864.0623 | 30.45 | 114.2
7908 | 2022-05-17 16:24 | 29.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.8062 | μmol/L | 18.617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.123 | 89228.2875 | 293876.4365 | 30.45 | 114.2
7918 | 2022-05-17 16:25 | 29.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.5723 | μmol/L | 18.6047 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.138 | 89313.8807 | 293872.8943 | 30.45 | 114.2
7928 | 2022-05-17 16:25 | 30.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.0797 | μmol/L | 18.6108 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.158 | 89385.8386 | 293873.3724 | 30.45 | 114.2
7938 | 2022-05-17 16:25 | 30.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7701 | μmol/L | 18.6108 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.172 | 89446.0181 | 293876.3104 | 30.45 | 114.2
7948 | 2022-05-17 16:26 | 30.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4116 | μmol/L | 18.617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.186 | 89504.878 | 293876.5228 | 30.45 | 114.2
7958 | 2022-05-17 16:26 | 31.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.3726 | μmol/L | 18.6108 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.19 | 89531.2089 | 293865.9623 | 30.45 | 114.2
7968 | 2022-05-17 16:26 | 31.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4167 | μmol/L | 18.6108 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.188 | 89550.1811 | 293882.1173 | 30.45 | 114.2
7978 | 2022-05-17 16:27 | 31.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2895 | μmol/L | 18.6047 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.196 | 89558.8856 | 293876.8442 | 30.45 | 114.2
7988 | 2022-05-17 16:27 | 32.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2895 | μmol/L | 18.6047 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.196 | 89564.5421 | 293878.6403 | 30.45 | 114.2
7998 | 2022-05-17 16:27 | 32.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2726 | μmol/L | 18.5985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.199 | 89562.5387 | 293869.3467 | 30.45 | 114.2
8008 | 2022-05-17 16:28 | 32.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.3388 | μmol/L | 18.5985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.196 | 89559.6033 | 293867.5846 | 30.45 | 114.2
8018 | 2022-05-17 16:28 | 33.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2675 | μmol/L | 18.6047 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.197 | 89541.7295 | 293873.7881 | 30.45 | 114.2
8028 | 2022-05-17 16:28 | 33.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4491 | μmol/L | 18.5985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.191 | 89531.8916 | 293875.8507 | 30.45 | 114.2
8038 | 2022-05-17 16:29 | 33.9943 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5255 | μmol/L | 18.5862 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.192 | 89531.4219 | 293874.2223 | 30.45 | 114.2
8048 | 2022-05-17 16:29 | 34.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5594 | μmol/L | 18.5985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.186 | 89525.9242 | 293874.5631 | 30.45 | 114.2
8058 | 2022-05-17 16:29 | 34.6617 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5697 | μmol/L | 18.5862 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.19 | 89510.545 | 293867.9563 | 30.45 | 114.2
8068 | 2022-05-17 16:30 | 34.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7022 | μmol/L | 18.5862 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.184 | 89510.1637 | 293865.1498 | 30.45 | 114.2
8078 | 2022-05-17 16:30 | 35.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5918 | μmol/L | 18.5862 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.189 | 89513.2253 | 293870.0565 | 30.45 | 114.2
8088 | 2022-05-17 16:30 | 35.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.675 | μmol/L | 18.5924 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.183 | 89507.727 | 293862.0927 | 30.45 | 114.2
8098 | 2022-05-17 16:31 | 35.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.8399 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.18 | 89495.4095 | 293850.6635 | 30.45 | 114.2
8108 | 2022-05-17 16:31 | 36.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.862 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.179 | 89482.285 | 293861.1152 | 30.45 | 114.2
8118 | 2022-05-17 16:31 | 36.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.8399 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.18 | 89468.9321 | 293852.0947 | 30.45 | 114.2
8128 | 2022-05-17 16:32 | 36.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.8399 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.18 | 89482.7367 | 293850.2702 | 30.45 | 114.2
8138 | 2022-05-17 16:32 | 37.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5969 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.191 | 89502.0071 | 293844.8566 | 30.45 | 114.2
8148 | 2022-05-17 16:32 | 37.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5255 | μmol/L | 18.5862 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.192 | 89530.1951 | 293839.4915 | 30.45 | 114.2
8158 | 2022-05-17 16:33 | 37.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4645 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.197 | 89562.7501 | 293840.9653 | 30.45 | 114.2
8168 | 2022-05-17 16:33 | 38.3284 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.244 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.207 | 89585.0596 | 293845.8546 | 30.45 | 114.2
8178 | 2022-05-17 16:33 | 38.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2712 | μmol/L | 18.574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.208 | 89606.7017 | 293849.411 | 30.45 | 114.2
8188 | 2022-05-17 16:34 | 38.995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.4307 | μmol/L | 18.5678 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.203 | 89582.4374 | 293831.9018 | 30.45 | 114.2
8198 | 2022-05-17 16:34 | 39.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5358 | μmol/L | 18.574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.196 | 89567.1696 | 293835.9631 | 30.45 | 114.2
8208 | 2022-05-17 16:34 | 39.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.6021 | μmol/L | 18.574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.193 | 89536.5524 | 293836.4248 | 30.45 | 114.2
8218 | 2022-05-17 16:35 | 39.9942 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.619 | μmol/L | 18.5801 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.19 | 89526.7834 | 293824.5279 | 30.45 | 114.2
8228 | 2022-05-17 16:35 | 40.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.7618 | μmol/L | 18.5678 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.188 | 89508.3752 | 293820.9504 | 30.45 | 114.2
8238 | 2022-05-17 16:35 | 40.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.5851 | μmol/L | 18.5678 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.196 | 89535.0767 | 293825.9868 | 30.45 | 114.2
8248 | 2022-05-17 16:36 | 40.9946 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.3814 | μmol/L | 18.574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.203 | 89555.0722 | 293816.112 | 30.45 | 114.2
8258 | 2022-05-17 16:36 | 41.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.2374 | μmol/L | 18.5617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.214 | 89598.9491 | 293813.4847 | 30.45 | 114.2
8268 | 2022-05-17 16:36 | 41.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.0171 | μmol/L | 18.5617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.224 | 89649.4102 | 293817.0881 | 30.45 | 114.2
8278 | 2022-05-17 16:37 | 41.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.8462 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.234 | 89687.6457 | 293810.2321 | 30.45 | 114.2
8288 | 2022-05-17 16:37 | 42.3282 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.5992 | μmol/L | 18.5617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.243 | 89726.5102 | 293819.0593 | 30.45 | 114.2
8298 | 2022-05-17 16:37 | 42.6609 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.4235 | μmol/L | 18.5617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.251 | 89743.991 | 293805.6834 | 30.45 | 114.2
8308 | 2022-05-17 16:38 | 42.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1989 | μmol/L | 18.5678 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.259 | 89783.0324 | 293798.2628 | 30.45 | 114.2
8318 | 2022-05-17 16:38 | 43.3276 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2531 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.261 | 89798.1765 | 293805.4459 | 30.45 | 114.2
8328 | 2022-05-17 16:38 | 43.6612 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.2093 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.263 | 89817.021 | 293803.1034 | 30.45 | 114.2
8338 | 2022-05-17 16:39 | 43.995 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.0339 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.271 | 89842.9917 | 293795.9394 | 30.45 | 114.2
8348 | 2022-05-17 16:39 | 44.3277 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.9681 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.274 | 89874.768 | 293788.8602 | 30.45 | 114.2
8358 | 2022-05-17 16:39 | 44.6614 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.7762 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.285 | 89909.0369 | 293798.3307 | 30.45 | 114.2
8368 | 2022-05-17 16:40 | 44.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.4596 | μmol/L | 18.5617 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.295 | 89945.0863 | 293786.5052 | 30.45 | 114.2
8378 | 2022-05-17 16:40 | 45.3284 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.2245 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.308 | 89995.3497 | 293787.8548 | 30.45 | 114.2
8388 | 2022-05-17 16:40 | 45.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.077 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.317 | 90045.6957 | 293786.8076 | 30.45 | 114.2
8398 | 2022-05-17 16:41 | 45.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.8589 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.327 | 90095.1495 | 293795.0432 | 30.45 | 114.2
8408 | 2022-05-17 16:41 | 46.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.5758 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.34 | 90145.5639 | 293796.4433 | 30.45 | 114.2
8418 | 2022-05-17 16:41 | 46.6611 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.1792 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.356 | 90208.5374 | 293779.8122 | 30.45 | 114.2
8428 | 2022-05-17 16:42 | 46.9945 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.9837 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.365 | 90260.1742 | 293773.9859 | 30.45 | 114.2
8438 | 2022-05-17 16:42 | 47.3281 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.707 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.38 | 90318.5863 | 293772.8016 | 30.45 | 114.2
8448 | 2022-05-17 16:42 | 47.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.4739 | μmol/L | 18.5432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.393 | 90372.7275 | 293783.2883 | 30.45 | 114.2
8458 | 2022-05-17 16:43 | 47.9944 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.1926 | μmol/L | 18.5432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.406 | 90427.2393 | 293777.6616 | 30.45 | 114.2
8468 | 2022-05-17 16:43 | 48.3283 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.9065 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.417 | 90466.4503 | 293780.0582 | 30.45 | 114.2
8478 | 2022-05-17 16:43 | 48.661 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.8201 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.421 | 90505.8547 | 293774.3844 | 30.45 | 114.2
8488 | 2022-05-17 16:44 | 48.9948 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.6312 | μmol/L | 18.5432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.432 | 90549.8479 | 293777.5828 | 30.45 | 114.2
8498 | 2022-05-17 16:44 | 49.3278 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.4266 | μmol/L | 18.5555 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.437 | 90571.921 | 293766.5138 | 30.45 | 114.2
8508 | 2022-05-17 16:44 | 49.6616 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.4319 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.439 | 90581.9565 | 293765.7021 | 30.45 | 114.2
8518 | 2022-05-17 16:45 | 49.9947 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.5449 | μmol/L | 18.5432 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.436 | 90585.972 | 293765.9849 | 30.45 | 114.2
8527 | 2022-05-17 16:45 | 50.328 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.5828 | μmol/L | 18.5494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.432 | 90567.8584 | 293755.1124 | 30.45 | 114.2