## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5289 | 2022-05-17 14:39 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.5574 | μmol/L | 19.0823 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.222 | 90283.7676 | 210613.1676 | 27.3 | 43.4
5299 | 2022-05-17 14:39 | 0.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.707 | μmol/L | 19.0701 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.221 | 90208.4669 | 210619.1297 | 27.3 | 43.4
5309 | 2022-05-17 14:39 | 0.66146 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0848 | μmol/L | 19.0518 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.214 | 90197.3242 | 210623.627 | 27.3 | 43.4
5319 | 2022-05-17 14:40 | 0.99493 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9895 | μmol/L | 19.0334 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.224 | 90216.1142 | 210617.9393 | 27.3 | 43.4
5329 | 2022-05-17 14:40 | 1.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8396 | μmol/L | 19.0456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.225 | 90203.0543 | 210619.2047 | 27.3 | 43.4
5339 | 2022-05-17 14:40 | 1.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.784 | μmol/L | 19.0456 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.227 | 90186.5941 | 210621.0739 | 27.3 | 43.4
5349 | 2022-05-17 14:41 | 1.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6781 | μmol/L | 19.0395 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.233 | 90229.5844 | 210618.1392 | 27.3 | 43.4
5359 | 2022-05-17 14:41 | 2.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6556 | μmol/L | 19.0334 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.236 | 90219.9726 | 210618.7962 | 27.3 | 43.4
5369 | 2022-05-17 14:41 | 2.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9777 | μmol/L | 19.0151 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.231 | 90176.9395 | 210612.1623 | 27.3 | 43.4
5379 | 2022-05-17 14:42 | 2.9949 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2894 | μmol/L | 19.009 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.222 | 90127.0021 | 210610.1036 | 27.3 | 43.4
5389 | 2022-05-17 14:42 | 3.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9714 | μmol/L | 18.9907 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.24 | 90180.7976 | 210610.5324 | 27.3 | 43.4
5399 | 2022-05-17 14:42 | 3.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8269 | μmol/L | 18.9968 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.243 | 90204.4906 | 210613.3613 | 27.3 | 43.4
5409 | 2022-05-17 14:43 | 3.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.593 | μmol/L | 18.9784 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.258 | 90252.133 | 210602.7913 | 27.3 | 43.4
5419 | 2022-05-17 14:43 | 4.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.4596 | μmol/L | 18.9723 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.265 | 90298.4838 | 210593.8053 | 27.3 | 43.4
5429 | 2022-05-17 14:43 | 4.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1653 | μmol/L | 18.9601 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.28 | 90333.9787 | 210595.6288 | 27.3 | 43.4
5439 | 2022-05-17 14:44 | 4.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.9381 | μmol/L | 18.9662 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.286 | 90367.7099 | 210589.0956 | 27.3 | 43.4
5449 | 2022-05-17 14:44 | 5.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7442 | μmol/L | 18.9662 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.293 | 90362.0549 | 210581.2342 | 27.3 | 43.4
5459 | 2022-05-17 14:44 | 5.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.6667 | μmol/L | 18.9601 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.298 | 90401.3327 | 210594.5269 | 27.3 | 43.4
5469 | 2022-05-17 14:45 | 5.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4177 | μmol/L | 18.9296 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.318 | 90486.3851 | 210578.7007 | 27.3 | 43.4
5479 | 2022-05-17 14:45 | 6.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.2906 | μmol/L | 18.9173 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.327 | 90534.4313 | 210573.8613 | 27.3 | 43.4
5489 | 2022-05-17 14:45 | 6.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.2713 | μmol/L | 18.8868 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.375 | 90713.2225 | 210566.0675 | 27.3 | 43.4
5499 | 2022-05-17 14:46 | 6.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.919 | μmol/L | 18.9112 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.379 | 90744.1364 | 210578.4869 | 27.3 | 43.4
5509 | 2022-05-17 14:46 | 7.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9627 | μmol/L | 18.9234 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.373 | 90722.5276 | 210558.8523 | 27.3 | 43.4
5519 | 2022-05-17 14:46 | 7.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.5509 | μmol/L | 18.9234 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.388 | 90781.6206 | 210566.8027 | 27.3 | 43.4
5529 | 2022-05-17 14:47 | 7.9945 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8204 | μmol/L | 18.899 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.387 | 90764.4454 | 210558.8341 | 27.3 | 43.4
5539 | 2022-05-17 14:47 | 8.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9472 | μmol/L | 18.8807 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.389 | 90773.9756 | 210551.6276 | 27.3 | 43.4
5549 | 2022-05-17 14:47 | 8.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.9424 | μmol/L | 18.8562 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.398 | 90824.0716 | 210549.4344 | 27.3 | 43.4
5559 | 2022-05-17 14:48 | 8.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.6074 | μmol/L | 18.8624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.408 | 90839.5847 | 210549.202 | 27.3 | 43.4
5569 | 2022-05-17 14:48 | 9.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8005 | μmol/L | 18.8318 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.412 | 90819.2495 | 210560.3975 | 27.3 | 43.4
5579 | 2022-05-17 14:48 | 9.6612 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.5206 | μmol/L | 18.8379 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.42 | 90882.0404 | 210547.5765 | 27.3 | 43.4
5589 | 2022-05-17 14:49 | 9.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.3938 | μmol/L | 18.8562 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.418 | 90870.2257 | 210537.9398 | 27.3 | 43.4
5599 | 2022-05-17 14:49 | 10.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.5206 | μmol/L | 18.8379 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.42 | 90870.8732 | 210549.5637 | 27.3 | 43.4
5609 | 2022-05-17 14:49 | 10.6612 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.7917 | μmol/L | 18.7829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.43 | 90897.7012 | 210537.4014 | 27.3 | 43.4
5619 | 2022-05-17 14:50 | 10.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.3691 | μmol/L | 18.7951 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.441 | 90922.4418 | 210530.0007 | 27.3 | 43.4
5629 | 2022-05-17 14:50 | 11.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6897 | μmol/L | 18.8196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.457 | 90967.2691 | 210522.0885 | 27.3 | 43.4
5639 | 2022-05-17 14:50 | 11.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.454 | μmol/L | 18.8379 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.459 | 90959.9292 | 210525.867 | 27.3 | 43.4
5649 | 2022-05-17 14:51 | 11.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.6293 | μmol/L | 18.8257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.457 | 91012.5211 | 210517.7796 | 27.3 | 43.4
5659 | 2022-05-17 14:51 | 12.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3507 | μmol/L | 18.8318 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.465 | 91002.4608 | 210529.293 | 27.3 | 43.4
5669 | 2022-05-17 14:51 | 12.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.627 | μmol/L | 18.7707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.477 | 91066.1257 | 210511.1602 | 27.3 | 43.4
5679 | 2022-05-17 14:52 | 12.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3328 | μmol/L | 18.7646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.49 | 91107.2326 | 210508.7788 | 27.3 | 43.4
5689 | 2022-05-17 14:52 | 13.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6327 | μmol/L | 18.8135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.498 | 91157.4149 | 210507.8245 | 27.3 | 43.4
5699 | 2022-05-17 14:52 | 13.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.695 | μmol/L | 18.7768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.509 | 91187.8244 | 210506.6258 | 27.3 | 43.4
5709 | 2022-05-17 14:53 | 13.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4813 | μmol/L | 18.8013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.508 | 91219.858 | 210499.1727 | 27.3 | 43.4
5719 | 2022-05-17 14:53 | 14.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3242 | μmol/L | 18.7951 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.516 | 91188.9645 | 210492.1408 | 27.3 | 43.4
5729 | 2022-05-17 14:53 | 14.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7516 | μmol/L | 18.7463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.518 | 91227.6658 | 210491.2385 | 27.3 | 43.4
5739 | 2022-05-17 14:54 | 14.9948 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.1518 | μmol/L | 18.7768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.529 | 91252.2893 | 210476.514 | 27.3 | 43.4
5749 | 2022-05-17 14:54 | 15.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.061 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.539 | 91272.0789 | 210473.1003 | 27.3 | 43.4
5759 | 2022-05-17 14:54 | 15.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9643 | μmol/L | 18.7463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.547 | 91330.4427 | 210474.2183 | 27.3 | 43.4
5769 | 2022-05-17 14:55 | 15.9947 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7536 | μmol/L | 18.7402 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.557 | 91342.6412 | 210462.1466 | 27.3 | 43.4
5779 | 2022-05-17 14:55 | 16.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7205 | μmol/L | 18.7463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.556 | 91364.6274 | 210470.5252 | 27.3 | 43.4
5789 | 2022-05-17 14:55 | 16.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.417 | μmol/L | 18.7524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.565 | 91376.5337 | 210457.3609 | 27.3 | 43.4
5799 | 2022-05-17 14:56 | 16.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.3207 | μmol/L | 18.7402 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.573 | 91417.2298 | 210455.1207 | 27.3 | 43.4
5809 | 2022-05-17 14:56 | 17.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.0176 | μmol/L | 18.7463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.582 | 91445.9219 | 210456.5615 | 27.3 | 43.4
5819 | 2022-05-17 14:56 | 17.6615 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.1705 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.583 | 91436.6768 | 210441.0267 | 27.3 | 43.4
5829 | 2022-05-17 14:57 | 17.9948 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.7387 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.599 | 91489.7887 | 210452.4135 | 27.3 | 43.4
5839 | 2022-05-17 14:57 | 18.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8046 | μmol/L | 18.7157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.601 | 91486.7616 | 210439.8226 | 27.3 | 43.4
5849 | 2022-05-17 14:57 | 18.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9455 | μmol/L | 18.7096 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.598 | 91520.6321 | 210437.2215 | 27.3 | 43.4
5859 | 2022-05-17 14:58 | 18.9947 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8556 | μmol/L | 18.6913 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.608 | 91515.714 | 210435.628 | 27.3 | 43.4
5869 | 2022-05-17 14:58 | 19.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.7148 | μmol/L | 18.6974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.611 | 91534.2074 | 210434.8406 | 27.3 | 43.4
5879 | 2022-05-17 14:58 | 19.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.5262 | μmol/L | 18.6974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.618 | 91555.0584 | 210429.4002 | 27.3 | 43.4
5889 | 2022-05-17 14:59 | 19.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.1225 | μmol/L | 18.6974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.633 | 91602.0339 | 210433.5172 | 27.3 | 43.4
5899 | 2022-05-17 14:59 | 20.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.3559 | μmol/L | 18.6791 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.631 | 91618.4467 | 210436.3496 | 27.3 | 43.4
5909 | 2022-05-17 14:59 | 20.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.0453 | μmol/L | 18.6669 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.647 | 91678.0541 | 210431.8409 | 27.3 | 43.4
5919 | 2022-05-17 15:00 | 20.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.7914 | μmol/L | 18.6791 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.652 | 91683.3748 | 210415.7656 | 27.3 | 43.4
5929 | 2022-05-17 15:00 | 21.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6633 | μmol/L | 18.673 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.659 | 91720.5717 | 210412.1308 | 27.3 | 43.4
5939 | 2022-05-17 15:00 | 21.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6487 | μmol/L | 18.6607 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.664 | 91732.7594 | 210396.7485 | 27.3 | 43.4
5949 | 2022-05-17 15:01 | 21.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.4403 | μmol/L | 18.6546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.674 | 91718.8596 | 210392.3303 | 27.3 | 43.4
5959 | 2022-05-17 15:01 | 22.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5207 | μmol/L | 18.6546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.671 | 91747.9292 | 210402.2457 | 27.3 | 43.4
5969 | 2022-05-17 15:01 | 22.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.3476 | μmol/L | 18.6669 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.673 | 91735.4137 | 210395.4621 | 27.3 | 43.4
5979 | 2022-05-17 15:02 | 22.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2673 | μmol/L | 18.6669 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.676 | 91735.319 | 210386.3305 | 27.3 | 43.4
5989 | 2022-05-17 15:02 | 23.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.3928 | μmol/L | 18.6485 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.678 | 91754.3976 | 210369.4953 | 27.3 | 43.4
5999 | 2022-05-17 15:02 | 23.6612 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.337 | μmol/L | 18.6241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.689 | 91800.9238 | 210365.5416 | 27.3 | 43.4
6009 | 2022-05-17 15:03 | 23.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.1372 | μmol/L | 18.6363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.692 | 91793.638 | 210383.7198 | 27.3 | 43.4
6019 | 2022-05-17 15:03 | 24.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.0693 | μmol/L | 18.6241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.699 | 91824.8719 | 210368.2366 | 27.3 | 43.4
6029 | 2022-05-17 15:03 | 24.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.1065 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.711 | 91876.6998 | 210371.9431 | 27.3 | 43.4
6039 | 2022-05-17 15:04 | 24.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.9727 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.716 | 91879.0853 | 210382.4309 | 27.3 | 43.4
6049 | 2022-05-17 15:04 | 25.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.2617 | μmol/L | 18.6302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.727 | 91934.4735 | 210364.166 | 27.3 | 43.4
6059 | 2022-05-17 15:04 | 25.6614 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1079 | μmol/L | 18.6241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.735 | 91967.6506 | 210370.3223 | 27.3 | 43.4
6069 | 2022-05-17 15:05 | 25.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.0999 | μmol/L | 18.6058 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.742 | 91995.3559 | 210361.5761 | 27.3 | 43.4
6079 | 2022-05-17 15:05 | 26.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.0324 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.749 | 92008.6387 | 210369.1854 | 27.3 | 43.4
6089 | 2022-05-17 15:05 | 26.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.0324 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.749 | 92050.8222 | 210357.0667 | 27.3 | 43.4
6099 | 2022-05-17 15:06 | 26.9947 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.76 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.757 | 92034.0451 | 210344.7247 | 27.3 | 43.4
6109 | 2022-05-17 15:06 | 27.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.6661 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.765 | 92079.6784 | 210351.9119 | 27.3 | 43.4
6119 | 2022-05-17 15:06 | 27.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.4737 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.77 | 92108.9263 | 210354.541 | 27.3 | 43.4
6129 | 2022-05-17 15:07 | 27.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.48 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.772 | 92131.692 | 210360.8142 | 27.3 | 43.4
6139 | 2022-05-17 15:07 | 28.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.294 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.779 | 92171.1147 | 210368.6566 | 27.3 | 43.4
6149 | 2022-05-17 15:07 | 28.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.9225 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.793 | 92229.9206 | 210352.9049 | 27.3 | 43.4
6159 | 2022-05-17 15:08 | 28.9948 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.6575 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.803 | 92257.6955 | 210352.7231 | 27.3 | 43.4
6169 | 2022-05-17 15:08 | 29.328 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.6966 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.806 | 92279.7508 | 210353.3741 | 27.3 | 43.4
6179 | 2022-05-17 15:08 | 29.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.379 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.818 | 92299.0293 | 210353.0828 | 27.3 | 43.4
6189 | 2022-05-17 15:09 | 29.9949 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.2732 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.822 | 92302.1604 | 210355.5252 | 27.3 | 43.4
6199 | 2022-05-17 15:09 | 30.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.1876 | μmol/L | 18.5813 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.823 | 92310.2271 | 210354.4682 | 27.3 | 43.4
6209 | 2022-05-17 15:09 | 30.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.1939 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.825 | 92311.7181 | 210356.0585 | 27.3 | 43.4
6219 | 2022-05-17 15:10 | 30.9945 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.2065 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.829 | 92337.5983 | 210353.5248 | 27.3 | 43.4
6229 | 2022-05-17 15:10 | 31.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.9561 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.834 | 92327.6365 | 210343.112 | 27.3 | 43.4
6239 | 2022-05-17 15:10 | 31.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.7977 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.84 | 92354.9545 | 210334.3698 | 27.3 | 43.4
6249 | 2022-05-17 15:11 | 31.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.8304 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.841 | 92368.6694 | 210343.7483 | 27.3 | 43.4
6259 | 2022-05-17 15:11 | 32.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.047 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.844 | 92358.0275 | 210332.1757 | 27.3 | 43.4
6269 | 2022-05-17 15:11 | 32.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.251 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.843 | 92362.0998 | 210338.0201 | 27.3 | 43.4
6279 | 2022-05-17 15:12 | 32.9949 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.8294 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.85 | 92384.6177 | 210340.4241 | 27.3 | 43.4
6289 | 2022-05-17 15:12 | 33.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.7031 | μmol/L | 18.5141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.866 | 92431.2986 | 210329.9686 | 27.3 | 43.4
6299 | 2022-05-17 15:12 | 33.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.4795 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.87 | 92466.565 | 210340.3271 | 27.3 | 43.4
6309 | 2022-05-17 15:13 | 33.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.1244 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.879 | 92495.8835 | 210330.1312 | 27.3 | 43.4
6319 | 2022-05-17 15:13 | 34.3283 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.091 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.887 | 92540.7189 | 210327.7566 | 27.3 | 43.4
6329 | 2022-05-17 15:13 | 34.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.9333 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.893 | 92546.1678 | 210325.0092 | 27.3 | 43.4
6339 | 2022-05-17 15:14 | 34.9947 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.6642 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.901 | 92557.2625 | 210323.7495 | 27.3 | 43.4
6349 | 2022-05-17 15:14 | 35.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.9 | μmol/L | 18.5019 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.901 | 92570.118 | 210318.3006 | 27.3 | 43.4
6359 | 2022-05-17 15:14 | 35.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.5393 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.908 | 92591.3811 | 210322.3513 | 27.3 | 43.4
6369 | 2022-05-17 15:15 | 35.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.4146 | μmol/L | 18.5141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 92626.0587 | 210319.2541 | 27.3 | 43.4
6379 | 2022-05-17 15:15 | 36.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.2573 | μmol/L | 18.5141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.921 | 92636.3702 | 210314.9426 | 27.3 | 43.4
6389 | 2022-05-17 15:15 | 36.6615 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.1134 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.922 | 92666.9508 | 210295.1191 | 27.3 | 43.4
6399 | 2022-05-17 15:16 | 36.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.0937 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.925 | 92686.2913 | 210303.8622 | 27.3 | 43.4
6409 | 2022-05-17 15:16 | 37.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.8516 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.932 | 92713.5678 | 210295.659 | 27.3 | 43.4
6419 | 2022-05-17 15:16 | 37.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.747 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.936 | 92738.5725 | 210292.7738 | 27.3 | 43.4
6429 | 2022-05-17 15:17 | 37.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.8057 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.936 | 92720.4466 | 210283.8322 | 27.3 | 43.4
6439 | 2022-05-17 15:17 | 38.3283 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.6947 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.938 | 92715.5368 | 210288.5751 | 27.3 | 43.4
6449 | 2022-05-17 15:17 | 38.6614 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.5704 | μmol/L | 18.5202 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.945 | 92740.9652 | 210282.5535 | 27.3 | 43.4
6459 | 2022-05-17 15:18 | 38.9945 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.4462 | μmol/L | 18.5141 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.952 | 92754.7927 | 210284.0749 | 27.3 | 43.4
6469 | 2022-05-17 15:18 | 39.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.4265 | μmol/L | 18.508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.955 | 92775.581 | 210275.0113 | 27.3 | 43.4
6479 | 2022-05-17 15:18 | 39.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.3221 | μmol/L | 18.508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.959 | 92786.6617 | 210269.4897 | 27.3 | 43.4
6489 | 2022-05-17 15:19 | 39.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.172 | μmol/L | 18.5019 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.967 | 92810.3636 | 210273.5302 | 27.3 | 43.4
6499 | 2022-05-17 15:19 | 40.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.1785 | μmol/L | 18.4958 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.969 | 92833.2428 | 210261.8454 | 27.3 | 43.4
6509 | 2022-05-17 15:19 | 40.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.022 | μmol/L | 18.4958 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.975 | 92868.0861 | 210249.5588 | 27.3 | 43.4
6519 | 2022-05-17 15:20 | 40.9949 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.7419 | μmol/L | 18.4897 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.988 | 92869.439 | 210249.7635 | 27.3 | 43.4
6529 | 2022-05-17 15:20 | 41.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.6117 | μmol/L | 18.4897 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.993 | 92912.0362 | 210259.7708 | 27.3 | 43.4
6539 | 2022-05-17 15:20 | 41.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.6378 | μmol/L | 18.4897 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.992 | 92919.0829 | 210248.7803 | 27.3 | 43.4
6549 | 2022-05-17 15:21 | 41.9948 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5337 | μmol/L | 18.4897 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.996 | 92912.7348 | 210248.2662 | 27.3 | 43.4
6559 | 2022-05-17 15:21 | 42.328 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5922 | μmol/L | 18.4836 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.996 | 92906.6621 | 210238.5141 | 27.3 | 43.4
6569 | 2022-05-17 15:21 | 42.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5533 | μmol/L | 18.4714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.002 | 92973.296 | 210243.1241 | 27.3 | 43.4
6579 | 2022-05-17 15:22 | 42.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.1959 | μmol/L | 18.4653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.018 | 92985.3584 | 210240.1475 | 27.3 | 43.4
6589 | 2022-05-17 15:22 | 43.3282 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.9947 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.028 | 93028.3269 | 210233.4305 | 27.3 | 43.4
6599 | 2022-05-17 15:22 | 43.6612 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.0404 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.033 | 93055.0209 | 210231.9097 | 27.3 | 43.4
6609 | 2022-05-17 15:23 | 43.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.865 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.033 | 93070.9304 | 210238.8804 | 27.3 | 43.4
6619 | 2022-05-17 15:23 | 44.3282 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.5667 | μmol/L | 18.4714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.04 | 93080.7301 | 210237.6825 | 27.3 | 43.4
6629 | 2022-05-17 15:23 | 44.6613 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.256 | μmol/L | 18.4714 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.052 | 93108.4164 | 210224.3315 | 27.3 | 43.4
6639 | 2022-05-17 15:24 | 44.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.2691 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.056 | 93134.4043 | 210229.904 | 27.3 | 43.4
6649 | 2022-05-17 15:24 | 45.3283 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.2433 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.057 | 93153.6381 | 210236.6626 | 27.3 | 43.4
6659 | 2022-05-17 15:24 | 45.6614 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.9523 | μmol/L | 18.4653 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.066 | 93177.5505 | 210228.0651 | 27.3 | 43.4
6669 | 2022-05-17 15:25 | 45.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.8039 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.074 | 93192.1586 | 210222.1212 | 27.3 | 43.4
6679 | 2022-05-17 15:25 | 46.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.5458 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.084 | 93233.5592 | 210226.6234 | 27.3 | 43.4
6689 | 2022-05-17 15:25 | 46.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.4816 | μmol/L | 18.4469 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.091 | 93261.8168 | 210222.1311 | 27.3 | 43.4
6699 | 2022-05-17 15:26 | 46.9948 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.3395 | μmol/L | 18.4591 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.092 | 93277.7547 | 210222.4551 | 27.3 | 43.4
6709 | 2022-05-17 15:26 | 47.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0113 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.107 | 93308.7274 | 210213.9507 | 27.3 | 43.4
6719 | 2022-05-17 15:26 | 47.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0627 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.105 | 93324.5643 | 210218.5255 | 27.3 | 43.4
6729 | 2022-05-17 15:27 | 47.9948 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0893 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.113 | 93354.146 | 210213.1038 | 27.3 | 43.4
6739 | 2022-05-17 15:27 | 48.328 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.8444 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.118 | 93382.8928 | 210207.1933 | 27.3 | 43.4
6749 | 2022-05-17 15:27 | 48.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.6512 | μmol/L | 18.453 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.121 | 93390.8407 | 210209.8582 | 27.3 | 43.4
6759 | 2022-05-17 15:28 | 48.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.7607 | μmol/L | 18.4469 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.119 | 93396.0855 | 210205.1945 | 27.3 | 43.4
6769 | 2022-05-17 15:28 | 49.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.7996 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.122 | 93408.98 | 210196.7216 | 27.3 | 43.4
6779 | 2022-05-17 15:28 | 49.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.6454 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.128 | 93434.2646 | 210216.2962 | 27.3 | 43.4
6789 | 2022-05-17 15:29 | 49.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.5874 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.128 | 93399.4635 | 210216.1845 | 27.3 | 43.4
6799 | 2022-05-17 15:29 | 50.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.5427 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.132 | 93434.4912 | 210212.5939 | 27.3 | 43.4
6809 | 2022-05-17 15:29 | 50.6615 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3116 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.141 | 93471.3574 | 210213.853 | 27.3 | 43.4
6819 | 2022-05-17 15:30 | 50.9946 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.8569 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.161 | 93570.922 | 210203.9081 | 27.3 | 43.4
6829 | 2022-05-17 15:30 | 51.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.5431 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.171 | 93622.3488 | 210212.1075 | 27.3 | 43.4
6839 | 2022-05-17 15:30 | 51.6616 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.352 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.183 | 93678.9357 | 210204.0893 | 27.3 | 43.4
6849 | 2022-05-17 15:31 | 51.9949 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4137 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.213 | 93837.6947 | 210200.8836 | 27.3 | 43.4
6859 | 2022-05-17 15:31 | 52.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4271 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.217 | 93829.0422 | 210202.544 | 27.3 | 43.4
6869 | 2022-05-17 15:31 | 52.6612 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4137 | μmol/L | 18.4408 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.213 | 93811.0326 | 210210.6955 | 27.3 | 43.4
6879 | 2022-05-17 15:32 | 52.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4338 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.219 | 93818.4888 | 210204.0883 | 27.3 | 43.4
6889 | 2022-05-17 15:32 | 53.3279 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.1981 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.226 | 93832.3092 | 210215.1859 | 27.3 | 43.4
6899 | 2022-05-17 15:32 | 53.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.344 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.218 | 93845.884 | 210204.9148 | 27.3 | 43.4
6909 | 2022-05-17 15:33 | 53.9949 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.1218 | μmol/L | 18.4286 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.229 | 93861.4761 | 210208.3465 | 27.3 | 43.4
6919 | 2022-05-17 15:33 | 54.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.988 | μmol/L | 18.4347 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.232 | 93873.2803 | 210198.5351 | 27.3 | 43.4
6929 | 2022-05-17 15:33 | 54.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.9761 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.237 | 93899.4445 | 210210.7077 | 27.3 | 43.4
6939 | 2022-05-17 15:34 | 54.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.5953 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.252 | 93970.9417 | 210201.5462 | 27.3 | 43.4
6949 | 2022-05-17 15:34 | 55.328 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.4499 | μmol/L | 18.4164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.26 | 93995.2608 | 210194.9719 | 27.3 | 43.4
6959 | 2022-05-17 15:34 | 55.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.2404 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.266 | 94016.8195 | 210200.9853 | 27.3 | 43.4
6969 | 2022-05-17 15:35 | 55.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.1965 | μmol/L | 18.4164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.27 | 94044.9677 | 210185.0475 | 27.3 | 43.4
6979 | 2022-05-17 15:35 | 56.3281 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.1391 | μmol/L | 18.4225 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.27 | 94059.319 | 210194.2832 | 27.3 | 43.4
6989 | 2022-05-17 15:35 | 56.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.2472 | μmol/L | 18.4164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.268 | 94042.4211 | 210197.9974 | 27.3 | 43.4
6999 | 2022-05-17 15:36 | 56.995 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.0446 | μmol/L | 18.4164 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.276 | 94068.4323 | 210190.3342 | 27.3 | 43.4
7009 | 2022-05-17 15:36 | 57.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.0514 | μmol/L | 18.4103 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.278 | 94072.3116 | 210194.9367 | 27.3 | 43.4