## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5283 | 2022-05-17 14:39 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6937 | μmol/L | 19.2656 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.083 | 112679.0742 | 267007.1787 | 26.25 | 74
5293 | 2022-05-17 14:39 | 0.33905 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6447 | μmol/L | 19.2656 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.085 | 112684.5029 | 267012.2707 | 26.25 | 74
5303 | 2022-05-17 14:39 | 0.67228 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6447 | μmol/L | 19.2656 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.085 | 112700.2528 | 267001.8225 | 26.25 | 74
5313 | 2022-05-17 14:40 | 1.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7065 | μmol/L | 19.2473 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.089 | 112714.6155 | 266993.3222 | 26.25 | 74
5323 | 2022-05-17 14:40 | 1.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6287 | μmol/L | 19.2534 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.09 | 112715.0937 | 266982.3422 | 26.25 | 74
5333 | 2022-05-17 14:40 | 1.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8131 | μmol/L | 19.2351 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.089 | 112718.1527 | 266987.3872 | 26.25 | 74
5343 | 2022-05-17 14:41 | 2.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9442 | μmol/L | 19.2229 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.088 | 112711.1163 | 266973.832 | 26.25 | 74
5353 | 2022-05-17 14:41 | 2.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8995 | μmol/L | 19.2168 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.092 | 112738.6083 | 266970.5758 | 26.25 | 74
5363 | 2022-05-17 14:41 | 2.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.859 | μmol/L | 19.2046 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.098 | 112781.5968 | 266956.2265 | 26.25 | 74
5373 | 2022-05-17 14:42 | 3.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7206 | μmol/L | 19.1924 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.108 | 112812.8196 | 266960.7937 | 26.25 | 74
5383 | 2022-05-17 14:42 | 3.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6759 | μmol/L | 19.1863 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.112 | 112838.2536 | 266950.2661 | 26.25 | 74
5393 | 2022-05-17 14:42 | 3.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6558 | μmol/L | 19.1803 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.115 | 112857.4319 | 266953.4514 | 26.25 | 74
5403 | 2022-05-17 14:43 | 4.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.738 | μmol/L | 19.1681 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.116 | 112874.4451 | 266945.4537 | 26.25 | 74
5413 | 2022-05-17 14:43 | 4.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7423 | μmol/L | 19.162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.118 | 112898.2155 | 266936.8377 | 26.25 | 74
5423 | 2022-05-17 14:43 | 4.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.6531 | μmol/L | 19.1498 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.126 | 112917.5797 | 266931.592 | 26.25 | 74
5433 | 2022-05-17 14:44 | 5.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.584 | μmol/L | 19.1437 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.131 | 112919.6407 | 266931.5614 | 26.25 | 74
5443 | 2022-05-17 14:44 | 5.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7064 | μmol/L | 19.1437 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.126 | 112929.0213 | 266913.3363 | 26.25 | 74
5453 | 2022-05-17 14:44 | 5.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7397 | μmol/L | 19.1315 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.129 | 112934.567 | 266909.1393 | 26.25 | 74
5463 | 2022-05-17 14:45 | 6.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8176 | μmol/L | 19.1254 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.128 | 112939.5457 | 266914.6959 | 26.25 | 74
5473 | 2022-05-17 14:45 | 6.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.822 | μmol/L | 19.1193 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.13 | 112938.2946 | 266898.7219 | 26.25 | 74
5483 | 2022-05-17 14:45 | 6.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8264 | μmol/L | 19.1132 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.132 | 112949.895 | 266904.422 | 26.25 | 74
5493 | 2022-05-17 14:46 | 7.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.8842 | μmol/L | 19.101 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.134 | 112946.1232 | 266886.467 | 26.25 | 74
5503 | 2022-05-17 14:46 | 7.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.9911 | μmol/L | 19.0889 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.134 | 112957.4996 | 266886.2658 | 26.25 | 74
5513 | 2022-05-17 14:46 | 7.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0245 | μmol/L | 19.0767 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.137 | 112962.266 | 266871.6286 | 26.25 | 74
5523 | 2022-05-17 14:47 | 8.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285 | μmol/L | 19.0767 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.138 | 112960.5563 | 266874.916 | 26.25 | 74
5533 | 2022-05-17 14:47 | 8.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.078 | μmol/L | 19.0706 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.137 | 112964.9087 | 266863.818 | 26.25 | 74
5543 | 2022-05-17 14:47 | 8.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0825 | μmol/L | 19.0645 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.139 | 112959.7355 | 266854.4895 | 26.25 | 74
5553 | 2022-05-17 14:48 | 9.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.1895 | μmol/L | 19.0523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.139 | 112959.375 | 266844.8377 | 26.25 | 74
5563 | 2022-05-17 14:48 | 9.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.272 | μmol/L | 19.0401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.14 | 112943.0043 | 266853.7473 | 26.25 | 74
5573 | 2022-05-17 14:48 | 9.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.223 | μmol/L | 19.0401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.142 | 112951.2501 | 266835.0139 | 26.25 | 74
5583 | 2022-05-17 14:49 | 10.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3546 | μmol/L | 19.0279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.141 | 112952.6208 | 266833.3394 | 26.25 | 74
5593 | 2022-05-17 14:49 | 10.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2565 | μmol/L | 19.0279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.145 | 112967.4383 | 266829.4173 | 26.25 | 74
5603 | 2022-05-17 14:49 | 10.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2655 | μmol/L | 19.0157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 112975.6109 | 266826.5422 | 26.25 | 74
5613 | 2022-05-17 14:50 | 11.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.2655 | μmol/L | 19.0157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 112980.1196 | 266813.0069 | 26.25 | 74
5623 | 2022-05-17 14:50 | 11.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3482 | μmol/L | 19.0036 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.15 | 112994.9419 | 266811.5473 | 26.25 | 74
5633 | 2022-05-17 14:50 | 11.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5335 | μmol/L | 18.9853 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 112997.754 | 266793.8811 | 26.25 | 74
5643 | 2022-05-17 14:51 | 12.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4154 | μmol/L | 18.9792 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.156 | 113004.0468 | 266778.9267 | 26.25 | 74
5653 | 2022-05-17 14:51 | 12.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.5472 | μmol/L | 18.967 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.155 | 113018.7882 | 266785.4449 | 26.25 | 74
5663 | 2022-05-17 14:51 | 12.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3173 | μmol/L | 18.9792 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.16 | 113034.2289 | 266771.5057 | 26.25 | 74
5673 | 2022-05-17 14:52 | 13.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4536 | μmol/L | 18.9609 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.161 | 113033.0115 | 266763.6491 | 26.25 | 74
5683 | 2022-05-17 14:52 | 13.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.3846 | μmol/L | 18.9548 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.166 | 113065.957 | 266749.6207 | 26.25 | 74
5693 | 2022-05-17 14:52 | 13.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.0951 | μmol/L | 18.9487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.18 | 113139.6974 | 266744.8862 | 26.25 | 74
5703 | 2022-05-17 14:53 | 14.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.7327 | μmol/L | 18.9426 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.197 | 113253.1767 | 266735.644 | 26.25 | 74
5713 | 2022-05-17 14:53 | 14.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.2337 | μmol/L | 18.9244 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.224 | 113401.6049 | 266720.3045 | 26.25 | 74
5723 | 2022-05-17 14:53 | 14.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.333 | μmol/L | 18.9244 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.261 | 113623.9976 | 266716.725 | 26.25 | 74
5733 | 2022-05-17 14:54 | 15.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 282.5569 | μmol/L | 18.9244 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.293 | 113821.6524 | 266702.1951 | 26.25 | 74
5743 | 2022-05-17 14:54 | 15.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.7111 | μmol/L | 18.9244 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.328 | 113989.8101 | 266698.7051 | 26.25 | 74
5753 | 2022-05-17 14:54 | 15.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.3686 | μmol/L | 18.9 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.351 | 114164.732 | 266699.4022 | 26.25 | 74
5763 | 2022-05-17 14:55 | 16.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.5418 | μmol/L | 18.9122 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.381 | 114332.3085 | 266696.3862 | 26.25 | 74
5773 | 2022-05-17 14:55 | 16.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5222 | μmol/L | 18.9 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.428 | 114577.2268 | 266672.8075 | 26.25 | 74
5783 | 2022-05-17 14:55 | 16.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6025 | μmol/L | 18.8878 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.471 | 114874.507 | 266678.6659 | 26.25 | 74
5793 | 2022-05-17 14:56 | 17.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0742 | μmol/L | 18.8634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.46 | 114839.7954 | 266656.342 | 26.25 | 74
5803 | 2022-05-17 14:56 | 17.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.389 | μmol/L | 18.8573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.449 | 114761.5038 | 266652.6168 | 26.25 | 74
5813 | 2022-05-17 14:56 | 17.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5322 | μmol/L | 18.8573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.443 | 114698.1112 | 266654.5843 | 26.25 | 74
5823 | 2022-05-17 14:57 | 18.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3701 | μmol/L | 18.8513 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.452 | 114725.585 | 266643.5121 | 26.25 | 74
5833 | 2022-05-17 14:57 | 18.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.6416 | μmol/L | 18.8391 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.487 | 114906.7908 | 266643.0427 | 26.25 | 74
5843 | 2022-05-17 14:57 | 18.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1815 | μmol/L | 18.8208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.513 | 115074.6362 | 266627.6821 | 26.25 | 74
5853 | 2022-05-17 14:58 | 19.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.8571 | μmol/L | 18.8208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.569 | 115381.5086 | 266627.7996 | 26.25 | 74
5863 | 2022-05-17 14:58 | 19.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.926 | μmol/L | 18.8086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.613 | 115667.5201 | 266617.5914 | 26.25 | 74
5873 | 2022-05-17 14:58 | 19.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.4436 | μmol/L | 18.7964 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.638 | 115830.8049 | 266605.9977 | 26.25 | 74
5883 | 2022-05-17 14:59 | 20.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7988 | μmol/L | 18.7842 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.67 | 116026.3941 | 266588.3464 | 26.25 | 74
5893 | 2022-05-17 14:59 | 20.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4124 | μmol/L | 18.7721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.691 | 116140.4495 | 266599.525 | 26.25 | 74
5903 | 2022-05-17 14:59 | 20.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9984 | μmol/L | 18.766 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.711 | 116249.8257 | 266578.0573 | 26.25 | 74
5913 | 2022-05-17 15:00 | 21.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.3762 | μmol/L | 18.7599 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.74 | 116412.7532 | 266572.2131 | 26.25 | 74
5923 | 2022-05-17 15:00 | 21.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.7277 | μmol/L | 18.7599 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 116575.991 | 266574.4208 | 26.25 | 74
5933 | 2022-05-17 15:00 | 21.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.299 | μmol/L | 18.7477 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.791 | 116713.2536 | 266568.9454 | 26.25 | 74
5943 | 2022-05-17 15:01 | 22.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9531 | μmol/L | 18.7477 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.806 | 116804.801 | 266557.2452 | 26.25 | 74
5953 | 2022-05-17 15:01 | 22.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.8609 | μmol/L | 18.7477 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.81 | 116823.1665 | 266554.6546 | 26.25 | 74
5963 | 2022-05-17 15:01 | 22.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5439 | μmol/L | 18.7416 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.826 | 116914.0679 | 266542.8941 | 26.25 | 74
5973 | 2022-05-17 15:02 | 23.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3579 | μmol/L | 18.7172 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.843 | 117012.4975 | 266545.2701 | 26.25 | 74
5983 | 2022-05-17 15:02 | 23.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8936 | μmol/L | 18.7233 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.861 | 117110.715 | 266524.4899 | 26.25 | 74
5993 | 2022-05-17 15:02 | 23.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7737 | μmol/L | 18.7294 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.864 | 117139.8482 | 266517.4826 | 26.25 | 74
6003 | 2022-05-17 15:03 | 24.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.779 | μmol/L | 18.7233 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.866 | 117135.1113 | 266517.3139 | 26.25 | 74
6013 | 2022-05-17 15:03 | 24.3395 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7437 | μmol/L | 18.7111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.872 | 117168.7772 | 266509.4416 | 26.25 | 74
6023 | 2022-05-17 15:03 | 24.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.6908 | μmol/L | 18.6929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.881 | 117223.4672 | 266501.2097 | 26.25 | 74
6033 | 2022-05-17 15:04 | 25.0062 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.5077 | μmol/L | 18.6929 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.889 | 117263.8549 | 266491.2292 | 26.25 | 74
6043 | 2022-05-17 15:04 | 25.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3529 | μmol/L | 18.6868 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.898 | 117311.1188 | 266505.0543 | 26.25 | 74
6053 | 2022-05-17 15:04 | 25.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9295 | μmol/L | 18.6746 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.921 | 117422.3751 | 266475.0634 | 26.25 | 74
6063 | 2022-05-17 15:05 | 26.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8543 | μmol/L | 18.6563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.931 | 117481.7849 | 266483.3578 | 26.25 | 74
6073 | 2022-05-17 15:05 | 26.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8999 | μmol/L | 18.6563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.929 | 117489.9882 | 266485.916 | 26.25 | 74
6083 | 2022-05-17 15:05 | 26.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9348 | μmol/L | 18.6685 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.923 | 117440.7505 | 266472.2463 | 26.25 | 74
6093 | 2022-05-17 15:06 | 27.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8664 | μmol/L | 18.6685 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.926 | 117438.4403 | 266469.4823 | 26.25 | 74
6103 | 2022-05-17 15:06 | 27.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0825 | μmol/L | 18.6563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.921 | 117449.3792 | 266469.9346 | 26.25 | 74
6113 | 2022-05-17 15:06 | 27.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.7349 | μmol/L | 18.6624 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.934 | 117486.8459 | 266459.6241 | 26.25 | 74
6123 | 2022-05-17 15:07 | 28.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.7 | μmol/L | 18.6502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.94 | 117539.5045 | 266463.3106 | 26.25 | 74
6133 | 2022-05-17 15:07 | 28.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.6089 | μmol/L | 18.6502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.944 | 117597.5607 | 266454.454 | 26.25 | 74
6143 | 2022-05-17 15:07 | 28.6727 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5459 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.949 | 117591.9716 | 266458.9038 | 26.25 | 74
6153 | 2022-05-17 15:08 | 29.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5004 | μmol/L | 18.6441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.951 | 117617.6769 | 266456.6861 | 26.25 | 74
6163 | 2022-05-17 15:08 | 29.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.392 | μmol/L | 18.638 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.958 | 117645.8836 | 266471.0665 | 26.25 | 74
6173 | 2022-05-17 15:08 | 29.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3572 | μmol/L | 18.6258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.964 | 117673.5059 | 266463.4453 | 26.25 | 74
6183 | 2022-05-17 15:09 | 30.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4363 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.965 | 117711.2809 | 266441.1763 | 26.25 | 74
6193 | 2022-05-17 15:09 | 30.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2489 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.971 | 117731.4341 | 266460.292 | 26.25 | 74
6203 | 2022-05-17 15:09 | 30.6727 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2262 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.972 | 117769.8724 | 266451.5179 | 26.25 | 74
6213 | 2022-05-17 15:10 | 31.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9989 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.982 | 117832.122 | 266445.2403 | 26.25 | 74
6223 | 2022-05-17 15:10 | 31.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9081 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.986 | 117836.0811 | 266444.7932 | 26.25 | 74
6233 | 2022-05-17 15:10 | 31.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9989 | μmol/L | 18.6198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.982 | 117805.7338 | 266439.7242 | 26.25 | 74
6243 | 2022-05-17 15:11 | 32.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0725 | μmol/L | 18.6137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.981 | 117786.4052 | 266424.6392 | 26.25 | 74
6253 | 2022-05-17 15:11 | 32.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1115 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.986 | 117832.4067 | 266431.8803 | 26.25 | 74
6263 | 2022-05-17 15:11 | 32.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8617 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.997 | 117903.5766 | 266416.175 | 26.25 | 74
6273 | 2022-05-17 15:12 | 33.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7655 | μmol/L | 18.6015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.999 | 117929.3247 | 266414.428 | 26.25 | 74
6283 | 2022-05-17 15:12 | 33.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7483 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.002 | 117944.1928 | 266416.8257 | 26.25 | 74
6293 | 2022-05-17 15:12 | 33.6727 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7937 | μmol/L | 18.5954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23 | 117942.0057 | 266415.8487 | 26.25 | 74
6303 | 2022-05-17 15:13 | 34.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9634 | μmol/L | 18.5832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.997 | 117946.0999 | 266412.3942 | 26.25 | 74
6313 | 2022-05-17 15:13 | 34.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.81 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.006 | 117970.4832 | 266417.8396 | 26.25 | 74
6323 | 2022-05-17 15:13 | 34.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4474 | μmol/L | 18.5771 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 118043.3711 | 266393.6721 | 26.25 | 74
6333 | 2022-05-17 15:14 | 35.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4755 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.023 | 118092.3087 | 266382.4175 | 26.25 | 74
6343 | 2022-05-17 15:14 | 35.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4529 | μmol/L | 18.571 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.024 | 118114.987 | 266403.2355 | 26.25 | 74
6353 | 2022-05-17 15:14 | 35.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.2773 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.034 | 118153.9374 | 266388.9086 | 26.25 | 74
6363 | 2022-05-17 15:15 | 36.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.2546 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.035 | 118176.1074 | 266364.1043 | 26.25 | 74
6373 | 2022-05-17 15:15 | 36.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1923 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.04 | 118190.5771 | 266366.6174 | 26.25 | 74
6383 | 2022-05-17 15:15 | 36.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.0511 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.044 | 118214.3698 | 266357.6793 | 26.25 | 74
6393 | 2022-05-17 15:16 | 37.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9381 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.049 | 118242.0045 | 266357.8388 | 26.25 | 74
6403 | 2022-05-17 15:16 | 37.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9436 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 118270.4244 | 266347.1351 | 26.25 | 74
6413 | 2022-05-17 15:16 | 37.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.7856 | μmol/L | 18.5588 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.058 | 118301.4974 | 266348.4223 | 26.25 | 74
6423 | 2022-05-17 15:17 | 38.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6898 | μmol/L | 18.5649 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.06 | 118323.6077 | 266343.5286 | 26.25 | 74
6433 | 2022-05-17 15:17 | 38.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6331 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.067 | 118351.8707 | 266340.654 | 26.25 | 74
6443 | 2022-05-17 15:17 | 38.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3852 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.078 | 118418.4641 | 266332.7186 | 26.25 | 74
6453 | 2022-05-17 15:18 | 39.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.171 | μmol/L | 18.5406 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.092 | 118500.8135 | 266324.2639 | 26.25 | 74
6463 | 2022-05-17 15:18 | 39.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.98 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.096 | 118548.1682 | 266318.2094 | 26.25 | 74
6473 | 2022-05-17 15:18 | 39.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.8282 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.105 | 118563.6598 | 266313.4978 | 26.25 | 74
6483 | 2022-05-17 15:19 | 40.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4465 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.122 | 118652.4037 | 266305.8198 | 26.25 | 74
6493 | 2022-05-17 15:19 | 40.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1103 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.137 | 118744.7643 | 266306.0749 | 26.25 | 74
6503 | 2022-05-17 15:19 | 40.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7914 | μmol/L | 18.5527 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.149 | 118847.981 | 266296.9114 | 26.25 | 74
6513 | 2022-05-17 15:20 | 41.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5958 | μmol/L | 18.5467 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.16 | 118918.3352 | 266288.7717 | 26.25 | 74
6523 | 2022-05-17 15:20 | 41.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2721 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.179 | 119021.1578 | 266284.1822 | 26.25 | 74
6533 | 2022-05-17 15:20 | 41.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.96 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.193 | 119125.7751 | 266273.7945 | 26.25 | 74
6543 | 2022-05-17 15:21 | 42.006 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6484 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.207 | 119172.9841 | 266270.7208 | 26.25 | 74
6553 | 2022-05-17 15:21 | 42.3391 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5372 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.212 | 119157.9386 | 266273.554 | 26.25 | 74
6563 | 2022-05-17 15:21 | 42.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5484 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.216 | 119191.9736 | 266266.6962 | 26.25 | 74
6573 | 2022-05-17 15:22 | 43.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.3207 | μmol/L | 18.5284 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.224 | 119259.9601 | 266263.9238 | 26.25 | 74
6583 | 2022-05-17 15:22 | 43.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.0434 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.241 | 119351.838 | 266279.9857 | 26.25 | 74
6593 | 2022-05-17 15:22 | 43.6722 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.4507 | μmol/L | 18.5345 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.261 | 119469.8713 | 266258.9238 | 26.25 | 74
6603 | 2022-05-17 15:23 | 44.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.0863 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.282 | 119598.4503 | 266245.3966 | 26.25 | 74
6613 | 2022-05-17 15:23 | 44.3395 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.6893 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.3 | 119714.4621 | 266247.9177 | 26.25 | 74
6623 | 2022-05-17 15:23 | 44.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.4307 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.314 | 119809.2612 | 266256.7262 | 26.25 | 74
6633 | 2022-05-17 15:24 | 45.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.8536 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.338 | 119930.976 | 266256.4276 | 26.25 | 74
6643 | 2022-05-17 15:24 | 45.3395 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 261.0705 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.376 | 120157.356 | 266253.18 | 26.25 | 74
6653 | 2022-05-17 15:24 | 45.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.3501 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.409 | 120365.9978 | 266241.5841 | 26.25 | 74
6663 | 2022-05-17 15:25 | 46.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 260.0017 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.425 | 120457.205 | 266245.1588 | 26.25 | 74
6673 | 2022-05-17 15:25 | 46.339 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.6104 | μmol/L | 18.5162 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.443 | 120541.5641 | 266236.421 | 26.25 | 74
6683 | 2022-05-17 15:25 | 46.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.3659 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.452 | 120629.9879 | 266229.1099 | 26.25 | 74
6693 | 2022-05-17 15:26 | 47.0062 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.4916 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.453 | 120613.4275 | 266230.1546 | 26.25 | 74
6703 | 2022-05-17 15:26 | 47.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 259.0739 | μmol/L | 18.5101 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.47 | 120755.6186 | 266226.4809 | 26.25 | 74
6713 | 2022-05-17 15:26 | 47.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6151 | μmol/L | 18.4918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.498 | 120892.21 | 266229.6643 | 26.25 | 74
6723 | 2022-05-17 15:27 | 48.0056 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.2638 | μmol/L | 18.4979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.512 | 120991.5572 | 266224.0404 | 26.25 | 74
6733 | 2022-05-17 15:27 | 48.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.9993 | μmol/L | 18.504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.522 | 121053.3047 | 266218.4729 | 26.25 | 74
6743 | 2022-05-17 15:27 | 48.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.9835 | μmol/L | 18.4979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.525 | 121058.1877 | 266230.9041 | 26.25 | 74
6753 | 2022-05-17 15:28 | 49.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.0266 | μmol/L | 18.4979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.523 | 121049.087 | 266225.8229 | 26.25 | 74
6763 | 2022-05-17 15:28 | 49.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.1402 | μmol/L | 18.4918 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.52 | 121038.0175 | 266209.128 | 26.25 | 74
6773 | 2022-05-17 15:28 | 49.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.2754 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.516 | 121017.4293 | 266215.0194 | 26.25 | 74
6783 | 2022-05-17 15:29 | 50.0058 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.3617 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.512 | 120976.3786 | 266214.0907 | 26.25 | 74
6793 | 2022-05-17 15:29 | 50.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6209 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.5 | 120931.0813 | 266207.622 | 26.25 | 74
6803 | 2022-05-17 15:29 | 50.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.5229 | μmol/L | 18.4979 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.5 | 120911.1931 | 266193.4358 | 26.25 | 74
6813 | 2022-05-17 15:30 | 51.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.3488 | μmol/L | 18.5223 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.499 | 120881.4749 | 266211.8118 | 26.25 | 74
6823 | 2022-05-17 15:30 | 51.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6915 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.499 | 120886.136 | 266195.0009 | 26.25 | 74
6833 | 2022-05-17 15:30 | 51.6726 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6641 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.498 | 120900.667 | 266194.7942 | 26.25 | 74
6843 | 2022-05-17 15:31 | 52.0057 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6425 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.499 | 120913.0168 | 266186.1947 | 26.25 | 74
6853 | 2022-05-17 15:31 | 52.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.605 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.503 | 120917.8998 | 266195.7461 | 26.25 | 74
6863 | 2022-05-17 15:31 | 52.6728 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.6166 | μmol/L | 18.4675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.507 | 120979.1436 | 266182.5346 | 26.25 | 74
6873 | 2022-05-17 15:32 | 53.0059 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 258.1948 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.522 | 121054.2616 | 266188.4958 | 26.25 | 74
6883 | 2022-05-17 15:32 | 53.3389 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.9362 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.534 | 121105.2221 | 266186.7529 | 26.25 | 74
6893 | 2022-05-17 15:32 | 53.6727 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.8443 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.536 | 121147.6763 | 266196.7588 | 26.25 | 74
6903 | 2022-05-17 15:33 | 54.0061 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.9147 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.535 | 121124.6509 | 266182.5119 | 26.25 | 74
6913 | 2022-05-17 15:33 | 54.3392 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.6506 | μmol/L | 18.4857 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.545 | 121169.1832 | 266187.3884 | 26.25 | 74
6923 | 2022-05-17 15:33 | 54.6723 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.7052 | μmol/L | 18.4736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.547 | 121200.173 | 266181.8633 | 26.25 | 74
6933 | 2022-05-17 15:34 | 55.0062 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.5703 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.551 | 121238.2735 | 266169.2783 | 26.25 | 74
6943 | 2022-05-17 15:34 | 55.3393 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.3554 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.561 | 121287.0826 | 266178.9681 | 26.25 | 74
6953 | 2022-05-17 15:34 | 55.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.2481 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.566 | 121330.2863 | 266169.4889 | 26.25 | 74
6963 | 2022-05-17 15:35 | 56.0055 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.1465 | μmol/L | 18.4736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.573 | 121358.8129 | 266156.5621 | 26.25 | 74
6973 | 2022-05-17 15:35 | 56.3395 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.0822 | μmol/L | 18.4736 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.576 | 121357.3294 | 266166.3663 | 26.25 | 74
6983 | 2022-05-17 15:35 | 56.6725 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.0978 | μmol/L | 18.4796 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.573 | 121359.5286 | 266162.1649 | 26.25 | 74
6993 | 2022-05-17 15:36 | 57.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.2382 | μmol/L | 18.4675 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.571 | 121357.8077 | 266162.3235 | 26.25 | 74
7003 | 2022-05-17 15:36 | 57.3394 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.2225 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.574 | 121377.4619 | 266153.4307 | 26.25 | 74
7011 | 2022-05-17 15:36 | 57.6724 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 257.0938 | μmol/L | 18.4614 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.58 | 121399.3307 | 266149.6991 | 26.25 | 74