## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
7021 | 2022-05-17 15:55 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5293 | μmol/L | 18.8379 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.347 | 87698.9552 | 210159.9113 | 27.3 | 43.4
7031 | 2022-05-17 15:55 | 0.32628 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5074 | μmol/L | 18.8318 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.35 | 87635.2902 | 210162.2843 | 27.3 | 43.4
7041 | 2022-05-17 15:56 | 0.65937 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4188 | μmol/L | 18.8379 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.351 | 87688.3583 | 210151.0057 | 27.3 | 43.4
7051 | 2022-05-17 15:56 | 0.99244 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4245 | μmol/L | 18.8318 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.353 | 87638.5555 | 210135.4482 | 27.3 | 43.4
7061 | 2022-05-17 15:56 | 1.3263 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.4854 | μmol/L | 18.8257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.353 | 87620.4132 | 210139.7699 | 27.3 | 43.4
7071 | 2022-05-17 15:57 | 1.6593 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5683 | μmol/L | 18.8257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.35 | 87579.0565 | 210134.5247 | 27.3 | 43.4
7081 | 2022-05-17 15:57 | 1.9923 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5187 | μmol/L | 18.8196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.354 | 87675.5514 | 210139.7417 | 27.3 | 43.4
7091 | 2022-05-17 15:57 | 2.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.5464 | μmol/L | 18.8196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.353 | 87622.8077 | 210131.2513 | 27.3 | 43.4
7101 | 2022-05-17 15:58 | 2.659 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.613 | μmol/L | 18.8074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.355 | 87685.969 | 210129.5731 | 27.3 | 43.4
7111 | 2022-05-17 15:58 | 2.9928 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7236 | μmol/L | 18.8074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.351 | 87559.7532 | 210131.1392 | 27.3 | 43.4
7121 | 2022-05-17 15:58 | 3.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7016 | μmol/L | 18.8013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.354 | 87556.099 | 210135.1776 | 27.3 | 43.4
7131 | 2022-05-17 15:59 | 3.6597 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7073 | μmol/L | 18.7951 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.356 | 87621.7176 | 210129.6265 | 27.3 | 43.4
7141 | 2022-05-17 15:59 | 3.9927 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.735 | μmol/L | 18.7951 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.355 | 87553.0649 | 210126.8825 | 27.3 | 43.4
7151 | 2022-05-17 15:59 | 4.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7407 | μmol/L | 18.789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.357 | 87577.3798 | 210130.5517 | 27.3 | 43.4
7161 | 2022-05-17 16:00 | 4.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7407 | μmol/L | 18.789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.357 | 87504.86 | 210118.7924 | 27.3 | 43.4
7171 | 2022-05-17 16:00 | 4.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.9123 | μmol/L | 18.7829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.353 | 87544.9314 | 210118.2724 | 27.3 | 43.4
7181 | 2022-05-17 16:00 | 5.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.9457 | μmol/L | 18.7768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.354 | 87541.7902 | 210119.1933 | 27.3 | 43.4
7191 | 2022-05-17 16:01 | 5.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.9514 | μmol/L | 18.7707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.356 | 87555.1846 | 210111.8209 | 27.3 | 43.4
7201 | 2022-05-17 16:01 | 5.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.8685 | μmol/L | 18.7707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.359 | 87529.2705 | 210104.3108 | 27.3 | 43.4
7211 | 2022-05-17 16:01 | 6.3256 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.8961 | μmol/L | 18.7707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.358 | 87472.2244 | 210109.5163 | 27.3 | 43.4
7221 | 2022-05-17 16:02 | 6.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1289 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.354 | 87548.8827 | 210096.8227 | 27.3 | 43.4
7231 | 2022-05-17 16:02 | 6.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0125 | μmol/L | 18.7646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.356 | 87517.2881 | 210087.5953 | 27.3 | 43.4
7241 | 2022-05-17 16:02 | 7.3256 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0183 | μmol/L | 18.7585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.358 | 87552.1761 | 210094.1187 | 27.3 | 43.4
7251 | 2022-05-17 16:03 | 7.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0298 | μmol/L | 18.7463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.362 | 87558.7113 | 210094.0759 | 27.3 | 43.4
7261 | 2022-05-17 16:03 | 7.9927 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.8086 | μmol/L | 18.7463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.37 | 87547.7766 | 210090.5753 | 27.3 | 43.4
7271 | 2022-05-17 16:03 | 8.3263 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.9031 | μmol/L | 18.7341 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.371 | 87575.202 | 210086.1808 | 27.3 | 43.4
7281 | 2022-05-17 16:04 | 8.6591 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0195 | μmol/L | 18.7279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.369 | 87570.617 | 210088.0337 | 27.3 | 43.4
7291 | 2022-05-17 16:04 | 8.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0806 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.369 | 87546.5861 | 210083.168 | 27.3 | 43.4
7301 | 2022-05-17 16:04 | 9.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.3194 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.367 | 87612.6403 | 210079.1873 | 27.3 | 43.4
7311 | 2022-05-17 16:05 | 9.6589 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1971 | μmol/L | 18.7157 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.367 | 87539.4352 | 210073.9264 | 27.3 | 43.4
7321 | 2022-05-17 16:05 | 9.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1913 | μmol/L | 18.7218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.365 | 87512.1943 | 210082.1938 | 27.3 | 43.4
7331 | 2022-05-17 16:05 | 10.326 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0646 | μmol/L | 18.7096 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.374 | 87548.4461 | 210081.4212 | 27.3 | 43.4
7341 | 2022-05-17 16:06 | 10.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0151 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.378 | 87564.0562 | 210083.9457 | 27.3 | 43.4
7351 | 2022-05-17 16:06 | 10.9924 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1534 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.373 | 87509.969 | 210080.1079 | 27.3 | 43.4
7361 | 2022-05-17 16:06 | 11.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1534 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.373 | 87571.0195 | 210082.9554 | 27.3 | 43.4
7371 | 2022-05-17 16:07 | 11.6597 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0981 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.375 | 87557.7416 | 210076.6237 | 27.3 | 43.4
7381 | 2022-05-17 16:07 | 11.9924 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1316 | μmol/L | 18.6974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.376 | 87552.7857 | 210069.6339 | 27.3 | 43.4
7391 | 2022-05-17 16:07 | 12.3262 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0704 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.376 | 87550.8933 | 210079.5741 | 27.3 | 43.4
7401 | 2022-05-17 16:08 | 12.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.0151 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.378 | 87536.8739 | 210078.997 | 27.3 | 43.4
7411 | 2022-05-17 16:08 | 12.9923 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1039 | μmol/L | 18.6974 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.377 | 87547.9869 | 210069.3793 | 27.3 | 43.4
7421 | 2022-05-17 16:08 | 13.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.6676 | μmol/L | 18.6913 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.395 | 87587.5127 | 210065.5711 | 27.3 | 43.4
7431 | 2022-05-17 16:09 | 13.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.6482 | μmol/L | 18.6913 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.432 | 87747.0793 | 210088.1919 | 27.3 | 43.4
7441 | 2022-05-17 16:09 | 13.9923 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.1694 | μmol/L | 18.7035 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.445 | 87787.2064 | 210075.8278 | 27.3 | 43.4
7451 | 2022-05-17 16:09 | 14.3262 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.2539 | μmol/L | 18.673 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.453 | 87844.5752 | 210059.2332 | 27.3 | 43.4
7461 | 2022-05-17 16:10 | 14.6597 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.8544 | μmol/L | 18.6607 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.472 | 87984.8972 | 210068.0755 | 27.3 | 43.4
7471 | 2022-05-17 16:10 | 14.9927 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.2156 | μmol/L | 18.6424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.502 | 88116.9088 | 210071.0724 | 27.3 | 43.4
7481 | 2022-05-17 16:10 | 15.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.7295 | μmol/L | 18.6852 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.541 | 88211.8612 | 210081.6646 | 27.3 | 43.4
7491 | 2022-05-17 16:11 | 15.6592 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.2047 | μmol/L | 18.6669 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.567 | 88349.7367 | 210077.1184 | 27.3 | 43.4
7501 | 2022-05-17 16:11 | 15.9928 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.9458 | μmol/L | 18.6546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.581 | 88445.4073 | 210067.9377 | 27.3 | 43.4
7511 | 2022-05-17 16:11 | 16.3262 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.4258 | μmol/L | 18.6607 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.598 | 88492.4074 | 210079.4629 | 27.3 | 43.4
7521 | 2022-05-17 16:12 | 16.6589 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.6759 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.611 | 88558.4664 | 210069.6431 | 27.3 | 43.4
7531 | 2022-05-17 16:12 | 16.9924 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.5931 | μmol/L | 18.6302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.64 | 88643.8417 | 210064.4731 | 27.3 | 43.4
7541 | 2022-05-17 16:12 | 17.326 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.016 | μmol/L | 18.6424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.657 | 88791.6636 | 210074.651 | 27.3 | 43.4
7551 | 2022-05-17 16:13 | 17.6594 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.3331 | μmol/L | 18.6546 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.678 | 88794.6035 | 210071.2231 | 27.3 | 43.4
7561 | 2022-05-17 16:13 | 17.9923 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.9521 | μmol/L | 18.6607 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.69 | 88866.9298 | 210078.5114 | 27.3 | 43.4
7571 | 2022-05-17 16:13 | 18.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.7772 | μmol/L | 18.6485 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.701 | 88975.4025 | 210075.5505 | 27.3 | 43.4
7581 | 2022-05-17 16:14 | 18.6592 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.5963 | μmol/L | 18.6424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.71 | 88999.3127 | 210065.2002 | 27.3 | 43.4
7591 | 2022-05-17 16:14 | 18.9928 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.6087 | μmol/L | 18.6302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.714 | 89015.0456 | 210071.0136 | 27.3 | 43.4
7601 | 2022-05-17 16:14 | 19.3263 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.9952 | μmol/L | 18.6302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.737 | 89142.1513 | 210071.9328 | 27.3 | 43.4
7611 | 2022-05-17 16:15 | 19.659 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.5693 | μmol/L | 18.6302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.753 | 89168.3289 | 210075.4773 | 27.3 | 43.4
7621 | 2022-05-17 16:15 | 19.9927 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.2893 | μmol/L | 18.618 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.768 | 89220.0785 | 210075.2288 | 27.3 | 43.4
7631 | 2022-05-17 16:15 | 20.3262 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.9178 | μmol/L | 18.618 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.782 | 89251.3231 | 210083.9027 | 27.3 | 43.4
7641 | 2022-05-17 16:16 | 20.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.5997 | μmol/L | 18.618 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.794 | 89325.2887 | 210071.5013 | 27.3 | 43.4
7651 | 2022-05-17 16:16 | 20.993 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.4067 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.808 | 89431.3897 | 210078.6918 | 27.3 | 43.4
7661 | 2022-05-17 16:16 | 21.3258 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.0101 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.823 | 89534.9069 | 210068.8146 | 27.3 | 43.4
7671 | 2022-05-17 16:17 | 21.6593 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.3895 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.851 | 89592.8368 | 210080.9048 | 27.3 | 43.4
7681 | 2022-05-17 16:17 | 21.9929 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.9883 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.864 | 89722.3665 | 210069.9657 | 27.3 | 43.4
7691 | 2022-05-17 16:17 | 22.3263 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.3063 | μmol/L | 18.618 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.881 | 89740.3262 | 210079.9131 | 27.3 | 43.4
7701 | 2022-05-17 16:18 | 22.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.737 | μmol/L | 18.6363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.896 | 89849.3083 | 210067.3359 | 27.3 | 43.4
7711 | 2022-05-17 16:18 | 22.993 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2338 | μmol/L | 18.6424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.913 | 89911.5192 | 210078.7138 | 27.3 | 43.4
7721 | 2022-05-17 16:18 | 23.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.006 | μmol/L | 18.6607 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 89931.9573 | 210075.4855 | 27.3 | 43.4
7731 | 2022-05-17 16:19 | 23.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2203 | μmol/L | 18.6302 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.918 | 89975.325 | 210083.9391 | 27.3 | 43.4
7741 | 2022-05-17 16:19 | 23.9931 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.0098 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.908 | 89897.0368 | 210082.3981 | 27.3 | 43.4
7751 | 2022-05-17 16:19 | 24.3258 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.7099 | μmol/L | 18.6119 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.906 | 89886.2742 | 210079.191 | 27.3 | 43.4
7761 | 2022-05-17 16:20 | 24.6592 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.036 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.907 | 89865.9356 | 210089.1331 | 27.3 | 43.4
7771 | 2022-05-17 16:20 | 24.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.8471 | μmol/L | 18.6058 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.903 | 89886.565 | 210084.7787 | 27.3 | 43.4
7781 | 2022-05-17 16:20 | 25.3256 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.0432 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.9 | 89835.1225 | 210095.5687 | 27.3 | 43.4
7791 | 2022-05-17 16:21 | 25.6594 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.6973 | μmol/L | 18.6241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.902 | 89795.7239 | 210090.8837 | 27.3 | 43.4
7801 | 2022-05-17 16:21 | 25.9929 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.7884 | μmol/L | 18.6119 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.903 | 89842.3969 | 210091.2523 | 27.3 | 43.4
7811 | 2022-05-17 16:21 | 26.3264 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.7028 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.913 | 89822.3456 | 210091.5735 | 27.3 | 43.4
7821 | 2022-05-17 16:22 | 26.6593 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.7226 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.91 | 89890.3363 | 210090.7303 | 27.3 | 43.4
7831 | 2022-05-17 16:22 | 26.9929 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.6766 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.914 | 89867.2428 | 210096.3653 | 27.3 | 43.4
7841 | 2022-05-17 16:22 | 27.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.5854 | μmol/L | 18.6058 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.913 | 89909.6059 | 210105.2273 | 27.3 | 43.4
7851 | 2022-05-17 16:23 | 27.6593 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.6632 | μmol/L | 18.5813 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.919 | 89860.8524 | 210097.7138 | 27.3 | 43.4
7861 | 2022-05-17 16:23 | 27.993 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.454 | μmol/L | 18.5813 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.927 | 89950.5177 | 210091.429 | 27.3 | 43.4
7871 | 2022-05-17 16:23 | 28.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.0623 | μmol/L | 18.5813 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.942 | 90022.474 | 210086.427 | 27.3 | 43.4
7881 | 2022-05-17 16:24 | 28.6592 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9904 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.947 | 90038.6079 | 210094.4884 | 27.3 | 43.4
7891 | 2022-05-17 16:24 | 28.993 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.0032 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.951 | 90014.9016 | 210084.7593 | 27.3 | 43.4
7901 | 2022-05-17 16:24 | 29.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.7297 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.957 | 89996.124 | 210082.3178 | 27.3 | 43.4
7911 | 2022-05-17 16:25 | 29.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.0947 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.943 | 90018.997 | 210093.6228 | 27.3 | 43.4
7921 | 2022-05-17 16:25 | 29.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.1214 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.933 | 89961.8064 | 210090.3326 | 27.3 | 43.4
7931 | 2022-05-17 16:25 | 30.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2189 | μmol/L | 18.5813 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.936 | 89960.0884 | 210091.2729 | 27.3 | 43.4
7941 | 2022-05-17 16:26 | 30.6594 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.2578 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.939 | 90064.7404 | 210098.848 | 27.3 | 43.4
7951 | 2022-05-17 16:26 | 30.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.1336 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.946 | 90036.6491 | 210096.5757 | 27.3 | 43.4
7961 | 2022-05-17 16:26 | 31.3262 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.8733 | μmol/L | 18.5874 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.947 | 89961.5565 | 210098.0531 | 27.3 | 43.4
7971 | 2022-05-17 16:27 | 31.6597 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9649 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.939 | 89990.4742 | 210102.4767 | 27.3 | 43.4
7981 | 2022-05-17 16:27 | 31.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9973 | μmol/L | 18.5935 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.94 | 89970.7802 | 210111.8602 | 27.3 | 43.4
7991 | 2022-05-17 16:27 | 32.3262 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9388 | μmol/L | 18.5997 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.94 | 90001.7417 | 210096.1653 | 27.3 | 43.4
8001 | 2022-05-17 16:28 | 32.659 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.9382 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.949 | 90007.9386 | 210107.6349 | 27.3 | 43.4
8011 | 2022-05-17 16:28 | 32.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.7557 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.956 | 90075.1333 | 210101.9185 | 27.3 | 43.4
8021 | 2022-05-17 16:28 | 33.3258 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4432 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.968 | 90077.6265 | 210115.7051 | 27.3 | 43.4
8031 | 2022-05-17 16:29 | 33.6594 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5149 | μmol/L | 18.5813 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.963 | 90085.6051 | 210095.7029 | 27.3 | 43.4
8041 | 2022-05-17 16:29 | 33.9927 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5213 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.965 | 90124.0438 | 210100.7348 | 27.3 | 43.4
8051 | 2022-05-17 16:29 | 34.326 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4756 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.969 | 90072.6845 | 210106.7194 | 27.3 | 43.4
8061 | 2022-05-17 16:30 | 34.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5277 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.967 | 90087.244 | 210098.7131 | 27.3 | 43.4
8071 | 2022-05-17 16:30 | 34.9922 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5017 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.968 | 90088.2764 | 210102.5911 | 27.3 | 43.4
8081 | 2022-05-17 16:30 | 35.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4496 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.97 | 90078.0124 | 210103.7829 | 27.3 | 43.4
8091 | 2022-05-17 16:31 | 35.6597 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.3455 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.974 | 90077.2937 | 210096.9211 | 27.3 | 43.4
8101 | 2022-05-17 16:31 | 35.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.378 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.975 | 90122.9629 | 210088.0212 | 27.3 | 43.4
8111 | 2022-05-17 16:31 | 36.3263 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5537 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.966 | 90119.9112 | 210092.8486 | 27.3 | 43.4
8121 | 2022-05-17 16:32 | 36.659 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5017 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.968 | 90086.6406 | 210093.6236 | 27.3 | 43.4
8131 | 2022-05-17 16:32 | 36.9924 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4172 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.969 | 90075.9764 | 210086.7613 | 27.3 | 43.4
8141 | 2022-05-17 16:32 | 37.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.5277 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.967 | 90052.4912 | 210089.3399 | 27.3 | 43.4
8151 | 2022-05-17 16:33 | 37.6597 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.4821 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.971 | 90093.2181 | 210098.9151 | 27.3 | 43.4
8161 | 2022-05-17 16:33 | 37.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.2415 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.978 | 90105.821 | 210091.5867 | 27.3 | 43.4
8171 | 2022-05-17 16:33 | 38.326 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.1051 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.981 | 90116.9109 | 210097.7969 | 27.3 | 43.4
8181 | 2022-05-17 16:34 | 38.6589 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.1375 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.982 | 90117.0285 | 210092.331 | 27.3 | 43.4
8191 | 2022-05-17 16:34 | 38.9928 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.0791 | μmol/L | 18.5752 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.982 | 90170.2159 | 210086.1788 | 27.3 | 43.4
8201 | 2022-05-17 16:34 | 39.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.1959 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.982 | 90135.6264 | 210075.7044 | 27.3 | 43.4
8211 | 2022-05-17 16:35 | 39.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.9556 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.989 | 90143.2433 | 210081.3743 | 27.3 | 43.4
8221 | 2022-05-17 16:35 | 39.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.7999 | μmol/L | 18.5691 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.995 | 90171.1174 | 210082.0708 | 27.3 | 43.4
8231 | 2022-05-17 16:35 | 40.326 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.7544 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.999 | 90220.1703 | 210084.9102 | 27.3 | 43.4
8241 | 2022-05-17 16:36 | 40.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.644 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.01 | 90278.9011 | 210089.8248 | 27.3 | 43.4
8251 | 2022-05-17 16:36 | 40.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.3136 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.025 | 90334.5627 | 210089.7337 | 27.3 | 43.4
8261 | 2022-05-17 16:36 | 41.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.7251 | μmol/L | 18.5569 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.041 | 90382.6101 | 210089.9125 | 27.3 | 43.4
8271 | 2022-05-17 16:37 | 41.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.6153 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.043 | 90414.209 | 210089.8561 | 27.3 | 43.4
8281 | 2022-05-17 16:37 | 41.9922 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.7187 | μmol/L | 18.563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.039 | 90420.6835 | 210067.8292 | 27.3 | 43.4
8291 | 2022-05-17 16:37 | 42.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.919 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.038 | 90333.8095 | 210085.1556 | 27.3 | 43.4
8301 | 2022-05-17 16:38 | 42.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.5315 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.053 | 90461.3353 | 210086.33 | 27.3 | 43.4
8311 | 2022-05-17 16:38 | 42.9929 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.1188 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.069 | 90505.0449 | 210079.118 | 27.3 | 43.4
8321 | 2022-05-17 16:38 | 43.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.3213 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.1 | 90646.6149 | 210081.4373 | 27.3 | 43.4
8331 | 2022-05-17 16:39 | 43.6592 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.8148 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.122 | 90726.3271 | 210077.0004 | 27.3 | 43.4
8341 | 2022-05-17 16:39 | 43.9929 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.7504 | μmol/L | 18.5508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.12 | 90747.6901 | 210088.5418 | 27.3 | 43.4
8351 | 2022-05-17 16:39 | 44.3264 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.8786 | μmol/L | 18.5508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.115 | 90706.5233 | 210072.2451 | 27.3 | 43.4
8361 | 2022-05-17 16:40 | 44.6593 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.8851 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.117 | 90718.2462 | 210078.3634 | 27.3 | 43.4
8371 | 2022-05-17 16:40 | 44.9926 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.962 | μmol/L | 18.5447 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.114 | 90669.6366 | 210075.0928 | 27.3 | 43.4
8381 | 2022-05-17 16:40 | 45.3261 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.7248 | μmol/L | 18.5508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.121 | 90700.1008 | 210065.5072 | 27.3 | 43.4
8391 | 2022-05-17 16:41 | 45.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.0712 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.112 | 90706.0608 | 210080.7229 | 27.3 | 43.4
8401 | 2022-05-17 16:41 | 45.9925 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.0325 | μmol/L | 18.5508 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.109 | 90648.3893 | 210064.1394 | 27.3 | 43.4
8411 | 2022-05-17 16:41 | 46.3259 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.2765 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.104 | 90645.9423 | 210057.3608 | 27.3 | 43.4
8421 | 2022-05-17 16:42 | 46.6596 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.2508 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.105 | 90613.0396 | 210062.7473 | 27.3 | 43.4
8431 | 2022-05-17 16:42 | 46.9923 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.2508 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.105 | 90687.0514 | 210054.9658 | 27.3 | 43.4
8441 | 2022-05-17 16:42 | 47.3257 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.1225 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.11 | 90690.8431 | 210057.6952 | 27.3 | 43.4
8451 | 2022-05-17 16:43 | 47.6592 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.8404 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.121 | 90680.5782 | 210058.0481 | 27.3 | 43.4
8461 | 2022-05-17 16:43 | 47.993 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.6932 | μmol/L | 18.5325 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.129 | 90721.4429 | 210046.4941 | 27.3 | 43.4
8471 | 2022-05-17 16:43 | 48.3264 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.6867 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.127 | 90723.0395 | 210055.756 | 27.3 | 43.4
8481 | 2022-05-17 16:44 | 48.6595 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.533 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.133 | 90787.5033 | 210046.1951 | 27.3 | 43.4
8491 | 2022-05-17 16:44 | 48.9924 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.2005 | μmol/L | 18.5386 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.146 | 90799.788 | 210058.6336 | 27.3 | 43.4
8501 | 2022-05-17 16:44 | 49.3258 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.1048 | μmol/L | 18.5325 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.152 | 90808.8836 | 210050.6949 | 27.3 | 43.4
8511 | 2022-05-17 16:45 | 49.6594 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.856 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.164 | 90887.6203 | 210055.5805 | 27.3 | 43.4
8521 | 2022-05-17 16:45 | 49.9927 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.4735 | μmol/L | 18.5263 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.179 | 90945.8496 | 210050.316 | 27.3 | 43.4