## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 133165130 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:41

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2076 | 2022-05-18 11:34 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.4483 | μmol/L | 18.3212 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.149 | 122050.2573 | 272502.9848 | 33.25 | 75.7
2082 | 2022-05-18 11:35 | 0.32899 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.3694 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.15 | 122129.1005 | 272500.8004 | 33.25 | 75.7
2092 | 2022-05-18 11:35 | 0.66246 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.4729 | μmol/L | 18.3212 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.148 | 122184.2818 | 272501.2806 | 33.25 | 75.7
2102 | 2022-05-18 11:35 | 0.99518 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.3449 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.151 | 122103.8266 | 272501.416 | 33.25 | 75.7
2112 | 2022-05-18 11:36 | 1.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.3151 | μmol/L | 18.3335 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.15 | 122161.1745 | 272479.578 | 33.25 | 75.7
2122 | 2022-05-18 11:36 | 1.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.0697 | μmol/L | 18.3335 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.16 | 122213.3682 | 272470.5633 | 33.25 | 75.7
2132 | 2022-05-18 11:36 | 1.9956 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.124 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.16 | 122264.3836 | 272483.7276 | 33.25 | 75.7
2142 | 2022-05-18 11:37 | 2.3285 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.0504 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.163 | 122294.0362 | 272455.083 | 33.25 | 75.7
2152 | 2022-05-18 11:37 | 2.662 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9278 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.168 | 122327.1734 | 272449.3648 | 33.25 | 75.7
2162 | 2022-05-18 11:37 | 2.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9575 | μmol/L | 18.3212 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.169 | 122360.9556 | 272432.7018 | 33.25 | 75.7
2172 | 2022-05-18 11:38 | 3.3292 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8595 | μmol/L | 18.3212 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.173 | 122367.6816 | 272428.0609 | 33.25 | 75.7
2182 | 2022-05-18 11:38 | 3.6618 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.0608 | μmol/L | 18.3151 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.167 | 122379.5469 | 272421.3428 | 33.25 | 75.7
2192 | 2022-05-18 11:38 | 3.9954 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8454 | μmol/L | 18.309 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.178 | 122403.4647 | 272406.6286 | 33.25 | 75.7
2202 | 2022-05-18 11:39 | 4.3289 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9977 | μmol/L | 18.3028 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.174 | 122423.1869 | 272397.8915 | 33.25 | 75.7
2212 | 2022-05-18 11:39 | 4.6619 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9732 | μmol/L | 18.3028 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.175 | 122425.5683 | 272385.3175 | 33.25 | 75.7
2222 | 2022-05-18 11:39 | 4.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9784 | μmol/L | 18.2967 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.177 | 122450.4694 | 272372.855 | 33.25 | 75.7
2232 | 2022-05-18 11:40 | 5.3292 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.0327 | μmol/L | 18.2906 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.177 | 122461.6718 | 272370.5418 | 33.25 | 75.7
2242 | 2022-05-18 11:40 | 5.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9049 | μmol/L | 18.2967 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.18 | 122472.452 | 272351.834 | 33.25 | 75.7
2252 | 2022-05-18 11:40 | 5.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9644 | μmol/L | 18.2845 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.182 | 122481.5145 | 272341.0448 | 33.25 | 75.7
2262 | 2022-05-18 11:41 | 6.3292 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9941 | μmol/L | 18.2783 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.183 | 122481.8642 | 272332.5198 | 33.25 | 75.7
2272 | 2022-05-18 11:41 | 6.6619 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9749 | μmol/L | 18.2722 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.186 | 122493.2015 | 272328.1968 | 33.25 | 75.7
2282 | 2022-05-18 11:41 | 6.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.0047 | μmol/L | 18.2661 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.187 | 122512.9168 | 272312.2885 | 33.25 | 75.7
2292 | 2022-05-18 11:42 | 7.329 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9067 | μmol/L | 18.2661 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.191 | 122515.0611 | 272312.6327 | 33.25 | 75.7
2302 | 2022-05-18 11:42 | 7.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9312 | μmol/L | 18.2661 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.19 | 122524.4263 | 272301.9223 | 33.25 | 75.7
2312 | 2022-05-18 11:42 | 7.9953 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9609 | μmol/L | 18.2599 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.191 | 122538.8585 | 272307.4256 | 33.25 | 75.7
2322 | 2022-05-18 11:43 | 8.3288 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9907 | μmol/L | 18.2538 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.192 | 122547.3083 | 272290.5193 | 33.25 | 75.7
2332 | 2022-05-18 11:43 | 8.6625 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9172 | μmol/L | 18.2538 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.195 | 122557.517 | 272291.028 | 33.25 | 75.7
2342 | 2022-05-18 11:43 | 8.9954 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 285.0258 | μmol/L | 18.2415 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.195 | 122562.5887 | 272291.2265 | 33.25 | 75.7
2352 | 2022-05-18 11:44 | 9.3292 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9576 | μmol/L | 18.2354 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.2 | 122570.8287 | 272273.8881 | 33.25 | 75.7
2362 | 2022-05-18 11:44 | 9.662 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9086 | μmol/L | 18.2354 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.202 | 122582.5888 | 272267.8613 | 33.25 | 75.7
2372 | 2022-05-18 11:44 | 9.9956 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9523 | μmol/L | 18.2415 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.198 | 122598.264 | 272268.3109 | 33.25 | 75.7
2382 | 2022-05-18 11:45 | 10.3286 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8895 | μmol/L | 18.2293 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.205 | 122602.0064 | 272262.4282 | 33.25 | 75.7
2392 | 2022-05-18 11:45 | 10.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9385 | μmol/L | 18.2293 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.203 | 122614.0057 | 272252.0531 | 33.25 | 75.7
2402 | 2022-05-18 11:45 | 10.9954 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8948 | μmol/L | 18.2231 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.207 | 122625.0521 | 272244.8668 | 33.25 | 75.7
2412 | 2022-05-18 11:46 | 11.3284 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9928 | μmol/L | 18.2231 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.203 | 122631.1076 | 272239.912 | 33.25 | 75.7
2422 | 2022-05-18 11:46 | 11.6622 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9491 | μmol/L | 18.217 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.207 | 122646.5333 | 272246.2575 | 33.25 | 75.7
2432 | 2022-05-18 11:46 | 11.9952 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9055 | μmol/L | 18.2109 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.211 | 122645.5615 | 272229.1047 | 33.25 | 75.7
2442 | 2022-05-18 11:47 | 12.3291 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.93 | μmol/L | 18.2109 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.21 | 122647.609 | 272208.0652 | 33.25 | 75.7
2452 | 2022-05-18 11:47 | 12.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8129 | μmol/L | 18.2047 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.217 | 122654.9566 | 272214.9046 | 33.25 | 75.7
2462 | 2022-05-18 11:47 | 12.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8863 | μmol/L | 18.2047 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.214 | 122662.086 | 272207.4377 | 33.25 | 75.7
2472 | 2022-05-18 11:48 | 13.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9162 | μmol/L | 18.1986 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.215 | 122666.6988 | 272199.3362 | 33.25 | 75.7
2482 | 2022-05-18 11:48 | 13.6619 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.897 | μmol/L | 18.1925 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.218 | 122674.4076 | 272178.566 | 33.25 | 75.7
2492 | 2022-05-18 11:48 | 13.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8726 | μmol/L | 18.1925 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.219 | 122685.3193 | 272177.5803 | 33.25 | 75.7
2502 | 2022-05-18 11:49 | 14.3292 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8535 | μmol/L | 18.1863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.222 | 122682.0504 | 272173.2664 | 33.25 | 75.7
2512 | 2022-05-18 11:49 | 14.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7502 | μmol/L | 18.1925 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.224 | 122693.9428 | 272165.8784 | 33.25 | 75.7
2522 | 2022-05-18 11:49 | 14.9951 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8833 | μmol/L | 18.1802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.223 | 122690.7414 | 272168.4457 | 33.25 | 75.7
2532 | 2022-05-18 11:50 | 15.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8344 | μmol/L | 18.1802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.225 | 122697.2264 | 272150.3411 | 33.25 | 75.7
2542 | 2022-05-18 11:50 | 15.6619 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8099 | μmol/L | 18.1802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.226 | 122709.0257 | 272148.4578 | 33.25 | 75.7
2552 | 2022-05-18 11:50 | 15.9958 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8207 | μmol/L | 18.1679 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.23 | 122714.0454 | 272155.1189 | 33.25 | 75.7
2562 | 2022-05-18 11:51 | 16.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8451 | μmol/L | 18.1679 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.229 | 122723.7569 | 272135.6552 | 33.25 | 75.7
2572 | 2022-05-18 11:51 | 16.6623 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9484 | μmol/L | 18.1618 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.227 | 122735.444 | 272136.2868 | 33.25 | 75.7
2582 | 2022-05-18 11:51 | 16.9951 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8261 | μmol/L | 18.1618 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.232 | 122730.2892 | 272130.9996 | 33.25 | 75.7
2592 | 2022-05-18 11:52 | 17.3288 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8016 | μmol/L | 18.1618 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.233 | 122743.218 | 272126.2668 | 33.25 | 75.7
2602 | 2022-05-18 11:52 | 17.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9049 | μmol/L | 18.1557 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.231 | 122732.211 | 272112.3988 | 33.25 | 75.7
2612 | 2022-05-18 11:52 | 17.9954 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8369 | μmol/L | 18.1496 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.236 | 122745.6701 | 272110.5352 | 33.25 | 75.7
2622 | 2022-05-18 11:53 | 18.3291 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8369 | μmol/L | 18.1496 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.236 | 122748.9223 | 272098.3757 | 33.25 | 75.7
2632 | 2022-05-18 11:53 | 18.662 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8369 | μmol/L | 18.1496 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.236 | 122759.3119 | 272098.5811 | 33.25 | 75.7
2642 | 2022-05-18 11:53 | 18.9958 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8668 | μmol/L | 18.1434 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.237 | 122760.4818 | 272095.5208 | 33.25 | 75.7
2652 | 2022-05-18 11:54 | 19.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8722 | μmol/L | 18.1373 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.239 | 122769.7051 | 272106.0764 | 33.25 | 75.7
2662 | 2022-05-18 11:54 | 19.6618 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.701 | μmol/L | 18.1373 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.246 | 122773.2569 | 272098.8684 | 33.25 | 75.7
2672 | 2022-05-18 11:54 | 19.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.9021 | μmol/L | 18.1312 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.24 | 122774.813 | 272085.6091 | 33.25 | 75.7
2682 | 2022-05-18 11:55 | 20.3285 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8287 | μmol/L | 18.1312 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.243 | 122789.85 | 272094.704 | 33.25 | 75.7
2692 | 2022-05-18 11:55 | 20.6625 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7255 | μmol/L | 18.1373 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.245 | 122798.0988 | 272098.5925 | 33.25 | 75.7
2702 | 2022-05-18 11:55 | 20.9958 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6576 | μmol/L | 18.1312 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.25 | 122799.624 | 272102.6009 | 33.25 | 75.7
2712 | 2022-05-18 11:56 | 21.3288 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.682 | μmol/L | 18.1312 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.249 | 122812.7196 | 272088.0685 | 33.25 | 75.7
2722 | 2022-05-18 11:56 | 21.6625 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7907 | μmol/L | 18.1189 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.249 | 122816.0658 | 272098.0724 | 33.25 | 75.7
2732 | 2022-05-18 11:56 | 21.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7418 | μmol/L | 18.1189 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.251 | 122833.8731 | 272097.5434 | 33.25 | 75.7
2742 | 2022-05-18 11:57 | 22.3288 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7962 | μmol/L | 18.1128 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.251 | 122837.5168 | 272090.1823 | 33.25 | 75.7
2752 | 2022-05-18 11:57 | 22.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8451 | μmol/L | 18.1128 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.249 | 122851.1887 | 272086.6945 | 33.25 | 75.7
2762 | 2022-05-18 11:57 | 22.9953 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8316 | μmol/L | 18.1005 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.254 | 122847.8954 | 272075.7054 | 33.25 | 75.7
2772 | 2022-05-18 11:58 | 23.3286 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7283 | μmol/L | 18.1066 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.256 | 122849.8566 | 272080.285 | 33.25 | 75.7
2782 | 2022-05-18 11:58 | 23.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7827 | μmol/L | 18.1005 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.256 | 122857.8514 | 272089.0705 | 33.25 | 75.7
2792 | 2022-05-18 11:58 | 23.9958 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7881 | μmol/L | 18.0944 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.258 | 122863.6833 | 272075.5896 | 33.25 | 75.7
2802 | 2022-05-18 11:59 | 24.3291 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7582 | μmol/L | 18.1005 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.257 | 122863.6543 | 272066.6802 | 33.25 | 75.7
2812 | 2022-05-18 11:59 | 24.6623 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7093 | μmol/L | 18.1005 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.259 | 122859.0596 | 272062.0028 | 33.25 | 75.7
2822 | 2022-05-18 11:59 | 24.9953 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6904 | μmol/L | 18.0944 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.262 | 122873.8989 | 272069.291 | 33.25 | 75.7
2832 | 2022-05-18 12:00 | 25.3289 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7881 | μmol/L | 18.0944 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.258 | 122876.4912 | 272056.9378 | 33.25 | 75.7
2842 | 2022-05-18 12:00 | 25.6619 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8725 | μmol/L | 18.0821 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.259 | 122882.97 | 272066.2501 | 33.25 | 75.7
2852 | 2022-05-18 12:00 | 25.9951 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7203 | μmol/L | 18.0882 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.263 | 122883.6021 | 272060.4466 | 33.25 | 75.7
2862 | 2022-05-18 12:01 | 26.3289 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7203 | μmol/L | 18.0882 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.263 | 122894.777 | 272071.3252 | 33.25 | 75.7
2872 | 2022-05-18 12:01 | 26.6619 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7747 | μmol/L | 18.0821 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.263 | 122900.9496 | 272055.8221 | 33.25 | 75.7
2882 | 2022-05-18 12:01 | 26.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7313 | μmol/L | 18.076 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.267 | 122906.5465 | 272060.7465 | 33.25 | 75.7
2892 | 2022-05-18 12:02 | 27.3286 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8291 | μmol/L | 18.076 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.263 | 122908.7863 | 272063.8149 | 33.25 | 75.7
2902 | 2022-05-18 12:02 | 27.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7124 | μmol/L | 18.0698 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.27 | 122911.038 | 272054.7145 | 33.25 | 75.7
2912 | 2022-05-18 12:02 | 27.9958 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7124 | μmol/L | 18.0698 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.27 | 122927.7479 | 272057.5211 | 33.25 | 75.7
2922 | 2022-05-18 12:03 | 28.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7179 | μmol/L | 18.0637 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.272 | 122931.7831 | 272056.1025 | 33.25 | 75.7
2932 | 2022-05-18 12:03 | 28.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6635 | μmol/L | 18.0698 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.272 | 122938.3027 | 272071.2617 | 33.25 | 75.7
2942 | 2022-05-18 12:03 | 28.9952 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.669 | μmol/L | 18.0637 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.274 | 122938.2458 | 272066.5339 | 33.25 | 75.7
2952 | 2022-05-18 12:04 | 29.329 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7479 | μmol/L | 18.0576 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.273 | 122949.0058 | 272065.8721 | 33.25 | 75.7
2962 | 2022-05-18 12:04 | 29.6617 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7234 | μmol/L | 18.0576 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.274 | 122953.5268 | 272078.319 | 33.25 | 75.7
2972 | 2022-05-18 12:04 | 29.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.8078 | μmol/L | 18.0453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.275 | 122954.2647 | 272060.234 | 33.25 | 75.7
2982 | 2022-05-18 12:05 | 30.3285 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.699 | μmol/L | 18.0576 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.275 | 122967.0391 | 272055.4826 | 33.25 | 75.7
2992 | 2022-05-18 12:05 | 30.6617 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6746 | μmol/L | 18.0576 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.276 | 122976.3911 | 272075.6171 | 33.25 | 75.7
3002 | 2022-05-18 12:05 | 30.9953 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7345 | μmol/L | 18.0453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.278 | 122981.3936 | 272085.2114 | 33.25 | 75.7
3012 | 2022-05-18 12:06 | 31.3291 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6124 | μmol/L | 18.0453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.283 | 122996.1854 | 272089.7316 | 33.25 | 75.7
3022 | 2022-05-18 12:06 | 31.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7101 | μmol/L | 18.0453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.279 | 122997.7537 | 272092.5051 | 33.25 | 75.7
3032 | 2022-05-18 12:06 | 31.9953 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.588 | μmol/L | 18.0453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.284 | 123004.9776 | 272087.9118 | 33.25 | 75.7
3042 | 2022-05-18 12:07 | 32.3291 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6368 | μmol/L | 18.0453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.282 | 123012.0117 | 272092.6487 | 33.25 | 75.7
3052 | 2022-05-18 12:07 | 32.6618 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6424 | μmol/L | 18.0392 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.284 | 123020.3667 | 272099.9821 | 33.25 | 75.7
3062 | 2022-05-18 12:07 | 32.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6968 | μmol/L | 18.0331 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.284 | 123026.968 | 272091.5719 | 33.25 | 75.7
3072 | 2022-05-18 12:08 | 33.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6723 | μmol/L | 18.0331 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.285 | 123030.8583 | 272089.6716 | 33.25 | 75.7
3082 | 2022-05-18 12:08 | 33.6622 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6535 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.288 | 123048.2496 | 272112.581 | 33.25 | 75.7
3092 | 2022-05-18 12:08 | 33.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7568 | μmol/L | 18.0208 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.286 | 123043.7356 | 272127.8976 | 33.25 | 75.7
3102 | 2022-05-18 12:09 | 34.3286 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6047 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.29 | 123054.2926 | 272130.1429 | 33.25 | 75.7
3112 | 2022-05-18 12:09 | 34.6622 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6535 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.288 | 123075.701 | 272123.4553 | 33.25 | 75.7
3122 | 2022-05-18 12:09 | 34.9951 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.5503 | μmol/L | 18.0331 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.29 | 123079.4255 | 272130.6398 | 33.25 | 75.7
3132 | 2022-05-18 12:10 | 35.3288 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7323 | μmol/L | 18.0208 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.287 | 123090.0268 | 272125.5788 | 33.25 | 75.7
3142 | 2022-05-18 12:10 | 35.6618 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.5858 | μmol/L | 18.0208 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.293 | 123092.8345 | 272128.6713 | 33.25 | 75.7
3152 | 2022-05-18 12:10 | 35.9956 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7623 | μmol/L | 18.0147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.288 | 123104.8061 | 272122.0416 | 33.25 | 75.7
3162 | 2022-05-18 12:11 | 36.3292 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6402 | μmol/L | 18.0147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.293 | 123103.8506 | 272123.7919 | 33.25 | 75.7
3172 | 2022-05-18 12:11 | 36.6621 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7191 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.292 | 123123.0206 | 272134.7874 | 33.25 | 75.7
3182 | 2022-05-18 12:11 | 36.9954 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.5482 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.299 | 123124.0212 | 272124.9967 | 33.25 | 75.7
3192 | 2022-05-18 12:12 | 37.329 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6647 | μmol/L | 18.0147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.292 | 123137.0784 | 272145.4136 | 33.25 | 75.7
3202 | 2022-05-18 12:12 | 37.6622 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6214 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.296 | 123136.8751 | 272137.8978 | 33.25 | 75.7
3212 | 2022-05-18 12:12 | 37.9952 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6702 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.294 | 123139.5781 | 272145.212 | 33.25 | 75.7
3222 | 2022-05-18 12:13 | 38.329 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7303 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.296 | 123148.0204 | 272143.4829 | 33.25 | 75.7
3232 | 2022-05-18 12:13 | 38.662 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.627 | μmol/L | 18.0024 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.298 | 123148.763 | 272130.7859 | 33.25 | 75.7
3242 | 2022-05-18 12:13 | 38.9957 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7547 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.295 | 123149.0008 | 272124.5987 | 33.25 | 75.7
3252 | 2022-05-18 12:14 | 39.3287 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6326 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.3 | 123162.8598 | 272128.6036 | 33.25 | 75.7
3262 | 2022-05-18 12:14 | 39.6617 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6814 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.298 | 123153.7651 | 272129.6012 | 33.25 | 75.7
3272 | 2022-05-18 12:14 | 39.9956 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7359 | μmol/L | 17.9901 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.298 | 123162.9929 | 272124.8276 | 33.25 | 75.7
3282 | 2022-05-18 12:15 | 40.3285 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6927 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.302 | 123165.3413 | 272120.7089 | 33.25 | 75.7
3292 | 2022-05-18 12:15 | 40.6623 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.565 | μmol/L | 17.9901 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.305 | 123166.7586 | 272115.2496 | 33.25 | 75.7
3302 | 2022-05-18 12:15 | 40.9952 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6683 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.303 | 123178.2753 | 272122.7472 | 33.25 | 75.7
3312 | 2022-05-18 12:16 | 41.3285 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6683 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.303 | 123179.7228 | 272123.4815 | 33.25 | 75.7
3322 | 2022-05-18 12:16 | 41.6617 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6927 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.302 | 123186.1656 | 272119.083 | 33.25 | 75.7
3332 | 2022-05-18 12:16 | 41.9955 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7716 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.301 | 123185.4896 | 272126.75 | 33.25 | 75.7
3342 | 2022-05-18 12:17 | 42.3286 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6251 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.307 | 123195.0039 | 272124.7107 | 33.25 | 75.7
3352 | 2022-05-18 12:17 | 42.6624 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7227 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.303 | 123189.2552 | 272111.0382 | 33.25 | 75.7
3362 | 2022-05-18 12:17 | 42.9956 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6983 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.304 | 123183.2699 | 272116.2173 | 33.25 | 75.7
3372 | 2022-05-18 12:18 | 43.3286 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7528 | μmol/L | 17.9717 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.304 | 123194.6425 | 272115.4832 | 33.25 | 75.7
3382 | 2022-05-18 12:18 | 43.6625 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6307 | μmol/L | 17.9717 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.309 | 123194.5752 | 272111.9395 | 33.25 | 75.7
3392 | 2022-05-18 12:18 | 43.9958 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.6795 | μmol/L | 17.9717 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.307 | 123202.9231 | 272112.9218 | 33.25 | 75.7
3402 | 2022-05-18 12:19 | 44.3288 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 284.7885 | μmol/L | 17.9595 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.307 | 123210.0478 | 272112.8656 | 33.25 | 75.7