## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 29438495 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:49

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2084 | 2022-05-18 11:35 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 275.5218 | μmol/L | 18.4086 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.425 | 169341.6056 | 305845.263 | 33.25 | 68.6
2095 | 2022-05-18 11:35 | 0.33752 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 275.3459 | μmol/L | 18.4025 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.435 | 169129.8779 | 305850.501 | 33.25 | 68.6
2105 | 2022-05-18 11:35 | 0.67053 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 275.048 | μmol/L | 18.4025 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.448 | 169147.5491 | 305842.2205 | 33.25 | 68.6
2115 | 2022-05-18 11:36 | 1.004 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.9869 | μmol/L | 18.3965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.453 | 169138.4794 | 305834.0095 | 33.25 | 68.6
2124 | 2022-05-18 11:36 | 1.3368 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.8496 | μmol/L | 18.3965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.459 | 169092.5368 | 305815.5418 | 33.25 | 68.6
2134 | 2022-05-18 11:36 | 1.6703 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.7353 | μmol/L | 18.3965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.464 | 169056.7338 | 305818.6236 | 33.25 | 68.6
2144 | 2022-05-18 11:37 | 2.0038 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.5221 | μmol/L | 18.4025 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.471 | 169025.0624 | 305796.8629 | 33.25 | 68.6
2155 | 2022-05-18 11:37 | 2.3375 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.5144 | μmol/L | 18.3904 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.476 | 169007.79 | 305788.403 | 33.25 | 68.6
2164 | 2022-05-18 11:37 | 2.6701 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.347 | μmol/L | 18.3965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.481 | 168943.849 | 305770.6404 | 33.25 | 68.6
2174 | 2022-05-18 11:38 | 3.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.3146 | μmol/L | 18.3904 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.485 | 168905.8748 | 305770.6321 | 33.25 | 68.6
2184 | 2022-05-18 11:38 | 3.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.2708 | μmol/L | 18.3843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.489 | 168885.632 | 305742.5461 | 33.25 | 68.6
2194 | 2022-05-18 11:38 | 3.6707 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.2024 | μmol/L | 18.3843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.492 | 168834.6773 | 305731.1216 | 33.25 | 68.6
2205 | 2022-05-18 11:39 | 4.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.1188 | μmol/L | 18.3782 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.498 | 168808.4038 | 305726.627 | 33.25 | 68.6
2214 | 2022-05-18 11:39 | 4.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0732 | μmol/L | 18.3782 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.5 | 168787.7162 | 305723.3927 | 33.25 | 68.6
2224 | 2022-05-18 11:39 | 4.6704 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.058 | μmol/L | 18.3721 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.503 | 168763.2209 | 305715.8804 | 33.25 | 68.6
2234 | 2022-05-18 11:40 | 5.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0124 | μmol/L | 18.3721 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.505 | 168740.421 | 305709.8162 | 33.25 | 68.6
2245 | 2022-05-18 11:40 | 5.3369 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0504 | μmol/L | 18.36 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.508 | 168713.0247 | 305698.1253 | 33.25 | 68.6
2255 | 2022-05-18 11:40 | 5.6707 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9061 | μmol/L | 18.366 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.512 | 168701.7493 | 305686.0004 | 33.25 | 68.6
2264 | 2022-05-18 11:41 | 6.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.929 | μmol/L | 18.3478 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.518 | 168676.0139 | 305663.9487 | 33.25 | 68.6
2274 | 2022-05-18 11:41 | 6.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9745 | μmol/L | 18.3478 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.516 | 168667.7153 | 305652.4143 | 33.25 | 68.6
2284 | 2022-05-18 11:41 | 6.6706 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9517 | μmol/L | 18.3478 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.517 | 168668.0075 | 305648.305 | 33.25 | 68.6
2294 | 2022-05-18 11:42 | 7.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9138 | μmol/L | 18.3417 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.521 | 168660.0839 | 305646.9877 | 33.25 | 68.6
2305 | 2022-05-18 11:42 | 7.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9215 | μmol/L | 18.3356 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.523 | 168648.3966 | 305632.8803 | 33.25 | 68.6
2314 | 2022-05-18 11:42 | 7.6706 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8532 | μmol/L | 18.3356 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.526 | 168663.4346 | 305639.8308 | 33.25 | 68.6
2325 | 2022-05-18 11:43 | 8.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.914 | μmol/L | 18.3235 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.528 | 168653.8602 | 305625.2085 | 33.25 | 68.6
2334 | 2022-05-18 11:43 | 8.3371 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8229 | μmol/L | 18.3235 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.532 | 168662.9504 | 305627.3527 | 33.25 | 68.6
2344 | 2022-05-18 11:43 | 8.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8761 | μmol/L | 18.3174 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.532 | 168651.344 | 305620.4874 | 33.25 | 68.6
2354 | 2022-05-18 11:44 | 9.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8382 | μmol/L | 18.3113 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.536 | 168642.8594 | 305610.6379 | 33.25 | 68.6
2365 | 2022-05-18 11:44 | 9.3371 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8382 | μmol/L | 18.3113 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.536 | 168641.5244 | 305593.7912 | 33.25 | 68.6
2374 | 2022-05-18 11:44 | 9.6708 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.77 | μmol/L | 18.3113 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.539 | 168640.7546 | 305591.624 | 33.25 | 68.6
2385 | 2022-05-18 11:45 | 10.0039 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8081 | μmol/L | 18.2991 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.542 | 168642.4748 | 305557.7896 | 33.25 | 68.6
2395 | 2022-05-18 11:45 | 10.3376 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7853 | μmol/L | 18.2991 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.543 | 168645.6207 | 305569.3583 | 33.25 | 68.6
2404 | 2022-05-18 11:45 | 10.6704 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7703 | μmol/L | 18.293 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.546 | 168646.8911 | 305560.996 | 33.25 | 68.6
2415 | 2022-05-18 11:46 | 11.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.793 | μmol/L | 18.293 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.545 | 168634.7208 | 305553.9579 | 33.25 | 68.6
2425 | 2022-05-18 11:46 | 11.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7248 | μmol/L | 18.293 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.548 | 168632.1825 | 305541.637 | 33.25 | 68.6
2435 | 2022-05-18 11:46 | 11.6708 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8616 | μmol/L | 18.2748 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.549 | 168616.6057 | 305544.8471 | 33.25 | 68.6
2445 | 2022-05-18 11:47 | 12.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7174 | μmol/L | 18.2809 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.553 | 168606.7252 | 305522.7704 | 33.25 | 68.6
2455 | 2022-05-18 11:47 | 12.3376 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7024 | μmol/L | 18.2748 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.556 | 168540.0305 | 305525.0227 | 33.25 | 68.6
2465 | 2022-05-18 11:47 | 12.6705 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7251 | μmol/L | 18.2748 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.555 | 168511.9993 | 305504.7045 | 33.25 | 68.6
2474 | 2022-05-18 11:48 | 13.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7328 | μmol/L | 18.2687 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.557 | 168488.3082 | 305501.8845 | 33.25 | 68.6
2485 | 2022-05-18 11:48 | 13.3374 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7178 | μmol/L | 18.2626 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.56 | 168467.459 | 305480.8232 | 33.25 | 68.6
2494 | 2022-05-18 11:48 | 13.6702 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6723 | μmol/L | 18.2626 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.562 | 168444.9569 | 305480.9909 | 33.25 | 68.6
2504 | 2022-05-18 11:49 | 14.004 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7028 | μmol/L | 18.2565 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.563 | 168431.8277 | 305471.8903 | 33.25 | 68.6
2514 | 2022-05-18 11:49 | 14.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7105 | μmol/L | 18.2504 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.565 | 168433.1492 | 305465.8068 | 33.25 | 68.6
2525 | 2022-05-18 11:49 | 14.6703 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7333 | μmol/L | 18.2504 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.564 | 168415.0734 | 305460.1991 | 33.25 | 68.6
2534 | 2022-05-18 11:50 | 15.0036 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6196 | μmol/L | 18.2504 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.569 | 168369.49 | 305465.0943 | 33.25 | 68.6
2545 | 2022-05-18 11:50 | 15.3376 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6501 | μmol/L | 18.2444 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.57 | 168339.7876 | 305447.1254 | 33.25 | 68.6
2554 | 2022-05-18 11:50 | 15.6706 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8247 | μmol/L | 18.2322 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.567 | 168327.9947 | 305435.0947 | 33.25 | 68.6
2565 | 2022-05-18 11:51 | 16.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6351 | μmol/L | 18.2383 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.573 | 168275.9855 | 305430.2961 | 33.25 | 68.6
2575 | 2022-05-18 11:51 | 16.3373 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5896 | μmol/L | 18.2383 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.575 | 168244.7781 | 305425.2923 | 33.25 | 68.6
2584 | 2022-05-18 11:51 | 16.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6733 | μmol/L | 18.2261 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.576 | 168231.5649 | 305424.4699 | 33.25 | 68.6
2594 | 2022-05-18 11:52 | 17.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7493 | μmol/L | 18.22 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.575 | 168209.2351 | 305400.2172 | 33.25 | 68.6
2604 | 2022-05-18 11:52 | 17.3374 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5824 | μmol/L | 18.2261 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.58 | 168216.6359 | 305406.806 | 33.25 | 68.6
2615 | 2022-05-18 11:52 | 17.6705 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6356 | μmol/L | 18.22 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.58 | 168134.197 | 305407.9258 | 33.25 | 68.6
2625 | 2022-05-18 11:53 | 18.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6661 | μmol/L | 18.2139 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.581 | 168095.5673 | 305389.9435 | 33.25 | 68.6
2635 | 2022-05-18 11:53 | 18.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.598 | μmol/L | 18.2139 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.584 | 168076.1459 | 305375.0853 | 33.25 | 68.6
2645 | 2022-05-18 11:53 | 18.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.598 | μmol/L | 18.2139 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.584 | 168035.438 | 305376.6905 | 33.25 | 68.6
2654 | 2022-05-18 11:54 | 19.0039 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6434 | μmol/L | 18.2139 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.582 | 168024.0087 | 305371.3941 | 33.25 | 68.6
2665 | 2022-05-18 11:54 | 19.3375 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.659 | μmol/L | 18.2018 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.586 | 168068.6268 | 305360.4256 | 33.25 | 68.6
2674 | 2022-05-18 11:54 | 19.6706 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6668 | μmol/L | 18.1957 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.588 | 168144.0194 | 305371.8044 | 33.25 | 68.6
2684 | 2022-05-18 11:55 | 20.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5681 | μmol/L | 18.2018 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168136.612 | 305368.4577 | 33.25 | 68.6
2694 | 2022-05-18 11:55 | 20.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6064 | μmol/L | 18.1896 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.593 | 168105.8771 | 305352.5602 | 33.25 | 68.6
2704 | 2022-05-18 11:55 | 20.6704 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5383 | μmol/L | 18.1896 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.596 | 168044.8513 | 305364.5914 | 33.25 | 68.6
2714 | 2022-05-18 11:56 | 21.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6369 | μmol/L | 18.1835 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.594 | 168033.6766 | 305349.5137 | 33.25 | 68.6
2724 | 2022-05-18 11:56 | 21.3371 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5234 | μmol/L | 18.1835 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.599 | 167937.8725 | 305362.592 | 33.25 | 68.6
2734 | 2022-05-18 11:56 | 21.6701 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5007 | μmol/L | 18.1835 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.6 | 167870.0673 | 305344.8729 | 33.25 | 68.6
2744 | 2022-05-18 11:57 | 22.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5085 | μmol/L | 18.1774 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.602 | 167855.5994 | 305351.9934 | 33.25 | 68.6
2755 | 2022-05-18 11:57 | 22.3376 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6071 | μmol/L | 18.1714 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.6 | 167858.6399 | 305341.1019 | 33.25 | 68.6
2765 | 2022-05-18 11:57 | 22.6707 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5163 | μmol/L | 18.1714 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.604 | 167830.8718 | 305327.6397 | 33.25 | 68.6
2775 | 2022-05-18 11:58 | 23.0038 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.539 | μmol/L | 18.1714 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.603 | 167814.7311 | 305334.2935 | 33.25 | 68.6
2784 | 2022-05-18 11:58 | 23.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5241 | μmol/L | 18.1653 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.606 | 167796.779 | 305325.2898 | 33.25 | 68.6
2795 | 2022-05-18 11:58 | 23.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5241 | μmol/L | 18.1653 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.606 | 167777.2167 | 305304.3441 | 33.25 | 68.6
2804 | 2022-05-18 11:59 | 24.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4787 | μmol/L | 18.1653 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.608 | 167762.7086 | 305315.1352 | 33.25 | 68.6
2815 | 2022-05-18 11:59 | 24.3376 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5319 | μmol/L | 18.1592 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.608 | 167737.9443 | 305309.7026 | 33.25 | 68.6
2824 | 2022-05-18 11:59 | 24.6706 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4639 | μmol/L | 18.1592 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.611 | 167710.25 | 305295.5648 | 33.25 | 68.6
2835 | 2022-05-18 12:00 | 25.0036 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4944 | μmol/L | 18.1531 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.612 | 167675.1948 | 305304.6154 | 33.25 | 68.6
2844 | 2022-05-18 12:00 | 25.3373 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4717 | μmol/L | 18.1531 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.613 | 167671.2377 | 305295.6507 | 33.25 | 68.6
2855 | 2022-05-18 12:00 | 25.6703 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5022 | μmol/L | 18.147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.614 | 167647.702 | 305282.8039 | 33.25 | 68.6
2864 | 2022-05-18 12:01 | 26.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4795 | μmol/L | 18.147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.615 | 167625.9631 | 305301.7999 | 33.25 | 68.6
2875 | 2022-05-18 12:01 | 26.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4342 | μmol/L | 18.147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.617 | 167597.7137 | 305278.388 | 33.25 | 68.6
2885 | 2022-05-18 12:01 | 26.6708 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4647 | μmol/L | 18.1409 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.618 | 167628.2305 | 305280.9289 | 33.25 | 68.6
2895 | 2022-05-18 12:02 | 27.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3944 | μmol/L | 18.147 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.619 | 167595.8572 | 305276.1144 | 33.25 | 68.6
2905 | 2022-05-18 12:02 | 27.3374 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4045 | μmol/L | 18.1349 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.623 | 167567.8421 | 305277.2553 | 33.25 | 68.6
2914 | 2022-05-18 12:02 | 27.6701 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4272 | μmol/L | 18.1349 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.622 | 167560.4804 | 305281.6563 | 33.25 | 68.6
2924 | 2022-05-18 12:03 | 28.0038 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4045 | μmol/L | 18.1349 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.623 | 167534.4045 | 305284.4043 | 33.25 | 68.6
2935 | 2022-05-18 12:03 | 28.3375 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.435 | μmol/L | 18.1288 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.624 | 167495.8472 | 305289.9553 | 33.25 | 68.6
2944 | 2022-05-18 12:03 | 28.6704 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4202 | μmol/L | 18.1227 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.627 | 167450.2827 | 305280.9881 | 33.25 | 68.6
2954 | 2022-05-18 12:04 | 29.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4508 | μmol/L | 18.1166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.628 | 167425.5765 | 305289.5456 | 33.25 | 68.6
2964 | 2022-05-18 12:04 | 29.3373 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4281 | μmol/L | 18.1166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.629 | 167404.5272 | 305274.984 | 33.25 | 68.6
2974 | 2022-05-18 12:04 | 29.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3522 | μmol/L | 18.1227 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.63 | 167393.5959 | 305278.2381 | 33.25 | 68.6
2984 | 2022-05-18 12:05 | 30.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3906 | μmol/L | 18.1105 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.633 | 167375.4662 | 305284.3208 | 33.25 | 68.6
2995 | 2022-05-18 12:05 | 30.3376 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3374 | μmol/L | 18.1166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.633 | 167340.6007 | 305285.4367 | 33.25 | 68.6
3005 | 2022-05-18 12:05 | 30.6704 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3453 | μmol/L | 18.1105 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.635 | 167340.1644 | 305275.329 | 33.25 | 68.6
3015 | 2022-05-18 12:06 | 31.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.368 | μmol/L | 18.1105 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.634 | 167350.4346 | 305291.1822 | 33.25 | 68.6
3024 | 2022-05-18 12:06 | 31.3371 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3985 | μmol/L | 18.1044 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.635 | 167341.7856 | 305286.669 | 33.25 | 68.6
3034 | 2022-05-18 12:06 | 31.6703 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2999 | μmol/L | 18.1105 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.637 | 167389.3987 | 305264.3124 | 33.25 | 68.6
3044 | 2022-05-18 12:07 | 32.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2704 | μmol/L | 18.0984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.643 | 167383.915 | 305272.0907 | 33.25 | 68.6
3054 | 2022-05-18 12:07 | 32.337 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2602 | μmol/L | 18.1105 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.639 | 167370.432 | 305285.1521 | 33.25 | 68.6
3065 | 2022-05-18 12:07 | 32.6707 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3917 | μmol/L | 18.0923 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.64 | 167327.231 | 305294.5731 | 33.25 | 68.6
3075 | 2022-05-18 12:08 | 33.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3213 | μmol/L | 18.0984 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.641 | 167298.0998 | 305288.24 | 33.25 | 68.6
3084 | 2022-05-18 12:08 | 33.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3463 | μmol/L | 18.0923 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.642 | 167293.9014 | 305306.1668 | 33.25 | 68.6
3095 | 2022-05-18 12:08 | 33.6708 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.301 | μmol/L | 18.0923 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.644 | 167289.9733 | 305309.6092 | 33.25 | 68.6
3105 | 2022-05-18 12:09 | 34.004 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2556 | μmol/L | 18.0923 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.646 | 167284.1732 | 305305.5765 | 33.25 | 68.6
3114 | 2022-05-18 12:09 | 34.3368 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3145 | μmol/L | 18.0862 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.646 | 167271.5441 | 305310.1889 | 33.25 | 68.6
3125 | 2022-05-18 12:09 | 34.6706 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2862 | μmol/L | 18.0862 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.647 | 167277.4186 | 305306.047 | 33.25 | 68.6
3134 | 2022-05-18 12:10 | 35.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3224 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.648 | 167248.7785 | 305295.689 | 33.25 | 68.6
3144 | 2022-05-18 12:10 | 35.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2544 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.651 | 167233.0017 | 305321.8686 | 33.25 | 68.6
3155 | 2022-05-18 12:10 | 35.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2488 | μmol/L | 18.0801 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.651 | 167216 | 305323.7358 | 33.25 | 68.6
3165 | 2022-05-18 12:11 | 36.0041 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1808 | μmol/L | 18.0801 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.654 | 167206.948 | 305302.0979 | 33.25 | 68.6
3174 | 2022-05-18 12:11 | 36.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2341 | μmol/L | 18.074 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.654 | 167186.702 | 305307.286 | 33.25 | 68.6
3185 | 2022-05-18 12:11 | 36.6703 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2397 | μmol/L | 18.074 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.654 | 167175.1502 | 305306.8682 | 33.25 | 68.6
3195 | 2022-05-18 12:12 | 37.004 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.217 | μmol/L | 18.074 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.655 | 167152.827 | 305296.4697 | 33.25 | 68.6
3205 | 2022-05-18 12:12 | 37.3369 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2476 | μmol/L | 18.0679 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.656 | 167134.5949 | 305296.8975 | 33.25 | 68.6
3215 | 2022-05-18 12:12 | 37.6709 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2647 | μmol/L | 18.0679 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.655 | 167109.2752 | 305306.1258 | 33.25 | 68.6
3225 | 2022-05-18 12:13 | 38.0039 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2249 | μmol/L | 18.0679 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.657 | 167081.6594 | 305285.1638 | 33.25 | 68.6
3235 | 2022-05-18 12:13 | 38.3368 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2726 | μmol/L | 18.0619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.657 | 167054.8341 | 305294.894 | 33.25 | 68.6
3245 | 2022-05-18 12:13 | 38.6708 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2102 | μmol/L | 18.0619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.66 | 167058.0063 | 305296.3527 | 33.25 | 68.6
3255 | 2022-05-18 12:14 | 39.0038 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2102 | μmol/L | 18.0619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.66 | 167017.7372 | 305303.8435 | 33.25 | 68.6
3265 | 2022-05-18 12:14 | 39.3374 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1649 | μmol/L | 18.0619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.662 | 166995.9015 | 305294.7522 | 33.25 | 68.6
3274 | 2022-05-18 12:14 | 39.6704 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.2659 | μmol/L | 18.0497 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.662 | 166978.587 | 305299.6091 | 33.25 | 68.6
3284 | 2022-05-18 12:15 | 40.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.0688 | μmol/L | 18.0619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.666 | 166946.4755 | 305301.583 | 33.25 | 68.6
3295 | 2022-05-18 12:15 | 40.3372 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1673 | μmol/L | 18.0558 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.664 | 166937.1091 | 305295.9756 | 33.25 | 68.6
3304 | 2022-05-18 12:15 | 40.6703 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.0914 | μmol/L | 18.0619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.665 | 166885.0392 | 305293.7923 | 33.25 | 68.6
3314 | 2022-05-18 12:16 | 41.0035 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1753 | μmol/L | 18.0497 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.666 | 166860.2847 | 305298.5982 | 33.25 | 68.6
3324 | 2022-05-18 12:16 | 41.3371 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1661 | μmol/L | 18.0436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.669 | 166831.7982 | 305301.8629 | 33.25 | 68.6
3335 | 2022-05-18 12:16 | 41.6702 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1606 | μmol/L | 18.0436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.669 | 166767.1502 | 305296.8103 | 33.25 | 68.6
3344 | 2022-05-18 12:17 | 42.0039 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1073 | μmol/L | 18.0497 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.669 | 166750.6729 | 305298.7949 | 33.25 | 68.6
3354 | 2022-05-18 12:17 | 42.3368 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.0847 | μmol/L | 18.0497 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.67 | 166711.1876 | 305291.3571 | 33.25 | 68.6
3365 | 2022-05-18 12:17 | 42.6705 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.1233 | μmol/L | 18.0375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.673 | 166678.9888 | 305292.9118 | 33.25 | 68.6
3375 | 2022-05-18 12:18 | 43.0042 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.0247 | μmol/L | 18.0436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.675 | 166651.3284 | 305295.5226 | 33.25 | 68.6
3384 | 2022-05-18 12:18 | 43.3371 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.0474 | μmol/L | 18.0436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.674 | 166628.5784 | 305292.3364 | 33.25 | 68.6
3394 | 2022-05-18 12:18 | 43.6707 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 272.9795 | μmol/L | 18.0436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.677 | 166604.972 | 305290.9796 | 33.25 | 68.6
3404 | 2022-05-18 12:19 | 44.0037 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.078 | μmol/L | 18.0375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.675 | 166579.3938 | 305292.3853 | 33.25 | 68.6
3413 | 2022-05-18 12:19 | 44.3375 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.0553 | μmol/L | 18.0375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.676 | 166536.1536 | 305291.6956 | 33.25 | 68.6