## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 534973996 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2088 | 2022-05-18 11:35 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.5171 | μmol/L | 18.3549 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.429 | 109524.8543 | 268858.092 | 32.55 | 27.7
2098 | 2022-05-18 11:35 | 0.32683 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.3675 | μmol/L | 18.361 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.433 | 109528.2413 | 268834.5862 | 32.55 | 27.7
2108 | 2022-05-18 11:35 | 0.66057 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.4504 | μmol/L | 18.3488 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.434 | 109537.0029 | 268775.8274 | 32.55 | 27.7
2118 | 2022-05-18 11:36 | 0.99418 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.3729 | μmol/L | 18.3549 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.435 | 109539.5068 | 268754.8547 | 32.55 | 27.7
2128 | 2022-05-18 11:36 | 1.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.4263 | μmol/L | 18.3488 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.435 | 109524.4051 | 268719.5333 | 32.55 | 27.7
2138 | 2022-05-18 11:36 | 1.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.3302 | μmol/L | 18.3488 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.439 | 109532.9229 | 268704.7227 | 32.55 | 27.7
2148 | 2022-05-18 11:37 | 1.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.3356 | μmol/L | 18.3427 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.441 | 109533.617 | 268692.582 | 32.55 | 27.7
2158 | 2022-05-18 11:37 | 2.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.2155 | μmol/L | 18.3427 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.446 | 109547.6288 | 268677.7617 | 32.55 | 27.7
2168 | 2022-05-18 11:37 | 2.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.1969 | μmol/L | 18.3365 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.449 | 109550.8071 | 268657.0797 | 32.55 | 27.7
2178 | 2022-05-18 11:38 | 2.9942 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.1195 | μmol/L | 18.3427 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.45 | 109566.9909 | 268651.8413 | 32.55 | 27.7
2188 | 2022-05-18 11:38 | 3.3269 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.9515 | μmol/L | 18.3427 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.457 | 109588.7637 | 268631.9559 | 32.55 | 27.7
2198 | 2022-05-18 11:38 | 3.6604 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 281.0235 | μmol/L | 18.3427 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.454 | 109594.4077 | 268611.6118 | 32.55 | 27.7
2208 | 2022-05-18 11:39 | 3.9941 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.9089 | μmol/L | 18.3365 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.461 | 109596.2315 | 268594.3532 | 32.55 | 27.7
2218 | 2022-05-18 11:39 | 4.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.9731 | μmol/L | 18.3182 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.465 | 109605.4762 | 268585.3923 | 32.55 | 27.7
2228 | 2022-05-18 11:39 | 4.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.8533 | μmol/L | 18.3182 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.47 | 109636.2279 | 268555.975 | 32.55 | 27.7
2238 | 2022-05-18 11:40 | 4.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.6137 | μmol/L | 18.3182 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.48 | 109664.014 | 268561.655 | 32.55 | 27.7
2248 | 2022-05-18 11:40 | 5.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.7258 | μmol/L | 18.2999 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.482 | 109679.6653 | 268553.1673 | 32.55 | 27.7
2258 | 2022-05-18 11:40 | 5.6608 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.6006 | μmol/L | 18.306 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.485 | 109679.5488 | 268535.153 | 32.55 | 27.7
2268 | 2022-05-18 11:41 | 5.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.5288 | μmol/L | 18.306 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.488 | 109684.3229 | 268520.8969 | 32.55 | 27.7
2278 | 2022-05-18 11:41 | 6.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.5876 | μmol/L | 18.2937 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.49 | 109688.5696 | 268516.0628 | 32.55 | 27.7
2288 | 2022-05-18 11:41 | 6.6602 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.4331 | μmol/L | 18.306 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.492 | 109688.0593 | 268502.0835 | 32.55 | 27.7
2298 | 2022-05-18 11:42 | 6.9938 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.5931 | μmol/L | 18.2876 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.492 | 109694.2571 | 268499.8032 | 32.55 | 27.7
2308 | 2022-05-18 11:42 | 7.3273 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.6225 | μmol/L | 18.2815 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.493 | 109693.0179 | 268488.4916 | 32.55 | 27.7
2318 | 2022-05-18 11:42 | 7.6608 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.5083 | μmol/L | 18.2754 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.5 | 109708.7439 | 268479.7718 | 32.55 | 27.7
2328 | 2022-05-18 11:43 | 7.9935 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.3887 | μmol/L | 18.2754 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.505 | 109741.7073 | 268473.2199 | 32.55 | 27.7
2338 | 2022-05-18 11:43 | 8.3273 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.0781 | μmol/L | 18.2754 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.518 | 109779.0503 | 268459.7131 | 32.55 | 27.7
2348 | 2022-05-18 11:43 | 8.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1791 | μmol/L | 18.2693 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.516 | 109803.5589 | 268458.4649 | 32.55 | 27.7
2358 | 2022-05-18 11:44 | 8.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1901 | μmol/L | 18.2571 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.52 | 109813.3016 | 268448.4456 | 32.55 | 27.7
2368 | 2022-05-18 11:44 | 9.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.9698 | μmol/L | 18.2632 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.527 | 109830.6679 | 268438.0914 | 32.55 | 27.7
2378 | 2022-05-18 11:44 | 9.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1956 | μmol/L | 18.2509 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.522 | 109817.5913 | 268414.305 | 32.55 | 27.7
2388 | 2022-05-18 11:45 | 9.9936 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.0524 | μmol/L | 18.2509 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.528 | 109813.9039 | 268426.6314 | 32.55 | 27.7
2398 | 2022-05-18 11:45 | 10.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1351 | μmol/L | 18.2387 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.529 | 109827.6401 | 268423.5113 | 32.55 | 27.7
2408 | 2022-05-18 11:45 | 10.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.9863 | μmol/L | 18.2448 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.533 | 109832.1378 | 268410.3035 | 32.55 | 27.7
2418 | 2022-05-18 11:46 | 10.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1112 | μmol/L | 18.2387 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.53 | 109824.8347 | 268392.3819 | 32.55 | 27.7
2428 | 2022-05-18 11:46 | 11.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1461 | μmol/L | 18.2265 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.533 | 109827.2595 | 268395.1307 | 32.55 | 27.7
2438 | 2022-05-18 11:46 | 11.6608 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.1994 | μmol/L | 18.2204 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.533 | 109825.8678 | 268395.4704 | 32.55 | 27.7
2448 | 2022-05-18 11:47 | 11.9938 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.205 | μmol/L | 18.2143 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.535 | 109829.9486 | 268383.6342 | 32.55 | 27.7
2458 | 2022-05-18 11:47 | 12.3275 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.7812 | μmol/L | 18.2081 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.555 | 109933.3956 | 268376.7652 | 32.55 | 27.7
2468 | 2022-05-18 11:47 | 12.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3232 | μmol/L | 18.2143 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.572 | 110023.3051 | 268359.5655 | 32.55 | 27.7
2478 | 2022-05-18 11:48 | 12.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6527 | μmol/L | 18.2204 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.598 | 110123.8162 | 268361.3395 | 32.55 | 27.7
2488 | 2022-05-18 11:48 | 13.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8637 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.607 | 110192.3461 | 268356.2845 | 32.55 | 27.7
2498 | 2022-05-18 11:48 | 13.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.5791 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.619 | 110266.8181 | 268349.1753 | 32.55 | 27.7
2508 | 2022-05-18 11:49 | 13.9939 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.2183 | μmol/L | 18.1776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.632 | 110333.8797 | 268325.6541 | 32.55 | 27.7
2518 | 2022-05-18 11:49 | 14.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 277.9875 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.644 | 110405.4355 | 268338.1739 | 32.55 | 27.7
2528 | 2022-05-18 11:49 | 14.6602 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 277.7513 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.654 | 110451.4655 | 268349.7297 | 32.55 | 27.7
2538 | 2022-05-18 11:50 | 14.9935 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 277.4389 | μmol/L | 18.1776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.665 | 110503.6266 | 268330.7504 | 32.55 | 27.7
2548 | 2022-05-18 11:50 | 15.3268 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 277.1976 | μmol/L | 18.1837 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.673 | 110536.1196 | 268310.4737 | 32.55 | 27.7
2558 | 2022-05-18 11:50 | 15.6606 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 277.0206 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.685 | 110598.0033 | 268311.0962 | 32.55 | 27.7
2568 | 2022-05-18 11:51 | 15.9936 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.9209 | μmol/L | 18.1776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.687 | 110599.2227 | 268318.4592 | 32.55 | 27.7
2578 | 2022-05-18 11:51 | 16.3273 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.856 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.692 | 110616.4874 | 268313.328 | 32.55 | 27.7
2588 | 2022-05-18 11:51 | 16.6602 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.6915 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.699 | 110658.6583 | 268287.9104 | 32.55 | 27.7
2598 | 2022-05-18 11:52 | 16.9938 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.3862 | μmol/L | 18.1715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.712 | 110735.6904 | 268282.6883 | 32.55 | 27.7
2608 | 2022-05-18 11:52 | 17.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.8659 | μmol/L | 18.0859 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.723 | 110777.3326 | 268275.1457 | 32.55 | 27.7
2618 | 2022-05-18 11:52 | 17.6608 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 276.233 | μmol/L | 18.1348 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.732 | 110828.9969 | 268279.574 | 32.55 | 27.7
2628 | 2022-05-18 11:53 | 17.9939 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.8644 | μmol/L | 18.1531 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.741 | 110864.3673 | 268275.6879 | 32.55 | 27.7
2638 | 2022-05-18 11:53 | 18.3269 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.9051 | μmol/L | 18.1348 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.746 | 110912.2934 | 268278.3867 | 32.55 | 27.7
2648 | 2022-05-18 11:53 | 18.6606 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.6945 | μmol/L | 18.1348 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.755 | 110945.9309 | 268269.7966 | 32.55 | 27.7
2658 | 2022-05-18 11:54 | 18.9935 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.7237 | μmol/L | 18.1287 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.756 | 110941.6028 | 268269.2591 | 32.55 | 27.7
2668 | 2022-05-18 11:54 | 19.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.7704 | μmol/L | 18.1287 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.754 | 110912.3658 | 268247.8973 | 32.55 | 27.7
2678 | 2022-05-18 11:54 | 19.6602 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.6186 | μmol/L | 18.1409 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.756 | 110916.8117 | 268240.7596 | 32.55 | 27.7
2688 | 2022-05-18 11:55 | 19.994 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.385 | μmol/L | 18.1409 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.766 | 110981.2951 | 268240.5419 | 32.55 | 27.7
2698 | 2022-05-18 11:55 | 20.3269 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 275.035 | μmol/L | 18.1409 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.781 | 111067.011 | 268249.45 | 32.55 | 27.7
2708 | 2022-05-18 11:55 | 20.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.93 | μmol/L | 18.1287 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.79 | 111105.5808 | 268237.5728 | 32.55 | 27.7
2718 | 2022-05-18 11:56 | 20.9935 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.796 | μmol/L | 18.1225 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.798 | 111148.0721 | 268236.6351 | 32.55 | 27.7
2728 | 2022-05-18 11:56 | 21.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.3308 | μmol/L | 18.1225 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.818 | 111246.6237 | 268227.8401 | 32.55 | 27.7
2738 | 2022-05-18 11:56 | 21.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 274.1508 | μmol/L | 18.1164 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.828 | 111326.141 | 268220.3978 | 32.55 | 27.7
2748 | 2022-05-18 11:57 | 21.9942 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 273.826 | μmol/L | 18.1164 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.842 | 111370.2417 | 268224.6611 | 32.55 | 27.7
2758 | 2022-05-18 11:57 | 22.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 272.1113 | μmol/L | 18.1225 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.914 | 111793.1656 | 268227.916 | 32.55 | 27.7
2768 | 2022-05-18 11:57 | 22.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.7094 | μmol/L | 18.1103 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.936 | 111885.6788 | 268230.2528 | 32.55 | 27.7
2778 | 2022-05-18 11:58 | 22.9941 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.7612 | μmol/L | 18.1042 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.936 | 111882.5575 | 268210.3889 | 32.55 | 27.7
2788 | 2022-05-18 11:58 | 23.3272 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.859 | μmol/L | 18.0981 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.934 | 111874.0882 | 268212.2036 | 32.55 | 27.7
2798 | 2022-05-18 11:58 | 23.6605 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.4747 | μmol/L | 18.092 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.953 | 111963.949 | 268199.4843 | 32.55 | 27.7
2808 | 2022-05-18 11:59 | 23.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 261.8486 | μmol/L | 18.0981 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.38 | 114363.3323 | 268198.7969 | 32.55 | 27.7
2818 | 2022-05-18 11:59 | 24.3267 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 263.8536 | μmol/L | 18.0981 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.289 | 113850.6339 | 268201.4474 | 32.55 | 27.7
2828 | 2022-05-18 11:59 | 24.6605 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 265.2425 | μmol/L | 18.0859 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.231 | 113549.1602 | 268190.4383 | 32.55 | 27.7
2838 | 2022-05-18 12:00 | 24.9935 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 266.046 | μmol/L | 18.0859 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.195 | 113328.8707 | 268194.2674 | 32.55 | 27.7
2848 | 2022-05-18 12:00 | 25.3272 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 266.8017 | μmol/L | 18.092 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.159 | 113128.8116 | 268186.4325 | 32.55 | 27.7
2858 | 2022-05-18 12:00 | 25.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 267.572 | μmol/L | 18.0859 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.127 | 112933.6412 | 268170.829 | 32.55 | 27.7
2868 | 2022-05-18 12:01 | 25.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 267.7973 | μmol/L | 18.0859 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.117 | 112847.909 | 268173.7392 | 32.55 | 27.7
2878 | 2022-05-18 12:01 | 26.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.2095 | μmol/L | 18.0797 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.101 | 112752.2145 | 268182.2155 | 32.55 | 27.7
2888 | 2022-05-18 12:01 | 26.6604 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7203 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.092 | 112698.5378 | 268173.057 | 32.55 | 27.7
2898 | 2022-05-18 12:02 | 26.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7762 | μmol/L | 18.0553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.085 | 112667.2885 | 268168.7579 | 32.55 | 27.7
2908 | 2022-05-18 12:02 | 27.3272 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.8728 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.083 | 112646.984 | 268166.725 | 32.55 | 27.7
2918 | 2022-05-18 12:02 | 27.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.1447 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.071 | 112603.1343 | 268161.338 | 32.55 | 27.7
2928 | 2022-05-18 12:03 | 27.9938 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.1387 | μmol/L | 18.0553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.069 | 112555.3557 | 268166.0073 | 32.55 | 27.7
2938 | 2022-05-18 12:03 | 28.3267 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.5533 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.053 | 112489.3692 | 268146.1214 | 32.55 | 27.7
2948 | 2022-05-18 12:03 | 28.6605 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.6897 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.047 | 112455.9555 | 268158.4164 | 32.55 | 27.7
2958 | 2022-05-18 12:04 | 28.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.7807 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.043 | 112414.7004 | 268153.0409 | 32.55 | 27.7
2968 | 2022-05-18 12:04 | 29.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.9975 | μmol/L | 18.0369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.038 | 112387.3531 | 268142.4121 | 32.55 | 27.7
2978 | 2022-05-18 12:04 | 29.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.1281 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.03 | 112340.389 | 268154.6789 | 32.55 | 27.7
2988 | 2022-05-18 12:05 | 29.9939 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.242 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.025 | 112311.7428 | 268146.0682 | 32.55 | 27.7
2998 | 2022-05-18 12:05 | 30.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.7163 | μmol/L | 18.0247 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.011 | 112230.0556 | 268148.9129 | 32.55 | 27.7
3008 | 2022-05-18 12:05 | 30.6606 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.0014 | μmol/L | 18.0369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.994 | 112142.2255 | 268151.6977 | 32.55 | 27.7
3018 | 2022-05-18 12:06 | 30.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.9269 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.995 | 112154.3282 | 268156.8933 | 32.55 | 27.7
3028 | 2022-05-18 12:06 | 31.3273 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.91 | μmol/L | 18.0369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.998 | 112157.2353 | 268164.5407 | 32.55 | 27.7
3038 | 2022-05-18 12:06 | 31.6602 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.1964 | μmol/L | 18.0247 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.99 | 112130.5538 | 268151.1952 | 32.55 | 27.7
3048 | 2022-05-18 12:07 | 31.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.2651 | μmol/L | 18.0247 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.987 | 112093.5039 | 268144.0528 | 32.55 | 27.7
3058 | 2022-05-18 12:07 | 32.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.3623 | μmol/L | 18.0247 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.983 | 112081.1306 | 268154.5526 | 32.55 | 27.7
3068 | 2022-05-18 12:07 | 32.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.3109 | μmol/L | 18.0247 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.985 | 112082.367 | 268166.3066 | 32.55 | 27.7
3078 | 2022-05-18 12:08 | 32.9934 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.3049 | μmol/L | 18.0308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.983 | 112078.2891 | 268154.1315 | 32.55 | 27.7
3088 | 2022-05-18 12:08 | 33.3267 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.4603 | μmol/L | 18.0125 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.983 | 112065.8083 | 268151.8023 | 32.55 | 27.7
3098 | 2022-05-18 12:08 | 33.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.4314 | μmol/L | 18.0186 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.982 | 112055.684 | 268152.7556 | 32.55 | 27.7
3108 | 2022-05-18 12:09 | 33.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.4833 | μmol/L | 18.0125 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.982 | 112077.8668 | 268154.3038 | 32.55 | 27.7
3118 | 2022-05-18 12:09 | 34.3275 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.4085 | μmol/L | 18.0186 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.983 | 112091.2644 | 268147.1815 | 32.55 | 27.7
3128 | 2022-05-18 12:09 | 34.6606 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.3458 | μmol/L | 18.0125 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.988 | 112117.9894 | 268151.5239 | 32.55 | 27.7
3138 | 2022-05-18 12:10 | 34.9937 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.306 | μmol/L | 18.0064 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.992 | 112117.8642 | 268160.0539 | 32.55 | 27.7
3148 | 2022-05-18 12:10 | 35.3269 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.4723 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.987 | 112120.4646 | 268158.2177 | 32.55 | 27.7
3158 | 2022-05-18 12:10 | 35.6606 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.306 | μmol/L | 18.0064 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.992 | 112132.1793 | 268167.8068 | 32.55 | 27.7
3168 | 2022-05-18 12:11 | 35.9936 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 271.1747 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23 | 112180.4753 | 268155.09 | 32.55 | 27.7
3178 | 2022-05-18 12:11 | 36.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.94 | μmol/L | 18.0064 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.008 | 112217.0422 | 268158.1086 | 32.55 | 27.7
3188 | 2022-05-18 12:11 | 36.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.9003 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.012 | 112239.762 | 268152.2417 | 32.55 | 27.7
3198 | 2022-05-18 12:12 | 36.9939 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.5788 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.07 | 112569.8431 | 268146.5828 | 32.55 | 27.7
3208 | 2022-05-18 12:12 | 37.3267 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.7378 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.063 | 112539.2746 | 268153.5569 | 32.55 | 27.7
3218 | 2022-05-18 12:12 | 37.6606 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8576 | μmol/L | 17.9941 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.06 | 112518.1045 | 268153.3792 | 32.55 | 27.7
3228 | 2022-05-18 12:13 | 37.9936 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.806 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.06 | 112506.4776 | 268155.2574 | 32.55 | 27.7
3238 | 2022-05-18 12:13 | 38.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.9941 | μmol/L | 17.9941 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.054 | 112486.228 | 268158.0189 | 32.55 | 27.7
3248 | 2022-05-18 12:13 | 38.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0396 | μmol/L | 17.9941 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.052 | 112472.7704 | 268156.9482 | 32.55 | 27.7
3258 | 2022-05-18 12:14 | 38.994 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.2855 | μmol/L | 17.9758 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.048 | 112445.8192 | 268142.3848 | 32.55 | 27.7
3268 | 2022-05-18 12:14 | 39.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0805 | μmol/L | 17.9758 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.057 | 112480.4317 | 268129.2597 | 32.55 | 27.7
3278 | 2022-05-18 12:14 | 39.6601 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.9212 | μmol/L | 17.9758 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.064 | 112503.7789 | 268139.4788 | 32.55 | 27.7
3288 | 2022-05-18 12:15 | 39.994 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8985 | μmol/L | 17.9758 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.065 | 112516.633 | 268139.033 | 32.55 | 27.7
3298 | 2022-05-18 12:15 | 40.3268 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.9046 | μmol/L | 17.9697 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.067 | 112507.9599 | 268141.4232 | 32.55 | 27.7
3308 | 2022-05-18 12:15 | 40.6608 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8985 | μmol/L | 17.9758 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.065 | 112500.2182 | 268124.4995 | 32.55 | 27.7
3318 | 2022-05-18 12:16 | 40.9941 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0699 | μmol/L | 17.9636 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.062 | 112515.6656 | 268144.9541 | 32.55 | 27.7
3328 | 2022-05-18 12:16 | 41.3274 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 270.0077 | μmol/L | 17.9575 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.067 | 112531.8604 | 268126.3799 | 32.55 | 27.7
3338 | 2022-05-18 12:16 | 41.6604 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8363 | μmol/L | 17.9697 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.07 | 112549.9689 | 268138.6052 | 32.55 | 27.7
3348 | 2022-05-18 12:17 | 41.9942 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.8485 | μmol/L | 17.9575 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.074 | 112563.6579 | 268129.7462 | 32.55 | 27.7
3358 | 2022-05-18 12:17 | 42.3271 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.6955 | μmol/L | 17.9513 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.083 | 112604.946 | 268144.7787 | 32.55 | 27.7
3368 | 2022-05-18 12:17 | 42.6603 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.5592 | μmol/L | 17.9513 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.089 | 112645.3731 | 268122.9348 | 32.55 | 27.7
3378 | 2022-05-18 12:18 | 42.994 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.3262 | μmol/L | 17.9575 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.097 | 112697.0836 | 268115.2471 | 32.55 | 27.7
3388 | 2022-05-18 12:18 | 43.3269 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 269.2024 | μmol/L | 17.9452 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.107 | 112747.7039 | 268114.5042 | 32.55 | 27.7
3398 | 2022-05-18 12:18 | 43.6607 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.9697 | μmol/L | 17.9513 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.115 | 112791.8948 | 268127.8242 | 32.55 | 27.7
3408 | 2022-05-18 12:19 | 43.9939 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.7434 | μmol/L | 17.9513 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.125 | 112826.9411 | 268125.0367 | 32.55 | 27.7
3415 | 2022-05-18 12:19 | 44.327 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 268.6652 | μmol/L | 17.9391 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.133 | 112871.9641 | 268123.5988 | 32.55 | 27.7