## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 118251917 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:49

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2083 | 2022-05-18 11:35 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.5039 | μmol/L | 18.2441 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.447 | 126950.246 | 291085.5986 | 59.9307 | 49.4
2093 | 2022-05-18 11:35 | 0.33706 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.4851 | μmol/L | 18.2379 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.45 | 126574.6355 | 291056.3562 | 59.9307 | 49.4
2103 | 2022-05-18 11:35 | 0.66997 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.3107 | μmol/L | 18.2441 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.455 | 126753.4013 | 291064.5012 | 59.9307 | 49.4
2113 | 2022-05-18 11:36 | 1.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.2865 | μmol/L | 18.2441 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.456 | 126751.5797 | 291092.0356 | 59.9307 | 49.4
2123 | 2022-05-18 11:36 | 1.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.1846 | μmol/L | 18.2503 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.458 | 126740.7432 | 291069.8756 | 59.9307 | 49.4
2133 | 2022-05-18 11:36 | 1.6698 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.0881 | μmol/L | 18.2503 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.462 | 126753.37 | 291050.7434 | 59.9307 | 49.4
2143 | 2022-05-18 11:37 | 2.0034 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.1122 | μmol/L | 18.2503 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.461 | 126745.7038 | 291026.9196 | 59.9307 | 49.4
2153 | 2022-05-18 11:37 | 2.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.0157 | μmol/L | 18.2503 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.465 | 126745.9235 | 291019.8731 | 59.9307 | 49.4
2163 | 2022-05-18 11:37 | 2.6707 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.0211 | μmol/L | 18.2441 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.467 | 126742.5071 | 290990.7463 | 59.9307 | 49.4
2173 | 2022-05-18 11:38 | 3.0034 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.9247 | μmol/L | 18.2441 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.471 | 126735.8371 | 290967.4453 | 59.9307 | 49.4
2183 | 2022-05-18 11:38 | 3.3369 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 280.0507 | μmol/L | 18.2379 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.468 | 126735.5862 | 290972.4869 | 59.9307 | 49.4
2193 | 2022-05-18 11:38 | 3.6706 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.9542 | μmol/L | 18.2379 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.472 | 126731.6669 | 290916.9957 | 59.9307 | 49.4
2203 | 2022-05-18 11:39 | 4.0033 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.9356 | μmol/L | 18.2318 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.475 | 126737.094 | 290922.1554 | 59.9307 | 49.4
2213 | 2022-05-18 11:39 | 4.3371 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.8096 | μmol/L | 18.2379 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.478 | 126735.8114 | 290920.6129 | 59.9307 | 49.4
2223 | 2022-05-18 11:39 | 4.6704 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.8633 | μmol/L | 18.2318 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.478 | 126733.1891 | 290925.8125 | 59.9307 | 49.4
2233 | 2022-05-18 11:40 | 5.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.7964 | μmol/L | 18.2256 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.483 | 126739.4419 | 290913.4172 | 59.9307 | 49.4
2243 | 2022-05-18 11:40 | 5.3369 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.676 | μmol/L | 18.2256 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.488 | 126738.3002 | 290901.2131 | 59.9307 | 49.4
2253 | 2022-05-18 11:40 | 5.6704 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.7537 | μmol/L | 18.2194 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.487 | 126733.66 | 290880.1238 | 59.9307 | 49.4
2263 | 2022-05-18 11:41 | 6.0039 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.8073 | μmol/L | 18.2132 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.487 | 126728.4738 | 290872.331 | 59.9307 | 49.4
2273 | 2022-05-18 11:41 | 6.3366 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.7887 | μmol/L | 18.2071 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.49 | 126746.2514 | 290901.1949 | 59.9307 | 49.4
2283 | 2022-05-18 11:41 | 6.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.8424 | μmol/L | 18.2009 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.49 | 126742.4105 | 290873.0263 | 59.9307 | 49.4
2293 | 2022-05-18 11:42 | 7.0036 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.746 | μmol/L | 18.2009 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.494 | 126747.8505 | 290884.2188 | 59.9307 | 49.4
2303 | 2022-05-18 11:42 | 7.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.6552 | μmol/L | 18.1947 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.5 | 126773.4502 | 290886.2916 | 59.9307 | 49.4
2313 | 2022-05-18 11:42 | 7.6699 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.6126 | μmol/L | 18.1886 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.504 | 126800.2284 | 290887.7132 | 59.9307 | 49.4
2323 | 2022-05-18 11:43 | 8.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.5404 | μmol/L | 18.1886 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.507 | 126798.5811 | 290878.2103 | 59.9307 | 49.4
2333 | 2022-05-18 11:43 | 8.3368 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.4553 | μmol/L | 18.1762 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.515 | 126823.5125 | 290881.2899 | 59.9307 | 49.4
2343 | 2022-05-18 11:43 | 8.6699 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.4608 | μmol/L | 18.1701 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.517 | 126835.7381 | 290869.451 | 59.9307 | 49.4
2353 | 2022-05-18 11:44 | 9.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.3702 | μmol/L | 18.1639 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.523 | 126840.5241 | 290850.7374 | 59.9307 | 49.4
2363 | 2022-05-18 11:44 | 9.3373 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.5014 | μmol/L | 18.1515 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.522 | 126855.3751 | 290844.836 | 59.9307 | 49.4
2373 | 2022-05-18 11:44 | 9.6703 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.4774 | μmol/L | 18.1515 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.523 | 126859.1588 | 290829.7361 | 59.9307 | 49.4
2383 | 2022-05-18 11:45 | 10.0033 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.3868 | μmol/L | 18.1454 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.529 | 126866.4055 | 290828.2494 | 59.9307 | 49.4
2393 | 2022-05-18 11:45 | 10.3371 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.3683 | μmol/L | 18.1392 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.532 | 126890.6493 | 290829.624 | 59.9307 | 49.4
2403 | 2022-05-18 11:45 | 10.6699 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.1762 | μmol/L | 18.1392 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.54 | 126917.36 | 290823.2951 | 59.9307 | 49.4
2413 | 2022-05-18 11:46 | 11.0038 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.1337 | μmol/L | 18.133 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.544 | 126926.9714 | 290810.3257 | 59.9307 | 49.4
2423 | 2022-05-18 11:46 | 11.3369 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.1393 | μmol/L | 18.1269 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.546 | 126946.6875 | 290815.1131 | 59.9307 | 49.4
2433 | 2022-05-18 11:46 | 11.6705 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.9418 | μmol/L | 18.133 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.552 | 126971.4674 | 290792.7763 | 59.9307 | 49.4
2443 | 2022-05-18 11:47 | 12.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.1209 | μmol/L | 18.1207 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.549 | 126983.809 | 290785.7484 | 59.9307 | 49.4
2453 | 2022-05-18 11:47 | 12.3365 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.8035 | μmol/L | 18.1269 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.56 | 127024.2087 | 290796.4758 | 59.9307 | 49.4
2463 | 2022-05-18 11:47 | 12.6703 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.7612 | μmol/L | 18.1207 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.564 | 127045.4073 | 290786.0316 | 59.9307 | 49.4
2473 | 2022-05-18 11:48 | 13.0034 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.7724 | μmol/L | 18.1084 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.568 | 127061.7514 | 290770.1792 | 59.9307 | 49.4
2483 | 2022-05-18 11:48 | 13.3373 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.5441 | μmol/L | 18.096 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.582 | 127118.9187 | 290797.7176 | 59.9307 | 49.4
2493 | 2022-05-18 11:48 | 13.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.6216 | μmol/L | 18.0898 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.581 | 127134.8813 | 290783.7798 | 59.9307 | 49.4
2503 | 2022-05-18 11:49 | 14.0039 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.6089 | μmol/L | 18.0775 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.586 | 127150.6277 | 290775.8298 | 59.9307 | 49.4
2513 | 2022-05-18 11:49 | 14.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.4119 | μmol/L | 18.0837 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.592 | 127163.5175 | 290781.5384 | 59.9307 | 49.4
2523 | 2022-05-18 11:49 | 14.6702 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.3584 | μmol/L | 18.0898 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.592 | 127185.114 | 290775.5094 | 59.9307 | 49.4
2533 | 2022-05-18 11:50 | 15.0037 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.125 | μmol/L | 18.0837 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.604 | 127229.4871 | 290768.6976 | 59.9307 | 49.4
2543 | 2022-05-18 11:50 | 15.3368 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.0829 | μmol/L | 18.0775 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.608 | 127268.7857 | 290756.0618 | 59.9307 | 49.4
2553 | 2022-05-18 11:50 | 15.6704 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9692 | μmol/L | 18.0713 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.615 | 127306.0306 | 290750.5663 | 59.9307 | 49.4
2563 | 2022-05-18 11:51 | 16.0034 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8976 | μmol/L | 18.0713 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.618 | 127334.2064 | 290755.6281 | 59.9307 | 49.4
2573 | 2022-05-18 11:51 | 16.3372 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.6886 | μmol/L | 18.0652 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.629 | 127366.7899 | 290752.6827 | 59.9307 | 49.4
2583 | 2022-05-18 11:51 | 16.6703 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.7182 | μmol/L | 18.059 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.63 | 127385.5602 | 290735.7034 | 59.9307 | 49.4
2593 | 2022-05-18 11:52 | 17.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.6762 | μmol/L | 18.0528 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.634 | 127413.8652 | 290732.1311 | 59.9307 | 49.4
2603 | 2022-05-18 11:52 | 17.3372 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3608 | μmol/L | 18.059 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.645 | 127463.7928 | 290733.1729 | 59.9307 | 49.4
2613 | 2022-05-18 11:52 | 17.6699 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0992 | μmol/L | 18.059 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.656 | 127508.9704 | 290737.0235 | 59.9307 | 49.4
2623 | 2022-05-18 11:53 | 18.0036 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0925 | μmol/L | 18.0405 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.663 | 127593.6484 | 290736.2821 | 59.9307 | 49.4
2633 | 2022-05-18 11:53 | 18.3373 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.968 | μmol/L | 18.0467 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.666 | 127627.3462 | 290714.2917 | 59.9307 | 49.4
2643 | 2022-05-18 11:53 | 18.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.8844 | μmol/L | 18.0343 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.674 | 127674.0302 | 290702.2087 | 59.9307 | 49.4
2653 | 2022-05-18 11:54 | 19.0036 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.647 | μmol/L | 18.0343 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.684 | 127738.7338 | 290692.4145 | 59.9307 | 49.4
2663 | 2022-05-18 11:54 | 19.3373 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.3568 | μmol/L | 18.0405 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.694 | 127773.9474 | 290691.6519 | 59.9307 | 49.4
2673 | 2022-05-18 11:54 | 19.6703 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.2262 | μmol/L | 18.0282 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.704 | 127845.1821 | 290693.6577 | 59.9307 | 49.4
2683 | 2022-05-18 11:55 | 20.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.0841 | μmol/L | 18.0282 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.71 | 127900.2372 | 290677.5059 | 59.9307 | 49.4
2693 | 2022-05-18 11:55 | 20.3366 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.93 | μmol/L | 18.0158 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.721 | 127941.586 | 290678.46 | 59.9307 | 49.4
2703 | 2022-05-18 11:55 | 20.6698 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.7588 | μmol/L | 18.022 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.726 | 128002.7344 | 290690.2571 | 59.9307 | 49.4
2713 | 2022-05-18 11:56 | 21.0038 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.5757 | μmol/L | 18.0158 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.736 | 128049.1181 | 290670.0497 | 59.9307 | 49.4
2723 | 2022-05-18 11:56 | 21.3366 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.181 | μmol/L | 18.0343 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.746 | 128110.7568 | 290673.8153 | 59.9307 | 49.4
2733 | 2022-05-18 11:56 | 21.6706 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.9569 | μmol/L | 18.022 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.76 | 128172.503 | 290677.8386 | 59.9307 | 49.4
2743 | 2022-05-18 11:57 | 22.0039 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.9978 | μmol/L | 18.0035 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.765 | 128205.9035 | 290680.2672 | 59.9307 | 49.4
2753 | 2022-05-18 11:57 | 22.3368 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.9272 | μmol/L | 18.0035 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.768 | 128249.9116 | 290662.5619 | 59.9307 | 49.4
2763 | 2022-05-18 11:57 | 22.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.6626 | μmol/L | 18.0096 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.777 | 128293.9284 | 290672.5968 | 59.9307 | 49.4
2773 | 2022-05-18 11:58 | 23.0039 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.4511 | μmol/L | 18.0096 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.786 | 128347.8612 | 290666.7928 | 59.9307 | 49.4
2783 | 2022-05-18 11:58 | 23.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.2867 | μmol/L | 18.0096 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.793 | 128391.0921 | 290655.3269 | 59.9307 | 49.4
2793 | 2022-05-18 11:58 | 23.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 274.2279 | μmol/L | 17.9973 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.8 | 128436.0086 | 290654.7507 | 59.9307 | 49.4
2803 | 2022-05-18 11:59 | 24.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.8938 | μmol/L | 18.0035 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.812 | 128489.0995 | 290654.9144 | 59.9307 | 49.4
2813 | 2022-05-18 11:59 | 24.3373 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.806 | μmol/L | 17.9973 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.818 | 128528.1872 | 290662.4315 | 59.9307 | 49.4
2823 | 2022-05-18 11:59 | 24.6703 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.7181 | μmol/L | 17.9911 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.824 | 128561.2597 | 290651.6119 | 59.9307 | 49.4
2833 | 2022-05-18 12:00 | 25.0033 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.5777 | μmol/L | 17.9911 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.83 | 128603.3679 | 290664.8625 | 59.9307 | 49.4
2843 | 2022-05-18 12:00 | 25.3371 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.4841 | μmol/L | 17.9911 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.834 | 128638.9789 | 290666.7662 | 59.9307 | 49.4
2853 | 2022-05-18 12:00 | 25.6702 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.4023 | μmol/L | 17.9788 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.842 | 128692.5317 | 290653.6932 | 59.9307 | 49.4
2863 | 2022-05-18 12:01 | 26.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.1803 | μmol/L | 17.9911 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.847 | 128719.9793 | 290637.3466 | 59.9307 | 49.4
2873 | 2022-05-18 12:01 | 26.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 273.0227 | μmol/L | 17.985 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.856 | 128765.7213 | 290630.3343 | 59.9307 | 49.4
2883 | 2022-05-18 12:01 | 26.67 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 272.9586 | μmol/L | 17.9788 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.861 | 128796.6976 | 290637.3078 | 59.9307 | 49.4
2893 | 2022-05-18 12:02 | 27.0038 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 272.8245 | μmol/L | 17.9726 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.869 | 128837.8732 | 290642.8422 | 59.9307 | 49.4
2903 | 2022-05-18 12:02 | 27.3366 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 272.6148 | μmol/L | 17.9726 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.878 | 128877.6129 | 290646.2421 | 59.9307 | 49.4
2913 | 2022-05-18 12:02 | 27.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 272.5799 | μmol/L | 17.9603 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.884 | 128939.5755 | 290656.9799 | 59.9307 | 49.4
2923 | 2022-05-18 12:03 | 28.0038 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 272.2482 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.896 | 128991.2608 | 290632.6463 | 59.9307 | 49.4
2933 | 2022-05-18 12:03 | 28.3366 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 272.132 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.901 | 129030.126 | 290630.6648 | 59.9307 | 49.4
2943 | 2022-05-18 12:03 | 28.6702 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.9403 | μmol/L | 17.9726 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.907 | 129074.0979 | 290621.9809 | 59.9307 | 49.4
2953 | 2022-05-18 12:04 | 29.0039 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.8651 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.917 | 129112.1701 | 290605.7699 | 59.9307 | 49.4
2963 | 2022-05-18 12:04 | 29.3369 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.7431 | μmol/L | 17.9603 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.92 | 129145.6948 | 290638.85 | 59.9307 | 49.4
2973 | 2022-05-18 12:04 | 29.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.5749 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.925 | 129186.54 | 290623.1091 | 59.9307 | 49.4
2983 | 2022-05-18 12:05 | 30.0039 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.5171 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.932 | 129226.0193 | 290619.4253 | 59.9307 | 49.4
2993 | 2022-05-18 12:05 | 30.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.4013 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.937 | 129249.3425 | 290616.2159 | 59.9307 | 49.4
3003 | 2022-05-18 12:05 | 30.67 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.4594 | μmol/L | 17.9418 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.939 | 129294.7925 | 290623.0259 | 59.9307 | 49.4
3013 | 2022-05-18 12:06 | 31.0038 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.2683 | μmol/L | 17.948 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.945 | 129336.3861 | 290631.2633 | 59.9307 | 49.4
3023 | 2022-05-18 12:06 | 31.3367 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 271.1353 | μmol/L | 17.9418 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.953 | 129371.9637 | 290636.1286 | 59.9307 | 49.4
3033 | 2022-05-18 12:06 | 31.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.9794 | μmol/L | 17.9356 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.962 | 129419.5371 | 290648.9511 | 59.9307 | 49.4
3043 | 2022-05-18 12:07 | 32.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.9331 | μmol/L | 17.9356 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.964 | 129456.9717 | 290659.5079 | 59.9307 | 49.4
3053 | 2022-05-18 12:07 | 32.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.7193 | μmol/L | 17.9418 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.971 | 129483.3217 | 290647.6777 | 59.9307 | 49.4
3063 | 2022-05-18 12:07 | 32.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.8295 | μmol/L | 17.9233 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.973 | 129498.3217 | 290657.7227 | 59.9307 | 49.4
3073 | 2022-05-18 12:08 | 33.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.685 | μmol/L | 17.9294 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.977 | 129541.144 | 290638.4831 | 59.9307 | 49.4
3083 | 2022-05-18 12:08 | 33.3368 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.5755 | μmol/L | 17.9233 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.984 | 129571.2551 | 290650.8345 | 59.9307 | 49.4
3093 | 2022-05-18 12:08 | 33.6704 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.4602 | μmol/L | 17.9233 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.989 | 129602.4468 | 290651.6366 | 59.9307 | 49.4
3103 | 2022-05-18 12:09 | 34.0035 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.3798 | μmol/L | 17.9109 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.997 | 129657.3325 | 290656.9258 | 59.9307 | 49.4
3113 | 2022-05-18 12:09 | 34.3372 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.2587 | μmol/L | 17.9171 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23 | 129684.9999 | 290662.3806 | 59.9307 | 49.4
3123 | 2022-05-18 12:09 | 34.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 270.0395 | μmol/L | 17.9294 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.005 | 129720.5678 | 290655.1272 | 59.9307 | 49.4
3133 | 2022-05-18 12:10 | 35.004 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.9764 | μmol/L | 17.9233 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.01 | 129751.4232 | 290660.5026 | 59.9307 | 49.4
3143 | 2022-05-18 12:10 | 35.337 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.8903 | μmol/L | 17.9171 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.016 | 129778.5087 | 290661.9973 | 59.9307 | 49.4
3153 | 2022-05-18 12:10 | 35.67 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.9423 | μmol/L | 17.9109 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.016 | 129811.0732 | 290657.6203 | 59.9307 | 49.4
3163 | 2022-05-18 12:11 | 36.004 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.7353 | μmol/L | 17.9109 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.025 | 129864.515 | 290661.5381 | 59.9307 | 49.4
3173 | 2022-05-18 12:11 | 36.3372 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.5805 | μmol/L | 17.9048 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.034 | 129904.1042 | 290666.3134 | 59.9307 | 49.4
3183 | 2022-05-18 12:11 | 36.6702 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.3908 | μmol/L | 17.9109 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.04 | 129942.7965 | 290678.7064 | 59.9307 | 49.4
3193 | 2022-05-18 12:12 | 37.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.2532 | μmol/L | 17.9109 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.046 | 129989.5797 | 290651.571 | 59.9307 | 49.4
3203 | 2022-05-18 12:12 | 37.3371 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.2711 | μmol/L | 17.8924 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.052 | 130032.4618 | 290675.6421 | 59.9307 | 49.4
3213 | 2022-05-18 12:12 | 37.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 269.0817 | μmol/L | 17.8986 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.058 | 130077.2922 | 290686.9719 | 59.9307 | 49.4
3223 | 2022-05-18 12:13 | 38.0032 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.9045 | μmol/L | 17.8924 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.068 | 130111.5818 | 290678.8437 | 59.9307 | 49.4
3233 | 2022-05-18 12:13 | 38.3372 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.8358 | μmol/L | 17.8924 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.071 | 130144.0806 | 290661.718 | 59.9307 | 49.4
3243 | 2022-05-18 12:13 | 38.6701 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.8249 | μmol/L | 17.8801 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.076 | 130176.7335 | 290643.4901 | 59.9307 | 49.4
3253 | 2022-05-18 12:14 | 39.0038 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.613 | μmol/L | 17.8863 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.083 | 130207.4066 | 290647.9688 | 59.9307 | 49.4
3263 | 2022-05-18 12:14 | 39.3367 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.4699 | μmol/L | 17.8924 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.087 | 130239.057 | 290650.6822 | 59.9307 | 49.4
3273 | 2022-05-18 12:14 | 39.6705 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.4362 | μmol/L | 17.8801 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.093 | 130277.2414 | 290671.9281 | 59.9307 | 49.4
3283 | 2022-05-18 12:15 | 40.0034 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.2018 | μmol/L | 17.8863 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.101 | 130315.9801 | 290664.4462 | 59.9307 | 49.4
3293 | 2022-05-18 12:15 | 40.3371 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.9221 | μmol/L | 17.8924 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.111 | 130350.0034 | 290660.0282 | 59.9307 | 49.4
3303 | 2022-05-18 12:15 | 40.6702 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 268.0254 | μmol/L | 17.8801 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.111 | 130400.3419 | 290653.3207 | 59.9307 | 49.4
3313 | 2022-05-18 12:16 | 41.0037 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.8598 | μmol/L | 17.8863 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.116 | 130438.2424 | 290651.7498 | 59.9307 | 49.4
3323 | 2022-05-18 12:16 | 41.3369 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.7003 | μmol/L | 17.8863 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.123 | 130488.8982 | 290672.5673 | 59.9307 | 49.4
3333 | 2022-05-18 12:16 | 41.6699 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.5925 | μmol/L | 17.8801 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.13 | 130527.7703 | 290680.1282 | 59.9307 | 49.4
3343 | 2022-05-18 12:17 | 42.0036 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.365 | μmol/L | 17.8801 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.14 | 130566.0988 | 290669.2155 | 59.9307 | 49.4
3353 | 2022-05-18 12:17 | 42.3367 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.3483 | μmol/L | 17.8739 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.143 | 130593.9266 | 290645.1599 | 59.9307 | 49.4
3363 | 2022-05-18 12:17 | 42.6706 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.1832 | μmol/L | 17.8801 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.148 | 130618.9141 | 290625.9885 | 59.9307 | 49.4
3373 | 2022-05-18 12:18 | 43.0037 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.0984 | μmol/L | 17.8739 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.154 | 130647.6445 | 290629.9438 | 59.9307 | 49.4
3383 | 2022-05-18 12:18 | 43.3367 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 266.9909 | μmol/L | 17.8678 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.161 | 130681.7027 | 290647.3977 | 59.9307 | 49.4
3393 | 2022-05-18 12:18 | 43.6703 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 267.0136 | μmol/L | 17.8678 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.16 | 130698.1893 | 290640.4581 | 59.9307 | 49.4
3403 | 2022-05-18 12:19 | 44.0034 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 266.8548 | μmol/L | 17.8678 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.167 | 130734.6287 | 290645.5332 | 59.9307 | 49.4
3412 | 2022-05-18 12:19 | 44.3372 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 266.7475 | μmol/L | 17.8616 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 23.174 | 130765.5307 | 290647.3214 | 59.9307 | 49.4