## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 214428135 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3427 | 2022-05-18 12:39 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.314 | μmol/L | 18.0837 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.775 | 94900.2973 | 269060.4236 | 26.25 | 74
3436 | 2022-05-18 12:40 | 0.32926 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1961 | μmol/L | 18.0837 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.78 | 94896.4405 | 269057.8789 | 26.25 | 74
3446 | 2022-05-18 12:40 | 0.66276 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.2963 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.778 | 94920.5799 | 269074.1311 | 26.25 | 74
3456 | 2022-05-18 12:40 | 0.99622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1783 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.783 | 94952.0848 | 269060.4283 | 26.25 | 74
3467 | 2022-05-18 12:41 | 1.3289 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1842 | μmol/L | 18.0715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.785 | 94968.6924 | 269085.3752 | 26.25 | 74
3477 | 2022-05-18 12:41 | 1.6624 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.2194 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.788 | 94986.2608 | 269074.4623 | 26.25 | 74
3487 | 2022-05-18 12:41 | 1.996 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1251 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.792 | 95001.5049 | 269089.6486 | 26.25 | 74
3497 | 2022-05-18 12:42 | 2.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.0486 | μmol/L | 18.0654 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.793 | 95011.4335 | 269096.2864 | 26.25 | 74
3506 | 2022-05-18 12:42 | 2.6623 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1016 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.793 | 95026.7101 | 269080.9212 | 26.25 | 74
3516 | 2022-05-18 12:42 | 2.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9602 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.799 | 95052.0859 | 269073.0463 | 26.25 | 74
3527 | 2022-05-18 12:43 | 3.3293 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.0367 | μmol/L | 18.0533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.798 | 95068.2882 | 269075.1885 | 26.25 | 74
3537 | 2022-05-18 12:43 | 3.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9131 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.801 | 95075.8075 | 269074.8603 | 26.25 | 74
3546 | 2022-05-18 12:43 | 3.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9661 | μmol/L | 18.0533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.801 | 95085.8725 | 269071.9843 | 26.25 | 74
3556 | 2022-05-18 12:44 | 4.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8248 | μmol/L | 18.0533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.807 | 95103.9806 | 269066.417 | 26.25 | 74
3566 | 2022-05-18 12:44 | 4.6621 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8542 | μmol/L | 18.0472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.808 | 95112.5305 | 269074.851 | 26.25 | 74
3577 | 2022-05-18 12:44 | 4.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7365 | μmol/L | 18.0472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.813 | 95139.1945 | 269071.4298 | 26.25 | 74
3587 | 2022-05-18 12:45 | 5.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8895 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.811 | 95155.8313 | 269072.4611 | 26.25 | 74
3596 | 2022-05-18 12:45 | 5.6621 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7601 | μmol/L | 18.0472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.812 | 95149.669 | 269059.2755 | 26.25 | 74
3607 | 2022-05-18 12:45 | 5.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7718 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.816 | 95150.5046 | 269056.7688 | 26.25 | 74
3617 | 2022-05-18 12:46 | 6.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7895 | μmol/L | 18.0411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.813 | 95163.8722 | 269070.0197 | 26.25 | 74
3627 | 2022-05-18 12:46 | 6.6623 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7013 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.819 | 95175.9314 | 269065.7016 | 26.25 | 74
3637 | 2022-05-18 12:46 | 6.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5367 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.826 | 95197.636 | 269066.7092 | 26.25 | 74
3646 | 2022-05-18 12:47 | 7.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7718 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.816 | 95186.901 | 269073.2277 | 26.25 | 74
3657 | 2022-05-18 12:47 | 7.6625 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6601 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.823 | 95198.5413 | 269063.8069 | 26.25 | 74
3667 | 2022-05-18 12:47 | 7.9961 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6131 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.825 | 95211.4747 | 269068.2602 | 26.25 | 74
3677 | 2022-05-18 12:48 | 8.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6366 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.824 | 95212.3108 | 269060.7705 | 26.25 | 74
3687 | 2022-05-18 12:48 | 8.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6366 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.824 | 95217.3735 | 269062.1893 | 26.25 | 74
3697 | 2022-05-18 12:48 | 8.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6425 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.826 | 95230.8802 | 269064.3189 | 26.25 | 74
3707 | 2022-05-18 12:49 | 9.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4956 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.83 | 95227.6632 | 269072.3378 | 26.25 | 74
3717 | 2022-05-18 12:49 | 9.6627 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6425 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.826 | 95245.7595 | 269074.5009 | 26.25 | 74
3726 | 2022-05-18 12:49 | 9.9955 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5544 | μmol/L | 18.0167 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.832 | 95255.1322 | 269069.2353 | 26.25 | 74
3737 | 2022-05-18 12:50 | 10.3293 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5779 | μmol/L | 18.0167 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.831 | 95250.5439 | 269054.0882 | 26.25 | 74
3747 | 2022-05-18 12:50 | 10.6629 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4604 | μmol/L | 18.0167 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 95244.4211 | 269065.1729 | 26.25 | 74
3756 | 2022-05-18 12:50 | 10.9955 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4839 | μmol/L | 18.0167 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.835 | 95256.3252 | 269066.837 | 26.25 | 74
3766 | 2022-05-18 12:51 | 11.3292 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5603 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.834 | 95274.8596 | 269063.1972 | 26.25 | 74
3777 | 2022-05-18 12:51 | 11.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4369 | μmol/L | 18.0167 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.837 | 95284.8845 | 269067.8634 | 26.25 | 74
3786 | 2022-05-18 12:51 | 11.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5368 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.835 | 95292.0756 | 269057.6948 | 26.25 | 74
3796 | 2022-05-18 12:52 | 12.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4663 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.838 | 95306.2291 | 269060.0486 | 26.25 | 74
3806 | 2022-05-18 12:52 | 12.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5133 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 95300.0543 | 269062.6854 | 26.25 | 74
3817 | 2022-05-18 12:52 | 12.9962 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5662 | μmol/L | 18.0045 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 95317.2246 | 269047.3923 | 26.25 | 74
3826 | 2022-05-18 12:53 | 13.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5252 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.84 | 95329.0814 | 269048.2867 | 26.25 | 74
3836 | 2022-05-18 12:53 | 13.6623 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4838 | μmol/L | 17.9985 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.842 | 95333.2353 | 269048.9768 | 26.25 | 74
3847 | 2022-05-18 12:53 | 13.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4077 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.845 | 95337.5245 | 269057.0478 | 26.25 | 74
3856 | 2022-05-18 12:54 | 14.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4606 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.845 | 95364.6968 | 269052.9811 | 26.25 | 74
3867 | 2022-05-18 12:54 | 14.6629 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3608 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.847 | 95372.232 | 269050.7432 | 26.25 | 74
3877 | 2022-05-18 12:54 | 14.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4606 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.845 | 95378.8952 | 269052.7221 | 26.25 | 74
3886 | 2022-05-18 12:55 | 15.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4666 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.847 | 95360.2363 | 269046.0526 | 26.25 | 74
3896 | 2022-05-18 12:55 | 15.6623 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5311 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.842 | 95383.5026 | 269053.3417 | 26.25 | 74
3906 | 2022-05-18 12:55 | 15.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5136 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.845 | 95408.2576 | 269056.0842 | 26.25 | 74
3917 | 2022-05-18 12:56 | 16.3296 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4725 | μmol/L | 17.9802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.849 | 95414.3501 | 269051.7444 | 26.25 | 74
3926 | 2022-05-18 12:56 | 16.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3961 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.85 | 95423.4782 | 269059.5009 | 26.25 | 74
3936 | 2022-05-18 12:56 | 16.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3727 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.851 | 95442.3113 | 269064.1468 | 26.25 | 74
3946 | 2022-05-18 12:57 | 17.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4725 | μmol/L | 17.9802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.849 | 95432.9796 | 269076.1979 | 26.25 | 74
3956 | 2022-05-18 12:57 | 17.6629 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4081 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.854 | 95449.8874 | 269066.8326 | 26.25 | 74
3966 | 2022-05-18 12:57 | 17.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3022 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.854 | 95453.768 | 269070.681 | 26.25 | 74
3976 | 2022-05-18 12:58 | 18.3291 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3376 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.857 | 95465.4726 | 269066.2188 | 26.25 | 74
3987 | 2022-05-18 12:58 | 18.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3611 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.856 | 95476.9792 | 269069.0636 | 26.25 | 74
3997 | 2022-05-18 12:58 | 18.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3142 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.858 | 95468.2605 | 269065.617 | 26.25 | 74
4007 | 2022-05-18 12:59 | 19.3292 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3611 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.856 | 95491.8649 | 269072.7508 | 26.25 | 74
4017 | 2022-05-18 12:59 | 19.6627 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1499 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.865 | 95500.5626 | 269064.2916 | 26.25 | 74
4026 | 2022-05-18 12:59 | 19.9954 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3846 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.855 | 95502.9334 | 269062.6037 | 26.25 | 74
4036 | 2022-05-18 13:00 | 20.329 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2259 | μmol/L | 17.9741 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.862 | 95508.6028 | 269077.5906 | 26.25 | 74
4046 | 2022-05-18 13:00 | 20.6625 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2963 | μmol/L | 17.9741 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.859 | 95531.5064 | 269071.6099 | 26.25 | 74
4056 | 2022-05-18 13:00 | 20.9961 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2028 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.865 | 95532.236 | 269075.8217 | 26.25 | 74
4066 | 2022-05-18 13:01 | 21.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2028 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.865 | 95547.2073 | 269078.4013 | 26.25 | 74
4076 | 2022-05-18 13:01 | 21.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2028 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.865 | 95564.945 | 269085.6661 | 26.25 | 74
4087 | 2022-05-18 13:01 | 21.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3556 | μmol/L | 17.9558 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.863 | 95574.3119 | 269074.047 | 26.25 | 74
4096 | 2022-05-18 13:02 | 22.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.185 | μmol/L | 17.968 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.866 | 95572.7572 | 269089.6077 | 26.25 | 74
4106 | 2022-05-18 13:02 | 22.6624 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1675 | μmol/L | 17.9619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.869 | 95578.9106 | 269083.858 | 26.25 | 74
4116 | 2022-05-18 13:02 | 22.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1675 | μmol/L | 17.9619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.869 | 95605.5631 | 269106.4925 | 26.25 | 74
4126 | 2022-05-18 13:03 | 23.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2383 | μmol/L | 17.9558 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.868 | 95631.1942 | 269087.3915 | 26.25 | 74
4136 | 2022-05-18 13:03 | 23.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1441 | μmol/L | 17.9619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.87 | 95646.2269 | 269100.765 | 26.25 | 74
4146 | 2022-05-18 13:03 | 23.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1206 | μmol/L | 17.9619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.871 | 95652.7637 | 269101.7353 | 26.25 | 74
4156 | 2022-05-18 13:04 | 24.3292 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2733 | μmol/L | 17.9497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.869 | 95667.2068 | 269090.3479 | 26.25 | 74
4167 | 2022-05-18 13:04 | 24.6627 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2208 | μmol/L | 17.9497 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.871 | 95687.4619 | 269091.101 | 26.25 | 74
4177 | 2022-05-18 13:04 | 24.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0976 | μmol/L | 17.9558 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.874 | 95666.3176 | 269085.7728 | 26.25 | 74
4186 | 2022-05-18 13:05 | 25.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.2264 | μmol/L | 17.9497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.871 | 95680.2938 | 269089.6174 | 26.25 | 74
4197 | 2022-05-18 13:05 | 25.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1735 | μmol/L | 17.9558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.871 | 95681.8747 | 269094.3182 | 26.25 | 74
4207 | 2022-05-18 13:05 | 25.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1565 | μmol/L | 17.9436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.876 | 95687.5086 | 269094.413 | 26.25 | 74
4217 | 2022-05-18 13:06 | 26.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0623 | μmol/L | 17.9497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.878 | 95694.4819 | 269095.0055 | 26.25 | 74
4227 | 2022-05-18 13:06 | 26.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1326 | μmol/L | 17.9497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.875 | 95724.4395 | 269091.6069 | 26.25 | 74
4237 | 2022-05-18 13:06 | 26.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1621 | μmol/L | 17.9436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.876 | 95710.4294 | 269099.41 | 26.25 | 74
4247 | 2022-05-18 13:07 | 27.3291 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1386 | μmol/L | 17.9436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.877 | 95727.2051 | 269103.6776 | 26.25 | 74
4256 | 2022-05-18 13:07 | 27.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1386 | μmol/L | 17.9436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.877 | 95741.7321 | 269096.5479 | 26.25 | 74
4267 | 2022-05-18 13:07 | 27.9962 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1152 | μmol/L | 17.9436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.878 | 95752.9587 | 269099.8537 | 26.25 | 74
4276 | 2022-05-18 13:08 | 28.329 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0978 | μmol/L | 17.9375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.881 | 95765.2192 | 269104.5815 | 26.25 | 74
4286 | 2022-05-18 13:08 | 28.6626 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1212 | μmol/L | 17.9375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.88 | 95782.8434 | 269097.9127 | 26.25 | 74
4297 | 2022-05-18 13:08 | 28.9961 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1915 | μmol/L | 17.9375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.877 | 95785.4497 | 269103.08 | 26.25 | 74
4306 | 2022-05-18 13:09 | 29.3287 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0743 | μmol/L | 17.9375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.882 | 95796.3016 | 269116.2437 | 26.25 | 74
4316 | 2022-05-18 13:09 | 29.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0978 | μmol/L | 17.9375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.881 | 95832.4094 | 269109.9133 | 26.25 | 74
4326 | 2022-05-18 13:09 | 29.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1332 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.884 | 95831.2623 | 269108.9926 | 26.25 | 74
4336 | 2022-05-18 13:10 | 30.3293 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.01 | μmol/L | 17.9315 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.887 | 95821.6798 | 269107.8789 | 26.25 | 74
4347 | 2022-05-18 13:10 | 30.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0335 | μmol/L | 17.9315 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.886 | 95842.1939 | 269119.8904 | 26.25 | 74
4356 | 2022-05-18 13:10 | 30.9955 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1567 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.883 | 95861.1718 | 269127.9478 | 26.25 | 74
4367 | 2022-05-18 13:11 | 31.3291 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.01 | μmol/L | 17.9315 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.887 | 95880.4073 | 269118.7298 | 26.25 | 74
4377 | 2022-05-18 13:11 | 31.6625 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.1627 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.885 | 95884.9207 | 269123.8296 | 26.25 | 74
4386 | 2022-05-18 13:11 | 31.996 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9926 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.89 | 95880.882 | 269122.4401 | 26.25 | 74
4397 | 2022-05-18 13:12 | 32.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0395 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.888 | 95896.546 | 269136.4184 | 26.25 | 74
4406 | 2022-05-18 13:12 | 32.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0629 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.887 | 95916.8037 | 269133.6728 | 26.25 | 74
4417 | 2022-05-18 13:12 | 32.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0335 | μmol/L | 17.9315 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.886 | 95912.9639 | 269135.3952 | 26.25 | 74
4427 | 2022-05-18 13:13 | 33.3291 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9224 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.893 | 95929.9823 | 269131.5575 | 26.25 | 74
4436 | 2022-05-18 13:13 | 33.6626 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0161 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.889 | 95925.1757 | 269137.6354 | 26.25 | 74
4447 | 2022-05-18 13:13 | 33.9962 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9987 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.892 | 95945.8721 | 269139.9141 | 26.25 | 74
4457 | 2022-05-18 13:14 | 34.329 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9987 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.892 | 95956.5808 | 269141.8862 | 26.25 | 74
4467 | 2022-05-18 13:14 | 34.6628 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0455 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.89 | 95974.9894 | 269134.7475 | 26.25 | 74
4476 | 2022-05-18 13:14 | 34.9956 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9987 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.892 | 95963.691 | 269124.6792 | 26.25 | 74
4486 | 2022-05-18 13:15 | 35.329 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0161 | μmol/L | 17.9254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.889 | 95958.6813 | 269128.8653 | 26.25 | 74
4496 | 2022-05-18 13:15 | 35.6624 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8816 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.897 | 95965.0996 | 269126.862 | 26.25 | 74
4506 | 2022-05-18 13:15 | 35.996 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0047 | μmol/L | 17.9132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.894 | 95961.7751 | 269126.5942 | 26.25 | 74
4516 | 2022-05-18 13:16 | 36.3289 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9284 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.895 | 95963.8312 | 269127.0862 | 26.25 | 74
4527 | 2022-05-18 13:16 | 36.6623 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9753 | μmol/L | 17.9193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.893 | 95988.096 | 269110.6066 | 26.25 | 74
4537 | 2022-05-18 13:16 | 36.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9874 | μmol/L | 17.9071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.897 | 96004.383 | 269114.7769 | 26.25 | 74
4547 | 2022-05-18 13:17 | 37.3294 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.911 | μmol/L | 17.9132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.898 | 95990.9617 | 269121.3628 | 26.25 | 74
4557 | 2022-05-18 13:17 | 37.6622 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8876 | μmol/L | 17.9132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.899 | 95988.498 | 269116.458 | 26.25 | 74
4566 | 2022-05-18 13:17 | 37.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9405 | μmol/L | 17.9071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.899 | 95997.2695 | 269111.5721 | 26.25 | 74
4576 | 2022-05-18 13:18 | 38.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9345 | μmol/L | 17.9132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.897 | 95995.943 | 269113.7064 | 26.25 | 74
4586 | 2022-05-18 13:18 | 38.6624 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.0576 | μmol/L | 17.9071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.894 | 96020.398 | 269107.1482 | 26.25 | 74
4596 | 2022-05-18 13:18 | 38.9959 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9171 | μmol/L | 17.9071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.9 | 96032.4667 | 269096.5203 | 26.25 | 74
4606 | 2022-05-18 13:19 | 39.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9232 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.902 | 96065.446 | 269108.8756 | 26.25 | 74
4617 | 2022-05-18 13:19 | 39.6626 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8001 | μmol/L | 17.9071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.905 | 96082.9808 | 269113.3687 | 26.25 | 74
4627 | 2022-05-18 13:19 | 39.9955 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8876 | μmol/L | 17.9132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.899 | 96097.0082 | 269088.8966 | 26.25 | 74
4637 | 2022-05-18 13:20 | 40.3293 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9466 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.901 | 96110.7879 | 269075.9683 | 26.25 | 74
4646 | 2022-05-18 13:20 | 40.6625 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8997 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.903 | 96124.7397 | 269083.5749 | 26.25 | 74
4656 | 2022-05-18 13:20 | 40.9962 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8295 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.906 | 96134.0575 | 269084.218 | 26.25 | 74
4667 | 2022-05-18 13:21 | 41.3289 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.7827 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.908 | 96130.7036 | 269081.1184 | 26.25 | 74
4677 | 2022-05-18 13:21 | 41.6626 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8824 | μmol/L | 17.8949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.906 | 96146.4024 | 269084.7906 | 26.25 | 74
4686 | 2022-05-18 13:21 | 41.9958 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9761 | μmol/L | 17.8949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.902 | 96160.0157 | 269077.5788 | 26.25 | 74
4696 | 2022-05-18 13:22 | 42.3288 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8824 | μmol/L | 17.8949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.906 | 96140.0887 | 269077.9495 | 26.25 | 74
4706 | 2022-05-18 13:22 | 42.6623 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.7593 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.909 | 96134.2632 | 269083.459 | 26.25 | 74
4717 | 2022-05-18 13:22 | 42.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8885 | μmol/L | 17.8888 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.908 | 96156.2229 | 269077.8097 | 26.25 | 74
4727 | 2022-05-18 13:23 | 43.329 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8061 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.907 | 96167.043 | 269082.0411 | 26.25 | 74
4736 | 2022-05-18 13:23 | 43.6621 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9058 | μmol/L | 17.8949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.905 | 96167.4387 | 269079.5681 | 26.25 | 74
4747 | 2022-05-18 13:23 | 43.9962 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.7827 | μmol/L | 17.901 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.908 | 96172.4052 | 269065.7366 | 26.25 | 74
4755 | 2022-05-18 13:24 | 44.3293 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.8651 | μmol/L | 17.8888 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.909 | 96149.4715 | 269059.854 | 26.25 | 74
4762 | 2022-05-18 13:24 | 44.6625 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9119 | μmol/L | 17.8888 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.907 | 96161.7217 | 269070.9273 | 26.25 | 74
4769 | 2022-05-18 13:24 | 44.9957 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.9353 | μmol/L | 17.8888 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.906 | 96169.5784 | 269075.794 | 26.25 | 74
4771 | 2022-05-18 13:25 | 45.3295 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 276.7949 | μmol/L | 17.8888 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.912 | 96182.1966 | 269075.6143 | 26.25 | 74