## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 136908740 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:43

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3417 | 2022-05-18 12:39 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 274.0475 | μmol/L | 18.0291 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.715 | 88314.6962 | 294920.0314 | 30.45 | 38.1
3424 | 2022-05-18 12:39 | 0.32854 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.9063 | μmol/L | 18.0291 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.721 | 88331.272 | 294923.8156 | 30.45 | 38.1
3434 | 2022-05-18 12:40 | 0.66225 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.8173 | μmol/L | 18.023 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.727 | 88352.452 | 294923.8433 | 30.45 | 38.1
3444 | 2022-05-18 12:40 | 0.99498 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.6763 | μmol/L | 18.023 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.733 | 88359.4828 | 294924.1081 | 30.45 | 38.1
3454 | 2022-05-18 12:40 | 1.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.7336 | μmol/L | 18.0108 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.735 | 88376.8291 | 294940.8729 | 30.45 | 38.1
3464 | 2022-05-18 12:41 | 1.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.5875 | μmol/L | 18.0169 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.739 | 88385.5666 | 294946.3469 | 30.45 | 38.1
3474 | 2022-05-18 12:41 | 1.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.5508 | μmol/L | 18.0047 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.745 | 88405.2908 | 294950.8117 | 30.45 | 38.1
3484 | 2022-05-18 12:41 | 2.3291 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.4935 | μmol/L | 18.0169 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.743 | 88409.2945 | 294934.7608 | 30.45 | 38.1
3494 | 2022-05-18 12:42 | 2.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.4386 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.752 | 88427.2993 | 294937.597 | 30.45 | 38.1
3504 | 2022-05-18 12:42 | 2.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.4672 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.753 | 88437.823 | 294941.5937 | 30.45 | 38.1
3514 | 2022-05-18 12:42 | 3.3291 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.2978 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.758 | 88448.3348 | 294936.3241 | 30.45 | 38.1
3524 | 2022-05-18 12:43 | 3.6618 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.2457 | μmol/L | 18.0047 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.758 | 88449.938 | 294959.1703 | 30.45 | 38.1
3534 | 2022-05-18 12:43 | 3.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.1285 | μmol/L | 18.0047 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.763 | 88458.4479 | 294939.2262 | 30.45 | 38.1
3544 | 2022-05-18 12:43 | 4.3291 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.1388 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.767 | 88468.7302 | 294936.5853 | 30.45 | 38.1
3554 | 2022-05-18 12:44 | 4.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.1102 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.766 | 88474.4735 | 294949.5363 | 30.45 | 38.1
3564 | 2022-05-18 12:44 | 4.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.0451 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.771 | 88478.3476 | 294925.6444 | 30.45 | 38.1
3574 | 2022-05-18 12:44 | 5.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 273.0035 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.775 | 88492.7048 | 294940.7525 | 30.45 | 38.1
3584 | 2022-05-18 12:45 | 5.6619 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.9983 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.773 | 88504.7321 | 294929.7298 | 30.45 | 38.1
3594 | 2022-05-18 12:45 | 5.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.9332 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.778 | 88502.5457 | 294927.8726 | 30.45 | 38.1
3604 | 2022-05-18 12:45 | 6.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.915 | μmol/L | 17.9802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.781 | 88510.6738 | 294936.4934 | 30.45 | 38.1
3614 | 2022-05-18 12:46 | 6.6621 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.8161 | μmol/L | 17.9863 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.783 | 88528.9192 | 294936.4495 | 30.45 | 38.1
3624 | 2022-05-18 12:46 | 6.9958 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.8213 | μmol/L | 17.9802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.785 | 88536.8254 | 294937.5986 | 30.45 | 38.1
3634 | 2022-05-18 12:46 | 7.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.7511 | μmol/L | 17.9802 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.788 | 88543.3696 | 294946.3067 | 30.45 | 38.1
3644 | 2022-05-18 12:47 | 7.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.7798 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.789 | 88545.1083 | 294944.7219 | 30.45 | 38.1
3654 | 2022-05-18 12:47 | 7.995 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.7148 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.794 | 88556.6826 | 294954.5642 | 30.45 | 38.1
3664 | 2022-05-18 12:47 | 8.3286 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.7382 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.793 | 88580.5215 | 294958.9881 | 30.45 | 38.1
3674 | 2022-05-18 12:48 | 8.6622 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.481 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.804 | 88594.1196 | 294957.881 | 30.45 | 38.1
3684 | 2022-05-18 12:48 | 8.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.5225 | μmol/L | 17.9741 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.8 | 88602.1137 | 294954.7764 | 30.45 | 38.1
3694 | 2022-05-18 12:48 | 9.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.3875 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.808 | 88628.494 | 294957.1274 | 30.45 | 38.1
3704 | 2022-05-18 12:49 | 9.6621 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.3227 | μmol/L | 17.9619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.813 | 88657.3244 | 294962.5517 | 30.45 | 38.1
3714 | 2022-05-18 12:49 | 9.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.1541 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.818 | 88677.5296 | 294968.9542 | 30.45 | 38.1
3724 | 2022-05-18 12:49 | 10.3286 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.1127 | μmol/L | 17.9619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.822 | 88692.854 | 294944.8821 | 30.45 | 38.1
3734 | 2022-05-18 12:50 | 10.6624 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.9209 | μmol/L | 17.968 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.828 | 88712.3681 | 294960.7312 | 30.45 | 38.1
3744 | 2022-05-18 12:50 | 10.9951 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.8562 | μmol/L | 17.9619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.833 | 88721.5817 | 294949.8194 | 30.45 | 38.1
3754 | 2022-05-18 12:50 | 11.3286 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.89 | μmol/L | 17.9497 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 88727.6045 | 294951.8135 | 30.45 | 38.1
3764 | 2022-05-18 12:51 | 11.6623 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.0118 | μmol/L | 17.9436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.833 | 88725.5146 | 294942.6823 | 30.45 | 38.1
3774 | 2022-05-18 12:51 | 11.9953 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.2248 | μmol/L | 17.9131 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.835 | 88735.4418 | 294953.1194 | 30.45 | 38.1
3784 | 2022-05-18 12:51 | 12.3288 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.2248 | μmol/L | 17.9131 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.835 | 88739.5618 | 294938.6375 | 30.45 | 38.1
3794 | 2022-05-18 12:52 | 12.6619 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 272.0976 | μmol/L | 17.9253 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 88740.3305 | 294956.3374 | 30.45 | 38.1
3804 | 2022-05-18 12:52 | 12.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.8825 | μmol/L | 17.9314 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.843 | 88752.3815 | 294951.6656 | 30.45 | 38.1
3814 | 2022-05-18 12:52 | 13.329 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.9006 | μmol/L | 17.9375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.84 | 88757.3202 | 294952.1491 | 30.45 | 38.1
3824 | 2022-05-18 12:53 | 13.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.7788 | μmol/L | 17.9436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.843 | 88767.7152 | 294950.455 | 30.45 | 38.1
3834 | 2022-05-18 12:53 | 13.9953 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.6391 | μmol/L | 17.9436 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.849 | 88769.4756 | 294954.8539 | 30.45 | 38.1
3844 | 2022-05-18 12:53 | 14.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.854 | μmol/L | 17.9375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.842 | 88765.8161 | 294954.4378 | 30.45 | 38.1
3854 | 2022-05-18 12:54 | 14.6623 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.9524 | μmol/L | 17.9314 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.84 | 88757.4408 | 294956.9316 | 30.45 | 38.1
3864 | 2022-05-18 12:54 | 14.9951 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.8307 | μmol/L | 17.9375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.843 | 88763.2105 | 294966.0186 | 30.45 | 38.1
3874 | 2022-05-18 12:54 | 15.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.7428 | μmol/L | 17.9314 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.849 | 88774.1671 | 294972.667 | 30.45 | 38.1
3884 | 2022-05-18 12:55 | 15.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.6444 | μmol/L | 17.9375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.851 | 88788.7869 | 294968.0859 | 30.45 | 38.1
3894 | 2022-05-18 12:55 | 15.9955 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.5048 | μmol/L | 17.9375 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.857 | 88816.7358 | 294968.6874 | 30.45 | 38.1
3904 | 2022-05-18 12:55 | 16.329 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.4403 | μmol/L | 17.9314 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.862 | 88854.0359 | 294974.3618 | 30.45 | 38.1
3914 | 2022-05-18 12:56 | 16.6622 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 271.1667 | μmol/L | 17.9253 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.876 | 88900.1411 | 294981.9621 | 30.45 | 38.1
3924 | 2022-05-18 12:56 | 16.995 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 270.865 | μmol/L | 17.9253 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.889 | 88956.7006 | 294972.6711 | 30.45 | 38.1
3934 | 2022-05-18 12:56 | 17.3286 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 270.4017 | μmol/L | 17.9253 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.909 | 89037.6104 | 294979.2237 | 30.45 | 38.1
3944 | 2022-05-18 12:57 | 17.6619 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 270.1063 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.924 | 89113.3259 | 294972.5466 | 30.45 | 38.1
3954 | 2022-05-18 12:57 | 17.9955 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.783 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.938 | 89166.9847 | 294984.8021 | 30.45 | 38.1
3964 | 2022-05-18 12:57 | 18.3283 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.7475 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.944 | 89210.5956 | 294988.795 | 30.45 | 38.1
3974 | 2022-05-18 12:58 | 18.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.4832 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.951 | 89218.7366 | 294985.746 | 30.45 | 38.1
3984 | 2022-05-18 12:58 | 18.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.4371 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.953 | 89220.2838 | 294988.4871 | 30.45 | 38.1
3994 | 2022-05-18 12:58 | 19.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.5293 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.949 | 89217.5557 | 294991.0972 | 30.45 | 38.1
4004 | 2022-05-18 12:59 | 19.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.6446 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.944 | 89205.0308 | 294995.8089 | 30.45 | 38.1
4014 | 2022-05-18 12:59 | 19.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.5985 | μmol/L | 17.9192 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.946 | 89191.956 | 294994.1801 | 30.45 | 38.1
4024 | 2022-05-18 12:59 | 20.329 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.8629 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.939 | 89178.4544 | 294991.9152 | 30.45 | 38.1
4034 | 2022-05-18 13:00 | 20.6618 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.9553 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.935 | 89157.8564 | 294992.4398 | 30.45 | 38.1
4044 | 2022-05-18 13:00 | 20.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 270.0353 | μmol/L | 17.8948 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.936 | 89146.1861 | 294990.1541 | 30.45 | 38.1
4054 | 2022-05-18 13:00 | 21.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.9091 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.937 | 89164.133 | 295004.6014 | 30.45 | 38.1
4064 | 2022-05-18 13:01 | 21.6618 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.6783 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.947 | 89211.4891 | 295001.3372 | 30.45 | 38.1
4074 | 2022-05-18 13:01 | 21.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 269.3787 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.96 | 89280.2022 | 295003.9296 | 30.45 | 38.1
4084 | 2022-05-18 13:01 | 22.329 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 268.8955 | μmol/L | 17.907 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.981 | 89364.6391 | 294996.3173 | 30.45 | 38.1
4094 | 2022-05-18 13:02 | 22.6621 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 268.4875 | μmol/L | 17.9009 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.001 | 89441.8265 | 295007.0046 | 30.45 | 38.1
4104 | 2022-05-18 13:02 | 22.9951 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 268.0116 | μmol/L | 17.8948 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.024 | 89554.4231 | 295002.9119 | 30.45 | 38.1
4114 | 2022-05-18 13:02 | 23.3288 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 267.3824 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.056 | 89692.6785 | 295008.4865 | 30.45 | 38.1
4124 | 2022-05-18 13:03 | 23.6616 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 266.818 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.083 | 89792.1247 | 295011.761 | 30.45 | 38.1
4134 | 2022-05-18 13:03 | 23.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 266.7616 | μmol/L | 17.8887 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.081 | 89816.1158 | 295003.2355 | 30.45 | 38.1
4144 | 2022-05-18 13:03 | 24.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 266.3923 | μmol/L | 17.8948 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.095 | 89881.8706 | 295023.0182 | 30.45 | 38.1
4154 | 2022-05-18 13:04 | 24.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 266.1987 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.108 | 89928.4413 | 295011.3711 | 30.45 | 38.1
4164 | 2022-05-18 13:04 | 24.9952 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 265.921 | μmol/L | 17.8887 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.118 | 89954.6956 | 295013.7367 | 30.45 | 38.1
4174 | 2022-05-18 13:04 | 25.3287 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 266.1134 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.114 | 89974.1701 | 295018.0782 | 30.45 | 38.1
4184 | 2022-05-18 13:05 | 25.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 265.7506 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.13 | 90010.8974 | 295029.2487 | 30.45 | 38.1
4194 | 2022-05-18 13:05 | 25.9953 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 265.6998 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.13 | 90028.8467 | 295041.1034 | 30.45 | 38.1
4204 | 2022-05-18 13:05 | 26.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 265.6717 | μmol/L | 17.8887 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.129 | 90014.8066 | 295045.3239 | 30.45 | 38.1
4214 | 2022-05-18 13:06 | 26.6616 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 264.8408 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.168 | 90188.9365 | 295047.3584 | 30.45 | 38.1
4224 | 2022-05-18 13:06 | 26.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.8108 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.216 | 90418.7408 | 295032.0621 | 30.45 | 38.1
4234 | 2022-05-18 13:06 | 27.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 262.8026 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.261 | 90609.4311 | 295042.8335 | 30.45 | 38.1
4244 | 2022-05-18 13:07 | 27.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 261.7045 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.308 | 90820.6418 | 295041.055 | 30.45 | 38.1
4254 | 2022-05-18 13:07 | 27.9953 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.8222 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.35 | 91028.3344 | 295056.1682 | 30.45 | 38.1
4264 | 2022-05-18 13:07 | 28.3288 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.1366 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.381 | 91161.4903 | 295049.979 | 30.45 | 38.1
4274 | 2022-05-18 13:08 | 28.6623 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.6349 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.406 | 91273.2971 | 295058.4697 | 30.45 | 38.1
4284 | 2022-05-18 13:08 | 28.9951 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.1508 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.428 | 91358.4346 | 295043.2767 | 30.45 | 38.1
4294 | 2022-05-18 13:08 | 29.3287 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.9147 | μmol/L | 17.8642 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.441 | 91405.8137 | 295063.0385 | 30.45 | 38.1
4304 | 2022-05-18 13:09 | 29.6624 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.4267 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.461 | 91493.4002 | 295070.716 | 30.45 | 38.1
4314 | 2022-05-18 13:09 | 29.9951 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.0109 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.48 | 91602.5238 | 295074.5253 | 30.45 | 38.1
4324 | 2022-05-18 13:09 | 30.3286 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.5522 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.501 | 91680.3341 | 295080.9346 | 30.45 | 38.1
4334 | 2022-05-18 13:10 | 30.6622 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.2688 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.514 | 91736.2747 | 295077.0824 | 30.45 | 38.1
4344 | 2022-05-18 13:10 | 30.995 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 256.8223 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.53 | 91824.33 | 295082.3388 | 30.45 | 38.1
4354 | 2022-05-18 13:10 | 31.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 256.6975 | μmol/L | 17.8764 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.538 | 91851.9241 | 295092.154 | 30.45 | 38.1
4364 | 2022-05-18 13:11 | 31.662 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.2303 | μmol/L | 17.8887 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.509 | 91726.4955 | 295088.6784 | 30.45 | 38.1
4374 | 2022-05-18 13:11 | 31.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.2141 | μmol/L | 17.8826 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.512 | 91720.0841 | 295084.6591 | 30.45 | 38.1
4384 | 2022-05-18 13:11 | 32.3291 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.2466 | μmol/L | 17.8764 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.513 | 91732.0109 | 295083.552 | 30.45 | 38.1
4394 | 2022-05-18 13:12 | 32.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.3612 | μmol/L | 17.8703 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.51 | 91742.4 | 295087.1405 | 30.45 | 38.1
4404 | 2022-05-18 13:12 | 32.9952 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.1599 | μmol/L | 17.8703 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.519 | 91755.2462 | 295083.521 | 30.45 | 38.1
4414 | 2022-05-18 13:12 | 33.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.4706 | μmol/L | 17.8642 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.507 | 91735.2578 | 295093.3987 | 30.45 | 38.1
4424 | 2022-05-18 13:13 | 33.6624 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.2026 | μmol/L | 17.852 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.478 | 91599.2183 | 295095.4494 | 30.45 | 38.1
4434 | 2022-05-18 13:13 | 33.9951 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.1232 | μmol/L | 17.8581 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.434 | 91385.4643 | 295098.4342 | 30.45 | 38.1
4444 | 2022-05-18 13:13 | 34.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.1344 | μmol/L | 17.8642 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.431 | 91362.8348 | 295092.5974 | 30.45 | 38.1
4454 | 2022-05-18 13:14 | 34.6617 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.5964 | μmol/L | 17.8581 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.458 | 91488.6117 | 295094.0684 | 30.45 | 38.1
4464 | 2022-05-18 13:14 | 34.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.5801 | μmol/L | 17.852 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.461 | 91508.6188 | 295105.3348 | 30.45 | 38.1
4474 | 2022-05-18 13:14 | 35.3289 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.1039 | μmol/L | 17.8642 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.478 | 91572.6031 | 295091.1913 | 30.45 | 38.1
4484 | 2022-05-18 13:15 | 35.6624 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 257.9779 | μmol/L | 17.8642 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.484 | 91606.2703 | 295071.0647 | 30.45 | 38.1
4494 | 2022-05-18 13:15 | 35.995 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.2898 | μmol/L | 17.8581 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.472 | 91539.1751 | 295089.816 | 30.45 | 38.1
4504 | 2022-05-18 13:15 | 36.3287 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.4211 | μmol/L | 17.8581 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.466 | 91520.5453 | 295093.8974 | 30.45 | 38.1
4514 | 2022-05-18 13:16 | 36.6622 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.4542 | μmol/L | 17.8642 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.462 | 91493.6309 | 295090.9614 | 30.45 | 38.1
4524 | 2022-05-18 13:16 | 36.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 258.876 | μmol/L | 17.8642 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.443 | 91406.2614 | 295077.9341 | 30.45 | 38.1
4534 | 2022-05-18 13:16 | 37.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.409 | μmol/L | 17.8581 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.421 | 91318.1286 | 295091.2796 | 30.45 | 38.1
4544 | 2022-05-18 13:17 | 37.6621 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.7558 | μmol/L | 17.8642 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.403 | 91244.0268 | 295084.9917 | 30.45 | 38.1
4554 | 2022-05-18 13:17 | 37.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.9543 | μmol/L | 17.8642 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.394 | 91177.1305 | 295072.5825 | 30.45 | 38.1
4564 | 2022-05-18 13:17 | 38.3284 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.3794 | μmol/L | 17.8581 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.377 | 91119.0053 | 295077.5828 | 30.45 | 38.1
4574 | 2022-05-18 13:18 | 38.6621 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.7001 | μmol/L | 17.8459 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.367 | 91081.1473 | 295072.0313 | 30.45 | 38.1
4584 | 2022-05-18 13:18 | 38.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.3463 | μmol/L | 17.8459 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.383 | 91130.7407 | 295077.137 | 30.45 | 38.1
4594 | 2022-05-18 13:18 | 39.3286 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 259.9601 | μmol/L | 17.852 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.398 | 91188.8076 | 295069.5907 | 30.45 | 38.1
4604 | 2022-05-18 13:19 | 39.6623 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.2968 | μmol/L | 17.8459 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.385 | 91172.5561 | 295084.3182 | 30.45 | 38.1
4614 | 2022-05-18 13:19 | 39.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 260.9382 | μmol/L | 17.852 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.354 | 91006.8742 | 295084.3975 | 30.45 | 38.1
4624 | 2022-05-18 13:19 | 40.3285 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 262.0214 | μmol/L | 17.852 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.305 | 90783.1882 | 295060.9714 | 30.45 | 38.1
4634 | 2022-05-18 13:20 | 40.6623 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 262.8299 | μmol/L | 17.852 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.269 | 90604.8286 | 295060.9184 | 30.45 | 38.1
4644 | 2022-05-18 13:20 | 40.9954 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.2721 | μmol/L | 17.852 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.249 | 90511.0887 | 295068.4505 | 30.45 | 38.1
4654 | 2022-05-18 13:20 | 41.329 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.4513 | μmol/L | 17.852 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.241 | 90498.2716 | 295065.2532 | 30.45 | 38.1
4664 | 2022-05-18 13:21 | 41.6618 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.1825 | μmol/L | 17.852 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.253 | 90521.742 | 295081.4955 | 30.45 | 38.1
4674 | 2022-05-18 13:21 | 41.9956 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.2491 | μmol/L | 17.8337 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.257 | 90544.471 | 295073.4384 | 30.45 | 38.1
4684 | 2022-05-18 13:21 | 42.3288 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.1933 | μmol/L | 17.8459 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.255 | 90563.2297 | 295073.8622 | 30.45 | 38.1
4694 | 2022-05-18 13:22 | 42.6619 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.3556 | μmol/L | 17.8398 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.25 | 90528.1813 | 295083.8027 | 30.45 | 38.1
4704 | 2022-05-18 13:22 | 42.9953 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.4677 | μmol/L | 17.8398 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.245 | 90478.4382 | 295067.4757 | 30.45 | 38.1
4714 | 2022-05-18 13:22 | 43.3287 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.5518 | μmol/L | 17.8459 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.239 | 90461.5689 | 295070.2348 | 30.45 | 38.1
4724 | 2022-05-18 13:23 | 43.6616 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.6526 | μmol/L | 17.8337 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.239 | 90465.2421 | 295072.9073 | 30.45 | 38.1
4734 | 2022-05-18 13:23 | 43.9957 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.5684 | μmol/L | 17.8276 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.245 | 90473.7859 | 295063.0603 | 30.45 | 38.1
4744 | 2022-05-18 13:23 | 44.3287 | oxy_ch_2 (PSt7-10) | 2022-05-16 12:43 | default | 263.6132 | μmol/L | 17.8276 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.243 | 90486.5113 | 295058.5291 | 30.45 | 38.1