## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 140029203 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3419 | 2022-05-18 12:39 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.4401 | μmol/L | 18.0619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.559 | 40305.7857 | 293656.7763 | 28.7 | 67.6
3428 | 2022-05-18 12:39 | 0.32718 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.3491 | μmol/L | 18.0559 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.565 | 40302.2699 | 293671.2966 | 28.7 | 67.6
3438 | 2022-05-18 12:40 | 0.66092 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.3921 | μmol/L | 18.0619 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.561 | 40293.8713 | 293664.1645 | 28.7 | 67.6
3449 | 2022-05-18 12:40 | 0.99365 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.3731 | μmol/L | 18.0559 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.564 | 40294.1564 | 293674.1728 | 28.7 | 67.6
3459 | 2022-05-18 12:40 | 1.3272 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.354 | μmol/L | 18.0498 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.567 | 40294.9349 | 293683.494 | 28.7 | 67.6
3468 | 2022-05-18 12:41 | 1.6608 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.4498 | μmol/L | 18.0498 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.563 | 40290.5921 | 293708.353 | 28.7 | 67.6
3479 | 2022-05-18 12:41 | 1.9942 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.3398 | μmol/L | 18.0376 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.572 | 40295.038 | 293703.3037 | 28.7 | 67.6
3489 | 2022-05-18 12:41 | 2.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.263 | μmol/L | 18.0437 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.573 | 40296.0335 | 293695.1066 | 28.7 | 67.6
3499 | 2022-05-18 12:42 | 2.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0666 | μmol/L | 18.0498 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.579 | 40293.7463 | 293698.8215 | 28.7 | 67.6
3509 | 2022-05-18 12:42 | 2.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0475 | μmol/L | 18.0437 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.582 | 40302.2083 | 293688.0871 | 28.7 | 67.6
3519 | 2022-05-18 12:42 | 3.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.1003 | μmol/L | 18.0376 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.582 | 40297.4503 | 293691.8471 | 28.7 | 67.6
3528 | 2022-05-18 12:43 | 3.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0285 | μmol/L | 18.0376 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.585 | 40309.5396 | 293690.7286 | 28.7 | 67.6
3539 | 2022-05-18 12:43 | 3.9938 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0334 | μmol/L | 18.0315 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.587 | 40301.0737 | 293693.7112 | 28.7 | 67.6
3549 | 2022-05-18 12:43 | 4.3273 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0103 | μmol/L | 18.0376 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.586 | 40305.3398 | 293697.8674 | 28.7 | 67.6
3559 | 2022-05-18 12:44 | 4.6602 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.9567 | μmol/L | 18.0376 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.588 | 40310.74 | 293693.283 | 28.7 | 67.6
3569 | 2022-05-18 12:44 | 4.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0919 | μmol/L | 18.0255 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.587 | 40306.1322 | 293696.676 | 28.7 | 67.6
3579 | 2022-05-18 12:44 | 5.3271 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.9722 | μmol/L | 18.0255 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.592 | 40310.945 | 293695.8184 | 28.7 | 67.6
3589 | 2022-05-18 12:45 | 5.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7036 | μmol/L | 18.0255 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.603 | 40308.6582 | 293697.3658 | 28.7 | 67.6
3599 | 2022-05-18 12:45 | 5.9942 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 278.0383 | μmol/L | 18.0255 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.589 | 40314.5998 | 293700.2038 | 28.7 | 67.6
3609 | 2022-05-18 12:45 | 6.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7142 | μmol/L | 18.0194 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.605 | 40311.2805 | 293680.3892 | 28.7 | 67.6
3619 | 2022-05-18 12:46 | 6.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.6137 | μmol/L | 18.0255 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.607 | 40310.7964 | 293697.4671 | 28.7 | 67.6
3629 | 2022-05-18 12:46 | 6.9942 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.8386 | μmol/L | 18.0133 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.602 | 40319.4105 | 293711.2367 | 28.7 | 67.6
3638 | 2022-05-18 12:46 | 7.3277 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.8864 | μmol/L | 18.0133 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.6 | 40313.2303 | 293698.4402 | 28.7 | 67.6
3649 | 2022-05-18 12:47 | 7.6604 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.9047 | μmol/L | 18.0133 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.599 | 40318.5433 | 293708.0326 | 28.7 | 67.6
3658 | 2022-05-18 12:47 | 7.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7908 | μmol/L | 18.0133 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.604 | 40318.3089 | 293712.1262 | 28.7 | 67.6
3669 | 2022-05-18 12:47 | 8.3275 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7374 | μmol/L | 18.0133 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.606 | 40325.9746 | 293713.1586 | 28.7 | 67.6
3678 | 2022-05-18 12:48 | 8.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7423 | μmol/L | 18.0072 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.608 | 40327.7545 | 293716.2026 | 28.7 | 67.6
3688 | 2022-05-18 12:48 | 8.9938 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7719 | μmol/L | 18.0072 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.607 | 40326.1734 | 293724.5972 | 28.7 | 67.6
3699 | 2022-05-18 12:48 | 9.3275 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4614 | μmol/L | 18.0072 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.62 | 40325.1789 | 293707.0942 | 28.7 | 67.6
3708 | 2022-05-18 12:49 | 9.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5141 | μmol/L | 18.0011 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.62 | 40325.4393 | 293703.2317 | 28.7 | 67.6
3718 | 2022-05-18 12:49 | 9.9938 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7529 | μmol/L | 18.0011 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.61 | 40319.8069 | 293688.0621 | 28.7 | 67.6
3729 | 2022-05-18 12:49 | 10.3275 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5134 | μmol/L | 17.995 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.622 | 40325.3458 | 293712.684 | 28.7 | 67.6
3738 | 2022-05-18 12:50 | 10.6604 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4713 | μmol/L | 17.995 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.624 | 40323.6994 | 293705.6188 | 28.7 | 67.6
3749 | 2022-05-18 12:50 | 10.9939 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5134 | μmol/L | 17.995 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.622 | 40320.2322 | 293699.5827 | 28.7 | 67.6
3758 | 2022-05-18 12:50 | 11.3275 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7094 | μmol/L | 17.989 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.616 | 40326.573 | 293700.5581 | 28.7 | 67.6
3768 | 2022-05-18 12:51 | 11.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5668 | μmol/L | 17.995 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.62 | 40325.359 | 293697.3534 | 28.7 | 67.6
3778 | 2022-05-18 12:51 | 11.9939 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5002 | μmol/L | 17.989 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.625 | 40333.7291 | 293690.5175 | 28.7 | 67.6
3788 | 2022-05-18 12:51 | 12.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4813 | μmol/L | 17.9829 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.628 | 40332.5119 | 293686.8274 | 28.7 | 67.6
3798 | 2022-05-18 12:52 | 12.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4047 | μmol/L | 17.989 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.629 | 40322.4558 | 293688.1889 | 28.7 | 67.6
3808 | 2022-05-18 12:52 | 12.994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.7678 | μmol/L | 17.9829 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.616 | 40329.1752 | 293704.6553 | 28.7 | 67.6
3819 | 2022-05-18 12:52 | 13.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4385 | μmol/L | 17.9768 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.632 | 40337.4375 | 293700.707 | 28.7 | 67.6
3828 | 2022-05-18 12:53 | 13.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.529 | μmol/L | 17.9829 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.626 | 40330.3872 | 293691.883 | 28.7 | 67.6
3838 | 2022-05-18 12:53 | 13.9937 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4813 | μmol/L | 17.9829 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.628 | 40326.5204 | 293696.5911 | 28.7 | 67.6
3848 | 2022-05-18 12:53 | 14.327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4862 | μmol/L | 17.9768 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.63 | 40332.3118 | 293702.3047 | 28.7 | 67.6
3858 | 2022-05-18 12:54 | 14.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5045 | μmol/L | 17.9768 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.629 | 40334.1522 | 293701.0127 | 28.7 | 67.6
3868 | 2022-05-18 12:54 | 14.9943 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.5817 | μmol/L | 17.9768 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.626 | 40345.5316 | 293689.4689 | 28.7 | 67.6
3878 | 2022-05-18 12:54 | 15.3269 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.367 | μmol/L | 17.9768 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.635 | 40337.6229 | 293701.5261 | 28.7 | 67.6
3888 | 2022-05-18 12:55 | 15.6604 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4379 | μmol/L | 17.9707 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.634 | 40344.5003 | 293693.6134 | 28.7 | 67.6
3899 | 2022-05-18 12:55 | 15.9939 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2948 | μmol/L | 17.9707 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.64 | 40343.7393 | 293714.1097 | 28.7 | 67.6
3909 | 2022-05-18 12:55 | 16.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2051 | μmol/L | 17.9707 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.644 | 40341.9945 | 293710.6605 | 28.7 | 67.6
3918 | 2022-05-18 12:56 | 16.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.4724 | μmol/L | 17.9646 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.635 | 40344.3566 | 293709.236 | 28.7 | 67.6
3929 | 2022-05-18 12:56 | 16.994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2339 | μmol/L | 17.9646 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.645 | 40338.2442 | 293718.7006 | 28.7 | 67.6
3938 | 2022-05-18 12:56 | 17.3275 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2766 | μmol/L | 17.9707 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.641 | 40342.1216 | 293709.5477 | 28.7 | 67.6
3948 | 2022-05-18 12:57 | 17.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.3286 | μmol/L | 17.9586 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.643 | 40345.192 | 293713.9435 | 28.7 | 67.6
3958 | 2022-05-18 12:57 | 17.9938 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.3443 | μmol/L | 17.9464 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.647 | 40342.3472 | 293720.381 | 28.7 | 67.6
3968 | 2022-05-18 12:57 | 18.3273 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2151 | μmol/L | 17.9586 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.648 | 40354.1274 | 293720.7989 | 28.7 | 67.6
3979 | 2022-05-18 12:58 | 18.661 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0615 | μmol/L | 17.9646 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.652 | 40348.7277 | 293717.7314 | 28.7 | 67.6
3988 | 2022-05-18 12:58 | 18.9937 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1248 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.654 | 40357.0462 | 293710.7631 | 28.7 | 67.6
3998 | 2022-05-18 12:58 | 19.3273 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1724 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.652 | 40354.2346 | 293720.3607 | 28.7 | 67.6
4008 | 2022-05-18 12:59 | 19.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1486 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.653 | 40351.0422 | 293733.6654 | 28.7 | 67.6
4019 | 2022-05-18 12:59 | 19.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9343 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.662 | 40356.0731 | 293731.0225 | 28.7 | 67.6
4028 | 2022-05-18 12:59 | 20.3277 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1963 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.651 | 40362.8388 | 293726.248 | 28.7 | 67.6
4038 | 2022-05-18 13:00 | 20.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9819 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.66 | 40353.8509 | 293729.1955 | 28.7 | 67.6
4048 | 2022-05-18 13:00 | 20.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0822 | μmol/L | 17.9464 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.658 | 40355.379 | 293739.2387 | 28.7 | 67.6
4059 | 2022-05-18 13:00 | 21.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2678 | μmol/L | 17.9525 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.648 | 40358.1473 | 293726.2068 | 28.7 | 67.6
4068 | 2022-05-18 13:01 | 21.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0158 | μmol/L | 17.9403 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.663 | 40354.005 | 293726.987 | 28.7 | 67.6
4078 | 2022-05-18 13:01 | 21.9939 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2301 | μmol/L | 17.9403 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.654 | 40356.0838 | 293731.87 | 28.7 | 67.6
4088 | 2022-05-18 13:01 | 22.3277 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1587 | μmol/L | 17.9403 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.657 | 40364.5339 | 293725.0311 | 28.7 | 67.6
4098 | 2022-05-18 13:02 | 22.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9206 | μmol/L | 17.9403 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.667 | 40363.8041 | 293732.8582 | 28.7 | 67.6
4109 | 2022-05-18 13:02 | 22.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2301 | μmol/L | 17.9403 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.654 | 40356.9892 | 293746.0908 | 28.7 | 67.6
4118 | 2022-05-18 13:02 | 23.3269 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.2352 | μmol/L | 17.9342 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.656 | 40361.4103 | 293735.2137 | 28.7 | 67.6
4128 | 2022-05-18 13:03 | 23.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9545 | μmol/L | 17.9281 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.67 | 40360.3338 | 293732.7352 | 28.7 | 67.6
4138 | 2022-05-18 13:03 | 23.9937 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8067 | μmol/L | 17.9342 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.674 | 40370.0608 | 293742.9302 | 28.7 | 67.6
4149 | 2022-05-18 13:03 | 24.3272 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0634 | μmol/L | 17.9403 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.661 | 40374.2087 | 293753.9316 | 28.7 | 67.6
4158 | 2022-05-18 13:04 | 24.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0208 | μmol/L | 17.9342 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.665 | 40375.3302 | 293741.2437 | 28.7 | 67.6
4168 | 2022-05-18 13:04 | 24.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0923 | μmol/L | 17.9342 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.662 | 40378.2453 | 293752.3453 | 28.7 | 67.6
4178 | 2022-05-18 13:04 | 25.3273 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9307 | μmol/L | 17.9281 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.671 | 40373.9059 | 293760.8828 | 28.7 | 67.6
4188 | 2022-05-18 13:05 | 25.6603 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1976 | μmol/L | 17.9221 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.662 | 40374.5447 | 293758.1362 | 28.7 | 67.6
4199 | 2022-05-18 13:05 | 25.9939 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.0259 | μmol/L | 17.9281 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.667 | 40379.9422 | 293765.6321 | 28.7 | 67.6
4209 | 2022-05-18 13:05 | 26.3274 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.15 | μmol/L | 17.9221 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.664 | 40380.3796 | 293762.1958 | 28.7 | 67.6
4219 | 2022-05-18 13:06 | 26.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8117 | μmol/L | 17.9281 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 40376.3365 | 293767.9346 | 28.7 | 67.6
4228 | 2022-05-18 13:06 | 26.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8456 | μmol/L | 17.916 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.679 | 40385.8584 | 293762.535 | 28.7 | 67.6
4238 | 2022-05-18 13:06 | 27.3272 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.1976 | μmol/L | 17.9221 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.662 | 40384.5956 | 293759.2877 | 28.7 | 67.6
4248 | 2022-05-18 13:07 | 27.6607 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 277.036 | μmol/L | 17.916 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.671 | 40383.7802 | 293776.2086 | 28.7 | 67.6
4258 | 2022-05-18 13:07 | 27.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8694 | μmol/L | 17.916 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.678 | 40389.8517 | 293772.0809 | 28.7 | 67.6
4269 | 2022-05-18 13:07 | 28.3271 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.917 | μmol/L | 17.916 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 40388.7863 | 293783.2346 | 28.7 | 67.6
4278 | 2022-05-18 13:08 | 28.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6843 | μmol/L | 17.9099 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.688 | 40390.1043 | 293764.2905 | 28.7 | 67.6
4289 | 2022-05-18 13:08 | 28.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8218 | μmol/L | 17.916 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.68 | 40384.197 | 293780.9329 | 28.7 | 67.6
4299 | 2022-05-18 13:08 | 29.3277 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.7981 | μmol/L | 17.916 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 40393.1931 | 293778.8946 | 28.7 | 67.6
4309 | 2022-05-18 13:09 | 29.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9696 | μmol/L | 17.9099 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 40396.2135 | 293791.2908 | 28.7 | 67.6
4319 | 2022-05-18 13:09 | 29.9941 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8507 | μmol/L | 17.9099 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 40402.6029 | 293801.9321 | 28.7 | 67.6
4328 | 2022-05-18 13:09 | 30.3275 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6605 | μmol/L | 17.9099 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.689 | 40398.1588 | 293800.6485 | 28.7 | 67.6
4338 | 2022-05-18 13:10 | 30.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8745 | μmol/L | 17.9099 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.68 | 40393.2352 | 293798.5154 | 28.7 | 67.6
4348 | 2022-05-18 13:10 | 30.9935 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.832 | μmol/L | 17.9038 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.684 | 40397.8417 | 293807.9231 | 28.7 | 67.6
4358 | 2022-05-18 13:10 | 31.3271 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9747 | μmol/L | 17.9038 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.678 | 40404.8326 | 293808.6387 | 28.7 | 67.6
4369 | 2022-05-18 13:11 | 31.6607 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8269 | μmol/L | 17.9099 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.682 | 40399.4734 | 293813.7691 | 28.7 | 67.6
4379 | 2022-05-18 13:11 | 31.9944 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.9322 | μmol/L | 17.8977 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.682 | 40400.956 | 293795.6037 | 28.7 | 67.6
4388 | 2022-05-18 13:11 | 32.3271 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.7369 | μmol/L | 17.9038 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.688 | 40403.5481 | 293795.9603 | 28.7 | 67.6
4398 | 2022-05-18 13:12 | 32.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5756 | μmol/L | 17.8977 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.697 | 40408.8324 | 293807.1724 | 28.7 | 67.6
4409 | 2022-05-18 13:12 | 32.9942 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8133 | μmol/L | 17.8977 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.687 | 40403.4013 | 293811.2801 | 28.7 | 67.6
4419 | 2022-05-18 13:12 | 33.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6944 | μmol/L | 17.8977 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.692 | 40411.4303 | 293811.8392 | 28.7 | 67.6
4428 | 2022-05-18 13:13 | 33.6602 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4993 | μmol/L | 17.9038 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.698 | 40417.5139 | 293821.1363 | 28.7 | 67.6
4438 | 2022-05-18 13:13 | 33.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.8184 | μmol/L | 17.8917 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.689 | 40418.2302 | 293809.7528 | 28.7 | 67.6
4449 | 2022-05-18 13:13 | 34.3273 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6469 | μmol/L | 17.8977 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.694 | 40417.1486 | 293813.7638 | 28.7 | 67.6
4458 | 2022-05-18 13:14 | 34.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5705 | μmol/L | 17.9038 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.695 | 40424.5564 | 293814.0253 | 28.7 | 67.6
4469 | 2022-05-18 13:14 | 34.9939 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6045 | μmol/L | 17.8917 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.698 | 40416.0576 | 293807.8266 | 28.7 | 67.6
4479 | 2022-05-18 13:14 | 35.3273 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5044 | μmol/L | 17.8977 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.7 | 40419.1569 | 293815.8601 | 28.7 | 67.6
4489 | 2022-05-18 13:15 | 35.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6096 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.7 | 40423.054 | 293805.2768 | 28.7 | 67.6
4498 | 2022-05-18 13:15 | 35.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6096 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.7 | 40423.6193 | 293791.9295 | 28.7 | 67.6
4508 | 2022-05-18 13:15 | 36.3272 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.7522 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.694 | 40420.2012 | 293813.3969 | 28.7 | 67.6
4519 | 2022-05-18 13:16 | 36.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4857 | μmol/L | 17.8917 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.703 | 40423.6798 | 293800.2499 | 28.7 | 67.6
4528 | 2022-05-18 13:16 | 36.9936 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6571 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.698 | 40420.8429 | 293789.5738 | 28.7 | 67.6
4538 | 2022-05-18 13:16 | 37.3271 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5146 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.704 | 40423.9449 | 293781.9553 | 28.7 | 67.6
4548 | 2022-05-18 13:17 | 37.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5621 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.702 | 40423.31 | 293788.956 | 28.7 | 67.6
4558 | 2022-05-18 13:17 | 37.9943 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5383 | μmol/L | 17.8856 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.703 | 40428.6529 | 293788.2335 | 28.7 | 67.6
4568 | 2022-05-18 13:17 | 38.3271 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5197 | μmol/L | 17.8795 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 40425.8018 | 293787.1364 | 28.7 | 67.6
4579 | 2022-05-18 13:18 | 38.6606 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4536 | μmol/L | 17.8734 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.711 | 40423.2677 | 293774.7427 | 28.7 | 67.6
4589 | 2022-05-18 13:18 | 38.9943 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6622 | μmol/L | 17.8795 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.7 | 40423.2892 | 293776.0327 | 28.7 | 67.6
4598 | 2022-05-18 13:18 | 39.327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5723 | μmol/L | 17.8734 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 40423.3831 | 293766.1368 | 28.7 | 67.6
4609 | 2022-05-18 13:19 | 39.6609 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4536 | μmol/L | 17.8734 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.711 | 40424.6588 | 293790.3811 | 28.7 | 67.6
4619 | 2022-05-18 13:19 | 39.9938 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5723 | μmol/L | 17.8734 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 40424.4898 | 293781.2603 | 28.7 | 67.6
4628 | 2022-05-18 13:19 | 40.3276 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5434 | μmol/L | 17.8795 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.705 | 40432.2607 | 293759.058 | 28.7 | 67.6
4638 | 2022-05-18 13:20 | 40.6605 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5723 | μmol/L | 17.8734 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 40431.0042 | 293758.4671 | 28.7 | 67.6
4649 | 2022-05-18 13:20 | 40.994 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4773 | μmol/L | 17.8734 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.71 | 40423.9197 | 293767.8726 | 28.7 | 67.6
4658 | 2022-05-18 13:20 | 41.3269 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.3875 | μmol/L | 17.8673 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.716 | 40434.5705 | 293768.1755 | 28.7 | 67.6
4669 | 2022-05-18 13:21 | 41.6604 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.6249 | μmol/L | 17.8673 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 40426.2788 | 293754.5028 | 28.7 | 67.6
4679 | 2022-05-18 13:21 | 41.9943 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5537 | μmol/L | 17.8673 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.709 | 40426.0264 | 293766.5325 | 28.7 | 67.6
4688 | 2022-05-18 13:21 | 42.327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.3875 | μmol/L | 17.8673 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.716 | 40425.6379 | 293761.4299 | 28.7 | 67.6
4699 | 2022-05-18 13:22 | 42.6607 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.2926 | μmol/L | 17.8673 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.72 | 40426.2734 | 293761.3916 | 28.7 | 67.6
4708 | 2022-05-18 13:22 | 42.9938 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.2978 | μmol/L | 17.8613 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.722 | 40425.1895 | 293744.0564 | 28.7 | 67.6
4719 | 2022-05-18 13:22 | 43.327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4876 | μmol/L | 17.8613 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.714 | 40427.9411 | 293758.7773 | 28.7 | 67.6
4728 | 2022-05-18 13:23 | 43.6607 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5351 | μmol/L | 17.8613 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.712 | 40425.7746 | 293751.955 | 28.7 | 67.6
4738 | 2022-05-18 13:23 | 43.9937 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5113 | μmol/L | 17.8613 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.713 | 40431.2017 | 293748.5264 | 28.7 | 67.6
4748 | 2022-05-18 13:23 | 44.327 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.4164 | μmol/L | 17.8613 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.717 | 40426.6548 | 293745.565 | 28.7 | 67.6
4756 | 2022-05-18 13:24 | 44.6607 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.3689 | μmol/L | 17.8613 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.719 | 40428.4422 | 293738.4356 | 28.7 | 67.6
4763 | 2022-05-18 13:24 | 44.9937 | oxy_ch_4 (PSt7-10) | 2022-05-16 12:46 | default | 276.5639 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.713 | 40432.2474 | 293736.7207 | 28.7 | 67.6