## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 123891955 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:45

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3418 | 2022-05-18 12:39 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 311.0047 | μmol/L | 17.9827 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.898 | 99644.0371 | 211936.2729 | 27.3 | 43.4
3426 | 2022-05-18 12:39 | 0.33135 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.8374 | μmol/L | 17.9888 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.902 | 99675.4396 | 211937.2064 | 27.3 | 43.4
3437 | 2022-05-18 12:40 | 0.66493 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.8248 | μmol/L | 17.9766 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.907 | 99707.3838 | 211940.8695 | 27.3 | 43.4
3447 | 2022-05-18 12:40 | 0.99843 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.7447 | μmol/L | 17.9766 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.91 | 99716.9412 | 211944.789 | 27.3 | 43.4
3457 | 2022-05-18 12:40 | 1.3319 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.718 | μmol/L | 17.9766 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.911 | 99726.9237 | 211961.7186 | 27.3 | 43.4
3466 | 2022-05-18 12:41 | 1.6647 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.6113 | μmol/L | 17.9766 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.915 | 99749.8249 | 211955.8252 | 27.3 | 43.4
3476 | 2022-05-18 12:41 | 1.9983 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.478 | μmol/L | 17.9766 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.92 | 99771.1876 | 211957.1459 | 27.3 | 43.4
3486 | 2022-05-18 12:41 | 2.3317 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.4851 | μmol/L | 17.9705 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.922 | 99772.5829 | 211948.5837 | 27.3 | 43.4
3496 | 2022-05-18 12:42 | 2.6646 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.5792 | μmol/L | 17.9583 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.923 | 99776.3438 | 211951.3462 | 27.3 | 43.4
3507 | 2022-05-18 12:42 | 2.9982 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.5188 | μmol/L | 17.9644 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.923 | 99781.2719 | 211939.6589 | 27.3 | 43.4
3517 | 2022-05-18 12:42 | 3.3317 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2187 | μmol/L | 17.9705 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.932 | 99799.0667 | 211947.627 | 27.3 | 43.4
3526 | 2022-05-18 12:43 | 3.6645 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.2328 | μmol/L | 17.9583 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.936 | 99813.2319 | 211954.0557 | 27.3 | 43.4
3536 | 2022-05-18 12:43 | 3.9984 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.3464 | μmol/L | 17.9521 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.934 | 99822.3941 | 211943.2713 | 27.3 | 43.4
3547 | 2022-05-18 12:43 | 4.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.1796 | μmol/L | 17.9583 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.938 | 99829.2648 | 211947.7514 | 27.3 | 43.4
3557 | 2022-05-18 12:44 | 4.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.0997 | μmol/L | 17.9583 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.941 | 99847.7636 | 211939.5644 | 27.3 | 43.4
3567 | 2022-05-18 12:44 | 4.9978 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.1139 | μmol/L | 17.946 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.945 | 99860.2561 | 211936.043 | 27.3 | 43.4
3576 | 2022-05-18 12:44 | 5.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.027 | μmol/L | 17.9521 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.946 | 99857.5663 | 211943.1517 | 27.3 | 43.4
3586 | 2022-05-18 12:45 | 5.6648 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.1476 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.946 | 99865.1058 | 211945.7761 | 27.3 | 43.4
3597 | 2022-05-18 12:45 | 5.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.0412 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.95 | 99860.3093 | 211938.6013 | 27.3 | 43.4
3606 | 2022-05-18 12:45 | 6.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 310.0146 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.951 | 99883.0127 | 211953.4296 | 27.3 | 43.4
3616 | 2022-05-18 12:46 | 6.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.9348 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.954 | 99890.2813 | 211951.7453 | 27.3 | 43.4
3626 | 2022-05-18 12:46 | 6.998 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.8816 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.956 | 99913.3376 | 211952.3787 | 27.3 | 43.4
3636 | 2022-05-18 12:46 | 7.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.8887 | μmol/L | 17.9338 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.958 | 99924.247 | 211971.0624 | 27.3 | 43.4
3647 | 2022-05-18 12:47 | 7.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.9561 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.96 | 99915.0523 | 211968.7156 | 27.3 | 43.4
3656 | 2022-05-18 12:47 | 7.9982 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.8427 | μmol/L | 17.9277 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.962 | 99930.5665 | 211973.9268 | 27.3 | 43.4
3666 | 2022-05-18 12:47 | 8.3318 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.7099 | μmol/L | 17.9277 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.967 | 99950.3842 | 211959.2488 | 27.3 | 43.4
3676 | 2022-05-18 12:48 | 8.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.7364 | μmol/L | 17.9277 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.966 | 99948.5424 | 211965.0919 | 27.3 | 43.4
3686 | 2022-05-18 12:48 | 8.9978 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.763 | μmol/L | 17.9277 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.965 | 99950.7232 | 211955.5176 | 27.3 | 43.4
3696 | 2022-05-18 12:48 | 9.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.6302 | μmol/L | 17.9277 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.97 | 99958.7161 | 211963.1744 | 27.3 | 43.4
3706 | 2022-05-18 12:49 | 9.6646 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.717 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.969 | 99958.4183 | 211957.4835 | 27.3 | 43.4
3716 | 2022-05-18 12:49 | 9.9982 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.6773 | μmol/L | 17.9155 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 21.973 | 99966.7756 | 211961.8337 | 27.3 | 43.4
3727 | 2022-05-18 12:49 | 10.3318 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.5311 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.976 | 99983.2413 | 211960.6269 | 27.3 | 43.4
3736 | 2022-05-18 12:50 | 10.6645 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.6516 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.976 | 99992.879 | 211968.2201 | 27.3 | 43.4
3746 | 2022-05-18 12:50 | 10.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.5117 | μmol/L | 17.9155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.979 | 99996.472 | 211958.8531 | 27.3 | 43.4
3757 | 2022-05-18 12:50 | 11.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.5189 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.981 | 100002.3995 | 211956.8669 | 27.3 | 43.4
3767 | 2022-05-18 12:51 | 11.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.4924 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.982 | 100010.2057 | 211961.4094 | 27.3 | 43.4
3776 | 2022-05-18 12:51 | 11.9982 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.6128 | μmol/L | 17.8972 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.982 | 100017.5013 | 211954.961 | 27.3 | 43.4
3787 | 2022-05-18 12:51 | 12.3319 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.3863 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.986 | 100025.384 | 211956.8091 | 27.3 | 43.4
3797 | 2022-05-18 12:52 | 12.665 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.4271 | μmol/L | 17.8972 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.989 | 100031.824 | 211956.8491 | 27.3 | 43.4
3807 | 2022-05-18 12:52 | 12.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.4527 | μmol/L | 17.9033 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 21.986 | 100040.3599 | 211964.7525 | 27.3 | 43.4
3816 | 2022-05-18 12:52 | 13.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.2802 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.99 | 100054.9944 | 211959.1232 | 27.3 | 43.4
3827 | 2022-05-18 12:53 | 13.6647 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.2874 | μmol/L | 17.9033 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.992 | 100059.4326 | 211949.3589 | 27.3 | 43.4
3837 | 2022-05-18 12:53 | 13.9982 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.2671 | μmol/L | 17.9033 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 21.993 | 100068.8286 | 211957.9929 | 27.3 | 43.4
3846 | 2022-05-18 12:53 | 14.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.3017 | μmol/L | 17.8911 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.996 | 100064.6672 | 211949.7772 | 27.3 | 43.4
3857 | 2022-05-18 12:54 | 14.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.1885 | μmol/L | 17.8972 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.998 | 100072.5256 | 211955.8888 | 27.3 | 43.4
3866 | 2022-05-18 12:54 | 14.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 309.1957 | μmol/L | 17.8911 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22 | 100073.6269 | 211957.347 | 27.3 | 43.4
3876 | 2022-05-18 12:54 | 15.3311 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 308.8515 | μmol/L | 17.8911 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.013 | 100144.1996 | 211956.3946 | 27.3 | 43.4
3887 | 2022-05-18 12:55 | 15.6647 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 308.2701 | μmol/L | 17.8911 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.035 | 100249.8369 | 211963.5707 | 27.3 | 43.4
3897 | 2022-05-18 12:55 | 15.9983 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 307.7572 | μmol/L | 17.8788 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.059 | 100371.1112 | 211961.7556 | 27.3 | 43.4
3907 | 2022-05-18 12:55 | 16.3318 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 307.1186 | μmol/L | 17.885 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.081 | 100503.1969 | 211957.4895 | 27.3 | 43.4
3916 | 2022-05-18 12:56 | 16.6646 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.4951 | μmol/L | 17.885 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.105 | 100595.3819 | 211961.2742 | 27.3 | 43.4
3927 | 2022-05-18 12:56 | 16.9979 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 306.0438 | μmol/L | 17.885 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.122 | 100707.6346 | 211963.5557 | 27.3 | 43.4
3937 | 2022-05-18 12:56 | 17.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.8942 | μmol/L | 17.8788 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.13 | 100762.3392 | 211963.1946 | 27.3 | 43.4
3947 | 2022-05-18 12:57 | 17.6649 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.7374 | μmol/L | 17.8788 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.136 | 100792.7691 | 211968.368 | 27.3 | 43.4
3957 | 2022-05-18 12:57 | 17.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.4303 | μmol/L | 17.8788 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.148 | 100819.6111 | 211962.65 | 27.3 | 43.4
3967 | 2022-05-18 12:57 | 18.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 305.1769 | μmol/L | 17.8727 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.16 | 100880.6284 | 211968.0417 | 27.3 | 43.4
3977 | 2022-05-18 12:58 | 18.6648 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.8582 | μmol/L | 17.8727 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.172 | 100943.9957 | 211965.3153 | 27.3 | 43.4
3986 | 2022-05-18 12:58 | 18.9984 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.5648 | μmol/L | 17.8788 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.181 | 101012.9457 | 211981.9117 | 27.3 | 43.4
3996 | 2022-05-18 12:58 | 19.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 304.2924 | μmol/L | 17.8727 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.194 | 101072.8706 | 211976.4976 | 27.3 | 43.4
4006 | 2022-05-18 12:59 | 19.6649 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.9033 | μmol/L | 17.8727 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.209 | 101128.2827 | 211968.5534 | 27.3 | 43.4
4016 | 2022-05-18 12:59 | 19.9978 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.8255 | μmol/L | 17.8727 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.212 | 101165.6634 | 211968.3524 | 27.3 | 43.4
4027 | 2022-05-18 12:59 | 20.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.5406 | μmol/L | 17.8727 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.223 | 101207.9021 | 211966.2623 | 27.3 | 43.4
4037 | 2022-05-18 13:00 | 20.6648 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.4039 | μmol/L | 17.8788 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.226 | 101231.04 | 211980.1395 | 27.3 | 43.4
4047 | 2022-05-18 13:00 | 20.9984 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.5997 | μmol/L | 17.8666 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.223 | 101228.6985 | 211988.1419 | 27.3 | 43.4
4057 | 2022-05-18 13:00 | 21.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 303.1341 | μmol/L | 17.8666 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.241 | 101272.081 | 211974.9852 | 27.3 | 43.4
4067 | 2022-05-18 13:01 | 21.665 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.8882 | μmol/L | 17.8727 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.248 | 101348.0608 | 211976.2497 | 27.3 | 43.4
4077 | 2022-05-18 13:01 | 21.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.6694 | μmol/L | 17.8666 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.259 | 101393.4552 | 211984.2953 | 27.3 | 43.4
4086 | 2022-05-18 13:01 | 22.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.4706 | μmol/L | 17.8605 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.269 | 101456.7299 | 211980.4434 | 27.3 | 43.4
4097 | 2022-05-18 13:02 | 22.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.3933 | μmol/L | 17.8605 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.272 | 101468.6317 | 211976.3406 | 27.3 | 43.4
4107 | 2022-05-18 13:02 | 22.9978 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.3859 | μmol/L | 17.8666 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.27 | 101445.8359 | 211986.2402 | 27.3 | 43.4
4117 | 2022-05-18 13:02 | 23.3315 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 302.4963 | μmol/L | 17.8605 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.268 | 101451.5607 | 211987.7404 | 27.3 | 43.4
4127 | 2022-05-18 13:03 | 23.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 301.8725 | μmol/L | 17.8605 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.292 | 101567.1013 | 211981.2382 | 27.3 | 43.4
4137 | 2022-05-18 13:03 | 23.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 300.6991 | μmol/L | 17.8605 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.338 | 101779.7973 | 211994.5721 | 27.3 | 43.4
4147 | 2022-05-18 13:03 | 24.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 299.2528 | μmol/L | 17.8544 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.397 | 102073.2272 | 211988.7865 | 27.3 | 43.4
4157 | 2022-05-18 13:04 | 24.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 298.2201 | μmol/L | 17.8483 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.44 | 102301.036 | 211997.8427 | 27.3 | 43.4
4166 | 2022-05-18 13:04 | 24.9978 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 297.5376 | μmol/L | 17.8483 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.467 | 102467.3757 | 211994.4688 | 27.3 | 43.4
4176 | 2022-05-18 13:04 | 25.3315 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.9904 | μmol/L | 17.8422 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.491 | 102581.7517 | 211994.523 | 27.3 | 43.4
4187 | 2022-05-18 13:05 | 25.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 296.5049 | μmol/L | 17.8483 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.508 | 102671.4358 | 212001.468 | 27.3 | 43.4
4196 | 2022-05-18 13:05 | 25.9979 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.9452 | μmol/L | 17.8544 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.528 | 102754.3644 | 212013.5499 | 27.3 | 43.4
4206 | 2022-05-18 13:05 | 26.3315 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.6344 | μmol/L | 17.8422 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.545 | 102841.3003 | 212002.9189 | 27.3 | 43.4
4216 | 2022-05-18 13:06 | 26.6644 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.9767 | μmol/L | 17.8483 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.569 | 102950.7143 | 212005.5254 | 27.3 | 43.4
4226 | 2022-05-18 13:06 | 26.998 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.5277 | μmol/L | 17.8483 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.587 | 103050.7837 | 212008.1072 | 27.3 | 43.4
4236 | 2022-05-18 13:06 | 27.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.0124 | μmol/L | 17.8422 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.61 | 103151.8514 | 212013.2877 | 27.3 | 43.4
4246 | 2022-05-18 13:07 | 27.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.6893 | μmol/L | 17.8422 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.623 | 103242.5641 | 212007.5789 | 27.3 | 43.4
4257 | 2022-05-18 13:07 | 27.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.4486 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.635 | 103303.6179 | 212017.3262 | 27.3 | 43.4
4266 | 2022-05-18 13:07 | 28.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.1683 | μmol/L | 17.8422 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.644 | 103349.0559 | 212023.194 | 27.3 | 43.4
4277 | 2022-05-18 13:08 | 28.6652 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.0273 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.652 | 103393.8726 | 212026.554 | 27.3 | 43.4
4287 | 2022-05-18 13:08 | 28.9979 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.8863 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.66 | 103413.4949 | 212020.0703 | 27.3 | 43.4
4296 | 2022-05-18 13:08 | 29.3314 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.9282 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.656 | 103408.3871 | 212005.9195 | 27.3 | 43.4
4307 | 2022-05-18 13:09 | 29.665 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.8217 | μmol/L | 17.8422 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.658 | 103396.8219 | 212022.5916 | 27.3 | 43.4
4317 | 2022-05-18 13:09 | 29.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.9358 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.658 | 103409.3576 | 212019.2914 | 27.3 | 43.4
4327 | 2022-05-18 13:09 | 30.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.755 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.663 | 103442.0542 | 212025.4596 | 27.3 | 43.4
4337 | 2022-05-18 13:10 | 30.6649 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.6637 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.669 | 103473.1663 | 212032.6003 | 27.3 | 43.4
4346 | 2022-05-18 13:10 | 30.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.4337 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 103502.3849 | 212027.0392 | 27.3 | 43.4
4357 | 2022-05-18 13:10 | 31.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.5229 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.677 | 103523.9482 | 212025.9591 | 27.3 | 43.4
4366 | 2022-05-18 13:11 | 31.6649 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.3254 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.685 | 103558.2568 | 212025.5758 | 27.3 | 43.4
4376 | 2022-05-18 13:11 | 31.9983 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.071 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.693 | 103603.0902 | 212017.4182 | 27.3 | 43.4
4387 | 2022-05-18 13:11 | 32.3319 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 291.743 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.704 | 103661.9616 | 212017.5494 | 27.3 | 43.4
4396 | 2022-05-18 13:12 | 32.6647 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 291.3077 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.724 | 103752.3065 | 212025.082 | 27.3 | 43.4
4407 | 2022-05-18 13:12 | 32.9984 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 290.9147 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.74 | 103842.8088 | 212038.0273 | 27.3 | 43.4
4416 | 2022-05-18 13:12 | 33.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 290.628 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.754 | 103927.4311 | 212031.0584 | 27.3 | 43.4
4426 | 2022-05-18 13:13 | 33.6648 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 290.0986 | μmol/L | 17.8361 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.771 | 103983.644 | 212040.1163 | 27.3 | 43.4
4437 | 2022-05-18 13:13 | 33.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 290.1627 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.773 | 104021.0112 | 212038.1818 | 27.3 | 43.4
4446 | 2022-05-18 13:13 | 34.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 289.8938 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.784 | 104067.0429 | 212032.5765 | 27.3 | 43.4
4456 | 2022-05-18 13:14 | 34.6647 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 289.4712 | μmol/L | 17.83 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.799 | 104113.3584 | 212045.1473 | 27.3 | 43.4
4466 | 2022-05-18 13:14 | 34.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 289.3812 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.805 | 104179.2331 | 212041.6703 | 27.3 | 43.4
4477 | 2022-05-18 13:14 | 35.3315 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 289.1132 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.816 | 104219.7002 | 212038.7606 | 27.3 | 43.4
4487 | 2022-05-18 13:15 | 35.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.9671 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.822 | 104251.3867 | 212039.9024 | 27.3 | 43.4
4497 | 2022-05-18 13:15 | 35.9979 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.9261 | μmol/L | 17.8178 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.826 | 104284.4571 | 212041.968 | 27.3 | 43.4
4507 | 2022-05-18 13:15 | 36.3317 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.651 | μmol/L | 17.8239 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.835 | 104327.3425 | 212044.028 | 27.3 | 43.4
4517 | 2022-05-18 13:16 | 36.6646 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.61 | μmol/L | 17.8178 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.839 | 104352.4163 | 212026.2475 | 27.3 | 43.4
4526 | 2022-05-18 13:16 | 36.998 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.4719 | μmol/L | 17.8117 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.847 | 104367.7799 | 212028.3131 | 27.3 | 43.4
4536 | 2022-05-18 13:16 | 37.3316 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.3263 | μmol/L | 17.8117 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.853 | 104385.9984 | 212019.561 | 27.3 | 43.4
4546 | 2022-05-18 13:17 | 37.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.2369 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.859 | 104428.487 | 212019.1941 | 27.3 | 43.4
4556 | 2022-05-18 13:17 | 37.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.3505 | μmol/L | 17.8117 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.852 | 104389.7703 | 212031.1288 | 27.3 | 43.4
4567 | 2022-05-18 13:17 | 38.3319 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.4886 | μmol/L | 17.8178 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.844 | 104343.6886 | 212033.7512 | 27.3 | 43.4
4577 | 2022-05-18 13:18 | 38.6648 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 288.6586 | μmol/L | 17.8178 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.837 | 104314.8476 | 212021.7313 | 27.3 | 43.4
4587 | 2022-05-18 13:18 | 38.9985 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 289.0311 | μmol/L | 17.8117 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.824 | 104273.7564 | 212021.7941 | 27.3 | 43.4
4597 | 2022-05-18 13:18 | 39.3312 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 289.6237 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.802 | 104150.4859 | 212032.4433 | 27.3 | 43.4
4607 | 2022-05-18 13:19 | 39.6651 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 290.4304 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.769 | 103964.3262 | 212016.4027 | 27.3 | 43.4
4616 | 2022-05-18 13:19 | 39.9982 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 291.4196 | μmol/L | 17.7994 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.731 | 103781.0226 | 212025.0791 | 27.3 | 43.4
4626 | 2022-05-18 13:19 | 40.3313 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 291.872 | μmol/L | 17.8117 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.708 | 103648.9598 | 212032.4433 | 27.3 | 43.4
4636 | 2022-05-18 13:20 | 40.665 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.5705 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.682 | 103543.4647 | 212018.1409 | 27.3 | 43.4
4647 | 2022-05-18 13:20 | 40.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 292.9414 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.667 | 103441.087 | 212018.7257 | 27.3 | 43.4
4657 | 2022-05-18 13:20 | 41.3317 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.2634 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.654 | 103377.0186 | 212018.4161 | 27.3 | 43.4
4666 | 2022-05-18 13:21 | 41.6644 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.1071 | μmol/L | 17.8117 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.658 | 103389.3697 | 212021.663 | 27.3 | 43.4
4676 | 2022-05-18 13:21 | 41.9981 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.1147 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.66 | 103384.0495 | 212015.648 | 27.3 | 43.4
4687 | 2022-05-18 13:21 | 42.3315 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.7099 | μmol/L | 17.8056 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.636 | 103258.3879 | 212013.1809 | 27.3 | 43.4
4697 | 2022-05-18 13:22 | 42.6648 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.6954 | μmol/L | 17.7933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.601 | 103071.8151 | 212008.5499 | 27.3 | 43.4
4707 | 2022-05-18 13:22 | 42.998 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.3195 | μmol/L | 17.7933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.576 | 102959.0604 | 212015.2644 | 27.3 | 43.4
4716 | 2022-05-18 13:22 | 43.3314 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.4946 | μmol/L | 17.7933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.569 | 102903.397 | 212011.7685 | 27.3 | 43.4
4726 | 2022-05-18 13:23 | 43.6647 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 295.5522 | μmol/L | 17.7872 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.569 | 102932.4534 | 212009.9946 | 27.3 | 43.4
4737 | 2022-05-18 13:23 | 43.9983 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.9449 | μmol/L | 17.7933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.591 | 103016.352 | 212005.8934 | 27.3 | 43.4
4746 | 2022-05-18 13:23 | 44.3314 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 294.5134 | μmol/L | 17.7994 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.606 | 103092.6961 | 212012.132 | 27.3 | 43.4
4754 | 2022-05-18 13:24 | 44.6646 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 293.5762 | μmol/L | 17.7933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.646 | 103287.5126 | 211990.7047 | 27.3 | 43.4