## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 133165130 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:41

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3416 | 2022-05-18 12:39 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.4545 | μmol/L | 18.0331 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.335 | 121277.9773 | 272224.1935 | 33.25 | 75.7
3422 | 2022-05-18 12:39 | 0.33052 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.4844 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.336 | 121294.8173 | 272248.6677 | 33.25 | 75.7
3432 | 2022-05-18 12:40 | 0.66355 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.4358 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.338 | 121316.2713 | 272236.0841 | 33.25 | 75.7
3442 | 2022-05-18 12:40 | 0.99717 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.3144 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.343 | 121330.8363 | 272242.8318 | 33.25 | 75.7
3452 | 2022-05-18 12:40 | 1.33 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.2658 | μmol/L | 18.0269 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.345 | 121358.5656 | 272250.5319 | 33.25 | 75.7
3462 | 2022-05-18 12:41 | 1.6635 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.2472 | μmol/L | 18.0208 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.348 | 121361.3023 | 272246.9322 | 33.25 | 75.7
3472 | 2022-05-18 12:41 | 1.9971 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.1986 | μmol/L | 18.0208 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.35 | 121385.0896 | 272254.2102 | 33.25 | 75.7
3482 | 2022-05-18 12:41 | 2.3298 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.2285 | μmol/L | 18.0147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.351 | 121390.9385 | 272253.3948 | 33.25 | 75.7
3492 | 2022-05-18 12:42 | 2.6635 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.2285 | μmol/L | 18.0147 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.351 | 121408.4084 | 272242.0736 | 33.25 | 75.7
3502 | 2022-05-18 12:42 | 2.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.0289 | μmol/L | 18.0208 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.357 | 121423.9987 | 272239.9415 | 33.25 | 75.7
3512 | 2022-05-18 12:42 | 3.3297 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.1129 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.358 | 121440.1176 | 272226.5694 | 33.25 | 75.7
3522 | 2022-05-18 12:43 | 3.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.0159 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.362 | 121441.0496 | 272246.8916 | 33.25 | 75.7
3532 | 2022-05-18 12:43 | 3.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.1129 | μmol/L | 18.0085 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.358 | 121453.9622 | 272222.0841 | 33.25 | 75.7
3542 | 2022-05-18 12:43 | 4.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.0458 | μmol/L | 18.0024 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.363 | 121464.8726 | 272226.6601 | 33.25 | 75.7
3552 | 2022-05-18 12:44 | 4.663 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.9973 | μmol/L | 18.0024 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.365 | 121467.1532 | 272221.8037 | 33.25 | 75.7
3562 | 2022-05-18 12:44 | 4.9967 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 283.0272 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.366 | 121481.5852 | 272225.9781 | 33.25 | 75.7
3572 | 2022-05-18 12:44 | 5.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.9246 | μmol/L | 18.0024 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.368 | 121486.2312 | 272221.2901 | 33.25 | 75.7
3582 | 2022-05-18 12:45 | 5.6632 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.906 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.371 | 121510.3409 | 272238.873 | 33.25 | 75.7
3592 | 2022-05-18 12:45 | 5.9967 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.8519 | μmol/L | 18.0024 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.371 | 121508.0027 | 272227.5382 | 33.25 | 75.7
3602 | 2022-05-18 12:45 | 6.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.906 | μmol/L | 17.9963 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.371 | 121512.562 | 272225.3474 | 33.25 | 75.7
3612 | 2022-05-18 12:46 | 6.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.8875 | μmol/L | 17.9901 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.374 | 121527.1491 | 272236.7021 | 33.25 | 75.7
3622 | 2022-05-18 12:46 | 6.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.8148 | μmol/L | 17.9901 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.377 | 121540.6225 | 272236.4605 | 33.25 | 75.7
3632 | 2022-05-18 12:46 | 7.3299 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.8931 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.376 | 121542.1002 | 272232.7155 | 33.25 | 75.7
3642 | 2022-05-18 12:47 | 7.6634 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.7664 | μmol/L | 17.9901 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.379 | 121558.5183 | 272226.7544 | 33.25 | 75.7
3652 | 2022-05-18 12:47 | 7.9971 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.718 | μmol/L | 17.9901 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.381 | 121554.6962 | 272230.0506 | 33.25 | 75.7
3662 | 2022-05-18 12:47 | 8.3298 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.7963 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.38 | 121566.4284 | 272228.7929 | 33.25 | 75.7
3672 | 2022-05-18 12:48 | 8.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.6752 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.385 | 121579.6158 | 272224.4776 | 33.25 | 75.7
3682 | 2022-05-18 12:48 | 8.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.7535 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.384 | 121591.5957 | 272222.2629 | 33.25 | 75.7
3692 | 2022-05-18 12:48 | 9.3297 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.7478 | μmol/L | 17.984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.382 | 121597.345 | 272216.0152 | 33.25 | 75.7
3702 | 2022-05-18 12:49 | 9.6631 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.7293 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.385 | 121605.0337 | 272213.7449 | 33.25 | 75.7
3712 | 2022-05-18 12:49 | 9.9965 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.7165 | μmol/L | 17.9656 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.39 | 121627.6061 | 272216.6566 | 33.25 | 75.7
3722 | 2022-05-18 12:49 | 10.3301 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.5415 | μmol/L | 17.9717 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.395 | 121631.3484 | 272218.2584 | 33.25 | 75.7
3732 | 2022-05-18 12:50 | 10.6636 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.5898 | μmol/L | 17.9717 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.393 | 121647.618 | 272212.4044 | 33.25 | 75.7
3742 | 2022-05-18 12:50 | 10.9971 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.5842 | μmol/L | 17.9779 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.391 | 121641.6727 | 272216.517 | 33.25 | 75.7
3752 | 2022-05-18 12:50 | 11.3304 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.5714 | μmol/L | 17.9656 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.396 | 121660.5859 | 272196.9914 | 33.25 | 75.7
3762 | 2022-05-18 12:51 | 11.663 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4263 | μmol/L | 17.9656 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.402 | 121671.3298 | 272198.5437 | 33.25 | 75.7
3772 | 2022-05-18 12:51 | 11.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.523 | μmol/L | 17.9656 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.398 | 121679.5837 | 272205.5087 | 33.25 | 75.7
3782 | 2022-05-18 12:51 | 12.3304 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4505 | μmol/L | 17.9656 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.401 | 121688.7321 | 272203.6832 | 33.25 | 75.7
3792 | 2022-05-18 12:52 | 12.6632 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.5045 | μmol/L | 17.9595 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.401 | 121693.4115 | 272212.4436 | 33.25 | 75.7
3802 | 2022-05-18 12:52 | 12.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.432 | μmol/L | 17.9595 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.404 | 121680.8339 | 272201.7836 | 33.25 | 75.7
3812 | 2022-05-18 12:52 | 13.3302 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4078 | μmol/L | 17.9595 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.405 | 121699.9914 | 272196.5367 | 33.25 | 75.7
3822 | 2022-05-18 12:53 | 13.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3296 | μmol/L | 17.9656 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.406 | 121703.5667 | 272200.5027 | 33.25 | 75.7
3832 | 2022-05-18 12:53 | 13.9972 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.516 | μmol/L | 17.9472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.405 | 121710.5724 | 272192.9571 | 33.25 | 75.7
3842 | 2022-05-18 12:53 | 14.3298 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4377 | μmol/L | 17.9533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.406 | 121713.7053 | 272194.6808 | 33.25 | 75.7
3852 | 2022-05-18 12:54 | 14.6632 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2871 | μmol/L | 17.9595 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.41 | 121714.8611 | 272200.453 | 33.25 | 75.7
3862 | 2022-05-18 12:54 | 14.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3894 | μmol/L | 17.9533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.408 | 121728.2735 | 272207.3373 | 33.25 | 75.7
3872 | 2022-05-18 12:54 | 15.3298 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2928 | μmol/L | 17.9533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.412 | 121728.5703 | 272198.6275 | 33.25 | 75.7
3882 | 2022-05-18 12:55 | 15.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4193 | μmol/L | 17.9472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.409 | 121729.0131 | 272203.5941 | 33.25 | 75.7
3892 | 2022-05-18 12:55 | 15.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3468 | μmol/L | 17.9472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.412 | 121743.7668 | 272207.1093 | 33.25 | 75.7
3902 | 2022-05-18 12:55 | 16.3304 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2502 | μmol/L | 17.9472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.416 | 121748.1169 | 272218.1476 | 33.25 | 75.7
3912 | 2022-05-18 12:56 | 16.6632 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4733 | μmol/L | 17.9411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.409 | 121749.6446 | 272205.0609 | 33.25 | 75.7
3922 | 2022-05-18 12:56 | 16.9969 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3341 | μmol/L | 17.9411 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.415 | 121740.4282 | 272211.7337 | 33.25 | 75.7
3932 | 2022-05-18 12:56 | 17.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4008 | μmol/L | 17.9411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.412 | 121763.4864 | 272208.3926 | 33.25 | 75.7
3942 | 2022-05-18 12:57 | 17.6639 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.4008 | μmol/L | 17.9411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.412 | 121771.849 | 272209.8069 | 33.25 | 75.7
3952 | 2022-05-18 12:57 | 17.9966 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2743 | μmol/L | 17.9472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.415 | 121769.3275 | 272217.5618 | 33.25 | 75.7
3962 | 2022-05-18 12:57 | 18.3304 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3583 | μmol/L | 17.935 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.416 | 121768.3552 | 272196.7416 | 33.25 | 75.7
3972 | 2022-05-18 12:58 | 18.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3398 | μmol/L | 17.935 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.417 | 121774.0493 | 272209.8886 | 33.25 | 75.7
3982 | 2022-05-18 12:58 | 18.9967 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3882 | μmol/L | 17.9288 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.417 | 121775.9218 | 272191.798 | 33.25 | 75.7
3992 | 2022-05-18 12:58 | 19.3302 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2617 | μmol/L | 17.935 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.42 | 121780.9525 | 272217.3901 | 33.25 | 75.7
4002 | 2022-05-18 12:59 | 19.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3214 | μmol/L | 17.9288 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.42 | 121784.9586 | 272201.8582 | 33.25 | 75.7
4012 | 2022-05-18 12:59 | 19.9965 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.31 | μmol/L | 17.935 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.418 | 121805.4503 | 272211.2725 | 33.25 | 75.7
4022 | 2022-05-18 12:59 | 20.3301 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3997 | μmol/L | 17.9166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.421 | 121802.8984 | 272220.8474 | 33.25 | 75.7
4032 | 2022-05-18 13:00 | 20.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2916 | μmol/L | 17.9288 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.421 | 121803.1534 | 272198.377 | 33.25 | 75.7
4042 | 2022-05-18 13:00 | 20.9964 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2433 | μmol/L | 17.9288 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.423 | 121800.9622 | 272205.6831 | 33.25 | 75.7
4052 | 2022-05-18 13:00 | 21.3301 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2674 | μmol/L | 17.9288 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.422 | 121808.8347 | 272220.019 | 33.25 | 75.7
4062 | 2022-05-18 13:01 | 21.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2973 | μmol/L | 17.9227 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.423 | 121809.635 | 272216.9908 | 33.25 | 75.7
4072 | 2022-05-18 13:01 | 21.9966 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2307 | μmol/L | 17.9166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.428 | 121819.1162 | 272217.5543 | 33.25 | 75.7
4082 | 2022-05-18 13:01 | 22.33 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2973 | μmol/L | 17.9227 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.423 | 121809.022 | 272216.2405 | 33.25 | 75.7
4092 | 2022-05-18 13:02 | 22.6632 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2789 | μmol/L | 17.9166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.426 | 121817.9992 | 272213.7503 | 33.25 | 75.7
4102 | 2022-05-18 13:02 | 22.9967 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3629 | μmol/L | 17.9104 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.425 | 121818.4532 | 272217.7972 | 33.25 | 75.7
4112 | 2022-05-18 13:02 | 23.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2249 | μmol/L | 17.9227 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.426 | 121806.6082 | 272214.6651 | 33.25 | 75.7
4122 | 2022-05-18 13:03 | 23.6631 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2364 | μmol/L | 17.9166 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.428 | 121820.5268 | 272226.1266 | 33.25 | 75.7
4132 | 2022-05-18 13:03 | 23.9966 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3387 | μmol/L | 17.9104 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.426 | 121833.3363 | 272213.8036 | 33.25 | 75.7
4142 | 2022-05-18 13:03 | 24.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2122 | μmol/L | 17.9166 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.429 | 121833.3846 | 272214.2379 | 33.25 | 75.7
4152 | 2022-05-18 13:04 | 24.6638 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2962 | μmol/L | 17.9043 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.43 | 121846.5739 | 272217.1868 | 33.25 | 75.7
4162 | 2022-05-18 13:04 | 24.9965 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.2364 | μmol/L | 17.9104 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.43 | 121849.7075 | 272220.9445 | 33.25 | 75.7
4172 | 2022-05-18 13:04 | 25.3299 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.3744 | μmol/L | 17.8982 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.429 | 121856.2147 | 272221.3689 | 33.25 | 75.7
4182 | 2022-05-18 13:05 | 25.6636 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.1997 | μmol/L | 17.9043 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.434 | 121888.282 | 272232.4368 | 33.25 | 75.7
4192 | 2022-05-18 13:05 | 25.9966 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 282.1331 | μmol/L | 17.8982 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.439 | 121919.2085 | 272226.1995 | 33.25 | 75.7
4202 | 2022-05-18 13:05 | 26.3302 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 281.8563 | μmol/L | 17.9104 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.446 | 121923.3604 | 272233.8954 | 33.25 | 75.7
4212 | 2022-05-18 13:06 | 26.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 281.8197 | μmol/L | 17.8982 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.452 | 121993.3554 | 272230.4726 | 33.25 | 75.7
4222 | 2022-05-18 13:06 | 26.9965 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 281.1346 | μmol/L | 17.9104 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.476 | 122154.8592 | 272241.0162 | 33.25 | 75.7
4232 | 2022-05-18 13:06 | 27.33 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 280.5647 | μmol/L | 17.9043 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.502 | 122291.7707 | 272233.0866 | 33.25 | 75.7
4242 | 2022-05-18 13:07 | 27.6635 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 280.134 | μmol/L | 17.9043 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.52 | 122417.2827 | 272233.6986 | 33.25 | 75.7
4252 | 2022-05-18 13:07 | 27.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 280.0203 | μmol/L | 17.8982 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.527 | 122488.4111 | 272229.7333 | 33.25 | 75.7
4262 | 2022-05-18 13:07 | 28.3297 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 279.8828 | μmol/L | 17.892 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.535 | 122544.0761 | 272235.6813 | 33.25 | 75.7
4272 | 2022-05-18 13:08 | 28.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 279.6621 | μmol/L | 17.8982 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.542 | 122575.4105 | 272235.9773 | 33.25 | 75.7
4282 | 2022-05-18 13:08 | 28.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 279.519 | μmol/L | 17.8982 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.548 | 122608.9462 | 272248.7434 | 33.25 | 75.7
4292 | 2022-05-18 13:08 | 29.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 279.4295 | μmol/L | 17.892 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.554 | 122647.9012 | 272247.9573 | 33.25 | 75.7
4302 | 2022-05-18 13:09 | 29.6631 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 279.1914 | μmol/L | 17.892 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.564 | 122708.7814 | 272254.2074 | 33.25 | 75.7
4312 | 2022-05-18 13:09 | 29.9966 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 279.0248 | μmol/L | 17.892 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.571 | 122746.7819 | 272264.0596 | 33.25 | 75.7
4322 | 2022-05-18 13:09 | 30.3299 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 278.8642 | μmol/L | 17.8859 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.58 | 122811.126 | 272254.736 | 33.25 | 75.7
4332 | 2022-05-18 13:10 | 30.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 278.7691 | μmol/L | 17.8859 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.584 | 122858.7025 | 272264.9258 | 33.25 | 75.7
4342 | 2022-05-18 13:10 | 30.9969 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 278.5317 | μmol/L | 17.8859 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.594 | 122901.5964 | 272267.4941 | 33.25 | 75.7
4352 | 2022-05-18 13:10 | 31.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 278.4189 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.601 | 122953.585 | 272267.1657 | 33.25 | 75.7
4362 | 2022-05-18 13:11 | 31.663 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 277.9095 | μmol/L | 17.892 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.618 | 123038.487 | 272259.0746 | 33.25 | 75.7
4372 | 2022-05-18 13:11 | 31.9966 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 277.6139 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.635 | 123166.5344 | 272254.809 | 33.25 | 75.7
4382 | 2022-05-18 13:11 | 32.3302 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 277.1121 | μmol/L | 17.8859 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.654 | 123277.4878 | 272259.3089 | 33.25 | 75.7
4392 | 2022-05-18 13:12 | 32.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 276.8824 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.666 | 123367.347 | 272256.4683 | 33.25 | 75.7
4402 | 2022-05-18 13:12 | 32.9965 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 276.5763 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.679 | 123436.0397 | 272262.9436 | 33.25 | 75.7
4412 | 2022-05-18 13:12 | 33.3301 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 276.4412 | μmol/L | 17.8736 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.687 | 123489.2804 | 272265.9861 | 33.25 | 75.7
4422 | 2022-05-18 13:13 | 33.6636 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 276.2472 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.693 | 123547.1753 | 272258.6455 | 33.25 | 75.7
4432 | 2022-05-18 13:13 | 33.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 276.0829 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.7 | 123578.6853 | 272263.151 | 33.25 | 75.7
4442 | 2022-05-18 13:13 | 34.3298 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.948 | μmol/L | 17.8736 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.708 | 123634.1734 | 272260.6299 | 33.25 | 75.7
4452 | 2022-05-18 13:14 | 34.6634 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.6607 | μmol/L | 17.8798 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.718 | 123668.21 | 272266.2161 | 33.25 | 75.7
4462 | 2022-05-18 13:14 | 34.9971 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.6079 | μmol/L | 17.8859 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.718 | 123704.4875 | 272265.2125 | 33.25 | 75.7
4472 | 2022-05-18 13:14 | 35.33 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.5262 | μmol/L | 17.8736 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.726 | 123731.4859 | 272246.6587 | 33.25 | 75.7
4482 | 2022-05-18 13:15 | 35.6634 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.5382 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.73 | 123755.4157 | 272252.0169 | 33.25 | 75.7
4492 | 2022-05-18 13:15 | 35.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.3917 | μmol/L | 17.8675 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.734 | 123775.5916 | 272263.7482 | 33.25 | 75.7
4502 | 2022-05-18 13:15 | 36.3305 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.4505 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.736 | 123797.4803 | 272244.1196 | 33.25 | 75.7
4512 | 2022-05-18 13:16 | 36.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.3396 | μmol/L | 17.8491 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.743 | 123828.5188 | 272251.7277 | 33.25 | 75.7
4522 | 2022-05-18 13:16 | 36.9969 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.1933 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.747 | 123848.0884 | 272252.9935 | 33.25 | 75.7
4532 | 2022-05-18 13:16 | 37.3305 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.1933 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.747 | 123860.0296 | 272239.6185 | 33.25 | 75.7
4542 | 2022-05-18 13:17 | 37.6631 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 275.1759 | μmol/L | 17.8491 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.75 | 123886.4387 | 272238.7684 | 33.25 | 75.7
4552 | 2022-05-18 13:17 | 37.9967 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 274.7556 | μmol/L | 17.8491 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.768 | 123978.1009 | 272225.1924 | 33.25 | 75.7
4562 | 2022-05-18 13:17 | 38.3301 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 273.8357 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.803 | 124211.6145 | 272237.9587 | 33.25 | 75.7
4572 | 2022-05-18 13:18 | 38.6637 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 273.007 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.841 | 124419.7861 | 272220.1159 | 33.25 | 75.7
4582 | 2022-05-18 13:18 | 38.9967 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.6079 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.856 | 124525.4125 | 272233.9533 | 33.25 | 75.7
4592 | 2022-05-18 13:18 | 39.3303 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.3078 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.869 | 124608.8642 | 272223.0113 | 33.25 | 75.7
4602 | 2022-05-18 13:19 | 39.6631 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.1173 | μmol/L | 17.8675 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.875 | 124670.4546 | 272220.0572 | 33.25 | 75.7
4612 | 2022-05-18 13:19 | 39.9968 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.1294 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.879 | 124655.8427 | 272215.0482 | 33.25 | 75.7
4622 | 2022-05-18 13:19 | 40.3297 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.377 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.866 | 124581.7392 | 272227.5829 | 33.25 | 75.7
4632 | 2022-05-18 13:20 | 40.6633 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.371 | μmol/L | 17.8675 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.864 | 124554.6742 | 272220.638 | 33.25 | 75.7
4642 | 2022-05-18 13:20 | 40.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 272.2386 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.872 | 124623.8753 | 272219.431 | 33.25 | 75.7
4652 | 2022-05-18 13:20 | 41.3298 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.8299 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.892 | 124724.7241 | 272214.0164 | 33.25 | 75.7
4662 | 2022-05-18 13:21 | 41.6635 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.5478 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.902 | 124798.2242 | 272224.1456 | 33.25 | 75.7
4672 | 2022-05-18 13:21 | 41.9965 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.6398 | μmol/L | 17.8614 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.898 | 124799.8951 | 272209.5764 | 33.25 | 75.7
4682 | 2022-05-18 13:21 | 42.3389 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.5309 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.905 | 124836.3673 | 272222.5932 | 33.25 | 75.7
4692 | 2022-05-18 13:22 | 42.6631 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.393 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.911 | 124875.4629 | 272218.4598 | 33.25 | 75.7
4702 | 2022-05-18 13:22 | 42.997 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.3822 | μmol/L | 17.843 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.916 | 124911.5037 | 272209.2736 | 33.25 | 75.7
4712 | 2022-05-18 13:22 | 43.3301 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.1007 | μmol/L | 17.8491 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.926 | 124946.7287 | 272201.5634 | 33.25 | 75.7
4722 | 2022-05-18 13:23 | 43.6634 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 271.0319 | μmol/L | 17.8491 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.929 | 124990.1228 | 272193.4889 | 33.25 | 75.7
4732 | 2022-05-18 13:23 | 43.9971 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 270.8775 | μmol/L | 17.843 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.938 | 125040.5562 | 272198.6497 | 33.25 | 75.7
4742 | 2022-05-18 13:23 | 44.33 | oxy_ch_1 (PSt7-10) | 2022-05-16 12:41 | default | 270.5447 | μmol/L | 17.8552 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.948 | 125088.3188 | 272191.749 | 33.25 | 75.7