## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 123891955 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:45

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2078 | 2022-05-18 11:34 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6107 | μmol/L | 18.3003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.721 | 99876.6204 | 212048.2536 | 27.3 | 43.4
2087 | 2022-05-18 11:35 | 0.33835 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5568 | μmol/L | 18.3003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.723 | 99886.2352 | 212040.6584 | 27.3 | 43.4
2097 | 2022-05-18 11:35 | 0.67202 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5837 | μmol/L | 18.3003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.722 | 99440.4117 | 212023.9145 | 27.3 | 43.4
2107 | 2022-05-18 11:35 | 1.0049 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3951 | μmol/L | 18.3003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.729 | 99448.9199 | 212027.2692 | 27.3 | 43.4
2117 | 2022-05-18 11:36 | 1.3384 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4359 | μmol/L | 18.3125 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.723 | 99461.5199 | 212027.572 | 27.3 | 43.4
2127 | 2022-05-18 11:36 | 1.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5094 | μmol/L | 18.2942 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.727 | 99465.6868 | 212018.9711 | 27.3 | 43.4
2137 | 2022-05-18 11:36 | 2.0049 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4017 | μmol/L | 18.2942 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.731 | 99464.6014 | 212010.8933 | 27.3 | 43.4
2147 | 2022-05-18 11:37 | 2.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4082 | μmol/L | 18.2881 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.733 | 99475.1135 | 212008.839 | 27.3 | 43.4
2157 | 2022-05-18 11:37 | 2.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.2401 | μmol/L | 18.2942 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.737 | 99469.3004 | 212007.6223 | 27.3 | 43.4
2167 | 2022-05-18 11:37 | 3.0047 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3005 | μmol/L | 18.2881 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.737 | 99468.1838 | 211999.8091 | 27.3 | 43.4
2177 | 2022-05-18 11:38 | 3.3382 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.2802 | μmol/L | 18.282 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.74 | 99467.9615 | 211993.9103 | 27.3 | 43.4
2187 | 2022-05-18 11:38 | 3.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.428 | μmol/L | 18.2698 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.739 | 99462.9191 | 211983.681 | 27.3 | 43.4
2197 | 2022-05-18 11:38 | 4.0052 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3203 | μmol/L | 18.2698 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.743 | 99467.1825 | 211994.6178 | 27.3 | 43.4
2207 | 2022-05-18 11:39 | 4.3387 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3874 | μmol/L | 18.2576 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.745 | 99473.1255 | 211990.602 | 27.3 | 43.4
2217 | 2022-05-18 11:39 | 4.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3604 | μmol/L | 18.2576 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.746 | 99466.1457 | 211984.5423 | 27.3 | 43.4
2227 | 2022-05-18 11:39 | 5.0053 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5017 | μmol/L | 18.2514 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.743 | 99469.5306 | 211974.5026 | 27.3 | 43.4
2237 | 2022-05-18 11:40 | 5.3388 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3198 | μmol/L | 18.2453 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.752 | 99463.8367 | 211968.3476 | 27.3 | 43.4
2247 | 2022-05-18 11:40 | 5.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4342 | μmol/L | 18.2392 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.75 | 99471.7526 | 211972.2212 | 27.3 | 43.4
2257 | 2022-05-18 11:40 | 6.0052 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5485 | μmol/L | 18.2331 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.748 | 99464.1367 | 211958.9475 | 27.3 | 43.4
2267 | 2022-05-18 11:41 | 6.3387 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3803 | μmol/L | 18.2392 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.752 | 99471.325 | 211947.9004 | 27.3 | 43.4
2277 | 2022-05-18 11:41 | 6.6716 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.3331 | μmol/L | 18.2331 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.756 | 99467.3809 | 211943.6297 | 27.3 | 43.4
2287 | 2022-05-18 11:41 | 7.005 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4272 | μmol/L | 18.2209 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.757 | 99470.3457 | 211949.1778 | 27.3 | 43.4
2297 | 2022-05-18 11:42 | 7.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5147 | μmol/L | 18.2148 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.756 | 99475.5467 | 211950.0475 | 27.3 | 43.4
2307 | 2022-05-18 11:42 | 7.672 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.407 | μmol/L | 18.2148 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.76 | 99474.3954 | 211933.3257 | 27.3 | 43.4
2317 | 2022-05-18 11:42 | 8.0047 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6088 | μmol/L | 18.2026 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.757 | 99477.035 | 211936.9512 | 27.3 | 43.4
2327 | 2022-05-18 11:43 | 8.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5886 | μmol/L | 18.1965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.76 | 99482.8504 | 211927.5678 | 27.3 | 43.4
2337 | 2022-05-18 11:43 | 8.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.427 | μmol/L | 18.1965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.766 | 99493.4088 | 211932.897 | 27.3 | 43.4
2347 | 2022-05-18 11:43 | 9.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5616 | μmol/L | 18.1965 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.761 | 99493.7358 | 211930.9143 | 27.3 | 43.4
2357 | 2022-05-18 11:44 | 9.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4337 | μmol/L | 18.1904 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.768 | 99496.4829 | 211924.3124 | 27.3 | 43.4
2367 | 2022-05-18 11:44 | 9.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.575 | μmol/L | 18.1843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.765 | 99497.8806 | 211921.6022 | 27.3 | 43.4
2377 | 2022-05-18 11:44 | 10.0047 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5481 | μmol/L | 18.1843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.766 | 99501.1109 | 211925.6573 | 27.3 | 43.4
2387 | 2022-05-18 11:45 | 10.3386 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.501 | μmol/L | 18.1781 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.77 | 99500.4896 | 211910.7162 | 27.3 | 43.4
2397 | 2022-05-18 11:45 | 10.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6491 | μmol/L | 18.1659 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.769 | 99495.0012 | 211925.5334 | 27.3 | 43.4
2407 | 2022-05-18 11:45 | 11.0052 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5346 | μmol/L | 18.172 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.771 | 99510.7019 | 211907.877 | 27.3 | 43.4
2417 | 2022-05-18 11:46 | 11.3382 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5414 | μmol/L | 18.1659 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.773 | 99513.3545 | 211912.6719 | 27.3 | 43.4
2427 | 2022-05-18 11:46 | 11.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5144 | μmol/L | 18.1659 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.774 | 99515.7095 | 211914.3966 | 27.3 | 43.4
2437 | 2022-05-18 11:46 | 12.0048 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6155 | μmol/L | 18.1476 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.777 | 99513.4448 | 211901.5381 | 27.3 | 43.4
2447 | 2022-05-18 11:47 | 12.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.602 | μmol/L | 18.1598 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.773 | 99504.8818 | 211901.1056 | 27.3 | 43.4
2457 | 2022-05-18 11:47 | 12.6716 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5885 | μmol/L | 18.1476 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.778 | 99516.2019 | 211884.7713 | 27.3 | 43.4
2467 | 2022-05-18 11:47 | 13.0052 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4809 | μmol/L | 18.1476 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.782 | 99512.6659 | 211891.6152 | 27.3 | 43.4
2477 | 2022-05-18 11:48 | 13.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5684 | μmol/L | 18.1415 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.781 | 99511.1101 | 211890.1321 | 27.3 | 43.4
2487 | 2022-05-18 11:48 | 13.6719 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5752 | μmol/L | 18.1354 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.783 | 99502.0266 | 211882.6011 | 27.3 | 43.4
2497 | 2022-05-18 11:48 | 14.0048 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4944 | μmol/L | 18.1354 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.786 | 99514.2018 | 211877.7417 | 27.3 | 43.4
2507 | 2022-05-18 11:49 | 14.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.555 | μmol/L | 18.1293 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.786 | 99510.4412 | 211859.8863 | 27.3 | 43.4
2517 | 2022-05-18 11:49 | 14.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.784 | μmol/L | 18.1171 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.782 | 99514.4707 | 211858.2554 | 27.3 | 43.4
2527 | 2022-05-18 11:49 | 15.005 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6426 | μmol/L | 18.1232 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.785 | 99512.8633 | 211856.8265 | 27.3 | 43.4
2537 | 2022-05-18 11:50 | 15.3384 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5887 | μmol/L | 18.1232 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.787 | 99522.116 | 211857.8681 | 27.3 | 43.4
2547 | 2022-05-18 11:50 | 15.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6562 | μmol/L | 18.111 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.789 | 99527.1374 | 211866.7673 | 27.3 | 43.4
2557 | 2022-05-18 11:50 | 16.005 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6292 | μmol/L | 18.111 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.79 | 99527.8554 | 211852.7493 | 27.3 | 43.4
2567 | 2022-05-18 11:51 | 16.3388 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6023 | μmol/L | 18.111 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.791 | 99531.5332 | 211849.7327 | 27.3 | 43.4
2577 | 2022-05-18 11:51 | 16.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6361 | μmol/L | 18.1048 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.792 | 99517.6554 | 211844.5931 | 27.3 | 43.4
2587 | 2022-05-18 11:51 | 17.0054 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7506 | μmol/L | 18.0987 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.79 | 99533.8677 | 211857.4804 | 27.3 | 43.4
2597 | 2022-05-18 11:52 | 17.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6429 | μmol/L | 18.0987 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.794 | 99530.9435 | 211844.1665 | 27.3 | 43.4
2607 | 2022-05-18 11:52 | 17.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5621 | μmol/L | 18.0987 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.797 | 99527.5636 | 211840.5248 | 27.3 | 43.4
2617 | 2022-05-18 11:52 | 18.0049 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7373 | μmol/L | 18.0865 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.795 | 99534.041 | 211836.2707 | 27.3 | 43.4
2627 | 2022-05-18 11:53 | 18.3387 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7172 | μmol/L | 18.0804 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.798 | 99531.9926 | 211823.1599 | 27.3 | 43.4
2637 | 2022-05-18 11:53 | 18.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6903 | μmol/L | 18.0804 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.799 | 99530.7575 | 211840.7235 | 27.3 | 43.4
2647 | 2022-05-18 11:53 | 19.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6903 | μmol/L | 18.0804 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.799 | 99533.8187 | 211834.623 | 27.3 | 43.4
2657 | 2022-05-18 11:54 | 19.3388 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.751 | μmol/L | 18.0743 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.799 | 99540.0946 | 211831.0804 | 27.3 | 43.4
2667 | 2022-05-18 11:54 | 19.6719 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7579 | μmol/L | 18.0682 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.801 | 99540.8714 | 211828.0279 | 27.3 | 43.4
2677 | 2022-05-18 11:54 | 20.005 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6164 | μmol/L | 18.0743 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.804 | 99537.8054 | 211820.2437 | 27.3 | 43.4
2687 | 2022-05-18 11:55 | 20.3386 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.684 | μmol/L | 18.0621 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.806 | 99550.3512 | 211828.6965 | 27.3 | 43.4
2697 | 2022-05-18 11:55 | 20.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5426 | μmol/L | 18.0682 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.809 | 99556.4919 | 211822.0657 | 27.3 | 43.4
2707 | 2022-05-18 11:55 | 21.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6302 | μmol/L | 18.0621 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.808 | 99560.7478 | 211827.8045 | 27.3 | 43.4
2717 | 2022-05-18 11:56 | 21.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5494 | μmol/L | 18.0621 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.811 | 99556.7831 | 211827.3038 | 27.3 | 43.4
2727 | 2022-05-18 11:56 | 21.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7178 | μmol/L | 18.056 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.807 | 99574.5841 | 211824.4847 | 27.3 | 43.4
2737 | 2022-05-18 11:56 | 22.005 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5901 | μmol/L | 18.0499 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.814 | 99566.2143 | 211816.849 | 27.3 | 43.4
2747 | 2022-05-18 11:57 | 22.3382 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7585 | μmol/L | 18.0438 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.81 | 99581.3003 | 211833.5036 | 27.3 | 43.4
2757 | 2022-05-18 11:57 | 22.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7585 | μmol/L | 18.0438 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.81 | 99564.9284 | 211810.6695 | 27.3 | 43.4
2767 | 2022-05-18 11:57 | 23.0054 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7315 | μmol/L | 18.0438 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.811 | 99564.501 | 211815.4855 | 27.3 | 43.4
2777 | 2022-05-18 11:58 | 23.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.853 | μmol/L | 18.0315 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.811 | 99580.6836 | 211812.485 | 27.3 | 43.4
2787 | 2022-05-18 11:58 | 23.6716 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7384 | μmol/L | 18.0377 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.813 | 99600.7025 | 211809.6646 | 27.3 | 43.4
2797 | 2022-05-18 11:58 | 24.0054 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7992 | μmol/L | 18.0315 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.813 | 99588.5088 | 211806.7735 | 27.3 | 43.4
2807 | 2022-05-18 11:59 | 24.3386 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8061 | μmol/L | 18.0254 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.815 | 99584.9527 | 211804.278 | 27.3 | 43.4
2817 | 2022-05-18 11:59 | 24.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8061 | μmol/L | 18.0254 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.815 | 99583.6461 | 211807.8225 | 27.3 | 43.4
2827 | 2022-05-18 11:59 | 25.0052 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7792 | μmol/L | 18.0254 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.816 | 99596.503 | 211798.5854 | 27.3 | 43.4
2837 | 2022-05-18 12:00 | 25.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8061 | μmol/L | 18.0254 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.815 | 99600.2481 | 211802.5454 | 27.3 | 43.4
2847 | 2022-05-18 12:00 | 25.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7054 | μmol/L | 18.0193 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.821 | 99611.0226 | 211810.3853 | 27.3 | 43.4
2857 | 2022-05-18 12:00 | 26.0047 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7592 | μmol/L | 18.0193 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.819 | 99607.1054 | 211799.3061 | 27.3 | 43.4
2867 | 2022-05-18 12:01 | 26.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7661 | μmol/L | 18.0132 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.821 | 99614.4005 | 211795.146 | 27.3 | 43.4
2877 | 2022-05-18 12:01 | 26.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7123 | μmol/L | 18.0132 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.823 | 99607.545 | 211798.4249 | 27.3 | 43.4
2887 | 2022-05-18 12:01 | 27.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6585 | μmol/L | 18.0132 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.825 | 99617.7737 | 211805.8199 | 27.3 | 43.4
2897 | 2022-05-18 12:02 | 27.3388 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6316 | μmol/L | 18.0132 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.826 | 99620.8706 | 211823.6347 | 27.3 | 43.4
2907 | 2022-05-18 12:02 | 27.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7731 | μmol/L | 18.0071 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.823 | 99612.9971 | 211798.8994 | 27.3 | 43.4
2917 | 2022-05-18 12:02 | 28.0054 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8 | μmol/L | 18.0071 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.822 | 99603.9609 | 211793.4668 | 27.3 | 43.4
2927 | 2022-05-18 12:03 | 28.3384 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8408 | μmol/L | 17.9949 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.825 | 99610.114 | 211801.5668 | 27.3 | 43.4
2937 | 2022-05-18 12:03 | 28.6714 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8408 | μmol/L | 17.9949 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.825 | 99609.4349 | 211801.0487 | 27.3 | 43.4
2947 | 2022-05-18 12:03 | 29.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7332 | μmol/L | 17.9949 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.829 | 99624.2679 | 211806.6966 | 27.3 | 43.4
2957 | 2022-05-18 12:04 | 29.3388 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.787 | μmol/L | 17.9949 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.827 | 99629.5628 | 211804.4668 | 27.3 | 43.4
2967 | 2022-05-18 12:04 | 29.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8747 | μmol/L | 17.9888 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.826 | 99636.3206 | 211801.2101 | 27.3 | 43.4
2977 | 2022-05-18 12:04 | 30.0055 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6863 | μmol/L | 17.9888 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.833 | 99621.6991 | 211813.2889 | 27.3 | 43.4
2987 | 2022-05-18 12:05 | 30.3384 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8278 | μmol/L | 17.9827 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.83 | 99625.4398 | 211815.8603 | 27.3 | 43.4
2997 | 2022-05-18 12:05 | 30.6714 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6594 | μmol/L | 17.9888 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.834 | 99642.6185 | 211821.1933 | 27.3 | 43.4
3007 | 2022-05-18 12:05 | 31.0052 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6326 | μmol/L | 17.9888 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.835 | 99646.4863 | 211818.6696 | 27.3 | 43.4
3017 | 2022-05-18 12:06 | 31.3383 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6126 | μmol/L | 17.9827 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.838 | 99654.4282 | 211816.1085 | 27.3 | 43.4
3027 | 2022-05-18 12:06 | 31.672 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6664 | μmol/L | 17.9827 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.836 | 99668.053 | 211825.5292 | 27.3 | 43.4
3037 | 2022-05-18 12:06 | 32.0048 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6465 | μmol/L | 17.9766 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.839 | 99656.556 | 211817.5834 | 27.3 | 43.4
3047 | 2022-05-18 12:07 | 32.3386 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8687 | μmol/L | 17.9705 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.833 | 99655.3696 | 211821.1418 | 27.3 | 43.4
3057 | 2022-05-18 12:07 | 32.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8213 | μmol/L | 17.9705 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 21.835 | 99652.1421 | 211823.928 | 27.3 | 43.4
3067 | 2022-05-18 12:07 | 33.0053 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8219 | μmol/L | 17.9644 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.837 | 99682.5483 | 211836.3978 | 27.3 | 43.4
3077 | 2022-05-18 12:08 | 33.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7412 | μmol/L | 17.9644 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.84 | 99674.9985 | 211833.878 | 27.3 | 43.4
3087 | 2022-05-18 12:08 | 33.6714 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.788 | μmol/L | 17.9705 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.836 | 99683.1735 | 211842.0253 | 27.3 | 43.4
3097 | 2022-05-18 12:08 | 34.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7143 | μmol/L | 17.9644 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.841 | 99692.3159 | 211842.1811 | 27.3 | 43.4
3107 | 2022-05-18 12:09 | 34.3381 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7482 | μmol/L | 17.9583 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.842 | 99702.5052 | 211858.4409 | 27.3 | 43.4
3117 | 2022-05-18 12:09 | 34.672 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7283 | μmol/L | 17.9521 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.845 | 99711.087 | 211850.1592 | 27.3 | 43.4
3127 | 2022-05-18 12:09 | 35.0055 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6675 | μmol/L | 17.9583 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.845 | 99709.3419 | 211844.4804 | 27.3 | 43.4
3137 | 2022-05-18 12:10 | 35.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.8359 | μmol/L | 17.9521 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.841 | 99709.4173 | 211842.623 | 27.3 | 43.4
3147 | 2022-05-18 12:10 | 35.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.816 | μmol/L | 17.946 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.844 | 99717.597 | 211848.7001 | 27.3 | 43.4
3157 | 2022-05-18 12:10 | 36.0053 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7552 | μmol/L | 17.9521 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.844 | 99712.3321 | 211853.6308 | 27.3 | 43.4
3167 | 2022-05-18 12:11 | 36.3382 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6745 | μmol/L | 17.9521 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.847 | 99724.4407 | 211852.7851 | 27.3 | 43.4
3177 | 2022-05-18 12:11 | 36.672 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6816 | μmol/L | 17.946 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.849 | 99735.3833 | 211853.5639 | 27.3 | 43.4
3187 | 2022-05-18 12:11 | 37.005 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7085 | μmol/L | 17.946 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.848 | 99734.7571 | 211869.1641 | 27.3 | 43.4
3197 | 2022-05-18 12:12 | 37.338 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.7424 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.849 | 99753.8537 | 211864.8006 | 27.3 | 43.4
3207 | 2022-05-18 12:12 | 37.6718 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6886 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.851 | 99748.0811 | 211867.208 | 27.3 | 43.4
3217 | 2022-05-18 12:12 | 38.0055 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6009 | μmol/L | 17.946 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.852 | 99746.9426 | 211860.831 | 27.3 | 43.4
3227 | 2022-05-18 12:13 | 38.3387 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5542 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.856 | 99741.4996 | 211862.0719 | 27.3 | 43.4
3237 | 2022-05-18 12:13 | 38.6717 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6886 | μmol/L | 17.9399 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.851 | 99747.4404 | 211856.7094 | 27.3 | 43.4
3247 | 2022-05-18 12:13 | 39.0054 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.615 | μmol/L | 17.9338 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.856 | 99739.3614 | 211863.538 | 27.3 | 43.4
3257 | 2022-05-18 12:14 | 39.3383 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.615 | μmol/L | 17.9338 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.856 | 99752.2695 | 211867.5614 | 27.3 | 43.4
3267 | 2022-05-18 12:14 | 39.6714 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.656 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.859 | 99751.9749 | 211856.6177 | 27.3 | 43.4
3277 | 2022-05-18 12:14 | 40.0053 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.615 | μmol/L | 17.9338 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.856 | 99766.4693 | 211854.0518 | 27.3 | 43.4
3287 | 2022-05-18 12:15 | 40.3384 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5754 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.862 | 99764.5957 | 211863.0667 | 27.3 | 43.4
3297 | 2022-05-18 12:15 | 40.672 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5683 | μmol/L | 17.9277 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.86 | 99774.2206 | 211869.578 | 27.3 | 43.4
3307 | 2022-05-18 12:15 | 41.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6829 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.858 | 99770.3985 | 211854.704 | 27.3 | 43.4
3317 | 2022-05-18 12:16 | 41.3384 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6022 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.861 | 99774.6414 | 211857.9924 | 27.3 | 43.4
3327 | 2022-05-18 12:16 | 41.6715 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5485 | μmol/L | 17.9216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.863 | 99774.7386 | 211858.8004 | 27.3 | 43.4
3337 | 2022-05-18 12:16 | 42.0051 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6093 | μmol/L | 17.9155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.863 | 99775.5746 | 211855.1341 | 27.3 | 43.4
3347 | 2022-05-18 12:17 | 42.338 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6362 | μmol/L | 17.9155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.862 | 99773.0601 | 211851.6902 | 27.3 | 43.4
3357 | 2022-05-18 12:17 | 42.6718 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6362 | μmol/L | 17.9155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.862 | 99777.242 | 211850.7485 | 27.3 | 43.4
3367 | 2022-05-18 12:17 | 43.0048 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5627 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.867 | 99791.7622 | 211848.8001 | 27.3 | 43.4
3377 | 2022-05-18 12:18 | 43.3385 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.6164 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.865 | 99792.3167 | 211856.5913 | 27.3 | 43.4
3387 | 2022-05-18 12:18 | 43.6721 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5895 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.866 | 99801.1078 | 211845.6705 | 27.3 | 43.4
3397 | 2022-05-18 12:18 | 44.0049 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.5556 | μmol/L | 17.9155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.865 | 99782.9944 | 211851.1749 | 27.3 | 43.4
3407 | 2022-05-18 12:19 | 44.3388 | oxy_ch_3 (PSt7-10) | 2022-05-16 12:45 | default | 312.4284 | μmol/L | 17.9094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 21.872 | 99793.832 | 211853.7543 | 27.3 | 43.4