## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 152814782 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2081 | 2022-05-18 11:35 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.5145 | μmol/L | 18.3283 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.798 | 89632.672 | 297715.5913 | 30.45 | 114.2
2091 | 2022-05-18 11:35 | 0.33689 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.4271 | μmol/L | 18.3221 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.804 | 89648.1045 | 297719.7388 | 30.45 | 114.2
2101 | 2022-05-18 11:35 | 0.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.3061 | μmol/L | 18.3283 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.807 | 89688.4897 | 297723.5991 | 30.45 | 114.2
2111 | 2022-05-18 11:36 | 1.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.2703 | μmol/L | 18.316 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.813 | 89697.3137 | 297717.8887 | 30.45 | 114.2
2121 | 2022-05-18 11:36 | 1.3365 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 270.2009 | μmol/L | 18.316 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.816 | 89713.9874 | 297709.5902 | 30.45 | 114.2
2131 | 2022-05-18 11:36 | 1.6702 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.8541 | μmol/L | 18.316 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.831 | 89742.6441 | 297702.5562 | 30.45 | 114.2
2141 | 2022-05-18 11:37 | 2.0038 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.5541 | μmol/L | 18.316 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.844 | 89810.0342 | 297697.2946 | 30.45 | 114.2
2151 | 2022-05-18 11:37 | 2.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.2827 | μmol/L | 18.3098 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.858 | 89850.9693 | 297684.4937 | 30.45 | 114.2
2161 | 2022-05-18 11:37 | 2.6701 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.0241 | μmol/L | 18.316 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.867 | 89873.5462 | 297672.2167 | 30.45 | 114.2
2171 | 2022-05-18 11:38 | 3.0035 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.0807 | μmol/L | 18.3037 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.869 | 89884.727 | 297675.4019 | 30.45 | 114.2
2181 | 2022-05-18 11:38 | 3.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.0453 | μmol/L | 18.2914 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.875 | 89892.596 | 297661.0891 | 30.45 | 114.2
2191 | 2022-05-18 11:38 | 3.6705 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.086 | μmol/L | 18.2975 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.871 | 89896.4208 | 297666.3195 | 30.45 | 114.2
2201 | 2022-05-18 11:39 | 4.0032 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.217 | μmol/L | 18.2791 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.872 | 89890.2693 | 297651.6527 | 30.45 | 114.2
2211 | 2022-05-18 11:39 | 4.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.9585 | μmol/L | 18.2853 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.881 | 89894.4969 | 297645.0283 | 30.45 | 114.2
2221 | 2022-05-18 11:39 | 4.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.1072 | μmol/L | 18.273 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.879 | 89890.1984 | 297631.3994 | 30.45 | 114.2
2231 | 2022-05-18 11:40 | 5.0034 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.0612 | μmol/L | 18.273 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.881 | 89889.9991 | 297632.1857 | 30.45 | 114.2
2241 | 2022-05-18 11:40 | 5.3368 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.9975 | μmol/L | 18.2668 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.886 | 89891.5908 | 297619.525 | 30.45 | 114.2
2251 | 2022-05-18 11:40 | 5.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 269.0028 | μmol/L | 18.2607 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.888 | 89903.0374 | 297626.4628 | 30.45 | 114.2
2261 | 2022-05-18 11:41 | 6.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.8932 | μmol/L | 18.2545 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.895 | 89926.568 | 297607.6214 | 30.45 | 114.2
2271 | 2022-05-18 11:41 | 6.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 268.2099 | μmol/L | 18.2484 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.927 | 90074.3207 | 297598.085 | 30.45 | 114.2
2281 | 2022-05-18 11:41 | 6.6702 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.6852 | μmol/L | 18.2423 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 22.996 | 90400.5691 | 297584.9927 | 30.45 | 114.2
2291 | 2022-05-18 11:42 | 7.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.9623 | μmol/L | 18.2423 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.072 | 90736.3239 | 297582.2741 | 30.45 | 114.2
2301 | 2022-05-18 11:42 | 7.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.4825 | μmol/L | 18.2361 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.14 | 91025.2719 | 297584.9018 | 30.45 | 114.2
2311 | 2022-05-18 11:42 | 7.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.7902 | μmol/L | 18.23 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.218 | 91373.7501 | 297571.2533 | 30.45 | 114.2
2321 | 2022-05-18 11:43 | 8.0033 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.8242 | μmol/L | 18.2238 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.309 | 91793.0879 | 297559.8215 | 30.45 | 114.2
2331 | 2022-05-18 11:43 | 8.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.111 | μmol/L | 18.2238 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.387 | 92124.6565 | 297556.7166 | 30.45 | 114.2
2341 | 2022-05-18 11:43 | 8.67 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.3087 | μmol/L | 18.2177 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.426 | 92313.5651 | 297558.7745 | 30.45 | 114.2
2351 | 2022-05-18 11:44 | 9.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.0965 | μmol/L | 18.2116 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.438 | 92356.6012 | 297548.5327 | 30.45 | 114.2
2361 | 2022-05-18 11:44 | 9.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.3416 | μmol/L | 18.2054 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.429 | 92304.1077 | 297539.4021 | 30.45 | 114.2
2371 | 2022-05-18 11:44 | 9.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.647 | μmol/L | 18.2054 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.415 | 92224.2335 | 297543.7182 | 30.45 | 114.2
2381 | 2022-05-18 11:45 | 10.0033 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.3083 | μmol/L | 18.1993 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.387 | 92121.372 | 297521.7981 | 30.45 | 114.2
2391 | 2022-05-18 11:45 | 10.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.9058 | μmol/L | 18.1931 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.362 | 92002.796 | 297533.7578 | 30.45 | 114.2
2401 | 2022-05-18 11:45 | 10.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.3673 | μmol/L | 18.1931 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.341 | 91885.5484 | 297509.5557 | 30.45 | 114.2
2411 | 2022-05-18 11:46 | 11.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.907 | μmol/L | 18.1808 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.321 | 91785.4359 | 297513.1522 | 30.45 | 114.2
2421 | 2022-05-18 11:46 | 11.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.216 | μmol/L | 18.1808 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.307 | 91706.7556 | 297508.1797 | 30.45 | 114.2
2431 | 2022-05-18 11:46 | 11.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.6637 | μmol/L | 18.1747 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.289 | 91636.3473 | 297482.0369 | 30.45 | 114.2
2441 | 2022-05-18 11:47 | 12.0033 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.0679 | μmol/L | 18.1686 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.273 | 91552.9836 | 297488.8929 | 30.45 | 114.2
2451 | 2022-05-18 11:47 | 12.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.3785 | μmol/L | 18.1686 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.259 | 91479.692 | 297484.7954 | 30.45 | 114.2
2461 | 2022-05-18 11:47 | 12.67 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.8508 | μmol/L | 18.1624 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.24 | 91396.5691 | 297467.6627 | 30.45 | 114.2
2471 | 2022-05-18 11:48 | 13.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0957 | μmol/L | 18.1624 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.229 | 91327.4526 | 297467.4066 | 30.45 | 114.2
2481 | 2022-05-18 11:48 | 13.3368 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.5471 | μmol/L | 18.1563 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.211 | 91248.8014 | 297470.6912 | 30.45 | 114.2
2491 | 2022-05-18 11:48 | 13.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.8151 | μmol/L | 18.1563 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.199 | 91170.0561 | 297462.6987 | 30.45 | 114.2
2501 | 2022-05-18 11:49 | 14.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.173 | μmol/L | 18.1563 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.183 | 91104.6219 | 297458.9175 | 30.45 | 114.2
2511 | 2022-05-18 11:49 | 14.3367 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.4249 | μmol/L | 18.1501 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.174 | 91057.3725 | 297455.7589 | 30.45 | 114.2
2521 | 2022-05-18 11:49 | 14.6705 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.6546 | μmol/L | 18.144 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.166 | 91018.079 | 297435.6821 | 30.45 | 114.2
2531 | 2022-05-18 11:50 | 15.004 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.6377 | μmol/L | 18.1378 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.169 | 91023.2878 | 297432.947 | 30.45 | 114.2
2541 | 2022-05-18 11:50 | 15.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.3743 | μmol/L | 18.1317 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.183 | 91067.8605 | 297423.3575 | 30.45 | 114.2
2551 | 2022-05-18 11:50 | 15.6699 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.899 | μmol/L | 18.1317 | °C | 1016 | hPa | Humid | 0 | 0 | 0 | 23.204 | 91167.3174 | 297408.4918 | 30.45 | 114.2
2561 | 2022-05-18 11:51 | 16.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.4132 | μmol/L | 18.1317 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.226 | 91290.1377 | 297401.0309 | 30.45 | 114.2
2571 | 2022-05-18 11:51 | 16.3367 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.7507 | μmol/L | 18.1256 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.258 | 91420.6927 | 297405.7443 | 30.45 | 114.2
2581 | 2022-05-18 11:51 | 16.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.0017 | μmol/L | 18.1194 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.294 | 91556.3232 | 297401.5609 | 30.45 | 114.2
2591 | 2022-05-18 11:52 | 17.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.4984 | μmol/L | 18.1133 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.319 | 91663.5816 | 297401.0093 | 30.45 | 114.2
2601 | 2022-05-18 11:52 | 17.3368 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.1614 | μmol/L | 18.1194 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.332 | 91733.0407 | 297389.2781 | 30.45 | 114.2
2611 | 2022-05-18 11:52 | 17.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.9685 | μmol/L | 18.1133 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.343 | 91775.9347 | 297376.4175 | 30.45 | 114.2
2621 | 2022-05-18 11:53 | 18.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.908 | μmol/L | 18.1071 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.348 | 91806.925 | 297373.9821 | 30.45 | 114.2
2631 | 2022-05-18 11:53 | 18.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.7041 | μmol/L | 18.1133 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.355 | 91828.0472 | 297357.1015 | 30.45 | 114.2
2641 | 2022-05-18 11:53 | 18.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.6493 | μmol/L | 18.101 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.362 | 91842.5931 | 297369.822 | 30.45 | 114.2
2651 | 2022-05-18 11:54 | 19.0032 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.6493 | μmol/L | 18.101 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.362 | 91862.9665 | 297362.0903 | 30.45 | 114.2
2661 | 2022-05-18 11:54 | 19.3368 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.6329 | μmol/L | 18.0948 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.365 | 91875.1183 | 297360.5341 | 30.45 | 114.2
2671 | 2022-05-18 11:54 | 19.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.5506 | μmol/L | 18.0887 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.371 | 91883.3334 | 297356.1292 | 30.45 | 114.2
2681 | 2022-05-18 11:55 | 20.0035 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.4186 | μmol/L | 18.0887 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.377 | 91898.5956 | 297354.6752 | 30.45 | 114.2
2691 | 2022-05-18 11:55 | 20.3368 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.2594 | μmol/L | 18.0887 | °C | 1016 | hPa | Humid | 0 | 0 | 0 | 23.384 | 91923.1655 | 297344.8048 | 30.45 | 114.2
2701 | 2022-05-18 11:55 | 20.6701 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.1882 | μmol/L | 18.0764 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.392 | 91977.6329 | 297350.9087 | 30.45 | 114.2
2711 | 2022-05-18 11:56 | 21.0038 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.7493 | μmol/L | 18.0764 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.412 | 92042.0268 | 297349.2885 | 30.45 | 114.2
2721 | 2022-05-18 11:56 | 21.3369 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.4483 | μmol/L | 18.0703 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.428 | 92130.4183 | 297349.6239 | 30.45 | 114.2
2731 | 2022-05-18 11:56 | 21.6699 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.918 | μmol/L | 18.0764 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.45 | 92226.2933 | 297333.8931 | 30.45 | 114.2
2741 | 2022-05-18 11:57 | 22.0032 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.4874 | μmol/L | 18.0703 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.472 | 92330.3456 | 297349.9726 | 30.45 | 114.2
2751 | 2022-05-18 11:57 | 22.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.1333 | μmol/L | 18.0764 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.486 | 92404.9177 | 297322.7735 | 30.45 | 114.2
2761 | 2022-05-18 11:57 | 22.6699 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.7752 | μmol/L | 18.0641 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.507 | 92470.4439 | 297339.2257 | 30.45 | 114.2
2771 | 2022-05-18 11:58 | 23.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.5799 | μmol/L | 18.0641 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.516 | 92523.7754 | 297335.8207 | 30.45 | 114.2
2781 | 2022-05-18 11:58 | 23.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.4337 | μmol/L | 18.058 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.525 | 92556.4092 | 297319.8894 | 30.45 | 114.2
2791 | 2022-05-18 11:58 | 23.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.233 | μmol/L | 18.0641 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.532 | 92588.7869 | 297315.8537 | 30.45 | 114.2
2801 | 2022-05-18 11:59 | 24.0034 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.1737 | μmol/L | 18.058 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.537 | 92611.9059 | 297322.8587 | 30.45 | 114.2
2811 | 2022-05-18 11:59 | 24.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.0337 | μmol/L | 18.0457 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.548 | 92637.978 | 297318.7752 | 30.45 | 114.2
2821 | 2022-05-18 11:59 | 24.6702 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.963 | μmol/L | 18.0519 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.549 | 92660.3003 | 297312.8177 | 30.45 | 114.2
2831 | 2022-05-18 12:00 | 25.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.7626 | μmol/L | 18.058 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.556 | 92699.0958 | 297331.5529 | 30.45 | 114.2
2841 | 2022-05-18 12:00 | 25.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.7036 | μmol/L | 18.0519 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.561 | 92718.9598 | 297312.781 | 30.45 | 114.2
2851 | 2022-05-18 12:00 | 25.67 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.6877 | μmol/L | 18.0457 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.564 | 92735.844 | 297310.6672 | 30.45 | 114.2
2861 | 2022-05-18 12:01 | 26.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.4991 | μmol/L | 18.0396 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.575 | 92757.8933 | 297296.5546 | 30.45 | 114.2
2871 | 2022-05-18 12:01 | 26.3367 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.397 | μmol/L | 18.0334 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.582 | 92805.8091 | 297295.2538 | 30.45 | 114.2
2881 | 2022-05-18 12:01 | 26.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.3107 | μmol/L | 18.0334 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.586 | 92828.1978 | 297302.5258 | 30.45 | 114.2
2891 | 2022-05-18 12:02 | 27.0034 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.144 | μmol/L | 18.0273 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.596 | 92861.1431 | 297286.1619 | 30.45 | 114.2
2901 | 2022-05-18 12:02 | 27.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.0578 | μmol/L | 18.0273 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.6 | 92860.428 | 297284.9187 | 30.45 | 114.2
2911 | 2022-05-18 12:02 | 27.67 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.009 | μmol/L | 18.0334 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.6 | 92853.718 | 297307.7347 | 30.45 | 114.2
2921 | 2022-05-18 12:03 | 28.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.0363 | μmol/L | 18.0273 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.601 | 92840.6475 | 297292.1698 | 30.45 | 114.2
2931 | 2022-05-18 12:03 | 28.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.236 | μmol/L | 18.0211 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.594 | 92816.3148 | 297300.9576 | 30.45 | 114.2
2941 | 2022-05-18 12:03 | 28.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.538 | μmol/L | 18.0211 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.58 | 92767.3076 | 297299.3016 | 30.45 | 114.2
2951 | 2022-05-18 12:04 | 29.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.7914 | μmol/L | 18.0273 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.566 | 92709.8013 | 297285.2606 | 30.45 | 114.2
2961 | 2022-05-18 12:04 | 29.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.1216 | μmol/L | 18.0211 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.553 | 92651.7416 | 297283.7901 | 30.45 | 114.2
2971 | 2022-05-18 12:04 | 29.67 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.4147 | μmol/L | 18.0089 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.544 | 92600.4927 | 297314.2763 | 30.45 | 114.2
2981 | 2022-05-18 12:05 | 30.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.5882 | μmol/L | 18.0089 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.536 | 92548.6197 | 297296.0048 | 30.45 | 114.2
2991 | 2022-05-18 12:05 | 30.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.908 | μmol/L | 18.015 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.519 | 92462.9695 | 297298.611 | 30.45 | 114.2
3001 | 2022-05-18 12:05 | 30.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.3269 | μmol/L | 18.0089 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.502 | 92368.8701 | 297301.2705 | 30.45 | 114.2
3011 | 2022-05-18 12:06 | 31.0033 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.9867 | μmol/L | 18.0027 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.474 | 92285.1069 | 297300.5942 | 30.45 | 114.2
3021 | 2022-05-18 12:06 | 31.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.4238 | μmol/L | 18.0027 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.454 | 92179.6943 | 297296.0916 | 30.45 | 114.2
3031 | 2022-05-18 12:06 | 31.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.7522 | μmol/L | 18.0027 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.439 | 92079.0503 | 297296.3472 | 30.45 | 114.2
3041 | 2022-05-18 12:07 | 32.0034 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.3722 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.413 | 91973.2353 | 297296.4574 | 30.45 | 114.2
3051 | 2022-05-18 12:07 | 32.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.9443 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.387 | 91871.8417 | 297307.441 | 30.45 | 114.2
3061 | 2022-05-18 12:07 | 32.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.3853 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.367 | 91790.0755 | 297308.2962 | 30.45 | 114.2
3071 | 2022-05-18 12:08 | 33.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.8609 | μmol/L | 17.9843 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.35 | 91693.958 | 297318.6363 | 30.45 | 114.2
3081 | 2022-05-18 12:08 | 33.3367 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.3424 | μmol/L | 17.9904 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.326 | 91601.6206 | 297323.5269 | 30.45 | 114.2
3091 | 2022-05-18 12:08 | 33.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.7862 | μmol/L | 17.9904 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.306 | 91485.8622 | 297328.4631 | 30.45 | 114.2
3101 | 2022-05-18 12:09 | 34.0032 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.0695 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.291 | 91403.2608 | 297329.3988 | 30.45 | 114.2
3111 | 2022-05-18 12:09 | 34.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.3201 | μmol/L | 17.9904 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.282 | 91397.75 | 297333.1527 | 30.45 | 114.2
3121 | 2022-05-18 12:09 | 34.67 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.3704 | μmol/L | 17.9843 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.282 | 91399.337 | 297330.7753 | 30.45 | 114.2
3131 | 2022-05-18 12:10 | 35.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.142 | μmol/L | 17.9904 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.29 | 91440.7605 | 297335.0482 | 30.45 | 114.2
3141 | 2022-05-18 12:10 | 35.3367 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.5033 | μmol/L | 17.9843 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.321 | 91548.9863 | 297338.575 | 30.45 | 114.2
3151 | 2022-05-18 12:10 | 35.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.7781 | μmol/L | 17.9782 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.356 | 91729.3217 | 297343.4368 | 30.45 | 114.2
3161 | 2022-05-18 12:11 | 36.0035 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.0276 | μmol/L | 17.9782 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.39 | 91894.1227 | 297347.469 | 30.45 | 114.2
3171 | 2022-05-18 12:11 | 36.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.3294 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.424 | 92046.4621 | 297358.389 | 30.45 | 114.2
3181 | 2022-05-18 12:11 | 36.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.3491 | μmol/L | 17.9659 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.471 | 92261.4374 | 297347.7997 | 30.45 | 114.2
3191 | 2022-05-18 12:12 | 37.0032 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.0079 | μmol/L | 17.9782 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.528 | 92519.0014 | 297353.7036 | 30.45 | 114.2
3201 | 2022-05-18 12:12 | 37.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.9516 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.579 | 92746.0698 | 297352.2122 | 30.45 | 114.2
3211 | 2022-05-18 12:12 | 37.6705 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.2882 | μmol/L | 17.9659 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.612 | 92902.873 | 297355.0893 | 30.45 | 114.2
3221 | 2022-05-18 12:13 | 38.0035 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.6582 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.639 | 93022.4965 | 297349.8217 | 30.45 | 114.2
3231 | 2022-05-18 12:13 | 38.3368 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.3049 | μmol/L | 17.9597 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.66 | 93108.4302 | 297335.2313 | 30.45 | 114.2
3241 | 2022-05-18 12:13 | 38.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.0476 | μmol/L | 17.9597 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.672 | 93160.8194 | 297354.4432 | 30.45 | 114.2
3251 | 2022-05-18 12:14 | 39.0032 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.8977 | μmol/L | 17.9597 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.679 | 93200.4676 | 297349.5483 | 30.45 | 114.2
3261 | 2022-05-18 12:14 | 39.3369 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.8393 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.684 | 93223.5546 | 297336.5682 | 30.45 | 114.2
3271 | 2022-05-18 12:14 | 39.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.6954 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.693 | 93278.0675 | 297338.7643 | 30.45 | 114.2
3281 | 2022-05-18 12:15 | 40.0034 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.0701 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.72 | 93372.8119 | 297331.2194 | 30.45 | 114.2
3291 | 2022-05-18 12:15 | 40.3369 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.3674 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.753 | 93529.2317 | 297334.8375 | 30.45 | 114.2
3301 | 2022-05-18 12:15 | 40.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.7942 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.78 | 93669.8269 | 297339.6076 | 30.45 | 114.2
3311 | 2022-05-18 12:16 | 41.004 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.3554 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.803 | 93766.4998 | 297338.3304 | 30.45 | 114.2
3321 | 2022-05-18 12:16 | 41.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.9749 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.821 | 93834.1682 | 297340.7482 | 30.45 | 114.2
3331 | 2022-05-18 12:16 | 41.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.1279 | μmol/L | 17.8983 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.832 | 93903.2164 | 297323.3209 | 30.45 | 114.2
3341 | 2022-05-18 12:17 | 42.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.5674 | μmol/L | 17.9106 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.854 | 93984.4449 | 297341.4636 | 30.45 | 114.2
3351 | 2022-05-18 12:17 | 42.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.7176 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.883 | 94111.0259 | 297324.8928 | 30.45 | 114.2
3361 | 2022-05-18 12:17 | 42.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.5228 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.89 | 94144.5771 | 297325.8996 | 30.45 | 114.2
3371 | 2022-05-18 12:18 | 43.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.6487 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.884 | 94124.0316 | 297332.6134 | 30.45 | 114.2
3381 | 2022-05-18 12:18 | 43.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.7386 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.882 | 94124.0828 | 297331.4027 | 30.45 | 114.2
3391 | 2022-05-18 12:18 | 43.6702 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.7327 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.88 | 94115.8758 | 297329.0568 | 30.45 | 114.2
3401 | 2022-05-18 12:19 | 44.004 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.8075 | μmol/L | 17.9352 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.881 | 94106.3142 | 297337.4531 | 30.45 | 114.2
3411 | 2022-05-18 12:19 | 44.3366 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.9394 | μmol/L | 17.929 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.877 | 94080.6196 | 297335.8137 | 30.45 | 114.2