## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 118251917 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:49

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3423 | 2022-05-18 12:39 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.2625 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.599 | 126373.5357 | 290755.042 | 59.9307 | 49.4
3433 | 2022-05-18 12:40 | 0.33217 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.2385 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.6 | 126388.4822 | 290747.4123 | 59.9307 | 49.4
3443 | 2022-05-18 12:40 | 0.66497 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.1963 | μmol/L | 17.9603 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.604 | 126409.8246 | 290748.6296 | 59.9307 | 49.4
3453 | 2022-05-18 12:40 | 0.99846 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.9269 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.613 | 126440.5334 | 290743.8712 | 59.9307 | 49.4
3463 | 2022-05-18 12:41 | 1.3321 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 279.0161 | μmol/L | 17.948 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.616 | 126473.1648 | 290737.9478 | 59.9307 | 49.4
3473 | 2022-05-18 12:41 | 1.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.7948 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.623 | 126517.7512 | 290747.4772 | 59.9307 | 49.4
3483 | 2022-05-18 12:41 | 1.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.6034 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.631 | 126552.3467 | 290741.4515 | 59.9307 | 49.4
3493 | 2022-05-18 12:42 | 2.3321 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.6034 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.631 | 126589.4057 | 290748.2489 | 59.9307 | 49.4
3503 | 2022-05-18 12:42 | 2.6656 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.3166 | μmol/L | 17.9541 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.643 | 126618.8331 | 290728.7353 | 59.9307 | 49.4
3513 | 2022-05-18 12:42 | 2.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.2985 | μmol/L | 17.948 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.646 | 126654.4616 | 290745.706 | 59.9307 | 49.4
3523 | 2022-05-18 12:43 | 3.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.1848 | μmol/L | 17.948 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.651 | 126688.2845 | 290730.314 | 59.9307 | 49.4
3533 | 2022-05-18 12:43 | 3.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.0121 | μmol/L | 17.948 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.658 | 126710.5082 | 290723.1512 | 59.9307 | 49.4
3543 | 2022-05-18 12:43 | 3.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.0656 | μmol/L | 17.9418 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.658 | 126726.9769 | 290718.3941 | 59.9307 | 49.4
3553 | 2022-05-18 12:44 | 4.3317 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.0179 | μmol/L | 17.9418 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.66 | 126756.5497 | 290714.9812 | 59.9307 | 49.4
3563 | 2022-05-18 12:44 | 4.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.952 | μmol/L | 17.9418 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.663 | 126770.5964 | 290733.3836 | 59.9307 | 49.4
3573 | 2022-05-18 12:44 | 4.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.952 | μmol/L | 17.9418 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.663 | 126780.2995 | 290734.1498 | 59.9307 | 49.4
3583 | 2022-05-18 12:45 | 5.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.827 | μmol/L | 17.948 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.666 | 126781.0293 | 290722.393 | 59.9307 | 49.4
3593 | 2022-05-18 12:45 | 5.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8807 | μmol/L | 17.9356 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.668 | 126778.375 | 290718.7676 | 59.9307 | 49.4
3603 | 2022-05-18 12:45 | 5.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9283 | μmol/L | 17.9356 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.666 | 126780.7263 | 290721.3761 | 59.9307 | 49.4
3613 | 2022-05-18 12:46 | 6.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8625 | μmol/L | 17.9356 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.669 | 126785.8384 | 290707.1727 | 59.9307 | 49.4
3623 | 2022-05-18 12:46 | 6.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9159 | μmol/L | 17.9294 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.669 | 126792.6141 | 290708.5974 | 59.9307 | 49.4
3633 | 2022-05-18 12:46 | 6.9989 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9456 | μmol/L | 17.9233 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.67 | 126801.1689 | 290722.9648 | 59.9307 | 49.4
3643 | 2022-05-18 12:47 | 7.3318 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8979 | μmol/L | 17.9233 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.672 | 126805.6111 | 290695.484 | 59.9307 | 49.4
3653 | 2022-05-18 12:47 | 7.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8981 | μmol/L | 17.9171 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.674 | 126809.5397 | 290705.1598 | 59.9307 | 49.4
3663 | 2022-05-18 12:47 | 7.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 278.0049 | μmol/L | 17.9109 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.672 | 126819.4271 | 290712.9315 | 59.9307 | 49.4
3673 | 2022-05-18 12:48 | 8.3318 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8743 | μmol/L | 17.9171 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.675 | 126820.8624 | 290716.8855 | 59.9307 | 49.4
3683 | 2022-05-18 12:48 | 8.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8857 | μmol/L | 17.9109 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.677 | 126819.2564 | 290707.5698 | 59.9307 | 49.4
3693 | 2022-05-18 12:48 | 8.9991 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9096 | μmol/L | 17.9109 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.676 | 126833.9164 | 290708.248 | 59.9307 | 49.4
3703 | 2022-05-18 12:49 | 9.3316 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9334 | μmol/L | 17.9109 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.675 | 126829.2934 | 290706.1956 | 59.9307 | 49.4
3713 | 2022-05-18 12:49 | 9.6651 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.7846 | μmol/L | 17.9171 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.679 | 126838.8926 | 290720.8733 | 59.9307 | 49.4
3723 | 2022-05-18 12:49 | 9.9987 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8857 | μmol/L | 17.9109 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.677 | 126839.1195 | 290704.4557 | 59.9307 | 49.4
3733 | 2022-05-18 12:50 | 10.3323 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9154 | μmol/L | 17.9048 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.678 | 126836.8658 | 290707.8303 | 59.9307 | 49.4
3743 | 2022-05-18 12:50 | 10.665 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8974 | μmol/L | 17.8986 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.681 | 126833.5285 | 290708.0201 | 59.9307 | 49.4
3753 | 2022-05-18 12:50 | 10.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.933 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.684 | 126846.3985 | 290708.2437 | 59.9307 | 49.4
3763 | 2022-05-18 12:51 | 11.332 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8977 | μmol/L | 17.8924 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.683 | 126850.3135 | 290691.8929 | 59.9307 | 49.4
3773 | 2022-05-18 12:51 | 11.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9568 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.683 | 126855.2018 | 290690.9861 | 59.9307 | 49.4
3783 | 2022-05-18 12:51 | 11.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.933 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.684 | 126855.1869 | 290696.1764 | 59.9307 | 49.4
3793 | 2022-05-18 12:52 | 12.3324 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8853 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.686 | 126873.4659 | 290693.6139 | 59.9307 | 49.4
3803 | 2022-05-18 12:52 | 12.6649 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.9091 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.685 | 126866.6958 | 290702.6387 | 59.9307 | 49.4
3813 | 2022-05-18 12:52 | 12.9985 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8377 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.688 | 126876.544 | 290685.7772 | 59.9307 | 49.4
3823 | 2022-05-18 12:53 | 13.332 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.8435 | μmol/L | 17.8801 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.69 | 126908.2414 | 290719.4959 | 59.9307 | 49.4
3833 | 2022-05-18 12:53 | 13.6656 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.7424 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.692 | 126918.2209 | 290707.4863 | 59.9307 | 49.4
3843 | 2022-05-18 12:53 | 13.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.671 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.695 | 126934.7753 | 290696.0817 | 59.9307 | 49.4
3853 | 2022-05-18 12:54 | 14.3318 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.552 | μmol/L | 17.8863 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.7 | 126951.5665 | 290684.2834 | 59.9307 | 49.4
3863 | 2022-05-18 12:54 | 14.6653 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.5816 | μmol/L | 17.8801 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.701 | 126975.5359 | 290708.8804 | 59.9307 | 49.4
3873 | 2022-05-18 12:54 | 14.9983 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.4924 | μmol/L | 17.8739 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.707 | 126981.8498 | 290703.1935 | 59.9307 | 49.4
3883 | 2022-05-18 12:55 | 15.332 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.5934 | μmol/L | 17.8678 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.705 | 126980.7924 | 290674.9611 | 59.9307 | 49.4
3893 | 2022-05-18 12:55 | 15.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.5696 | μmol/L | 17.8678 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.706 | 126988.9673 | 290693.7648 | 59.9307 | 49.4
3903 | 2022-05-18 12:55 | 15.9986 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.4926 | μmol/L | 17.8678 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.709 | 126998.0033 | 290688.0531 | 59.9307 | 49.4
3913 | 2022-05-18 12:56 | 16.3322 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.5755 | μmol/L | 17.8616 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.708 | 127018.7959 | 290697.5061 | 59.9307 | 49.4
3923 | 2022-05-18 12:56 | 16.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3497 | μmol/L | 17.8739 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.713 | 127026.8057 | 290689.5793 | 59.9307 | 49.4
3933 | 2022-05-18 12:56 | 16.9985 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.4387 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.716 | 127047.9696 | 290687.8756 | 59.9307 | 49.4
3943 | 2022-05-18 12:57 | 17.332 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3199 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.721 | 127082.1537 | 290710.8156 | 59.9307 | 49.4
3953 | 2022-05-18 12:57 | 17.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1952 | μmol/L | 17.8616 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.724 | 127101.5645 | 290697.6975 | 59.9307 | 49.4
3963 | 2022-05-18 12:57 | 17.9982 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1773 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.727 | 127124.9038 | 290704.7376 | 59.9307 | 49.4
3973 | 2022-05-18 12:58 | 18.332 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0823 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.731 | 127147.1054 | 290702.9173 | 59.9307 | 49.4
3983 | 2022-05-18 12:58 | 18.6656 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0645 | μmol/L | 17.8492 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.734 | 127162.5609 | 290695.3527 | 59.9307 | 49.4
3993 | 2022-05-18 12:58 | 18.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0349 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127157.23 | 290704.53 | 59.9307 | 49.4
4003 | 2022-05-18 12:59 | 19.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.9162 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.738 | 127165.5491 | 290723.1522 | 59.9307 | 49.4
4013 | 2022-05-18 12:59 | 19.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0349 | μmol/L | 17.8554 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127164.668 | 290709.8981 | 59.9307 | 49.4
4023 | 2022-05-18 12:59 | 19.9988 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1179 | μmol/L | 17.8431 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.734 | 127163.6736 | 290688.6531 | 59.9307 | 49.4
4033 | 2022-05-18 13:00 | 20.3316 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0883 | μmol/L | 17.8492 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127161.9527 | 290691.494 | 59.9307 | 49.4
4043 | 2022-05-18 13:00 | 20.6652 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0352 | μmol/L | 17.8492 | °C | 1018 | hPa | Humid | 0 | 1 | 0 | 22.735 | 127164.1939 | 290703.6852 | 59.9307 | 49.4
4053 | 2022-05-18 13:00 | 20.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1179 | μmol/L | 17.8431 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.734 | 127161.0164 | 290709.8144 | 59.9307 | 49.4
4063 | 2022-05-18 13:01 | 21.3317 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1535 | μmol/L | 17.8307 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.737 | 127154.916 | 290694.3053 | 59.9307 | 49.4
4073 | 2022-05-18 13:01 | 21.6652 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.296 | μmol/L | 17.8307 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.731 | 127155.1748 | 290710.4226 | 59.9307 | 49.4
4083 | 2022-05-18 13:01 | 21.9988 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2723 | μmol/L | 17.8307 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.732 | 127140.4663 | 290690.9381 | 59.9307 | 49.4
4093 | 2022-05-18 13:02 | 22.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2485 | μmol/L | 17.8307 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127143.4218 | 290697.0697 | 59.9307 | 49.4
4103 | 2022-05-18 13:02 | 22.6656 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3257 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.732 | 127143.7427 | 290703.6393 | 59.9307 | 49.4
4113 | 2022-05-18 13:02 | 22.9982 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3198 | μmol/L | 17.8307 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.73 | 127139.1905 | 290686.2794 | 59.9307 | 49.4
4123 | 2022-05-18 13:03 | 23.3317 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3554 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127156.0671 | 290701.8792 | 59.9307 | 49.4
4133 | 2022-05-18 13:03 | 23.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3554 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127153.4629 | 290698.4839 | 59.9307 | 49.4
4143 | 2022-05-18 13:03 | 23.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3316 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.734 | 127159.4713 | 290673.7767 | 59.9307 | 49.4
4153 | 2022-05-18 13:04 | 24.3323 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.4089 | μmol/L | 17.8122 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127170.3383 | 290694.8103 | 59.9307 | 49.4
4163 | 2022-05-18 13:04 | 24.6651 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2544 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.735 | 127165.5599 | 290687.9712 | 59.9307 | 49.4
4173 | 2022-05-18 13:04 | 24.9986 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3316 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.734 | 127178.5695 | 290709.2009 | 59.9307 | 49.4
4183 | 2022-05-18 13:05 | 25.3324 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2069 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.737 | 127173.6546 | 290712.4535 | 59.9307 | 49.4
4193 | 2022-05-18 13:05 | 25.6653 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2307 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.736 | 127167.011 | 290722.3277 | 59.9307 | 49.4
4203 | 2022-05-18 13:05 | 25.9989 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1595 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.739 | 127174.5926 | 290712.6267 | 59.9307 | 49.4
4213 | 2022-05-18 13:06 | 26.3316 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2069 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.737 | 127173.8142 | 290716.4906 | 59.9307 | 49.4
4223 | 2022-05-18 13:06 | 26.6652 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3019 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.733 | 127186.6644 | 290717.7971 | 59.9307 | 49.4
4233 | 2022-05-18 13:06 | 26.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2841 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.736 | 127189.7355 | 290721.8152 | 59.9307 | 49.4
4243 | 2022-05-18 13:07 | 27.3316 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2366 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.738 | 127205.5279 | 290717.1491 | 59.9307 | 49.4
4253 | 2022-05-18 13:07 | 27.665 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1891 | μmol/L | 17.8184 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.74 | 127203.9273 | 290719.5217 | 59.9307 | 49.4
4263 | 2022-05-18 13:07 | 27.9985 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1832 | μmol/L | 17.8246 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.738 | 127215.3092 | 290722.0743 | 59.9307 | 49.4
4273 | 2022-05-18 13:08 | 28.3322 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1714 | μmol/L | 17.8122 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.743 | 127219.2075 | 290725.3579 | 59.9307 | 49.4
4283 | 2022-05-18 13:08 | 28.6649 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3495 | μmol/L | 17.7999 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.74 | 127225.9752 | 290721.3991 | 59.9307 | 49.4
4293 | 2022-05-18 13:08 | 28.9985 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.3258 | μmol/L | 17.7999 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.741 | 127232.4434 | 290713.7056 | 59.9307 | 49.4
4303 | 2022-05-18 13:09 | 29.3321 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1893 | μmol/L | 17.7937 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.749 | 127254.2588 | 290721.3881 | 59.9307 | 49.4
4313 | 2022-05-18 13:09 | 29.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1893 | μmol/L | 17.7937 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.749 | 127260.6779 | 290720.2872 | 59.9307 | 49.4
4323 | 2022-05-18 13:09 | 29.9983 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1418 | μmol/L | 17.7937 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.751 | 127265.8372 | 290711.4511 | 59.9307 | 49.4
4333 | 2022-05-18 13:10 | 30.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.2902 | μmol/L | 17.7876 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.747 | 127275.2589 | 290727.91 | 59.9307 | 49.4
4343 | 2022-05-18 13:10 | 30.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1418 | μmol/L | 17.7937 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.751 | 127284.4232 | 290731.6101 | 59.9307 | 49.4
4353 | 2022-05-18 13:10 | 30.999 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.207 | μmol/L | 17.7999 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.746 | 127286.4842 | 290729.8697 | 59.9307 | 49.4
4363 | 2022-05-18 13:11 | 31.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1418 | μmol/L | 17.7937 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.751 | 127287.2128 | 290742.0042 | 59.9307 | 49.4
4373 | 2022-05-18 13:11 | 31.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1655 | μmol/L | 17.7937 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.75 | 127292.1931 | 290721.9614 | 59.9307 | 49.4
4383 | 2022-05-18 13:11 | 31.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0883 | μmol/L | 17.7999 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.751 | 127299.6636 | 290727.0725 | 59.9307 | 49.4
4393 | 2022-05-18 13:12 | 32.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0883 | μmol/L | 17.7999 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.751 | 127293.3724 | 290727.0582 | 59.9307 | 49.4
4403 | 2022-05-18 13:12 | 32.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1715 | μmol/L | 17.7876 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.752 | 127293.6413 | 290734.6623 | 59.9307 | 49.4
4413 | 2022-05-18 13:12 | 32.9982 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1478 | μmol/L | 17.7876 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.753 | 127301.024 | 290731.1106 | 59.9307 | 49.4
4423 | 2022-05-18 13:13 | 33.3318 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.124 | μmol/L | 17.7876 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.754 | 127305.4591 | 290729.4321 | 59.9307 | 49.4
4433 | 2022-05-18 13:13 | 33.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.13 | μmol/L | 17.7814 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.756 | 127313.4477 | 290727.2816 | 59.9307 | 49.4
4443 | 2022-05-18 13:13 | 33.9983 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.13 | μmol/L | 17.7814 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.756 | 127327.6219 | 290737.178 | 59.9307 | 49.4
4453 | 2022-05-18 13:14 | 34.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.13 | μmol/L | 17.7814 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.756 | 127333.3066 | 290725.6629 | 59.9307 | 49.4
4463 | 2022-05-18 13:14 | 34.6651 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1063 | μmol/L | 17.7814 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.757 | 127337.3896 | 290721.1056 | 59.9307 | 49.4
4473 | 2022-05-18 13:14 | 34.9987 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.1597 | μmol/L | 17.7752 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.757 | 127347.668 | 290713.2785 | 59.9307 | 49.4
4483 | 2022-05-18 13:15 | 35.3324 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0411 | μmol/L | 17.7752 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.762 | 127364.9278 | 290705.8667 | 59.9307 | 49.4
4493 | 2022-05-18 13:15 | 35.6653 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.97 | μmol/L | 17.7752 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.765 | 127366.406 | 290702.2656 | 59.9307 | 49.4
4503 | 2022-05-18 13:15 | 35.9988 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 277.0234 | μmol/L | 17.769 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.765 | 127381.9828 | 290725.1215 | 59.9307 | 49.4
4513 | 2022-05-18 13:16 | 36.3323 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.9523 | μmol/L | 17.769 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.768 | 127408.1803 | 290712.3195 | 59.9307 | 49.4
4523 | 2022-05-18 13:16 | 36.6651 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.8337 | μmol/L | 17.769 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.773 | 127439.4191 | 290705.7658 | 59.9307 | 49.4
4533 | 2022-05-18 13:16 | 36.9988 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.7213 | μmol/L | 17.7629 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.78 | 127471.1779 | 290719.8031 | 59.9307 | 49.4
4543 | 2022-05-18 13:17 | 37.3316 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.6029 | μmol/L | 17.7629 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.785 | 127488.0859 | 290719.3134 | 59.9307 | 49.4
4553 | 2022-05-18 13:17 | 37.6653 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.5792 | μmol/L | 17.7629 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.786 | 127509.3008 | 290710.7248 | 59.9307 | 49.4
4563 | 2022-05-18 13:17 | 37.9988 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.5913 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.79 | 127552.2446 | 290713.4368 | 59.9307 | 49.4
4573 | 2022-05-18 13:18 | 38.3316 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.3723 | μmol/L | 17.7567 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.797 | 127584.5844 | 290704.242 | 59.9307 | 49.4
4583 | 2022-05-18 13:18 | 38.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.2481 | μmol/L | 17.7629 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.8 | 127591.8616 | 290696.7504 | 59.9307 | 49.4
4593 | 2022-05-18 13:18 | 38.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.2008 | μmol/L | 17.7629 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.802 | 127605.7049 | 290713.0632 | 59.9307 | 49.4
4603 | 2022-05-18 13:19 | 39.3321 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.3904 | μmol/L | 17.7382 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.803 | 127606.8075 | 290708.4857 | 59.9307 | 49.4
4613 | 2022-05-18 13:19 | 39.6652 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.2189 | μmol/L | 17.7444 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.808 | 127624.2343 | 290710.269 | 59.9307 | 49.4
4623 | 2022-05-18 13:19 | 39.9984 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.2486 | μmol/L | 17.7382 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.809 | 127640.0671 | 290677.3807 | 59.9307 | 49.4
4633 | 2022-05-18 13:20 | 40.3322 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.0003 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.815 | 127682.581 | 290689.4336 | 59.9307 | 49.4
4643 | 2022-05-18 13:20 | 40.6654 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.8823 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.82 | 127709.2356 | 290684.2394 | 59.9307 | 49.4
4653 | 2022-05-18 13:20 | 40.9982 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.8351 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.822 | 127720.5966 | 290695.0247 | 59.9307 | 49.4
4663 | 2022-05-18 13:21 | 41.332 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.9355 | μmol/L | 17.7444 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.82 | 127707.4271 | 290673.265 | 59.9307 | 49.4
4673 | 2022-05-18 13:21 | 41.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.9059 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.819 | 127690.7777 | 290686.3215 | 59.9307 | 49.4
4683 | 2022-05-18 13:21 | 41.9988 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.9707 | μmol/L | 17.7567 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.814 | 127684.9985 | 290682.8679 | 59.9307 | 49.4
4693 | 2022-05-18 13:22 | 42.3319 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.1008 | μmol/L | 17.7444 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.813 | 127663.6842 | 290667.308 | 59.9307 | 49.4
4703 | 2022-05-18 13:22 | 42.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.1008 | μmol/L | 17.7444 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.813 | 127662.2472 | 290660.0382 | 59.9307 | 49.4
4713 | 2022-05-18 13:22 | 42.9989 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.9235 | μmol/L | 17.7567 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.816 | 127663.5605 | 290685.3692 | 59.9307 | 49.4
4723 | 2022-05-18 13:23 | 43.3322 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.9174 | μmol/L | 17.7629 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.814 | 127656.8812 | 290675.9131 | 59.9307 | 49.4
4733 | 2022-05-18 13:23 | 43.6657 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 275.9235 | μmol/L | 17.7567 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.816 | 127658.9319 | 290670.162 | 59.9307 | 49.4
4743 | 2022-05-18 13:23 | 43.9985 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.0239 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.814 | 127650.3871 | 290660.5698 | 59.9307 | 49.4
4752 | 2022-05-18 13:24 | 44.3317 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.0948 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.811 | 127641.2003 | 290667.8924 | 59.9307 | 49.4
4760 | 2022-05-18 13:24 | 44.6655 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.0536 | μmol/L | 17.7444 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.815 | 127635.5418 | 290646.2116 | 59.9307 | 49.4
4767 | 2022-05-18 13:24 | 44.9985 | oxy_ch_7 (PSt7-10) | 2022-05-16 12:49 | default | 276.0475 | μmol/L | 17.7505 | °C | 1019 | hPa | Humid | 0 | 1 | 0 | 22.813 | 127640.5545 | 290658.4556 | 59.9307 | 49.4