## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 29438495 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:49

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3425 | 2022-05-18 12:39 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.5652 | μmol/L | 18.1166 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.579 | 157753.026 | 305375.8913 | 33.25 | 68.6
3435 | 2022-05-18 12:40 | 0.33625 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.6322 | μmol/L | 18.1044 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.581 | 157782.5647 | 305395.9813 | 33.25 | 68.6
3445 | 2022-05-18 12:40 | 0.66972 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.4819 | μmol/L | 18.1105 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.585 | 157779.0804 | 305388.0233 | 33.25 | 68.6
3455 | 2022-05-18 12:40 | 1.0032 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.4898 | μmol/L | 18.1044 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.587 | 157790.0358 | 305411.6248 | 33.25 | 68.6
3465 | 2022-05-18 12:41 | 1.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.3224 | μmol/L | 18.1105 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.592 | 157819.2836 | 305411.5554 | 33.25 | 68.6
3475 | 2022-05-18 12:41 | 1.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.3531 | μmol/L | 18.1044 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.593 | 157820.1723 | 305410.0602 | 33.25 | 68.6
3485 | 2022-05-18 12:41 | 2.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.3666 | μmol/L | 18.0984 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.595 | 157844.0604 | 305391.0593 | 33.25 | 68.6
3495 | 2022-05-18 12:42 | 2.3358 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.2699 | μmol/L | 18.0984 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.599 | 157869.1432 | 305401.7756 | 33.25 | 68.6
3505 | 2022-05-18 12:42 | 2.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.3768 | μmol/L | 18.0862 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.599 | 157882.3523 | 305389.2596 | 33.25 | 68.6
3515 | 2022-05-18 12:42 | 3.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.23 | μmol/L | 18.0984 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.601 | 157907.6217 | 305388.3758 | 33.25 | 68.6
3525 | 2022-05-18 12:43 | 3.3364 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.2992 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.605 | 157917.9863 | 305389.9112 | 33.25 | 68.6
3535 | 2022-05-18 12:43 | 3.6692 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.2537 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.607 | 157930.8823 | 305367.0031 | 33.25 | 68.6
3545 | 2022-05-18 12:43 | 4.0027 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.1719 | μmol/L | 18.0862 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.608 | 157961.5243 | 305387.9162 | 33.25 | 68.6
3555 | 2022-05-18 12:44 | 4.3364 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0582 | μmol/L | 18.0862 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.613 | 157952.6535 | 305389.1221 | 33.25 | 68.6
3565 | 2022-05-18 12:44 | 4.6699 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.1172 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.613 | 157972.9688 | 305383.6217 | 33.25 | 68.6
3575 | 2022-05-18 12:44 | 5.0025 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.1399 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.612 | 157987.9612 | 305358.0194 | 33.25 | 68.6
3585 | 2022-05-18 12:45 | 5.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0489 | μmol/L | 18.0801 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.616 | 157996.3573 | 305367.1133 | 33.25 | 68.6
3595 | 2022-05-18 12:45 | 5.6696 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0796 | μmol/L | 18.074 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.617 | 158015.4953 | 305363.032 | 33.25 | 68.6
3605 | 2022-05-18 12:45 | 6.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9205 | μmol/L | 18.074 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.624 | 158022.311 | 305361.4594 | 33.25 | 68.6
3615 | 2022-05-18 12:46 | 6.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.9659 | μmol/L | 18.074 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.622 | 158042.5835 | 305363.8436 | 33.25 | 68.6
3625 | 2022-05-18 12:46 | 6.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0272 | μmol/L | 18.0619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.624 | 158063.011 | 305361.5355 | 33.25 | 68.6
3635 | 2022-05-18 12:46 | 7.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 274.0579 | μmol/L | 18.0558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.625 | 158071.3457 | 305379.8227 | 33.25 | 68.6
3645 | 2022-05-18 12:47 | 7.3365 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.959 | μmol/L | 18.0619 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.627 | 158073.9593 | 305359.2946 | 33.25 | 68.6
3655 | 2022-05-18 12:47 | 7.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8148 | μmol/L | 18.0679 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.631 | 158098.7689 | 305362.673 | 33.25 | 68.6
3665 | 2022-05-18 12:47 | 8.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8761 | μmol/L | 18.0558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.633 | 158115.6075 | 305376.1917 | 33.25 | 68.6
3675 | 2022-05-18 12:48 | 8.3364 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8079 | μmol/L | 18.0558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.636 | 158124.17 | 305369.5067 | 33.25 | 68.6
3685 | 2022-05-18 12:48 | 8.6691 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8534 | μmol/L | 18.0558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.634 | 158142.1876 | 305360.6416 | 33.25 | 68.6
3695 | 2022-05-18 12:48 | 9.0026 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8307 | μmol/L | 18.0558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.635 | 158146.9932 | 305349.0554 | 33.25 | 68.6
3705 | 2022-05-18 12:49 | 9.3362 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7852 | μmol/L | 18.0558 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.637 | 158178.7674 | 305359.0942 | 33.25 | 68.6
3715 | 2022-05-18 12:49 | 9.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8159 | μmol/L | 18.0497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.638 | 158197.1475 | 305354.8774 | 33.25 | 68.6
3725 | 2022-05-18 12:49 | 10.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7705 | μmol/L | 18.0497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.64 | 158193.804 | 305356.941 | 33.25 | 68.6
3735 | 2022-05-18 12:50 | 10.3363 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7478 | μmol/L | 18.0497 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.641 | 158207.9271 | 305356.7191 | 33.25 | 68.6
3745 | 2022-05-18 12:50 | 10.6691 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8238 | μmol/L | 18.0436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.64 | 158226.3096 | 305360.7641 | 33.25 | 68.6
3755 | 2022-05-18 12:50 | 11.0024 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6422 | μmol/L | 18.0436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.648 | 158228.1063 | 305368.7059 | 33.25 | 68.6
3765 | 2022-05-18 12:51 | 11.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6195 | μmol/L | 18.0436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.649 | 158234.9598 | 305346.6001 | 33.25 | 68.6
3775 | 2022-05-18 12:51 | 11.6698 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6956 | μmol/L | 18.0375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.648 | 158246.58 | 305352.0255 | 33.25 | 68.6
3785 | 2022-05-18 12:51 | 12.0025 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6502 | μmol/L | 18.0375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.65 | 158268.0684 | 305352.2809 | 33.25 | 68.6
3795 | 2022-05-18 12:52 | 12.3363 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5594 | μmol/L | 18.0375 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.654 | 158274.7978 | 305351.8091 | 33.25 | 68.6
3805 | 2022-05-18 12:52 | 12.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5515 | μmol/L | 18.0436 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.652 | 158285.8166 | 305352.228 | 33.25 | 68.6
3815 | 2022-05-18 12:52 | 13.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6207 | μmol/L | 18.0254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.656 | 158280.9483 | 305354.1344 | 33.25 | 68.6
3825 | 2022-05-18 12:53 | 13.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5527 | μmol/L | 18.0254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.659 | 158313.253 | 305345.3069 | 33.25 | 68.6
3835 | 2022-05-18 12:53 | 13.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.522 | μmol/L | 18.0314 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.658 | 158319.2493 | 305345.2448 | 33.25 | 68.6
3845 | 2022-05-18 12:53 | 14.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.53 | μmol/L | 18.0254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.66 | 158315.516 | 305345.2049 | 33.25 | 68.6
3855 | 2022-05-18 12:54 | 14.3366 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.53 | μmol/L | 18.0254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.66 | 158303.9569 | 305339.0627 | 33.25 | 68.6
3865 | 2022-05-18 12:54 | 14.6692 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5073 | μmol/L | 18.0254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.661 | 158323.0694 | 305349.5195 | 33.25 | 68.6
3875 | 2022-05-18 12:54 | 15.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.538 | μmol/L | 18.0193 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.662 | 158337.6982 | 305354.2968 | 33.25 | 68.6
3885 | 2022-05-18 12:55 | 15.3365 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.394 | μmol/L | 18.0254 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.666 | 158347.0735 | 305341.8985 | 33.25 | 68.6
3895 | 2022-05-18 12:55 | 15.6694 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3431 | μmol/L | 18.0254 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.668 | 158347.2535 | 305345.9167 | 33.25 | 68.6
3905 | 2022-05-18 12:55 | 16.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3964 | μmol/L | 18.0193 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.668 | 158345.6463 | 305346.4324 | 33.25 | 68.6
3915 | 2022-05-18 12:56 | 16.3358 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3511 | μmol/L | 18.0193 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.67 | 158352.6224 | 305345.0811 | 33.25 | 68.6
3925 | 2022-05-18 12:56 | 16.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3646 | μmol/L | 18.0132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.672 | 158376.6062 | 305357.3584 | 33.25 | 68.6
3935 | 2022-05-18 12:56 | 17.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.3646 | μmol/L | 18.0132 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.672 | 158380.6465 | 305351.2087 | 33.25 | 68.6
3945 | 2022-05-18 12:57 | 17.3362 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4124 | μmol/L | 18.0071 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.672 | 158376.1871 | 305343.7733 | 33.25 | 68.6
3955 | 2022-05-18 12:57 | 17.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.4406 | μmol/L | 18.0071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.671 | 158340.0776 | 305356.5787 | 33.25 | 68.6
3965 | 2022-05-18 12:57 | 18.0032 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.562 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.668 | 158296.8957 | 305346.6237 | 33.25 | 68.6
3975 | 2022-05-18 12:58 | 18.3361 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6901 | μmol/L | 18.0071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.66 | 158251.0284 | 305335.7512 | 33.25 | 68.6
3985 | 2022-05-18 12:58 | 18.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7889 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.658 | 158235.5645 | 305344.0762 | 33.25 | 68.6
3995 | 2022-05-18 12:58 | 19.0032 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.8343 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.656 | 158235.2557 | 305353.9076 | 33.25 | 68.6
4005 | 2022-05-18 12:59 | 19.3358 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7662 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.659 | 158234.3822 | 305340.508 | 33.25 | 68.6
4015 | 2022-05-18 12:59 | 19.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7662 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.659 | 158237.9249 | 305351.5329 | 33.25 | 68.6
4025 | 2022-05-18 12:59 | 20.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5767 | μmol/L | 18.0071 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.665 | 158246.5662 | 305343.9016 | 33.25 | 68.6
4035 | 2022-05-18 13:00 | 20.3363 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6834 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.665 | 158250.453 | 305342.029 | 33.25 | 68.6
4045 | 2022-05-18 13:00 | 20.6698 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5847 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.667 | 158251.0031 | 305345.7894 | 33.25 | 68.6
4055 | 2022-05-18 13:00 | 21.0033 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5927 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.669 | 158259.3569 | 305349.982 | 33.25 | 68.6
4065 | 2022-05-18 13:01 | 21.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5927 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.669 | 158260.4145 | 305350.0922 | 33.25 | 68.6
4075 | 2022-05-18 13:01 | 21.6694 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.5473 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.671 | 158264.5206 | 305355.1642 | 33.25 | 68.6
4085 | 2022-05-18 13:01 | 22.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.6073 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.666 | 158242.809 | 305354.2848 | 33.25 | 68.6
4095 | 2022-05-18 13:02 | 22.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.7435 | μmol/L | 18.001 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.66 | 158181.9404 | 305362.8844 | 33.25 | 68.6
4105 | 2022-05-18 13:02 | 22.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 273.502 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.673 | 158266.327 | 305363.4506 | 33.25 | 68.6
4115 | 2022-05-18 13:02 | 23.0032 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 272.4389 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.72 | 158611.3322 | 305364.0994 | 33.25 | 68.6
4125 | 2022-05-18 13:03 | 23.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 271.734 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.756 | 158931.2753 | 305365.9091 | 33.25 | 68.6
4135 | 2022-05-18 13:03 | 23.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 270.8281 | μmol/L | 17.9889 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.794 | 159216.2258 | 305360.6993 | 33.25 | 68.6
4145 | 2022-05-18 13:03 | 24.0032 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 269.9704 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.83 | 159476.5129 | 305367.5868 | 33.25 | 68.6
4155 | 2022-05-18 13:04 | 24.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 269.1017 | μmol/L | 17.9949 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.869 | 159769.1481 | 305372.7952 | 33.25 | 68.6
4165 | 2022-05-18 13:04 | 24.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 268.718 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.891 | 159920.9173 | 305375.9548 | 33.25 | 68.6
4175 | 2022-05-18 13:04 | 25.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 267.567 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.943 | 160327.7653 | 305366.7385 | 33.25 | 68.6
4185 | 2022-05-18 13:05 | 25.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 268.474 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.902 | 159976.4604 | 305375.3081 | 33.25 | 68.6
4195 | 2022-05-18 13:05 | 25.6696 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 269.4737 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.857 | 159612.9077 | 305375.8329 | 33.25 | 68.6
4205 | 2022-05-18 13:05 | 26.0032 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 267.7879 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 23.933 | 160194.2334 | 305373.6378 | 33.25 | 68.6
4215 | 2022-05-18 13:06 | 26.3358 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 263.9895 | μmol/L | 17.9889 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.104 | 161528.3702 | 305368.8225 | 33.25 | 68.6
4225 | 2022-05-18 13:06 | 26.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 262.2154 | μmol/L | 17.9889 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.186 | 162148.7967 | 305360.5803 | 33.25 | 68.6
4235 | 2022-05-18 13:06 | 27.0028 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 262.2532 | μmol/L | 17.9767 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.189 | 162163.0131 | 305371.1775 | 33.25 | 68.6
4245 | 2022-05-18 13:07 | 27.3363 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.4492 | μmol/L | 17.9828 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.224 | 162424.2228 | 305378.3231 | 33.25 | 68.6
4255 | 2022-05-18 13:07 | 27.6699 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.1998 | μmol/L | 17.9767 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.238 | 162510.4557 | 305370.8917 | 33.25 | 68.6
4265 | 2022-05-18 13:07 | 28.0026 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 258.6496 | μmol/L | 17.9706 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.36 | 163463.0113 | 305366.754 | 33.25 | 68.6
4275 | 2022-05-18 13:08 | 28.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 256.0164 | μmol/L | 17.9706 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.485 | 164415.7899 | 305370.7687 | 33.25 | 68.6
4285 | 2022-05-18 13:08 | 28.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 258.8111 | μmol/L | 17.9767 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.35 | 163377.3877 | 305379.6063 | 33.25 | 68.6
4295 | 2022-05-18 13:08 | 29.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.0397 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.297 | 162949.0565 | 305366.0586 | 33.25 | 68.6
4305 | 2022-05-18 13:09 | 29.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.6267 | μmol/L | 17.9706 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.314 | 163078.5742 | 305376.6851 | 33.25 | 68.6
4315 | 2022-05-18 13:09 | 29.6694 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.8865 | μmol/L | 17.9706 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.255 | 162636.3902 | 305377.2406 | 33.25 | 68.6
4325 | 2022-05-18 13:09 | 30.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.7313 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.218 | 162322.7353 | 305369.541 | 33.25 | 68.6
4335 | 2022-05-18 13:10 | 30.3365 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.7232 | μmol/L | 17.9706 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.216 | 162287.1942 | 305391.0776 | 33.25 | 68.6
4345 | 2022-05-18 13:10 | 30.6692 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.5379 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.227 | 162331.6237 | 305385.8706 | 33.25 | 68.6
4355 | 2022-05-18 13:10 | 31.0026 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.5809 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.225 | 162341.1242 | 305390.9349 | 33.25 | 68.6
4365 | 2022-05-18 13:11 | 31.3361 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.9507 | μmol/L | 17.9706 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.252 | 162535.5059 | 305388.0236 | 33.25 | 68.6
4375 | 2022-05-18 13:11 | 31.6696 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.7179 | μmol/L | 17.9584 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.221 | 162297.5024 | 305382.8865 | 33.25 | 68.6
4385 | 2022-05-18 13:11 | 32.0033 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 262.2694 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.193 | 162088.0715 | 305388.2556 | 33.25 | 68.6
4395 | 2022-05-18 13:12 | 32.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 262.1482 | μmol/L | 17.9584 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.201 | 162123.4537 | 305379.174 | 33.25 | 68.6
4405 | 2022-05-18 13:12 | 32.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.4026 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.28 | 162702.7341 | 305387.9508 | 33.25 | 68.6
4415 | 2022-05-18 13:12 | 33.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.1332 | μmol/L | 17.9584 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.295 | 162814.6072 | 305385.6129 | 33.25 | 68.6
4425 | 2022-05-18 13:13 | 33.3364 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.9412 | μmol/L | 17.9584 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.304 | 162860.7764 | 305384.5636 | 33.25 | 68.6
4435 | 2022-05-18 13:13 | 33.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.8691 | μmol/L | 17.9645 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.305 | 162874.3304 | 305389.3814 | 33.25 | 68.6
4445 | 2022-05-18 13:13 | 34.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.2267 | μmol/L | 17.9524 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.293 | 162782.918 | 305406.3637 | 33.25 | 68.6
4455 | 2022-05-18 13:14 | 34.3365 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.2267 | μmol/L | 17.9524 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.293 | 162759.9275 | 305387.2212 | 33.25 | 68.6
4465 | 2022-05-18 13:14 | 34.6692 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.0133 | μmol/L | 17.9524 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.303 | 162799.0057 | 305392.1791 | 33.25 | 68.6
4475 | 2022-05-18 13:14 | 35.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.5766 | μmol/L | 17.9463 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.279 | 162611.3384 | 305376.6113 | 33.25 | 68.6
4485 | 2022-05-18 13:15 | 35.3365 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.327 | μmol/L | 17.9402 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.34 | 163033.4872 | 305382.8859 | 33.25 | 68.6
4495 | 2022-05-18 13:15 | 35.6692 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.9067 | μmol/L | 17.9524 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.308 | 162868.7837 | 305364.9368 | 33.25 | 68.6
4505 | 2022-05-18 13:15 | 36.0025 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.8252 | μmol/L | 17.9524 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.265 | 162485.5944 | 305361.4155 | 33.25 | 68.6
4515 | 2022-05-18 13:16 | 36.3362 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.0773 | μmol/L | 17.9524 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.3 | 162759.1371 | 305366.2161 | 33.25 | 68.6
4525 | 2022-05-18 13:16 | 36.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 258.3221 | μmol/L | 17.9463 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.385 | 163417.275 | 305366.7059 | 33.25 | 68.6
4535 | 2022-05-18 13:16 | 37.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 256.7409 | μmol/L | 17.9463 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.46 | 164009.5454 | 305363.6979 | 33.25 | 68.6
4545 | 2022-05-18 13:17 | 37.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 257.9708 | μmol/L | 17.9402 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.404 | 163569.9126 | 305359.2019 | 33.25 | 68.6
4555 | 2022-05-18 13:17 | 37.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.0002 | μmol/L | 17.9463 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.353 | 163148.5621 | 305351.9795 | 33.25 | 68.6
4565 | 2022-05-18 13:17 | 38.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.8672 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.317 | 162831.2155 | 305364.4862 | 33.25 | 68.6
4575 | 2022-05-18 13:18 | 38.3366 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.9656 | μmol/L | 17.9402 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.31 | 162781.7369 | 305351.3753 | 33.25 | 68.6
4585 | 2022-05-18 13:18 | 38.6693 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.0164 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.31 | 162796.1225 | 305364.6477 | 33.25 | 68.6
4595 | 2022-05-18 13:18 | 39.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.2763 | μmol/L | 17.9463 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.34 | 162999.3986 | 305347.9217 | 33.25 | 68.6
4605 | 2022-05-18 13:19 | 39.3359 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.3365 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.295 | 162630.3585 | 305325.6023 | 33.25 | 68.6
4615 | 2022-05-18 13:19 | 39.6697 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.1066 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.259 | 162335.4128 | 305324.7557 | 33.25 | 68.6
4625 | 2022-05-18 13:19 | 40.0029 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 258.4865 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.382 | 163284.0595 | 305331.0145 | 33.25 | 68.6
4635 | 2022-05-18 13:20 | 40.3358 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 257.283 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.439 | 163694.6828 | 305322.8915 | 33.25 | 68.6
4645 | 2022-05-18 13:20 | 40.6695 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 256.7071 | μmol/L | 17.9402 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.464 | 163875.4298 | 305337.0733 | 33.25 | 68.6
4655 | 2022-05-18 13:20 | 41.0025 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 257.7889 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.415 | 163473.5889 | 305344.9588 | 33.25 | 68.6
4665 | 2022-05-18 13:21 | 41.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 258.7408 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.37 | 163113.6658 | 305326.8501 | 33.25 | 68.6
4675 | 2022-05-18 13:21 | 41.6698 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.2926 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.344 | 162909.944 | 305317.0477 | 33.25 | 68.6
4685 | 2022-05-18 13:21 | 42.0031 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.4627 | μmol/L | 17.9341 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.336 | 162813.4347 | 305323.4267 | 33.25 | 68.6
4695 | 2022-05-18 13:22 | 42.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.6624 | μmol/L | 17.928 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.329 | 162755.5487 | 305312.7772 | 33.25 | 68.6
4705 | 2022-05-18 13:22 | 42.6696 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 259.8753 | μmol/L | 17.928 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.319 | 162677.3302 | 305319.3391 | 33.25 | 68.6
4715 | 2022-05-18 13:22 | 43.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.1952 | μmol/L | 17.928 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.304 | 162552.7033 | 305307.9867 | 33.25 | 68.6
4725 | 2022-05-18 13:23 | 43.336 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.1015 | μmol/L | 17.9219 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.264 | 162255.5731 | 305299.9087 | 33.25 | 68.6
4735 | 2022-05-18 13:23 | 43.6698 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 261.5653 | μmol/L | 17.928 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.24 | 162018.7205 | 305301.5204 | 33.25 | 68.6
4745 | 2022-05-18 13:23 | 44.0026 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.7457 | μmol/L | 17.9159 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.283 | 162331.0511 | 305293.9563 | 33.25 | 68.6
4753 | 2022-05-18 13:24 | 44.3366 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.8873 | μmol/L | 17.9219 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.274 | 162253.7035 | 305296.9128 | 33.25 | 68.6
4761 | 2022-05-18 13:24 | 44.6696 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 260.9944 | μmol/L | 17.9219 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.269 | 162188.216 | 305298.8199 | 33.25 | 68.6
4768 | 2022-05-18 13:24 | 45.003 | oxy_ch_8 (PSt7-10) | 2022-05-16 12:49 | default | 262.0248 | μmol/L | 17.9219 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 24.221 | 161800.4977 | 305279.2198 | 33.25 | 68.6