## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10355 | 2022-05-19 11:24 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0568 | μmol/L | 19.1568 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.939 | 33620.3626 | 296002.7164 | 28.7 | 67.6
10365 | 2022-05-19 11:24 | 0.33844 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9435 | μmol/L | 19.1385 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.95 | 33639.2333 | 296015.3634 | 28.7 | 67.6
10375 | 2022-05-19 11:25 | 0.67117 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.7174 | μmol/L | 19.1446 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.957 | 33647.865 | 296018.3928 | 28.7 | 67.6
10385 | 2022-05-19 11:25 | 1.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8445 | μmol/L | 19.1385 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.954 | 33656.5142 | 296018.8294 | 28.7 | 67.6
10395 | 2022-05-19 11:25 | 1.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.502 | μmol/L | 19.1324 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.97 | 33662.5465 | 296019.0008 | 28.7 | 67.6
10405 | 2022-05-19 11:26 | 1.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.5055 | μmol/L | 19.1264 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.972 | 33671.5351 | 296036.8336 | 28.7 | 67.6
10415 | 2022-05-19 11:26 | 2.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.4067 | μmol/L | 19.1264 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.976 | 33678.0881 | 296017.8432 | 28.7 | 67.6
10425 | 2022-05-19 11:26 | 2.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.6114 | μmol/L | 19.1142 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.972 | 33683.4827 | 296008.5623 | 28.7 | 67.6
10435 | 2022-05-19 11:27 | 2.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1706 | μmol/L | 19.1081 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.992 | 33692.6553 | 296011.9281 | 28.7 | 67.6
10445 | 2022-05-19 11:27 | 3.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2199 | μmol/L | 19.1081 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.99 | 33698.0401 | 296023.0973 | 28.7 | 67.6
10455 | 2022-05-19 11:27 | 3.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3998 | μmol/L | 19.0959 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.987 | 33711.6298 | 296034.6949 | 28.7 | 67.6
10465 | 2022-05-19 11:28 | 3.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2024 | μmol/L | 19.0959 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.995 | 33711.5178 | 296005.498 | 28.7 | 67.6
10475 | 2022-05-19 11:28 | 4.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9667 | μmol/L | 19.0777 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.011 | 33713.0093 | 296004.4276 | 28.7 | 67.6
10485 | 2022-05-19 11:28 | 4.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1675 | μmol/L | 19.0716 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.005 | 33727.2287 | 295998.0855 | 28.7 | 67.6
10495 | 2022-05-19 11:29 | 4.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0269 | μmol/L | 19.0594 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.015 | 33722.6438 | 295979.7633 | 28.7 | 67.6
10505 | 2022-05-19 11:29 | 5.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1537 | μmol/L | 19.0534 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.012 | 33727.4047 | 295979.5942 | 28.7 | 67.6
10515 | 2022-05-19 11:29 | 5.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8371 | μmol/L | 19.0473 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.027 | 33730.1899 | 295976.4571 | 28.7 | 67.6
10525 | 2022-05-19 11:30 | 5.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0697 | μmol/L | 19.029 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.024 | 33741.2077 | 295988.9448 | 28.7 | 67.6
10535 | 2022-05-19 11:30 | 6.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0032 | μmol/L | 19.0169 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.031 | 33740.0239 | 295973.9406 | 28.7 | 67.6
10545 | 2022-05-19 11:30 | 6.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9822 | μmol/L | 19.0108 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.034 | 33743.1336 | 295962.9628 | 28.7 | 67.6
10555 | 2022-05-19 11:31 | 6.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8911 | μmol/L | 18.9986 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.042 | 33746.5715 | 295971.1989 | 28.7 | 67.6
10565 | 2022-05-19 11:31 | 7.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9478 | μmol/L | 18.9864 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.044 | 33743.2465 | 295963.8795 | 28.7 | 67.6
10575 | 2022-05-19 11:31 | 7.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1485 | μmol/L | 18.9804 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.038 | 33756.3596 | 295962.8073 | 28.7 | 67.6
10585 | 2022-05-19 11:32 | 7.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.05 | μmol/L | 18.9804 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.042 | 33755.1549 | 295955.9098 | 28.7 | 67.6
10595 | 2022-05-19 11:32 | 8.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1388 | μmol/L | 18.956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.047 | 33761.2928 | 295946.3453 | 28.7 | 67.6
10605 | 2022-05-19 11:32 | 8.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1388 | μmol/L | 18.956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.047 | 33758.6719 | 295946.9875 | 28.7 | 67.6
10615 | 2022-05-19 11:33 | 8.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.097 | μmol/L | 18.9439 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.053 | 33766.173 | 295953.5441 | 28.7 | 67.6
10625 | 2022-05-19 11:33 | 9.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8263 | μmol/L | 18.9439 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.064 | 33770.8325 | 295947.5605 | 28.7 | 67.6
10635 | 2022-05-19 11:33 | 9.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8868 | μmol/L | 18.9256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.068 | 33776.0253 | 295937.6501 | 28.7 | 67.6
10645 | 2022-05-19 11:34 | 9.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3585 | μmol/L | 18.9195 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.051 | 33778.7164 | 295950.8954 | 28.7 | 67.6
10655 | 2022-05-19 11:34 | 10.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1974 | μmol/L | 18.9013 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.064 | 33781.2489 | 295930.6645 | 28.7 | 67.6
10665 | 2022-05-19 11:34 | 10.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9758 | μmol/L | 18.9013 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.073 | 33778.4707 | 295915.9 | 28.7 | 67.6
10675 | 2022-05-19 11:35 | 10.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0081 | μmol/L | 18.8891 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.076 | 33788.9391 | 295932.9514 | 28.7 | 67.6
10685 | 2022-05-19 11:35 | 11.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.188 | μmol/L | 18.877 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.073 | 33789.3103 | 295924.022 | 28.7 | 67.6
10695 | 2022-05-19 11:35 | 11.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2657 | μmol/L | 18.8709 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.072 | 33796.4961 | 295923.0569 | 28.7 | 67.6
10705 | 2022-05-19 11:36 | 11.6717 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8436 | μmol/L | 18.877 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.087 | 33796.6106 | 295916.5065 | 28.7 | 67.6
10715 | 2022-05-19 11:36 | 12.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0519 | μmol/L | 18.8587 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.085 | 33798.8487 | 295927.2429 | 28.7 | 67.6
10725 | 2022-05-19 11:36 | 12.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8098 | μmol/L | 18.8526 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.097 | 33801.9301 | 295908.3164 | 28.7 | 67.6
10735 | 2022-05-19 11:37 | 12.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9651 | μmol/L | 18.8405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.095 | 33805.6164 | 295917.9187 | 28.7 | 67.6
10745 | 2022-05-19 11:37 | 13.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9974 | μmol/L | 18.8283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.098 | 33807.8686 | 295914.8462 | 28.7 | 67.6
10755 | 2022-05-19 11:37 | 13.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9483 | μmol/L | 18.8283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.1 | 33809.9793 | 295917.7087 | 28.7 | 67.6
10765 | 2022-05-19 11:38 | 13.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8616 | μmol/L | 18.81 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.11 | 33819.2193 | 295920.5552 | 28.7 | 67.6
10775 | 2022-05-19 11:38 | 14.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1075 | μmol/L | 18.81 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.1 | 33816.6656 | 295921.912 | 28.7 | 67.6
10785 | 2022-05-19 11:38 | 14.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0376 | μmol/L | 18.804 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.105 | 33816.1667 | 295908.9513 | 28.7 | 67.6
10795 | 2022-05-19 11:39 | 14.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1154 | μmol/L | 18.7979 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.104 | 33819.7585 | 295922.3199 | 28.7 | 67.6
10805 | 2022-05-19 11:39 | 15.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9265 | μmol/L | 18.7857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.116 | 33822.1025 | 295915.0332 | 28.7 | 67.6
10815 | 2022-05-19 11:39 | 15.3378 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.955 | μmol/L | 18.7796 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.117 | 33827.2752 | 295913.7342 | 28.7 | 67.6
10825 | 2022-05-19 11:40 | 15.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0121 | μmol/L | 18.7675 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.119 | 33828.9699 | 295905.7607 | 28.7 | 67.6
10835 | 2022-05-19 11:40 | 16.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9177 | μmol/L | 18.7614 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.125 | 33831.3745 | 295917.8757 | 28.7 | 67.6
10845 | 2022-05-19 11:40 | 16.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9915 | μmol/L | 18.7614 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.122 | 33841.0673 | 295894.4037 | 28.7 | 67.6
10855 | 2022-05-19 11:41 | 16.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9051 | μmol/L | 18.7431 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.132 | 33845.9585 | 295919.3565 | 28.7 | 67.6
10865 | 2022-05-19 11:41 | 17.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1057 | μmol/L | 18.737 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.126 | 33841.8138 | 295908.7173 | 28.7 | 67.6
10875 | 2022-05-19 11:41 | 17.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9622 | μmol/L | 18.731 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.134 | 33846.9299 | 295907.7324 | 28.7 | 67.6
10885 | 2022-05-19 11:42 | 17.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8189 | μmol/L | 18.7249 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.142 | 33846.9554 | 295895.7907 | 28.7 | 67.6
10895 | 2022-05-19 11:42 | 18.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8229 | μmol/L | 18.7188 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.144 | 33848.6858 | 295903.2478 | 28.7 | 67.6
10905 | 2022-05-19 11:42 | 18.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0069 | μmol/L | 18.7006 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.143 | 33857.3573 | 295913.7169 | 28.7 | 67.6
10915 | 2022-05-19 11:43 | 18.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9292 | μmol/L | 18.7066 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.144 | 33854.5482 | 295885.4121 | 28.7 | 67.6
10925 | 2022-05-19 11:43 | 19.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8595 | μmol/L | 18.7006 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.149 | 33857.2132 | 295879.7287 | 28.7 | 67.6
10935 | 2022-05-19 11:43 | 19.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8595 | μmol/L | 18.7006 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.149 | 33864.4084 | 295875.3726 | 28.7 | 67.6
10945 | 2022-05-19 11:44 | 19.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9945 | μmol/L | 18.6823 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.15 | 33868.6476 | 295887.5055 | 28.7 | 67.6
10955 | 2022-05-19 11:44 | 20.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.933 | μmol/L | 18.6641 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.159 | 33868.6014 | 295894.585 | 28.7 | 67.6
10965 | 2022-05-19 11:44 | 20.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9371 | μmol/L | 18.658 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.161 | 33871.4066 | 295886.5702 | 28.7 | 67.6
10975 | 2022-05-19 11:45 | 20.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0599 | μmol/L | 18.658 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.156 | 33876.4599 | 295891.2783 | 28.7 | 67.6
10985 | 2022-05-19 11:45 | 21.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9084 | μmol/L | 18.6641 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.16 | 33866.7491 | 295883.1139 | 28.7 | 67.6
10995 | 2022-05-19 11:45 | 21.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9371 | μmol/L | 18.658 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.161 | 33866.101 | 295881.7624 | 28.7 | 67.6
11005 | 2022-05-19 11:46 | 21.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9002 | μmol/L | 18.6397 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.169 | 33876.5041 | 295889.3333 | 28.7 | 67.6
11015 | 2022-05-19 11:46 | 22.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0517 | μmol/L | 18.6336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.165 | 33874.5199 | 295876.2471 | 28.7 | 67.6
11025 | 2022-05-19 11:46 | 22.3387 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0067 | μmol/L | 18.6276 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.169 | 33879.7907 | 295899.4056 | 28.7 | 67.6
11035 | 2022-05-19 11:47 | 22.672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1869 | μmol/L | 18.6154 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.166 | 33873.7312 | 295881.9119 | 28.7 | 67.6
11045 | 2022-05-19 11:47 | 23.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0312 | μmol/L | 18.6276 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.168 | 33877.932 | 295870.1054 | 28.7 | 67.6
11055 | 2022-05-19 11:47 | 23.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0312 | μmol/L | 18.6276 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.168 | 33880.6594 | 295874.5051 | 28.7 | 67.6
11065 | 2022-05-19 11:48 | 23.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0927 | μmol/L | 18.6093 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.172 | 33875.711 | 295872.4596 | 28.7 | 67.6
11075 | 2022-05-19 11:48 | 24.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1339 | μmol/L | 18.585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.179 | 33896.5121 | 295882.1129 | 28.7 | 67.6
11085 | 2022-05-19 11:48 | 24.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8638 | μmol/L | 18.585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.19 | 33903.5249 | 295883.6082 | 28.7 | 67.6
11095 | 2022-05-19 11:49 | 24.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.4836 | μmol/L | 18.6032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.199 | 33919.8085 | 295884.2495 | 28.7 | 67.6
11105 | 2022-05-19 11:49 | 25.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.48 | μmol/L | 18.5728 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.21 | 33936.6681 | 295901.4968 | 28.7 | 67.6
11115 | 2022-05-19 11:49 | 25.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7304 | μmol/L | 18.5607 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.245 | 33986.7128 | 295881.5329 | 28.7 | 67.6
11125 | 2022-05-19 11:50 | 25.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.6073 | μmol/L | 18.5302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.302 | 34105.5284 | 295890.8928 | 28.7 | 67.6
11135 | 2022-05-19 11:50 | 26.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.8482 | μmol/L | 18.5546 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.366 | 34211.4614 | 295892.2692 | 28.7 | 67.6
11145 | 2022-05-19 11:50 | 26.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.5917 | μmol/L | 18.5302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.427 | 34314.5995 | 295884.7546 | 28.7 | 67.6
11155 | 2022-05-19 11:51 | 26.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.6482 | μmol/L | 18.512 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 34400.6257 | 295894.3802 | 28.7 | 67.6
11165 | 2022-05-19 11:51 | 27.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.6156 | μmol/L | 18.5242 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 34469.7645 | 295896.4431 | 28.7 | 67.6
11175 | 2022-05-19 11:51 | 27.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.6436 | μmol/L | 18.5242 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.553 | 34541.7367 | 295882.3456 | 28.7 | 67.6
11185 | 2022-05-19 11:52 | 27.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.0294 | μmol/L | 18.5242 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.579 | 34598.0912 | 295876.0737 | 28.7 | 67.6
11195 | 2022-05-19 11:52 | 28.0045 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1372 | μmol/L | 18.5059 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.581 | 34589.2231 | 295896.0296 | 28.7 | 67.6
11205 | 2022-05-19 11:52 | 28.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.8587 | μmol/L | 18.4998 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.595 | 34598.3883 | 295897.0133 | 28.7 | 67.6
11215 | 2022-05-19 11:53 | 28.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.52 | μmol/L | 18.512 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.605 | 34637.2708 | 295894.1611 | 28.7 | 67.6
11225 | 2022-05-19 11:53 | 29.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.0733 | μmol/L | 18.512 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.624 | 34668.2466 | 295883.693 | 28.7 | 67.6
11235 | 2022-05-19 11:53 | 29.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4445 | μmol/L | 18.5059 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.653 | 34698.2691 | 295891.9783 | 28.7 | 67.6
11245 | 2022-05-19 11:54 | 29.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.3969 | μmol/L | 18.4755 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.666 | 34727.5499 | 295885.0427 | 28.7 | 67.6
11255 | 2022-05-19 11:54 | 30.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4763 | μmol/L | 18.4633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.667 | 34736.8922 | 295881.4982 | 28.7 | 67.6
11265 | 2022-05-19 11:54 | 30.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.734 | μmol/L | 18.4633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.656 | 34697.5952 | 295885.0621 | 28.7 | 67.6
11275 | 2022-05-19 11:55 | 30.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.0859 | μmol/L | 18.4633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.641 | 34693.516 | 295872.7087 | 28.7 | 67.6
11285 | 2022-05-19 11:55 | 31.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6168 | μmol/L | 18.4633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.661 | 34700.9315 | 295884.4799 | 28.7 | 67.6
11295 | 2022-05-19 11:55 | 31.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6871 | μmol/L | 18.4633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.658 | 34697.8549 | 295880.3259 | 28.7 | 67.6
11305 | 2022-05-19 11:56 | 31.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.3501 | μmol/L | 18.4755 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.668 | 34719.2041 | 295879.3376 | 28.7 | 67.6
11315 | 2022-05-19 11:56 | 32.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0552 | μmol/L | 18.4633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.685 | 34737.193 | 295876.1113 | 28.7 | 67.6
11325 | 2022-05-19 11:56 | 32.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.9754 | μmol/L | 18.4451 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.695 | 34760.7248 | 295870.6994 | 28.7 | 67.6
11335 | 2022-05-19 11:57 | 32.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.779 | μmol/L | 18.4268 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.71 | 34780.4354 | 295877.0819 | 28.7 | 67.6
11345 | 2022-05-19 11:57 | 33.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0685 | μmol/L | 18.4147 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.702 | 34783.8962 | 295882.4147 | 28.7 | 67.6
11355 | 2022-05-19 11:57 | 33.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.737 | μmol/L | 18.4208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.714 | 34780.3893 | 295880.8359 | 28.7 | 67.6
11365 | 2022-05-19 11:58 | 33.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.7511 | μmol/L | 18.4329 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.709 | 34782.4764 | 295866.9929 | 28.7 | 67.6
11375 | 2022-05-19 11:58 | 34.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.1033 | μmol/L | 18.4268 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.739 | 34831.794 | 295871.0094 | 28.7 | 67.6
11385 | 2022-05-19 11:58 | 34.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.6663 | μmol/L | 18.4208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.76 | 34867.1685 | 295876.9036 | 28.7 | 67.6
11395 | 2022-05-19 11:59 | 34.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.4806 | μmol/L | 18.4208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.768 | 34896.4005 | 295874.0474 | 28.7 | 67.6
11405 | 2022-05-19 11:59 | 35.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.7393 | μmol/L | 18.4208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.8 | 34918.7165 | 295874.3035 | 28.7 | 67.6
11415 | 2022-05-19 11:59 | 35.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.8737 | μmol/L | 18.3964 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.803 | 34945.605 | 295865.3118 | 28.7 | 67.6
11425 | 2022-05-19 12:00 | 35.6717 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.7118 | μmol/L | 18.3964 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.81 | 34954.35 | 295862.1889 | 28.7 | 67.6
11435 | 2022-05-19 12:00 | 36.0047 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.6471 | μmol/L | 18.3904 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.815 | 34958.2133 | 295867.1209 | 28.7 | 67.6
11445 | 2022-05-19 12:00 | 36.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.8882 | μmol/L | 18.3478 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.82 | 34971.1892 | 295870.9251 | 28.7 | 67.6
11455 | 2022-05-19 12:01 | 36.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.5415 | μmol/L | 18.3478 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.835 | 34988.0379 | 295866.2625 | 28.7 | 67.6
11465 | 2022-05-19 12:01 | 37.0045 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.1351 | μmol/L | 18.366 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.846 | 35012.3405 | 295852.517 | 28.7 | 67.6
11475 | 2022-05-19 12:01 | 37.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.6468 | μmol/L | 18.3721 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.865 | 35032.2845 | 295865.6662 | 28.7 | 67.6
11485 | 2022-05-19 12:02 | 37.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.302 | μmol/L | 18.3721 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.88 | 35063.6443 | 295871.3407 | 28.7 | 67.6
11495 | 2022-05-19 12:02 | 38.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.1366 | μmol/L | 18.3782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.885 | 35073.7036 | 295856.4045 | 28.7 | 67.6
11505 | 2022-05-19 12:02 | 38.3383 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.0361 | μmol/L | 18.3599 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.896 | 35091.5555 | 295861.3531 | 28.7 | 67.6
11515 | 2022-05-19 12:03 | 38.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.8297 | μmol/L | 18.3599 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.905 | 35104.0332 | 295852.6919 | 28.7 | 67.6
11525 | 2022-05-19 12:03 | 39.0049 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.8851 | μmol/L | 18.3478 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.907 | 35117.0092 | 295861.5037 | 28.7 | 67.6
11535 | 2022-05-19 12:03 | 39.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.5692 | μmol/L | 18.3417 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.923 | 35129.6344 | 295864.3317 | 28.7 | 67.6
11545 | 2022-05-19 12:04 | 39.6717 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.4139 | μmol/L | 18.3356 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.932 | 35148.8542 | 295869.1175 | 28.7 | 67.6
11555 | 2022-05-19 12:04 | 40.0053 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.3958 | μmol/L | 18.3295 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.935 | 35159.3108 | 295847.9557 | 28.7 | 67.6
11565 | 2022-05-19 12:04 | 40.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7565 | μmol/L | 18.3295 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.963 | 35186.5465 | 295853.3986 | 28.7 | 67.6
11575 | 2022-05-19 12:05 | 40.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7841 | μmol/L | 18.3235 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.964 | 35216.8531 | 295854.9137 | 28.7 | 67.6
11585 | 2022-05-19 12:05 | 41.0052 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4065 | μmol/L | 18.3113 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.985 | 35233.7212 | 295849.7727 | 28.7 | 67.6
11595 | 2022-05-19 12:05 | 41.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.2293 | μmol/L | 18.3052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.995 | 35236.1772 | 295853.8264 | 28.7 | 67.6
11605 | 2022-05-19 12:06 | 41.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7986 | μmol/L | 18.3052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.97 | 35220.4679 | 295829.2513 | 28.7 | 67.6
11615 | 2022-05-19 12:06 | 42.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7302 | μmol/L | 18.3052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.973 | 35214.5646 | 295846.6455 | 28.7 | 67.6
11625 | 2022-05-19 12:06 | 42.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7171 | μmol/L | 18.293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.978 | 35208.0128 | 295842.6488 | 28.7 | 67.6
11635 | 2022-05-19 12:07 | 42.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.9403 | μmol/L | 18.2991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.966 | 35198.2483 | 295860.6361 | 28.7 | 67.6
11645 | 2022-05-19 12:07 | 43.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.0544 | μmol/L | 18.2991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.961 | 35194.8332 | 295859.9528 | 28.7 | 67.6
11655 | 2022-05-19 12:07 | 43.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.4665 | μmol/L | 18.293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.989 | 35235.1638 | 295847.5716 | 28.7 | 67.6
11665 | 2022-05-19 12:08 | 43.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.0848 | μmol/L | 18.287 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.008 | 35260.7035 | 295830.8822 | 28.7 | 67.6
11675 | 2022-05-19 12:08 | 44.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.976 | μmol/L | 18.2809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.015 | 35285.7668 | 295843.5977 | 28.7 | 67.6
11685 | 2022-05-19 12:08 | 44.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.976 | μmol/L | 18.2809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.015 | 35287.8949 | 295841.2804 | 28.7 | 67.6
11695 | 2022-05-19 12:09 | 44.6719 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.4041 | μmol/L | 18.287 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.038 | 35304.4902 | 295839.7882 | 28.7 | 67.6
11705 | 2022-05-19 12:09 | 45.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.3508 | μmol/L | 18.2687 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.047 | 35336.5389 | 295849.0207 | 28.7 | 67.6
11715 | 2022-05-19 12:09 | 45.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.8129 | μmol/L | 18.2626 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.073 | 35375.3104 | 295852.2524 | 28.7 | 67.6
11725 | 2022-05-19 12:10 | 45.6714 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.1925 | μmol/L | 18.2626 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.145 | 35487.834 | 295848.457 | 28.7 | 67.6
11735 | 2022-05-19 12:10 | 46.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.1635 | μmol/L | 18.2626 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.191 | 35577.4226 | 295832.9914 | 28.7 | 67.6
11745 | 2022-05-19 12:10 | 46.3384 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.9008 | μmol/L | 18.2566 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.205 | 35608.7027 | 295835.7946 | 28.7 | 67.6
11755 | 2022-05-19 12:11 | 46.6718 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.8386 | μmol/L | 18.2505 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.255 | 35696.6042 | 295833.0425 | 28.7 | 67.6
11765 | 2022-05-19 12:11 | 47.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 259.2475 | μmol/L | 18.2505 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.327 | 35811.8033 | 295836.9429 | 28.7 | 67.6
11775 | 2022-05-19 12:11 | 47.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.4176 | μmol/L | 18.2444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 35897.1117 | 295834.7931 | 28.7 | 67.6
11785 | 2022-05-19 12:12 | 47.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.072 | μmol/L | 18.2383 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.385 | 35919.0031 | 295824.6424 | 28.7 | 67.6
11795 | 2022-05-19 12:12 | 48.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.5154 | μmol/L | 18.2322 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 35888.2898 | 295824.9996 | 28.7 | 67.6
11805 | 2022-05-19 12:12 | 48.3378 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.5424 | μmol/L | 18.2261 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.368 | 35872.3764 | 295819.1488 | 28.7 | 67.6
11815 | 2022-05-19 12:13 | 48.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 258.34 | μmol/L | 18.2322 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.375 | 35887.7807 | 295834.8643 | 28.7 | 67.6
11825 | 2022-05-19 12:13 | 49.0046 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 257.8246 | μmol/L | 18.2201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.403 | 35938.711 | 295835.7196 | 28.7 | 67.6
11835 | 2022-05-19 12:13 | 49.3381 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.9953 | μmol/L | 18.2201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.441 | 35993.2752 | 295816.4515 | 28.7 | 67.6
11845 | 2022-05-19 12:14 | 49.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.5332 | μmol/L | 18.2261 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.46 | 36025.1432 | 295825.4789 | 28.7 | 67.6
11855 | 2022-05-19 12:14 | 50.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.6138 | μmol/L | 18.2079 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.463 | 36047.64 | 295823.4341 | 28.7 | 67.6
11865 | 2022-05-19 12:14 | 50.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3633 | μmol/L | 18.1957 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.479 | 36066.5812 | 295809.3118 | 28.7 | 67.6
11875 | 2022-05-19 12:15 | 50.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.0863 | μmol/L | 18.1897 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.494 | 36081.5332 | 295806.1221 | 28.7 | 67.6
11885 | 2022-05-19 12:15 | 51.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3364 | μmol/L | 18.2018 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.478 | 36064.4196 | 295801.5317 | 28.7 | 67.6
11895 | 2022-05-19 12:15 | 51.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.5153 | μmol/L | 18.1957 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.472 | 36049.5194 | 295804.9559 | 28.7 | 67.6
11905 | 2022-05-19 12:16 | 51.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.5422 | μmol/L | 18.1897 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.473 | 36037.7357 | 295794.8243 | 28.7 | 67.6
11915 | 2022-05-19 12:16 | 52.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.7596 | μmol/L | 18.1897 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.463 | 36032.4752 | 295783.8615 | 28.7 | 67.6
11925 | 2022-05-19 12:16 | 52.3379 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.7648 | μmol/L | 18.1836 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.465 | 36043.2165 | 295777.4074 | 28.7 | 67.6
11935 | 2022-05-19 12:17 | 52.6715 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3136 | μmol/L | 18.1775 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.488 | 36081.5188 | 295771.9272 | 28.7 | 67.6
11945 | 2022-05-19 12:17 | 53.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.8097 | μmol/L | 18.1836 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.509 | 36108.2898 | 295757.5975 | 28.7 | 67.6
11955 | 2022-05-19 12:17 | 53.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.7716 | μmol/L | 18.1775 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.513 | 36132.1233 | 295749.1247 | 28.7 | 67.6
11965 | 2022-05-19 12:18 | 53.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.3873 | μmol/L | 18.1714 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.533 | 36149.6087 | 295747.6942 | 28.7 | 67.6
11975 | 2022-05-19 12:18 | 54.0048 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.3606 | μmol/L | 18.1775 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.532 | 36140.607 | 295754.3017 | 28.7 | 67.6
11985 | 2022-05-19 12:18 | 54.3382 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.3009 | μmol/L | 18.1714 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.537 | 36134.0039 | 295734.427 | 28.7 | 67.6
11995 | 2022-05-19 12:19 | 54.6716 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.4038 | μmol/L | 18.1775 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.53 | 36137.6315 | 295741.9419 | 28.7 | 67.6
12005 | 2022-05-19 12:19 | 55.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.7984 | μmol/L | 18.1714 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.514 | 36117.4911 | 295734.9576 | 28.7 | 67.6
12015 | 2022-05-19 12:19 | 55.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.4924 | μmol/L | 18.1714 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.482 | 36067.8754 | 295728.702 | 28.7 | 67.6
12025 | 2022-05-19 12:20 | 55.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.172 | μmol/L | 18.1653 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.499 | 36064.3703 | 295730.1319 | 28.7 | 67.6
12035 | 2022-05-19 12:20 | 56.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3125 | μmol/L | 18.1532 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.497 | 36058.7848 | 295706.4549 | 28.7 | 67.6
12045 | 2022-05-19 12:20 | 56.3386 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.421 | μmol/L | 18.1532 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.492 | 36073.0644 | 295702.44 | 28.7 | 67.6
12055 | 2022-05-19 12:21 | 56.6712 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.3125 | μmol/L | 18.1532 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.497 | 36088.1052 | 295688.5401 | 28.7 | 67.6
12065 | 2022-05-19 12:21 | 57.005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 256.0305 | μmol/L | 18.1532 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.51 | 36098.087 | 295668.7273 | 28.7 | 67.6
12075 | 2022-05-19 12:21 | 57.3385 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.7489 | μmol/L | 18.1532 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.523 | 36108.9341 | 295659.7005 | 28.7 | 67.6
12085 | 2022-05-19 12:22 | 57.6713 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.7108 | μmol/L | 18.1471 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.527 | 36133.0153 | 295648.5596 | 28.7 | 67.6
12095 | 2022-05-19 12:22 | 58.0051 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.5378 | μmol/L | 18.1471 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.535 | 36147.5867 | 295619.7543 | 28.7 | 67.6
12104 | 2022-05-19 12:22 | 58.338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 255.3052 | μmol/L | 18.141 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.548 | 36161.6544 | 295614.2222 | 28.7 | 67.6