## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10357 | 2022-05-19 11:24 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4339 | μmol/L | 19.2006 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.362 | 88260.8323 | 299177.5663 | 30.45 | 114.2
10367 | 2022-05-19 11:24 | 0.34169 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4896 | μmol/L | 19.1883 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.364 | 88280.401 | 299167.9274 | 30.45 | 114.2
10377 | 2022-05-19 11:25 | 0.67443 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4187 | μmol/L | 19.1883 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.367 | 88293.0579 | 299186.936 | 30.45 | 114.2
10387 | 2022-05-19 11:25 | 1.0079 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.38 | μmol/L | 19.176 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.373 | 88296.7515 | 299164.7004 | 30.45 | 114.2
10397 | 2022-05-19 11:25 | 1.3413 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4036 | μmol/L | 19.176 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.372 | 88295.201 | 299172.8461 | 30.45 | 114.2
10407 | 2022-05-19 11:26 | 1.6747 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3842 | μmol/L | 19.1699 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.375 | 88296.87 | 299182.6034 | 30.45 | 114.2
10417 | 2022-05-19 11:26 | 2.0079 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4357 | μmol/L | 19.1637 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.375 | 88302.8044 | 299174.3139 | 30.45 | 114.2
10427 | 2022-05-19 11:26 | 2.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4163 | μmol/L | 19.1576 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.378 | 88310.6557 | 299173.642 | 30.45 | 114.2
10437 | 2022-05-19 11:27 | 2.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4206 | μmol/L | 19.1514 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.38 | 88318.0581 | 299162.4027 | 30.45 | 114.2
10447 | 2022-05-19 11:27 | 3.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4528 | μmol/L | 19.1392 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.383 | 88314.6032 | 299148.269 | 30.45 | 114.2
10457 | 2022-05-19 11:27 | 3.3413 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3819 | μmol/L | 19.1392 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.386 | 88322.7693 | 299154.5464 | 30.45 | 114.2
10467 | 2022-05-19 11:28 | 3.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4613 | μmol/L | 19.1269 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.387 | 88336.9043 | 299145.6273 | 30.45 | 114.2
10477 | 2022-05-19 11:28 | 4.0085 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3197 | μmol/L | 19.1269 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.393 | 88345.1608 | 299145.8351 | 30.45 | 114.2
10487 | 2022-05-19 11:28 | 4.3414 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.427 | μmol/L | 19.1084 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.395 | 88348.8954 | 299145.573 | 30.45 | 114.2
10497 | 2022-05-19 11:29 | 4.6749 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4314 | μmol/L | 19.1023 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.397 | 88356.4484 | 299128.3984 | 30.45 | 114.2
10507 | 2022-05-19 11:29 | 5.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.44 | μmol/L | 19.09 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.401 | 88371.4604 | 299129.0212 | 30.45 | 114.2
10517 | 2022-05-19 11:29 | 5.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5195 | μmol/L | 19.0777 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.402 | 88382.4421 | 299129.2863 | 30.45 | 114.2
10527 | 2022-05-19 11:30 | 5.6751 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4487 | μmol/L | 19.0777 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.405 | 88394.1021 | 299112.4882 | 30.45 | 114.2
10537 | 2022-05-19 11:30 | 6.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4338 | μmol/L | 19.0654 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.41 | 88394.6223 | 299106.591 | 30.45 | 114.2
10547 | 2022-05-19 11:30 | 6.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4941 | μmol/L | 19.047 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.414 | 88404.3057 | 299098.8971 | 30.45 | 114.2
10557 | 2022-05-19 11:31 | 6.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4749 | μmol/L | 19.0409 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.417 | 88414.1294 | 299118.1002 | 30.45 | 114.2
10567 | 2022-05-19 11:31 | 7.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6017 | μmol/L | 19.0286 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.416 | 88423.8289 | 299095.9211 | 30.45 | 114.2
10577 | 2022-05-19 11:31 | 7.3418 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3702 | μmol/L | 19.0224 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.428 | 88440.0294 | 299102.4642 | 30.45 | 114.2
10587 | 2022-05-19 11:32 | 7.6744 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5441 | μmol/L | 19.0101 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.425 | 88446.0587 | 299094.9204 | 30.45 | 114.2
10597 | 2022-05-19 11:32 | 8.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5485 | μmol/L | 19.004 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.427 | 88457.4191 | 299086.5407 | 30.45 | 114.2
10607 | 2022-05-19 11:32 | 8.3419 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3643 | μmol/L | 18.9979 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.437 | 88463.0066 | 299076.1873 | 30.45 | 114.2
10617 | 2022-05-19 11:33 | 8.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5147 | μmol/L | 18.9856 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.435 | 88467.1999 | 299076.9234 | 30.45 | 114.2
10627 | 2022-05-19 11:33 | 9.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4292 | μmol/L | 18.9733 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.443 | 88481.4992 | 299078.0373 | 30.45 | 114.2
10637 | 2022-05-19 11:33 | 9.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.528 | μmol/L | 18.9671 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.441 | 88495.3895 | 299082.9333 | 30.45 | 114.2
10647 | 2022-05-19 11:34 | 9.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5797 | μmol/L | 18.961 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.441 | 88503.4877 | 299084.7032 | 30.45 | 114.2
10657 | 2022-05-19 11:34 | 10.0078 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4471 | μmol/L | 18.9487 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.451 | 88505.0151 | 299074.6812 | 30.45 | 114.2
10667 | 2022-05-19 11:34 | 10.3413 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4988 | μmol/L | 18.9426 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.451 | 88527.2254 | 299069.1264 | 30.45 | 114.2
10677 | 2022-05-19 11:35 | 10.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4887 | μmol/L | 18.9241 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.458 | 88539.3589 | 299062.0405 | 30.45 | 114.2
10687 | 2022-05-19 11:35 | 11.0081 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.564 | μmol/L | 18.918 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.457 | 88550.63 | 299056.5907 | 30.45 | 114.2
10697 | 2022-05-19 11:35 | 11.3418 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5449 | μmol/L | 18.9118 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.46 | 88548.6397 | 299061.6425 | 30.45 | 114.2
10707 | 2022-05-19 11:36 | 11.6744 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4977 | μmol/L | 18.9118 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.462 | 88554.3652 | 299049.237 | 30.45 | 114.2
10717 | 2022-05-19 11:36 | 12.0081 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4597 | μmol/L | 18.8996 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.468 | 88570.9066 | 299044.7609 | 30.45 | 114.2
10727 | 2022-05-19 11:36 | 12.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5113 | μmol/L | 18.8934 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.468 | 88577.1158 | 299045.5856 | 30.45 | 114.2
10737 | 2022-05-19 11:37 | 12.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5676 | μmol/L | 18.8811 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.47 | 88581.5688 | 299040.2339 | 30.45 | 114.2
10747 | 2022-05-19 11:37 | 13.0078 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4543 | μmol/L | 18.875 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.477 | 88587.7516 | 299029.1426 | 30.45 | 114.2
10757 | 2022-05-19 11:37 | 13.3415 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4589 | μmol/L | 18.8688 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.479 | 88603.5863 | 299020.6097 | 30.45 | 114.2
10767 | 2022-05-19 11:38 | 13.675 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4824 | μmol/L | 18.8688 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.478 | 88606.1442 | 299028.7894 | 30.45 | 114.2
10777 | 2022-05-19 11:38 | 14.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4209 | μmol/L | 18.8565 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.485 | 88621.4696 | 299024.3129 | 30.45 | 114.2
10787 | 2022-05-19 11:38 | 14.3413 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4537 | μmol/L | 18.8443 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.488 | 88612.6824 | 299007.7534 | 30.45 | 114.2
10797 | 2022-05-19 11:39 | 14.6747 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5807 | μmol/L | 18.832 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.487 | 88627.6782 | 299038.1279 | 30.45 | 114.2
10807 | 2022-05-19 11:39 | 15.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.425 | μmol/L | 18.8197 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.498 | 88638.7585 | 299012.6574 | 30.45 | 114.2
10817 | 2022-05-19 11:39 | 15.3419 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3073 | μmol/L | 18.8197 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.503 | 88662.7241 | 299025.6698 | 30.45 | 114.2
10827 | 2022-05-19 11:40 | 15.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4767 | μmol/L | 18.8135 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.498 | 88675.3187 | 299011.9552 | 30.45 | 114.2
10837 | 2022-05-19 11:40 | 16.0085 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2366 | μmol/L | 18.8197 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.506 | 88688.1022 | 299023.7957 | 30.45 | 114.2
10847 | 2022-05-19 11:40 | 16.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1658 | μmol/L | 18.789 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 88720.4164 | 299014.9059 | 30.45 | 114.2
10857 | 2022-05-19 11:41 | 16.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.9121 | μmol/L | 18.8135 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 88742.9817 | 299003.5764 | 30.45 | 114.2
10867 | 2022-05-19 11:41 | 17.0081 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2928 | μmol/L | 18.7767 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.519 | 88725.1425 | 299011.8332 | 30.45 | 114.2
10877 | 2022-05-19 11:41 | 17.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2739 | μmol/L | 18.7705 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 88733.0605 | 299011.3397 | 30.45 | 114.2
10887 | 2022-05-19 11:42 | 17.6744 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3303 | μmol/L | 18.7583 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.524 | 88744.8459 | 299007.5293 | 30.45 | 114.2
10897 | 2022-05-19 11:42 | 18.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.024 | μmol/L | 18.6231 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.543 | 88821.296 | 298994.1289 | 30.45 | 114.2
10907 | 2022-05-19 11:42 | 18.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.391 | μmol/L | 18.7583 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.564 | 88941.4718 | 299010.4024 | 30.45 | 114.2
10917 | 2022-05-19 11:43 | 18.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9838 | μmol/L | 18.7398 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.588 | 89027.5149 | 299001.44 | 30.45 | 114.2
10927 | 2022-05-19 11:43 | 19.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.2742 | μmol/L | 18.7214 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.625 | 89192.8277 | 299009.8928 | 30.45 | 114.2
10937 | 2022-05-19 11:43 | 19.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.5247 | μmol/L | 18.7275 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.655 | 89347.5051 | 299003.2244 | 30.45 | 114.2
10947 | 2022-05-19 11:44 | 19.6744 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 270.2566 | μmol/L | 18.6845 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.682 | 89463.5161 | 298981.2609 | 30.45 | 114.2
10957 | 2022-05-19 11:44 | 20.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 269.2457 | μmol/L | 18.7337 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.708 | 89553.8441 | 298980.6427 | 30.45 | 114.2
10967 | 2022-05-19 11:44 | 20.3415 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.8351 | μmol/L | 18.7275 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.728 | 89652.8201 | 298998.5806 | 30.45 | 114.2
10977 | 2022-05-19 11:45 | 20.6751 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2413 | μmol/L | 18.7214 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.756 | 89771.6892 | 298985.308 | 30.45 | 114.2
10987 | 2022-05-19 11:45 | 21.0077 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.4296 | μmol/L | 18.703 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.798 | 89985.8786 | 298992.82 | 30.45 | 114.2
10997 | 2022-05-19 11:45 | 21.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2158 | μmol/L | 18.6784 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.86 | 90261.6696 | 298985.3854 | 30.45 | 114.2
11007 | 2022-05-19 11:46 | 21.6748 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.4023 | μmol/L | 18.6723 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.898 | 90435.0072 | 298988.2207 | 30.45 | 114.2
11017 | 2022-05-19 11:46 | 22.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0142 | μmol/L | 18.6477 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.924 | 90543.3405 | 298981.9605 | 30.45 | 114.2
11027 | 2022-05-19 11:46 | 22.3419 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7525 | μmol/L | 18.6354 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.94 | 90631.9382 | 298978.4411 | 30.45 | 114.2
11037 | 2022-05-19 11:47 | 22.6744 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5993 | μmol/L | 18.6293 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.949 | 90665.806 | 298991.3313 | 30.45 | 114.2
11047 | 2022-05-19 11:47 | 23.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0976 | μmol/L | 18.6354 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.969 | 90732.1272 | 298979.0337 | 30.45 | 114.2
11057 | 2022-05-19 11:47 | 23.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3772 | μmol/L | 18.6354 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.001 | 90880.7051 | 298968.0308 | 30.45 | 114.2
11067 | 2022-05-19 11:48 | 23.675 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.8261 | μmol/L | 18.6231 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.03 | 91022.1118 | 298967.7558 | 30.45 | 114.2
11077 | 2022-05-19 11:48 | 24.0085 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.428 | μmol/L | 18.617 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.05 | 91121.9623 | 298968.9378 | 30.45 | 114.2
11087 | 2022-05-19 11:48 | 24.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.0632 | μmol/L | 18.5985 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.073 | 91223.2516 | 298969.075 | 30.45 | 114.2
11097 | 2022-05-19 11:49 | 24.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.7438 | μmol/L | 18.5801 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.094 | 91328.0008 | 298959.5004 | 30.45 | 114.2
11107 | 2022-05-19 11:49 | 25.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.6222 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.106 | 91380.9887 | 298967.5848 | 30.45 | 114.2
11117 | 2022-05-19 11:49 | 25.3419 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 261.2489 | μmol/L | 18.5064 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.143 | 91515.5454 | 298971.0595 | 30.45 | 114.2
11127 | 2022-05-19 11:50 | 25.6747 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 260.2349 | μmol/L | 18.5248 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.182 | 91706.2594 | 298967.511 | 30.45 | 114.2
11137 | 2022-05-19 11:50 | 26.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 259.6446 | μmol/L | 18.5432 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.202 | 91798.9578 | 298973.8722 | 30.45 | 114.2
11147 | 2022-05-19 11:50 | 26.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 258.1831 | μmol/L | 18.5801 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.255 | 92003.9075 | 298970.7952 | 30.45 | 114.2
11157 | 2022-05-19 11:51 | 26.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.797 | μmol/L | 18.5187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.295 | 92211.1875 | 298980.0278 | 30.45 | 114.2
11167 | 2022-05-19 11:51 | 27.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 257.4856 | μmol/L | 18.5248 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.307 | 92285.7481 | 298975.6092 | 30.45 | 114.2
11177 | 2022-05-19 11:51 | 27.3413 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.9016 | μmol/L | 18.5187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.336 | 92400.869 | 298970.0095 | 30.45 | 114.2
11187 | 2022-05-19 11:52 | 27.675 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.7003 | μmol/L | 18.5248 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.343 | 92468.753 | 298963.2867 | 30.45 | 114.2
11197 | 2022-05-19 11:52 | 28.0079 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 256.1895 | μmol/L | 18.5371 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.362 | 92534.828 | 298971.2697 | 30.45 | 114.2
11207 | 2022-05-19 11:52 | 28.3415 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.8416 | μmol/L | 18.5125 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.387 | 92637.6349 | 298951.4095 | 30.45 | 114.2
11217 | 2022-05-19 11:53 | 28.6747 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.9812 | μmol/L | 18.5064 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.429 | 92797.216 | 298970.5368 | 30.45 | 114.2
11227 | 2022-05-19 11:53 | 29.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.5339 | μmol/L | 18.5248 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.443 | 92893.3339 | 298962.4407 | 30.45 | 114.2
11237 | 2022-05-19 11:53 | 29.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.3142 | μmol/L | 18.5187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.502 | 93129.448 | 298958.1002 | 30.45 | 114.2
11247 | 2022-05-19 11:54 | 29.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.0376 | μmol/L | 18.5125 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.564 | 93410.042 | 298957.6896 | 30.45 | 114.2
11257 | 2022-05-19 11:54 | 30.0078 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.7503 | μmol/L | 18.5248 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.573 | 93485.1245 | 298957.4498 | 30.45 | 114.2
11267 | 2022-05-19 11:54 | 30.3411 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.8514 | μmol/L | 18.5064 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.575 | 93492.0362 | 298955.1096 | 30.45 | 114.2
11277 | 2022-05-19 11:55 | 30.6748 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.0057 | μmol/L | 18.5002 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.57 | 93494.6745 | 298960.0474 | 30.45 | 114.2
11287 | 2022-05-19 11:55 | 31.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.1444 | μmol/L | 18.4634 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.577 | 93499.7668 | 298962.255 | 30.45 | 114.2
11297 | 2022-05-19 11:55 | 31.3411 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.4962 | μmol/L | 18.4511 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.565 | 93426.2111 | 298954.2572 | 30.45 | 114.2
11307 | 2022-05-19 11:56 | 31.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.7523 | μmol/L | 18.4757 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.544 | 93330.0509 | 298951.9695 | 30.45 | 114.2
11317 | 2022-05-19 11:56 | 32.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.9982 | μmol/L | 18.4634 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.537 | 93292.709 | 298954.1547 | 30.45 | 114.2
11327 | 2022-05-19 11:56 | 32.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.041 | μmol/L | 18.4634 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.535 | 93285.2451 | 298935.8708 | 30.45 | 114.2
11337 | 2022-05-19 11:57 | 32.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4532 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.518 | 93245.0553 | 298943.6553 | 30.45 | 114.2
11347 | 2022-05-19 11:57 | 33.0081 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.9898 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.493 | 93126.1821 | 298938.2883 | 30.45 | 114.2
11357 | 2022-05-19 11:57 | 33.3415 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.8187 | μmol/L | 18.445 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.459 | 92949.4855 | 298941.0262 | 30.45 | 114.2
11367 | 2022-05-19 11:58 | 33.6749 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.9967 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.453 | 92913.3186 | 298932.4552 | 30.45 | 114.2
11377 | 2022-05-19 11:58 | 34.0085 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 255.0507 | μmol/L | 18.4511 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.446 | 92873.9422 | 298949.6599 | 30.45 | 114.2
11387 | 2022-05-19 11:58 | 34.3411 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.9264 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.463 | 92949.1944 | 298933.8748 | 30.45 | 114.2
11397 | 2022-05-19 11:59 | 34.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.2285 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.542 | 93266.5063 | 298948.0537 | 30.45 | 114.2
11407 | 2022-05-19 11:59 | 35.0079 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.6886 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.565 | 93399.9348 | 298941.3434 | 30.45 | 114.2
11417 | 2022-05-19 11:59 | 35.3415 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.3685 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.58 | 93460.9045 | 298928.1877 | 30.45 | 114.2
11427 | 2022-05-19 12:00 | 35.6749 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.4752 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.575 | 93428.7008 | 298919.498 | 30.45 | 114.2
11437 | 2022-05-19 12:00 | 36.0078 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6196 | μmol/L | 18.4143 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.526 | 93215.9168 | 298935.0711 | 30.45 | 114.2
11447 | 2022-05-19 12:00 | 36.3414 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1001 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.548 | 93304.6872 | 298932.6812 | 30.45 | 114.2
11457 | 2022-05-19 12:01 | 36.6747 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1965 | μmol/L | 18.4081 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.548 | 93319.8681 | 298934.2115 | 30.45 | 114.2
11467 | 2022-05-19 12:01 | 37.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.416 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.54 | 93306.5444 | 298932.0758 | 30.45 | 114.2
11477 | 2022-05-19 12:01 | 37.3418 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5555 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.538 | 93288.3061 | 298915.4221 | 30.45 | 114.2
11487 | 2022-05-19 12:02 | 37.6751 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.534 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.539 | 93283.5212 | 298929.6594 | 30.45 | 114.2
11497 | 2022-05-19 12:02 | 38.0078 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6412 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.534 | 93270.3511 | 298926.1886 | 30.45 | 114.2
11507 | 2022-05-19 12:02 | 38.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7325 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.532 | 93268.3209 | 298920.5674 | 30.45 | 114.2
11517 | 2022-05-19 12:03 | 38.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7594 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.533 | 93275.4108 | 298922.2764 | 30.45 | 114.2
11527 | 2022-05-19 12:03 | 39.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4375 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.539 | 93276.2472 | 298944.7603 | 30.45 | 114.2
11537 | 2022-05-19 12:03 | 39.3411 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4749 | μmol/L | 18.4081 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.535 | 93255.2664 | 298934.5132 | 30.45 | 114.2
11547 | 2022-05-19 12:04 | 39.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5286 | μmol/L | 18.3958 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.537 | 93253.9852 | 298915.6646 | 30.45 | 114.2
11557 | 2022-05-19 12:04 | 40.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6038 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.538 | 93275.336 | 298932.3412 | 30.45 | 114.2
11567 | 2022-05-19 12:04 | 40.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.502 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.545 | 93292.8692 | 298930.1436 | 30.45 | 114.2
11577 | 2022-05-19 12:05 | 40.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5823 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.539 | 93287.7765 | 298924.9719 | 30.45 | 114.2
11587 | 2022-05-19 12:05 | 41.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5663 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.542 | 93298.48 | 298927.1734 | 30.45 | 114.2
11597 | 2022-05-19 12:05 | 41.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6361 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.541 | 93278.1866 | 298909.5946 | 30.45 | 114.2
11607 | 2022-05-19 12:06 | 41.675 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.883 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.534 | 93248.4204 | 298913.7122 | 30.45 | 114.2
11617 | 2022-05-19 12:06 | 42.0077 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7488 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.538 | 93230.5276 | 298904.0378 | 30.45 | 114.2
11627 | 2022-05-19 12:06 | 42.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.899 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.531 | 93223.0365 | 298918.9599 | 30.45 | 114.2
11637 | 2022-05-19 12:07 | 42.6748 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.0497 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.533 | 93206.4801 | 298912.0148 | 30.45 | 114.2
11647 | 2022-05-19 12:07 | 43.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.9743 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.532 | 93231.114 | 298913.6314 | 30.45 | 114.2
11657 | 2022-05-19 12:07 | 43.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.8779 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.541 | 93249.4925 | 298903.6313 | 30.45 | 114.2
11667 | 2022-05-19 12:08 | 43.675 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.0826 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.545 | 93282.2071 | 298911.8172 | 30.45 | 114.2
11677 | 2022-05-19 12:08 | 44.008 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7601 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.551 | 93308.3302 | 298905.5919 | 30.45 | 114.2
11687 | 2022-05-19 12:08 | 44.3414 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7656 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.553 | 93313.6134 | 298900.4489 | 30.45 | 114.2
11697 | 2022-05-19 12:09 | 44.6749 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.8085 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.551 | 93313.8217 | 298907.7337 | 30.45 | 114.2
11707 | 2022-05-19 12:09 | 45.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6744 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.555 | 93322.0314 | 298903.893 | 30.45 | 114.2
11717 | 2022-05-19 12:09 | 45.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4705 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.56 | 93337.4371 | 298902.1108 | 30.45 | 114.2
11727 | 2022-05-19 12:10 | 45.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 254.0943 | μmol/L | 18.2668 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.558 | 93330.9102 | 298902.792 | 30.45 | 114.2
11737 | 2022-05-19 12:10 | 46.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.9323 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.552 | 93333.6009 | 298898.005 | 30.45 | 114.2
11747 | 2022-05-19 12:10 | 46.3418 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.83 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.55 | 93308.055 | 298894.3709 | 30.45 | 114.2
11757 | 2022-05-19 12:11 | 46.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.9109 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.553 | 93317.7706 | 298885.3561 | 30.45 | 114.2
11767 | 2022-05-19 12:11 | 47.0081 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.7337 | μmol/L | 18.3098 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.559 | 93337.8383 | 298892.9955 | 30.45 | 114.2
11777 | 2022-05-19 12:11 | 47.3416 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6051 | μmol/L | 18.3098 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.565 | 93367.8641 | 298895.4065 | 30.45 | 114.2
11787 | 2022-05-19 12:12 | 47.6751 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4607 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.574 | 93398.1321 | 298888.202 | 30.45 | 114.2
11797 | 2022-05-19 12:12 | 48.0079 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5035 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.572 | 93397.8043 | 298893.3825 | 30.45 | 114.2
11807 | 2022-05-19 12:12 | 48.3412 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4344 | μmol/L | 18.2853 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.582 | 93417.4526 | 298881.069 | 30.45 | 114.2
11817 | 2022-05-19 12:13 | 48.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4344 | μmol/L | 18.2853 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.582 | 93416.9072 | 298880.7596 | 30.45 | 114.2
11827 | 2022-05-19 12:13 | 49.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1721 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.592 | 93450.378 | 298880.9149 | 30.45 | 114.2
11837 | 2022-05-19 12:13 | 49.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8516 | μmol/L | 18.2914 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.607 | 93521.3708 | 298881.55 | 30.45 | 114.2
11847 | 2022-05-19 12:14 | 49.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.9063 | μmol/L | 18.2545 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.618 | 93598.2653 | 298883.3453 | 30.45 | 114.2
11857 | 2022-05-19 12:14 | 50.0077 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.5538 | μmol/L | 18.2668 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.63 | 93624.5333 | 298871.279 | 30.45 | 114.2
11867 | 2022-05-19 12:14 | 50.3418 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.6391 | μmol/L | 18.2668 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.626 | 93614.5192 | 298871.5758 | 30.45 | 114.2
11877 | 2022-05-19 12:15 | 50.6748 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.6604 | μmol/L | 18.2668 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.625 | 93603.8943 | 298859.9837 | 30.45 | 114.2
11887 | 2022-05-19 12:15 | 51.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.9434 | μmol/L | 18.2607 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.614 | 93555.2282 | 298865.0697 | 30.45 | 114.2
11897 | 2022-05-19 12:15 | 51.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.3458 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.611 | 93527.4672 | 298837.3018 | 30.45 | 114.2
11907 | 2022-05-19 12:16 | 51.6752 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.6139 | μmol/L | 18.2054 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.603 | 93507.3467 | 298847.6439 | 30.45 | 114.2
11917 | 2022-05-19 12:16 | 52.0085 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.5384 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.602 | 93498.0204 | 298824.5938 | 30.45 | 114.2
11927 | 2022-05-19 12:16 | 52.3411 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.517 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.603 | 93507.755 | 298842.4906 | 30.45 | 114.2
11937 | 2022-05-19 12:17 | 52.675 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4528 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.606 | 93521.039 | 298826.9378 | 30.45 | 114.2
11947 | 2022-05-19 12:17 | 53.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.4798 | μmol/L | 18.2116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.607 | 93530.6915 | 298820.2542 | 30.45 | 114.2
11957 | 2022-05-19 12:17 | 53.3411 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 253.1534 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.62 | 93563.6434 | 298814.4704 | 30.45 | 114.2
11967 | 2022-05-19 12:18 | 53.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.8589 | μmol/L | 18.2361 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.627 | 93583.6501 | 298805.2555 | 30.45 | 114.2
11977 | 2022-05-19 12:18 | 54.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.6893 | μmol/L | 18.2116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.644 | 93644.5657 | 298812.4311 | 30.45 | 114.2
11987 | 2022-05-19 12:18 | 54.3419 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 252.0831 | μmol/L | 18.1993 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.677 | 93793.294 | 298793.6555 | 30.45 | 114.2
11997 | 2022-05-19 12:19 | 54.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.7219 | μmol/L | 18.1993 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.694 | 93874.444 | 298792.5039 | 30.45 | 114.2
12007 | 2022-05-19 12:19 | 55.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.5946 | μmol/L | 18.1993 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.7 | 93873.3506 | 298785.4887 | 30.45 | 114.2
12017 | 2022-05-19 12:19 | 55.3418 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.8606 | μmol/L | 18.187 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.692 | 93869.1317 | 298788.0463 | 30.45 | 114.2
12027 | 2022-05-19 12:20 | 55.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.6851 | μmol/L | 18.1931 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.698 | 93892.1408 | 298770.8297 | 30.45 | 114.2
12037 | 2022-05-19 12:20 | 56.0082 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.5946 | μmol/L | 18.1993 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.7 | 93896.0945 | 298769.8918 | 30.45 | 114.2
12047 | 2022-05-19 12:20 | 56.3417 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.5254 | μmol/L | 18.2054 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.701 | 93906.5451 | 298762.7816 | 30.45 | 114.2
12057 | 2022-05-19 12:21 | 56.6745 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.5254 | μmol/L | 18.2054 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.701 | 93907.1536 | 298736.5112 | 30.45 | 114.2
12067 | 2022-05-19 12:21 | 57.0083 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 251.2499 | μmol/L | 18.2054 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.714 | 93959.2617 | 298731.0605 | 30.45 | 114.2
12077 | 2022-05-19 12:21 | 57.3419 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.9423 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.724 | 94000.471 | 298719.3775 | 30.45 | 114.2
12087 | 2022-05-19 12:22 | 57.6746 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.9057 | μmol/L | 18.2116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.728 | 94016.5538 | 298726.0021 | 30.45 | 114.2
12097 | 2022-05-19 12:22 | 58.0084 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 250.8211 | μmol/L | 18.2116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.732 | 94061.8235 | 298710.7677 | 30.45 | 114.2