## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8536 | 2022-05-19 10:07 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.6197 | μmol/L | 17.6114 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.869 | 112202.9933 | 268947.0799 | 36.4 | 83.1
8546 | 2022-05-19 10:07 | 0.33863 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.8277 | μmol/L | 17.5991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.866 | 112149.9719 | 268957.5467 | 36.4 | 83.1
8556 | 2022-05-19 10:08 | 0.67188 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.557 | μmol/L | 17.6175 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.869 | 112148.4198 | 268934.5997 | 36.4 | 83.1
8566 | 2022-05-19 10:08 | 1.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.5295 | μmol/L | 17.6175 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.87 | 112151.9585 | 268944.3069 | 36.4 | 83.1
8576 | 2022-05-19 10:08 | 1.3393 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.4119 | μmol/L | 17.6236 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.872 | 112159.9389 | 268943.5472 | 36.4 | 83.1
8586 | 2022-05-19 10:09 | 1.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.5216 | μmol/L | 17.6236 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.868 | 112161.4519 | 268939.9181 | 36.4 | 83.1
8596 | 2022-05-19 10:09 | 2.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.4863 | μmol/L | 17.6298 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.867 | 112122.233 | 268951.7673 | 36.4 | 83.1
8606 | 2022-05-19 10:09 | 2.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.5059 | μmol/L | 17.6359 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.864 | 112104.683 | 268959.7044 | 36.4 | 83.1
8616 | 2022-05-19 10:10 | 2.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.5334 | μmol/L | 17.6359 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.863 | 112082.9562 | 268961.3758 | 36.4 | 83.1
8626 | 2022-05-19 10:10 | 3.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.5255 | μmol/L | 17.642 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.861 | 112086.5678 | 268959.0817 | 36.4 | 83.1
8636 | 2022-05-19 10:10 | 3.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.4785 | μmol/L | 17.6359 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.865 | 112053.9158 | 268960.9487 | 36.4 | 83.1
8646 | 2022-05-19 10:11 | 3.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3256 | μmol/L | 17.6481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.866 | 112053.8135 | 268962.9073 | 36.4 | 83.1
8656 | 2022-05-19 10:11 | 4.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.4432 | μmol/L | 17.642 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.864 | 112007.8553 | 268960.2114 | 36.4 | 83.1
8666 | 2022-05-19 10:11 | 4.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3805 | μmol/L | 17.6481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.864 | 111994.5891 | 268987.7186 | 36.4 | 83.1
8676 | 2022-05-19 10:12 | 4.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2825 | μmol/L | 17.6604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.863 | 111920.1561 | 268986.6776 | 36.4 | 83.1
8686 | 2022-05-19 10:12 | 5.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.4354 | μmol/L | 17.6481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.862 | 111926.7626 | 268978.5923 | 36.4 | 83.1
8696 | 2022-05-19 10:12 | 5.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3022 | μmol/L | 17.6665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.86 | 111924.045 | 268988.9585 | 36.4 | 83.1
8706 | 2022-05-19 10:13 | 5.6727 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2747 | μmol/L | 17.6665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.861 | 111903.1872 | 268989.7577 | 36.4 | 83.1
8716 | 2022-05-19 10:13 | 6.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.357 | μmol/L | 17.6665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.858 | 111903.6193 | 268996.6975 | 36.4 | 83.1
8726 | 2022-05-19 10:13 | 6.339 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2121 | μmol/L | 17.6726 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.861 | 111890.8051 | 269024.5985 | 36.4 | 83.1
8736 | 2022-05-19 10:14 | 6.6725 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2121 | μmol/L | 17.6726 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.861 | 111873.8976 | 269032.1139 | 36.4 | 83.1
8746 | 2022-05-19 10:14 | 7.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3218 | μmol/L | 17.6726 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.857 | 111850.2858 | 269033.2765 | 36.4 | 83.1
8756 | 2022-05-19 10:14 | 7.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.314 | μmol/L | 17.6787 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.855 | 111852.1463 | 269043.2012 | 36.4 | 83.1
8766 | 2022-05-19 10:15 | 7.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3062 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.853 | 111854.7381 | 269064.1645 | 36.4 | 83.1
8776 | 2022-05-19 10:15 | 8.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3611 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.851 | 111848.0179 | 269063.747 | 36.4 | 83.1
8786 | 2022-05-19 10:15 | 8.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3062 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.853 | 111810.0419 | 269069.4983 | 36.4 | 83.1
8796 | 2022-05-19 10:16 | 8.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2161 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.854 | 111796.4836 | 269085.5271 | 36.4 | 83.1
8806 | 2022-05-19 10:16 | 9.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1809 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.853 | 111791.3377 | 269080.9914 | 36.4 | 83.1
8816 | 2022-05-19 10:16 | 9.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1965 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.857 | 111792.6246 | 269097.1824 | 36.4 | 83.1
8826 | 2022-05-19 10:17 | 9.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1809 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.853 | 111774.2647 | 269091.6087 | 36.4 | 83.1
8836 | 2022-05-19 10:17 | 10.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2358 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.851 | 111750.527 | 269095.5937 | 36.4 | 83.1
8846 | 2022-05-19 10:17 | 10.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2907 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.849 | 111714.1969 | 269105.7568 | 36.4 | 83.1
8856 | 2022-05-19 10:18 | 10.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2125 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.845 | 111702.6357 | 269115.9143 | 36.4 | 83.1
8866 | 2022-05-19 10:18 | 11.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.3652 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111688.1832 | 269110.55 | 36.4 | 83.1
8876 | 2022-05-19 10:18 | 11.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1577 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.847 | 111669.7153 | 269130.9857 | 36.4 | 83.1
8886 | 2022-05-19 10:19 | 11.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1577 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.847 | 111639.8928 | 269137.782 | 36.4 | 83.1
8896 | 2022-05-19 10:19 | 12.0055 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1851 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111623.2961 | 269133.2793 | 36.4 | 83.1
8906 | 2022-05-19 10:19 | 12.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.342 | μmol/L | 17.7216 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.838 | 111591.5293 | 269145.511 | 36.4 | 83.1
8916 | 2022-05-19 10:20 | 12.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2674 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111475.9612 | 269138.8826 | 36.4 | 83.1
8926 | 2022-05-19 10:20 | 13.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2949 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111454.7339 | 269157.1192 | 36.4 | 83.1
8936 | 2022-05-19 10:20 | 13.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.4047 | μmol/L | 17.7155 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.838 | 111435.1171 | 269155.8804 | 36.4 | 83.1
8946 | 2022-05-19 10:21 | 13.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2871 | μmol/L | 17.7216 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 111424.2466 | 269165.3713 | 36.4 | 83.1
8956 | 2022-05-19 10:21 | 14.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2871 | μmol/L | 17.7216 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 111427.8734 | 269180.5024 | 36.4 | 83.1
8966 | 2022-05-19 10:21 | 14.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2597 | μmol/L | 17.7216 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111427.1182 | 269188.9225 | 36.4 | 83.1
8976 | 2022-05-19 10:22 | 14.6727 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.252 | μmol/L | 17.7277 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.839 | 111444.8875 | 269193.7383 | 36.4 | 83.1
8986 | 2022-05-19 10:22 | 15.0055 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1696 | μmol/L | 17.7277 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111451.6989 | 269207.2502 | 36.4 | 83.1
8996 | 2022-05-19 10:22 | 15.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1345 | μmol/L | 17.7338 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111465.4083 | 269207.3604 | 36.4 | 83.1
9006 | 2022-05-19 10:23 | 15.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.2048 | μmol/L | 17.7216 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111431.733 | 269211.2824 | 36.4 | 83.1
9016 | 2022-05-19 10:23 | 16.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.1696 | μmol/L | 17.7277 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111433.9751 | 269214.6782 | 36.4 | 83.1
9026 | 2022-05-19 10:23 | 16.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.0874 | μmol/L | 17.7277 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.845 | 111410.9154 | 269229.5667 | 36.4 | 83.1
9036 | 2022-05-19 10:24 | 16.6722 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9897 | μmol/L | 17.74 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111427.6244 | 269232.2719 | 36.4 | 83.1
9046 | 2022-05-19 10:24 | 17.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.0796 | μmol/L | 17.7338 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111415.657 | 269227.535 | 36.4 | 83.1
9056 | 2022-05-19 10:24 | 17.339 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.0993 | μmol/L | 17.74 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 111388.0999 | 269245.2544 | 36.4 | 83.1
9066 | 2022-05-19 10:25 | 17.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9974 | μmol/L | 17.7338 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111362.1307 | 269261.9562 | 36.4 | 83.1
9076 | 2022-05-19 10:25 | 18.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9622 | μmol/L | 17.74 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.845 | 111342.171 | 269280.2026 | 36.4 | 83.1
9086 | 2022-05-19 10:25 | 18.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9545 | μmol/L | 17.7461 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111406.9399 | 269290.4962 | 36.4 | 83.1
9096 | 2022-05-19 10:26 | 18.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.0445 | μmol/L | 17.74 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111433.3112 | 269289.4519 | 36.4 | 83.1
9106 | 2022-05-19 10:26 | 19.0059 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9074 | μmol/L | 17.74 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.847 | 111434.6587 | 269293.1751 | 36.4 | 83.1
9116 | 2022-05-19 10:26 | 19.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9348 | μmol/L | 17.74 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111429.0207 | 269303.6289 | 36.4 | 83.1
9126 | 2022-05-19 10:27 | 19.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.982 | μmol/L | 17.7461 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111422.5031 | 269315.0695 | 36.4 | 83.1
9136 | 2022-05-19 10:27 | 20.0059 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.0368 | μmol/L | 17.7461 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 111418.8669 | 269310.619 | 36.4 | 83.1
9146 | 2022-05-19 10:27 | 20.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.982 | μmol/L | 17.7461 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111395.6527 | 269333.1122 | 36.4 | 83.1
9156 | 2022-05-19 10:28 | 20.6725 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8098 | μmol/L | 17.7522 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111357.984 | 269349.3608 | 36.4 | 83.1
9166 | 2022-05-19 10:28 | 21.0059 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.892 | μmol/L | 17.7522 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111387.3552 | 269342.2549 | 36.4 | 83.1
9176 | 2022-05-19 10:28 | 21.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8295 | μmol/L | 17.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111347.5466 | 269359.318 | 36.4 | 83.1
9186 | 2022-05-19 10:29 | 21.6722 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.892 | μmol/L | 17.7522 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111357.3027 | 269361.2912 | 36.4 | 83.1
9196 | 2022-05-19 10:29 | 22.0057 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 319.0094 | μmol/L | 17.7461 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111352.635 | 269357.9816 | 36.4 | 83.1
9206 | 2022-05-19 10:29 | 22.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8843 | μmol/L | 17.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111365.1901 | 269386.2904 | 36.4 | 83.1
9216 | 2022-05-19 10:30 | 22.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8843 | μmol/L | 17.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111369.555 | 269397.1738 | 36.4 | 83.1
9226 | 2022-05-19 10:30 | 23.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7199 | μmol/L | 17.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.847 | 111389.438 | 269408.5759 | 36.4 | 83.1
9236 | 2022-05-19 10:30 | 23.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8372 | μmol/L | 17.7522 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.845 | 111406.9561 | 269402.8409 | 36.4 | 83.1
9246 | 2022-05-19 10:31 | 23.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6925 | μmol/L | 17.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.848 | 111392.4149 | 269409.1075 | 36.4 | 83.1
9256 | 2022-05-19 10:31 | 24.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8021 | μmol/L | 17.7583 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111392.0746 | 269410.3604 | 36.4 | 83.1
9266 | 2022-05-19 10:31 | 24.3394 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6301 | μmol/L | 17.7645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.848 | 111374.1772 | 269406.8436 | 36.4 | 83.1
9276 | 2022-05-19 10:32 | 24.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7396 | μmol/L | 17.7645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111366.7146 | 269410.7707 | 36.4 | 83.1
9286 | 2022-05-19 10:32 | 25.0055 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7944 | μmol/L | 17.7645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111334.5305 | 269439.7172 | 36.4 | 83.1
9296 | 2022-05-19 10:32 | 25.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8766 | μmol/L | 17.7645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.839 | 111311.1015 | 269432.5622 | 36.4 | 83.1
9306 | 2022-05-19 10:33 | 25.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8492 | μmol/L | 17.7645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 111307.2254 | 269450.3644 | 36.4 | 83.1
9316 | 2022-05-19 10:33 | 26.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.9238 | μmol/L | 17.7706 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.835 | 111291.0166 | 269450.9288 | 36.4 | 83.1
9326 | 2022-05-19 10:33 | 26.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.8416 | μmol/L | 17.7706 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.838 | 111308.934 | 269458.4843 | 36.4 | 83.1
9336 | 2022-05-19 10:34 | 26.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7593 | μmol/L | 17.7706 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111317.1443 | 269461.9633 | 36.4 | 83.1
9346 | 2022-05-19 10:34 | 27.0058 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.732 | μmol/L | 17.7706 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111314.1405 | 269459.9865 | 36.4 | 83.1
9356 | 2022-05-19 10:34 | 27.3393 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6695 | μmol/L | 17.7767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111328.101 | 269478.1725 | 36.4 | 83.1
9366 | 2022-05-19 10:35 | 27.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.767 | μmol/L | 17.7645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111341.124 | 269479.0031 | 36.4 | 83.1
9376 | 2022-05-19 10:35 | 28.0057 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7046 | μmol/L | 17.7706 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111336.5023 | 269494.4563 | 36.4 | 83.1
9386 | 2022-05-19 10:35 | 28.3394 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6618 | μmol/L | 17.7828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 111345.5413 | 269497.2758 | 36.4 | 83.1
9396 | 2022-05-19 10:36 | 28.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6969 | μmol/L | 17.7767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111340.5289 | 269506.863 | 36.4 | 83.1
9406 | 2022-05-19 10:36 | 29.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7517 | μmol/L | 17.7767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.839 | 111357.4592 | 269498.2134 | 36.4 | 83.1
9416 | 2022-05-19 10:36 | 29.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.5173 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111369.333 | 269512.2499 | 36.4 | 83.1
9426 | 2022-05-19 10:37 | 29.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6816 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.837 | 111357.1999 | 269510.0782 | 36.4 | 83.1
9436 | 2022-05-19 10:37 | 30.0055 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.5797 | μmol/L | 17.7828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111369.2009 | 269528.5795 | 36.4 | 83.1
9446 | 2022-05-19 10:37 | 30.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6542 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.838 | 111372.2213 | 269524.0969 | 36.4 | 83.1
9456 | 2022-05-19 10:38 | 30.6725 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.7166 | μmol/L | 17.7828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.838 | 111392.5561 | 269530.9769 | 36.4 | 83.1
9466 | 2022-05-19 10:38 | 31.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.744 | μmol/L | 17.7828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.837 | 111399.934 | 269541.5803 | 36.4 | 83.1
9476 | 2022-05-19 10:38 | 31.3394 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6268 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.839 | 111406.5248 | 269536.3526 | 36.4 | 83.1
9486 | 2022-05-19 10:39 | 31.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6268 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.839 | 111405.4789 | 269536.5778 | 36.4 | 83.1
9496 | 2022-05-19 10:39 | 32.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.6542 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.838 | 111416.6871 | 269539.7375 | 36.4 | 83.1
9506 | 2022-05-19 10:39 | 32.339 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.4899 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111419.7378 | 269555.3464 | 36.4 | 83.1
9516 | 2022-05-19 10:40 | 32.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.572 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 111438.0724 | 269560.0285 | 36.4 | 83.1
9526 | 2022-05-19 10:40 | 33.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.5446 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.842 | 111412.4186 | 269564.2815 | 36.4 | 83.1
9536 | 2022-05-19 10:40 | 33.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.5173 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111406.0742 | 269567.0552 | 36.4 | 83.1
9546 | 2022-05-19 10:41 | 33.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.4351 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111402.9071 | 269571.0684 | 36.4 | 83.1
9556 | 2022-05-19 10:41 | 34.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.4549 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111420.6249 | 269573.5497 | 36.4 | 83.1
9566 | 2022-05-19 10:41 | 34.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.3728 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111414.1096 | 269566.9536 | 36.4 | 83.1
9576 | 2022-05-19 10:42 | 34.6727 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.3728 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111424.1469 | 269570.4733 | 36.4 | 83.1
9586 | 2022-05-19 10:42 | 35.0055 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.3651 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111427.3913 | 269582.7079 | 36.4 | 83.1
9596 | 2022-05-19 10:42 | 35.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.3728 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111431.6813 | 269583.9928 | 36.4 | 83.1
9606 | 2022-05-19 10:43 | 35.6727 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.318 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.848 | 111426.9001 | 269583.4546 | 36.4 | 83.1
9616 | 2022-05-19 10:43 | 36.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.4275 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 111426.4404 | 269580.3785 | 36.4 | 83.1
9626 | 2022-05-19 10:43 | 36.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.4549 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.843 | 111416.5419 | 269592.5349 | 36.4 | 83.1
9636 | 2022-05-19 10:44 | 36.6724 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.4351 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.846 | 111415.1507 | 269586.1955 | 36.4 | 83.1
9646 | 2022-05-19 10:44 | 37.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.318 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.848 | 111420.4629 | 269583.7291 | 36.4 | 83.1
9656 | 2022-05-19 10:44 | 37.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 318.3531 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.849 | 111445.1209 | 269606.5457 | 36.4 | 83.1
9666 | 2022-05-19 10:45 | 37.6725 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.8611 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.867 | 111530.7637 | 269593.4914 | 36.4 | 83.1
9676 | 2022-05-19 10:45 | 38.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.6743 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.906 | 111762.0911 | 269597.1899 | 36.4 | 83.1
9686 | 2022-05-19 10:45 | 38.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.8791 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.97 | 112119.8 | 269588.2637 | 36.4 | 83.1
9696 | 2022-05-19 10:46 | 38.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2651 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.03 | 112460.6651 | 269593.492 | 36.4 | 83.1
9706 | 2022-05-19 10:46 | 39.0059 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0426 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.078 | 112728.5512 | 269609.2596 | 36.4 | 83.1
9716 | 2022-05-19 10:46 | 39.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.7043 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.126 | 113009.9417 | 269591.8876 | 36.4 | 83.1
9726 | 2022-05-19 10:47 | 39.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.4866 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.172 | 113257.9058 | 269598.9145 | 36.4 | 83.1
9736 | 2022-05-19 10:47 | 40.0057 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.9703 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.225 | 113547.4323 | 269609.2693 | 36.4 | 83.1
9746 | 2022-05-19 10:47 | 40.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.0272 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.261 | 113753.6007 | 269609.6241 | 36.4 | 83.1
9756 | 2022-05-19 10:48 | 40.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.4344 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.286 | 113892.6767 | 269621.0822 | 36.4 | 83.1
9766 | 2022-05-19 10:48 | 41.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.6453 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.314 | 114045.1382 | 269614.601 | 36.4 | 83.1
9776 | 2022-05-19 10:48 | 41.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.6514 | μmol/L | 17.8257 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.35 | 114226.7213 | 269600.2553 | 36.4 | 83.1
9786 | 2022-05-19 10:49 | 41.6725 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.9611 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.379 | 114389.9976 | 269620.7808 | 36.4 | 83.1
9796 | 2022-05-19 10:49 | 42.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.2392 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.407 | 114563.1001 | 269619.0141 | 36.4 | 83.1
9806 | 2022-05-19 10:49 | 42.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.2116 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.447 | 114775.8993 | 269617.182 | 36.4 | 83.1
9816 | 2022-05-19 10:50 | 42.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0432 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.495 | 115087.3452 | 269625.0061 | 36.4 | 83.1
9826 | 2022-05-19 10:50 | 43.0059 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9567 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.54 | 115335.4483 | 269610.9023 | 36.4 | 83.1
9836 | 2022-05-19 10:50 | 43.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3987 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 115485.6017 | 269615.0329 | 36.4 | 83.1
9846 | 2022-05-19 10:51 | 43.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0948 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.574 | 115524.6515 | 269617.2919 | 36.4 | 83.1
9856 | 2022-05-19 10:51 | 44.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.0615 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.573 | 115541.2728 | 269625.6272 | 36.4 | 83.1
9866 | 2022-05-19 10:51 | 44.339 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9098 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.579 | 115638.2667 | 269631.046 | 36.4 | 83.1
9876 | 2022-05-19 10:52 | 44.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7248 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.584 | 115678.6804 | 269633.7462 | 36.4 | 83.1
9886 | 2022-05-19 10:52 | 45.0058 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.657 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.589 | 115693.2248 | 269644.9726 | 36.4 | 83.1
9896 | 2022-05-19 10:52 | 45.3394 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7581 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.585 | 115671.4518 | 269642.1333 | 36.4 | 83.1
9906 | 2022-05-19 10:53 | 45.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1627 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.569 | 115576.8366 | 269638.6614 | 36.4 | 83.1
9916 | 2022-05-19 10:53 | 46.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7456 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.546 | 115451.7138 | 269643.3903 | 36.4 | 83.1
9926 | 2022-05-19 10:53 | 46.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1774 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.529 | 115338.4166 | 269634.966 | 36.4 | 83.1
9936 | 2022-05-19 10:54 | 46.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7707 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 115238.7683 | 269629.1694 | 36.4 | 83.1
9946 | 2022-05-19 10:54 | 47.0058 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1022 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.495 | 115167.3105 | 269633.5062 | 36.4 | 83.1
9956 | 2022-05-19 10:54 | 47.3393 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0097 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.494 | 115149.9135 | 269643.4465 | 36.4 | 83.1
9966 | 2022-05-19 10:55 | 47.6722 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2298 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.49 | 115129.9102 | 269637.8036 | 36.4 | 83.1
9976 | 2022-05-19 10:55 | 48.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3064 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.487 | 115128.7903 | 269650.9958 | 36.4 | 83.1
9986 | 2022-05-19 10:55 | 48.3389 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3064 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.487 | 115132.9143 | 269646.9712 | 36.4 | 83.1
9996 | 2022-05-19 10:56 | 48.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9491 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.501 | 115214.2575 | 269643.7041 | 36.4 | 83.1
10006 | 2022-05-19 10:56 | 49.0057 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.4986 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.521 | 115325.1964 | 269632.62 | 36.4 | 83.1
10016 | 2022-05-19 10:56 | 49.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8551 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.544 | 115451.698 | 269635.6544 | 36.4 | 83.1
10026 | 2022-05-19 10:57 | 49.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.4827 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 115541.3328 | 269652.9369 | 36.4 | 83.1
10036 | 2022-05-19 10:57 | 50.006 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9603 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.577 | 115610.495 | 269645.2159 | 36.4 | 83.1
10046 | 2022-05-19 10:57 | 50.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.6238 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.588 | 115698.811 | 269648.068 | 36.4 | 83.1
10056 | 2022-05-19 10:58 | 50.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.4631 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.599 | 115730.3756 | 269646.5223 | 36.4 | 83.1
10066 | 2022-05-19 10:58 | 51.0058 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.1776 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.608 | 115738.9992 | 269650.472 | 36.4 | 83.1
10076 | 2022-05-19 10:58 | 51.3392 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.1192 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.608 | 115778.0172 | 269656.2491 | 36.4 | 83.1
10086 | 2022-05-19 10:59 | 51.6726 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.9176 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.616 | 115785.1608 | 269643.0946 | 36.4 | 83.1
10096 | 2022-05-19 10:59 | 52.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7414 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.623 | 115795.7323 | 269658.4332 | 36.4 | 83.1
10106 | 2022-05-19 10:59 | 52.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5733 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.632 | 115817.9596 | 269635.7518 | 36.4 | 83.1
10116 | 2022-05-19 11:00 | 52.6722 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2467 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.645 | 115851.229 | 269654.5624 | 36.4 | 83.1
10126 | 2022-05-19 11:00 | 53.0055 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.1633 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.646 | 115886.2697 | 269647.0471 | 36.4 | 83.1
10136 | 2022-05-19 11:00 | 53.3391 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.3723 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.64 | 115858.2451 | 269643.8803 | 36.4 | 83.1
10146 | 2022-05-19 11:01 | 53.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5653 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.63 | 115802.0945 | 269646.7107 | 36.4 | 83.1
10156 | 2022-05-19 11:01 | 54.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5733 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.632 | 115789.3404 | 269647.6045 | 36.4 | 83.1
10166 | 2022-05-19 11:01 | 54.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7494 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.625 | 115770.1907 | 269635.6024 | 36.4 | 83.1
10176 | 2022-05-19 11:02 | 54.6722 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.6408 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.627 | 115765.8416 | 269647.9802 | 36.4 | 83.1
10186 | 2022-05-19 11:02 | 55.0057 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7243 | μmol/L | 17.8134 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.626 | 115759.8612 | 269645.5101 | 36.4 | 83.1
10196 | 2022-05-19 11:02 | 55.3393 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7906 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.628 | 115772.7491 | 269640.5543 | 36.4 | 83.1
10206 | 2022-05-19 11:03 | 55.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.992 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.62 | 115744.8568 | 269654.8705 | 36.4 | 83.1
10216 | 2022-05-19 11:03 | 56.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.126 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.617 | 115706.9773 | 269641.3091 | 36.4 | 83.1
10226 | 2022-05-19 11:03 | 56.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.1856 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.61 | 115662.1808 | 269642.7204 | 36.4 | 83.1
10236 | 2022-05-19 11:04 | 56.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0172 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.619 | 115699.9053 | 269643.5661 | 36.4 | 83.1
10246 | 2022-05-19 11:04 | 57.0056 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7071 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.629 | 115763.4103 | 269642.2522 | 36.4 | 83.1
10256 | 2022-05-19 11:04 | 57.339 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.3894 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.637 | 115816.8351 | 269652.2002 | 36.4 | 83.1
10266 | 2022-05-19 11:05 | 57.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.314 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.64 | 115829.4572 | 269634.352 | 36.4 | 83.1
10276 | 2022-05-19 11:05 | 58.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.0037 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.657 | 115937.796 | 269633.0164 | 36.4 | 83.1
10286 | 2022-05-19 11:05 | 58.3388 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.9777 | μmol/L | 17.7889 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.665 | 115991.1853 | 269633.9668 | 36.4 | 83.1
10296 | 2022-05-19 11:06 | 58.6723 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.8192 | μmol/L | 17.7951 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.669 | 116015.5623 | 269628.0328 | 36.4 | 83.1
10306 | 2022-05-19 11:06 | 59.0059 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4355 | μmol/L | 17.8012 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.682 | 116122.0343 | 269626.4043 | 36.4 | 83.1
10316 | 2022-05-19 11:06 | 59.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.9364 | μmol/L | 17.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.695 | 116177.4686 | 269638.0186 | 36.4 | 83.1
10326 | 2022-05-19 11:07 | 59.6722 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4525 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.679 | 116063.5344 | 269620.1111 | 36.4 | 83.1
10336 | 2022-05-19 11:07 | 60.0057 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6027 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.673 | 116031.5298 | 269624.7639 | 36.4 | 83.1
10346 | 2022-05-19 11:07 | 60.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.753 | μmol/L | 17.8073 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.667 | 116004.1981 | 269625.4939 | 36.4 | 83.1