## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8540 | 2022-05-19 10:07 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1427 | μmol/L | 17.6148 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.582 | 108932.4255 | 270168.6605 | 26.25 | 74
8550 | 2022-05-19 10:08 | 0.32881 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0876 | μmol/L | 17.6208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.582 | 108844.7226 | 270177.8182 | 26.25 | 74
8560 | 2022-05-19 10:08 | 0.66235 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0509 | μmol/L | 17.633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.579 | 108802.8486 | 270166.7193 | 26.25 | 74
8570 | 2022-05-19 10:08 | 0.99565 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1242 | μmol/L | 17.633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.576 | 108783.5576 | 270164.0297 | 26.25 | 74
8580 | 2022-05-19 10:09 | 1.3292 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0936 | μmol/L | 17.6391 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.575 | 108782.7747 | 270165.9983 | 26.25 | 74
8590 | 2022-05-19 10:09 | 1.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0631 | μmol/L | 17.6452 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.574 | 108744.1474 | 270159.7205 | 26.25 | 74
8600 | 2022-05-19 10:09 | 1.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0081 | μmol/L | 17.6513 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.574 | 108744.3776 | 270150.2718 | 26.25 | 74
8610 | 2022-05-19 10:10 | 2.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1914 | μmol/L | 17.6391 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.571 | 108751.9888 | 270150.8262 | 26.25 | 74
8620 | 2022-05-19 10:10 | 2.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0875 | μmol/L | 17.6452 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.573 | 107871.865 | 270147.4793 | 26.25 | 74
8630 | 2022-05-19 10:10 | 2.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.2892 | μmol/L | 17.6391 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 107855.386 | 270158.9863 | 26.25 | 74
8640 | 2022-05-19 10:11 | 3.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1792 | μmol/L | 17.6513 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 107829.6824 | 270148.7195 | 26.25 | 74
8650 | 2022-05-19 10:11 | 3.6625 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0997 | μmol/L | 17.6574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.568 | 107839.0854 | 270167.091 | 26.25 | 74
8660 | 2022-05-19 10:11 | 3.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1241 | μmol/L | 17.6574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 107863.9987 | 270169.1851 | 26.25 | 74
8670 | 2022-05-19 10:12 | 4.3291 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.222 | μmol/L | 17.6574 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.563 | 107829.1671 | 270173.5712 | 26.25 | 74
8680 | 2022-05-19 10:12 | 4.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1914 | μmol/L | 17.6635 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 107812.9622 | 270182.4939 | 26.25 | 74
8690 | 2022-05-19 10:12 | 4.9955 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0936 | μmol/L | 17.6635 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.566 | 107801.8073 | 270182.4576 | 26.25 | 74
8700 | 2022-05-19 10:13 | 5.3292 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1608 | μmol/L | 17.6696 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 107783.0254 | 270179.5995 | 26.25 | 74
8710 | 2022-05-19 10:13 | 5.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1364 | μmol/L | 17.6696 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 107781.2468 | 270192.6751 | 26.25 | 74
8720 | 2022-05-19 10:13 | 5.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0814 | μmol/L | 17.6757 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 107785.6718 | 270188.4742 | 26.25 | 74
8730 | 2022-05-19 10:14 | 6.329 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1242 | μmol/L | 17.6817 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 107805.0181 | 270218.461 | 26.25 | 74
8740 | 2022-05-19 10:14 | 6.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.0753 | μmol/L | 17.6817 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 107815.3887 | 270203.0846 | 26.25 | 74
8750 | 2022-05-19 10:14 | 6.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9409 | μmol/L | 17.6939 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 107836.3947 | 270220.0153 | 26.25 | 74
8760 | 2022-05-19 10:15 | 7.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9654 | μmol/L | 17.6939 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 107862.1167 | 270230.9194 | 26.25 | 74
8770 | 2022-05-19 10:15 | 7.6627 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 287.1426 | μmol/L | 17.6878 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 107886.9192 | 270247.7506 | 26.25 | 74
8780 | 2022-05-19 10:15 | 7.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8371 | μmol/L | 17.7 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.563 | 107900.8899 | 270253.5738 | 26.25 | 74
8790 | 2022-05-19 10:16 | 8.3292 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9654 | μmol/L | 17.6939 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 107910.7493 | 270264.4548 | 26.25 | 74
8800 | 2022-05-19 10:16 | 8.6626 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9837 | μmol/L | 17.7 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 107939.3184 | 270283.8607 | 26.25 | 74
8810 | 2022-05-19 10:16 | 8.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9837 | μmol/L | 17.7 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 107955.6474 | 270279.5866 | 26.25 | 74
8820 | 2022-05-19 10:17 | 9.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9837 | μmol/L | 17.7 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 107964.6959 | 270296.9025 | 26.25 | 74
8830 | 2022-05-19 10:17 | 9.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.9044 | μmol/L | 17.7061 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 107978.2219 | 270283.4168 | 26.25 | 74
8840 | 2022-05-19 10:17 | 9.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7762 | μmol/L | 17.7122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 108015.0362 | 270303.7317 | 26.25 | 74
8850 | 2022-05-19 10:18 | 10.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.825 | μmol/L | 17.7122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 108047.2742 | 270319.7036 | 26.25 | 74
8860 | 2022-05-19 10:18 | 10.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8495 | μmol/L | 17.7122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 108075.3973 | 270309.3144 | 26.25 | 74
8870 | 2022-05-19 10:18 | 10.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7762 | μmol/L | 17.7122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 108104.9416 | 270321.637 | 26.25 | 74
8880 | 2022-05-19 10:19 | 11.3293 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6725 | μmol/L | 17.7183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.563 | 108140.2074 | 270320.1547 | 26.25 | 74
8890 | 2022-05-19 10:19 | 11.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6848 | μmol/L | 17.7305 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 108155.5262 | 270334.208 | 26.25 | 74
8900 | 2022-05-19 10:19 | 11.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7152 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 108145.7881 | 270339.2463 | 26.25 | 74
8910 | 2022-05-19 10:20 | 12.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6299 | μmol/L | 17.7366 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 108151.1742 | 270347.0781 | 26.25 | 74
8920 | 2022-05-19 10:20 | 12.6622 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7152 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 108138.9225 | 270349.8677 | 26.25 | 74
8930 | 2022-05-19 10:20 | 12.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6908 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 108079.4001 | 270364.029 | 26.25 | 74
8940 | 2022-05-19 10:21 | 13.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7152 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 108101.0918 | 270371.1751 | 26.25 | 74
8950 | 2022-05-19 10:21 | 13.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6908 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 108089.9358 | 270377.5936 | 26.25 | 74
8960 | 2022-05-19 10:21 | 13.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8374 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.554 | 108081.0572 | 270394.611 | 26.25 | 74
8970 | 2022-05-19 10:22 | 14.329 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.758 | μmol/L | 17.7305 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 108080.6697 | 270381.1213 | 26.25 | 74
8980 | 2022-05-19 10:22 | 14.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7152 | μmol/L | 17.7244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 108085.8788 | 270393.1769 | 26.25 | 74
8990 | 2022-05-19 10:22 | 14.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.758 | μmol/L | 17.7305 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 108042.7498 | 270410.6086 | 26.25 | 74
9000 | 2022-05-19 10:23 | 15.329 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.758 | μmol/L | 17.7305 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 108058.217 | 270413.3947 | 26.25 | 74
9010 | 2022-05-19 10:23 | 15.6626 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7825 | μmol/L | 17.7305 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.554 | 108070.3582 | 270429.6668 | 26.25 | 74
9020 | 2022-05-19 10:23 | 15.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7704 | μmol/L | 17.7427 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.55 | 108028.6343 | 270434.3105 | 26.25 | 74
9030 | 2022-05-19 10:24 | 16.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.746 | μmol/L | 17.7427 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.551 | 108068.1608 | 270452.8687 | 26.25 | 74
9040 | 2022-05-19 10:24 | 16.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8009 | μmol/L | 17.7366 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.551 | 108070.1964 | 270449.2569 | 26.25 | 74
9050 | 2022-05-19 10:24 | 16.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.752 | μmol/L | 17.7366 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.553 | 108085.9914 | 270466.8341 | 26.25 | 74
9060 | 2022-05-19 10:25 | 17.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6911 | μmol/L | 17.7487 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.551 | 108076.2337 | 270465.6969 | 26.25 | 74
9070 | 2022-05-19 10:25 | 17.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8193 | μmol/L | 17.7427 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.548 | 108109.925 | 270479.7271 | 26.25 | 74
9080 | 2022-05-19 10:25 | 17.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8621 | μmol/L | 17.7487 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.544 | 108135.6124 | 270483.3071 | 26.25 | 74
9090 | 2022-05-19 10:26 | 18.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6851 | μmol/L | 17.7548 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.549 | 108124.6413 | 270494.5659 | 26.25 | 74
9100 | 2022-05-19 10:26 | 18.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8317 | μmol/L | 17.7548 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.543 | 108153.1957 | 270525.1606 | 26.25 | 74
9110 | 2022-05-19 10:26 | 18.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6363 | μmol/L | 17.7548 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.551 | 108178.1063 | 270524.2347 | 26.25 | 74
9120 | 2022-05-19 10:27 | 19.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7584 | μmol/L | 17.7548 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.546 | 108172.352 | 270537.9174 | 26.25 | 74
9130 | 2022-05-19 10:27 | 19.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6671 | μmol/L | 17.7731 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.543 | 108178.2629 | 270536.7651 | 26.25 | 74
9140 | 2022-05-19 10:27 | 19.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7156 | μmol/L | 17.7487 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.55 | 108185.5593 | 270551.1351 | 26.25 | 74
9150 | 2022-05-19 10:28 | 20.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8377 | μmol/L | 17.7487 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.545 | 108186.6483 | 270583.5001 | 26.25 | 74
9160 | 2022-05-19 10:28 | 20.6622 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.7035 | μmol/L | 17.7609 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.546 | 108189.7985 | 270575.2357 | 26.25 | 74
9170 | 2022-05-19 10:28 | 20.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.6303 | μmol/L | 17.7609 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.549 | 108208.7121 | 270584.8916 | 26.25 | 74
9180 | 2022-05-19 10:29 | 21.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.8197 | μmol/L | 17.767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.539 | 108213.0472 | 270605.6538 | 26.25 | 74
9190 | 2022-05-19 10:29 | 21.6625 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.5391 | μmol/L | 17.7792 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.546 | 108237.8136 | 270611.5556 | 26.25 | 74
9200 | 2022-05-19 10:29 | 21.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4843 | μmol/L | 17.7853 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.546 | 108244.0424 | 270613.9485 | 26.25 | 74
9210 | 2022-05-19 10:30 | 22.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.4355 | μmol/L | 17.7853 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.548 | 108287.4361 | 270621.1543 | 26.25 | 74
9220 | 2022-05-19 10:30 | 22.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 286.2404 | μmol/L | 17.7853 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.556 | 108363.3299 | 270631.5566 | 26.25 | 74
9230 | 2022-05-19 10:30 | 22.9957 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 285.4859 | μmol/L | 17.7853 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.587 | 108510.9834 | 270651.1444 | 26.25 | 74
9240 | 2022-05-19 10:31 | 23.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 284.3347 | μmol/L | 17.7975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.63 | 108780.2966 | 270652.5836 | 26.25 | 74
9250 | 2022-05-19 10:31 | 23.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 283.2974 | μmol/L | 17.7975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.673 | 109039.9516 | 270651.3984 | 26.25 | 74
9260 | 2022-05-19 10:31 | 23.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.5772 | μmol/L | 17.7914 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.747 | 109421.1123 | 270661.1438 | 26.25 | 74
9270 | 2022-05-19 10:32 | 24.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.1477 | μmol/L | 17.7914 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.765 | 109566.4587 | 270677.5497 | 26.25 | 74
9280 | 2022-05-19 10:32 | 24.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.7129 | μmol/L | 17.7975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.781 | 109718.2115 | 270702.7727 | 26.25 | 74
9290 | 2022-05-19 10:32 | 24.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.5403 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.786 | 109764.5006 | 270698.6084 | 26.25 | 74
9300 | 2022-05-19 10:33 | 25.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.5165 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.787 | 109776.164 | 270693.7197 | 26.25 | 74
9310 | 2022-05-19 10:33 | 25.6626 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.6592 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.781 | 109744.7577 | 270716.4304 | 26.25 | 74
9320 | 2022-05-19 10:33 | 25.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.184 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.801 | 109847.6916 | 270705.4164 | 26.25 | 74
9330 | 2022-05-19 10:34 | 26.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.6799 | μmol/L | 17.8096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.82 | 109982.5339 | 270732.4796 | 26.25 | 74
9340 | 2022-05-19 10:34 | 26.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4966 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 110049.7194 | 270735.3351 | 26.25 | 74
9350 | 2022-05-19 10:34 | 26.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.3485 | μmol/L | 17.8096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 110058.4052 | 270726.57 | 26.25 | 74
9360 | 2022-05-19 10:35 | 27.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.2478 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.836 | 110109.8478 | 270746.7345 | 26.25 | 74
9370 | 2022-05-19 10:35 | 27.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.1655 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.844 | 110155.1647 | 270756.1037 | 26.25 | 74
9380 | 2022-05-19 10:35 | 27.9957 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8463 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.853 | 110206.8557 | 270757.6021 | 26.25 | 74
9390 | 2022-05-19 10:36 | 28.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.4219 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.871 | 110321.7345 | 270769.6251 | 26.25 | 74
9400 | 2022-05-19 10:36 | 28.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2161 | μmol/L | 17.8096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.882 | 110414.8352 | 270771.1073 | 26.25 | 74
9410 | 2022-05-19 10:36 | 28.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2396 | μmol/L | 17.8096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.881 | 110445.8609 | 270776.082 | 26.25 | 74
9420 | 2022-05-19 10:37 | 29.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1159 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.884 | 110492.3237 | 270785.9215 | 26.25 | 74
9430 | 2022-05-19 10:37 | 29.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0218 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.888 | 110515.8575 | 270784.9855 | 26.25 | 74
9440 | 2022-05-19 10:37 | 29.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.1281 | μmol/L | 17.8036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.888 | 110520.9771 | 270788.7175 | 26.25 | 74
9450 | 2022-05-19 10:38 | 30.3291 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.2754 | μmol/L | 17.7975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.884 | 110550.7561 | 270806.0663 | 26.25 | 74
9460 | 2022-05-19 10:38 | 30.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.0749 | μmol/L | 17.8096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.888 | 110584.9549 | 270811.2065 | 26.25 | 74
9470 | 2022-05-19 10:38 | 30.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.5928 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.904 | 110686.837 | 270806.9378 | 26.25 | 74
9480 | 2022-05-19 10:39 | 31.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.1942 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.921 | 110798.3404 | 270825.9417 | 26.25 | 74
9490 | 2022-05-19 10:39 | 31.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.013 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.931 | 110851.6036 | 270847.7095 | 26.25 | 74
9500 | 2022-05-19 10:39 | 31.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.8665 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.935 | 110895.5054 | 270847.6174 | 26.25 | 74
9510 | 2022-05-19 10:40 | 32.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.6856 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.945 | 110941.7025 | 270844.9242 | 26.25 | 74
9520 | 2022-05-19 10:40 | 32.6625 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.5921 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.949 | 110995.218 | 270847.9346 | 26.25 | 74
9530 | 2022-05-19 10:40 | 32.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.6154 | μmol/L | 17.8157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.948 | 111027.0071 | 270852.7664 | 26.25 | 74
9540 | 2022-05-19 10:41 | 33.3292 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3929 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.953 | 111024.675 | 270871.8633 | 26.25 | 74
9550 | 2022-05-19 10:41 | 33.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.4224 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.954 | 110997.8106 | 270878.718 | 26.25 | 74
9560 | 2022-05-19 10:41 | 33.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 276.3229 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.956 | 110851.7797 | 270881.4938 | 26.25 | 74
9570 | 2022-05-19 10:42 | 34.3291 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9499 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.972 | 110935.6805 | 270875.1144 | 26.25 | 74
9580 | 2022-05-19 10:42 | 34.6625 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.9327 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.975 | 111008.5345 | 270873.865 | 26.25 | 74
9590 | 2022-05-19 10:42 | 34.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.7636 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.98 | 111026.0975 | 270886.3295 | 26.25 | 74
9600 | 2022-05-19 10:43 | 35.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.6472 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.985 | 111064.3905 | 270895.1467 | 26.25 | 74
9610 | 2022-05-19 10:43 | 35.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.5774 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.988 | 111135.0179 | 270905.9105 | 26.25 | 74
9620 | 2022-05-19 10:43 | 35.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2923 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.998 | 111208.6615 | 270908.1633 | 26.25 | 74
9630 | 2022-05-19 10:44 | 36.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1591 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.006 | 111280.1022 | 270901.2357 | 26.25 | 74
9640 | 2022-05-19 10:44 | 36.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0199 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.012 | 111324.1666 | 270909.6512 | 26.25 | 74
9650 | 2022-05-19 10:44 | 36.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.2118 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.006 | 111304.7986 | 270927.1081 | 26.25 | 74
9660 | 2022-05-19 10:45 | 37.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0137 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.01 | 111336.8323 | 270913.531 | 26.25 | 74
9670 | 2022-05-19 10:45 | 37.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.938 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.011 | 111319.8977 | 270921.2825 | 26.25 | 74
9680 | 2022-05-19 10:45 | 37.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.0308 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.007 | 111308.537 | 270920.7765 | 26.25 | 74
9690 | 2022-05-19 10:46 | 38.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7757 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.018 | 111379.3375 | 270930.5648 | 26.25 | 74
9700 | 2022-05-19 10:46 | 38.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7123 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.023 | 111338.017 | 270925.9112 | 26.25 | 74
9710 | 2022-05-19 10:46 | 38.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3651 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.038 | 111438.7937 | 270918.974 | 26.25 | 74
9720 | 2022-05-19 10:47 | 39.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3081 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.045 | 111468.2044 | 270919.4636 | 26.25 | 74
9730 | 2022-05-19 10:47 | 39.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0538 | μmol/L | 17.8218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.056 | 111528.6541 | 270932.0471 | 26.25 | 74
9740 | 2022-05-19 10:47 | 39.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7476 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.067 | 111581.0858 | 270950.9936 | 26.25 | 74
9750 | 2022-05-19 10:48 | 40.3291 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.3956 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.08 | 111667.1391 | 270951.6582 | 26.25 | 74
9760 | 2022-05-19 10:48 | 40.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2637 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.088 | 111732.0846 | 270944.3357 | 26.25 | 74
9770 | 2022-05-19 10:48 | 40.9955 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.9187 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.103 | 111830.462 | 270944.8967 | 26.25 | 74
9780 | 2022-05-19 10:49 | 41.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.591 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.115 | 111941.6453 | 270937.77 | 26.25 | 74
9790 | 2022-05-19 10:49 | 41.6625 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.4367 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.124 | 111979.3508 | 270964.1519 | 26.25 | 74
9800 | 2022-05-19 10:49 | 41.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.1721 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.131 | 112009.7501 | 270961.6694 | 26.25 | 74
9810 | 2022-05-19 10:50 | 42.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.3096 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.125 | 112019.9587 | 270952.9119 | 26.25 | 74
9820 | 2022-05-19 10:50 | 42.6622 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2013 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.132 | 112018.8188 | 270968.1608 | 26.25 | 74
9830 | 2022-05-19 10:50 | 42.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.27 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.129 | 112024.4371 | 270974.1868 | 26.25 | 74
9840 | 2022-05-19 10:51 | 43.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2013 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.132 | 112051.122 | 270974.1858 | 26.25 | 74
9850 | 2022-05-19 10:51 | 43.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9203 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.142 | 112140.8143 | 270965.2892 | 26.25 | 74
9860 | 2022-05-19 10:51 | 43.9955 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.8455 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.143 | 112166.6528 | 270984.5487 | 26.25 | 74
9870 | 2022-05-19 10:52 | 44.3291 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.6397 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.152 | 112181.2753 | 270969.4736 | 26.25 | 74
9880 | 2022-05-19 10:52 | 44.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3595 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.162 | 112234.7047 | 270975.7246 | 26.25 | 74
9890 | 2022-05-19 10:52 | 44.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.177 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.17 | 112297.1749 | 270981.5789 | 26.25 | 74
9900 | 2022-05-19 10:53 | 45.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0174 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.177 | 112340.4126 | 270987.1235 | 26.25 | 74
9910 | 2022-05-19 10:53 | 45.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8124 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.186 | 112407.9921 | 270982.5979 | 26.25 | 74
9920 | 2022-05-19 10:53 | 45.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7049 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.193 | 112484.0343 | 270992.0466 | 26.25 | 74
9930 | 2022-05-19 10:54 | 46.3292 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.461 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.206 | 112550.035 | 270983.4805 | 26.25 | 74
9940 | 2022-05-19 10:54 | 46.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2957 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.211 | 112618.6005 | 270987.6861 | 26.25 | 74
9950 | 2022-05-19 10:54 | 46.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2503 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.213 | 112672.1275 | 271003.5545 | 26.25 | 74
9960 | 2022-05-19 10:55 | 47.3291 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1595 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.217 | 112706.3751 | 270980.9183 | 26.25 | 74
9970 | 2022-05-19 10:55 | 47.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1141 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.219 | 112733.9594 | 270989.294 | 26.25 | 74
9980 | 2022-05-19 10:55 | 47.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1039 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.224 | 112756.9066 | 270989.6145 | 26.25 | 74
9990 | 2022-05-19 10:56 | 48.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9452 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.231 | 112793.3339 | 270996.5489 | 26.25 | 74
10000 | 2022-05-19 10:56 | 48.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0195 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.23 | 112796.1248 | 270999.4081 | 26.25 | 74
10010 | 2022-05-19 10:56 | 48.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9553 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.226 | 112797.7632 | 270983.7933 | 26.25 | 74
10020 | 2022-05-19 10:57 | 49.329 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.046 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.222 | 112773.8511 | 270992.7522 | 26.25 | 74
10030 | 2022-05-19 10:57 | 49.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2792 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.214 | 112755.0354 | 270998.7631 | 26.25 | 74
10040 | 2022-05-19 10:57 | 49.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3474 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.211 | 112754.9514 | 270990.2034 | 26.25 | 74
10050 | 2022-05-19 10:58 | 50.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1884 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.218 | 112788.5377 | 270999.6426 | 26.25 | 74
10060 | 2022-05-19 10:58 | 50.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.9842 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.227 | 112811.9812 | 271009.3253 | 26.25 | 74
10070 | 2022-05-19 10:58 | 50.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.978 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.225 | 112809.5127 | 271002.9042 | 26.25 | 74
10080 | 2022-05-19 10:59 | 51.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8193 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.232 | 112851.4875 | 270999.8068 | 26.25 | 74
10090 | 2022-05-19 10:59 | 51.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8193 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.232 | 112883.899 | 271014.0815 | 26.25 | 74
10100 | 2022-05-19 10:59 | 51.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.706 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.237 | 112933.4332 | 271011.0086 | 26.25 | 74
10110 | 2022-05-19 11:00 | 52.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.5827 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.247 | 113007.3633 | 271011.9922 | 26.25 | 74
10120 | 2022-05-19 11:00 | 52.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4306 | μmol/L | 17.8279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.256 | 113049.9094 | 271001.5314 | 26.25 | 74
10130 | 2022-05-19 11:00 | 52.9955 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.2083 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.259 | 113100.4015 | 271008.8001 | 26.25 | 74
10140 | 2022-05-19 11:01 | 53.3292 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9825 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.269 | 113144.7606 | 271028.1464 | 26.25 | 74
10150 | 2022-05-19 11:01 | 53.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9599 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.27 | 113204.4703 | 271016.6408 | 26.25 | 74
10160 | 2022-05-19 11:01 | 53.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.995 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.273 | 113226.3459 | 271021.0089 | 26.25 | 74
10170 | 2022-05-19 11:02 | 54.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7857 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.28 | 113271.3162 | 271012.4412 | 26.25 | 74
10180 | 2022-05-19 11:02 | 54.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5928 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.284 | 113295.8167 | 271008.1408 | 26.25 | 74
10190 | 2022-05-19 11:02 | 54.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4288 | μmol/L | 17.8584 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.289 | 113347.9175 | 271015.5307 | 26.25 | 74
10200 | 2022-05-19 11:03 | 55.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4089 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.299 | 113408.616 | 271020.5085 | 26.25 | 74
10210 | 2022-05-19 11:03 | 55.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9402 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.313 | 113472.6385 | 271023.4242 | 26.25 | 74
10220 | 2022-05-19 11:03 | 55.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9465 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.315 | 113507.3063 | 271014.5524 | 26.25 | 74
10230 | 2022-05-19 11:04 | 56.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8405 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 113555.6867 | 271015.4659 | 26.25 | 74
10240 | 2022-05-19 11:04 | 56.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6708 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 113610.3102 | 271016.9969 | 26.25 | 74
10250 | 2022-05-19 11:04 | 56.9958 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6385 | μmol/L | 17.8401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.331 | 113629.7861 | 271020.0224 | 26.25 | 74
10260 | 2022-05-19 11:05 | 57.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.1392 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.351 | 113756.5344 | 271011.7363 | 26.25 | 74
10270 | 2022-05-19 11:05 | 57.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.6697 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.372 | 113884.3294 | 271000.6029 | 26.25 | 74
10280 | 2022-05-19 11:05 | 57.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.2584 | μmol/L | 17.834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.395 | 114022.999 | 271010.0168 | 26.25 | 74
10290 | 2022-05-19 11:06 | 58.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.9116 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.406 | 114107.4937 | 271010.9889 | 26.25 | 74
10300 | 2022-05-19 11:06 | 58.6624 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.8386 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.407 | 114105.2375 | 271018.7004 | 26.25 | 74
10310 | 2022-05-19 11:06 | 58.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7273 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.412 | 114133.7274 | 271009.456 | 26.25 | 74
10320 | 2022-05-19 11:07 | 59.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5432 | μmol/L | 17.8584 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.418 | 114167.6661 | 271012.1533 | 26.25 | 74
10330 | 2022-05-19 11:07 | 59.6623 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5717 | μmol/L | 17.8523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.419 | 114217.0802 | 271015.9326 | 26.25 | 74
10340 | 2022-05-19 11:07 | 59.9959 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4448 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.427 | 114245.2239 | 271020.4153 | 26.25 | 74
10350 | 2022-05-19 11:08 | 60.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.467 | μmol/L | 17.8462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.426 | 114270.3563 | 271017.3214 | 26.25 | 74