## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8541 | 2022-05-19 10:07 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5054 | μmol/L | 17.5968 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.38 | 103619.5866 | 269309.8343 | 32.55 | 27.7
8552 | 2022-05-19 10:08 | 0.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4499 | μmol/L | 17.6029 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.38 | 103603.3143 | 269274.1239 | 32.55 | 27.7
8561 | 2022-05-19 10:08 | 0.67211 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3883 | μmol/L | 17.6151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.378 | 103577.2778 | 269226.836 | 32.55 | 27.7
8571 | 2022-05-19 10:08 | 1.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.2586 | μmol/L | 17.6212 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.381 | 103561.8104 | 269203.2313 | 32.55 | 27.7
8581 | 2022-05-19 10:09 | 1.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3822 | μmol/L | 17.6212 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.376 | 103536.0363 | 269191.3681 | 32.55 | 27.7
8591 | 2022-05-19 10:09 | 1.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3822 | μmol/L | 17.6212 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.376 | 103518.5609 | 269167.3118 | 32.55 | 27.7
8602 | 2022-05-19 10:09 | 2.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3267 | μmol/L | 17.6273 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.376 | 103499.6214 | 269139.5315 | 32.55 | 27.7
8612 | 2022-05-19 10:10 | 2.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4009 | μmol/L | 17.6273 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.373 | 103503.4082 | 269147.8562 | 32.55 | 27.7
8622 | 2022-05-19 10:10 | 2.6718 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4257 | μmol/L | 17.6273 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.372 | 103536.2883 | 269117.9146 | 32.55 | 27.7
8631 | 2022-05-19 10:10 | 3.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4692 | μmol/L | 17.6334 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.368 | 103525.9371 | 269109.5922 | 32.55 | 27.7
8642 | 2022-05-19 10:11 | 3.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3582 | μmol/L | 17.6457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.368 | 103514.4595 | 269107.3464 | 32.55 | 27.7
8651 | 2022-05-19 10:11 | 3.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5127 | μmol/L | 17.6395 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.364 | 103508.7501 | 269109.3596 | 32.55 | 27.7
8661 | 2022-05-19 10:11 | 4.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4819 | μmol/L | 17.6457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.363 | 103507.6676 | 269100.5281 | 32.55 | 27.7
8671 | 2022-05-19 10:12 | 4.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.5067 | μmol/L | 17.6457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.362 | 103492.9824 | 269097.926 | 32.55 | 27.7
8681 | 2022-05-19 10:12 | 4.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3957 | μmol/L | 17.6579 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.362 | 103486.7847 | 269104.6046 | 32.55 | 27.7
8692 | 2022-05-19 10:12 | 5.0052 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4512 | μmol/L | 17.6518 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.362 | 103487.3795 | 269086.048 | 32.55 | 27.7
8702 | 2022-05-19 10:13 | 5.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3649 | μmol/L | 17.664 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.361 | 103478.709 | 269094.0514 | 32.55 | 27.7
8711 | 2022-05-19 10:13 | 5.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3094 | μmol/L | 17.6701 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.361 | 103478.358 | 269089.6683 | 32.55 | 27.7
8721 | 2022-05-19 10:13 | 6.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4144 | μmol/L | 17.664 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.359 | 103477.4811 | 269101.7026 | 32.55 | 27.7
8732 | 2022-05-19 10:14 | 6.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.353 | μmol/L | 17.6762 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.357 | 103476.2425 | 269076.3276 | 32.55 | 27.7
8741 | 2022-05-19 10:14 | 6.6721 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.4272 | μmol/L | 17.6762 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.354 | 103495.0127 | 269086.3843 | 32.55 | 27.7
8752 | 2022-05-19 10:14 | 7.0052 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.3035 | μmol/L | 17.6762 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.359 | 103529.9395 | 269092.9103 | 32.55 | 27.7
8762 | 2022-05-19 10:15 | 7.339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 289.1243 | μmol/L | 17.6823 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.364 | 103556.4474 | 269092.3085 | 32.55 | 27.7
8772 | 2022-05-19 10:15 | 7.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.9948 | μmol/L | 17.6885 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.367 | 103572.4088 | 269081.0035 | 32.55 | 27.7
8782 | 2022-05-19 10:15 | 8.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.8959 | μmol/L | 17.6885 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.371 | 103588.4244 | 269097.7042 | 32.55 | 27.7
8792 | 2022-05-19 10:16 | 8.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.7912 | μmol/L | 17.6946 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.373 | 103609.5908 | 269103.7624 | 32.55 | 27.7
8802 | 2022-05-19 10:16 | 8.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.6924 | μmol/L | 17.6946 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.377 | 103638.3767 | 269083.7086 | 32.55 | 27.7
8811 | 2022-05-19 10:16 | 9.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.4891 | μmol/L | 17.7007 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.383 | 103676.8728 | 269086.4173 | 32.55 | 27.7
8822 | 2022-05-19 10:17 | 9.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.3718 | μmol/L | 17.6946 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.39 | 103704.1839 | 269093.8994 | 32.55 | 27.7
8831 | 2022-05-19 10:17 | 9.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 288.4084 | μmol/L | 17.6823 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.393 | 103758.1018 | 269089.5852 | 32.55 | 27.7
8842 | 2022-05-19 10:17 | 10.0056 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.9658 | μmol/L | 17.7068 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.402 | 103803.2774 | 269081.4044 | 32.55 | 27.7
8851 | 2022-05-19 10:18 | 10.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.6096 | μmol/L | 17.719 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.412 | 103867.161 | 269088.8955 | 32.55 | 27.7
8861 | 2022-05-19 10:18 | 10.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 287.2413 | μmol/L | 17.719 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.427 | 103932.4131 | 269099.299 | 32.55 | 27.7
8871 | 2022-05-19 10:18 | 11.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.9961 | μmol/L | 17.719 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.437 | 103991.6635 | 269099.0053 | 32.55 | 27.7
8882 | 2022-05-19 10:19 | 11.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.5983 | μmol/L | 17.7251 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.451 | 104070.5237 | 269091.536 | 32.55 | 27.7
8892 | 2022-05-19 10:19 | 11.6721 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.2013 | μmol/L | 17.7313 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 104157.5999 | 269093.1475 | 32.55 | 27.7
8902 | 2022-05-19 10:19 | 12.0052 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8472 | μmol/L | 17.719 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.484 | 104265.649 | 269107.4155 | 32.55 | 27.7
8912 | 2022-05-19 10:20 | 12.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4757 | μmol/L | 17.7251 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.497 | 104354.2864 | 269095.5548 | 32.55 | 27.7
8921 | 2022-05-19 10:20 | 12.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9531 | μmol/L | 17.7374 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 104419.4593 | 269082.2632 | 32.55 | 27.7
8932 | 2022-05-19 10:20 | 13.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8862 | μmol/L | 17.7313 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.519 | 104458.0976 | 269095.384 | 32.55 | 27.7
8942 | 2022-05-19 10:21 | 13.3388 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9348 | μmol/L | 17.7313 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.517 | 104470.028 | 269111.3997 | 32.55 | 27.7
8951 | 2022-05-19 10:21 | 13.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0562 | μmol/L | 17.7313 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 104448.2351 | 269108.8932 | 32.55 | 27.7
8961 | 2022-05-19 10:21 | 14.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1292 | μmol/L | 17.7313 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.509 | 104424.9978 | 269113.1834 | 32.55 | 27.7
8972 | 2022-05-19 10:22 | 14.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0259 | μmol/L | 17.7374 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 104463.6745 | 269118.1114 | 32.55 | 27.7
8982 | 2022-05-19 10:22 | 14.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.577 | μmol/L | 17.7496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.525 | 104515.1115 | 269119.0665 | 32.55 | 27.7
8991 | 2022-05-19 10:22 | 15.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4435 | μmol/L | 17.7374 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.535 | 104585.7554 | 269105.4479 | 32.55 | 27.7
9002 | 2022-05-19 10:23 | 15.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5405 | μmol/L | 17.7374 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.531 | 104564.561 | 269120.1716 | 32.55 | 27.7
9012 | 2022-05-19 10:23 | 15.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8014 | μmol/L | 17.7435 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.518 | 104488.7796 | 269112.4376 | 32.55 | 27.7
9021 | 2022-05-19 10:23 | 16.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0685 | μmol/L | 17.7435 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 104424.7966 | 269113.5224 | 32.55 | 27.7
9031 | 2022-05-19 10:24 | 16.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.2814 | μmol/L | 17.7496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.496 | 104384.7939 | 269116.6519 | 32.55 | 27.7
9041 | 2022-05-19 10:24 | 16.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4518 | μmol/L | 17.7496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.489 | 104355.4652 | 269121.4911 | 32.55 | 27.7
9051 | 2022-05-19 10:24 | 17.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.5432 | μmol/L | 17.7557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.483 | 104322.1339 | 269123.2238 | 32.55 | 27.7
9062 | 2022-05-19 10:25 | 17.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.8904 | μmol/L | 17.7496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 104277.6639 | 269137.6839 | 32.55 | 27.7
9072 | 2022-05-19 10:25 | 17.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.1345 | μmol/L | 17.7496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.461 | 104228.2673 | 269139.2688 | 32.55 | 27.7
9082 | 2022-05-19 10:25 | 18.0052 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.4826 | μmol/L | 17.7435 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.449 | 104188.2547 | 269137.2532 | 32.55 | 27.7
9091 | 2022-05-19 10:26 | 18.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.593 | μmol/L | 17.7557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.44 | 104147.0463 | 269151.4753 | 32.55 | 27.7
9102 | 2022-05-19 10:26 | 18.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.7458 | μmol/L | 17.7496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.436 | 104120.1004 | 269144.4911 | 32.55 | 27.7
9112 | 2022-05-19 10:26 | 19.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.7095 | μmol/L | 17.7618 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.433 | 104113.0667 | 269157.6432 | 32.55 | 27.7
9122 | 2022-05-19 10:27 | 19.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.5626 | μmol/L | 17.7618 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.439 | 104149.783 | 269169.3655 | 32.55 | 27.7
9131 | 2022-05-19 10:27 | 19.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.324 | μmol/L | 17.7557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.451 | 104204.5332 | 269169.3787 | 32.55 | 27.7
9142 | 2022-05-19 10:27 | 20.0053 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 286.0678 | μmol/L | 17.7679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 104255.9798 | 269164.2308 | 32.55 | 27.7
9152 | 2022-05-19 10:28 | 20.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.9761 | μmol/L | 17.7618 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 104303.306 | 269164.2026 | 32.55 | 27.7
9162 | 2022-05-19 10:28 | 20.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.7566 | μmol/L | 17.7618 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.472 | 104361.7371 | 269186.5207 | 32.55 | 27.7
9172 | 2022-05-19 10:28 | 21.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.4523 | μmol/L | 17.774 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.48 | 104406.342 | 269188.3202 | 32.55 | 27.7
9182 | 2022-05-19 10:29 | 21.3388 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.3003 | μmol/L | 17.7802 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.484 | 104439.1043 | 269182.293 | 32.55 | 27.7
9192 | 2022-05-19 10:29 | 21.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.2516 | μmol/L | 17.7802 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.486 | 104471.1755 | 269186.5142 | 32.55 | 27.7
9201 | 2022-05-19 10:29 | 22.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.1602 | μmol/L | 17.774 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.492 | 104504.9682 | 269199.3265 | 32.55 | 27.7
9212 | 2022-05-19 10:30 | 22.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 285.0933 | μmol/L | 17.7679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.497 | 104527.3946 | 269200.9644 | 32.55 | 27.7
9221 | 2022-05-19 10:30 | 22.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8686 | μmol/L | 17.774 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.504 | 104574.512 | 269216.4446 | 32.55 | 27.7
9232 | 2022-05-19 10:30 | 23.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7289 | μmol/L | 17.7679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 104628.2394 | 269210.0061 | 32.55 | 27.7
9241 | 2022-05-19 10:31 | 23.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5288 | μmol/L | 17.774 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.518 | 104671.1442 | 269200.6865 | 32.55 | 27.7
9252 | 2022-05-19 10:31 | 23.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3773 | μmol/L | 17.7802 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.522 | 104718.0395 | 269224.2032 | 32.55 | 27.7
9262 | 2022-05-19 10:31 | 24.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.1291 | μmol/L | 17.7863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.53 | 104741.3484 | 269220.9978 | 32.55 | 27.7
9272 | 2022-05-19 10:32 | 24.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.1049 | μmol/L | 17.7863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.531 | 104761.0366 | 269233.7348 | 32.55 | 27.7
9282 | 2022-05-19 10:32 | 24.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.9839 | μmol/L | 17.7863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.536 | 104785.4132 | 269235.6775 | 32.55 | 27.7
9291 | 2022-05-19 10:32 | 25.0053 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8812 | μmol/L | 17.7924 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.538 | 104799.69 | 269230.1779 | 32.55 | 27.7
9301 | 2022-05-19 10:33 | 25.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.9113 | μmol/L | 17.7863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.539 | 104814.5608 | 269244.1069 | 32.55 | 27.7
9311 | 2022-05-19 10:33 | 25.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8086 | μmol/L | 17.7924 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.541 | 104839.2282 | 269239.3365 | 32.55 | 27.7
9321 | 2022-05-19 10:33 | 26.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6275 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.544 | 104865.6656 | 269236.4996 | 32.55 | 27.7
9331 | 2022-05-19 10:34 | 26.3389 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5851 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.548 | 104879.699 | 269237.3179 | 32.55 | 27.7
9342 | 2022-05-19 10:34 | 26.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5851 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.548 | 104902.9788 | 269237.2938 | 32.55 | 27.7
9351 | 2022-05-19 10:34 | 27.0053 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.5851 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.548 | 104919.015 | 269240.3964 | 32.55 | 27.7
9362 | 2022-05-19 10:35 | 27.3388 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4644 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.553 | 104935.1711 | 269248.1177 | 32.55 | 27.7
9371 | 2022-05-19 10:35 | 27.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4462 | μmol/L | 17.7924 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.556 | 104936.4593 | 269246.8898 | 32.55 | 27.7
9381 | 2022-05-19 10:35 | 28.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3678 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 104948.2145 | 269243.3741 | 32.55 | 27.7
9392 | 2022-05-19 10:36 | 28.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.392 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.556 | 104967.5652 | 269243.9536 | 32.55 | 27.7
9401 | 2022-05-19 10:36 | 28.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2171 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 104973.3081 | 269251.5652 | 32.55 | 27.7
9412 | 2022-05-19 10:36 | 29.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2713 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 104995.2679 | 269270.1786 | 32.55 | 27.7
9422 | 2022-05-19 10:37 | 29.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2472 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 105008.8536 | 269268.6901 | 32.55 | 27.7
9432 | 2022-05-19 10:37 | 29.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.1388 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 105010.5315 | 269267.0147 | 32.55 | 27.7
9441 | 2022-05-19 10:37 | 30.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3437 | μmol/L | 17.7985 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 105014.4042 | 269267.7971 | 32.55 | 27.7
9451 | 2022-05-19 10:38 | 30.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2171 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 105002.9878 | 269271.984 | 32.55 | 27.7
9461 | 2022-05-19 10:38 | 30.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2171 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 105002.1022 | 269261.9837 | 32.55 | 27.7
9472 | 2022-05-19 10:38 | 31.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.2111 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 104999.8585 | 269280.6599 | 32.55 | 27.7
9482 | 2022-05-19 10:39 | 31.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3619 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 105015.79 | 269289.9908 | 32.55 | 27.7
9492 | 2022-05-19 10:39 | 31.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.3377 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.556 | 105023.0447 | 269283.9667 | 32.55 | 27.7
9502 | 2022-05-19 10:39 | 32.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.0183 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 105060.2258 | 269283.5764 | 32.55 | 27.7
9511 | 2022-05-19 10:40 | 32.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.7774 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.577 | 105110.29 | 269287.7444 | 32.55 | 27.7
9521 | 2022-05-19 10:40 | 32.6718 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.639 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.585 | 105181.6999 | 269292.1775 | 32.55 | 27.7
9531 | 2022-05-19 10:40 | 33.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.3205 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.596 | 105242.8706 | 269289.8541 | 32.55 | 27.7
9541 | 2022-05-19 10:41 | 33.3388 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1584 | μmol/L | 17.8046 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.605 | 105298.0123 | 269279.318 | 32.55 | 27.7
9552 | 2022-05-19 10:41 | 33.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.7446 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.62 | 105362.5444 | 269295.519 | 32.55 | 27.7
9562 | 2022-05-19 10:41 | 34.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.6249 | μmol/L | 17.8107 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.625 | 105426.8707 | 269295.8388 | 32.55 | 27.7
9571 | 2022-05-19 10:42 | 34.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.1344 | μmol/L | 17.823 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.641 | 105482.9818 | 269286.6499 | 32.55 | 27.7
9581 | 2022-05-19 10:42 | 34.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.997 | μmol/L | 17.8168 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.649 | 105555.231 | 269297.6681 | 32.55 | 27.7
9592 | 2022-05-19 10:42 | 35.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.7821 | μmol/L | 17.8168 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.658 | 105619.4824 | 269303.7241 | 32.55 | 27.7
9602 | 2022-05-19 10:43 | 35.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.4363 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.668 | 105680.4614 | 269288.8729 | 32.55 | 27.7
9611 | 2022-05-19 10:43 | 35.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.2102 | μmol/L | 17.8168 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.682 | 105740.4776 | 269307.2447 | 32.55 | 27.7
9621 | 2022-05-19 10:43 | 36.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9365 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.689 | 105779.5022 | 269303.1372 | 32.55 | 27.7
9632 | 2022-05-19 10:44 | 36.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8177 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.694 | 105800.6181 | 269292.934 | 32.55 | 27.7
9642 | 2022-05-19 10:44 | 36.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7226 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.698 | 105816.8165 | 269298.5186 | 32.55 | 27.7
9651 | 2022-05-19 10:44 | 37.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7939 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.695 | 105829.3556 | 269298.6539 | 32.55 | 27.7
9662 | 2022-05-19 10:45 | 37.3389 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.7701 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.696 | 105828.9055 | 269295.1794 | 32.55 | 27.7
9672 | 2022-05-19 10:45 | 37.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8652 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.692 | 105812.2858 | 269296.9673 | 32.55 | 27.7
9681 | 2022-05-19 10:45 | 38.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8652 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.692 | 105799.7787 | 269295.1218 | 32.55 | 27.7
9691 | 2022-05-19 10:46 | 38.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8056 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.69 | 105795.5871 | 269283.4604 | 32.55 | 27.7
9701 | 2022-05-19 10:46 | 38.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.8234 | μmol/L | 17.8474 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.687 | 105793.0741 | 269296.0082 | 32.55 | 27.7
9712 | 2022-05-19 10:46 | 39.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.0078 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.686 | 105791.0974 | 269292.358 | 32.55 | 27.7
9721 | 2022-05-19 10:47 | 39.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9127 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.69 | 105803.9201 | 269303.5007 | 32.55 | 27.7
9732 | 2022-05-19 10:47 | 39.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5979 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.701 | 105832.3978 | 269287.9749 | 32.55 | 27.7
9742 | 2022-05-19 10:47 | 40.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.5029 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.705 | 105871.9972 | 269300.9199 | 32.55 | 27.7
9752 | 2022-05-19 10:48 | 40.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.3606 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.711 | 105925.4076 | 269303.6089 | 32.55 | 27.7
9762 | 2022-05-19 10:48 | 40.6721 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.0823 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.725 | 105989.6312 | 269297.6666 | 32.55 | 27.7
9771 | 2022-05-19 10:48 | 41.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.9759 | μmol/L | 17.8168 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.734 | 106039.8734 | 269308.7516 | 32.55 | 27.7
9782 | 2022-05-19 10:49 | 41.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.8516 | μmol/L | 17.823 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.737 | 106077.8455 | 269306.3319 | 32.55 | 27.7
9792 | 2022-05-19 10:49 | 41.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5382 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.748 | 106127.6898 | 269313.3694 | 32.55 | 27.7
9801 | 2022-05-19 10:49 | 42.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.4909 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.75 | 106165.5218 | 269307.6978 | 32.55 | 27.7
9812 | 2022-05-19 10:50 | 42.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1369 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.765 | 106213.7876 | 269306.8707 | 32.55 | 27.7
9822 | 2022-05-19 10:50 | 42.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.0662 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.768 | 106264.4964 | 269311.1994 | 32.55 | 27.7
9832 | 2022-05-19 10:50 | 43.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.8541 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.777 | 106302.1711 | 269301.3553 | 32.55 | 27.7
9841 | 2022-05-19 10:51 | 43.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6361 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.784 | 106336.074 | 269314.9307 | 32.55 | 27.7
9852 | 2022-05-19 10:51 | 43.6722 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.5891 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.786 | 106361.1946 | 269305.9875 | 32.55 | 27.7
9861 | 2022-05-19 10:51 | 44.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4715 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.791 | 106388.1774 | 269308.6805 | 32.55 | 27.7
9872 | 2022-05-19 10:52 | 44.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3365 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.799 | 106418.8127 | 269298.1537 | 32.55 | 27.7
9881 | 2022-05-19 10:52 | 44.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.1425 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.805 | 106432.487 | 269299.5093 | 32.55 | 27.7
9892 | 2022-05-19 10:52 | 45.0053 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.1486 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.807 | 106458.2335 | 269293.8862 | 32.55 | 27.7
9902 | 2022-05-19 10:53 | 45.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0547 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.811 | 106484.9602 | 269311.3187 | 32.55 | 27.7
9911 | 2022-05-19 10:53 | 45.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.9956 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.809 | 106504.1551 | 269320.4101 | 32.55 | 27.7
9921 | 2022-05-19 10:53 | 46.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.9313 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.814 | 106512.1597 | 269315.1532 | 32.55 | 27.7
9931 | 2022-05-19 10:54 | 46.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8549 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.815 | 106520.5364 | 269321.5253 | 32.55 | 27.7
9942 | 2022-05-19 10:54 | 46.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7785 | μmol/L | 17.8474 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.816 | 106527.6615 | 269327.9286 | 32.55 | 27.7
9951 | 2022-05-19 10:54 | 47.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.808 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.817 | 106540.1122 | 269320.486 | 32.55 | 27.7
9961 | 2022-05-19 10:55 | 47.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7142 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.821 | 106538.57 | 269309.787 | 32.55 | 27.7
9972 | 2022-05-19 10:55 | 47.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7437 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.822 | 106541.7236 | 269316.2279 | 32.55 | 27.7
9982 | 2022-05-19 10:55 | 48.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.867 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.819 | 106546.1933 | 269299.2554 | 32.55 | 27.7
9991 | 2022-05-19 10:56 | 48.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7672 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.821 | 106552.0404 | 269318.7487 | 32.55 | 27.7
10001 | 2022-05-19 10:56 | 48.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7203 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.823 | 106555.3059 | 269315.6573 | 32.55 | 27.7
10012 | 2022-05-19 10:56 | 49.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7142 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.821 | 106559.7369 | 269314.3685 | 32.55 | 27.7
10022 | 2022-05-19 10:57 | 49.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6969 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.824 | 106563.8509 | 269316.8104 | 32.55 | 27.7
10032 | 2022-05-19 10:57 | 49.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.65 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.826 | 106569.7838 | 269305.4287 | 32.55 | 27.7
10041 | 2022-05-19 10:57 | 50.0053 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.591 | μmol/L | 17.8474 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.824 | 106579.9128 | 269300.7839 | 32.55 | 27.7
10051 | 2022-05-19 10:58 | 50.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.65 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.826 | 106584.1499 | 269286.0597 | 32.55 | 27.7
10061 | 2022-05-19 10:58 | 50.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5737 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.827 | 106598.3548 | 269286.6455 | 32.55 | 27.7
10071 | 2022-05-19 10:58 | 51.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5797 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 106596.5934 | 269303.0172 | 32.55 | 27.7
10081 | 2022-05-19 10:59 | 51.3386 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6266 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.827 | 106606.1942 | 269316.6443 | 32.55 | 27.7
10092 | 2022-05-19 10:59 | 51.672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5563 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106620.0753 | 269293.9104 | 32.55 | 27.7
10102 | 2022-05-19 10:59 | 52.0055 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4627 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 106606.8727 | 269291.4015 | 32.55 | 27.7
10112 | 2022-05-19 11:00 | 52.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6327 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 106609.9985 | 269296.6976 | 32.55 | 27.7
10122 | 2022-05-19 11:00 | 52.6718 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5563 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106617.8823 | 269302.4615 | 32.55 | 27.7
10132 | 2022-05-19 11:00 | 53.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5329 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 106618.1719 | 269300.9276 | 32.55 | 27.7
10141 | 2022-05-19 11:01 | 53.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5095 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.832 | 106626.6011 | 269285.8904 | 32.55 | 27.7
10151 | 2022-05-19 11:01 | 53.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.539 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.833 | 106616.9463 | 269294.8863 | 32.55 | 27.7
10161 | 2022-05-19 11:01 | 54.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5563 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106621.7646 | 269293.8878 | 32.55 | 27.7
10172 | 2022-05-19 11:02 | 54.3387 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6327 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 106621.6677 | 269289.5438 | 32.55 | 27.7
10181 | 2022-05-19 11:02 | 54.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6622 | μmol/L | 17.823 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106617.6781 | 269300.1739 | 32.55 | 27.7
10191 | 2022-05-19 11:02 | 55.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6092 | μmol/L | 17.8291 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106617.3726 | 269294.5821 | 32.55 | 27.7
10202 | 2022-05-19 11:03 | 55.3385 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5563 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106615.2592 | 269304.9797 | 32.55 | 27.7
10212 | 2022-05-19 11:03 | 55.6721 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5563 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106612.4981 | 269297.4867 | 32.55 | 27.7
10221 | 2022-05-19 11:03 | 56.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4739 | μmol/L | 17.8474 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 106613.1506 | 269285.8381 | 32.55 | 27.7
10232 | 2022-05-19 11:04 | 56.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.48 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 106617.4265 | 269298.3111 | 32.55 | 27.7
10242 | 2022-05-19 11:04 | 56.6719 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5268 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 106613.3338 | 269301.9825 | 32.55 | 27.7
10252 | 2022-05-19 11:04 | 57.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5329 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 106613.9841 | 269285.1581 | 32.55 | 27.7
10262 | 2022-05-19 11:05 | 57.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5034 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.83 | 106624.1266 | 269303.9349 | 32.55 | 27.7
10271 | 2022-05-19 11:05 | 57.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4332 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.833 | 106622.4457 | 269287.3446 | 32.55 | 27.7
10281 | 2022-05-19 11:05 | 58.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4861 | μmol/L | 17.8352 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.833 | 106610.8101 | 269273.1032 | 32.55 | 27.7
10291 | 2022-05-19 11:06 | 58.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4332 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.833 | 106615.3624 | 269285.2826 | 32.55 | 27.7
10301 | 2022-05-19 11:06 | 58.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6205 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.825 | 106611.8861 | 269284.8775 | 32.55 | 27.7
10312 | 2022-05-19 11:06 | 59.0053 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4098 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 106622.0361 | 269279.6772 | 32.55 | 27.7
10322 | 2022-05-19 11:07 | 59.3388 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.48 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 106626.6818 | 269278.3559 | 32.55 | 27.7
10331 | 2022-05-19 11:07 | 59.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.48 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.831 | 106621.7376 | 269277.2975 | 32.55 | 27.7
10342 | 2022-05-19 11:07 | 60.0054 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4098 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 106614.0276 | 269263.1978 | 32.55 | 27.7
10351 | 2022-05-19 11:08 | 60.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4098 | μmol/L | 17.8413 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.834 | 106614.0556 | 269276.5821 | 32.55 | 27.7