## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 13:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12124 | 2022-05-19 12:42 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.0727 | μmol/L | 18.8057 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.992 | 113498.7681 | 272853.702 | 33.25 | 75.7
12134 | 2022-05-19 12:43 | 0.33488 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.2543 | μmol/L | 18.7934 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.989 | 113471.4926 | 272847.868 | 33.25 | 75.7
12144 | 2022-05-19 12:43 | 0.66753 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.0327 | μmol/L | 18.7934 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.998 | 113466.9945 | 272834.847 | 33.25 | 75.7
12154 | 2022-05-19 12:43 | 1.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.008 | μmol/L | 18.7934 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.999 | 113470.9352 | 272831.0768 | 33.25 | 75.7
12164 | 2022-05-19 12:44 | 1.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.9542 | μmol/L | 18.7996 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.999 | 113460.053 | 272801.5771 | 33.25 | 75.7
12174 | 2022-05-19 12:44 | 1.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.9342 | μmol/L | 18.7934 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.002 | 113452.9035 | 272784.0232 | 33.25 | 75.7
12184 | 2022-05-19 12:44 | 2.0013 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.865 | μmol/L | 18.7873 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.007 | 113459.4714 | 272762.3824 | 33.25 | 75.7
12194 | 2022-05-19 12:45 | 2.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.865 | μmol/L | 18.7873 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.007 | 113439.7319 | 272760.1227 | 33.25 | 75.7
12204 | 2022-05-19 12:45 | 2.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8743 | μmol/L | 18.775 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.011 | 113438.1611 | 272739.2843 | 33.25 | 75.7
12214 | 2022-05-19 12:45 | 3.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.9036 | μmol/L | 18.7689 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.012 | 113437.2288 | 272713.8288 | 33.25 | 75.7
12224 | 2022-05-19 12:46 | 3.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.879 | μmol/L | 18.7689 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.013 | 113425.6082 | 272710.2644 | 33.25 | 75.7
12234 | 2022-05-19 12:46 | 3.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8344 | μmol/L | 18.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.017 | 113430.7658 | 272703.1543 | 33.25 | 75.7
12244 | 2022-05-19 12:46 | 4.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6624 | μmol/L | 18.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.024 | 113444.9662 | 272674.393 | 33.25 | 75.7
12254 | 2022-05-19 12:47 | 4.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8145 | μmol/L | 18.7566 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.02 | 113424.5443 | 272666.3027 | 33.25 | 75.7
12264 | 2022-05-19 12:47 | 4.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.7209 | μmol/L | 18.7505 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.026 | 113420.0684 | 272633.4855 | 33.25 | 75.7
12274 | 2022-05-19 12:47 | 5.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.7501 | μmol/L | 18.7444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.027 | 113416.6902 | 272625.2877 | 33.25 | 75.7
12284 | 2022-05-19 12:48 | 5.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6027 | μmol/L | 18.7444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.033 | 113421.9733 | 272604.4321 | 33.25 | 75.7
12294 | 2022-05-19 12:48 | 5.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.5536 | μmol/L | 18.7444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.035 | 113417.4222 | 272590.7349 | 33.25 | 75.7
12304 | 2022-05-19 12:48 | 6.0009 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.632 | μmol/L | 18.7382 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.034 | 113404.4148 | 272591.0955 | 33.25 | 75.7
12314 | 2022-05-19 12:49 | 6.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6027 | μmol/L | 18.7444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.033 | 113409.8876 | 272570.9188 | 33.25 | 75.7
12324 | 2022-05-19 12:49 | 6.6676 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6414 | μmol/L | 18.726 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.038 | 113395.2704 | 272560.0165 | 33.25 | 75.7
12334 | 2022-05-19 12:49 | 7.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6121 | μmol/L | 18.7321 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.037 | 113377.6649 | 272540.5727 | 33.25 | 75.7
12344 | 2022-05-19 12:50 | 7.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.4403 | μmol/L | 18.7321 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.044 | 113362.5102 | 272528.3576 | 33.25 | 75.7
12354 | 2022-05-19 12:50 | 7.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.4988 | μmol/L | 18.7198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.046 | 113392.9287 | 272506.0465 | 33.25 | 75.7
12364 | 2022-05-19 12:50 | 8.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3125 | μmol/L | 18.6217 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.048 | 113373.9733 | 272499.453 | 33.25 | 75.7
12374 | 2022-05-19 12:51 | 8.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.479 | μmol/L | 18.7137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.049 | 113384.0521 | 272476.7558 | 33.25 | 75.7
12384 | 2022-05-19 12:51 | 8.6676 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3025 | μmol/L | 18.7198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.054 | 113397.3107 | 272469.9787 | 33.25 | 75.7
12394 | 2022-05-19 12:51 | 9.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3365 | μmol/L | 18.7076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.057 | 113387.1756 | 272450.7548 | 33.25 | 75.7
12404 | 2022-05-19 12:52 | 9.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.4687 | μmol/L | 18.6953 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.056 | 113390.6643 | 272441.9063 | 33.25 | 75.7
12414 | 2022-05-19 12:52 | 9.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.2629 | μmol/L | 18.7076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.06 | 113377.3807 | 272421.1453 | 33.25 | 75.7
12424 | 2022-05-19 12:52 | 10.0009 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.4501 | μmol/L | 18.6953 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.057 | 113367.6719 | 272410.0187 | 33.25 | 75.7
12434 | 2022-05-19 12:53 | 10.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3416 | μmol/L | 18.5849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.06 | 113371.6028 | 272401.7323 | 33.25 | 75.7
12444 | 2022-05-19 12:53 | 10.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.7488 | μmol/L | 18.6585 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.058 | 113371.2523 | 272385.3321 | 33.25 | 75.7
12454 | 2022-05-19 12:53 | 11.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9313 | μmol/L | 18.6646 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.171 | 113935.5607 | 272375.4779 | 33.25 | 75.7
12464 | 2022-05-19 12:54 | 11.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.7233 | μmol/L | 18.6401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.23 | 114337.3112 | 272355.9636 | 33.25 | 75.7
12474 | 2022-05-19 12:54 | 11.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.8238 | μmol/L | 18.6279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.23 | 114291.6209 | 272350.1639 | 33.25 | 75.7
12484 | 2022-05-19 12:54 | 12.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.4921 | μmol/L | 18.6279 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.244 | 114396.5641 | 272335.1522 | 33.25 | 75.7
12494 | 2022-05-19 12:55 | 12.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1203 | μmol/L | 18.634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.257 | 114468.6674 | 272333.2708 | 33.25 | 75.7
12504 | 2022-05-19 12:55 | 12.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7258 | μmol/L | 18.6463 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.269 | 114531.9861 | 272319.0613 | 33.25 | 75.7
12514 | 2022-05-19 12:55 | 13.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.4189 | μmol/L | 18.6401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.284 | 114574.7967 | 272309.8095 | 33.25 | 75.7
12524 | 2022-05-19 12:56 | 13.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.3469 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.292 | 114620.8014 | 272297.712 | 33.25 | 75.7
12534 | 2022-05-19 12:56 | 13.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7247 | μmol/L | 18.5665 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.298 | 114643.9716 | 272292.083 | 33.25 | 75.7
12544 | 2022-05-19 12:56 | 14.0013 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5417 | μmol/L | 18.5849 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.299 | 114630.7499 | 272288.5112 | 33.25 | 75.7
12554 | 2022-05-19 12:57 | 14.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.2831 | μmol/L | 18.5788 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.312 | 114710.2684 | 272276.4625 | 33.25 | 75.7
12564 | 2022-05-19 12:57 | 14.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.3803 | μmol/L | 18.5481 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.319 | 114707.1739 | 272267.9315 | 33.25 | 75.7
12574 | 2022-05-19 12:57 | 15.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.2025 | μmol/L | 18.5604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.322 | 114738.2228 | 272265.5202 | 33.25 | 75.7
12584 | 2022-05-19 12:58 | 15.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.738 | μmol/L | 18.5727 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.337 | 114798.821 | 272251.6319 | 33.25 | 75.7
12594 | 2022-05-19 12:58 | 15.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5282 | μmol/L | 18.5665 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.348 | 114873.2796 | 272234.8382 | 33.25 | 75.7
12604 | 2022-05-19 12:58 | 16.0011 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.6065 | μmol/L | 18.5297 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.358 | 114942.2286 | 272234.7338 | 33.25 | 75.7
12614 | 2022-05-19 12:59 | 16.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7404 | μmol/L | 18.5972 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 114996.9099 | 272220.1866 | 33.25 | 75.7
12624 | 2022-05-19 12:59 | 16.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7743 | μmol/L | 18.5849 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.373 | 115007.7006 | 272219.281 | 33.25 | 75.7
12634 | 2022-05-19 12:59 | 17.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7267 | μmol/L | 18.5849 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.375 | 115008.4562 | 272194.868 | 33.25 | 75.7
12644 | 2022-05-19 13:00 | 17.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2456 | μmol/L | 18.5052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.382 | 115033.3526 | 272202.1071 | 33.25 | 75.7
12654 | 2022-05-19 13:00 | 17.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2031 | μmol/L | 18.4991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.386 | 115032.0364 | 272184.1487 | 33.25 | 75.7
12664 | 2022-05-19 13:00 | 18.0013 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7779 | μmol/L | 18.5236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.395 | 115065.7241 | 272165.6764 | 33.25 | 75.7
12674 | 2022-05-19 13:01 | 18.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7169 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.402 | 115153.5396 | 272167.6998 | 33.25 | 75.7
12684 | 2022-05-19 13:01 | 18.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6218 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.406 | 115115.1553 | 272162.0922 | 33.25 | 75.7
12694 | 2022-05-19 13:01 | 19.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.242 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.422 | 115211.6522 | 272148.15 | 33.25 | 75.7
12704 | 2022-05-19 13:02 | 19.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2142 | μmol/L | 18.5236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.461 | 115434.668 | 272149.5772 | 33.25 | 75.7
12714 | 2022-05-19 13:02 | 19.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.521 | μmol/L | 18.4684 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.468 | 115453.9985 | 272137.2812 | 33.25 | 75.7
12724 | 2022-05-19 13:02 | 20.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4344 | μmol/L | 18.4868 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.465 | 115451.8189 | 272135.5439 | 33.25 | 75.7
12734 | 2022-05-19 13:03 | 20.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4344 | μmol/L | 18.4868 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.465 | 115441.0637 | 272106.6096 | 33.25 | 75.7
12744 | 2022-05-19 13:03 | 20.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4292 | μmol/L | 18.4929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.463 | 115431.953 | 272104.4177 | 33.25 | 75.7
12754 | 2022-05-19 13:03 | 21.0011 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4135 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.457 | 115400.2129 | 272098.7102 | 33.25 | 75.7
12764 | 2022-05-19 13:04 | 21.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4896 | μmol/L | 18.5052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.456 | 115388.1578 | 272091.0687 | 33.25 | 75.7
12774 | 2022-05-19 13:04 | 21.6674 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6367 | μmol/L | 18.4991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.452 | 115359.4187 | 272087.0714 | 33.25 | 75.7
12784 | 2022-05-19 13:04 | 22.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2548 | μmol/L | 18.4684 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.437 | 115257.5294 | 272070.5305 | 33.25 | 75.7
12794 | 2022-05-19 13:05 | 22.3342 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.4445 | μmol/L | 18.4684 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.429 | 115198.8113 | 272067.7962 | 33.25 | 75.7
12804 | 2022-05-19 13:05 | 22.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.885 | μmol/L | 18.4255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.426 | 115186.5063 | 272072.4012 | 33.25 | 75.7
12814 | 2022-05-19 13:05 | 23.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6791 | μmol/L | 18.4439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.428 | 115150.4617 | 272045.7822 | 33.25 | 75.7
12824 | 2022-05-19 13:06 | 23.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5528 | μmol/L | 18.4807 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.42 | 115112.0326 | 272046.3329 | 33.25 | 75.7
12834 | 2022-05-19 13:06 | 23.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5157 | μmol/L | 18.4745 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.466 | 115366.0994 | 272033.9282 | 33.25 | 75.7
12844 | 2022-05-19 13:06 | 24.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5971 | μmol/L | 18.4623 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.467 | 115377.5325 | 272028.4551 | 33.25 | 75.7
12854 | 2022-05-19 13:07 | 24.3342 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.521 | μmol/L | 18.4684 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.468 | 115362.835 | 272013.2287 | 33.25 | 75.7
12864 | 2022-05-19 13:07 | 24.6676 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4685 | μmol/L | 18.4745 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.468 | 115346.6016 | 271992.199 | 33.25 | 75.7
12874 | 2022-05-19 13:07 | 25.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2323 | μmol/L | 18.4745 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.478 | 115397.8669 | 271991.037 | 33.25 | 75.7
12884 | 2022-05-19 13:08 | 25.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.855 | μmol/L | 18.4745 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.494 | 115505.8162 | 271971.261 | 33.25 | 75.7
12894 | 2022-05-19 13:08 | 25.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9757 | μmol/L | 18.4439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.5 | 115509.53 | 271965.853 | 33.25 | 75.7
12904 | 2022-05-19 13:08 | 26.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6119 | μmol/L | 18.4561 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.511 | 115549.2642 | 271951.3415 | 33.25 | 75.7
12914 | 2022-05-19 13:09 | 26.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8844 | μmol/L | 18.4132 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.515 | 115575.3968 | 271943.1943 | 33.25 | 75.7
12924 | 2022-05-19 13:09 | 26.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5967 | μmol/L | 18.4194 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.525 | 115634.4033 | 271919.2298 | 33.25 | 75.7
12934 | 2022-05-19 13:09 | 27.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.709 | μmol/L | 18.4255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.518 | 115583.2779 | 271921.2917 | 33.25 | 75.7
12944 | 2022-05-19 13:10 | 27.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6984 | μmol/L | 18.4378 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.514 | 115550.6763 | 271908.0152 | 33.25 | 75.7
12954 | 2022-05-19 13:10 | 27.6676 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8396 | μmol/L | 18.4378 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.508 | 115511.2336 | 271900.1047 | 33.25 | 75.7
12964 | 2022-05-19 13:10 | 28.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.7507 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.514 | 115538.2848 | 271894.0382 | 33.25 | 75.7
12974 | 2022-05-19 13:11 | 28.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5625 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.522 | 115561.4093 | 271876.166 | 33.25 | 75.7
12984 | 2022-05-19 13:11 | 28.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.2857 | μmol/L | 18.4255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.536 | 115616.3314 | 271871.7851 | 33.25 | 75.7
12994 | 2022-05-19 13:11 | 29.0009 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1448 | μmol/L | 18.4255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 115667.8899 | 271873.8468 | 33.25 | 75.7
13004 | 2022-05-19 13:12 | 29.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0328 | μmol/L | 18.4194 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 115681.5693 | 271860.5251 | 33.25 | 75.7
13014 | 2022-05-19 13:12 | 29.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.177 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.554 | 115716.3944 | 271860.6624 | 33.25 | 75.7
13024 | 2022-05-19 13:12 | 30.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0885 | μmol/L | 18.3826 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.56 | 115747.8074 | 271853.5714 | 33.25 | 75.7
13034 | 2022-05-19 13:13 | 30.3346 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0596 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.559 | 115718.7804 | 271851.5381 | 33.25 | 75.7
13044 | 2022-05-19 13:13 | 30.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9947 | μmol/L | 18.3826 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.564 | 115759.0258 | 271835.0476 | 33.25 | 75.7
13054 | 2022-05-19 13:13 | 31.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7134 | μmol/L | 18.3826 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.576 | 115789.8306 | 271821.9398 | 33.25 | 75.7
13064 | 2022-05-19 13:14 | 31.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.375 | μmol/L | 18.3948 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.586 | 115865.6374 | 271821.7801 | 33.25 | 75.7
13074 | 2022-05-19 13:14 | 31.6675 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.0712 | μmol/L | 18.3948 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.599 | 115953.9656 | 271803.8948 | 33.25 | 75.7
13084 | 2022-05-19 13:14 | 32.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.8844 | μmol/L | 18.3948 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.607 | 115978.9523 | 271815.6414 | 33.25 | 75.7
13094 | 2022-05-19 13:15 | 32.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.8665 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.61 | 115995.4907 | 271814.6384 | 33.25 | 75.7
13104 | 2022-05-19 13:15 | 32.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.7965 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.613 | 116002.4419 | 271802.9113 | 33.25 | 75.7
13114 | 2022-05-19 13:15 | 33.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.7965 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.613 | 116010.7292 | 271797.9414 | 33.25 | 75.7
13124 | 2022-05-19 13:16 | 33.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.7786 | μmol/L | 18.3826 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.616 | 116013.2828 | 271781.5404 | 33.25 | 75.7
13134 | 2022-05-19 13:16 | 33.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.777 | μmol/L | 18.358 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.625 | 116029.3776 | 271773.3328 | 33.25 | 75.7
13144 | 2022-05-19 13:16 | 34.0009 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.7358 | μmol/L | 18.3519 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 116055.7567 | 271776.4551 | 33.25 | 75.7
13154 | 2022-05-19 13:17 | 34.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.4741 | μmol/L | 18.358 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.638 | 116082.1698 | 271756.7822 | 33.25 | 75.7
13164 | 2022-05-19 13:17 | 34.6679 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.3631 | μmol/L | 18.3519 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 116140.284 | 271748.0073 | 33.25 | 75.7
13174 | 2022-05-19 13:17 | 35.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.3057 | μmol/L | 18.3642 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 116138.2703 | 271740.1581 | 33.25 | 75.7
13184 | 2022-05-19 13:18 | 35.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.0786 | μmol/L | 18.358 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.655 | 116185.7943 | 271744.2562 | 33.25 | 75.7
13194 | 2022-05-19 13:18 | 35.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.9392 | μmol/L | 18.358 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 116220.3006 | 271733.7391 | 33.25 | 75.7
13204 | 2022-05-19 13:18 | 36.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.7589 | μmol/L | 18.3519 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.671 | 116251.6585 | 271727.8122 | 33.25 | 75.7
13214 | 2022-05-19 13:19 | 36.3342 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.7876 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.672 | 116272.0588 | 271716.8257 | 33.25 | 75.7
13224 | 2022-05-19 13:19 | 36.6677 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.6252 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.679 | 116310.6003 | 271720.2312 | 33.25 | 75.7
13234 | 2022-05-19 13:19 | 37.0011 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.3812 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.694 | 116391.3999 | 271699.299 | 33.25 | 75.7
13244 | 2022-05-19 13:20 | 37.3345 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.3702 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 116369.1229 | 271703.8564 | 33.25 | 75.7
13254 | 2022-05-19 13:20 | 37.668 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.1905 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.7 | 116368.435 | 271693.236 | 33.25 | 75.7
13264 | 2022-05-19 13:20 | 38.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.0693 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.703 | 116423.7645 | 271703.7602 | 33.25 | 75.7
13274 | 2022-05-19 13:21 | 38.3349 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.9129 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 116421.8098 | 271708.1307 | 33.25 | 75.7
13284 | 2022-05-19 13:21 | 38.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.6995 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.719 | 116472.3976 | 271688.5677 | 33.25 | 75.7
13294 | 2022-05-19 13:21 | 39.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.6127 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.725 | 116529.2514 | 271696.9157 | 33.25 | 75.7
13304 | 2022-05-19 13:22 | 39.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.2381 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.739 | 116575.8415 | 271680.804 | 33.25 | 75.7
13314 | 2022-05-19 13:22 | 39.6676 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.134 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.748 | 116625.3523 | 271677.9308 | 33.25 | 75.7
13324 | 2022-05-19 13:22 | 40.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0419 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.752 | 116657.9157 | 271673.163 | 33.25 | 75.7
13334 | 2022-05-19 13:23 | 40.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.099 | μmol/L | 18.3212 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 116668.1156 | 271663.128 | 33.25 | 75.7
13344 | 2022-05-19 13:23 | 40.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.1506 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 116679.6804 | 271647.7682 | 33.25 | 75.7
13354 | 2022-05-19 13:23 | 41.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0927 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.761 | 116696.3329 | 271651.9861 | 33.25 | 75.7
13364 | 2022-05-19 13:24 | 41.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.5067 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.782 | 116793.8434 | 271645.1876 | 33.25 | 75.7
13374 | 2022-05-19 13:24 | 41.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.3635 | μmol/L | 18.3212 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.786 | 116844.8134 | 271641.3939 | 33.25 | 75.7
13384 | 2022-05-19 13:24 | 42.0009 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.2085 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.795 | 116886.4986 | 271627.8284 | 33.25 | 75.7
13394 | 2022-05-19 13:25 | 42.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.9335 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.807 | 116913.0032 | 271612.5716 | 33.25 | 75.7
13404 | 2022-05-19 13:25 | 42.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.8419 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.811 | 116959.9052 | 271597.9554 | 33.25 | 75.7
13414 | 2022-05-19 13:25 | 43.0014 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.7788 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.816 | 116978.5286 | 271587.2555 | 33.25 | 75.7
13424 | 2022-05-19 13:26 | 43.3347 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.636 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.82 | 116991.173 | 271598.0707 | 33.25 | 75.7
13434 | 2022-05-19 13:26 | 43.6682 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.67 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.823 | 117018.5563 | 271576.2631 | 33.25 | 75.7
13444 | 2022-05-19 13:26 | 44.0008 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.6644 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.821 | 117018.5001 | 271569.6081 | 33.25 | 75.7
13454 | 2022-05-19 13:27 | 44.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.5557 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.828 | 117034.5326 | 271554.6982 | 33.25 | 75.7
13464 | 2022-05-19 13:27 | 44.6683 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.4928 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 117040.7885 | 271545.7825 | 33.25 | 75.7
13474 | 2022-05-19 13:27 | 45.0015 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.5268 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.836 | 117072.4509 | 271543.3941 | 33.25 | 75.7
13484 | 2022-05-19 13:28 | 45.3341 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.3041 | μmol/L | 18.2783 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.848 | 117124.0416 | 271528.6063 | 33.25 | 75.7
13494 | 2022-05-19 13:28 | 45.6674 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.2925 | μmol/L | 18.2661 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.853 | 117142.091 | 271521.913 | 33.25 | 75.7
13504 | 2022-05-19 13:28 | 46.001 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.0816 | μmol/L | 18.2722 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.86 | 117177.3074 | 271516.2791 | 33.25 | 75.7
13514 | 2022-05-19 13:29 | 46.3344 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.8936 | μmol/L | 18.2783 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.866 | 117215.5218 | 271498.9398 | 33.25 | 75.7
13524 | 2022-05-19 13:29 | 46.6678 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.6203 | μmol/L | 18.2783 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.878 | 117246.4382 | 271472.449 | 33.25 | 75.7
13534 | 2022-05-19 13:29 | 47.0012 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.4554 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.883 | 117276.0802 | 271467.1603 | 33.25 | 75.7
13544 | 2022-05-19 13:30 | 47.3348 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.3247 | μmol/L | 18.2783 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.891 | 117316.6694 | 271461.4631 | 33.25 | 75.7
13554 | 2022-05-19 13:30 | 47.6681 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.2679 | μmol/L | 18.2661 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.898 | 117333.7512 | 271442.7294 | 33.25 | 75.7
13564 | 2022-05-19 13:30 | 48.0016 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.1827 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.895 | 117346.415 | 271436.4877 | 33.25 | 75.7
13574 | 2022-05-19 13:31 | 48.3343 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.0011 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 117346.1029 | 271428.4623 | 33.25 | 75.7