## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 190713773 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:58

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10359 | 2022-05-19 11:24 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 279.5399 | μmol/L | 19.2848 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.922 | 160945.5547 | 307426.813 | 33.25 | 68.6
10369 | 2022-05-19 11:24 | 0.34109 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 279.4119 | μmol/L | 19.2727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.932 | 160938.5722 | 307451.2674 | 33.25 | 68.6
10379 | 2022-05-19 11:25 | 0.67393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 279.1901 | μmol/L | 19.2605 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.946 | 160955.1895 | 307446.0655 | 33.25 | 68.6
10389 | 2022-05-19 11:25 | 1.0074 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 279.0558 | μmol/L | 19.2544 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.954 | 160937.7455 | 307460.6197 | 33.25 | 68.6
10399 | 2022-05-19 11:25 | 1.3409 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.8748 | μmol/L | 19.2483 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.964 | 160980.6429 | 307462.5585 | 33.25 | 68.6
10409 | 2022-05-19 11:26 | 1.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.7474 | μmol/L | 19.2362 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.974 | 160972.1814 | 307453.1949 | 33.25 | 68.6
10419 | 2022-05-19 11:26 | 2.0073 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.7437 | μmol/L | 19.2179 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.981 | 160951.0201 | 307450.3321 | 33.25 | 68.6
10429 | 2022-05-19 11:26 | 2.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.7868 | μmol/L | 19.1996 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.986 | 160945.9917 | 307446.3575 | 33.25 | 68.6
10439 | 2022-05-19 11:27 | 2.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.7832 | μmol/L | 19.1814 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.993 | 160938.7648 | 307435.5691 | 33.25 | 68.6
10449 | 2022-05-19 11:27 | 3.0075 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.596 | μmol/L | 19.1814 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.001 | 160979.7885 | 307431.0988 | 33.25 | 68.6
10459 | 2022-05-19 11:27 | 3.3409 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.5224 | μmol/L | 19.1631 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.011 | 160924.6849 | 307436.4731 | 33.25 | 68.6
10469 | 2022-05-19 11:28 | 3.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.4889 | μmol/L | 19.151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.017 | 160891.4555 | 307426.8279 | 33.25 | 68.6
10479 | 2022-05-19 11:28 | 4.0074 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.3553 | μmol/L | 19.1449 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.025 | 160927.662 | 307426.3337 | 33.25 | 68.6
10489 | 2022-05-19 11:28 | 4.3408 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.362 | μmol/L | 19.1388 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.027 | 160888.9095 | 307406.6508 | 33.25 | 68.6
10499 | 2022-05-19 11:29 | 4.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.312 | μmol/L | 19.1205 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.036 | 160889.342 | 307412.8937 | 33.25 | 68.6
10509 | 2022-05-19 11:29 | 5.0075 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2854 | μmol/L | 19.1023 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.044 | 160872.2529 | 307409.5748 | 33.25 | 68.6
10519 | 2022-05-19 11:29 | 5.3414 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2621 | μmol/L | 19.1023 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.045 | 160837.1483 | 307404.4867 | 33.25 | 68.6
10529 | 2022-05-19 11:30 | 5.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2921 | μmol/L | 19.0962 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.046 | 160819.1126 | 307396.0168 | 33.25 | 68.6
10539 | 2022-05-19 11:30 | 6.0072 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2016 | μmol/L | 19.0779 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.057 | 160891.5256 | 307392.824 | 33.25 | 68.6
10549 | 2022-05-19 11:30 | 6.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.3325 | μmol/L | 19.0597 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.058 | 160822.6246 | 307384.7804 | 33.25 | 68.6
10559 | 2022-05-19 11:31 | 6.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.3559 | μmol/L | 19.0597 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.057 | 160765.528 | 307382.2901 | 33.25 | 68.6
10569 | 2022-05-19 11:31 | 7.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.4161 | μmol/L | 19.0475 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.059 | 160780.3225 | 307402.8028 | 33.25 | 68.6
10579 | 2022-05-19 11:31 | 7.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2663 | μmol/L | 19.0353 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.07 | 160754.5453 | 307381.8427 | 33.25 | 68.6
10589 | 2022-05-19 11:32 | 7.6739 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2099 | μmol/L | 19.0232 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.077 | 160767.0276 | 307378.6202 | 33.25 | 68.6
10599 | 2022-05-19 11:32 | 8.0076 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.2235 | μmol/L | 19.011 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.081 | 160772.5535 | 307362.955 | 33.25 | 68.6
10609 | 2022-05-19 11:32 | 8.3413 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.0973 | μmol/L | 18.9988 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.091 | 160834.2075 | 307370.445 | 33.25 | 68.6
10619 | 2022-05-19 11:33 | 8.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1041 | μmol/L | 18.9927 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.093 | 160803.6612 | 307353.9968 | 33.25 | 68.6
10629 | 2022-05-19 11:33 | 9.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1109 | μmol/L | 18.9867 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.095 | 160828.6446 | 307353.827 | 33.25 | 68.6
10639 | 2022-05-19 11:33 | 9.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1713 | μmol/L | 18.9745 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.097 | 160764.2353 | 307350.5526 | 33.25 | 68.6
10649 | 2022-05-19 11:34 | 9.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.3153 | μmol/L | 18.9502 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.1 | 160742.2403 | 307360.8945 | 33.25 | 68.6
10659 | 2022-05-19 11:34 | 10.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.229 | μmol/L | 18.9441 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.106 | 160787.1691 | 307356.9506 | 33.25 | 68.6
10669 | 2022-05-19 11:34 | 10.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 278.1961 | μmol/L | 18.9319 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.112 | 160794.974 | 307345.7731 | 33.25 | 68.6
10679 | 2022-05-19 11:35 | 10.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.8062 | μmol/L | 18.9319 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.129 | 160917.6266 | 307363.1846 | 33.25 | 68.6
10689 | 2022-05-19 11:35 | 11.0074 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.4422 | μmol/L | 18.9197 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.149 | 161059.8748 | 307336.6694 | 33.25 | 68.6
10699 | 2022-05-19 11:35 | 11.3408 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.8391 | μmol/L | 18.9197 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.175 | 161207.4648 | 307351.0707 | 33.25 | 68.6
10709 | 2022-05-19 11:36 | 11.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.0737 | μmol/L | 18.9015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.215 | 161582.264 | 307323.885 | 33.25 | 68.6
10719 | 2022-05-19 11:36 | 12.0076 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.3413 | μmol/L | 18.8771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.256 | 161883.9611 | 307327.9564 | 33.25 | 68.6
10729 | 2022-05-19 11:36 | 12.341 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.7828 | μmol/L | 18.8832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.278 | 162009.4372 | 307320.6798 | 33.25 | 68.6
10739 | 2022-05-19 11:37 | 12.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.5834 | μmol/L | 18.8771 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.289 | 162060.9774 | 307326.0911 | 33.25 | 68.6
10749 | 2022-05-19 11:37 | 13.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.0936 | μmol/L | 18.865 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.315 | 162297.6084 | 307318.2334 | 33.25 | 68.6
10759 | 2022-05-19 11:37 | 13.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.0509 | μmol/L | 18.8589 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.363 | 162629.2694 | 307316.21 | 33.25 | 68.6
10769 | 2022-05-19 11:38 | 13.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.6642 | μmol/L | 18.8589 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.38 | 162821.1054 | 307322.2718 | 33.25 | 68.6
10779 | 2022-05-19 11:38 | 14.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.247 | μmol/L | 18.8467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.403 | 162920.1181 | 307311.5552 | 33.25 | 68.6
10789 | 2022-05-19 11:38 | 14.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.6088 | μmol/L | 18.8285 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.394 | 163078.0851 | 307317.0439 | 33.25 | 68.6
10799 | 2022-05-19 11:39 | 14.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.623 | μmol/L | 18.8163 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.398 | 163106.6051 | 307307.9729 | 33.25 | 68.6
10809 | 2022-05-19 11:39 | 15.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.4698 | μmol/L | 18.8163 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.405 | 163147.9636 | 307316.0775 | 33.25 | 68.6
10819 | 2022-05-19 11:39 | 15.3414 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.3336 | μmol/L | 18.8163 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.411 | 163192.8353 | 307304.378 | 33.25 | 68.6
10829 | 2022-05-19 11:40 | 15.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.3025 | μmol/L | 18.8041 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.417 | 163182.8292 | 307293.2453 | 33.25 | 68.6
10839 | 2022-05-19 11:40 | 16.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.5437 | μmol/L | 18.7919 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.411 | 163132.3502 | 307291.4454 | 33.25 | 68.6
10849 | 2022-05-19 11:40 | 16.3414 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.7722 | μmol/L | 18.7859 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.403 | 163073.8461 | 307311.4764 | 33.25 | 68.6
10859 | 2022-05-19 11:41 | 16.674 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.7267 | μmol/L | 18.7859 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.405 | 163026.3298 | 307301.7488 | 33.25 | 68.6
10869 | 2022-05-19 11:41 | 17.0076 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.6703 | μmol/L | 18.7615 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.417 | 163154.2644 | 307279.6469 | 33.25 | 68.6
10879 | 2022-05-19 11:41 | 17.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.5199 | μmol/L | 18.7494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.428 | 163208.0431 | 307303.9953 | 33.25 | 68.6
10889 | 2022-05-19 11:42 | 17.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.1557 | μmol/L | 18.7554 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.442 | 163311.3323 | 307295.0671 | 33.25 | 68.6
10899 | 2022-05-19 11:42 | 18.0076 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.6592 | μmol/L | 18.7494 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.466 | 163529.1438 | 307287.7011 | 33.25 | 68.6
10909 | 2022-05-19 11:42 | 18.3409 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4476 | μmol/L | 18.7372 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.48 | 163640.9998 | 307288.2929 | 33.25 | 68.6
10919 | 2022-05-19 11:43 | 18.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.3347 | μmol/L | 18.7372 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.485 | 163662.0959 | 307284.2988 | 33.25 | 68.6
10929 | 2022-05-19 11:43 | 19.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4323 | μmol/L | 18.7311 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.483 | 163670.4966 | 307287.3899 | 33.25 | 68.6
10939 | 2022-05-19 11:43 | 19.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.1759 | μmol/L | 18.7189 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.499 | 163767.6633 | 307291.2336 | 33.25 | 68.6
10949 | 2022-05-19 11:44 | 19.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.0398 | μmol/L | 18.7007 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.512 | 163882.5492 | 307295.4993 | 33.25 | 68.6
10959 | 2022-05-19 11:44 | 20.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.8653 | μmol/L | 18.7007 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.52 | 163888.7546 | 307279.3692 | 33.25 | 68.6
10969 | 2022-05-19 11:44 | 20.3411 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.7166 | μmol/L | 18.6885 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.531 | 163996.0925 | 307286.1307 | 33.25 | 68.6
10979 | 2022-05-19 11:45 | 20.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.4603 | μmol/L | 18.7007 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.538 | 164036.9389 | 307277.0896 | 33.25 | 68.6
10989 | 2022-05-19 11:45 | 21.0073 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.4097 | μmol/L | 18.7007 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.54 | 164042.1865 | 307277.2334 | 33.25 | 68.6
10999 | 2022-05-19 11:45 | 21.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.6338 | μmol/L | 18.6824 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.537 | 164079.4542 | 307275.8852 | 33.25 | 68.6
11009 | 2022-05-19 11:46 | 21.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.5433 | μmol/L | 18.6642 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.548 | 164148.8069 | 307283.2511 | 33.25 | 68.6
11019 | 2022-05-19 11:46 | 22.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2658 | μmol/L | 18.652 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.565 | 164285.1253 | 307274.6982 | 33.25 | 68.6
11029 | 2022-05-19 11:46 | 22.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.9069 | μmol/L | 18.652 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.581 | 164346.8274 | 307282.5013 | 33.25 | 68.6
11039 | 2022-05-19 11:47 | 22.674 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4815 | μmol/L | 18.652 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.6 | 164535.551 | 307277.7927 | 33.25 | 68.6
11049 | 2022-05-19 11:47 | 23.0076 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.2352 | μmol/L | 18.6337 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.618 | 164681.2333 | 307262.8688 | 33.25 | 68.6
11059 | 2022-05-19 11:47 | 23.3411 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9375 | μmol/L | 18.6398 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.629 | 164713.7572 | 307267.5634 | 33.25 | 68.6
11069 | 2022-05-19 11:48 | 23.6744 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.878 | μmol/L | 18.6337 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.634 | 164816.9472 | 307270.7064 | 33.25 | 68.6
11079 | 2022-05-19 11:48 | 24.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9967 | μmol/L | 18.6094 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.638 | 164785.5443 | 307275.1672 | 33.25 | 68.6
11089 | 2022-05-19 11:48 | 24.3414 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9577 | μmol/L | 18.6094 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.64 | 164779.1801 | 307262.3894 | 33.25 | 68.6
11099 | 2022-05-19 11:49 | 24.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9074 | μmol/L | 18.6094 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.642 | 164834.3651 | 307269.6453 | 33.25 | 68.6
11109 | 2022-05-19 11:49 | 25.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9594 | μmol/L | 18.6033 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.642 | 164782.0864 | 307272.2625 | 33.25 | 68.6
11119 | 2022-05-19 11:49 | 25.341 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9519 | μmol/L | 18.5912 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.647 | 164816.8944 | 307272.1118 | 33.25 | 68.6
11129 | 2022-05-19 11:50 | 25.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.8107 | μmol/L | 18.5972 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.651 | 164848.3462 | 307255.2338 | 33.25 | 68.6
11139 | 2022-05-19 11:50 | 26.0073 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.8404 | μmol/L | 18.5912 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.652 | 164842.1654 | 307259.128 | 33.25 | 68.6
11149 | 2022-05-19 11:50 | 26.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.0485 | μmol/L | 18.5851 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.645 | 164811.5129 | 307243.9863 | 33.25 | 68.6
11159 | 2022-05-19 11:51 | 26.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.0559 | μmol/L | 18.579 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.647 | 164833.3683 | 307263.7773 | 33.25 | 68.6
11169 | 2022-05-19 11:51 | 27.0075 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.0559 | μmol/L | 18.579 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.647 | 164758.852 | 307271.211 | 33.25 | 68.6
11179 | 2022-05-19 11:51 | 27.341 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.0187 | μmol/L | 18.5729 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.651 | 164812.3382 | 307250.8997 | 33.25 | 68.6
11189 | 2022-05-19 11:52 | 27.6744 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.1079 | μmol/L | 18.5546 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.654 | 164858.741 | 307258.359 | 33.25 | 68.6
11199 | 2022-05-19 11:52 | 28.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.87 | μmol/L | 18.5486 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.667 | 164911.0746 | 307264.0683 | 33.25 | 68.6
11209 | 2022-05-19 11:52 | 28.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.7957 | μmol/L | 18.5546 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.668 | 164940.0766 | 307263.94 | 33.25 | 68.6
11219 | 2022-05-19 11:53 | 28.6746 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.1749 | μmol/L | 18.5364 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.658 | 164784.9395 | 307264.4813 | 33.25 | 68.6
11229 | 2022-05-19 11:53 | 29.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4578 | μmol/L | 18.5425 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.643 | 164632.0492 | 307253.872 | 33.25 | 68.6
11239 | 2022-05-19 11:53 | 29.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.0845 | μmol/L | 18.5242 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.622 | 164538.4324 | 307246.3208 | 33.25 | 68.6
11249 | 2022-05-19 11:54 | 29.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.3311 | μmol/L | 18.5242 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.611 | 164399.5207 | 307244.3942 | 33.25 | 68.6
11259 | 2022-05-19 11:54 | 30.0075 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.5256 | μmol/L | 18.5121 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.607 | 164336.1618 | 307255.4718 | 33.25 | 68.6
11269 | 2022-05-19 11:54 | 30.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9001 | μmol/L | 18.4999 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.595 | 164297.9179 | 307250.4292 | 33.25 | 68.6
11279 | 2022-05-19 11:55 | 30.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.7353 | μmol/L | 18.506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.6 | 164315.3654 | 307251.0621 | 33.25 | 68.6
11289 | 2022-05-19 11:55 | 31.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.5705 | μmol/L | 18.4938 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.612 | 164386.2004 | 307249.9948 | 33.25 | 68.6
11299 | 2022-05-19 11:55 | 31.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.1667 | μmol/L | 18.4938 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.63 | 164575.2864 | 307241.5134 | 33.25 | 68.6
11309 | 2022-05-19 11:56 | 31.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7859 | μmol/L | 18.4938 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.647 | 164669.8107 | 307231.6981 | 33.25 | 68.6
11319 | 2022-05-19 11:56 | 32.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.3165 | μmol/L | 18.4938 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.668 | 164813.3044 | 307242.9762 | 33.25 | 68.6
11329 | 2022-05-19 11:56 | 32.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.6551 | μmol/L | 18.4877 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.7 | 165041.6739 | 307223.4392 | 33.25 | 68.6
11339 | 2022-05-19 11:57 | 32.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.018 | μmol/L | 18.4816 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.731 | 165319.617 | 307229.7511 | 33.25 | 68.6
11349 | 2022-05-19 11:57 | 33.0073 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.7739 | μmol/L | 18.4816 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.742 | 165452.2944 | 307219.1781 | 33.25 | 68.6
11359 | 2022-05-19 11:57 | 33.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.6042 | μmol/L | 18.4756 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.752 | 165511.1309 | 307239.5863 | 33.25 | 68.6
11369 | 2022-05-19 11:58 | 33.674 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.6782 | μmol/L | 18.4695 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.751 | 165500.8861 | 307231.5383 | 33.25 | 68.6
11379 | 2022-05-19 11:58 | 34.0076 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.5452 | μmol/L | 18.4695 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.757 | 165542.8883 | 307225.8993 | 33.25 | 68.6
11389 | 2022-05-19 11:58 | 34.341 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.6192 | μmol/L | 18.4634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.756 | 165524.3553 | 307226.3344 | 33.25 | 68.6
11399 | 2022-05-19 11:59 | 34.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.7376 | μmol/L | 18.4573 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.753 | 165451.9329 | 307234.6391 | 33.25 | 68.6
11409 | 2022-05-19 11:59 | 35.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.0779 | μmol/L | 18.4512 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.74 | 165392.1287 | 307237.1995 | 33.25 | 68.6
11419 | 2022-05-19 11:59 | 35.3414 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.2182 | μmol/L | 18.4634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.729 | 165259.5123 | 307232.8988 | 33.25 | 68.6
11429 | 2022-05-19 12:00 | 35.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.6188 | μmol/L | 18.4451 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.718 | 165135.5234 | 307221.4994 | 33.25 | 68.6
11439 | 2022-05-19 12:00 | 36.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9158 | μmol/L | 18.439 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.707 | 165030.5477 | 307228.4623 | 33.25 | 68.6
11449 | 2022-05-19 12:00 | 36.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.2503 | μmol/L | 18.439 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.692 | 164933.5187 | 307222.9589 | 33.25 | 68.6
11459 | 2022-05-19 12:01 | 36.6746 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4959 | μmol/L | 18.439 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.681 | 164847.2677 | 307222.8595 | 33.25 | 68.6
11469 | 2022-05-19 12:01 | 37.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.9059 | μmol/L | 18.433 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.665 | 164709.2986 | 307220.7042 | 33.25 | 68.6
11479 | 2022-05-19 12:01 | 37.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2195 | μmol/L | 18.433 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.651 | 164598.5843 | 307221.6208 | 33.25 | 68.6
11489 | 2022-05-19 12:02 | 37.6739 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.6832 | μmol/L | 18.4208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.635 | 164462.0478 | 307217.6657 | 33.25 | 68.6
11499 | 2022-05-19 12:02 | 38.0073 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.818 | μmol/L | 18.4208 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.629 | 164390.4854 | 307216.5996 | 33.25 | 68.6
11509 | 2022-05-19 12:02 | 38.3408 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.0054 | μmol/L | 18.4147 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.623 | 164362.1348 | 307211.2562 | 33.25 | 68.6
11519 | 2022-05-19 12:03 | 38.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.0504 | μmol/L | 18.4147 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.621 | 164359.1241 | 307205.0008 | 33.25 | 68.6
11529 | 2022-05-19 12:03 | 39.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.133 | μmol/L | 18.4025 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.622 | 164378.7432 | 307216.185 | 33.25 | 68.6
11539 | 2022-05-19 12:03 | 39.3413 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.043 | μmol/L | 18.4025 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.626 | 164390.0668 | 307213.4458 | 33.25 | 68.6
11549 | 2022-05-19 12:04 | 39.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9832 | μmol/L | 18.3965 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.631 | 164412.099 | 307200.3088 | 33.25 | 68.6
11559 | 2022-05-19 12:04 | 40.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9382 | μmol/L | 18.3965 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.633 | 164464.0683 | 307217.5147 | 33.25 | 68.6
11569 | 2022-05-19 12:04 | 40.3413 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9157 | μmol/L | 18.3965 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.634 | 164423.004 | 307208.3757 | 33.25 | 68.6
11579 | 2022-05-19 12:05 | 40.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9607 | μmol/L | 18.3965 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.632 | 164452.1138 | 307209.6624 | 33.25 | 68.6
11589 | 2022-05-19 12:05 | 41.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.2759 | μmol/L | 18.3782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.625 | 164372.418 | 307209.4194 | 33.25 | 68.6
11599 | 2022-05-19 12:05 | 41.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4862 | μmol/L | 18.3721 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.618 | 164242.2962 | 307208.2177 | 33.25 | 68.6
11609 | 2022-05-19 12:06 | 41.6746 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.8018 | μmol/L | 18.3721 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.604 | 164173.3946 | 307200.4957 | 33.25 | 68.6
11619 | 2022-05-19 12:06 | 42.0073 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.1179 | μmol/L | 18.3721 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.59 | 164081.6141 | 307202.0657 | 33.25 | 68.6
11629 | 2022-05-19 12:06 | 42.3408 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.3818 | μmol/L | 18.36 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.583 | 163972.9378 | 307199.9208 | 33.25 | 68.6
11639 | 2022-05-19 12:07 | 42.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.691 | μmol/L | 18.366 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.567 | 163858.3073 | 307196.8636 | 33.25 | 68.6
11649 | 2022-05-19 12:07 | 43.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.963 | μmol/L | 18.366 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.555 | 163760.2812 | 307201.419 | 33.25 | 68.6
11659 | 2022-05-19 12:07 | 43.341 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.1975 | μmol/L | 18.36 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.547 | 163678.9839 | 307203.458 | 33.25 | 68.6
11669 | 2022-05-19 12:08 | 43.6746 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.5307 | μmol/L | 18.3478 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.537 | 163587.2948 | 307191.3078 | 33.25 | 68.6
11679 | 2022-05-19 12:08 | 44.0074 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.6823 | μmol/L | 18.3539 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.528 | 163552.3123 | 307196.3841 | 33.25 | 68.6
11689 | 2022-05-19 12:08 | 44.3406 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.9706 | μmol/L | 18.3417 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.52 | 163460.0886 | 307191.1594 | 33.25 | 68.6
11699 | 2022-05-19 12:09 | 44.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.0922 | μmol/L | 18.3356 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.517 | 163410.4839 | 307193.4797 | 33.25 | 68.6
11709 | 2022-05-19 12:09 | 45.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.343 | μmol/L | 18.3356 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.506 | 163360.3132 | 307179.8034 | 33.25 | 68.6
11719 | 2022-05-19 12:09 | 45.3412 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.419 | μmol/L | 18.3295 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.505 | 163327.5305 | 307194.8418 | 33.25 | 68.6
11729 | 2022-05-19 12:10 | 45.6746 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.7006 | μmol/L | 18.3235 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.495 | 163257.796 | 307197.3104 | 33.25 | 68.6
11739 | 2022-05-19 12:10 | 46.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.8205 | μmol/L | 18.3235 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.49 | 163248.75 | 307190.7342 | 33.25 | 68.6
11749 | 2022-05-19 12:10 | 46.3413 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.8378 | μmol/L | 18.3235 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.489 | 163192.1669 | 307192.7233 | 33.25 | 68.6
11759 | 2022-05-19 12:11 | 46.6747 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.9064 | μmol/L | 18.3235 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.486 | 163124.8158 | 307184.0462 | 33.25 | 68.6
11769 | 2022-05-19 12:11 | 47.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.1733 | μmol/L | 18.3113 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.479 | 163107.6907 | 307183.6733 | 33.25 | 68.6
11779 | 2022-05-19 12:11 | 47.3408 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.2038 | μmol/L | 18.3052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.48 | 163104.6815 | 307171.4238 | 33.25 | 68.6
11789 | 2022-05-19 12:12 | 47.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.2954 | μmol/L | 18.3052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.476 | 163069.6597 | 307190.9311 | 33.25 | 68.6
11799 | 2022-05-19 12:12 | 48.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.3947 | μmol/L | 18.2991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.474 | 163049.6328 | 307172.4888 | 33.25 | 68.6
11809 | 2022-05-19 12:12 | 48.3413 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.3774 | μmol/L | 18.2991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.475 | 163039.2808 | 307184.6765 | 33.25 | 68.6
11819 | 2022-05-19 12:13 | 48.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.4635 | μmol/L | 18.2991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.471 | 163011.5709 | 307172.7876 | 33.25 | 68.6
11829 | 2022-05-19 12:13 | 49.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.494 | μmol/L | 18.293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.472 | 163018.4284 | 307173.2862 | 33.25 | 68.6
11839 | 2022-05-19 12:13 | 49.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.5475 | μmol/L | 18.2869 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.472 | 162980.639 | 307168.5622 | 33.25 | 68.6
11849 | 2022-05-19 12:14 | 49.6743 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6316 | μmol/L | 18.293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.466 | 162970.6365 | 307165.8823 | 33.25 | 68.6
11859 | 2022-05-19 12:14 | 50.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.5934 | μmol/L | 18.2869 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.47 | 162987.5367 | 307166.7905 | 33.25 | 68.6
11869 | 2022-05-19 12:14 | 50.3413 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6393 | μmol/L | 18.2869 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.468 | 163022.9681 | 307156.0289 | 33.25 | 68.6
11879 | 2022-05-19 12:15 | 50.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6832 | μmol/L | 18.2748 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.471 | 162964.4135 | 307146.2737 | 33.25 | 68.6
11889 | 2022-05-19 12:15 | 51.0075 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6775 | μmol/L | 18.2748 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.471 | 163010.7438 | 307136.4743 | 33.25 | 68.6
11899 | 2022-05-19 12:15 | 51.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6144 | μmol/L | 18.2748 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.474 | 163016.1482 | 307137.5792 | 33.25 | 68.6
11909 | 2022-05-19 12:16 | 51.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.7444 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.473 | 163044.9381 | 307133.4402 | 33.25 | 68.6
11919 | 2022-05-19 12:16 | 52.0074 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6985 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.475 | 162996.2472 | 307125.0427 | 33.25 | 68.6
11929 | 2022-05-19 12:16 | 52.3409 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6241 | μmol/L | 18.2626 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.478 | 163030.4906 | 307108.103 | 33.25 | 68.6
11939 | 2022-05-19 12:17 | 52.6744 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6833 | μmol/L | 18.2565 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.478 | 163041.0343 | 307133.1762 | 33.25 | 68.6
11949 | 2022-05-19 12:17 | 53.0079 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6604 | μmol/L | 18.2565 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.479 | 163044.0246 | 307112.3729 | 33.25 | 68.6
11959 | 2022-05-19 12:17 | 53.3414 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.5859 | μmol/L | 18.2565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.482 | 163044.2532 | 307099.3423 | 33.25 | 68.6
11969 | 2022-05-19 12:18 | 53.6741 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6243 | μmol/L | 18.2444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.485 | 163049.721 | 307106.2993 | 33.25 | 68.6
11979 | 2022-05-19 12:18 | 54.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.5478 | μmol/L | 18.2504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.486 | 163047.3455 | 307086.0586 | 33.25 | 68.6
11989 | 2022-05-19 12:18 | 54.3409 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6472 | μmol/L | 18.2444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.484 | 163057.6257 | 307089.2528 | 33.25 | 68.6
11999 | 2022-05-19 12:19 | 54.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6549 | μmol/L | 18.2383 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.486 | 163069.5757 | 307074.1332 | 33.25 | 68.6
12009 | 2022-05-19 12:19 | 55.0077 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.6987 | μmol/L | 18.2444 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.482 | 163071.8325 | 307081.2142 | 33.25 | 68.6
12019 | 2022-05-19 12:19 | 55.3411 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.7523 | μmol/L | 18.2383 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.482 | 163031.4195 | 307077.2678 | 33.25 | 68.6
12029 | 2022-05-19 12:20 | 55.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.9227 | μmol/L | 18.2261 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.479 | 163033.1568 | 307052.0824 | 33.25 | 68.6
12039 | 2022-05-19 12:20 | 56.008 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.9283 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.479 | 163007.6031 | 307043.6399 | 33.25 | 68.6
12049 | 2022-05-19 12:20 | 56.3407 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.9227 | μmol/L | 18.2261 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.479 | 163008.331 | 307031.0448 | 33.25 | 68.6
12059 | 2022-05-19 12:21 | 56.6742 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.9513 | μmol/L | 18.2261 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.478 | 163045.9633 | 307036.8998 | 33.25 | 68.6
12069 | 2022-05-19 12:21 | 57.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.0223 | μmol/L | 18.22 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.477 | 163018.707 | 307013.9798 | 33.25 | 68.6
12079 | 2022-05-19 12:21 | 57.341 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.0759 | μmol/L | 18.2139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.477 | 163012.3308 | 307012.2909 | 33.25 | 68.6
12089 | 2022-05-19 12:22 | 57.6745 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.9534 | μmol/L | 18.22 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.48 | 168447.2954 | 307000.3077 | 33.25 | 68.6
12099 | 2022-05-19 12:22 | 58.0078 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.1066 | μmol/L | 18.2079 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.478 | 168881.4851 | 306982.7614 | 33.25 | 68.6