## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8533 | 2022-05-19 10:07 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5141 | μmol/L | 17.6017 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 85292.3454 | 296253.4617 | 30.45 | 38.1
8543 | 2022-05-19 10:07 | 0.32756 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4167 | μmol/L | 17.6017 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 85266.5398 | 296241.0227 | 30.45 | 38.1
8553 | 2022-05-19 10:08 | 0.66085 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.5438 | μmol/L | 17.5956 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.519 | 85263.8455 | 296259.3104 | 30.45 | 38.1
8563 | 2022-05-19 10:08 | 0.99437 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4654 | μmol/L | 17.6017 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 85263.6469 | 296261.2136 | 30.45 | 38.1
8573 | 2022-05-19 10:08 | 1.3279 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4221 | μmol/L | 17.5956 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.524 | 85259.0737 | 296243.4653 | 30.45 | 38.1
8583 | 2022-05-19 10:09 | 1.6615 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4951 | μmol/L | 17.5956 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.521 | 85256.0442 | 296253.7311 | 30.45 | 38.1
8593 | 2022-05-19 10:09 | 1.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3004 | μmol/L | 17.5956 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.529 | 85252.8191 | 296242.2672 | 30.45 | 38.1
8603 | 2022-05-19 10:09 | 2.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3139 | μmol/L | 17.6078 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.524 | 85254.15 | 296256.6521 | 30.45 | 38.1
8613 | 2022-05-19 10:10 | 2.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2598 | μmol/L | 17.6139 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.524 | 85242.4621 | 296248.8499 | 30.45 | 38.1
8623 | 2022-05-19 10:10 | 2.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2544 | μmol/L | 17.62 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 84614.5097 | 296264.9216 | 30.45 | 38.1
8633 | 2022-05-19 10:10 | 3.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4112 | μmol/L | 17.6078 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84615.3213 | 296267.5077 | 30.45 | 38.1
8643 | 2022-05-19 10:11 | 3.6613 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4491 | μmol/L | 17.62 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84610.9609 | 296269.1746 | 30.45 | 38.1
8653 | 2022-05-19 10:11 | 3.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3517 | μmol/L | 17.62 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84614.8306 | 296260.2892 | 30.45 | 38.1
8663 | 2022-05-19 10:11 | 4.3282 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4491 | μmol/L | 17.62 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84613.0921 | 296272.6716 | 30.45 | 38.1
8673 | 2022-05-19 10:12 | 4.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3463 | μmol/L | 17.6262 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84621.3337 | 296290.5433 | 30.45 | 38.1
8683 | 2022-05-19 10:12 | 4.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4302 | μmol/L | 17.6139 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84617.5966 | 296277.7717 | 30.45 | 38.1
8693 | 2022-05-19 10:12 | 5.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.322 | μmol/L | 17.6262 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84621.585 | 296311.0233 | 30.45 | 38.1
8703 | 2022-05-19 10:13 | 5.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.4194 | μmol/L | 17.6262 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84612.9959 | 296317.572 | 30.45 | 38.1
8713 | 2022-05-19 10:13 | 5.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.3707 | μmol/L | 17.6262 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84624.4324 | 296328.2704 | 30.45 | 38.1
8723 | 2022-05-19 10:13 | 6.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2922 | μmol/L | 17.6323 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84623.3183 | 296322.7281 | 30.45 | 38.1
8733 | 2022-05-19 10:14 | 6.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2382 | μmol/L | 17.6384 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84633.6626 | 296348.4643 | 30.45 | 38.1
8743 | 2022-05-19 10:14 | 6.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0815 | μmol/L | 17.6506 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84630.1384 | 296355.3337 | 30.45 | 38.1
8753 | 2022-05-19 10:14 | 7.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2085 | μmol/L | 17.6445 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84638.0593 | 296362.7222 | 30.45 | 38.1
8763 | 2022-05-19 10:15 | 7.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1491 | μmol/L | 17.6567 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84656.4378 | 296383.6753 | 30.45 | 38.1
8773 | 2022-05-19 10:15 | 7.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1544 | μmol/L | 17.6506 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84653.0171 | 296393.8065 | 30.45 | 38.1
8783 | 2022-05-19 10:15 | 8.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1301 | μmol/L | 17.6506 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84651.5749 | 296394.4583 | 30.45 | 38.1
8793 | 2022-05-19 10:16 | 8.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9735 | μmol/L | 17.6628 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84650.0172 | 296406.2608 | 30.45 | 38.1
8803 | 2022-05-19 10:16 | 8.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.1491 | μmol/L | 17.6567 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84653.9891 | 296413.7822 | 30.45 | 38.1
8813 | 2022-05-19 10:16 | 9.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.2518 | μmol/L | 17.6506 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84661.5099 | 296431.1212 | 30.45 | 38.1
8823 | 2022-05-19 10:17 | 9.6611 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9978 | μmol/L | 17.6628 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84661.7026 | 296439.6008 | 30.45 | 38.1
8833 | 2022-05-19 10:17 | 9.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0464 | μmol/L | 17.6628 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84662.2482 | 296450.8854 | 30.45 | 38.1
8843 | 2022-05-19 10:17 | 10.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.0167 | μmol/L | 17.6689 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84670.3321 | 296446.6024 | 30.45 | 38.1
8853 | 2022-05-19 10:18 | 10.6615 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9924 | μmol/L | 17.6689 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84673.7521 | 296458.607 | 30.45 | 38.1
8863 | 2022-05-19 10:18 | 10.9942 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.06 | μmol/L | 17.675 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84675.3587 | 296462.8867 | 30.45 | 38.1
8873 | 2022-05-19 10:18 | 11.328 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.041 | μmol/L | 17.6689 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84676.0058 | 296457.3846 | 30.45 | 38.1
8883 | 2022-05-19 10:19 | 11.6612 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9628 | μmol/L | 17.675 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84670.4481 | 296484.7876 | 30.45 | 38.1
8893 | 2022-05-19 10:19 | 11.9942 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 282.114 | μmol/L | 17.6689 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84683.1887 | 296492.754 | 30.45 | 38.1
8903 | 2022-05-19 10:19 | 12.328 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.9384 | μmol/L | 17.675 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84686.1443 | 296491.5252 | 30.45 | 38.1
8913 | 2022-05-19 10:20 | 12.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.8655 | μmol/L | 17.675 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84703.9613 | 296507.2223 | 30.45 | 38.1
8923 | 2022-05-19 10:20 | 12.9945 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.7577 | μmol/L | 17.6872 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84703.9177 | 296512.9885 | 30.45 | 38.1
8933 | 2022-05-19 10:20 | 13.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6362 | μmol/L | 17.6872 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.523 | 84710.9206 | 296521.6773 | 30.45 | 38.1
8943 | 2022-05-19 10:21 | 13.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6416 | μmol/L | 17.6811 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84727.4617 | 296539.2345 | 30.45 | 38.1
8953 | 2022-05-19 10:21 | 13.995 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.7387 | μmol/L | 17.6811 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.521 | 84742.4685 | 296554.8615 | 30.45 | 38.1
8963 | 2022-05-19 10:21 | 14.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5095 | μmol/L | 17.6933 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84743.7078 | 296570.3097 | 30.45 | 38.1
8973 | 2022-05-19 10:22 | 14.6615 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5877 | μmol/L | 17.6872 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84750.1805 | 296578.3559 | 30.45 | 38.1
8983 | 2022-05-19 10:22 | 14.9945 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5338 | μmol/L | 17.6933 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84758.753 | 296585.6393 | 30.45 | 38.1
8993 | 2022-05-19 10:22 | 15.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5391 | μmol/L | 17.6872 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.527 | 84757.6863 | 296610.4728 | 30.45 | 38.1
9003 | 2022-05-19 10:23 | 15.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5095 | μmol/L | 17.6933 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84761.3115 | 296612.4163 | 30.45 | 38.1
9013 | 2022-05-19 10:23 | 15.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6256 | μmol/L | 17.6994 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.519 | 84762.1395 | 296620.4172 | 30.45 | 38.1
9023 | 2022-05-19 10:23 | 16.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4125 | μmol/L | 17.6933 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.53 | 84762.1488 | 296632.9441 | 30.45 | 38.1
9033 | 2022-05-19 10:24 | 16.6613 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3829 | μmol/L | 17.6994 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.529 | 84766.6721 | 296647.3881 | 30.45 | 38.1
9043 | 2022-05-19 10:24 | 16.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4557 | μmol/L | 17.6994 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84767.2928 | 296662.7666 | 30.45 | 38.1
9053 | 2022-05-19 10:24 | 17.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4261 | μmol/L | 17.7055 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84782.8203 | 296671.2032 | 30.45 | 38.1
9063 | 2022-05-19 10:25 | 17.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4989 | μmol/L | 17.7055 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 84784.1264 | 296682.3357 | 30.45 | 38.1
9073 | 2022-05-19 10:25 | 17.9944 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4261 | μmol/L | 17.7055 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84784.8763 | 296700.5079 | 30.45 | 38.1
9083 | 2022-05-19 10:25 | 18.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4261 | μmol/L | 17.7055 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84787.0844 | 296697.8244 | 30.45 | 38.1
9093 | 2022-05-19 10:26 | 18.6613 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2268 | μmol/L | 17.7116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.531 | 84804.1222 | 296731.0261 | 30.45 | 38.1
9103 | 2022-05-19 10:26 | 18.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3237 | μmol/L | 17.7116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.527 | 84799.5801 | 296729.4986 | 30.45 | 38.1
9113 | 2022-05-19 10:26 | 19.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3237 | μmol/L | 17.7116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.527 | 84799.1475 | 296742.2688 | 30.45 | 38.1
9123 | 2022-05-19 10:27 | 19.6613 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3237 | μmol/L | 17.7116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.527 | 84809.1374 | 296758.9096 | 30.45 | 38.1
9133 | 2022-05-19 10:27 | 19.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3722 | μmol/L | 17.7116 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84821.0974 | 296783.5808 | 30.45 | 38.1
9143 | 2022-05-19 10:27 | 20.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2942 | μmol/L | 17.7177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84826.9495 | 296803.6522 | 30.45 | 38.1
9153 | 2022-05-19 10:28 | 20.6613 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4261 | μmol/L | 17.7055 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84821.1363 | 296800.498 | 30.45 | 38.1
9163 | 2022-05-19 10:28 | 20.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2404 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84816.2719 | 296812.1093 | 30.45 | 38.1
9173 | 2022-05-19 10:28 | 21.3274 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2942 | μmol/L | 17.7177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84822.6501 | 296833.4617 | 30.45 | 38.1
9183 | 2022-05-19 10:29 | 21.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2646 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84832.7736 | 296839.4714 | 30.45 | 38.1
9193 | 2022-05-19 10:29 | 21.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2404 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.526 | 84836.7207 | 296842.7513 | 30.45 | 38.1
9203 | 2022-05-19 10:29 | 22.3282 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2646 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.525 | 84840.7243 | 296860.1906 | 30.45 | 38.1
9213 | 2022-05-19 10:30 | 22.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4397 | μmol/L | 17.7177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84846.031 | 296873.2542 | 30.45 | 38.1
9223 | 2022-05-19 10:30 | 22.9944 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2457 | μmol/L | 17.7177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.528 | 84842.4541 | 296878.7552 | 30.45 | 38.1
9233 | 2022-05-19 10:30 | 23.3279 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3427 | μmol/L | 17.7177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.524 | 84849.879 | 296894.9909 | 30.45 | 38.1
9243 | 2022-05-19 10:31 | 23.6611 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3374 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 84854.7524 | 296909.5174 | 30.45 | 38.1
9253 | 2022-05-19 10:31 | 23.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3914 | μmol/L | 17.7238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84856.4481 | 296906.5742 | 30.45 | 38.1
9263 | 2022-05-19 10:31 | 24.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3131 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.523 | 84864.3184 | 296934.3054 | 30.45 | 38.1
9273 | 2022-05-19 10:32 | 24.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3376 | μmol/L | 17.7299 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84867.2609 | 296936.1836 | 30.45 | 38.1
9283 | 2022-05-19 10:32 | 24.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3616 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.521 | 84863.3142 | 296942.9102 | 30.45 | 38.1
9293 | 2022-05-19 10:32 | 25.3277 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2593 | μmol/L | 17.7299 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.523 | 84860.0366 | 296948.5714 | 30.45 | 38.1
9303 | 2022-05-19 10:33 | 25.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4533 | μmol/L | 17.7299 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84866.6105 | 296969.2557 | 30.45 | 38.1
9313 | 2022-05-19 10:33 | 25.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4101 | μmol/L | 17.7238 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.519 | 84868.2983 | 296951.5155 | 30.45 | 38.1
9323 | 2022-05-19 10:33 | 26.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2298 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.522 | 84868.9038 | 296985.0699 | 30.45 | 38.1
9333 | 2022-05-19 10:34 | 26.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2245 | μmol/L | 17.7421 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84874.6766 | 296999.6399 | 30.45 | 38.1
9343 | 2022-05-19 10:34 | 26.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3321 | μmol/L | 17.7299 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84885.8638 | 297000.2798 | 30.45 | 38.1
9353 | 2022-05-19 10:34 | 27.3277 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4048 | μmol/L | 17.7299 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84870.824 | 296994.6067 | 30.45 | 38.1
9363 | 2022-05-19 10:35 | 27.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3321 | μmol/L | 17.7299 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84882.6349 | 297016.0637 | 30.45 | 38.1
9373 | 2022-05-19 10:35 | 27.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.351 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84886.9782 | 297032.0048 | 30.45 | 38.1
9383 | 2022-05-19 10:35 | 28.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2783 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.52 | 84891.3816 | 297038.8906 | 30.45 | 38.1
9393 | 2022-05-19 10:36 | 28.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.351 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84886.8396 | 297044.8834 | 30.45 | 38.1
9403 | 2022-05-19 10:36 | 28.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3081 | μmol/L | 17.736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.519 | 84894.5137 | 297060.8415 | 30.45 | 38.1
9413 | 2022-05-19 10:36 | 29.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.273 | μmol/L | 17.7421 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84900.689 | 297052.6319 | 30.45 | 38.1
9423 | 2022-05-19 10:37 | 29.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.254 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.521 | 84900.853 | 297078.1104 | 30.45 | 38.1
9433 | 2022-05-19 10:37 | 29.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3268 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.518 | 84904.3129 | 297080.9839 | 30.45 | 38.1
9443 | 2022-05-19 10:37 | 30.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2972 | μmol/L | 17.7421 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84908.6127 | 297096.2632 | 30.45 | 38.1
9453 | 2022-05-19 10:38 | 30.6607 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3647 | μmol/L | 17.7482 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84911.6022 | 297117.064 | 30.45 | 38.1
9463 | 2022-05-19 10:38 | 30.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3457 | μmol/L | 17.7421 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84915.1659 | 297098.3496 | 30.45 | 38.1
9473 | 2022-05-19 10:38 | 31.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3215 | μmol/L | 17.7421 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84912.1554 | 297125.459 | 30.45 | 38.1
9483 | 2022-05-19 10:39 | 31.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3513 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84914.2268 | 297120.4051 | 30.45 | 38.1
9493 | 2022-05-19 10:39 | 31.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.351 | μmol/L | 17.736 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84915.0511 | 297122.5312 | 30.45 | 38.1
9503 | 2022-05-19 10:39 | 32.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4185 | μmol/L | 17.7421 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84912.6214 | 297131.329 | 30.45 | 38.1
9513 | 2022-05-19 10:40 | 32.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3218 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84911.7222 | 297145.3375 | 30.45 | 38.1
9523 | 2022-05-19 10:40 | 32.9945 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4132 | μmol/L | 17.7482 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84918.8734 | 297134.9479 | 30.45 | 38.1
9533 | 2022-05-19 10:40 | 33.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4188 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84913.0349 | 297152.0936 | 30.45 | 38.1
9543 | 2022-05-19 10:41 | 33.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3998 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84904.3975 | 297157.0158 | 30.45 | 38.1
9553 | 2022-05-19 10:41 | 33.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84915.6119 | 297161.7675 | 30.45 | 38.1
9563 | 2022-05-19 10:41 | 34.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2919 | μmol/L | 17.7482 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84918.3356 | 297187.0598 | 30.45 | 38.1
9573 | 2022-05-19 10:42 | 34.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3756 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84912.3288 | 297178.4664 | 30.45 | 38.1
9583 | 2022-05-19 10:42 | 34.9944 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4726 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84915.6233 | 297183.7333 | 30.45 | 38.1
9593 | 2022-05-19 10:42 | 35.3279 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84922.2641 | 297202.4695 | 30.45 | 38.1
9603 | 2022-05-19 10:43 | 35.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3703 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84928.2954 | 297181.43 | 30.45 | 38.1
9613 | 2022-05-19 10:43 | 35.9945 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4536 | μmol/L | 17.736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84934.7206 | 297199.7875 | 30.45 | 38.1
9623 | 2022-05-19 10:43 | 36.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4483 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84931.0188 | 297205.3689 | 30.45 | 38.1
9633 | 2022-05-19 10:44 | 36.6612 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3756 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84927.4266 | 297202.788 | 30.45 | 38.1
9643 | 2022-05-19 10:44 | 36.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84932.4496 | 297203.7682 | 30.45 | 38.1
9653 | 2022-05-19 10:44 | 37.3277 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4378 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84929.1401 | 297219.1739 | 30.45 | 38.1
9663 | 2022-05-19 10:45 | 37.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84928.6582 | 297216.8202 | 30.45 | 38.1
9673 | 2022-05-19 10:45 | 37.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5454 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84930.7565 | 297216.3881 | 30.45 | 38.1
9683 | 2022-05-19 10:45 | 38.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4051 | μmol/L | 17.736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84933.8348 | 297230.5167 | 30.45 | 38.1
9693 | 2022-05-19 10:46 | 38.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3703 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84935.8712 | 297243.8621 | 30.45 | 38.1
9703 | 2022-05-19 10:46 | 38.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4188 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84937.7926 | 297247.0286 | 30.45 | 38.1
9713 | 2022-05-19 10:46 | 39.3282 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4483 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84939.3475 | 297248.7644 | 30.45 | 38.1
9723 | 2022-05-19 10:47 | 39.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4726 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84935.6874 | 297259.1826 | 30.45 | 38.1
9733 | 2022-05-19 10:47 | 39.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.1415 | μmol/L | 17.7605 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.517 | 84952.99 | 297246.348 | 30.45 | 38.1
9743 | 2022-05-19 10:47 | 40.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2922 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84953.0055 | 297243.3381 | 30.45 | 38.1
9753 | 2022-05-19 10:48 | 40.6615 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84951.92 | 297249.6378 | 30.45 | 38.1
9763 | 2022-05-19 10:48 | 40.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3165 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84954.8116 | 297255.5841 | 30.45 | 38.1
9773 | 2022-05-19 10:48 | 41.3274 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2732 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84952.3359 | 297252.9661 | 30.45 | 38.1
9783 | 2022-05-19 10:49 | 41.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.268 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84949.841 | 297247.6578 | 30.45 | 38.1
9793 | 2022-05-19 10:49 | 41.9944 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84958.9197 | 297261.9603 | 30.45 | 38.1
9803 | 2022-05-19 10:49 | 42.3277 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84956.7834 | 297254.3339 | 30.45 | 38.1
9813 | 2022-05-19 10:50 | 42.6613 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2922 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84958.67 | 297266.0394 | 30.45 | 38.1
9823 | 2022-05-19 10:50 | 42.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3407 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84959.9109 | 297257.7913 | 30.45 | 38.1
9833 | 2022-05-19 10:50 | 43.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2922 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84956.7448 | 297261.8957 | 30.45 | 38.1
9843 | 2022-05-19 10:51 | 43.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.365 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84963.4815 | 297282.0952 | 30.45 | 38.1
9853 | 2022-05-19 10:51 | 43.9944 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4188 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84958.023 | 297274.0525 | 30.45 | 38.1
9863 | 2022-05-19 10:51 | 44.328 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4378 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84957.943 | 297269.3657 | 30.45 | 38.1
9873 | 2022-05-19 10:52 | 44.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3407 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84953.7976 | 297279.3655 | 30.45 | 38.1
9883 | 2022-05-19 10:52 | 44.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4431 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.509 | 84958.1608 | 297275.7603 | 30.45 | 38.1
9893 | 2022-05-19 10:52 | 45.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3893 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.509 | 84961.6865 | 297276.232 | 30.45 | 38.1
9903 | 2022-05-19 10:53 | 45.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5887 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.503 | 84959.4546 | 297285.0795 | 30.45 | 38.1
9913 | 2022-05-19 10:53 | 45.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84960.3641 | 297286.66 | 30.45 | 38.1
9923 | 2022-05-19 10:53 | 46.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5212 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 84962.6608 | 297275.1794 | 30.45 | 38.1
9933 | 2022-05-19 10:54 | 46.6611 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3218 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84961.1593 | 297288.2467 | 30.45 | 38.1
9943 | 2022-05-19 10:54 | 46.9947 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.365 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84963.9406 | 297293.4521 | 30.45 | 38.1
9953 | 2022-05-19 10:54 | 47.3281 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2975 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84963.4289 | 297290.2797 | 30.45 | 38.1
9963 | 2022-05-19 10:55 | 47.6609 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4916 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84953.1215 | 297303.2972 | 30.45 | 38.1
9973 | 2022-05-19 10:55 | 47.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4863 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.505 | 84948.5034 | 297290.9301 | 30.45 | 38.1
9983 | 2022-05-19 10:55 | 48.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4673 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 84955.3804 | 297299.6845 | 30.45 | 38.1
9993 | 2022-05-19 10:56 | 48.6611 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4916 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84957.3686 | 297292.6703 | 30.45 | 38.1
10003 | 2022-05-19 10:56 | 48.9944 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4568 | μmol/L | 17.7605 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.504 | 84952.3689 | 297308.2234 | 30.45 | 38.1
10013 | 2022-05-19 10:56 | 49.3279 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4673 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 84947.428 | 297306.176 | 30.45 | 38.1
10023 | 2022-05-19 10:57 | 49.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4135 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 84960.6334 | 297309.9975 | 30.45 | 38.1
10033 | 2022-05-19 10:57 | 49.9942 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4483 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84959.0321 | 297308.6583 | 30.45 | 38.1
10043 | 2022-05-19 10:57 | 50.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5212 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 84957.4549 | 297327.3157 | 30.45 | 38.1
10053 | 2022-05-19 10:58 | 50.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4188 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84957.5451 | 297325.1764 | 30.45 | 38.1
10063 | 2022-05-19 10:58 | 50.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5454 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84959.4362 | 297313.4774 | 30.45 | 38.1
10073 | 2022-05-19 10:58 | 51.3282 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5454 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 84961.7182 | 297318.1268 | 30.45 | 38.1
10083 | 2022-05-19 10:59 | 51.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.6669 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.502 | 84968.5782 | 297316.2082 | 30.45 | 38.1
10093 | 2022-05-19 10:59 | 51.9943 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.5697 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.506 | 84961.9002 | 297325.229 | 30.45 | 38.1
10103 | 2022-05-19 10:59 | 52.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3893 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.509 | 84968.4729 | 297308.7739 | 30.45 | 38.1
10113 | 2022-05-19 11:00 | 52.6615 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4431 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.509 | 84970.8047 | 297333.6755 | 30.45 | 38.1
10123 | 2022-05-19 11:00 | 52.9941 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84974.233 | 297303.9377 | 30.45 | 38.1
10133 | 2022-05-19 11:00 | 53.3274 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84962.3058 | 297333.8381 | 30.45 | 38.1
10143 | 2022-05-19 11:01 | 53.6612 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84971.0223 | 297335.4834 | 30.45 | 38.1
10153 | 2022-05-19 11:01 | 53.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4726 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84967.173 | 297329.3054 | 30.45 | 38.1
10163 | 2022-05-19 11:01 | 54.3274 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4589 | μmol/L | 17.7299 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84973.2254 | 297332.6743 | 30.45 | 38.1
10173 | 2022-05-19 11:02 | 54.6611 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4779 | μmol/L | 17.736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84972.5207 | 297332.6445 | 30.45 | 38.1
10183 | 2022-05-19 11:02 | 54.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4536 | μmol/L | 17.736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84972.4307 | 297329.0377 | 30.45 | 38.1
10193 | 2022-05-19 11:02 | 55.3274 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4188 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.51 | 84971.4638 | 297333.6901 | 30.45 | 38.1
10203 | 2022-05-19 11:03 | 55.661 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3165 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84980.5985 | 297332.1727 | 30.45 | 38.1
10213 | 2022-05-19 11:03 | 55.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2975 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84977.9707 | 297324.0836 | 30.45 | 38.1
10223 | 2022-05-19 11:03 | 56.3276 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2922 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84978.7184 | 297310.2558 | 30.45 | 38.1
10233 | 2022-05-19 11:04 | 56.6611 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4483 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84976.5898 | 297329.6161 | 30.45 | 38.1
10243 | 2022-05-19 11:04 | 56.9946 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4483 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84988.8343 | 297352.4674 | 30.45 | 38.1
10253 | 2022-05-19 11:04 | 57.3279 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4294 | μmol/L | 17.736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 84983.4107 | 297338.9384 | 30.45 | 38.1
10263 | 2022-05-19 11:05 | 57.6608 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3998 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84988.1064 | 297341.0584 | 30.45 | 38.1
10273 | 2022-05-19 11:05 | 57.9945 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.4241 | μmol/L | 17.7421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 84981.9458 | 297338.5645 | 30.45 | 38.1
10283 | 2022-05-19 11:05 | 58.328 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2732 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84978.7312 | 297325.6068 | 30.45 | 38.1
10293 | 2022-05-19 11:06 | 58.6615 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2975 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 84986.1085 | 297340.9758 | 30.45 | 38.1
10303 | 2022-05-19 11:06 | 58.9942 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.2732 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.516 | 84975.8574 | 297339.2463 | 30.45 | 38.1
10313 | 2022-05-19 11:06 | 59.3278 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3407 | μmol/L | 17.7543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84986.3314 | 297343.4225 | 30.45 | 38.1
10323 | 2022-05-19 11:07 | 59.6614 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84979.0528 | 297337.7522 | 30.45 | 38.1
10333 | 2022-05-19 11:07 | 59.9948 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.3945 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 84981.4622 | 297330.7844 | 30.45 | 38.1
10343 | 2022-05-19 11:07 | 60.3275 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 281.346 | μmol/L | 17.7482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 84987.7582 | 297346.554 | 30.45 | 38.1