## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10360 | 2022-05-19 11:24 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.8747 | μmol/L | 19.1863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.268 | 99481.169 | 271092.1687 | 26.25 | 74
10370 | 2022-05-19 11:24 | 0.33866 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 281.0371 | μmol/L | 19.162 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.27 | 99528.4511 | 271085.6209 | 26.25 | 74
10380 | 2022-05-19 11:25 | 0.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.6536 | μmol/L | 19.1924 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.275 | 99583.8707 | 271109.7012 | 26.25 | 74
10390 | 2022-05-19 11:25 | 1.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.667 | μmol/L | 19.1742 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.281 | 99620.7032 | 271104.0165 | 26.25 | 74
10400 | 2022-05-19 11:25 | 1.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.4417 | μmol/L | 19.1863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.286 | 99661.3239 | 271095.7123 | 26.25 | 74
10410 | 2022-05-19 11:26 | 1.6718 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.4176 | μmol/L | 19.1863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.287 | 99688.6705 | 271093.764 | 26.25 | 74
10420 | 2022-05-19 11:26 | 2.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.326 | μmol/L | 19.1803 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.293 | 99727.7582 | 271083.559 | 26.25 | 74
10430 | 2022-05-19 11:26 | 2.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1579 | μmol/L | 19.1803 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.3 | 99760.4384 | 271093.3342 | 26.25 | 74
10440 | 2022-05-19 11:27 | 2.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.1579 | μmol/L | 19.1803 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.3 | 99786.1646 | 271088.2393 | 26.25 | 74
10450 | 2022-05-19 11:27 | 3.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0379 | μmol/L | 19.1803 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.305 | 99806.1924 | 271087.5242 | 26.25 | 74
10460 | 2022-05-19 11:27 | 3.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9704 | μmol/L | 19.1742 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.31 | 99839.7498 | 271077.7751 | 26.25 | 74
10470 | 2022-05-19 11:28 | 3.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8745 | μmol/L | 19.1742 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.314 | 99866.6848 | 271076.1387 | 26.25 | 74
10480 | 2022-05-19 11:28 | 4.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.951 | μmol/L | 19.1681 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.313 | 99882.9129 | 271067.2421 | 26.25 | 74
10490 | 2022-05-19 11:28 | 4.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7877 | μmol/L | 19.162 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.322 | 99909.0107 | 271054.8824 | 26.25 | 74
10500 | 2022-05-19 11:29 | 4.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.6964 | μmol/L | 19.1559 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.328 | 99936.2033 | 271060.4336 | 26.25 | 74
10510 | 2022-05-19 11:29 | 5.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.653 | μmol/L | 19.1498 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.332 | 99935.7797 | 271056.4329 | 26.25 | 74
10520 | 2022-05-19 11:29 | 5.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7819 | μmol/L | 19.1376 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.331 | 99949.2108 | 271068.7242 | 26.25 | 74
10530 | 2022-05-19 11:30 | 5.6715 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9587 | μmol/L | 19.1254 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.328 | 99956.2022 | 271057.7982 | 26.25 | 74
10540 | 2022-05-19 11:30 | 6.0046 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9678 | μmol/L | 19.1132 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.332 | 99983.2755 | 271056.8721 | 26.25 | 74
10550 | 2022-05-19 11:30 | 6.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8001 | μmol/L | 19.1132 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.339 | 99993.1581 | 271048.965 | 26.25 | 74
10560 | 2022-05-19 11:31 | 6.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7614 | μmol/L | 19.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.345 | 100017.3771 | 271041.9612 | 26.25 | 74
10570 | 2022-05-19 11:31 | 7.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8617 | μmol/L | 19.095 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.343 | 100042.3441 | 271048.7553 | 26.25 | 74
10580 | 2022-05-19 11:31 | 7.3385 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7991 | μmol/L | 19.0828 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.35 | 100072.8993 | 271037.246 | 26.25 | 74
10590 | 2022-05-19 11:32 | 7.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8516 | μmol/L | 19.0767 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.35 | 100101.986 | 271047.9639 | 26.25 | 74
10600 | 2022-05-19 11:32 | 8.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.813 | μmol/L | 19.0645 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.356 | 100109.6353 | 271036.6394 | 26.25 | 74
10610 | 2022-05-19 11:32 | 8.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9373 | μmol/L | 19.0584 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.353 | 100113.5059 | 271034.6196 | 26.25 | 74
10620 | 2022-05-19 11:33 | 8.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8941 | μmol/L | 19.0523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.357 | 100133.2165 | 271025.1076 | 26.25 | 74
10630 | 2022-05-19 11:33 | 9.0046 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8076 | μmol/L | 19.0401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.365 | 100131.0345 | 271004.5892 | 26.25 | 74
10640 | 2022-05-19 11:33 | 9.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8648 | μmol/L | 19.0279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.367 | 100153.3613 | 271005.4017 | 26.25 | 74
10650 | 2022-05-19 11:34 | 9.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.793 | μmol/L | 19.0279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.37 | 100152.3265 | 271002.0756 | 26.25 | 74
10660 | 2022-05-19 11:34 | 10.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.946 | μmol/L | 19.0157 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.368 | 100175.9021 | 271001.863 | 26.25 | 74
10670 | 2022-05-19 11:34 | 10.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9554 | μmol/L | 19.0036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.372 | 100194.8233 | 270993.8611 | 26.25 | 74
10680 | 2022-05-19 11:35 | 10.6715 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0033 | μmol/L | 19.0036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.37 | 100212.2873 | 271002.9615 | 26.25 | 74
10690 | 2022-05-19 11:35 | 11.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8643 | μmol/L | 18.9975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.378 | 100240.8226 | 270997.746 | 26.25 | 74
10700 | 2022-05-19 11:35 | 11.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9216 | μmol/L | 18.9853 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.38 | 100252.3471 | 270986.4154 | 26.25 | 74
10710 | 2022-05-19 11:36 | 11.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9503 | μmol/L | 18.9792 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.381 | 99896.4642 | 270988.5722 | 26.25 | 74
10720 | 2022-05-19 11:36 | 12.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.0076 | μmol/L | 18.967 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.383 | 99952.619 | 270992.5062 | 26.25 | 74
10730 | 2022-05-19 11:36 | 12.338 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9453 | μmol/L | 18.9548 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.39 | 100010.0414 | 270980.3388 | 26.25 | 74
10740 | 2022-05-19 11:37 | 12.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9166 | μmol/L | 18.9609 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.389 | 100063.749 | 270971.6636 | 26.25 | 74
10750 | 2022-05-19 11:37 | 13.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8735 | μmol/L | 18.9548 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.393 | 100117.7482 | 270993.6081 | 26.25 | 74
10760 | 2022-05-19 11:37 | 13.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.9835 | μmol/L | 18.9365 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.395 | 100171.4609 | 270992.7411 | 26.25 | 74
10770 | 2022-05-19 11:38 | 13.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.017 | μmol/L | 18.9244 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.398 | 100207.5818 | 270971.2719 | 26.25 | 74
10780 | 2022-05-19 11:38 | 14.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7587 | μmol/L | 18.9183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.411 | 100314.9953 | 270982.8578 | 26.25 | 74
10790 | 2022-05-19 11:38 | 14.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.0425 | μmol/L | 18.9183 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.441 | 100516.5609 | 270968.4807 | 26.25 | 74
10800 | 2022-05-19 11:39 | 14.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.7168 | μmol/L | 18.9122 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.499 | 100826.6587 | 270961.0199 | 26.25 | 74
10810 | 2022-05-19 11:39 | 15.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.8865 | μmol/L | 18.9 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.581 | 101292.4738 | 270982.9747 | 26.25 | 74
10820 | 2022-05-19 11:39 | 15.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.839 | μmol/L | 18.8878 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.673 | 101824.6478 | 270981.506 | 26.25 | 74
10830 | 2022-05-19 11:40 | 15.6718 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0492 | μmol/L | 18.8878 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.707 | 102018.3842 | 270973.0677 | 26.25 | 74
10840 | 2022-05-19 11:40 | 16.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.3376 | μmol/L | 18.8756 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.699 | 102041.9233 | 270971.937 | 26.25 | 74
10850 | 2022-05-19 11:40 | 16.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.5567 | μmol/L | 18.8634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.694 | 102021.0237 | 270968.2811 | 26.25 | 74
10860 | 2022-05-19 11:41 | 16.6718 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.5567 | μmol/L | 18.8634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.694 | 102037.6134 | 270971.979 | 26.25 | 74
10870 | 2022-05-19 11:41 | 17.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0229 | μmol/L | 18.8634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.717 | 102190.6813 | 270964.878 | 26.25 | 74
10880 | 2022-05-19 11:41 | 17.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.7491 | μmol/L | 18.8391 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.781 | 102530.6118 | 270949.9068 | 26.25 | 74
10890 | 2022-05-19 11:42 | 17.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7147 | μmol/L | 18.8391 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.826 | 102786.3635 | 270946.9444 | 26.25 | 74
10900 | 2022-05-19 11:42 | 18.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1297 | μmol/L | 18.8269 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.856 | 102978.2315 | 270956.9355 | 26.25 | 74
10910 | 2022-05-19 11:42 | 18.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.6831 | μmol/L | 18.8147 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.88 | 103108.0395 | 270947.5097 | 26.25 | 74
10920 | 2022-05-19 11:43 | 18.6717 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3971 | μmol/L | 18.8025 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.897 | 103248.4661 | 270948.1024 | 26.25 | 74
10930 | 2022-05-19 11:43 | 19.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0452 | μmol/L | 18.8147 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.908 | 103318.8945 | 270950.0893 | 26.25 | 74
10940 | 2022-05-19 11:43 | 19.338 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9926 | μmol/L | 18.7964 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.917 | 103361.4162 | 270957.5872 | 26.25 | 74
10950 | 2022-05-19 11:44 | 19.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5208 | μmol/L | 18.7903 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.94 | 103526.3414 | 270957.2963 | 26.25 | 74
10960 | 2022-05-19 11:44 | 20.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7793 | μmol/L | 18.7538 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.942 | 103524.803 | 270956.4965 | 26.25 | 74
10970 | 2022-05-19 11:44 | 20.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7862 | μmol/L | 18.7721 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.935 | 103500.6139 | 270941.4627 | 26.25 | 74
10980 | 2022-05-19 11:45 | 20.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9506 | μmol/L | 18.766 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.93 | 103473.8938 | 270934.0341 | 26.25 | 74
10990 | 2022-05-19 11:45 | 21.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3409 | μmol/L | 18.7355 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.924 | 103467.4915 | 270951.8418 | 26.25 | 74
11000 | 2022-05-19 11:45 | 21.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1361 | μmol/L | 18.7355 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.933 | 103496.4127 | 270958.6864 | 26.25 | 74
11010 | 2022-05-19 11:46 | 21.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0451 | μmol/L | 18.7355 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.937 | 103550.6348 | 270935.109 | 26.25 | 74
11020 | 2022-05-19 11:46 | 22.0051 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.9299 | μmol/L | 18.7111 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.951 | 103633.0115 | 270940.652 | 26.25 | 74
11030 | 2022-05-19 11:46 | 22.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0127 | μmol/L | 18.6685 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.963 | 103692.9811 | 270955.3195 | 26.25 | 74
11040 | 2022-05-19 11:47 | 22.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5374 | μmol/L | 18.6929 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.975 | 103777.02 | 270962.3322 | 26.25 | 74
11050 | 2022-05-19 11:47 | 23.005 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5815 | μmol/L | 18.6685 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.982 | 103815.6077 | 270948.3588 | 26.25 | 74
11060 | 2022-05-19 11:47 | 23.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.5642 | μmol/L | 18.6624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.985 | 103866.8032 | 270953.9429 | 26.25 | 74
11070 | 2022-05-19 11:48 | 23.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3095 | μmol/L | 18.6685 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.994 | 103929.3124 | 270963.4675 | 26.25 | 74
11080 | 2022-05-19 11:48 | 24.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.0315 | μmol/L | 18.6502 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.013 | 104025.4918 | 270941.8204 | 26.25 | 74
11090 | 2022-05-19 11:48 | 24.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1608 | μmol/L | 18.6319 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.014 | 104080.1256 | 270948.7778 | 26.25 | 74
11100 | 2022-05-19 11:49 | 24.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9456 | μmol/L | 18.6198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.028 | 104148.4579 | 270941.2131 | 26.25 | 74
11110 | 2022-05-19 11:49 | 25.005 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.9338 | μmol/L | 18.6076 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.033 | 104173.6519 | 270943.6609 | 26.25 | 74
11120 | 2022-05-19 11:49 | 25.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6963 | μmol/L | 18.5954 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.048 | 104276.4581 | 270949.4754 | 26.25 | 74
11130 | 2022-05-19 11:50 | 25.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6116 | μmol/L | 18.5893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.054 | 104324.7913 | 270947.188 | 26.25 | 74
11140 | 2022-05-19 11:50 | 26.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3916 | μmol/L | 18.5832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.066 | 104375.2304 | 270955.5996 | 26.25 | 74
11150 | 2022-05-19 11:50 | 26.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3465 | μmol/L | 18.5832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.068 | 104398.5609 | 270951.3709 | 26.25 | 74
11160 | 2022-05-19 11:51 | 26.6713 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.5945 | μmol/L | 18.5832 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.057 | 104348.2663 | 270950.7061 | 26.25 | 74
11170 | 2022-05-19 11:51 | 27.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8989 | μmol/L | 18.571 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.048 | 104327.1465 | 270944.8863 | 26.25 | 74
11180 | 2022-05-19 11:51 | 27.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8989 | μmol/L | 18.571 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.048 | 104303.0358 | 270956.2922 | 26.25 | 74
11190 | 2022-05-19 11:52 | 27.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1133 | μmol/L | 18.5588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.043 | 104293.3541 | 270952.1 | 26.25 | 74
11200 | 2022-05-19 11:52 | 28.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1133 | μmol/L | 18.5588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.043 | 104303.3111 | 270946.2496 | 26.25 | 74
11210 | 2022-05-19 11:52 | 28.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.7067 | μmol/L | 18.5588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.061 | 104392.4633 | 270955.6011 | 26.25 | 74
11220 | 2022-05-19 11:53 | 28.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6897 | μmol/L | 18.5527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.064 | 104419.2198 | 270948.0594 | 26.25 | 74
11230 | 2022-05-19 11:53 | 29.0047 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6445 | μmol/L | 18.5527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.066 | 104435.3394 | 270945.0613 | 26.25 | 74
11240 | 2022-05-19 11:53 | 29.338 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8361 | μmol/L | 18.5406 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.062 | 104455.9329 | 270956.1151 | 26.25 | 74
11250 | 2022-05-19 11:54 | 29.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.7795 | μmol/L | 18.5284 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.069 | 104498.808 | 270945.5487 | 26.25 | 74
11260 | 2022-05-19 11:54 | 30.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.4638 | μmol/L | 18.5284 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.083 | 104564.3514 | 270946.2221 | 26.25 | 74
11270 | 2022-05-19 11:54 | 30.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3792 | μmol/L | 18.5223 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.089 | 104617.6223 | 270947.2215 | 26.25 | 74
11280 | 2022-05-19 11:55 | 30.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.1991 | μmol/L | 18.5223 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.097 | 104652.3296 | 270953.7814 | 26.25 | 74
11290 | 2022-05-19 11:55 | 31.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.8959 | μmol/L | 18.5588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.097 | 104653.8149 | 270946.3442 | 26.25 | 74
11300 | 2022-05-19 11:55 | 31.338 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.0133 | μmol/L | 18.504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.112 | 104723.973 | 270938.9515 | 26.25 | 74
11310 | 2022-05-19 11:56 | 31.6717 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.9402 | μmol/L | 18.4857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.122 | 104795.9416 | 270938.191 | 26.25 | 74
11320 | 2022-05-19 11:56 | 32.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.9177 | μmol/L | 18.4857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.123 | 104834.8988 | 270944.9462 | 26.25 | 74
11330 | 2022-05-19 11:56 | 32.3385 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.0189 | μmol/L | 18.4979 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.114 | 104797.2734 | 270940.8085 | 26.25 | 74
11340 | 2022-05-19 11:57 | 32.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.7774 | μmol/L | 18.4918 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.127 | 104853.0029 | 270933.1165 | 26.25 | 74
11350 | 2022-05-19 11:57 | 33.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.4688 | μmol/L | 18.4857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.143 | 104948.5837 | 270924.8508 | 26.25 | 74
11360 | 2022-05-19 11:57 | 33.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.0208 | μmol/L | 18.4857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.163 | 105067.1547 | 270932.1809 | 26.25 | 74
11370 | 2022-05-19 11:58 | 33.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.7301 | μmol/L | 18.4857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.176 | 105149.4157 | 270923.333 | 26.25 | 74
11380 | 2022-05-19 11:58 | 34.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.5235 | μmol/L | 18.4918 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.183 | 105199.3949 | 270932.7057 | 26.25 | 74
11390 | 2022-05-19 11:58 | 34.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4231 | μmol/L | 18.4796 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.192 | 105214.5891 | 270928.0922 | 26.25 | 74
11400 | 2022-05-19 11:59 | 34.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4288 | μmol/L | 18.4736 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.194 | 105264.3206 | 270922.2908 | 26.25 | 74
11410 | 2022-05-19 11:59 | 35.005 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2394 | μmol/L | 18.4614 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.207 | 105303.9438 | 270937.8188 | 26.25 | 74
11420 | 2022-05-19 11:59 | 35.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2674 | μmol/L | 18.4553 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.208 | 105340.2955 | 270933.4379 | 26.25 | 74
11430 | 2022-05-19 12:00 | 35.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3176 | μmol/L | 18.4492 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.208 | 105356.0646 | 270931.1631 | 26.25 | 74
11440 | 2022-05-19 12:00 | 36.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2285 | μmol/L | 18.4492 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.212 | 105370.7351 | 270940.8668 | 26.25 | 74
11450 | 2022-05-19 12:00 | 36.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1114 | μmol/L | 18.4553 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.215 | 105385.3143 | 270917.3067 | 26.25 | 74
11460 | 2022-05-19 12:01 | 36.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9441 | μmol/L | 18.4675 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.218 | 105416.1794 | 270940.9759 | 26.25 | 74
11470 | 2022-05-19 12:01 | 37.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9943 | μmol/L | 18.4614 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.218 | 105419.1937 | 270914.6168 | 26.25 | 74
11480 | 2022-05-19 12:01 | 37.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0891 | μmol/L | 18.4553 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.216 | 105414.9378 | 270919.0606 | 26.25 | 74
11490 | 2022-05-19 12:02 | 37.6713 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.357 | μmol/L | 18.4309 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.213 | 105420.8817 | 270920.5553 | 26.25 | 74
11500 | 2022-05-19 12:02 | 38.0051 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4239 | μmol/L | 18.4309 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.21 | 105426.3618 | 270907.1254 | 26.25 | 74
11510 | 2022-05-19 12:02 | 38.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3181 | μmol/L | 18.4248 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.217 | 105447.39 | 270919.9637 | 26.25 | 74
11520 | 2022-05-19 12:03 | 38.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1233 | μmol/L | 18.4187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.228 | 105501.4049 | 270920.0043 | 26.25 | 74
11530 | 2022-05-19 12:03 | 39.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0399 | μmol/L | 18.4126 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.234 | 105566.3089 | 270917.4183 | 26.25 | 74
11540 | 2022-05-19 12:03 | 39.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9731 | μmol/L | 18.4126 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.237 | 105599.0437 | 270908.0227 | 26.25 | 74
11550 | 2022-05-19 12:04 | 39.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.9566 | μmol/L | 18.4066 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.24 | 105620.0311 | 270920.7603 | 26.25 | 74
11560 | 2022-05-19 12:04 | 40.0051 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8676 | μmol/L | 18.4066 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.244 | 105628.1831 | 270912.1479 | 26.25 | 74
11570 | 2022-05-19 12:04 | 40.3385 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8066 | μmol/L | 18.4005 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.249 | 105650.9864 | 270912.7066 | 26.25 | 74
11580 | 2022-05-19 12:05 | 40.6721 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7844 | μmol/L | 18.4005 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.25 | 105691.5658 | 270925.0251 | 26.25 | 74
11590 | 2022-05-19 12:05 | 41.0046 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6346 | μmol/L | 18.3944 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.259 | 105748.6614 | 270915.1876 | 26.25 | 74
11600 | 2022-05-19 12:05 | 41.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5457 | μmol/L | 18.3944 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.263 | 105765.4936 | 270920.5542 | 26.25 | 74
11610 | 2022-05-19 12:06 | 41.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4569 | μmol/L | 18.3944 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.267 | 105798.0682 | 270913.5354 | 26.25 | 74
11620 | 2022-05-19 12:06 | 42.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4906 | μmol/L | 18.3822 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.27 | 105829.7609 | 270920.0509 | 26.25 | 74
11630 | 2022-05-19 12:06 | 42.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4298 | μmol/L | 18.3761 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.275 | 105855.3044 | 270921.4407 | 26.25 | 74
11640 | 2022-05-19 12:07 | 42.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5466 | μmol/L | 18.37 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.272 | 105842.5853 | 270917.1489 | 26.25 | 74
11650 | 2022-05-19 12:07 | 43.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5302 | μmol/L | 18.3639 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.275 | 105862.4208 | 270908.612 | 26.25 | 74
11660 | 2022-05-19 12:07 | 43.3386 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4356 | μmol/L | 18.37 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.277 | 105863.9131 | 270920.5394 | 26.25 | 74
11670 | 2022-05-19 12:08 | 43.6713 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5524 | μmol/L | 18.3639 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.274 | 105840.8071 | 270914.3041 | 26.25 | 74
11680 | 2022-05-19 12:08 | 44.0047 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.819 | μmol/L | 18.3639 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.262 | 105817.9116 | 270912.1734 | 26.25 | 74
11690 | 2022-05-19 12:08 | 44.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7581 | μmol/L | 18.3578 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.267 | 105838.9635 | 270913.8784 | 26.25 | 74
11700 | 2022-05-19 12:09 | 44.6715 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7697 | μmol/L | 18.3456 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.271 | 105871.897 | 270913.9771 | 26.25 | 74
11710 | 2022-05-19 12:09 | 45.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7639 | μmol/L | 18.3517 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.269 | 105871.6581 | 270902.4121 | 26.25 | 74
11720 | 2022-05-19 12:09 | 45.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8924 | μmol/L | 18.3335 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.27 | 105852.7776 | 270911.3894 | 26.25 | 74
11730 | 2022-05-19 12:10 | 45.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8924 | μmol/L | 18.3335 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.27 | 105875.3515 | 270905.8818 | 26.25 | 74
11740 | 2022-05-19 12:10 | 46.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7813 | μmol/L | 18.3335 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.275 | 105893.0017 | 270903.677 | 26.25 | 74
11750 | 2022-05-19 12:10 | 46.3383 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.0597 | μmol/L | 18.3213 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.267 | 105884.2007 | 270912.8877 | 26.25 | 74
11760 | 2022-05-19 12:11 | 46.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1265 | μmol/L | 18.3213 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.264 | 105854.5399 | 270906.1613 | 26.25 | 74
11770 | 2022-05-19 12:11 | 47.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.171 | μmol/L | 18.3213 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.262 | 105840.7807 | 270903.6649 | 26.25 | 74
11780 | 2022-05-19 12:11 | 47.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2214 | μmol/L | 18.3152 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.262 | 105865.621 | 270908.5769 | 26.25 | 74
11790 | 2022-05-19 12:12 | 47.6719 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1604 | μmol/L | 18.3091 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.267 | 105903.1385 | 270912.9323 | 26.25 | 74
11800 | 2022-05-19 12:12 | 48.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7099 | μmol/L | 18.3152 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.285 | 105967.3209 | 270900.8233 | 26.25 | 74
11810 | 2022-05-19 12:12 | 48.338 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6994 | μmol/L | 18.303 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.29 | 106029.907 | 270919.6684 | 26.25 | 74
11820 | 2022-05-19 12:13 | 48.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.4937 | μmol/L | 18.3091 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.297 | 106069.3046 | 270912.8704 | 26.25 | 74
11830 | 2022-05-19 12:13 | 49.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5662 | μmol/L | 18.303 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.296 | 106085.6135 | 270903.1695 | 26.25 | 74
11840 | 2022-05-19 12:13 | 49.3385 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.6386 | μmol/L | 18.2969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.295 | 106103.062 | 270895.7714 | 26.25 | 74
11850 | 2022-05-19 12:14 | 49.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5276 | μmol/L | 18.2969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.3 | 106103.4356 | 270885.4031 | 26.25 | 74
11860 | 2022-05-19 12:14 | 50.0046 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.7333 | μmol/L | 18.2908 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.293 | 106096.5428 | 270896.6704 | 26.25 | 74
11870 | 2022-05-19 12:14 | 50.3382 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.8058 | μmol/L | 18.2847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.292 | 106087.9465 | 270891.1441 | 26.25 | 74
11880 | 2022-05-19 12:15 | 50.6717 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5394 | μmol/L | 18.2847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.304 | 106167.5138 | 270892.0215 | 26.25 | 74
11890 | 2022-05-19 12:15 | 51.0053 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.5009 | μmol/L | 18.2786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.308 | 106209.1968 | 270887.0026 | 26.25 | 74
11900 | 2022-05-19 12:15 | 51.3388 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.285 | μmol/L | 18.2725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.32 | 106259.2106 | 270883.3818 | 26.25 | 74
11910 | 2022-05-19 12:16 | 51.6713 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.1743 | μmol/L | 18.2725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 106269.8404 | 270878.6826 | 26.25 | 74
11920 | 2022-05-19 12:16 | 52.0048 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 264.2968 | μmol/L | 18.2604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 106298.1059 | 270874.1321 | 26.25 | 74
11930 | 2022-05-19 12:16 | 52.3384 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.8644 | μmol/L | 18.2725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 106359.1492 | 270844.9845 | 26.25 | 74
11940 | 2022-05-19 12:17 | 52.6718 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.6493 | μmol/L | 18.2665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.351 | 106435.6781 | 270857.2045 | 26.25 | 74
11950 | 2022-05-19 12:17 | 53.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.5447 | μmol/L | 18.2604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 106478.2813 | 270849.955 | 26.25 | 74
11960 | 2022-05-19 12:17 | 53.338 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.5286 | μmol/L | 18.2543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.361 | 106525.5934 | 270854.0728 | 26.25 | 74
11970 | 2022-05-19 12:18 | 53.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.2036 | μmol/L | 18.2482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.378 | 106596.975 | 270843.776 | 26.25 | 74
11980 | 2022-05-19 12:18 | 54.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.8071 | μmol/L | 18.2482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.396 | 106689.0234 | 270832.7421 | 26.25 | 74
11990 | 2022-05-19 12:18 | 54.3385 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.8512 | μmol/L | 18.2482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.394 | 106699.0683 | 270822.1385 | 26.25 | 74
12000 | 2022-05-19 12:19 | 54.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.7691 | μmol/L | 18.2421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.4 | 106713.3768 | 270806.2877 | 26.25 | 74
12010 | 2022-05-19 12:19 | 55.0047 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.7471 | μmol/L | 18.2421 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.401 | 106748.1865 | 270809.1388 | 26.25 | 74
12020 | 2022-05-19 12:19 | 55.3381 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.0571 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.396 | 106721.8442 | 270806.3995 | 26.25 | 74
12030 | 2022-05-19 12:20 | 55.6716 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.1792 | μmol/L | 18.2055 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.395 | 106701.4635 | 270800.9662 | 26.25 | 74
12040 | 2022-05-19 12:20 | 56.0052 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.2113 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.389 | 106707.0983 | 270798.2751 | 26.25 | 74
12050 | 2022-05-19 12:20 | 56.3385 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.0511 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.394 | 106734.4555 | 270786.3535 | 26.25 | 74
12060 | 2022-05-19 12:21 | 56.672 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 262.919 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.4 | 106753.4921 | 270783.0533 | 26.25 | 74
12070 | 2022-05-19 12:21 | 57.0054 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.0291 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.395 | 106728.7976 | 270771.6982 | 26.25 | 74
12080 | 2022-05-19 12:21 | 57.3387 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.1571 | μmol/L | 18.2055 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.396 | 106743.8558 | 270768.8853 | 26.25 | 74
12090 | 2022-05-19 12:22 | 57.6714 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.2774 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.386 | 106747.5661 | 270755.086 | 26.25 | 74
12100 | 2022-05-19 12:22 | 58.0049 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 263.6084 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.371 | 106676.167 | 270746.6126 | 26.25 | 74