## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10356 | 2022-05-19 11:24 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.132 | μmol/L | 19.2159 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.517 | 113610.9968 | 269671.1857 | 36.4 | 83.1
10366 | 2022-05-19 11:24 | 0.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8126 | μmol/L | 19.2098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.531 | 113639.8215 | 269683.3007 | 36.4 | 83.1
10376 | 2022-05-19 11:25 | 0.67462 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.683 | μmol/L | 19.2036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.538 | 113672.8044 | 269688.3361 | 36.4 | 83.1
10386 | 2022-05-19 11:25 | 1.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.4666 | μmol/L | 19.2036 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.546 | 113698.5135 | 269680.2205 | 36.4 | 83.1
10396 | 2022-05-19 11:25 | 1.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.3972 | μmol/L | 19.1914 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.553 | 113723.7205 | 269669.6575 | 36.4 | 83.1
10406 | 2022-05-19 11:26 | 1.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2139 | μmol/L | 19.1853 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.562 | 113752.5507 | 269688.4963 | 36.4 | 83.1
10416 | 2022-05-19 11:26 | 2.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1717 | μmol/L | 19.173 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.568 | 113768.4952 | 269677.567 | 36.4 | 83.1
10426 | 2022-05-19 11:26 | 2.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0097 | μmol/L | 19.173 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.574 | 113785.4663 | 269678.4736 | 36.4 | 83.1
10436 | 2022-05-19 11:27 | 2.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0006 | μmol/L | 19.1546 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.581 | 113797.5978 | 269662.2427 | 36.4 | 83.1
10446 | 2022-05-19 11:27 | 3.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0335 | μmol/L | 19.1485 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.582 | 113835.0456 | 269664.8268 | 36.4 | 83.1
10456 | 2022-05-19 11:27 | 3.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9375 | μmol/L | 19.1363 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.59 | 113848.6301 | 269670.1827 | 36.4 | 83.1
10466 | 2022-05-19 11:28 | 3.6747 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8087 | μmol/L | 19.1301 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.597 | 113866.6155 | 269659.5189 | 36.4 | 83.1
10476 | 2022-05-19 11:28 | 4.0081 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7069 | μmol/L | 19.124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.603 | 113875.9748 | 269651.2169 | 36.4 | 83.1
10486 | 2022-05-19 11:28 | 4.3418 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8267 | μmol/L | 19.1118 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.603 | 113906.9074 | 269670.281 | 36.4 | 83.1
10496 | 2022-05-19 11:29 | 4.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.731 | μmol/L | 19.0995 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.611 | 113926.5095 | 269654.0109 | 36.4 | 83.1
10506 | 2022-05-19 11:29 | 5.0081 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.77 | μmol/L | 19.0873 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.614 | 113936.4949 | 269666.1104 | 36.4 | 83.1
10516 | 2022-05-19 11:29 | 5.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.6084 | μmol/L | 19.0873 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.62 | 113951.2876 | 269654.9362 | 36.4 | 83.1
10526 | 2022-05-19 11:30 | 5.6747 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7404 | μmol/L | 19.0628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.624 | 113971.6963 | 269636.4618 | 36.4 | 83.1
10536 | 2022-05-19 11:30 | 6.0081 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.552 | μmol/L | 19.0628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.631 | 113991.7546 | 269642.3155 | 36.4 | 83.1
10546 | 2022-05-19 11:30 | 6.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.6718 | μmol/L | 19.0505 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.631 | 113987.3661 | 269626.3099 | 36.4 | 83.1
10556 | 2022-05-19 11:31 | 6.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.5703 | μmol/L | 19.0444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.637 | 114006.4421 | 269635.0789 | 36.4 | 83.1
10566 | 2022-05-19 11:31 | 7.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.771 | μmol/L | 19.0321 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.634 | 114007.7686 | 269617.5301 | 36.4 | 83.1
10576 | 2022-05-19 11:31 | 7.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.5887 | μmol/L | 19.026 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.643 | 114024.0421 | 269623.2794 | 36.4 | 83.1
10586 | 2022-05-19 11:32 | 7.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.6817 | μmol/L | 19.0138 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.644 | 114041.4027 | 269622.2977 | 36.4 | 83.1
10596 | 2022-05-19 11:32 | 8.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7748 | μmol/L | 19.0015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.645 | 114048.2571 | 269622.7151 | 36.4 | 83.1
10606 | 2022-05-19 11:32 | 8.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.694 | μmol/L | 19.0015 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.648 | 114068.1377 | 269620.7014 | 36.4 | 83.1
10616 | 2022-05-19 11:33 | 8.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.6795 | μmol/L | 18.9893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.653 | 114068.0128 | 269605.6371 | 36.4 | 83.1
10626 | 2022-05-19 11:33 | 9.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8265 | μmol/L | 18.977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.652 | 114076.5481 | 269618.7964 | 36.4 | 83.1
10636 | 2022-05-19 11:33 | 9.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.725 | μmol/L | 18.9709 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.658 | 114085.5275 | 269597.6856 | 36.4 | 83.1
10646 | 2022-05-19 11:34 | 9.6747 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8182 | μmol/L | 18.9586 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.659 | 114104.3857 | 269611.6606 | 36.4 | 83.1
10656 | 2022-05-19 11:34 | 10.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7643 | μmol/L | 18.9586 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.661 | 114102.6418 | 269606.5851 | 36.4 | 83.1
10666 | 2022-05-19 11:34 | 10.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7706 | μmol/L | 18.9525 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.663 | 114109.2055 | 269600.3471 | 36.4 | 83.1
10676 | 2022-05-19 11:35 | 10.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8431 | μmol/L | 18.9341 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.667 | 114132.9894 | 269597.1672 | 36.4 | 83.1
10686 | 2022-05-19 11:35 | 11.008 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8494 | μmol/L | 18.928 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.669 | 114143.9407 | 269595.5518 | 36.4 | 83.1
10696 | 2022-05-19 11:35 | 11.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8019 | μmol/L | 18.9219 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.673 | 114153.1313 | 269582.0091 | 36.4 | 83.1
10706 | 2022-05-19 11:36 | 11.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.835 | μmol/L | 18.9158 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.674 | 114161.4645 | 269584.5801 | 36.4 | 83.1
10716 | 2022-05-19 11:36 | 12.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8745 | μmol/L | 18.9035 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.677 | 114169.9636 | 269586.0986 | 36.4 | 83.1
10726 | 2022-05-19 11:36 | 12.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9679 | μmol/L | 18.8913 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.678 | 114173.4766 | 269577.3767 | 36.4 | 83.1
10736 | 2022-05-19 11:37 | 12.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8872 | μmol/L | 18.8913 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.681 | 114194.2933 | 269573.314 | 36.4 | 83.1
10746 | 2022-05-19 11:37 | 13.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8935 | μmol/L | 18.8851 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.683 | 114204.4271 | 269573.1682 | 36.4 | 83.1
10756 | 2022-05-19 11:37 | 13.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7922 | μmol/L | 18.879 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.689 | 114205.0695 | 269561.0098 | 36.4 | 83.1
10766 | 2022-05-19 11:38 | 13.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.778 | μmol/L | 18.8668 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 114203.1456 | 269560.9166 | 36.4 | 83.1
10776 | 2022-05-19 11:38 | 14.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8381 | μmol/L | 18.8606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 114213.5045 | 269557.5755 | 36.4 | 83.1
10786 | 2022-05-19 11:38 | 14.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8445 | μmol/L | 18.8545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 114238.449 | 269567.0104 | 36.4 | 83.1
10796 | 2022-05-19 11:39 | 14.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.797 | μmol/L | 18.8484 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 114234.989 | 269564.4464 | 36.4 | 83.1
10806 | 2022-05-19 11:39 | 15.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8098 | μmol/L | 18.8361 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 114235.5928 | 269574.4549 | 36.4 | 83.1
10816 | 2022-05-19 11:39 | 15.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8969 | μmol/L | 18.83 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.703 | 114250.4041 | 269564.7702 | 36.4 | 83.1
10826 | 2022-05-19 11:40 | 15.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8226 | μmol/L | 18.8239 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 114271.3127 | 269555.104 | 36.4 | 83.1
10836 | 2022-05-19 11:40 | 16.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8828 | μmol/L | 18.8178 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 114269.3094 | 269558.2613 | 36.4 | 83.1
10846 | 2022-05-19 11:40 | 16.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8892 | μmol/L | 18.8116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.71 | 114275.7892 | 269562.4076 | 36.4 | 83.1
10856 | 2022-05-19 11:41 | 16.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7945 | μmol/L | 18.7994 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.718 | 114279.186 | 269559.2241 | 36.4 | 83.1
10866 | 2022-05-19 11:41 | 17.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9354 | μmol/L | 18.7933 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.715 | 114291.8783 | 269563.196 | 36.4 | 83.1
10876 | 2022-05-19 11:41 | 17.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9419 | μmol/L | 18.7871 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.717 | 114302.3595 | 269571.3468 | 36.4 | 83.1
10886 | 2022-05-19 11:42 | 17.6747 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9548 | μmol/L | 18.7749 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.721 | 114310.2782 | 269552.367 | 36.4 | 83.1
10896 | 2022-05-19 11:42 | 18.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9214 | μmol/L | 18.781 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.72 | 114313.9955 | 269547.7356 | 36.4 | 83.1
10906 | 2022-05-19 11:42 | 18.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9408 | μmol/L | 18.7626 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.726 | 114329.23 | 269542.699 | 36.4 | 83.1
10916 | 2022-05-19 11:43 | 18.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0011 | μmol/L | 18.7565 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.726 | 114335.7405 | 269547.7864 | 36.4 | 83.1
10926 | 2022-05-19 11:43 | 19.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9538 | μmol/L | 18.7504 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.73 | 114335.1051 | 269538.6985 | 36.4 | 83.1
10936 | 2022-05-19 11:43 | 19.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9872 | μmol/L | 18.7443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.731 | 114346.2312 | 269541.3637 | 36.4 | 83.1
10946 | 2022-05-19 11:44 | 19.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9066 | μmol/L | 18.7443 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.734 | 114361.9111 | 269544.4521 | 36.4 | 83.1
10956 | 2022-05-19 11:44 | 20.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9937 | μmol/L | 18.7381 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.733 | 114358.0183 | 269531.4569 | 36.4 | 83.1
10966 | 2022-05-19 11:44 | 20.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8927 | μmol/L | 18.732 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.739 | 114358.1593 | 269522.7372 | 36.4 | 83.1
10976 | 2022-05-19 11:45 | 20.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9596 | μmol/L | 18.7198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.741 | 114372.6221 | 269521.6441 | 36.4 | 83.1
10986 | 2022-05-19 11:45 | 21.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9123 | μmol/L | 18.7136 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.745 | 114373.6986 | 269521.2635 | 36.4 | 83.1
10996 | 2022-05-19 11:45 | 21.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0533 | μmol/L | 18.7075 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.742 | 114368.0226 | 269533.0492 | 36.4 | 83.1
11006 | 2022-05-19 11:46 | 21.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0264 | μmol/L | 18.7075 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.743 | 114382.5044 | 269528.8904 | 36.4 | 83.1
11016 | 2022-05-19 11:46 | 22.008 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9255 | μmol/L | 18.7014 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.749 | 114387.0575 | 269522.6316 | 36.4 | 83.1
11026 | 2022-05-19 11:46 | 22.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1669 | μmol/L | 18.6769 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.749 | 114392.6178 | 269520.7316 | 36.4 | 83.1
11036 | 2022-05-19 11:47 | 22.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0796 | μmol/L | 18.683 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.75 | 114395.7104 | 269522.6543 | 36.4 | 83.1
11046 | 2022-05-19 11:47 | 23.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0593 | μmol/L | 18.6769 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.753 | 114406.4628 | 269522.5336 | 36.4 | 83.1
11056 | 2022-05-19 11:47 | 23.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0121 | μmol/L | 18.6708 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.757 | 114418.3082 | 269524.8621 | 36.4 | 83.1
11066 | 2022-05-19 11:48 | 23.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0188 | μmol/L | 18.6646 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.759 | 114413.3895 | 269521.373 | 36.4 | 83.1
11076 | 2022-05-19 11:48 | 24.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0791 | μmol/L | 18.6585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.759 | 114422.1345 | 269513.2306 | 36.4 | 83.1
11086 | 2022-05-19 11:48 | 24.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0051 | μmol/L | 18.6524 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.764 | 114417.5022 | 269508.6663 | 36.4 | 83.1
11096 | 2022-05-19 11:49 | 24.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0924 | μmol/L | 18.6463 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.763 | 114416.3921 | 269512.6913 | 36.4 | 83.1
11106 | 2022-05-19 11:49 | 25.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1326 | μmol/L | 18.634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.766 | 114428.606 | 269519.8973 | 36.4 | 83.1
11116 | 2022-05-19 11:49 | 25.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1259 | μmol/L | 18.6401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.764 | 114432.1665 | 269524.7744 | 36.4 | 83.1
11126 | 2022-05-19 11:50 | 25.6747 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0519 | μmol/L | 18.634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.769 | 114451.7624 | 269515.8414 | 36.4 | 83.1
11136 | 2022-05-19 11:50 | 26.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1123 | μmol/L | 18.6279 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.769 | 114450.7246 | 269521.2972 | 36.4 | 83.1
11146 | 2022-05-19 11:50 | 26.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.119 | μmol/L | 18.6218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.771 | 114453.6227 | 269508.5823 | 36.4 | 83.1
11156 | 2022-05-19 11:51 | 26.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0988 | μmol/L | 18.6156 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.774 | 114452.6226 | 269522.9021 | 36.4 | 83.1
11166 | 2022-05-19 11:51 | 27.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0786 | μmol/L | 18.6095 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.777 | 114461.6928 | 269516.61 | 36.4 | 83.1
11176 | 2022-05-19 11:51 | 27.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.139 | μmol/L | 18.6034 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.777 | 114469.7534 | 269518.5577 | 36.4 | 83.1
11186 | 2022-05-19 11:52 | 27.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1122 | μmol/L | 18.6034 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.778 | 114478.4645 | 269512.5646 | 36.4 | 83.1
11196 | 2022-05-19 11:52 | 28.0081 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2331 | μmol/L | 18.5911 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.778 | 114489.8221 | 269501.1082 | 36.4 | 83.1
11206 | 2022-05-19 11:52 | 28.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.186 | μmol/L | 18.585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.782 | 114497.1214 | 269507.9545 | 36.4 | 83.1
11216 | 2022-05-19 11:53 | 28.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1054 | μmol/L | 18.585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.785 | 114514.2504 | 269497.6177 | 36.4 | 83.1
11226 | 2022-05-19 11:53 | 29.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2264 | μmol/L | 18.5728 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.785 | 114506.0099 | 269514.6792 | 36.4 | 83.1
11236 | 2022-05-19 11:53 | 29.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0853 | μmol/L | 18.5789 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.788 | 114524.5271 | 269514.935 | 36.4 | 83.1
11246 | 2022-05-19 11:54 | 29.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2331 | μmol/L | 18.5667 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.787 | 114517.0309 | 269500.3465 | 36.4 | 83.1
11256 | 2022-05-19 11:54 | 30.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1525 | μmol/L | 18.5667 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.79 | 114519.7909 | 269504.5245 | 36.4 | 83.1
11266 | 2022-05-19 11:54 | 30.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.166 | μmol/L | 18.5544 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.794 | 114527.9811 | 269493.3521 | 36.4 | 83.1
11276 | 2022-05-19 11:55 | 30.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1391 | μmol/L | 18.5544 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.795 | 114537.5369 | 269509.9548 | 36.4 | 83.1
11286 | 2022-05-19 11:55 | 31.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1459 | μmol/L | 18.5483 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.797 | 114548.0619 | 269503.6768 | 36.4 | 83.1
11296 | 2022-05-19 11:55 | 31.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.3207 | μmol/L | 18.536 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.795 | 114551.5801 | 269500.6058 | 36.4 | 83.1
11306 | 2022-05-19 11:56 | 31.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1863 | μmol/L | 18.536 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.8 | 114560.568 | 269503.0658 | 36.4 | 83.1
11316 | 2022-05-19 11:56 | 32.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1594 | μmol/L | 18.536 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.801 | 114560.8416 | 269501.8535 | 36.4 | 83.1
11326 | 2022-05-19 11:56 | 32.3417 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2267 | μmol/L | 18.5238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.803 | 114580.8683 | 269505.5862 | 36.4 | 83.1
11336 | 2022-05-19 11:57 | 32.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1798 | μmol/L | 18.5177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.807 | 114582.1669 | 269504.7896 | 36.4 | 83.1
11346 | 2022-05-19 11:57 | 33.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0925 | μmol/L | 18.5238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.808 | 114592.349 | 269496.4133 | 36.4 | 83.1
11356 | 2022-05-19 11:57 | 33.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1598 | μmol/L | 18.5115 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.81 | 114592.7788 | 269490.8257 | 36.4 | 83.1
11366 | 2022-05-19 11:58 | 33.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2203 | μmol/L | 18.5054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.81 | 114591.4552 | 269493.5418 | 36.4 | 83.1
11376 | 2022-05-19 11:58 | 34.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1397 | μmol/L | 18.5054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.813 | 114585.7587 | 269494.7694 | 36.4 | 83.1
11386 | 2022-05-19 11:58 | 34.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2003 | μmol/L | 18.4993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.813 | 114603.8731 | 269490.1192 | 36.4 | 83.1
11396 | 2022-05-19 11:59 | 34.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2071 | μmol/L | 18.4932 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.815 | 114623.3112 | 269493.1533 | 36.4 | 83.1
11406 | 2022-05-19 11:59 | 35.008 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.214 | μmol/L | 18.487 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.817 | 114621.0772 | 269494.3302 | 36.4 | 83.1
11416 | 2022-05-19 11:59 | 35.3416 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0729 | μmol/L | 18.4932 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.82 | 114630.8403 | 269477.9765 | 36.4 | 83.1
11426 | 2022-05-19 12:00 | 35.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.194 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.82 | 114630.8211 | 269488.911 | 36.4 | 83.1
11436 | 2022-05-19 12:00 | 36.0081 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2745 | μmol/L | 18.4809 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.817 | 114639.4626 | 269483.2661 | 36.4 | 83.1
11446 | 2022-05-19 12:00 | 36.3416 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.174 | μmol/L | 18.4748 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.823 | 114656.1704 | 269479.4319 | 36.4 | 83.1
11456 | 2022-05-19 12:01 | 36.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.154 | μmol/L | 18.4687 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.826 | 114669.4908 | 269488.3781 | 36.4 | 83.1
11466 | 2022-05-19 12:01 | 37.008 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9861 | μmol/L | 18.4748 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.83 | 114665.8909 | 269494.5134 | 36.4 | 83.1
11476 | 2022-05-19 12:01 | 37.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2146 | μmol/L | 18.4625 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.826 | 114671.7624 | 269494.0078 | 36.4 | 83.1
11486 | 2022-05-19 12:02 | 37.6747 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1678 | μmol/L | 18.4564 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.83 | 114676.9518 | 269490.593 | 36.4 | 83.1
11496 | 2022-05-19 12:02 | 38.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.121 | μmol/L | 18.4503 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.834 | 114683.679 | 269480.5562 | 36.4 | 83.1
11506 | 2022-05-19 12:02 | 38.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0673 | μmol/L | 18.4503 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.836 | 114692.6885 | 269491.0054 | 36.4 | 83.1
11516 | 2022-05-19 12:03 | 38.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1547 | μmol/L | 18.4442 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.835 | 114690.8796 | 269483.5805 | 36.4 | 83.1
11526 | 2022-05-19 12:03 | 39.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1616 | μmol/L | 18.438 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.837 | 114703.9709 | 269472.0192 | 36.4 | 83.1
11536 | 2022-05-19 12:03 | 39.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.108 | μmol/L | 18.438 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.839 | 114701.2473 | 269475.4075 | 36.4 | 83.1
11546 | 2022-05-19 12:04 | 39.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1417 | μmol/L | 18.4319 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.84 | 114721.0738 | 269479.1773 | 36.4 | 83.1
11556 | 2022-05-19 12:04 | 40.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1755 | μmol/L | 18.4258 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 114719.0383 | 269461.9908 | 36.4 | 83.1
11566 | 2022-05-19 12:04 | 40.3416 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2361 | μmol/L | 18.4197 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.841 | 114721.8187 | 269470.7293 | 36.4 | 83.1
11576 | 2022-05-19 12:05 | 40.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1357 | μmol/L | 18.4135 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.847 | 114713.8481 | 269459.319 | 36.4 | 83.1
11586 | 2022-05-19 12:05 | 41.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1556 | μmol/L | 18.4197 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.844 | 114721.5362 | 269463.4631 | 36.4 | 83.1
11596 | 2022-05-19 12:05 | 41.3416 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1357 | μmol/L | 18.4135 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.847 | 114729.4519 | 269462.6896 | 36.4 | 83.1
11606 | 2022-05-19 12:06 | 41.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1426 | μmol/L | 18.4074 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.849 | 114723.0165 | 269458.7464 | 36.4 | 83.1
11616 | 2022-05-19 12:06 | 42.008 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1426 | μmol/L | 18.4074 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.849 | 114735.8872 | 269464.1898 | 36.4 | 83.1
11626 | 2022-05-19 12:06 | 42.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1228 | μmol/L | 18.4013 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.852 | 114747.6037 | 269455.2224 | 36.4 | 83.1
11636 | 2022-05-19 12:07 | 42.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2172 | μmol/L | 18.389 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.853 | 114715.191 | 269457.1072 | 36.4 | 83.1
11646 | 2022-05-19 12:07 | 43.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9887 | μmol/L | 18.4013 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.857 | 114727.378 | 269457.4196 | 36.4 | 83.1
11656 | 2022-05-19 12:07 | 43.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0225 | μmol/L | 18.3952 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.858 | 114729.8962 | 269460.8026 | 36.4 | 83.1
11666 | 2022-05-19 12:08 | 43.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1437 | μmol/L | 18.3829 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.858 | 114735.1707 | 269460.455 | 36.4 | 83.1
11676 | 2022-05-19 12:08 | 44.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.2044 | μmol/L | 18.3768 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.858 | 114736.071 | 269448.5025 | 36.4 | 83.1
11686 | 2022-05-19 12:08 | 44.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1239 | μmol/L | 18.3768 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.861 | 114733.4446 | 269453.6796 | 36.4 | 83.1
11696 | 2022-05-19 12:09 | 44.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0703 | μmol/L | 18.3768 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.863 | 114752.2732 | 269456.242 | 36.4 | 83.1
11706 | 2022-05-19 12:09 | 45.0083 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1309 | μmol/L | 18.3707 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.863 | 114753.1066 | 269457.1057 | 36.4 | 83.1
11716 | 2022-05-19 12:09 | 45.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.977 | μmol/L | 18.3646 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.871 | 114754.5251 | 269453.4572 | 36.4 | 83.1
11726 | 2022-05-19 12:10 | 45.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1111 | μmol/L | 18.3646 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.866 | 114766.3266 | 269456.2943 | 36.4 | 83.1
11736 | 2022-05-19 12:10 | 46.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0913 | μmol/L | 18.3584 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.869 | 114778.6008 | 269459.904 | 36.4 | 83.1
11746 | 2022-05-19 12:10 | 46.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9841 | μmol/L | 18.3584 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.873 | 114768.2048 | 269453.0808 | 36.4 | 83.1
11756 | 2022-05-19 12:11 | 46.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0715 | μmol/L | 18.3523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.872 | 114780.4809 | 269447.072 | 36.4 | 83.1
11766 | 2022-05-19 12:11 | 47.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0785 | μmol/L | 18.3462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.874 | 114777.7961 | 269437.8274 | 36.4 | 83.1
11776 | 2022-05-19 12:11 | 47.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9911 | μmol/L | 18.3523 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.875 | 114802.0396 | 269447.3919 | 36.4 | 83.1
11786 | 2022-05-19 12:12 | 47.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0856 | μmol/L | 18.3401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.876 | 114808.1161 | 269439.0369 | 36.4 | 83.1
11796 | 2022-05-19 12:12 | 48.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9178 | μmol/L | 18.3462 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.88 | 114814.6296 | 269441.0084 | 36.4 | 83.1
11806 | 2022-05-19 12:12 | 48.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.898 | μmol/L | 18.3401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.883 | 114811.986 | 269433.3322 | 36.4 | 83.1
11816 | 2022-05-19 12:13 | 48.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9389 | μmol/L | 18.3278 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.886 | 114828.7038 | 269435.2314 | 36.4 | 83.1
11826 | 2022-05-19 12:13 | 49.0082 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0122 | μmol/L | 18.3339 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.881 | 114832.7463 | 269432.4326 | 36.4 | 83.1
11836 | 2022-05-19 12:13 | 49.3416 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0264 | μmol/L | 18.3217 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.885 | 114826.5813 | 269432.846 | 36.4 | 83.1
11846 | 2022-05-19 12:14 | 49.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0264 | μmol/L | 18.3217 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.885 | 114852.7335 | 269437.5858 | 36.4 | 83.1
11856 | 2022-05-19 12:14 | 50.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.087 | μmol/L | 18.3156 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.885 | 114847.5528 | 269424.4357 | 36.4 | 83.1
11866 | 2022-05-19 12:14 | 50.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9996 | μmol/L | 18.3217 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.886 | 114855.1111 | 269414.3446 | 36.4 | 83.1
11876 | 2022-05-19 12:15 | 50.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0137 | μmol/L | 18.3094 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.89 | 114853.8301 | 269413.162 | 36.4 | 83.1
11886 | 2022-05-19 12:15 | 51.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.987 | μmol/L | 18.3094 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.891 | 114867.9309 | 269413.2733 | 36.4 | 83.1
11896 | 2022-05-19 12:15 | 51.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8601 | μmol/L | 18.3033 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.898 | 114860.7299 | 269403.5416 | 36.4 | 83.1
11906 | 2022-05-19 12:16 | 51.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.994 | μmol/L | 18.3033 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.893 | 114873.8032 | 269398.1584 | 36.4 | 83.1
11916 | 2022-05-19 12:16 | 52.0084 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0279 | μmol/L | 18.2972 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.894 | 114874.3996 | 269389.6435 | 36.4 | 83.1
11926 | 2022-05-19 12:16 | 52.3414 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0083 | μmol/L | 18.2911 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.897 | 114873.6586 | 269391.6418 | 36.4 | 83.1
11936 | 2022-05-19 12:17 | 52.6751 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0886 | μmol/L | 18.2911 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.894 | 114881.9133 | 269375.1678 | 36.4 | 83.1
11946 | 2022-05-19 12:17 | 53.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9083 | μmol/L | 18.2849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.903 | 114895.9735 | 269371.0835 | 36.4 | 83.1
11956 | 2022-05-19 12:17 | 53.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0154 | μmol/L | 18.2849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.899 | 114876.9656 | 269365.5954 | 36.4 | 83.1
11966 | 2022-05-19 12:18 | 53.6749 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1368 | μmol/L | 18.2727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.899 | 114884.4639 | 269365.3866 | 36.4 | 83.1
11976 | 2022-05-19 12:18 | 54.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0225 | μmol/L | 18.2788 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.901 | 114869.2688 | 269354.7006 | 36.4 | 83.1
11986 | 2022-05-19 12:18 | 54.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9154 | μmol/L | 18.2788 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.905 | 114880.3648 | 269354.2398 | 36.4 | 83.1
11996 | 2022-05-19 12:19 | 54.675 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0564 | μmol/L | 18.2727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.902 | 114877.5 | 269338.6162 | 36.4 | 83.1
12006 | 2022-05-19 12:19 | 55.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0029 | μmol/L | 18.2727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.904 | 114893.9863 | 269333.6069 | 36.4 | 83.1
12016 | 2022-05-19 12:19 | 55.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9761 | μmol/L | 18.2727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.905 | 114902.8602 | 269324.6643 | 36.4 | 83.1
12026 | 2022-05-19 12:20 | 55.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0636 | μmol/L | 18.2666 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.904 | 114899.9928 | 269305.4199 | 36.4 | 83.1
12036 | 2022-05-19 12:20 | 56.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9904 | μmol/L | 18.2604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.909 | 114907.7985 | 269302.0833 | 36.4 | 83.1
12046 | 2022-05-19 12:20 | 56.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9565 | μmol/L | 18.2666 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.908 | 114919.6904 | 269314.4785 | 36.4 | 83.1
12056 | 2022-05-19 12:21 | 56.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.9904 | μmol/L | 18.2604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.909 | 114917.2242 | 269301.7123 | 36.4 | 83.1
12066 | 2022-05-19 12:21 | 57.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.1654 | μmol/L | 18.2482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.907 | 114925.0472 | 269293.1829 | 36.4 | 83.1
12076 | 2022-05-19 12:21 | 57.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8298 | μmol/L | 18.2604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.915 | 114922.7848 | 269277.1149 | 36.4 | 83.1
12086 | 2022-05-19 12:22 | 57.6748 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.8905 | μmol/L | 18.2543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.915 | 114920.9704 | 269276.0287 | 36.4 | 83.1
12096 | 2022-05-19 12:22 | 58.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0047 | μmol/L | 18.2482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.913 | 114928.0681 | 269240.1972 | 36.4 | 83.1
12105 | 2022-05-19 12:22 | 58.3415 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0583 | μmol/L | 18.2482 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.911 | 114921.8024 | 269240.817 | 36.4 | 83.1